## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4035-6_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4035-6_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4035-6_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4035-6_0_6_node_52 | 0.4 | n |  | TRUE
4 | bus_LV_4035-6_0_6_node_79 | 0.4 | n |  | TRUE
5 | bus_LV_4035-6_0_6_node_78 | 0.4 | n |  | TRUE
6 | bus_LV_4035-6_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4035-6_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4035-6_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4035-6_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4035-6_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4035-6_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_4035-6_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_4035-6_0_6_node_99 | 0.4 | n |  | TRUE
14 | bus_LV_4035-6_0_6_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_4035-6_0_6_node_98 | 0.4 | n |  | TRUE
16 | bus_LV_4035-6_0_6_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_4035-6_0_6_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_4035-6_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4035-6_0_6_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_4035-6_0_6_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_4035-6_0_6_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4035-6_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4035-6_0_6_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_4035-6_0_6_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_4035-6_0_6_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_4035-6_0_6_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_4035-6_0_6_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_4035-6_0_6_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_4035-6_0_6_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_4035-6_0_6_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_4035-6_0_6_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_4035-6_0_6_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_4035-6_0_6_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_4035-6_0_6_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_4035-6_0_6_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_4035-6_0_6_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_4035-6_0_6_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_4035-6_0_6_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_4035-6_0_6_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_4035-6_0_6_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_4035-6_0_6_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_4035-6_0_6_node_101 | 0.4 | n |  | TRUE
43 | bus_LV_4035-6_0_6_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_4035-6_0_6_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_4035-6_0_6_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_4035-6_0_6_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_4035-6_0_6_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_4035-6_0_6_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_4035-6_0_6_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_4035-6_0_6_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_4035-6_0_6_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_4035-6_0_6_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_4035-6_0_6_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_4035-6_0_6_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_4035-6_0_6_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_4035-6_0_6_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_4035-6_0_6_node_84 | 0.4 | n |  | TRUE
58 | bus_LV_4035-6_0_6_node_83 | 0.4 | n |  | TRUE
59 | bus_LV_4035-6_0_6_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_4035-6_0_6_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_4035-6_0_6_node_82 | 0.4 | n |  | TRUE
62 | bus_LV_4035-6_0_6_node_80 | 0.4 | n |  | TRUE
63 | bus_LV_4035-6_0_6_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_4035-6_0_6_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_4035-6_0_6_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_4035-6_0_6_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_4035-6_0_6_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_4035-6_0_6_node_85 | 0.4 | n |  | TRUE
69 | bus_LV_4035-6_0_6_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_4035-6_0_6_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_4035-6_0_6_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_4035-6_0_6_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_4035-6_0_6_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_4035-6_0_6_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_4035-6_0_6_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_4035-6_0_6_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_4035-6_0_6_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_4035-6_0_6_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_4035-6_0_6_node_95 | 0.4 | n |  | TRUE
80 | bus_LV_4035-6_0_6_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_4035-6_0_6_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_4035-6_0_6_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_4035-6_0_6_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_4035-6_0_6_node_91 | 0.4 | n |  | TRUE
85 | bus_LV_4035-6_0_6_node_89 | 0.4 | n |  | TRUE
86 | bus_LV_4035-6_0_6_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_4035-6_0_6_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_4035-6_0_6_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_4035-6_0_6_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_4035-6_0_6_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_4035-6_0_6_node_92 | 0.4 | n |  | TRUE
92 | bus_LV_4035-6_0_6_node_102 | 0.4 | n |  | TRUE
93 | bus_LV_4035-6_0_6_node_103 | 0.4 | n |  | TRUE
94 | bus_MV_424_1_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4035-6_0_6_load_0 | 0 | 0.0010961 | 0.00027471 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4035-6_0_6_load_1 | 1 | 0.0011943 | 0.00029931 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4035-6_0_6_load_79 | 4 | 0.0035925 | 0.00090036 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4035-6_0_6_load_78 | 5 | 0.0043642 | 0.0010938 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4035-6_0_6_load_4 | 6 | 0.0020684 | 0.0005184 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4035-6_0_6_load_5 | 7 | 0.0012498 | 0.00031323 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4035-6_0_6_load_7 | 9 | 0.0049258 | 0.0012345 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4035-6_0_6_load_8 | 10 | 0.0056836 | 0.0014244 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4035-6_0_6_load_9 | 11 | 0.0007669 | 0.0001922 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4035-6_0_6_load_10 | 12 | 0.0032453 | 0.00081334 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4035-6_0_6_load_99 | 13 | 0.002731 | 0.00068446 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4035-6_0_6_load_42 | 16 | 0.015893 | 0.0039831 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4035-6_0_6_load_40 | 17 | 0.016303 | 0.004086 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4035-6_0_6_load_11 | 18 | 0.0071443 | 0.0017905 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4035-6_0_6_load_12 | 19 | 0.0070744 | 0.001773 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4035-6_0_6_load_13 | 20 | 0.042035 | 0.010535 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4035-6_0_6_load_14 | 21 | 0.0098592 | 0.002471 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4035-6_0_6_load_26 | 24 | 0.022079 | 0.0055336 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4035-6_0_6_load_37 | 25 | 0.041683 | 0.010447 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4035-6_0_6_load_27 | 26 | 0.0066839 | 0.0016751 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4035-6_0_6_load_57 | 28 | 0.0085103 | 0.0021329 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4035-6_0_6_load_22 | 30 | 0.0035491 | 0.00088949 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4035-6_0_6_load_23 | 31 | 0.042856 | 0.010741 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4035-6_0_6_load_17 | 32 | 0.035046 | 0.0087834 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4035-6_0_6_load_18 | 33 | 0.025387 | 0.0063626 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4035-6_0_6_load_20 | 35 | 0.0033195 | 0.00083194 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4035-6_0_6_load_21 | 36 | 0.013461 | 0.0033735 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4035-6_0_6_load_55 | 39 | 0.0056978 | 0.001428 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4035-6_0_6_load_101 | 42 | 0.0039099 | 0.00097993 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4035-6_0_6_load_53 | 43 | 0.0060889 | 0.001526 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4035-6_0_6_load_36 | 44 | 0.017537 | 0.0043952 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4035-6_0_6_load_29 | 45 | 0.024205 | 0.0060664 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4035-6_0_6_load_34 | 50 | 0.014192 | 0.0035568 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4035-6_0_6_load_35 | 51 | 0.0063893 | 0.0016013 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4035-6_0_6_load_56 | 52 | 0.020098 | 0.0050371 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4035-6_0_6_load_59 | 55 | 0.004124 | 0.0010336 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4035-6_0_6_load_84 | 57 | 0.018286 | 0.004583 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4035-6_0_6_load_83 | 58 | 0.0036297 | 0.00090968 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4035-6_0_6_load_82 | 61 | 0.010105 | 0.0025324 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4035-6_0_6_load_80 | 62 | 0.010983 | 0.0027525 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4035-6_0_6_load_58 | 63 | 0.00612 | 0.0015338 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4035-6_0_6_load_50 | 65 | 0.004129 | 0.0010348 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4035-6_0_6_load_47 | 66 | 0.0008607 | 0.00021571 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4035-6_0_6_load_85 | 68 | 0.00074449 | 0.00018659 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4035-6_0_6_load_73 | 69 | 0.0039015 | 0.00097781 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4035-6_0_6_load_63 | 71 | 0.0046778 | 0.0011724 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4035-6_0_6_load_64 | 72 | 0.0098121 | 0.0024592 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4035-6_0_6_load_66 | 73 | 0.0024376 | 0.00061092 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4035-6_0_6_load_72 | 74 | 0.0024757 | 0.00062046 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4035-6_0_6_load_74 | 77 | 0.0013703 | 0.00034343 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4035-6_0_6_load_70 | 78 | 0.0024786 | 0.00062119 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4035-6_0_6_load_95 | 79 | 0.0062816 | 0.0015743 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4035-6_0_6_load_75 | 80 | 0.00098764 | 0.00024753 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4035-6_0_6_load_69 | 81 | 0.0027809 | 0.00069697 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4035-6_0_6_load_71 | 82 | 0.0086869 | 0.0021771 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4035-6_0_6_load_76 | 83 | 0.0017745 | 0.00044473 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4035-6_0_6_load_91 | 84 | 0.0018767 | 0.00047033 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4035-6_0_6_load_94 | 86 | 0.0048149 | 0.0012067 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4035-6_0_6_load_86 | 87 | 0.00068915 | 0.00017272 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4035-6_0_6_load_87 | 88 | 0.0026816 | 0.00067206 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4035-6_0_6_load_88 | 89 | 0.0015421 | 0.00038648 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4035-6_0_6_load_90 | 90 | 0.011428 | 0.0028641 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4035-6_0_6_load_92 | 91 | 0.0041422 | 0.0010381 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4035-6_0_6_load_103 | 93 | 0.0034363 | 0.00086123 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4035-6_0_6_line_0 |  | 0 | 1 | 0.021998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4035-6_0_6_line_1 |  | 1 | 2 | 0.044354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4035-6_0_6_line_2 |  | 2 | 3 | 0.014244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4035-6_0_6_line_3 |  | 3 | 4 | 0.021173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4035-6_0_6_line_4 |  | 3 | 5 | 0.0074128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4035-6_0_6_line_5 |  | 4 | 68 | 0.031798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4035-6_0_6_line_6 |  | 5 | 69 | 0.015702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4035-6_0_6_line_7 |  | 6 | 7 | 0.046445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4035-6_0_6_line_8 |  | 6 | 8 | 0.0085871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4035-6_0_6_line_9 |  | 7 | 9 | 0.021823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4035-6_0_6_line_10 |  | 8 | 10 | 0.029427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4035-6_0_6_line_11 |  | 8 | 11 | 0.058786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4035-6_0_6_line_12 |  | 8 | 12 | 0.008561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4035-6_0_6_line_13 |  | 9 | 13 | 0.0064802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4035-6_0_6_line_14 |  | 10 | 14 | 0.010066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4035-6_0_6_line_15 |  | 13 | 15 | 0.043134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4035-6_0_6_line_16 |  | 14 | 16 | 0.019608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_4035-6_0_6_line_17 |  | 14 | 17 | 0.03013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_4035-6_0_6_line_18 |  | 15 | 92 | 0.028981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4035-6_0_6_line_19 |  | 16 | 63 | 0.0033653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_4035-6_0_6_line_20 |  | 17 | 23 | 0.024776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_4035-6_0_6_line_21 |  | 18 | 19 | 0.0065225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4035-6_0_6_line_22 |  | 18 | 20 | 0.061621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4035-6_0_6_line_23 |  | 19 | 21 | 0.016253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4035-6_0_6_line_24 |  | 20 | 22 | 0.041066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4035-6_0_6_line_25 |  | 22 | 23 | 0.015285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4035-6_0_6_line_26 |  | 22 | 24 | 0.012694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4035-6_0_6_line_27 |  | 23 | 25 | 0.022446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_4035-6_0_6_line_28 |  | 24 | 26 | 0.012352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4035-6_0_6_line_29 |  | 25 | 44 | 0.021573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_4035-6_0_6_line_30 |  | 27 | 28 | 0.04732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4035-6_0_6_line_31 |  | 27 | 29 | 0.093141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4035-6_0_6_line_32 |  | 29 | 41 | 0.14925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4035-6_0_6_line_33 |  | 29 | 31 | 0.022532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4035-6_0_6_line_34 |  | 29 | 37 | 0.015792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4035-6_0_6_line_35 |  | 30 | 31 | 0.010653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4035-6_0_6_line_36 |  | 32 | 33 | 0.0326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4035-6_0_6_line_37 |  | 32 | 34 | 0.0035176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4035-6_0_6_line_38 |  | 33 | 35 | 0.028512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4035-6_0_6_line_39 |  | 34 | 36 | 0.011373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4035-6_0_6_line_40 |  | 35 | 37 | 0.012672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4035-6_0_6_line_41 |  | 36 | 38 | 0.019141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4035-6_0_6_line_42 |  | 38 | 39 | 0.014774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_4035-6_0_6_line_43 |  | 38 | 40 | 0.016957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4035-6_0_6_line_44 |  | 39 | 52 | 0.016583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_4035-6_0_6_line_45 |  | 40 | 43 | 0.039204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4035-6_0_6_line_46 |  | 41 | 42 | 0.016383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4035-6_0_6_line_47 |  | 43 | 64 | 0.019612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4035-6_0_6_line_48 |  | 44 | 48 | 0.0047424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_4035-6_0_6_line_49 |  | 45 | 46 | 0.016025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4035-6_0_6_line_50 |  | 45 | 47 | 0.013017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4035-6_0_6_line_51 |  | 46 | 48 | 0.021639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4035-6_0_6_line_52 |  | 46 | 49 | 0.028386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_4035-6_0_6_line_53 |  | 47 | 50 | 0.021753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4035-6_0_6_line_54 |  | 47 | 51 | 0.023742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4035-6_0_6_line_55 |  | 49 | 52 | 0.0065301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_4035-6_0_6_line_56 |  | 53 | 54 | 0.032833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4035-6_0_6_line_57 |  | 53 | 55 | 0.023684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_4035-6_0_6_line_58 |  | 54 | 59 | 0.029271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4035-6_0_6_line_59 |  | 54 | 58 | 0.024455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4035-6_0_6_line_60 |  | 54 | 60 | 0.038651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4035-6_0_6_line_61 |  | 55 | 63 | 0.025415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_4035-6_0_6_line_62 |  | 56 | 57 | 0.0048872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4035-6_0_6_line_63 |  | 56 | 58 | 0.033891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4035-6_0_6_line_64 |  | 59 | 70 | 0.031204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4035-6_0_6_line_65 |  | 60 | 61 | 0.0099117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4035-6_0_6_line_66 |  | 60 | 62 | 0.020838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4035-6_0_6_line_67 |  | 64 | 65 | 0.041766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4035-6_0_6_line_68 |  | 65 | 67 | 0.00947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4035-6_0_6_line_69 |  | 66 | 67 | 0.018989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4035-6_0_6_line_70 |  | 68 | 87 | 6.9326e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4035-6_0_6_line_71 |  | 69 | 82 | 0.0065542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4035-6_0_6_line_72 |  | 70 | 71 | 0.01711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4035-6_0_6_line_73 |  | 71 | 72 | 0.019958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4035-6_0_6_line_74 |  | 72 | 73 | 0.0032726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4035-6_0_6_line_75 |  | 73 | 74 | 0.0062221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4035-6_0_6_line_76 |  | 74 | 78 | 0.0062755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4035-6_0_6_line_77 |  | 75 | 76 | 0.062003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4035-6_0_6_line_78 |  | 75 | 77 | 0.024545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4035-6_0_6_line_79 |  | 76 | 79 | 0.10538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4035-6_0_6_line_80 |  | 77 | 80 | 0.022139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4035-6_0_6_line_81 |  | 78 | 81 | 0.0070414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4035-6_0_6_line_82 |  | 79 | 86 | 0.051072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4035-6_0_6_line_83 |  | 80 | 83 | 0.010336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4035-6_0_6_line_84 |  | 81 | 82 | 0.015616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4035-6_0_6_line_85 |  | 83 | 84 | 0.010498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4035-6_0_6_line_86 |  | 84 | 85 | 0.013294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4035-6_0_6_line_87 |  | 85 | 88 | 0.0083496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4035-6_0_6_line_88 |  | 85 | 87 | 0.026201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4035-6_0_6_line_89 |  | 88 | 89 | 0.023398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4035-6_0_6_line_90 |  | 89 | 90 | 0.0053348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4035-6_0_6_line_91 |  | 90 | 91 | 0.012325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4035-6_0_6_line_92 |  | 92 | 93 | 0.02638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4035-6_0_6_trafo_37 | 0.63 MVA 20/0.4 kV | 94 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2665467.3912 | 1253082.8726 | 2665482.0263 | 1253066.4491
1 | 2665509.1746 | 1253032.8417 | 2665505.7575 | 1253033.4155 | 2665497.2491 | 1253043.3508 | 2665493.2966 | 1253048.6664 | 2665488.7871 | 1253057.9566 | 2665482.8554 | 1253065.5186 | 2665482.0263 | 1253066.4491
2 | 2665509.1746 | 1253032.8417 | 2665511.3269 | 1253025.8605 | 2665514.5792 | 1253019.7254
3 | 2665514.5792 | 1253019.7254 | 2665519.4148 | 1253022.5698 | 2665516.848 | 1253028.1343 | 2665514.6242 | 1253035.4372 | 2665514.351 | 1253037.2168
4 | 2665514.5792 | 1253019.7254 | 2665519.278 | 1253013.9921
5 | 2665514.351 | 1253037.2168 | 2665513.2662 | 1253044.284 | 2665513.7514 | 1253051.5835 | 2665521.5858 | 1253054.828 | 2665529.6041 | 1253058.5793
6 | 2665519.278 | 1253013.9921 | 2665521.4787 | 1253011.3068 | 2665528.4897 | 1253003.7345 | 2665529.7786 | 1253002.3238
7 | 2665500.5394 | 1252779.2123 | 2665501.3174 | 1252773.7586 | 2665514.7234 | 1252742.0286 | 2665516.6733 | 1252735.8376
8 | 2665501.8882 | 1252787.6527 | 2665500.4258 | 1252780.0088 | 2665500.5394 | 1252779.2123
9 | 2665516.6733 | 1252735.8376 | 2665520.2059 | 1252724.6212 | 2665522.3677 | 1252714.793
10 | 2665501.8882 | 1252787.6527 | 2665498.9 | 1252790.3771 | 2665487.5312 | 1252802.3601 | 2665482.1876 | 1252809.4345
11 | 2665501.8882 | 1252787.6527 | 2665520.2109 | 1252769.1865 | 2665536.9065 | 1252753.8823 | 2665544.7313 | 1252747.4596
12 | 2665501.8882 | 1252787.6527 | 2665506.2139 | 1252790.9028 | 2665509.2734 | 1252791.6536
13 | 2665523.7597 | 1252708.4641 | 2665522.3677 | 1252714.793
14 | 2665476.1203 | 1252817.467 | 2665482.1876 | 1252809.4345
15 | 2665529.2095 | 1252665.89 | 2665529.4176 | 1252676.4109 | 2665528.5571 | 1252686.6531 | 2665523.7597 | 1252708.4641
16 | 2665476.1203 | 1252817.467 | 2665490.8745 | 1252830.382
17 | 2665476.1203 | 1252817.467 | 2665462.0981 | 1252838.0824 | 2665459.4959 | 1252842.582
18 | 2665512.9206 | 1252642.3598 | 2665523.3165 | 1252653.5493 | 2665526.762 | 1252659.2915 | 2665529.2095 | 1252665.89
19 | 2665490.8745 | 1252830.382 | 2665493.4067 | 1252832.5986
20 | 2665450.8595 | 1252865.6112 | 2665452.6517 | 1252857.7587 | 2665455.6128 | 1252849.2965 | 2665459.4959 | 1252842.582
21 | 2665444.933 | 1252762.6541 | 2665446.3113 | 1252756.279
22 | 2665436.5085 | 1252823.2841 | 2665441.0237 | 1252809.229 | 2665442.3211 | 1252802.4496 | 2665442.9604 | 1252794.4398 | 2665443.542 | 1252778.6906 | 2665443.4858 | 1252771.4848 | 2665444.2264 | 1252765.9223 | 2665444.933 | 1252762.6541
23 | 2665446.3113 | 1252756.279 | 2665448.6799 | 1252745.3235 | 2665448.5741 | 1252742.6093 | 2665448.328 | 1252740.2938
24 | 2665436.8421 | 1252859.8523 | 2665432.9969 | 1252857.5082 | 2665430.4329 | 1252854.6223 | 2665429.2331 | 1252852.5742 | 2665429.5348 | 1252849.8534 | 2665429.7156 | 1252845.7858 | 2665430.7158 | 1252841.3159 | 2665436.5085 | 1252823.2841
25 | 2665450.8595 | 1252865.6112 | 2665443.0861 | 1252863.6462 | 2665436.8421 | 1252859.8523
26 | 2665436.8421 | 1252859.8523 | 2665429.0495 | 1252869.8734 | 2665429.0495 | 1252869.8734
27 | 2665450.8595 | 1252865.6112 | 2665450.5164 | 1252879.5841 | 2665450.8923 | 1252888.0442
28 | 2665419.2758 | 1252877.3832 | 2665420.066 | 1252877.0349 | 2665429.0495 | 1252869.8734
29 | 2665451.6256 | 1252909.6045 | 2665451.2114 | 1252895.2252 | 2665450.8923 | 1252888.0442
30 | 2665380.3761 | 1252772.2332 | 2665406.534 | 1252776.0802 | 2665408.5227 | 1252770.2535 | 2665412.1082 | 1252766.0567 | 2665413.6371 | 1252756.9805
31 | 2665380.3761 | 1252772.2332 | 2665373.9022 | 1252817.2829 | 2665371.27 | 1252834.2437 | 2665396.5058 | 1252837.5245 | 2665400.0215 | 1252838.9643 | 2665401.0174 | 1252839.6647
32 | 2665335.6163 | 1252832.7161 | 2665332.9871 | 1252845.9966 | 2665331.7045 | 1252854.1883 | 2665329.1027 | 1252860.1973 | 2665338.0012 | 1252866.889 | 2665348.0764 | 1252874.3054 | 2665354.7814 | 1252878.7158 | 2665359.1142 | 1252880.6428 | 2665364.0142 | 1252882.4648 | 2665365.3655 | 1252872.1612 | 2665371.27 | 1252834.2437 | 2665396.5058 | 1252837.5245 | 2665400.0215 | 1252838.9643 | 2665401.0174 | 1252839.6647
33 | 2665401.0174 | 1252839.6647 | 2665403.858 | 1252835.2707 | 2665408.2989 | 1252818.5505
34 | 2665401.0174 | 1252839.6647 | 2665403.5635 | 1252841.4385 | 2665402.6238 | 1252854.0927
35 | 2665408.2989 | 1252818.5505 | 2665411.0336 | 1252808.2543
36 | 2665399.0084 | 1252895.117 | 2665396.1465 | 1252927.5907
37 | 2665395.8423 | 1252931.0951 | 2665396.1362 | 1252927.707 | 2665396.1465 | 1252927.5907
38 | 2665399.0084 | 1252895.117 | 2665401.5114 | 1252866.7155
39 | 2665395.8423 | 1252931.0951 | 2665394.3288 | 1252942.3667
40 | 2665402.6238 | 1252854.0927 | 2665401.5114 | 1252866.7155
41 | 2665393.2958 | 1252961.4776 | 2665394.2307 | 1252943.097 | 2665394.3288 | 1252942.3667
42 | 2665393.2958 | 1252961.4776 | 2665408.0684 | 1252961.6963 | 2665408.0684 | 1252961.6963
43 | 2665393.2958 | 1252961.4776 | 2665382.4632 | 1252961.169 | 2665376.3195 | 1252960.6008
44 | 2665408.0684 | 1252961.6963 | 2665418.7645 | 1252960.0132 | 2665424.2835 | 1252958.3808
45 | 2665376.3195 | 1252960.6008 | 2665377.016 | 1252976.1195 | 2665378.5009 | 1252994.0376 | 2665379.2619 | 1252999.6762
46 | 2665335.6163 | 1252832.7161 | 2665351.4722 | 1252836.8399
47 | 2665381.7856 | 1253019.1251 | 2665380.1331 | 1253006.1309 | 2665379.2619 | 1252999.6762
48 | 2665451.7622 | 1252914.3449 | 2665451.6256 | 1252909.6045
49 | 2665448.7044 | 1252935.6597 | 2665463.0662 | 1252942.77
50 | 2665474.7315 | 1252948.5453 | 2665463.0662 | 1252942.77
51 | 2665451.7622 | 1252914.3449 | 2665451.5038 | 1252919.29 | 2665450.5931 | 1252929.3205 | 2665448.7044 | 1252935.6597
52 | 2665430.3831 | 1252956.1164 | 2665436.3397 | 1252953.1245 | 2665443.7481 | 1252945.7789 | 2665447.858 | 1252938.5079 | 2665448.7044 | 1252935.6597
53 | 2665474.7315 | 1252948.5453 | 2665485.7127 | 1252937.4698 | 2665487.5615 | 1252931.5972
54 | 2665474.7315 | 1252948.5453 | 2665484.3713 | 1252953.6777 | 2665496.0158 | 1252959.0435
55 | 2665430.3831 | 1252956.1164 | 2665428.1143 | 1252957.2478 | 2665424.2835 | 1252958.3808
56 | 2665530.6866 | 1252864.5259 | 2665535.9081 | 1252868.6533 | 2665544.9575 | 1252874.6354 | 2665552.3952 | 1252879.6546 | 2665557.6684 | 1252883.2044
57 | 2665530.6866 | 1252864.5259 | 2665519.4133 | 1252855.606 | 2665512.4516 | 1252849.427
58 | 2665557.6684 | 1252883.2044 | 2665565.9275 | 1252888.3216 | 2665573.7687 | 1252893.7011 | 2665577.3386 | 1252898.4106 | 2665578.6005 | 1252902.3496
59 | 2665557.6684 | 1252883.2044 | 2665571.1954 | 1252862.8318
60 | 2665534.0734 | 1252906.2487 | 2665552.3952 | 1252879.6546 | 2665557.6684 | 1252883.2044
61 | 2665512.4516 | 1252849.427 | 2665499.5731 | 1252837.9964 | 2665493.4067 | 1252832.5986
62 | 2665559.0623 | 1252839.7665 | 2665561.1811 | 1252837.1881 | 2665562.1263 | 1252835.9597
63 | 2665559.0623 | 1252839.7665 | 2665576.0265 | 1252851.3069 | 2665576.8996 | 1252854.2409 | 2665571.1954 | 1252862.8318
64 | 2665571.2404 | 1252931.9004 | 2665577.1709 | 1252919.0124 | 2665579.0252 | 1252911.6943 | 2665579.3735 | 1252904.771 | 2665578.6005 | 1252902.3496
65 | 2665534.0734 | 1252906.2487 | 2665525.8956 | 1252900.6483
66 | 2665534.0734 | 1252906.2487 | 2665537.0391 | 1252908.283 | 2665538.2951 | 1252913.4339 | 2665548.5515 | 1252919.5461
67 | 2665381.7856 | 1253019.1251 | 2665384.6582 | 1253020.0241 | 2665385.8285 | 1253020.6486 | 2665388.2961 | 1253025.4237 | 2665389.278 | 1253026.7021 | 2665413.337 | 1253045.3543
68 | 2665420.8213 | 1253051.1566 | 2665413.337 | 1253045.3543
69 | 2665420.8213 | 1253051.1566 | 2665422.883 | 1253051.6908 | 2665439.7363 | 1253052.1507
70 | 2665529.6669 | 1253058.6087 | 2665529.6041 | 1253058.5793
71 | 2665534.1997 | 1252997.4852 | 2665529.7786 | 1253002.3238
72 | 2665571.2404 | 1252931.9004 | 2665568.0933 | 1252938.7483 | 2665563.8029 | 1252947.3071
73 | 2665563.8029 | 1252947.3071 | 2665555.9708 | 1252962.9314 | 2665554.7049 | 1252965.0649
74 | 2665553.0349 | 1252967.8793 | 2665554.7049 | 1252965.0649
75 | 2665553.0349 | 1252967.8793 | 2665549.8597 | 1252973.2302
76 | 2665546.6572 | 1252978.6272 | 2665549.8597 | 1252973.2302
77 | 2665620.7638 | 1253028.6956 | 2665633.7194 | 1253027.3937 | 2665646.8269 | 1253028.7287 | 2665662.3099 | 1253030.2013 | 2665673.3974 | 1253031.3249 | 2665682.5531 | 1253029.7364
78 | 2665620.7638 | 1253028.6956 | 2665605.7628 | 1253036.1681 | 2665598.534 | 1253039.0612
79 | 2665682.5531 | 1253029.7364 | 2665680.0093 | 1253035.9348 | 2665665.1843 | 1253047.9458 | 2665641.4934 | 1253066.0407 | 2665625.6511 | 1253077.9404 | 2665602.806 | 1253097.3429
80 | 2665598.534 | 1253039.0612 | 2665578.6738 | 1253047.0094 | 2665578.0222 | 1253047.3746
81 | 2665543.1077 | 1252984.7083 | 2665544.9981 | 1252981.4233 | 2665546.6572 | 1252978.6272
82 | 2665569.9088 | 1253136.2862 | 2665590.6866 | 1253109.6983 | 2665599.843 | 1253099.8593 | 2665602.806 | 1253097.3429
83 | 2665578.0222 | 1253047.3746 | 2665572.8575 | 1253050.2696 | 2665569.1 | 1253052.5887
84 | 2665543.1077 | 1252984.7083 | 2665540.4202 | 1252989.3783 | 2665535.5705 | 1252995.985 | 2665534.1997 | 1252997.4852
85 | 2665561.2508 | 1253059.4727 | 2665561.7155 | 1253058.8413 | 2665566.9464 | 1253053.9179 | 2665569.1 | 1253052.5887
86 | 2665553.2079 | 1253070.0552 | 2665556.5366 | 1253065.878 | 2665561.2508 | 1253059.4727
87 | 2665553.2079 | 1253070.0552 | 2665550.7883 | 1253073.909 | 2665548.8854 | 1253077.1973
88 | 2665553.2079 | 1253070.0552 | 2665545.5214 | 1253065.7227 | 2665533.124 | 1253060.2261 | 2665529.6669 | 1253058.6087
89 | 2665548.8854 | 1253077.1973 | 2665546.0571 | 1253082.0848 | 2665536.186 | 1253096.8379
90 | 2665536.186 | 1253096.8379 | 2665533.2193 | 1253101.2717
91 | 2665533.2193 | 1253101.2717 | 2665526.3655 | 1253111.5152
92 | 2665512.9206 | 1252642.3598 | 2665486.997 | 1252637.4754

## bus_geodata
| x | y | coords
0 | 2665467.3912 | 1253082.8726
1 | 2665482.0263 | 1253066.4491
2 | 2665509.1746 | 1253032.8417
3 | 2665514.5792 | 1253019.7254
4 | 2665514.351 | 1253037.2168
5 | 2665519.278 | 1253013.9921
6 | 2665500.5394 | 1252779.2123
7 | 2665516.6733 | 1252735.8376
8 | 2665501.8882 | 1252787.6527
9 | 2665522.3677 | 1252714.793
10 | 2665482.1876 | 1252809.4345
11 | 2665544.7313 | 1252747.4596
12 | 2665509.2734 | 1252791.6536
13 | 2665523.7597 | 1252708.4641
14 | 2665476.1203 | 1252817.467
15 | 2665529.2095 | 1252665.89
16 | 2665490.8745 | 1252830.382
17 | 2665459.4959 | 1252842.582
18 | 2665444.933 | 1252762.6541
19 | 2665446.3113 | 1252756.279
20 | 2665436.5085 | 1252823.2841
21 | 2665448.328 | 1252740.2938
22 | 2665436.8421 | 1252859.8523
23 | 2665450.8595 | 1252865.6112
24 | 2665429.0495 | 1252869.8734
25 | 2665450.8923 | 1252888.0442
26 | 2665419.2758 | 1252877.3832
27 | 2665380.3761 | 1252772.2332
28 | 2665413.6371 | 1252756.9805
29 | 2665401.0174 | 1252839.6647
30 | 2665411.0336 | 1252808.2543
31 | 2665408.2989 | 1252818.5505
32 | 2665396.1465 | 1252927.5907
33 | 2665399.0084 | 1252895.117
34 | 2665395.8423 | 1252931.0951
35 | 2665401.5114 | 1252866.7155
36 | 2665394.3288 | 1252942.3667
37 | 2665402.6238 | 1252854.0927
38 | 2665393.2958 | 1252961.4776
39 | 2665408.0684 | 1252961.6963
40 | 2665376.3195 | 1252960.6008
41 | 2665335.6163 | 1252832.7161
42 | 2665351.4722 | 1252836.8399
43 | 2665379.2619 | 1252999.6762
44 | 2665451.6256 | 1252909.6045
45 | 2665463.0662 | 1252942.77
46 | 2665448.7044 | 1252935.6597
47 | 2665474.7315 | 1252948.5453
48 | 2665451.7622 | 1252914.3449
49 | 2665430.3831 | 1252956.1164
50 | 2665487.5615 | 1252931.5972
51 | 2665496.0158 | 1252959.0435
52 | 2665424.2835 | 1252958.3808
53 | 2665530.6866 | 1252864.5259
54 | 2665557.6684 | 1252883.2044
55 | 2665512.4516 | 1252849.427
56 | 2665559.0623 | 1252839.7665
57 | 2665562.1263 | 1252835.9597
58 | 2665571.1954 | 1252862.8318
59 | 2665578.6005 | 1252902.3496
60 | 2665534.0734 | 1252906.2487
61 | 2665525.8956 | 1252900.6483
62 | 2665548.5515 | 1252919.5461
63 | 2665493.4067 | 1252832.5986
64 | 2665381.7856 | 1253019.1251
65 | 2665413.337 | 1253045.3543
66 | 2665439.7363 | 1253052.1507
67 | 2665420.8213 | 1253051.1566
68 | 2665529.6041 | 1253058.5793
69 | 2665529.7786 | 1253002.3238
70 | 2665571.2404 | 1252931.9004
71 | 2665563.8029 | 1252947.3071
72 | 2665554.7049 | 1252965.0649
73 | 2665553.0349 | 1252967.8793
74 | 2665549.8597 | 1252973.2302
75 | 2665620.7638 | 1253028.6956
76 | 2665682.5531 | 1253029.7364
77 | 2665598.534 | 1253039.0612
78 | 2665546.6572 | 1252978.6272
79 | 2665602.806 | 1253097.3429
80 | 2665578.0222 | 1253047.3746
81 | 2665543.1077 | 1252984.7083
82 | 2665534.1997 | 1252997.4852
83 | 2665569.1 | 1253052.5887
84 | 2665561.2508 | 1253059.4727
85 | 2665553.2079 | 1253070.0552
86 | 2665569.9088 | 1253136.2862
87 | 2665529.6669 | 1253058.6087
88 | 2665548.8854 | 1253077.1973
89 | 2665536.186 | 1253096.8379
90 | 2665533.2193 | 1253101.2717
91 | 2665526.3655 | 1253111.5152
92 | 2665512.9206 | 1252642.3598
93 | 2665486.997 | 1252637.4754
94 | 2665450.8595 | 1252865.6112

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1