## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4037-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4037-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4037-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4037-4_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4037-4_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4037-4_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4037-4_0_5_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_4037-4_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4037-4_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4037-4_0_5_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_4037-4_0_5_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_4037-4_0_5_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_4037-4_0_5_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_4037-4_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4037-4_0_5_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_4037-4_0_5_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_4037-4_0_5_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_4037-4_0_5_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_4037-4_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_4037-4_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_4037-4_0_5_node_71 | 0.4 | n |  | TRUE
21 | bus_LV_4037-4_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_4037-4_0_5_node_78 | 0.4 | n |  | TRUE
23 | bus_LV_4037-4_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_4037-4_0_5_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_4037-4_0_5_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_4037-4_0_5_node_72 | 0.4 | n |  | TRUE
27 | bus_LV_4037-4_0_5_node_77 | 0.4 | n |  | TRUE
28 | bus_LV_4037-4_0_5_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_4037-4_0_5_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_4037-4_0_5_node_96 | 0.4 | n |  | TRUE
31 | bus_LV_4037-4_0_5_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_4037-4_0_5_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_4037-4_0_5_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_4037-4_0_5_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_4037-4_0_5_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_4037-4_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_4037-4_0_5_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_4037-4_0_5_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_4037-4_0_5_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_4037-4_0_5_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_4037-4_0_5_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_4037-4_0_5_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_4037-4_0_5_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_4037-4_0_5_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_4037-4_0_5_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_4037-4_0_5_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_4037-4_0_5_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_4037-4_0_5_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_4037-4_0_5_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_4037-4_0_5_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_4037-4_0_5_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_4037-4_0_5_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_4037-4_0_5_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_4037-4_0_5_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_4037-4_0_5_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_4037-4_0_5_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_4037-4_0_5_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_4037-4_0_5_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_4037-4_0_5_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_4037-4_0_5_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_4037-4_0_5_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_4037-4_0_5_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_4037-4_0_5_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_4037-4_0_5_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_4037-4_0_5_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_4037-4_0_5_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_4037-4_0_5_node_89 | 0.4 | n |  | TRUE
68 | bus_LV_4037-4_0_5_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_4037-4_0_5_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_4037-4_0_5_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_4037-4_0_5_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_4037-4_0_5_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_4037-4_0_5_node_92 | 0.4 | n |  | TRUE
74 | bus_LV_4037-4_0_5_node_93 | 0.4 | n |  | TRUE
75 | bus_LV_4037-4_0_5_node_90 | 0.4 | n |  | TRUE
76 | bus_LV_4037-4_0_5_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_4037-4_0_5_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_4037-4_0_5_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_4037-4_0_5_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_4037-4_0_5_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_4037-4_0_5_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_4037-4_0_5_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_4037-4_0_5_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_4037-4_0_5_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_4037-4_0_5_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_4037-4_0_5_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_4037-4_0_5_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_4037-4_0_5_node_91 | 0.4 | n |  | TRUE
89 | bus_MV_424_1_node_197 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4037-4_0_5_load_0 | 0 | 0.048363 | 0.012121 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4037-4_0_5_load_4 | 4 | 0.011212 | 0.0028101 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4037-4_0_5_load_9 | 6 | 0.0052013 | 0.0013036 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4037-4_0_5_load_7 | 7 | 0.004164 | 0.0010436 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4037-4_0_5_load_18 | 9 | 0.010816 | 0.0027107 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4037-4_0_5_load_16 | 10 | 0.011588 | 0.0029043 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4037-4_0_5_load_15 | 11 | 0.04971 | 0.012459 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4037-4_0_5_load_20 | 14 | 0.021848 | 0.0054756 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4037-4_0_5_load_17 | 16 | 0.021074 | 0.0052817 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4037-4_0_5_load_27 | 17 | 0.0030341 | 0.00076041 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4037-4_0_5_load_10 | 18 | 0.0025784 | 0.00064621 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4037-4_0_5_load_71 | 20 | 0.0023604 | 0.00059157 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4037-4_0_5_load_78 | 22 | 0.0022134 | 0.00055472 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4037-4_0_5_load_13 | 23 | 0.055798 | 0.013984 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4037-4_0_5_load_32 | 24 | 0.0031372 | 0.00078625 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4037-4_0_5_load_25 | 25 | 0.0064637 | 0.00162 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4037-4_0_5_load_72 | 26 | 0.0050389 | 0.0012629 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4037-4_0_5_load_77 | 27 | 0.0025776 | 0.000646 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4037-4_0_5_load_14 | 28 | 0.011792 | 0.0029553 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4037-4_0_5_load_28 | 29 | 0.0030963 | 0.00077601 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4037-4_0_5_load_96 | 30 | 0.004971 | 0.0012459 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4037-4_0_5_load_30 | 31 | 0.011675 | 0.0029261 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4037-4_0_5_load_31 | 32 | 0.002985 | 0.0007481 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4037-4_0_5_load_22 | 33 | 0.012591 | 0.0031555 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4037-4_0_5_load_23 | 34 | 0.0064637 | 0.00162 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4037-4_0_5_load_26 | 36 | 0.0012635 | 0.00031667 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4037-4_0_5_load_34 | 37 | 0.0013799 | 0.00034583 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4037-4_0_5_load_33 | 38 | 0.0042994 | 0.0010775 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4037-4_0_5_load_47 | 39 | 0.00069765 | 0.00017485 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4037-4_0_5_load_35 | 41 | 0.0015321 | 0.00038397 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4037-4_0_5_load_36 | 42 | 0.0013248 | 0.00033203 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4037-4_0_5_load_37 | 43 | 0.0052323 | 0.0013113 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4037-4_0_5_load_38 | 44 | 0.0013421 | 0.00033635 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4037-4_0_5_load_39 | 45 | 0.0021444 | 0.00053743 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4037-4_0_5_load_40 | 46 | 0.0024822 | 0.00062211 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4037-4_0_5_load_41 | 47 | 0.0020022 | 0.0005018 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4037-4_0_5_load_42 | 48 | 0.0021098 | 0.00052877 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4037-4_0_5_load_43 | 49 | 0.0020194 | 0.00050612 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4037-4_0_5_load_48 | 50 | 0.0042783 | 0.0010722 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4037-4_0_5_load_49 | 51 | 0.0064208 | 0.0016092 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4037-4_0_5_load_45 | 52 | 0.0026315 | 0.00065951 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4037-4_0_5_load_46 | 53 | 0.0011035 | 0.00027656 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4037-4_0_5_load_55 | 54 | 0.0016643 | 0.00041712 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4037-4_0_5_load_69 | 55 | 0.0022551 | 0.00056519 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4037-4_0_5_load_56 | 56 | 0.0012826 | 0.00032145 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4037-4_0_5_load_70 | 57 | 0.0037445 | 0.00093846 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4037-4_0_5_load_52 | 58 | 0.0037041 | 0.00092834 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4037-4_0_5_load_53 | 59 | 0.0063364 | 0.001588 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4037-4_0_5_load_54 | 60 | 0.0055313 | 0.0013863 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4037-4_0_5_load_60 | 63 | 0.0046251 | 0.0011592 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4037-4_0_5_load_63 | 65 | 0.0025735 | 0.00064498 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4037-4_0_5_load_89 | 67 | 0.002561 | 0.00064184 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4037-4_0_5_load_62 | 68 | 0.008868 | 0.0022225 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4037-4_0_5_load_67 | 70 | 0.0065532 | 0.0016424 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4037-4_0_5_load_65 | 71 | 0.0026597 | 0.00066658 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4037-4_0_5_load_68 | 72 | 0.0042981 | 0.0010772 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4037-4_0_5_load_92 | 73 | 0.0049008 | 0.0012283 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4037-4_0_5_load_93 | 74 | 0.0094376 | 0.0023653 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4037-4_0_5_load_90 | 75 | 0.0013785 | 0.00034548 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4037-4_0_5_load_64 | 76 | 0.0027509 | 0.00068943 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4037-4_0_5_load_75 | 77 | 0.0026094 | 0.00065397 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4037-4_0_5_load_73 | 78 | 0.0024389 | 0.00061125 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4037-4_0_5_load_74 | 79 | 0.0024442 | 0.00061258 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4037-4_0_5_load_76 | 80 | 0.0031343 | 0.00078554 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4037-4_0_5_load_79 | 81 | 0.0050153 | 0.0012569 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4037-4_0_5_load_82 | 82 | 0.0018647 | 0.00046733 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4037-4_0_5_load_83 | 83 | 0.0030497 | 0.00076433 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4037-4_0_5_load_84 | 84 | 0.002986 | 0.00074837 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4037-4_0_5_load_86 | 85 | 0.0028742 | 0.00072035 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4037-4_0_5_load_87 | 86 | 0.0022561 | 0.00056543 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4037-4_0_5_load_88 | 87 | 0.0021603 | 0.00054141 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4037-4_0_5_load_91 | 88 | 0.0022565 | 0.00056554 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4037-4_0_5_line_0 |  | 0 | 1 | 0.038702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_4037-4_0_5_line_1 |  | 0 | 2 | 0.0020246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_4037-4_0_5_line_2 |  | 1 | 3 | 0.031133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_4037-4_0_5_line_3 |  | 1 | 4 | 0.034879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4037-4_0_5_line_4 |  | 2 | 5 | 0.028721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_4037-4_0_5_line_5 |  | 3 | 6 | 0.026985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_4037-4_0_5_line_6 |  | 3 | 7 | 0.024228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4037-4_0_5_line_7 |  | 5 | 8 | 0.080778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4037-4_0_5_line_8 |  | 5 | 9 | 0.012323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4037-4_0_5_line_9 |  | 6 | 12 | 0.0063391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_4037-4_0_5_line_10 |  | 7 | 13 | 0.038278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4037-4_0_5_line_11 |  | 8 | 10 | 0.025448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4037-4_0_5_line_12 |  | 8 | 11 | 0.045697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4037-4_0_5_line_13 |  | 9 | 16 | 0.056866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4037-4_0_5_line_14 |  | 10 | 17 | 0.019944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4037-4_0_5_line_15 |  | 12 | 24 | 0.032433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4037-4_0_5_line_16 |  | 12 | 25 | 0.023499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4037-4_0_5_line_17 |  | 13 | 18 | 0.024761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4037-4_0_5_line_18 |  | 13 | 19 | 0.05041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4037-4_0_5_line_19 |  | 14 | 15 | 0.049037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4037-4_0_5_line_20 |  | 15 | 16 | 0.030749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4037-4_0_5_line_21 |  | 17 | 29 | 0.0092967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4037-4_0_5_line_22 |  | 17 | 30 | 0.040298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4037-4_0_5_line_23 |  | 18 | 20 | 0.0028119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4037-4_0_5_line_24 |  | 19 | 21 | 0.034214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4037-4_0_5_line_25 |  | 19 | 22 | 0.023676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4037-4_0_5_line_26 |  | 20 | 26 | 0.012192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4037-4_0_5_line_27 |  | 21 | 23 | 0.032314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4037-4_0_5_line_28 |  | 22 | 27 | 0.0013594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4037-4_0_5_line_29 |  | 23 | 28 | 0.048323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4037-4_0_5_line_30 |  | 24 | 39 | 0.031317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4037-4_0_5_line_31 |  | 25 | 34 | 0.033878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4037-4_0_5_line_32 |  | 27 | 81 | 0.0097487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4037-4_0_5_line_33 |  | 29 | 32 | 0.0090726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4037-4_0_5_line_34 |  | 31 | 32 | 0.0048091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4037-4_0_5_line_35 |  | 33 | 34 | 0.033028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4037-4_0_5_line_36 |  | 33 | 35 | 0.067645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4037-4_0_5_line_37 |  | 35 | 36 | 0.049175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4037-4_0_5_line_38 |  | 36 | 37 | 0.023552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4037-4_0_5_line_39 |  | 37 | 38 | 0.0036206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4037-4_0_5_line_40 |  | 38 | 41 | 0.017603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4037-4_0_5_line_41 |  | 39 | 40 | 0.011697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4037-4_0_5_line_42 |  | 40 | 52 | 0.017804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4037-4_0_5_line_43 |  | 40 | 53 | 0.021411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4037-4_0_5_line_44 |  | 40 | 49 | 0.031489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4037-4_0_5_line_45 |  | 41 | 42 | 0.02318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4037-4_0_5_line_46 |  | 42 | 43 | 0.0039856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4037-4_0_5_line_47 |  | 43 | 44 | 0.0051791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4037-4_0_5_line_48 |  | 45 | 46 | 0.0037542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4037-4_0_5_line_49 |  | 45 | 47 | 0.017912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4037-4_0_5_line_50 |  | 46 | 48 | 0.017319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4037-4_0_5_line_51 |  | 47 | 49 | 0.0015556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4037-4_0_5_line_52 |  | 48 | 50 | 0.005764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4037-4_0_5_line_53 |  | 50 | 51 | 0.015512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4037-4_0_5_line_54 |  | 52 | 54 | 0.018899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4037-4_0_5_line_55 |  | 53 | 55 | 0.020731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4037-4_0_5_line_56 |  | 54 | 56 | 0.023663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4037-4_0_5_line_57 |  | 55 | 57 | 0.005042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4037-4_0_5_line_58 |  | 56 | 64 | 0.0055494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4037-4_0_5_line_59 |  | 57 | 77 | 0.022677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4037-4_0_5_line_60 |  | 58 | 59 | 0.031939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4037-4_0_5_line_61 |  | 59 | 60 | 0.020495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4037-4_0_5_line_62 |  | 60 | 61 | 0.023369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4037-4_0_5_line_63 |  | 61 | 62 | 0.007164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4037-4_0_5_line_64 |  | 61 | 63 | 0.025109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4037-4_0_5_line_65 |  | 62 | 69 | 0.006368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4037-4_0_5_line_66 |  | 62 | 70 | 0.020768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4037-4_0_5_line_67 |  | 63 | 66 | 0.013794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4037-4_0_5_line_68 |  | 64 | 65 | 0.021529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4037-4_0_5_line_69 |  | 64 | 66 | 0.046232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4037-4_0_5_line_70 |  | 65 | 67 | 0.00054527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4037-4_0_5_line_71 |  | 66 | 68 | 0.019357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4037-4_0_5_line_72 |  | 67 | 75 | 0.025248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4037-4_0_5_line_73 |  | 68 | 73 | 0.0437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4037-4_0_5_line_74 |  | 69 | 71 | 0.032678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4037-4_0_5_line_75 |  | 70 | 72 | 0.022683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4037-4_0_5_line_76 |  | 71 | 76 | 0.02188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4037-4_0_5_line_77 |  | 73 | 74 | 0.043757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4037-4_0_5_line_78 |  | 75 | 88 | 0.003878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4037-4_0_5_line_79 |  | 77 | 78 | 0.011805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4037-4_0_5_line_80 |  | 78 | 79 | 0.018479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4037-4_0_5_line_81 |  | 79 | 80 | 0.0083597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4037-4_0_5_line_82 |  | 82 | 83 | 0.0099993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4037-4_0_5_line_83 |  | 83 | 84 | 0.016716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4037-4_0_5_line_84 |  | 84 | 85 | 0.0096203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4037-4_0_5_line_85 |  | 85 | 86 | 0.018913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4037-4_0_5_line_86 |  | 86 | 87 | 0.011625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4037-4_0_5_line_87 |  | 87 | 88 | 0.016086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4037-4_0_5_trafo_3 | 0.63 MVA 20/0.4 kV | 89 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2666210.7764 | 1252647.452 | 2666174.2454 | 1252634.6705
1 | 2666172.3344 | 1252634.0019 | 2666174.2454 | 1252634.6705
2 | 2666210.7764 | 1252647.452 | 2666222.3782 | 1252651.907 | 2666238.7568 | 1252661.0966
3 | 2666210.7764 | 1252647.452 | 2666212.7977 | 1252638.7795 | 2666216.1398 | 1252639.5396 | 2666222.2484 | 1252619.6492 | 2666222.8003 | 1252617.9995
4 | 2666172.3344 | 1252634.0019 | 2666175.6472 | 1252619.8288 | 2666176.749 | 1252615.1044 | 2666185.8505 | 1252617.0852
5 | 2666238.7568 | 1252661.0966 | 2666254.1927 | 1252670.2202 | 2666262.2152 | 1252674.4171
6 | 2666238.7568 | 1252661.0966 | 2666232.8183 | 1252672.5162 | 2666227.3013 | 1252682.4425
7 | 2666134.8276 | 1252571.9389 | 2666137.8825 | 1252574.0968 | 2666136.9557 | 1252575.3206 | 2666138.1377 | 1252576.2456 | 2666180.4483 | 1252598.7562 | 2666176.749 | 1252615.1044 | 2666185.8505 | 1252617.0852
8 | 2666185.8505 | 1252617.0852 | 2666188.4346 | 1252605.0363
9 | 2666267.8321 | 1252677.3555 | 2666262.2152 | 1252674.4171
10 | 2666208.7057 | 1252715.9 | 2666227.3013 | 1252682.4425
11 | 2666134.8276 | 1252571.9389 | 2666135.7616 | 1252570.7485 | 2666149.3229 | 1252551.0264
12 | 2666134.8276 | 1252571.9389 | 2666118.7968 | 1252592.3969 | 2666106.9825 | 1252608.1694
13 | 2666188.4346 | 1252605.0363 | 2666193.9153 | 1252579.4817 | 2666196.1455 | 1252572.3682 | 2666206.5645 | 1252551.5553
14 | 2666160.6232 | 1252534.5925 | 2666149.3229 | 1252551.0264
15 | 2666267.8321 | 1252677.3555 | 2666275.1545 | 1252681.1846 | 2666296.5263 | 1252692.4727
16 | 2666267.8321 | 1252677.3555 | 2666276.2776 | 1252655.4266
17 | 2666208.7057 | 1252715.9 | 2666231.1242 | 1252726.4116
18 | 2666189.779 | 1252762.5331 | 2666191.0685 | 1252757.8886 | 2666194.0576 | 1252750.3944 | 2666204.9612 | 1252722.7854 | 2666208.7057 | 1252715.9
19 | 2666220.3289 | 1252524.0594 | 2666234.4323 | 1252532.9233 | 2666244.8932 | 1252545.616 | 2666246.0066 | 1252548.6306 | 2666241.9718 | 1252560.6915
20 | 2666220.3289 | 1252524.0594 | 2666206.5645 | 1252551.5553
21 | 2666160.6232 | 1252534.5925 | 2666165.8906 | 1252526.9321
22 | 2666160.6232 | 1252534.5925 | 2666125.0108 | 1252515.7336
23 | 2666231.1242 | 1252726.4116 | 2666233.6702 | 1252727.6053
24 | 2666189.779 | 1252762.5331 | 2666191.0685 | 1252757.8886 | 2666177.4483 | 1252755.7906 | 2666170.0424 | 1252758.7656 | 2666164.3113 | 1252763.8052
25 | 2666189.779 | 1252762.5331 | 2666211.6618 | 1252771.5721
26 | 2666244.7089 | 1252732.7811 | 2666233.6702 | 1252727.6053
27 | 2666164.3113 | 1252763.8052 | 2666158.7914 | 1252758.7288 | 2666162.0689 | 1252755.1295 | 2666147.4751 | 1252741.5321
28 | 2666212.9182 | 1252772.091 | 2666211.6618 | 1252771.5721
29 | 2666147.4751 | 1252741.5321 | 2666112.1198 | 1252708.5906
30 | 2666323.4293 | 1252708.4678 | 2666305.3725 | 1252697.1451 | 2666296.5263 | 1252692.4727
31 | 2666276.2776 | 1252655.4266 | 2666288.4533 | 1252623.812
32 | 2666221.9285 | 1252775.8129 | 2666212.9182 | 1252772.091
33 | 2666165.8906 | 1252526.9321 | 2666171.0312 | 1252519.4563
34 | 2666173.756 | 1252515.4936 | 2666171.0312 | 1252519.4563
35 | 2666300.3236 | 1252592.9903 | 2666288.4533 | 1252623.812
36 | 2666338.189 | 1252547.8056 | 2666330.1804 | 1252549.317 | 2666326.1177 | 1252547.5258 | 2666316.3082 | 1252551.4855 | 2666300.3236 | 1252592.9903
37 | 2666338.189 | 1252547.8056 | 2666338.3862 | 1252555.8024 | 2666337.9113 | 1252559.7999 | 2666337.1544 | 1252563.3718 | 2666325.4995 | 1252594.7782
38 | 2666325.4995 | 1252594.7782 | 2666317.3055 | 1252616.8586
39 | 2666316.0458 | 1252620.253 | 2666317.3055 | 1252616.8586
40 | 2666316.0458 | 1252620.253 | 2666309.9213 | 1252636.7567
41 | 2666333.339 | 1252714.6817 | 2666323.4293 | 1252708.4678
42 | 2666333.339 | 1252714.6817 | 2666349.2315 | 1252722.7076
43 | 2666333.339 | 1252714.6817 | 2666331.668 | 1252716.998 | 2666320.471 | 1252731.7939
44 | 2666333.339 | 1252714.6817 | 2666346.3117 | 1252693.7453 | 2666349.1092 | 1252687.4826
45 | 2666309.9213 | 1252636.7567 | 2666308.4804 | 1252640.6395 | 2666302.1815 | 1252658.6056
46 | 2666300.8629 | 1252662.3667 | 2666302.1815 | 1252658.6056
47 | 2666299.1494 | 1252667.2541 | 2666300.8629 | 1252662.3667
48 | 2666356.9342 | 1252669.6571 | 2666358.4196 | 1252666.2092
49 | 2666356.9342 | 1252669.6571 | 2666353.2008 | 1252678.3225 | 2666349.7436 | 1252686.0622
50 | 2666365.0681 | 1252650.2172 | 2666359.7322 | 1252663.1626 | 2666358.4196 | 1252666.2092
51 | 2666349.1092 | 1252687.4826 | 2666349.7436 | 1252686.0622
52 | 2666365.0681 | 1252650.2172 | 2666367.2646 | 1252644.8882
53 | 2666373.5859 | 1252630.7865 | 2666372.524 | 1252632.1281 | 2666367.2646 | 1252644.8882
54 | 2666366.101 | 1252731.2268 | 2666349.2315 | 1252722.7076
55 | 2666320.471 | 1252731.7939 | 2666307.9608 | 1252748.3252
56 | 2666366.101 | 1252731.2268 | 2666387.223 | 1252741.8936
57 | 2666304.9183 | 1252752.3457 | 2666307.9608 | 1252748.3252
58 | 2666392.1765 | 1252744.3952 | 2666387.223 | 1252741.8936
59 | 2666304.9183 | 1252752.3457 | 2666291.2342 | 1252770.4281
60 | 2666432.668 | 1252663.4094 | 2666431.1157 | 1252676.4162 | 2666429.1554 | 1252695.1539
61 | 2666429.7342 | 1252715.4843 | 2666429.7342 | 1252715.4843 | 2666428.1657 | 1252704.6144 | 2666429.1554 | 1252695.1539
62 | 2666447.3581 | 1252729.3139 | 2666438.4096 | 1252725.8222 | 2666433.0694 | 1252721.5593 | 2666429.7342 | 1252715.4843
63 | 2666447.3581 | 1252729.3139 | 2666454.5393 | 1252729.5724
64 | 2666447.3581 | 1252729.3139 | 2666445.818 | 1252738.7924 | 2666443.5093 | 1252746.1495 | 2666439.8679 | 1252753.0423
65 | 2666454.5393 | 1252729.5724 | 2666460.8231 | 1252728.431
66 | 2666454.5393 | 1252729.5724 | 2666455.9492 | 1252718.2468 | 2666458.0149 | 1252709.123
67 | 2666433.4246 | 1252765.239 | 2666439.8679 | 1252753.0423
68 | 2666392.1765 | 1252744.3952 | 2666383.561 | 1252746.8782 | 2666377.3971 | 1252751.468 | 2666374.5549 | 1252755.4323
69 | 2666392.1765 | 1252744.3952 | 2666399.7188 | 1252746.7703 | 2666433.4246 | 1252765.239
70 | 2666374.2372 | 1252755.8755 | 2666374.5549 | 1252755.4323
71 | 2666433.4246 | 1252765.239 | 2666424.5003 | 1252782.4164
72 | 2666359.526 | 1252776.3948 | 2666374.2372 | 1252755.8755
73 | 2666424.5003 | 1252782.4164 | 2666414.0811 | 1252802.4711 | 2666404.3721 | 1252821.2045
74 | 2666460.8231 | 1252728.431 | 2666469.6839 | 1252725.6061 | 2666488.5037 | 1252711.7384
75 | 2666458.0149 | 1252709.123 | 2666459.3316 | 1252703.3074 | 2666465.0256 | 1252687.5863
76 | 2666506.1178 | 1252698.7591 | 2666488.5037 | 1252711.7384
77 | 2666404.3721 | 1252821.2045 | 2666386.7461 | 1252855.2137 | 2666384.2175 | 1252860.043
78 | 2666359.526 | 1252776.3948 | 2666357.2664 | 1252779.5465
79 | 2666284.1823 | 1252779.8943 | 2666285.8023 | 1252777.606 | 2666291.2342 | 1252770.4281
80 | 2666284.1823 | 1252779.8943 | 2666273.5053 | 1252794.9762
81 | 2666268.6751 | 1252801.7991 | 2666273.5053 | 1252794.9762
82 | 2666308.037 | 1252846.3153 | 2666314.0458 | 1252838.3229
83 | 2666324.0912 | 1252824.9614 | 2666314.0458 | 1252838.3229
84 | 2666324.0912 | 1252824.9614 | 2666329.8724 | 1252817.272
85 | 2666329.8724 | 1252817.272 | 2666337.3497 | 1252807.3263 | 2666341.1199 | 1252802.0677
86 | 2666347.8937 | 1252792.6195 | 2666341.1199 | 1252802.0677
87 | 2666347.8937 | 1252792.6195 | 2666357.2664 | 1252779.5465

## bus_geodata
| x | y | coords
0 | 2666174.2454 | 1252634.6705
1 | 2666210.7764 | 1252647.452
2 | 2666172.3344 | 1252634.0019
3 | 2666238.7568 | 1252661.0966
4 | 2666222.8003 | 1252617.9995
5 | 2666185.8505 | 1252617.0852
6 | 2666262.2152 | 1252674.4171
7 | 2666227.3013 | 1252682.4425
8 | 2666134.8276 | 1252571.9389
9 | 2666188.4346 | 1252605.0363
10 | 2666149.3229 | 1252551.0264
11 | 2666106.9825 | 1252608.1694
12 | 2666267.8321 | 1252677.3555
13 | 2666208.7057 | 1252715.9
14 | 2666241.9718 | 1252560.6915
15 | 2666220.3289 | 1252524.0594
16 | 2666206.5645 | 1252551.5553
17 | 2666160.6232 | 1252534.5925
18 | 2666231.1242 | 1252726.4116
19 | 2666189.779 | 1252762.5331
20 | 2666233.6702 | 1252727.6053
21 | 2666164.3113 | 1252763.8052
22 | 2666211.6618 | 1252771.5721
23 | 2666147.4751 | 1252741.5321
24 | 2666296.5263 | 1252692.4727
25 | 2666276.2776 | 1252655.4266
26 | 2666244.7089 | 1252732.7811
27 | 2666212.9182 | 1252772.091
28 | 2666112.1198 | 1252708.5906
29 | 2666165.8906 | 1252526.9321
30 | 2666125.0108 | 1252515.7336
31 | 2666173.756 | 1252515.4936
32 | 2666171.0312 | 1252519.4563
33 | 2666300.3236 | 1252592.9903
34 | 2666288.4533 | 1252623.812
35 | 2666338.189 | 1252547.8056
36 | 2666325.4995 | 1252594.7782
37 | 2666317.3055 | 1252616.8586
38 | 2666316.0458 | 1252620.253
39 | 2666323.4293 | 1252708.4678
40 | 2666333.339 | 1252714.6817
41 | 2666309.9213 | 1252636.7567
42 | 2666302.1815 | 1252658.6056
43 | 2666300.8629 | 1252662.3667
44 | 2666299.1494 | 1252667.2541
45 | 2666356.9342 | 1252669.6571
46 | 2666358.4196 | 1252666.2092
47 | 2666349.7436 | 1252686.0622
48 | 2666365.0681 | 1252650.2172
49 | 2666349.1092 | 1252687.4826
50 | 2666367.2646 | 1252644.8881
51 | 2666373.5859 | 1252630.7865
52 | 2666349.2315 | 1252722.7076
53 | 2666320.471 | 1252731.7939
54 | 2666366.101 | 1252731.2268
55 | 2666307.9608 | 1252748.3252
56 | 2666387.223 | 1252741.8936
57 | 2666304.9183 | 1252752.3457
58 | 2666432.668 | 1252663.4094
59 | 2666429.1554 | 1252695.1539
60 | 2666429.7342 | 1252715.4843
61 | 2666447.3581 | 1252729.3139
62 | 2666454.5393 | 1252729.5724
63 | 2666439.8679 | 1252753.0423
64 | 2666392.1765 | 1252744.3952
65 | 2666374.5549 | 1252755.4323
66 | 2666433.4246 | 1252765.239
67 | 2666374.2372 | 1252755.8755
68 | 2666424.5003 | 1252782.4164
69 | 2666460.8231 | 1252728.431
70 | 2666458.0149 | 1252709.123
71 | 2666488.5037 | 1252711.7384
72 | 2666465.0256 | 1252687.5863
73 | 2666404.3721 | 1252821.2045
74 | 2666384.2175 | 1252860.043
75 | 2666359.526 | 1252776.3948
76 | 2666506.1178 | 1252698.7591
77 | 2666291.2342 | 1252770.4281
78 | 2666284.1823 | 1252779.8943
79 | 2666273.5053 | 1252794.9762
80 | 2666268.6751 | 1252801.7991
81 | 2666221.9285 | 1252775.8129
82 | 2666308.037 | 1252846.3153
83 | 2666314.0458 | 1252838.3229
84 | 2666324.0912 | 1252824.9614
85 | 2666329.8724 | 1252817.272
86 | 2666341.1199 | 1252802.0677
87 | 2666347.8937 | 1252792.6195
88 | 2666357.2664 | 1252779.5465
89 | 2666210.7764 | 1252647.452

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1