## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4047-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4047-3_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4047-3_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4047-3_0_5_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_4047-3_0_5_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_4047-3_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_4047-3_0_5_node_157 | 0.4 | n |  | TRUE
7 | bus_LV_4047-3_0_5_node_163 | 0.4 | n |  | TRUE
8 | bus_LV_4047-3_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_4047-3_0_5_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_4047-3_0_5_node_203 | 0.4 | n |  | TRUE
11 | bus_LV_4047-3_0_5_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_4047-3_0_5_node_167 | 0.4 | n |  | TRUE
13 | bus_LV_4047-3_0_5_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_4047-3_0_5_node_109 | 0.4 | n |  | TRUE
15 | bus_LV_4047-3_0_5_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_4047-3_0_5_node_108 | 0.4 | n |  | TRUE
17 | bus_LV_4047-3_0_5_node_99 | 0.4 | n |  | TRUE
18 | bus_LV_4047-3_0_5_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_4047-3_0_5_node_105 | 0.4 | n |  | TRUE
20 | bus_LV_4047-3_0_5_node_103 | 0.4 | n |  | TRUE
21 | bus_LV_4047-3_0_5_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_4047-3_0_5_node_162 | 0.4 | n |  | TRUE
23 | bus_LV_4047-3_0_5_node_160 | 0.4 | n |  | TRUE
24 | bus_LV_4047-3_0_5_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_4047-3_0_5_node_202 | 0.4 | n |  | TRUE
26 | bus_LV_4047-3_0_5_node_146 | 0.4 | n |  | TRUE
27 | bus_LV_4047-3_0_5_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_4047-3_0_5_node_134 | 0.4 | n |  | TRUE
29 | bus_LV_4047-3_0_5_node_137 | 0.4 | n |  | TRUE
30 | bus_LV_4047-3_0_5_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_4047-3_0_5_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_4047-3_0_5_node_204 | 0.4 | n |  | TRUE
33 | bus_LV_4047-3_0_5_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_4047-3_0_5_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_4047-3_0_5_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_4047-3_0_5_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_4047-3_0_5_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_4047-3_0_5_node_106 | 0.4 | n |  | TRUE
39 | bus_LV_4047-3_0_5_node_166 | 0.4 | n |  | TRUE
40 | bus_LV_4047-3_0_5_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_4047-3_0_5_node_107 | 0.4 | n |  | TRUE
42 | bus_LV_4047-3_0_5_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_4047-3_0_5_node_104 | 0.4 | n |  | TRUE
44 | bus_LV_4047-3_0_5_node_98 | 0.4 | n |  | TRUE
45 | bus_LV_4047-3_0_5_node_120 | 0.4 | n |  | TRUE
46 | bus_LV_4047-3_0_5_node_128 | 0.4 | n |  | TRUE
47 | bus_LV_4047-3_0_5_node_127 | 0.4 | n |  | TRUE
48 | bus_LV_4047-3_0_5_node_173 | 0.4 | n |  | TRUE
49 | bus_LV_4047-3_0_5_node_170 | 0.4 | n |  | TRUE
50 | bus_LV_4047-3_0_5_node_161 | 0.4 | n |  | TRUE
51 | bus_LV_4047-3_0_5_node_158 | 0.4 | n |  | TRUE
52 | bus_LV_4047-3_0_5_node_156 | 0.4 | n |  | TRUE
53 | bus_LV_4047-3_0_5_node_164 | 0.4 | n |  | TRUE
54 | bus_LV_4047-3_0_5_node_111 | 0.4 | n |  | TRUE
55 | bus_LV_4047-3_0_5_node_141 | 0.4 | n |  | TRUE
56 | bus_LV_4047-3_0_5_node_143 | 0.4 | n |  | TRUE
57 | bus_LV_4047-3_0_5_node_140 | 0.4 | n |  | TRUE
58 | bus_LV_4047-3_0_5_node_118 | 0.4 | n |  | TRUE
59 | bus_LV_4047-3_0_5_node_135 | 0.4 | n |  | TRUE
60 | bus_LV_4047-3_0_5_node_115 | 0.4 | n |  | TRUE
61 | bus_LV_4047-3_0_5_node_136 | 0.4 | n |  | TRUE
62 | bus_LV_4047-3_0_5_node_172 | 0.4 | n |  | TRUE
63 | bus_LV_4047-3_0_5_node_159 | 0.4 | n |  | TRUE
64 | bus_LV_4047-3_0_5_node_129 | 0.4 | n |  | TRUE
65 | bus_LV_4047-3_0_5_node_132 | 0.4 | n |  | TRUE
66 | bus_LV_4047-3_0_5_node_26 | 0.4 | n |  | TRUE
67 | bus_LV_4047-3_0_5_node_165 | 0.4 | n |  | TRUE
68 | bus_LV_4047-3_0_5_node_155 | 0.4 | n |  | TRUE
69 | bus_LV_4047-3_0_5_node_100 | 0.4 | n |  | TRUE
70 | bus_LV_4047-3_0_5_node_101 | 0.4 | n |  | TRUE
71 | bus_LV_4047-3_0_5_node_102 | 0.4 | n |  | TRUE
72 | bus_LV_4047-3_0_5_node_110 | 0.4 | n |  | TRUE
73 | bus_LV_4047-3_0_5_node_112 | 0.4 | n |  | TRUE
74 | bus_LV_4047-3_0_5_node_154 | 0.4 | n |  | TRUE
75 | bus_LV_4047-3_0_5_node_113 | 0.4 | n |  | TRUE
76 | bus_LV_4047-3_0_5_node_116 | 0.4 | n |  | TRUE
77 | bus_LV_4047-3_0_5_node_114 | 0.4 | n |  | TRUE
78 | bus_LV_4047-3_0_5_node_117 | 0.4 | n |  | TRUE
79 | bus_LV_4047-3_0_5_node_121 | 0.4 | n |  | TRUE
80 | bus_LV_4047-3_0_5_node_122 | 0.4 | n |  | TRUE
81 | bus_LV_4047-3_0_5_node_133 | 0.4 | n |  | TRUE
82 | bus_LV_4047-3_0_5_node_126 | 0.4 | n |  | TRUE
83 | bus_LV_4047-3_0_5_node_123 | 0.4 | n |  | TRUE
84 | bus_LV_4047-3_0_5_node_124 | 0.4 | n |  | TRUE
85 | bus_LV_4047-3_0_5_node_125 | 0.4 | n |  | TRUE
86 | bus_LV_4047-3_0_5_node_168 | 0.4 | n |  | TRUE
87 | bus_LV_4047-3_0_5_node_169 | 0.4 | n |  | TRUE
88 | bus_LV_4047-3_0_5_node_130 | 0.4 | n |  | TRUE
89 | bus_LV_4047-3_0_5_node_131 | 0.4 | n |  | TRUE
90 | bus_LV_4047-3_0_5_node_139 | 0.4 | n |  | TRUE
91 | bus_LV_4047-3_0_5_node_171 | 0.4 | n |  | TRUE
92 | bus_LV_4047-3_0_5_node_142 | 0.4 | n |  | TRUE
93 | bus_LV_4047-3_0_5_node_144 | 0.4 | n |  | TRUE
94 | bus_LV_4047-3_0_5_node_145 | 0.4 | n |  | TRUE
95 | bus_LV_4047-3_0_5_node_148 | 0.4 | n |  | TRUE
96 | bus_LV_4047-3_0_5_node_149 | 0.4 | n |  | TRUE
97 | bus_LV_4047-3_0_5_node_150 | 0.4 | n |  | TRUE
98 | bus_LV_4047-3_0_5_node_151 | 0.4 | n |  | TRUE
99 | bus_LV_4047-3_0_5_node_153 | 0.4 | n |  | TRUE
100 | bus_LV_4047-3_0_5_node_152 | 0.4 | n |  | TRUE
101 | bus_MV_302_1_node_52 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4047-3_0_5_load_0 | 0 | 0.0005521 | 0.00013837 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4047-3_0_5_load_2 | 2 | 0.0057507 | 0.0014413 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4047-3_0_5_load_24 | 4 | 0.00087825 | 0.00022011 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4047-3_0_5_load_163 | 7 | 0.0061171 | 0.0015331 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4047-3_0_5_load_203 | 10 | 0.0086672 | 0.0021722 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4047-3_0_5_load_167 | 12 | 0.0091271 | 0.0022875 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4047-3_0_5_load_109 | 14 | 0.0022227 | 0.00055705 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4047-3_0_5_load_108 | 16 | 0.0013309 | 0.00033355 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4047-3_0_5_load_99 | 17 | 0.0074104 | 0.0018572 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4047-3_0_5_load_105 | 19 | 0.01317 | 0.0033008 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4047-3_0_5_load_103 | 20 | 0.0010324 | 0.00025873 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4047-3_0_5_load_162 | 22 | 0.0097523 | 0.0024442 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4047-3_0_5_load_202 | 25 | 0.008667 | 0.0021722 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4047-3_0_5_load_146 | 26 | 0.0019298 | 0.00048366 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4047-3_0_5_load_137 | 29 | 0.01061 | 0.002659 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4047-3_0_5_load_25 | 30 | 0.0039966 | 0.0010016 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4047-3_0_5_load_204 | 32 | 0.0013775 | 0.00034523 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4047-3_0_5_load_27 | 36 | 0.00076461 | 0.00019163 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4047-3_0_5_load_106 | 38 | 0.0013219 | 0.0003313 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4047-3_0_5_load_166 | 39 | 0.0061346 | 0.0015375 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4047-3_0_5_load_107 | 41 | 0.0080714 | 0.0020229 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4047-3_0_5_load_104 | 43 | 0.006751 | 0.001692 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4047-3_0_5_load_98 | 44 | 0.0017469 | 0.00043781 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4047-3_0_5_load_128 | 46 | 0.0014554 | 0.00036475 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4047-3_0_5_load_127 | 47 | 0.0014465 | 0.00036253 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4047-3_0_5_load_173 | 48 | 0.003646 | 0.00091378 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4047-3_0_5_load_161 | 50 | 0.0042973 | 0.001077 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4047-3_0_5_load_158 | 51 | 0.0059856 | 0.0015001 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4047-3_0_5_load_156 | 52 | 0.0040543 | 0.0010161 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4047-3_0_5_load_164 | 53 | 0.0078188 | 0.0019596 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4047-3_0_5_load_111 | 54 | 0.0013014 | 0.00032615 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4047-3_0_5_load_143 | 56 | 0.0042701 | 0.0010702 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4047-3_0_5_load_140 | 57 | 0.0044189 | 0.0011075 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4047-3_0_5_load_135 | 59 | 0.0010716 | 0.00026857 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4047-3_0_5_load_115 | 60 | 0.0015119 | 0.00037893 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4047-3_0_5_load_136 | 61 | 0.003714 | 0.00093082 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4047-3_0_5_load_159 | 63 | 0.0059496 | 0.0014911 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4047-3_0_5_load_132 | 65 | 0.0013572 | 0.00034015 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4047-3_0_5_load_26 | 66 | 0.0003717 | 9.3157e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4047-3_0_5_load_165 | 67 | 0.0023082 | 0.0005785 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4047-3_0_5_load_155 | 68 | 0.0029102 | 0.00072936 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4047-3_0_5_load_102 | 71 | 0.0047825 | 0.0011986 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4047-3_0_5_load_110 | 72 | 0.0016665 | 0.00041767 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4047-3_0_5_load_112 | 73 | 0.0017675 | 0.00044298 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4047-3_0_5_load_113 | 75 | 0.0022128 | 0.00055458 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4047-3_0_5_load_116 | 76 | 0.0036456 | 0.00091367 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4047-3_0_5_load_114 | 77 | 0.0058558 | 0.0014676 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4047-3_0_5_load_117 | 78 | 0.0053147 | 0.001332 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4047-3_0_5_load_121 | 79 | 0.0012581 | 0.00031531 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4047-3_0_5_load_122 | 80 | 0.00075843 | 0.00019008 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4047-3_0_5_load_133 | 81 | 0.0012239 | 0.00030674 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4047-3_0_5_load_126 | 82 | 0.0020347 | 0.00050995 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4047-3_0_5_load_123 | 83 | 0.001267 | 0.00031755 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4047-3_0_5_load_124 | 84 | 0.0021649 | 0.00054257 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4047-3_0_5_load_125 | 85 | 0.001299 | 0.00032556 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4047-3_0_5_load_168 | 86 | 0.0056401 | 0.0014135 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4047-3_0_5_load_130 | 88 | 0.0015291 | 0.00038322 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4047-3_0_5_load_131 | 89 | 0.0010967 | 0.00027486 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4047-3_0_5_load_139 | 90 | 0.010216 | 0.0025603 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4047-3_0_5_load_171 | 91 | 0.010215 | 0.0025602 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4047-3_0_5_load_144 | 93 | 0.009324 | 0.0023368 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4047-3_0_5_load_149 | 96 | 0.0099143 | 0.0024848 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4047-3_0_5_load_150 | 97 | 0.0038207 | 0.00095755 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4047-3_0_5_load_151 | 98 | 0.0091186 | 0.0022853 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4047-3_0_5_load_153 | 99 | 0.0018195 | 0.000456 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4047-3_0_5_load_152 | 100 | 0.0098818 | 0.0024766 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4047-3_0_5_line_0 |  | 0 | 1 | 0.13595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4047-3_0_5_line_1 |  | 1 | 2 | 0.0082005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_4047-3_0_5_line_2 |  | 1 | 3 | 0.98455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_4047-3_0_5_line_3 |  | 2 | 4 | 0.061021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_4047-3_0_5_line_4 |  | 3 | 11 | 0.064491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_4047-3_0_5_line_5 |  | 3 | 12 | 0.025331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4047-3_0_5_line_6 |  | 4 | 30 | 0.0067457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4047-3_0_5_line_7 |  | 5 | 6 | 0.051403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_4047-3_0_5_line_8 |  | 5 | 7 | 0.038527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_4047-3_0_5_line_9 |  | 6 | 50 | 0.004515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_4047-3_0_5_line_10 |  | 6 | 51 | 0.041456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_4047-3_0_5_line_11 |  | 6 | 52 | 0.015946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_4047-3_0_5_line_12 |  | 7 | 53 | 0.034395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_4047-3_0_5_line_13 |  | 8 | 9 | 0.031476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_4047-3_0_5_line_14 |  | 8 | 10 | 0.025907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_4047-3_0_5_line_15 |  | 9 | 24 | 0.022877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_4047-3_0_5_line_16 |  | 9 | 25 | 0.02523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_4047-3_0_5_line_17 |  | 10 | 11 | 0.021258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_4047-3_0_5_line_18 |  | 13 | 14 | 0.013863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4047-3_0_5_line_19 |  | 13 | 15 | 0.03811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4047-3_0_5_line_20 |  | 13 | 16 | 0.015606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4047-3_0_5_line_21 |  | 14 | 54 | 0.014331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4047-3_0_5_line_22 |  | 15 | 17 | 0.016893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4047-3_0_5_line_23 |  | 18 | 19 | 0.10159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4047-3_0_5_line_24 |  | 18 | 20 | 0.0098925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_4047-3_0_5_line_25 |  | 20 | 43 | 0.026229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_4047-3_0_5_line_26 |  | 21 | 22 | 0.030146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_4047-3_0_5_line_27 |  | 21 | 23 | 0.007313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_4047-3_0_5_line_28 |  | 23 | 63 | 0.021438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_4047-3_0_5_line_29 |  | 23 | 24 | 0.012342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_4047-3_0_5_line_30 |  | 24 | 26 | 0.011273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4047-3_0_5_line_31 |  | 25 | 62 | 0.021445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_4047-3_0_5_line_32 |  | 27 | 28 | 0.034913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4047-3_0_5_line_33 |  | 27 | 29 | 0.017994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4047-3_0_5_line_34 |  | 28 | 64 | 0.016937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_4047-3_0_5_line_35 |  | 28 | 65 | 0.029007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_4047-3_0_5_line_36 |  | 29 | 61 | 0.033009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4047-3_0_5_line_37 |  | 31 | 32 | 0.0064854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4047-3_0_5_line_38 |  | 31 | 33 | 0.21118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4047-3_0_5_line_39 |  | 32 | 34 | 0.0058676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4047-3_0_5_line_40 |  | 33 | 39 | 0.040815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_4047-3_0_5_line_41 |  | 33 | 37 | 0.011211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_4047-3_0_5_line_42 |  | 34 | 35 | 0.024215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4047-3_0_5_line_43 |  | 35 | 36 | 0.015014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4047-3_0_5_line_44 |  | 36 | 66 | 0.0042339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4047-3_0_5_line_45 |  | 37 | 38 | 0.0050017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_4047-3_0_5_line_46 |  | 38 | 40 | 0.060166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_4047-3_0_5_line_47 |  | 39 | 67 | 0.044912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_4047-3_0_5_line_48 |  | 40 | 41 | 0.01971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_4047-3_0_5_line_49 |  | 40 | 42 | 0.062726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_4047-3_0_5_line_50 |  | 40 | 43 | 0.064916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_4047-3_0_5_line_51 |  | 41 | 68 | 0.040057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_4047-3_0_5_line_52 |  | 42 | 44 | 0.010566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4047-3_0_5_line_53 |  | 45 | 46 | 0.033453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_4047-3_0_5_line_54 |  | 45 | 47 | 0.016817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_4047-3_0_5_line_55 |  | 46 | 64 | 0.0010795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_4047-3_0_5_line_56 |  | 47 | 82 | 5.1798e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_4047-3_0_5_line_57 |  | 48 | 49 | 0.021143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4047-3_0_5_line_58 |  | 49 | 62 | 0.020219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_4047-3_0_5_line_59 |  | 49 | 87 | 0.011869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_4047-3_0_5_line_60 |  | 51 | 63 | 0.020448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_4047-3_0_5_line_61 |  | 53 | 67 | 0.028498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_4047-3_0_5_line_62 |  | 54 | 75 | 0.017918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4047-3_0_5_line_63 |  | 55 | 56 | 0.01004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_4047-3_0_5_line_64 |  | 55 | 57 | 0.015706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_4047-3_0_5_line_65 |  | 57 | 92 | 0.020833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_4047-3_0_5_line_66 |  | 58 | 59 | 0.0090143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4047-3_0_5_line_67 |  | 58 | 60 | 0.0073471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4047-3_0_5_line_68 |  | 59 | 81 | 0.0078972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4047-3_0_5_line_69 |  | 60 | 77 | 0.0096973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4047-3_0_5_line_70 |  | 64 | 86 | 0.024717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_4047-3_0_5_line_71 |  | 65 | 88 | 0.00053104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_4047-3_0_5_line_72 |  | 68 | 74 | 0.050594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_4047-3_0_5_line_73 |  | 69 | 70 | 0.004593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4047-3_0_5_line_74 |  | 69 | 71 | 0.019546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4047-3_0_5_line_75 |  | 70 | 72 | 0.0096032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4047-3_0_5_line_76 |  | 72 | 73 | 0.021194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4047-3_0_5_line_77 |  | 73 | 76 | 0.0018741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4047-3_0_5_line_78 |  | 74 | 99 | 0.02512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_4047-3_0_5_line_79 |  | 75 | 77 | 0.0053435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4047-3_0_5_line_80 |  | 76 | 78 | 0.020011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4047-3_0_5_line_81 |  | 78 | 79 | 0.0015152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4047-3_0_5_line_82 |  | 79 | 80 | 0.01777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4047-3_0_5_line_83 |  | 80 | 83 | 0.0040538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4047-3_0_5_line_84 |  | 81 | 89 | 0.0086073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4047-3_0_5_line_85 |  | 82 | 85 | 0.021061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_4047-3_0_5_line_86 |  | 83 | 84 | 0.012382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4047-3_0_5_line_87 |  | 84 | 85 | 0.0096053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_4047-3_0_5_line_88 |  | 86 | 87 | 0.017424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_4047-3_0_5_line_89 |  | 87 | 91 | 0.020832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_4047-3_0_5_line_90 |  | 88 | 89 | 0.016223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_4047-3_0_5_line_91 |  | 90 | 91 | 2.9726e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4047-3_0_5_line_92 |  | 92 | 93 | 0.019147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_4047-3_0_5_line_93 |  | 92 | 94 | 0.00577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_4047-3_0_5_line_94 |  | 93 | 95 | 0.02235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_4047-3_0_5_line_95 |  | 94 | 96 | 0.043825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_4047-3_0_5_line_96 |  | 94 | 97 | 0.017681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_4047-3_0_5_line_97 |  | 95 | 98 | 0.014691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_4047-3_0_5_line_98 |  | 96 | 99 | 0.0021535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
99 | LV_4047-3_0_5_line_99 |  | 98 | 100 | 0.016385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4047-3_0_5_trafo_143 | 0.63 MVA 20/0.4 kV | 101 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32
0 | 2661087.0566 | 1263976.7817 | 2661076.7584 | 1263947.8428 | 2661056.7602 | 1263893.9855 | 2661040.4775 | 1263849.064
1 | 2661087.0566 | 1263976.7817 | 2661079.3345 | 1263974.0218
2 | 2661087.0566 | 1263976.7817 | 2661092.8199 | 1263987.5714 | 2661116.4548 | 1264017.4265 | 2661140.977 | 1264040.119 | 2661158.9145 | 1264053.5143 | 2661173.798 | 1264062.8974 | 2661194.2726 | 1264072.7498 | 2661216.7567 | 1264080.5548 | 2661254.6912 | 1264107.6898 | 2661285.6699 | 1264135.1977 | 2661294.5433 | 1264143.0733 | 2661298.4839 | 1264150.9088 | 2661298.2031 | 1264156.9215 | 2661289.683 | 1264159.2905 | 2661278.9961 | 1264155.6104 | 2661252.2959 | 1264133.8844 | 2661229.1762 | 1264118.3892 | 2661200.4109 | 1264101.1232 | 2661174.4861 | 1264090.2914 | 2661146.8561 | 1264079.7424 | 2661089.5836 | 1264050.7514 | 2661033.8267 | 1264008.4113 | 2660986.6459 | 1263960.4003 | 2660960.0038 | 1263921.1633 | 2660886.3023 | 1263824.8442 | 2660881.4572 | 1263818.4563 | 2660872.3171 | 1263812.9693 | 2660861.9478 | 1263812.0174 | 2660847.7076 | 1263813.939 | 2660862.886 | 1263845.2628 | 2660871.1315 | 1263862.2824 | 2660889.1435 | 1263900.7295 | 2660874.6768 | 1263907.8415
3 | 2661079.3345 | 1263974.0218 | 2661072.191 | 1263971.4687 | 2661054.4189 | 1263961.7003 | 2661046.2787 | 1263949.1403 | 2661038.9511 | 1263932.4938
4 | 2660865.5597 | 1263953.537 | 2660849.2571 | 1263922.4352 | 2660861.2096 | 1263914.4522 | 2660874.6768 | 1263907.8415
5 | 2660874.6768 | 1263907.8415 | 2660883.5018 | 1263931.5859
6 | 2661036.2333 | 1263926.3198 | 2661038.9511 | 1263932.4938
7 | 2660697.4694 | 1264009.5403 | 2660709.7563 | 1264007.0868 | 2660735.2564 | 1264002.9232 | 2660738.214 | 1264015.6185
8 | 2660697.4694 | 1264009.5403 | 2660696.1241 | 1264012.1951 | 2660695.4098 | 1264015.0121 | 2660695.438 | 1264018.1258 | 2660700.5295 | 1264047.2139
9 | 2660738.214 | 1264015.6185 | 2660733.7334 | 1264016.273
10 | 2660738.214 | 1264015.6185 | 2660741.5734 | 1264014.8636 | 2660742.5967 | 1264009.092 | 2660746.4241 | 1264004.5724 | 2660760.7771 | 1264002.6184 | 2660772.448 | 1264001.3168
11 | 2660738.214 | 1264015.6185 | 2660741.8303 | 1264031.1492
12 | 2660706.4598 | 1264081.0943 | 2660700.5295 | 1264047.2139
13 | 2660824.114 | 1263976.0496 | 2660833.8639 | 1263993.9742 | 2660839.149 | 1264003.7024
14 | 2660824.114 | 1263976.0496 | 2660846.8792 | 1263963.6839
15 | 2660823.1407 | 1263998.901 | 2660827.2139 | 1263996.8524 | 2660833.8639 | 1263993.9742 | 2660839.149 | 1264003.7024
16 | 2660839.149 | 1264003.7024 | 2660861.4666 | 1263991.9353
17 | 2660865.5597 | 1263953.537 | 2660846.8792 | 1263963.6839
18 | 2660971.5535 | 1264169.1103 | 2660964.9402 | 1264156.9259
19 | 2660971.5535 | 1264169.1103 | 2660969.0482 | 1264171.0414 | 2660985.6543 | 1264201.7909
20 | 2660971.5535 | 1264169.1103 | 2660984.0267 | 1264159.7306
21 | 2660958.1041 | 1264144.3308 | 2660964.9402 | 1264156.9259
22 | 2660985.6543 | 1264201.7909 | 2661000.5451 | 1264193.8135
23 | 2660869.8749 | 1264170.0972 | 2660869.5781 | 1264168.9378 | 2660869.7216 | 1264167.427 | 2660870.7126 | 1264165.5469 | 2660873.1701 | 1264163.871 | 2660890.6658 | 1264158.7584 | 2660892.25 | 1264158.5078 | 2660893.7164 | 1264158.7342 | 2660895.1735 | 1264159.1161 | 2660896.2611 | 1264160.2837 | 2660908.5342 | 1264182.5377 | 2660908.9949 | 1264184.6106 | 2660909.0953 | 1264186.5576 | 2660908.6524 | 1264188.6101 | 2660907.536 | 1264190.2442 | 2660906.0618 | 1264191.5078 | 2660888.5852 | 1264200.6235 | 2660885.947 | 1264202.2976 | 2660884.8336 | 1264203.6315 | 2660884.326 | 1264205.3832 | 2660884.2413 | 1264207.7618 | 2660884.7074 | 1264212.9594
24 | 2660884.7074 | 1264212.9594 | 2660874.9283 | 1264214.4531
25 | 2660874.9283 | 1264214.4531 | 2660864.7251 | 1264216.0116 | 2660848.9102 | 1264217.7268
26 | 2660809.7577 | 1263986.3652 | 2660806.2067 | 1263980.113 | 2660808.2651 | 1263976.9763 | 2660808.3074 | 1263972.8625 | 2660806.779 | 1263967.6763 | 2660803.8533 | 1263961.4194 | 2660802.5472 | 1263958.9695
27 | 2660809.7577 | 1263986.3652 | 2660813.2919 | 1263992.7729
28 | 2660813.2919 | 1263992.7729 | 2660810.7377 | 1263992.869 | 2660801.3954 | 1263994.6187 | 2660792.4173 | 1263997.3266
29 | 2660813.2919 | 1263992.7729 | 2660815.8388 | 1263992.6657 | 2660820.7352 | 1263995.5182 | 2660823.1407 | 1263998.901
30 | 2660823.1407 | 1263998.901 | 2660823.9426 | 1264000.0211 | 2660826.7564 | 1264008.3785 | 2660827.0512 | 1264009.4146
31 | 2660880.4364 | 1263981.9333 | 2660861.4666 | 1263991.9353
32 | 2660904.6044 | 1264046.4076 | 2660874.6381 | 1264064.4681
33 | 2660874.6381 | 1264064.4681 | 2660882.109 | 1264080.8374
34 | 2660918.5548 | 1264036.7441 | 2660904.6044 | 1264046.4076
35 | 2660904.6044 | 1264046.4076 | 2660918.5515 | 1264071.8413
36 | 2660896.9954 | 1264110.2967 | 2660883.1378 | 1264083.0915 | 2660882.109 | 1264080.8374
37 | 2660577.6686 | 1264245.5313 | 2660571.2273 | 1264244.7765
38 | 2660577.6686 | 1264245.5313 | 2660584.7909 | 1264246.505 | 2660596.4634 | 1264248.8374 | 2660597.7419 | 1264224.0321 | 2660604.144 | 1264223.2638 | 2660604.2946 | 1264217.3943 | 2660604.3741 | 1264214.0482 | 2660605.2222 | 1264211.3994 | 2660605.765 | 1264209.8705 | 2660606.8141 | 1264203.0429 | 2660607.7434 | 1264196.8812 | 2660613.1632 | 1264197.1702 | 2660618.5064 | 1264194.6342 | 2660623.1713 | 1264189.2113 | 2660624.7784 | 1264183.0566 | 2660627.1756 | 1264183.5815 | 2660633.1854 | 1264184.3437 | 2660639.335 | 1264183.9731 | 2660655.3811 | 1264180.6463 | 2660661.1692 | 1264188.3447 | 2660670.3056 | 1264194.1538 | 2660685.0611 | 1264197.6966 | 2660694.7283 | 1264198.0183 | 2660704.7792 | 1264198.3661 | 2660711.7397 | 1264192.3664 | 2660725.2447 | 1264193.7394
39 | 2660565.3996 | 1264244.0935 | 2660571.2273 | 1264244.7765
40 | 2660725.2447 | 1264193.7394 | 2660723.5677 | 1264178.8334 | 2660719.1168 | 1264153.4049
41 | 2660724.2338 | 1264204.9039 | 2660725.2447 | 1264193.7394
42 | 2660565.3996 | 1264244.0935 | 2660555.0761 | 1264243.8877 | 2660552.5787 | 1264243.5841 | 2660552.9818 | 1264232.1798
43 | 2660552.9818 | 1264232.1798 | 2660538.061 | 1264230.5082
44 | 2660538.061 | 1264230.5082 | 2660533.8534 | 1264230.0368
45 | 2660724.2338 | 1264204.9039 | 2660729.2352 | 1264204.8553
46 | 2660784.0638 | 1264216.6493 | 2660765.3171 | 1264215.9896 | 2660748.7461 | 1264213.9623 | 2660736.4496 | 1264213.7248 | 2660731.0283 | 1264210.6557 | 2660729.3255 | 1264207.0578 | 2660729.2352 | 1264204.8553
47 | 2660719.1168 | 1264153.4049 | 2660711.3733 | 1264109.1658
48 | 2660784.0638 | 1264216.6493 | 2660779.7567 | 1264197.4156
49 | 2660740.9809 | 1264235.2428 | 2660760.1145 | 1264235.6173 | 2660760.3079 | 1264224.8558 | 2660760.4022 | 1264219.3527 | 2660784.719 | 1264219.5805 | 2660784.0638 | 1264216.6493
50 | 2660784.0638 | 1264216.6493 | 2660830.1008 | 1264218.4016 | 2660842.8141 | 1264218.3879 | 2660848.9102 | 1264217.7268
51 | 2660771.0035 | 1264158.3267 | 2660779.7567 | 1264197.4156
52 | 2660740.9809 | 1264235.2428 | 2660740.6314 | 1264245.8026
53 | 2660947.9571 | 1264018.6335 | 2660919.474 | 1264036.1779
54 | 2660947.9571 | 1264018.6335 | 2660955.9686 | 1264033.4199
55 | 2660918.5548 | 1264036.7441 | 2660919.474 | 1264036.1779
56 | 2660955.9686 | 1264033.4199 | 2660955.9933 | 1264033.4654
57 | 2660889.8247 | 1263999.8543 | 2660908.6879 | 1263990.3032
58 | 2660889.8247 | 1263999.8543 | 2660880.4364 | 1263981.9333
59 | 2660895.335 | 1264010.3744 | 2660889.8247 | 1263999.8543
60 | 2660772.448 | 1264001.3168 | 2660783.142 | 1264000.1241 | 2660792.4173 | 1263997.3266
61 | 2660711.3733 | 1264109.1658 | 2660706.4598 | 1264081.0943
62 | 2660958.1041 | 1264144.3308 | 2660949.5569 | 1264128.5833
63 | 2660864.3741 | 1264086.2452 | 2660859.2717 | 1264077.5982
64 | 2660864.3741 | 1264086.2452 | 2660864.17 | 1264091.4359 | 2660853.8877 | 1264093.6196
65 | 2660833.5095 | 1264097.9475 | 2660853.8877 | 1264093.6196
66 | 2660938.8771 | 1264108.9068 | 2660934.5429 | 1264101.0029
67 | 2660938.8771 | 1264108.9068 | 2660942.3819 | 1264115.3641
68 | 2660934.5429 | 1264101.0029 | 2660930.7457 | 1264094.0785
69 | 2660942.3819 | 1264115.3641 | 2660947.0078 | 1264123.8869
70 | 2660918.5548 | 1264036.7441 | 2660906.6675 | 1264015.0738
71 | 2660918.5515 | 1264071.8413 | 2660918.8069 | 1264072.3069
72 | 2660759.9477 | 1264108.9552 | 2660771.0035 | 1264158.3267
73 | 2661012.7166 | 1264138.1562 | 2661016.6946 | 1264135.84
74 | 2661016.6946 | 1264135.84 | 2661032.4929 | 1264124.3306
75 | 2661012.7166 | 1264138.1562 | 2661008.1418 | 1264129.7127
76 | 2660998.0454 | 1264111.0783 | 2661008.1418 | 1264129.7127
77 | 2660997.1526 | 1264109.4306 | 2660998.0454 | 1264111.0783
78 | 2660759.9477 | 1264108.9552 | 2660784.4375 | 1264103.3652
79 | 2660949.5569 | 1264128.5833 | 2660947.0078 | 1264123.8869
80 | 2660997.1526 | 1264109.4306 | 2660987.6196 | 1264091.8362
81 | 2660987.6196 | 1264091.8362 | 2660986.8978 | 1264090.504
82 | 2660978.4324 | 1264074.8799 | 2660986.8978 | 1264090.504
83 | 2660978.4324 | 1264074.8799 | 2660976.5013 | 1264071.3157
84 | 2660926.6072 | 1264086.5314 | 2660930.7457 | 1264094.0785
85 | 2660955.9933 | 1264033.4654 | 2660966.0266 | 1264051.9833
86 | 2660970.6025 | 1264060.4287 | 2660976.5013 | 1264071.3157
87 | 2660970.6025 | 1264060.4287 | 2660966.0266 | 1264051.9833
88 | 2660895.335 | 1264010.3744 | 2660901.98 | 1264006.5288 | 2660906.6675 | 1264015.0738
89 | 2660895.335 | 1264010.3744 | 2660876.8958 | 1264020.0673
90 | 2660918.8069 | 1264072.3069 | 2660926.6072 | 1264086.5314
91 | 2660876.8958 | 1264020.0673 | 2660876.8695 | 1264020.0812
92 | 2660833.5095 | 1264097.9475 | 2660834.2803 | 1264091.8398 | 2660831.5233 | 1264079.1448
93 | 2660828.6232 | 1264100.6993 | 2660831.2601 | 1264098.4247 | 2660833.5095 | 1264097.9475
94 | 2660826.7801 | 1264057.3038 | 2660831.5233 | 1264079.1448
95 | 2660828.6232 | 1264100.6993 | 2660824.8946 | 1264097.8144 | 2660813.6463 | 1264096.6979 | 2660786.537 | 1264102.8859
96 | 2660828.6232 | 1264100.6993 | 2660830.878 | 1264106.2822 | 2660833.8044 | 1264117.5689
97 | 2660826.7801 | 1264057.3038 | 2660812.4104 | 1264060.3572
98 | 2660784.4375 | 1264103.3652 | 2660786.537 | 1264102.8859
99 | 2660796.3836 | 1264063.7628 | 2660812.4104 | 1264060.3572

## bus_geodata
| x | y | coords
0 | 2661040.4775 | 1263849.064
1 | 2661087.0566 | 1263976.7817
2 | 2661079.3345 | 1263974.0218
3 | 2660874.6768 | 1263907.8415
4 | 2661038.9511 | 1263932.4938
5 | 2660697.4694 | 1264009.5403
6 | 2660738.214 | 1264015.6185
7 | 2660700.5295 | 1264047.2139
8 | 2660824.114 | 1263976.0496
9 | 2660839.149 | 1264003.7024
10 | 2660846.8792 | 1263963.684
11 | 2660865.5597 | 1263953.537
12 | 2660883.5018 | 1263931.5859
13 | 2660971.5535 | 1264169.1103
14 | 2660964.9402 | 1264156.9259
15 | 2660985.6543 | 1264201.7909
16 | 2660984.0267 | 1264159.7306
17 | 2661000.5451 | 1264193.8135
18 | 2660884.7074 | 1264212.9594
19 | 2660869.8749 | 1264170.0972
20 | 2660874.9283 | 1264214.4531
21 | 2660809.7577 | 1263986.3652
22 | 2660802.5472 | 1263958.9695
23 | 2660813.292 | 1263992.7729
24 | 2660823.1407 | 1263998.901
25 | 2660861.4666 | 1263991.9353
26 | 2660827.0512 | 1264009.4146
27 | 2660874.6381 | 1264064.4681
28 | 2660904.6044 | 1264046.4076
29 | 2660882.109 | 1264080.8374
30 | 2661036.2333 | 1263926.3198
31 | 2660577.6686 | 1264245.5313
32 | 2660571.2273 | 1264244.7765
33 | 2660725.2447 | 1264193.7394
34 | 2660565.3996 | 1264244.0935
35 | 2660552.9818 | 1264232.1798
36 | 2660538.061 | 1264230.5082
37 | 2660724.2338 | 1264204.9039
38 | 2660729.2352 | 1264204.8553
39 | 2660719.1168 | 1264153.4049
40 | 2660784.0638 | 1264216.6493
41 | 2660779.7567 | 1264197.4156
42 | 2660740.9809 | 1264235.2428
43 | 2660848.9102 | 1264217.7268
44 | 2660740.6314 | 1264245.8026
45 | 2660947.9571 | 1264018.6335
46 | 2660919.474 | 1264036.1779
47 | 2660955.9686 | 1264033.4199
48 | 2660908.6879 | 1263990.3032
49 | 2660889.8247 | 1263999.8543
50 | 2660733.7334 | 1264016.273
51 | 2660772.448 | 1264001.3168
52 | 2660741.8303 | 1264031.1492
53 | 2660706.4598 | 1264081.0943
54 | 2660958.1041 | 1264144.3308
55 | 2660864.3741 | 1264086.2452
56 | 2660859.2717 | 1264077.5982
57 | 2660853.8877 | 1264093.6196
58 | 2660938.8771 | 1264108.9068
59 | 2660934.5429 | 1264101.0029
60 | 2660942.3819 | 1264115.3641
61 | 2660896.9954 | 1264110.2967
62 | 2660880.4364 | 1263981.9333
63 | 2660792.4173 | 1263997.3266
64 | 2660918.5548 | 1264036.7441
65 | 2660918.5515 | 1264071.8413
66 | 2660533.8534 | 1264230.0368
67 | 2660711.3733 | 1264109.1658
68 | 2660771.0035 | 1264158.3267
69 | 2661016.6946 | 1264135.84
70 | 2661012.7166 | 1264138.1562
71 | 2661032.4929 | 1264124.3306
72 | 2661008.1418 | 1264129.7127
73 | 2660998.0454 | 1264111.0783
74 | 2660759.9477 | 1264108.9552
75 | 2660949.5569 | 1264128.5833
76 | 2660997.1526 | 1264109.4306
77 | 2660947.0078 | 1264123.8869
78 | 2660987.6196 | 1264091.8362
79 | 2660986.8978 | 1264090.504
80 | 2660978.4324 | 1264074.8799
81 | 2660930.7457 | 1264094.0785
82 | 2660955.9933 | 1264033.4654
83 | 2660976.5013 | 1264071.3157
84 | 2660970.6025 | 1264060.4287
85 | 2660966.0266 | 1264051.9833
86 | 2660906.6675 | 1264015.0738
87 | 2660895.335 | 1264010.3744
88 | 2660918.8069 | 1264072.3069
89 | 2660926.6072 | 1264086.5314
90 | 2660876.8695 | 1264020.0812
91 | 2660876.8958 | 1264020.0673
92 | 2660833.5095 | 1264097.9475
93 | 2660831.5233 | 1264079.1448
94 | 2660828.6232 | 1264100.6993
95 | 2660826.7801 | 1264057.3038
96 | 2660786.5369 | 1264102.8859
97 | 2660833.8044 | 1264117.5689
98 | 2660812.4104 | 1264060.3572
99 | 2660784.4375 | 1264103.3652
100 | 2660796.3836 | 1264063.7628
101 | 2660864.3741 | 1264086.2452

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1