## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4066-1_1_3_node_135 | 0.4 | n |  | TRUE
1 | bus_LV_4066-1_1_3_node_136 | 0.4 | n |  | TRUE
2 | bus_LV_4066-1_1_3_node_137 | 0.4 | n |  | TRUE
3 | bus_LV_4066-1_1_3_node_138 | 0.4 | n |  | TRUE
4 | bus_LV_4066-1_1_3_node_139 | 0.4 | n |  | TRUE
5 | bus_LV_4066-1_1_3_node_140 | 0.4 | n |  | TRUE
6 | bus_LV_4066-1_1_3_node_141 | 0.4 | n |  | TRUE
7 | bus_LV_4066-1_1_3_node_142 | 0.4 | n |  | TRUE
8 | bus_LV_4066-1_1_3_node_144 | 0.4 | n |  | TRUE
9 | bus_LV_4066-1_1_3_node_145 | 0.4 | n |  | TRUE
10 | bus_LV_4066-1_1_3_node_143 | 0.4 | n |  | TRUE
11 | bus_LV_4066-1_1_3_node_146 | 0.4 | n |  | TRUE
12 | bus_LV_4066-1_1_3_node_163 | 0.4 | n |  | TRUE
13 | bus_LV_4066-1_1_3_node_158 | 0.4 | n |  | TRUE
14 | bus_LV_4066-1_1_3_node_147 | 0.4 | n |  | TRUE
15 | bus_LV_4066-1_1_3_node_82 | 0.4 | n |  | TRUE
16 | bus_LV_4066-1_1_3_node_148 | 0.4 | n |  | TRUE
17 | bus_LV_4066-1_1_3_node_149 | 0.4 | n |  | TRUE
18 | bus_LV_4066-1_1_3_node_151 | 0.4 | n |  | TRUE
19 | bus_LV_4066-1_1_3_node_150 | 0.4 | n |  | TRUE
20 | bus_LV_4066-1_1_3_node_152 | 0.4 | n |  | TRUE
21 | bus_LV_4066-1_1_3_node_181 | 0.4 | n |  | TRUE
22 | bus_LV_4066-1_1_3_node_156 | 0.4 | n |  | TRUE
23 | bus_LV_4066-1_1_3_node_153 | 0.4 | n |  | TRUE
24 | bus_LV_4066-1_1_3_node_154 | 0.4 | n |  | TRUE
25 | bus_LV_4066-1_1_3_node_155 | 0.4 | n |  | TRUE
26 | bus_LV_4066-1_1_3_node_157 | 0.4 | n |  | TRUE
27 | bus_LV_4066-1_1_3_node_183 | 0.4 | n |  | TRUE
28 | bus_LV_4066-1_1_3_node_159 | 0.4 | n |  | TRUE
29 | bus_LV_4066-1_1_3_node_160 | 0.4 | n |  | TRUE
30 | bus_LV_4066-1_1_3_node_161 | 0.4 | n |  | TRUE
31 | bus_LV_4066-1_1_3_node_162 | 0.4 | n |  | TRUE
32 | bus_LV_4066-1_1_3_node_170 | 0.4 | n |  | TRUE
33 | bus_LV_4066-1_1_3_node_164 | 0.4 | n |  | TRUE
34 | bus_LV_4066-1_1_3_node_165 | 0.4 | n |  | TRUE
35 | bus_LV_4066-1_1_3_node_166 | 0.4 | n |  | TRUE
36 | bus_LV_4066-1_1_3_node_167 | 0.4 | n |  | TRUE
37 | bus_LV_4066-1_1_3_node_168 | 0.4 | n |  | TRUE
38 | bus_LV_4066-1_1_3_node_169 | 0.4 | n |  | TRUE
39 | bus_LV_4066-1_1_3_node_172 | 0.4 | n |  | TRUE
40 | bus_LV_4066-1_1_3_node_171 | 0.4 | n |  | TRUE
41 | bus_LV_4066-1_1_3_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_4066-1_1_3_node_182 | 0.4 | n |  | TRUE
43 | bus_LV_4066-1_1_3_node_184 | 0.4 | n |  | TRUE
44 | bus_MV_426_1_node_129 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4066-1_1_3_load_135 | 0 | 0.010329 | 0.0025888 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4066-1_1_3_load_136 | 1 | 0.00527 | 0.0013208 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4066-1_1_3_load_137 | 2 | 0.002039 | 0.00051101 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4066-1_1_3_load_138 | 3 | 0.00527 | 0.0013208 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4066-1_1_3_load_139 | 4 | 0.015197 | 0.0038088 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4066-1_1_3_load_142 | 7 | 0.00095094 | 0.00023833 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4066-1_1_3_load_145 | 9 | 0.00095094 | 0.00023833 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4066-1_1_3_load_143 | 10 | 0.002039 | 0.00051101 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4066-1_1_3_load_146 | 11 | 0.0050942 | 0.0012767 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4066-1_1_3_load_163 | 12 | 0.0020005 | 0.00050138 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4066-1_1_3_load_158 | 13 | 0.0020006 | 0.00050139 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4066-1_1_3_load_147 | 14 | 0.0021986 | 0.00055103 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4066-1_1_3_load_148 | 16 | 0.0023317 | 0.00058438 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4066-1_1_3_load_150 | 19 | 0.0028544 | 0.00071538 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4066-1_1_3_load_181 | 21 | 0.03485 | 0.0087343 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4066-1_1_3_load_156 | 22 | 0.085987 | 0.02155 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4066-1_1_3_load_153 | 23 | 0.0014297 | 0.00035832 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4066-1_1_3_load_154 | 24 | 0.0018767 | 0.00047035 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4066-1_1_3_load_155 | 25 | 0.001605 | 0.00040225 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4066-1_1_3_load_157 | 26 | 0.0018792 | 0.00047096 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4066-1_1_3_load_159 | 28 | 0.0023258 | 0.00058289 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4066-1_1_3_load_160 | 29 | 0.0021525 | 0.00053948 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4066-1_1_3_load_161 | 30 | 0.001765 | 0.00044236 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4066-1_1_3_load_162 | 31 | 0.0018786 | 0.00047081 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4066-1_1_3_load_170 | 32 | 0.0021373 | 0.00053566 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4066-1_1_3_load_164 | 33 | 0.00096274 | 0.00024129 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4066-1_1_3_load_165 | 34 | 0.0019559 | 0.00049019 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4066-1_1_3_load_166 | 35 | 0.00096274 | 0.00024129 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4066-1_1_3_load_167 | 36 | 0.0019968 | 0.00050044 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4066-1_1_3_load_168 | 37 | 0.00154 | 0.00038596 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4066-1_1_3_load_169 | 38 | 0.0020063 | 0.00050282 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4066-1_1_3_load_172 | 39 | 0.0013986 | 0.00035053 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4066-1_1_3_load_171 | 40 | 0.0020988 | 0.000526 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4066-1_1_3_load_182 | 42 | 0.014784 | 0.0037053 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4066-1_1_3_load_184 | 43 | 0.022025 | 0.00552 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4066-1_1_3_line_0 |  | 0 | 1 | 0.017384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4066-1_1_3_line_1 |  | 0 | 2 | 0.0069063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4066-1_1_3_line_2 |  | 1 | 3 | 0.021773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4066-1_1_3_line_3 |  | 3 | 4 | 0.017772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4066-1_1_3_line_4 |  | 4 | 5 | 0.031106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4066-1_1_3_line_5 |  | 5 | 6 | 0.029281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4066-1_1_3_line_6 |  | 5 | 7 | 0.013163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4066-1_1_3_line_7 |  | 6 | 8 | 0.020216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4066-1_1_3_line_8 |  | 6 | 9 | 0.035799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4066-1_1_3_line_9 |  | 6 | 10 | 0.074073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4066-1_1_3_line_10 |  | 7 | 11 | 0.090244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4066-1_1_3_line_11 |  | 8 | 12 | 0.0082326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4066-1_1_3_line_12 |  | 8 | 13 | 0.0091496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4066-1_1_3_line_13 |  | 9 | 14 | 0.028397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4066-1_1_3_line_14 |  | 11 | 15 | 0.0051467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4066-1_1_3_line_15 |  | 12 | 33 | 0.0072313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4066-1_1_3_line_16 |  | 13 | 26 | 0.01017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4066-1_1_3_line_17 |  | 14 | 16 | 0.067501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4066-1_1_3_line_18 |  | 15 | 19 | 0.01415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4066-1_1_3_line_19 |  | 16 | 17 | 0.18022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4066-1_1_3_line_20 |  | 17 | 18 | 0.0887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_4066-1_1_3_line_21 |  | 18 | 20 | 0.067474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4066-1_1_3_line_22 |  | 18 | 21 | 0.042215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4066-1_1_3_line_23 |  | 20 | 22 | 0.059997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4066-1_1_3_line_24 |  | 21 | 42 | 0.0055846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4066-1_1_3_line_25 |  | 22 | 27 | 0.032977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4066-1_1_3_line_26 |  | 23 | 24 | 0.034572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4066-1_1_3_line_27 |  | 24 | 25 | 0.019943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4066-1_1_3_line_28 |  | 25 | 26 | 0.0029647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4066-1_1_3_line_29 |  | 27 | 43 | 0.023062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4066-1_1_3_line_30 |  | 28 | 29 | 0.029103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4066-1_1_3_line_31 |  | 29 | 30 | 0.028177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4066-1_1_3_line_32 |  | 30 | 31 | 0.017618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4066-1_1_3_line_33 |  | 31 | 32 | 0.022241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4066-1_1_3_line_34 |  | 32 | 40 | 0.046568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4066-1_1_3_line_35 |  | 33 | 34 | 0.010263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4066-1_1_3_line_36 |  | 34 | 35 | 0.013306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4066-1_1_3_line_37 |  | 35 | 36 | 0.0064595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4066-1_1_3_line_38 |  | 36 | 37 | 0.022374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4066-1_1_3_line_39 |  | 37 | 38 | 0.0010717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4066-1_1_3_line_40 |  | 38 | 39 | 0.023759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4066-1_1_3_line_41 |  | 39 | 41 | 0.022538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4066-1_1_3_line_42 |  | 40 | 41 | 0.023395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4066-1_1_3_trafo_149 | 0.63 MVA 20/0.4 kV | 44 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2668239.831 | 1246607.8925 | 2668244.1903 | 1246600.7564 | 2668249.4191 | 1246593.4049
1 | 2668236.2307 | 1246613.7862 | 2668239.831 | 1246607.8925
2 | 2668249.4191 | 1246593.4049 | 2668262.0386 | 1246575.6623
3 | 2668262.0386 | 1246575.6623 | 2668272.3396 | 1246561.1796
4 | 2668290.3689 | 1246535.8311 | 2668272.3396 | 1246561.1796
5 | 2668315.9943 | 1246550.1362 | 2668290.3689 | 1246535.8311
6 | 2668290.3689 | 1246535.8311 | 2668295.2902 | 1246523.6229
7 | 2668315.9943 | 1246550.1362 | 2668334.2883 | 1246558.853
8 | 2668315.9943 | 1246550.1362 | 2668331.7222 | 1246517.9767
9 | 2668315.9943 | 1246550.1362 | 2668310.7818 | 1246561.284 | 2668294.0908 | 1246597.0169 | 2668284.6828 | 1246617.2654
10 | 2668295.2902 | 1246523.6229 | 2668329.0308 | 1246439.9235
11 | 2668334.2883 | 1246558.853 | 2668335.0066 | 1246564.0427 | 2668334.0879 | 1246566.8916
12 | 2668334.2883 | 1246558.853 | 2668338.7715 | 1246550.877
13 | 2668331.7222 | 1246517.9767 | 2668341.7494 | 1246497.4736 | 2668344.2272 | 1246492.4815
14 | 2668330.955 | 1246435.15 | 2668329.0308 | 1246439.9235
15 | 2668334.0879 | 1246566.8916 | 2668331.8684 | 1246573.7739
16 | 2668342.4934 | 1246541.5346 | 2668341.5534 | 1246545.9276 | 2668338.7715 | 1246550.877
17 | 2668344.2272 | 1246492.4815 | 2668369.4603 | 1246441.6426 | 2668374.2354 | 1246432.0174
18 | 2668330.955 | 1246435.15 | 2668336.2508 | 1246422.024
19 | 2668461.361 | 1246274.6742 | 2668421.09 | 1246337.298 | 2668399.7101 | 1246375.9897 | 2668384.4519 | 1246410.538 | 2668380.9069 | 1246418.5695 | 2668374.2354 | 1246432.0174
20 | 2668461.361 | 1246274.6742 | 2668469.7766 | 1246258.3376 | 2668487.4204 | 1246212.2312 | 2668489.3306 | 1246202.5242 | 2668479.3145 | 1246197.8275
21 | 2668479.3145 | 1246197.8275 | 2668489.3306 | 1246202.5242 | 2668497.7973 | 1246159.5474 | 2668510.1912 | 1246157.2333
22 | 2668479.3145 | 1246197.8275 | 2668471.2641 | 1246210.6547 | 2668462.2329 | 1246236.1748
23 | 2668510.1912 | 1246157.2333 | 2668517.9791 | 1246153.3983 | 2668534.0914 | 1246122.8519 | 2668535.9922 | 1246106.1791
24 | 2668460.3699 | 1246241.4394 | 2668462.2329 | 1246236.1748
25 | 2668538.539 | 1246073.3686 | 2668538.8247 | 1246081.333 | 2668535.9922 | 1246106.1791
26 | 2668353.5284 | 1246486.1132 | 2668351.3016 | 1246490.6122 | 2668346.3996 | 1246502.9978 | 2668346.7181 | 1246504.8583 | 2668347.5912 | 1246507.1032 | 2668346.2315 | 1246518.9612
27 | 2668346.2315 | 1246518.9612 | 2668344.9708 | 1246529.9558 | 2668343.1136 | 1246538.6356
28 | 2668343.1136 | 1246538.6356 | 2668342.4934 | 1246541.5346
29 | 2668538.539 | 1246073.3686 | 2668538.0976 | 1246061.2327 | 2668540.179 | 1246050.5153
30 | 2668411.018 | 1246560.1607 | 2668395.4185 | 1246581.6512 | 2668394.1155 | 1246583.84
31 | 2668394.1155 | 1246583.84 | 2668379.7023 | 1246608.0515
32 | 2668379.7023 | 1246608.0515 | 2668373.1786 | 1246619.01 | 2668372.1407 | 1246623.7631
33 | 2668372.1407 | 1246623.7631 | 2668369.175 | 1246637.3434 | 2668365.783 | 1246644.9633
34 | 2668365.783 | 1246644.9633 | 2668362.3894 | 1246652.587 | 2668354.7718 | 1246662.673 | 2668336.8665 | 1246669.4159 | 2668330.4419 | 1246669.9947
35 | 2668331.8684 | 1246573.7739 | 2668328.7184 | 1246583.5418
36 | 2668324.6345 | 1246596.2053 | 2668328.7184 | 1246583.5418
37 | 2668324.6345 | 1246596.2053 | 2668322.652 | 1246602.353
38 | 2668322.652 | 1246602.353 | 2668315.785 | 1246623.6468
39 | 2668315.785 | 1246623.6468 | 2668315.456 | 1246624.6667
40 | 2668315.456 | 1246624.6667 | 2668313.4862 | 1246630.775 | 2668309.4745 | 1246647.6454
41 | 2668307.4374 | 1246669.2768 | 2668305.4124 | 1246664.7281 | 2668309.4745 | 1246647.6454
42 | 2668307.4374 | 1246669.2768 | 2668314.4378 | 1246671.4367 | 2668330.4419 | 1246669.9947

## bus_geodata
| x | y | coords
0 | 2668239.831 | 1246607.8925
1 | 2668249.4191 | 1246593.4049
2 | 2668236.2307 | 1246613.7862
3 | 2668262.0386 | 1246575.6623
4 | 2668272.3396 | 1246561.1796
5 | 2668290.3689 | 1246535.8311
6 | 2668315.9943 | 1246550.1362
7 | 2668295.2902 | 1246523.6229
8 | 2668334.2883 | 1246558.853
9 | 2668331.7222 | 1246517.9767
10 | 2668284.6828 | 1246617.2654
11 | 2668329.0308 | 1246439.9235
12 | 2668334.0879 | 1246566.8916
13 | 2668338.7715 | 1246550.877
14 | 2668344.2272 | 1246492.4815
15 | 2668330.955 | 1246435.15
16 | 2668374.2354 | 1246432.0174
17 | 2668461.361 | 1246274.6742
18 | 2668479.3145 | 1246197.8275
19 | 2668336.2508 | 1246422.024
20 | 2668510.1912 | 1246157.2333
21 | 2668462.2329 | 1246236.1748
22 | 2668535.9922 | 1246106.1791
23 | 2668353.5284 | 1246486.1132
24 | 2668346.2315 | 1246518.9612
25 | 2668343.1136 | 1246538.6356
26 | 2668342.4934 | 1246541.5346
27 | 2668538.539 | 1246073.3686
28 | 2668411.018 | 1246560.1607
29 | 2668394.1155 | 1246583.84
30 | 2668379.7023 | 1246608.0515
31 | 2668372.1407 | 1246623.7631
32 | 2668365.783 | 1246644.9633
33 | 2668331.8684 | 1246573.7739
34 | 2668328.7184 | 1246583.5418
35 | 2668324.6345 | 1246596.2053
36 | 2668322.652 | 1246602.353
37 | 2668315.785 | 1246623.6468
38 | 2668315.456 | 1246624.6667
39 | 2668309.4745 | 1246647.6454
40 | 2668330.4419 | 1246669.9947
41 | 2668307.4374 | 1246669.2768
42 | 2668460.3699 | 1246241.4394
43 | 2668540.179 | 1246050.5153
44 | 2668489.3306 | 1246202.5242

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1