## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4067-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4067-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4067-4_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4067-4_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_4067-4_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4067-4_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4067-4_0_3_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_4067-4_0_3_node_58 | 0.4 | n |  | TRUE
8 | bus_LV_4067-4_0_3_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_4067-4_0_3_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_4067-4_0_3_node_57 | 0.4 | n |  | TRUE
11 | bus_LV_4067-4_0_3_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_4067-4_0_3_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_4067-4_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_4067-4_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_4067-4_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4067-4_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_4067-4_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4067-4_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4067-4_0_3_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_4067-4_0_3_node_62 | 0.4 | n |  | TRUE
21 | bus_LV_4067-4_0_3_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_4067-4_0_3_node_80 | 0.4 | n |  | TRUE
23 | bus_LV_4067-4_0_3_node_81 | 0.4 | n |  | TRUE
24 | bus_LV_4067-4_0_3_node_77 | 0.4 | n |  | TRUE
25 | bus_LV_4067-4_0_3_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_4067-4_0_3_node_79 | 0.4 | n |  | TRUE
27 | bus_LV_4067-4_0_3_node_74 | 0.4 | n |  | TRUE
28 | bus_LV_4067-4_0_3_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_4067-4_0_3_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_4067-4_0_3_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_4067-4_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_4067-4_0_3_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_4067-4_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_4067-4_0_3_node_64 | 0.4 | n |  | TRUE
35 | bus_LV_4067-4_0_3_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_4067-4_0_3_node_72 | 0.4 | n |  | TRUE
37 | bus_LV_4067-4_0_3_node_70 | 0.4 | n |  | TRUE
38 | bus_LV_4067-4_0_3_node_75 | 0.4 | n |  | TRUE
39 | bus_LV_4067-4_0_3_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_4067-4_0_3_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_4067-4_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_4067-4_0_3_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_4067-4_0_3_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_4067-4_0_3_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_4067-4_0_3_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_4067-4_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_4067-4_0_3_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_4067-4_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_4067-4_0_3_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_4067-4_0_3_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_4067-4_0_3_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_4067-4_0_3_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_4067-4_0_3_node_78 | 0.4 | n |  | TRUE
54 | bus_LV_4067-4_0_3_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_4067-4_0_3_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_4067-4_0_3_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_4067-4_0_3_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_4067-4_0_3_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_4067-4_0_3_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_4067-4_0_3_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_4067-4_0_3_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_4067-4_0_3_node_37 | 0.4 | n |  | TRUE
63 | bus_LV_4067-4_0_3_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_4067-4_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_4067-4_0_3_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_4067-4_0_3_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_4067-4_0_3_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_4067-4_0_3_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_4067-4_0_3_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_4067-4_0_3_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_4067-4_0_3_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_4067-4_0_3_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_4067-4_0_3_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_4067-4_0_3_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_4067-4_0_3_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_4067-4_0_3_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_4067-4_0_3_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_4067-4_0_3_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_4067-4_0_3_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_4067-4_0_3_node_67 | 0.4 | n |  | TRUE
81 | bus_MV_428_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4067-4_0_3_load_0 | 0 | 0.0060275 | 0.0015106 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4067-4_0_3_load_1 | 1 | 0.0028424 | 0.00071238 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4067-4_0_3_load_3 | 2 | 0.012219 | 0.0030623 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4067-4_0_3_load_5 | 5 | 0.0056624 | 0.0014191 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4067-4_0_3_load_22 | 6 | 0.0024161 | 0.00060553 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4067-4_0_3_load_58 | 7 | 0.001964 | 0.00049223 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4067-4_0_3_load_21 | 9 | 0.0027337 | 0.00068512 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4067-4_0_3_load_20 | 11 | 0.02177 | 0.0054562 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4067-4_0_3_load_18 | 12 | 0.0014717 | 0.00036884 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4067-4_0_3_load_6 | 13 | 0.0022201 | 0.00055642 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4067-4_0_3_load_7 | 14 | 0.0039651 | 0.00099374 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4067-4_0_3_load_10 | 17 | 0.0024429 | 0.00061224 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4067-4_0_3_load_61 | 19 | 0.0024182 | 0.00060607 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4067-4_0_3_load_42 | 21 | 0.0075438 | 0.0018907 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4067-4_0_3_load_80 | 22 | 0.0017927 | 0.0004493 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4067-4_0_3_load_81 | 23 | 0.0011315 | 0.00028357 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4067-4_0_3_load_77 | 24 | 0.00073674 | 0.00018465 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4067-4_0_3_load_41 | 25 | 0.0068312 | 0.001712 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4067-4_0_3_load_79 | 26 | 0.002197 | 0.00055062 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4067-4_0_3_load_74 | 27 | 0.0082919 | 0.0020781 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4067-4_0_3_load_12 | 28 | 0.0022806 | 0.00057158 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4067-4_0_3_load_13 | 29 | 0.0017323 | 0.00043416 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4067-4_0_3_load_17 | 33 | 0.0028656 | 0.00071819 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4067-4_0_3_load_44 | 35 | 0.0017103 | 0.00042863 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4067-4_0_3_load_72 | 36 | 0.0023299 | 0.00058393 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4067-4_0_3_load_75 | 38 | 0.002832 | 0.00070976 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4067-4_0_3_load_43 | 39 | 0.0015201 | 0.00038097 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4067-4_0_3_load_73 | 40 | 0.0021568 | 0.00054054 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4067-4_0_3_load_30 | 41 | 0.015672 | 0.0039279 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4067-4_0_3_load_25 | 44 | 0.0062204 | 0.001559 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4067-4_0_3_load_60 | 45 | 0.0026518 | 0.0006646 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4067-4_0_3_load_39 | 48 | 0.0035023 | 0.00087775 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4067-4_0_3_load_26 | 49 | 0.0010758 | 0.00026963 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4067-4_0_3_load_29 | 52 | 0.0036163 | 0.00090633 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4067-4_0_3_load_59 | 54 | 0.00084851 | 0.00021266 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4067-4_0_3_load_31 | 55 | 0.0023326 | 0.0005846 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4067-4_0_3_load_32 | 56 | 0.0023228 | 0.00058215 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4067-4_0_3_load_33 | 57 | 0.0012977 | 0.00032522 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4067-4_0_3_load_71 | 58 | 0.0022589 | 0.00056614 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4067-4_0_3_load_34 | 60 | 0.018231 | 0.0045692 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4067-4_0_3_load_35 | 61 | 0.0072348 | 0.0018132 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4067-4_0_3_load_38 | 63 | 0.0034286 | 0.0008593 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4067-4_0_3_load_53 | 64 | 0.0049543 | 0.0012417 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4067-4_0_3_load_50 | 65 | 0.0058745 | 0.0014723 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4067-4_0_3_load_46 | 67 | 0.0014475 | 0.00036278 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4067-4_0_3_load_47 | 68 | 0.0019893 | 0.00049855 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4067-4_0_3_load_48 | 69 | 0.003255 | 0.00081577 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4067-4_0_3_load_51 | 71 | 0.003064 | 0.00076791 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4067-4_0_3_load_56 | 72 | 0.0030683 | 0.00076899 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4067-4_0_3_load_63 | 73 | 0.0034598 | 0.0008671 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4067-4_0_3_load_54 | 74 | 0.0052689 | 0.0013205 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4067-4_0_3_load_55 | 75 | 0.0033699 | 0.00084459 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4067-4_0_3_load_69 | 76 | 0.0018145 | 0.00045475 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4067-4_0_3_load_76 | 77 | 0.0053678 | 0.0013453 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4067-4_0_3_load_65 | 78 | 0.0024338 | 0.00060998 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4067-4_0_3_load_66 | 79 | 0.0028014 | 0.00070209 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 74 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4067-4_0_3_line_0 |  | 0 | 1 | 0.018814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4067-4_0_3_line_1 |  | 1 | 2 | 0.007675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4067-4_0_3_line_2 |  | 2 | 6 | 0.010487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4067-4_0_3_line_3 |  | 3 | 4 | 0.024435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4067-4_0_3_line_4 |  | 3 | 5 | 0.022632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4067-4_0_3_line_5 |  | 4 | 7 | 0.023615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4067-4_0_3_line_6 |  | 5 | 8 | 0.014553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4067-4_0_3_line_7 |  | 6 | 9 | 0.02753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4067-4_0_3_line_8 |  | 7 | 10 | 0.0038185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4067-4_0_3_line_9 |  | 8 | 11 | 0.041512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4067-4_0_3_line_10 |  | 8 | 12 | 0.017738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4067-4_0_3_line_11 |  | 9 | 42 | 0.0025382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4067-4_0_3_line_12 |  | 10 | 72 | 0.01032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_4067-4_0_3_line_13 |  | 10 | 71 | 0.0086956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_4067-4_0_3_line_14 |  | 11 | 41 | 0.014161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4067-4_0_3_line_15 |  | 13 | 14 | 0.0094237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4067-4_0_3_line_16 |  | 13 | 15 | 0.0048422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4067-4_0_3_line_17 |  | 14 | 16 | 0.0022531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4067-4_0_3_line_18 |  | 15 | 17 | 0.019561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4067-4_0_3_line_19 |  | 15 | 18 | 0.026344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4067-4_0_3_line_20 |  | 16 | 19 | 0.019595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4067-4_0_3_line_21 |  | 16 | 20 | 0.034582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4067-4_0_3_line_22 |  | 17 | 21 | 0.010395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4067-4_0_3_line_23 |  | 18 | 22 | 0.02133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4067-4_0_3_line_24 |  | 18 | 23 | 0.017781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4067-4_0_3_line_25 |  | 20 | 24 | 0.017909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4067-4_0_3_line_26 |  | 21 | 25 | 0.028492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4067-4_0_3_line_27 |  | 22 | 26 | 0.018536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4067-4_0_3_line_28 |  | 23 | 27 | 0.018548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4067-4_0_3_line_29 |  | 24 | 53 | 0.022956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4067-4_0_3_line_30 |  | 25 | 62 | 0.051546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4067-4_0_3_line_31 |  | 27 | 59 | 0.0045998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4067-4_0_3_line_32 |  | 28 | 29 | 0.023289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4067-4_0_3_line_33 |  | 28 | 30 | 0.013952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4067-4_0_3_line_34 |  | 29 | 31 | 0.0055202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4067-4_0_3_line_35 |  | 30 | 32 | 0.006063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4067-4_0_3_line_36 |  | 30 | 33 | 0.026843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4067-4_0_3_line_37 |  | 31 | 34 | 0.014917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4067-4_0_3_line_38 |  | 31 | 35 | 0.019452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4067-4_0_3_line_39 |  | 32 | 36 | 0.019095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4067-4_0_3_line_40 |  | 34 | 37 | 0.034322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4067-4_0_3_line_41 |  | 34 | 38 | 0.013617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4067-4_0_3_line_42 |  | 35 | 39 | 0.00026234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4067-4_0_3_line_43 |  | 36 | 40 | 0.011905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4067-4_0_3_line_44 |  | 37 | 76 | 0.017623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4067-4_0_3_line_45 |  | 38 | 77 | 0.016471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4067-4_0_3_line_46 |  | 39 | 66 | 0.0081041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4067-4_0_3_line_47 |  | 42 | 43 | 0.016117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4067-4_0_3_line_48 |  | 42 | 44 | 0.021142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4067-4_0_3_line_49 |  | 43 | 45 | 0.028374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4067-4_0_3_line_50 |  | 44 | 46 | 0.00017489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4067-4_0_3_line_51 |  | 46 | 47 | 0.037009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_4067-4_0_3_line_52 |  | 46 | 48 | 0.0161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_4067-4_0_3_line_53 |  | 47 | 64 | 0.017788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4067-4_0_3_line_54 |  | 47 | 65 | 0.0093959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_4067-4_0_3_line_55 |  | 48 | 63 | 0.024204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4067-4_0_3_line_56 |  | 49 | 50 | 0.014552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4067-4_0_3_line_57 |  | 49 | 51 | 0.031791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4067-4_0_3_line_58 |  | 50 | 52 | 0.017944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4067-4_0_3_line_59 |  | 51 | 53 | 0.081601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4067-4_0_3_line_60 |  | 52 | 54 | 0.0054272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4067-4_0_3_line_61 |  | 55 | 56 | 0.0247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4067-4_0_3_line_62 |  | 56 | 57 | 0.0064076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4067-4_0_3_line_63 |  | 57 | 58 | 0.017661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4067-4_0_3_line_64 |  | 58 | 59 | 0.010378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4067-4_0_3_line_65 |  | 59 | 79 | 0.016362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4067-4_0_3_line_66 |  | 60 | 61 | 0.026498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4067-4_0_3_line_67 |  | 61 | 62 | 0.023693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4067-4_0_3_line_68 |  | 62 | 63 | 0.0059907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4067-4_0_3_line_69 |  | 64 | 73 | 0.011337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4067-4_0_3_line_70 |  | 65 | 70 | 0.014965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_4067-4_0_3_line_71 |  | 66 | 67 | 0.011798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4067-4_0_3_line_72 |  | 66 | 68 | 0.011059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4067-4_0_3_line_73 |  | 69 | 70 | 0.015983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4067-4_0_3_line_74 |  | 70 | 71 | 0.01461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_4067-4_0_3_line_75 |  | 72 | 74 | 0.028442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_4067-4_0_3_line_76 |  | 74 | 75 | 0.0072652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4067-4_0_3_line_77 |  | 76 | 80 | 0.029222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4067-4_0_3_line_78 |  | 78 | 79 | 0.016627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4067-4_0_3_line_79 |  | 78 | 80 | 0.0076459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4067-4_0_3_trafo_54 | 0.63 MVA 20/0.4 kV | 81 | 74 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2665576.7328 | 1246896.9765 | 2665592.043 | 1246907.9107
1 | 2665592.043 | 1246907.9107 | 2665598.2888 | 1246912.3712
2 | 2665598.2888 | 1246912.3712 | 2665606.8232 | 1246918.4663
3 | 2665529.2919 | 1246891.8052 | 2665537.2103 | 1246880.6849 | 2665541.5385 | 1246876.5965 | 2665545.3487 | 1246873.581
4 | 2665545.3487 | 1246873.581 | 2665545.8469 | 1246868.8276 | 2665550.7639 | 1246861.3545 | 2665556.3613 | 1246854.4256
5 | 2665529.2919 | 1246891.8052 | 2665539.5892 | 1246899.1796 | 2665540.8508 | 1246904.6307 | 2665545.1186 | 1246907.8647
6 | 2665565.5068 | 1246843.1047 | 2665556.3613 | 1246854.4256
7 | 2665606.8232 | 1246918.4663 | 2665629.2266 | 1246934.4662
8 | 2665548.162 | 1246910.1709 | 2665545.1186 | 1246907.8647
9 | 2665565.5068 | 1246843.1047 | 2665551.0957 | 1246831.3483 | 2665533.4222 | 1246816.7647
10 | 2665565.5068 | 1246843.1047 | 2665576.0924 | 1246828.871
11 | 2665631.2921 | 1246935.9413 | 2665629.2266 | 1246934.4662
12 | 2665548.162 | 1246910.1709 | 2665542.2202 | 1246918.6091
13 | 2665548.162 | 1246910.1709 | 2665555.2596 | 1246915.1946
14 | 2665533.4222 | 1246816.7647 | 2665522.4994 | 1246807.7515
15 | 2665507.0522 | 1247064.9302 | 2665508.2287 | 1247074.2802
16 | 2665506.4477 | 1247060.1259 | 2665507.0522 | 1247064.9302
17 | 2665508.51 | 1247076.5157 | 2665508.2287 | 1247074.2802
18 | 2665506.4477 | 1247060.1259 | 2665513.9931 | 1247057.4407 | 2665523.0834 | 1247050.3116
19 | 2665501.8321 | 1247034.1901 | 2665506.4477 | 1247060.1259
20 | 2665508.51 | 1247076.5157 | 2665500.8487 | 1247080.8007 | 2665493.0058 | 1247088.2507
21 | 2665514.6904 | 1247110.541 | 2665508.51 | 1247076.5157
22 | 2665523.0834 | 1247050.3116 | 2665524.9119 | 1247048.8775 | 2665530.9129 | 1247043.4798
23 | 2665501.8321 | 1247034.1901 | 2665493.5771 | 1247035.4666 | 2665483.9658 | 1247044.1858
24 | 2665501.8321 | 1247034.1901 | 2665498.8647 | 1247016.6589
25 | 2665514.6904 | 1247110.541 | 2665518.1787 | 1247128.1074
26 | 2665552.0963 | 1247024.4257 | 2665530.9129 | 1247043.4798
27 | 2665470.2371 | 1247056.6403 | 2665483.9658 | 1247044.1858
28 | 2665498.8647 | 1247016.6589 | 2665496.4715 | 1247002.52 | 2665495.6981 | 1246998.3841
29 | 2665522.4272 | 1247150.6656 | 2665520.4217 | 1247139.4022 | 2665518.1787 | 1247128.1074
30 | 2665589.5741 | 1246989.1171 | 2665585.4859 | 1246994.0531 | 2665555.3914 | 1247021.4618 | 2665552.0963 | 1247024.4257
31 | 2665494.8525 | 1246993.8627 | 2665495.6981 | 1246998.3841
32 | 2665396.6975 | 1246981.8571 | 2665412.2705 | 1246964.5401
33 | 2665387.3679 | 1246992.2314 | 2665396.6975 | 1246981.8571
34 | 2665415.9616 | 1246960.4356 | 2665412.2705 | 1246964.5401
35 | 2665387.3679 | 1246992.2314 | 2665383.2848 | 1246996.7229
36 | 2665367.6583 | 1246973.9459 | 2665387.3679 | 1246992.2314
37 | 2665425.9567 | 1246949.3381 | 2665415.9616 | 1246960.4356
38 | 2665415.9616 | 1246960.4356 | 2665430.246 | 1246973.6395
39 | 2665383.2848 | 1246996.7229 | 2665397.606 | 1247009.3524
40 | 2665425.9567 | 1246949.3381 | 2665433.0381 | 1246941.4774 | 2665443.9528 | 1246929.8786 | 2665450.6753 | 1246925.7943
41 | 2665425.9567 | 1246949.3381 | 2665415.5481 | 1246940.5578
42 | 2665430.4386 | 1246973.8176 | 2665430.246 | 1246973.6395
43 | 2665406.5351 | 1247017.2268 | 2665397.606 | 1247009.3524
44 | 2665450.6753 | 1246925.7943 | 2665458.0931 | 1246928.5225 | 2665465.1685 | 1246935.1868
45 | 2665402.9584 | 1246929.9376 | 2665415.5481 | 1246940.5578
46 | 2665436.3897 | 1246979.3185 | 2665430.4386 | 1246973.8176
47 | 2665631.2921 | 1246935.9413 | 2665644.353 | 1246945.4369
48 | 2665631.2921 | 1246935.9413 | 2665618.6905 | 1246952.9167
49 | 2665644.353 | 1246945.4369 | 2665660.6391 | 1246922.2026
50 | 2665618.6905 | 1246952.9167 | 2665618.5862 | 1246953.0572
51 | 2665618.5862 | 1246953.0572 | 2665614.5665 | 1246949.7549 | 2665612.1694 | 1246947.9382 | 2665598.8252 | 1246938.106 | 2665587.45 | 1246938.7362 | 2665586.7157 | 1246938.1944
52 | 2665618.5862 | 1246953.0572 | 2665611.1329 | 1246963.104 | 2665608.8417 | 1246965.8686
53 | 2665586.7157 | 1246938.1944 | 2665576.3833 | 1246952.6732
54 | 2665586.7157 | 1246938.1944 | 2665579.1825 | 1246932.5788
55 | 2665593.3968 | 1246984.5046 | 2665608.8417 | 1246965.8686
56 | 2665605.3195 | 1247177.8341 | 2665596.4237 | 1247189.3501
57 | 2665575.2016 | 1247212.9033 | 2665582.8994 | 1247205.9836 | 2665592.6217 | 1247194.2718 | 2665596.4237 | 1247189.3501
58 | 2665605.3195 | 1247177.8341 | 2665614.1037 | 1247162.1868
59 | 2665522.4272 | 1247150.6656 | 2665575.2016 | 1247212.9033
60 | 2665614.1037 | 1247162.1868 | 2665616.7605 | 1247157.4544
61 | 2665468.8603 | 1247015.9476 | 2665451.5636 | 1247033.5808
62 | 2665468.8603 | 1247015.9476 | 2665473.3474 | 1247011.3734
63 | 2665473.3474 | 1247011.3734 | 2665485.7147 | 1246998.7654
64 | 2665494.8525 | 1246993.8627 | 2665485.8336 | 1246998.6443 | 2665485.7147 | 1246998.7654
65 | 2665494.8525 | 1246993.8627 | 2665492.1128 | 1246977.7319
66 | 2665610.0123 | 1247001.1024 | 2665618.5429 | 1247006.1048 | 2665632.3037 | 1247015.4042
67 | 2665589.5741 | 1246989.1171 | 2665610.0123 | 1247001.1024
68 | 2665589.5741 | 1246989.1171 | 2665593.3968 | 1246984.5046
69 | 2665569.7977 | 1246961.9017 | 2665576.3833 | 1246952.6732
70 | 2665567.1843 | 1246923.635 | 2665579.1825 | 1246932.5788
71 | 2665436.3897 | 1246979.3185 | 2665440.6931 | 1246980.1999 | 2665446.014 | 1246985.3845
72 | 2665442.0396 | 1246988.2315 | 2665437.4253 | 1246984.0443 | 2665436.3897 | 1246979.3185
73 | 2665567.1843 | 1246923.635 | 2665558.0606 | 1246936.758
74 | 2665567.1843 | 1246923.635 | 2665555.2596 | 1246915.1946
75 | 2665525.8451 | 1246941.8642 | 2665542.2202 | 1246918.6091
76 | 2665525.8451 | 1246941.8642 | 2665521.6623 | 1246947.8045
77 | 2665487.6044 | 1246953.8993 | 2665467.7445 | 1246937.6131 | 2665465.1685 | 1246935.1868
78 | 2665489.3287 | 1246961.3398 | 2665492.1128 | 1246977.7319
79 | 2665487.6044 | 1246953.8993 | 2665488.8454 | 1246958.4939 | 2665489.3287 | 1246961.3398

## bus_geodata
| x | y | coords
0 | 2665576.7328 | 1246896.9765
1 | 2665592.043 | 1246907.9107
2 | 2665598.2888 | 1246912.3712
3 | 2665545.3487 | 1246873.581
4 | 2665529.2919 | 1246891.8052
5 | 2665556.3613 | 1246854.4256
6 | 2665606.8232 | 1246918.4663
7 | 2665545.1186 | 1246907.8647
8 | 2665565.5068 | 1246843.1047
9 | 2665629.2266 | 1246934.4662
10 | 2665548.162 | 1246910.1709
11 | 2665533.4222 | 1246816.7647
12 | 2665576.0924 | 1246828.871
13 | 2665507.0522 | 1247064.9302
14 | 2665508.2287 | 1247074.2802
15 | 2665506.4477 | 1247060.1259
16 | 2665508.51 | 1247076.5157
17 | 2665523.0834 | 1247050.3116
18 | 2665501.8321 | 1247034.1901
19 | 2665493.0058 | 1247088.2507
20 | 2665514.6904 | 1247110.541
21 | 2665530.9129 | 1247043.4798
22 | 2665483.9658 | 1247044.1858
23 | 2665498.8647 | 1247016.6589
24 | 2665518.1787 | 1247128.1074
25 | 2665552.0963 | 1247024.4257
26 | 2665470.2371 | 1247056.6403
27 | 2665495.6981 | 1246998.3841
28 | 2665396.6975 | 1246981.8571
29 | 2665412.2705 | 1246964.5401
30 | 2665387.3679 | 1246992.2314
31 | 2665415.9616 | 1246960.4356
32 | 2665383.2848 | 1246996.7229
33 | 2665367.6583 | 1246973.9459
34 | 2665425.9567 | 1246949.3381
35 | 2665430.246 | 1246973.6395
36 | 2665397.606 | 1247009.3524
37 | 2665450.6753 | 1246925.7943
38 | 2665415.5481 | 1246940.5578
39 | 2665430.4386 | 1246973.8176
40 | 2665406.5351 | 1247017.2268
41 | 2665522.4994 | 1246807.7515
42 | 2665631.2921 | 1246935.9413
43 | 2665644.353 | 1246945.4369
44 | 2665618.6905 | 1246952.9167
45 | 2665660.6391 | 1246922.2026
46 | 2665618.5862 | 1246953.0572
47 | 2665586.7157 | 1246938.1944
48 | 2665608.8417 | 1246965.8685
49 | 2665596.4237 | 1247189.3501
50 | 2665605.3195 | 1247177.8341
51 | 2665575.2016 | 1247212.9033
52 | 2665614.1037 | 1247162.1868
53 | 2665522.4272 | 1247150.6656
54 | 2665616.7605 | 1247157.4544
55 | 2665451.5636 | 1247033.5808
56 | 2665468.8603 | 1247015.9476
57 | 2665473.3474 | 1247011.3734
58 | 2665485.7147 | 1246998.7654
59 | 2665494.8525 | 1246993.8627
60 | 2665632.3037 | 1247015.4042
61 | 2665610.0123 | 1247001.1024
62 | 2665589.5741 | 1246989.1171
63 | 2665593.3968 | 1246984.5046
64 | 2665576.3833 | 1246952.6732
65 | 2665579.1825 | 1246932.5788
66 | 2665436.3897 | 1246979.3185
67 | 2665446.014 | 1246985.3845
68 | 2665442.0396 | 1246988.2315
69 | 2665558.0606 | 1246936.758
70 | 2665567.1843 | 1246923.635
71 | 2665555.2596 | 1246915.1946
72 | 2665542.2202 | 1246918.6091
73 | 2665569.7977 | 1246961.9017
74 | 2665525.8451 | 1246941.8642
75 | 2665521.6623 | 1246947.8045
76 | 2665465.1685 | 1246935.1868
77 | 2665402.9584 | 1246929.9376
78 | 2665489.3287 | 1246961.3398
79 | 2665492.1128 | 1246977.7319
80 | 2665487.6044 | 1246953.8993
81 | 2665518.5859 | 1246952.1735

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1