## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4068-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4068-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4068-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4068-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4068-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4068-3_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4068-3_0_4_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_4068-3_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4068-3_0_4_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_4068-3_0_4_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_4068-3_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4068-3_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4068-3_0_4_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_4068-3_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_4068-3_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4068-3_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4068-3_0_4_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_4068-3_0_4_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_4068-3_0_4_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_4068-3_0_4_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_4068-3_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_4068-3_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_4068-3_0_4_node_147 | 0.4 | n |  | TRUE
23 | bus_LV_4068-3_0_4_node_55 | 0.4 | n |  | TRUE
24 | bus_LV_4068-3_0_4_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_4068-3_0_4_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_4068-3_0_4_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_4068-3_0_4_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_4068-3_0_4_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_4068-3_0_4_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_4068-3_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_4068-3_0_4_node_149 | 0.4 | n |  | TRUE
32 | bus_LV_4068-3_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_4068-3_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_4068-3_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_4068-3_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_4068-3_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_4068-3_0_4_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_4068-3_0_4_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_4068-3_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_4068-3_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_4068-3_0_4_node_131 | 0.4 | n |  | TRUE
42 | bus_LV_4068-3_0_4_node_130 | 0.4 | n |  | TRUE
43 | bus_LV_4068-3_0_4_node_109 | 0.4 | n |  | TRUE
44 | bus_LV_4068-3_0_4_node_108 | 0.4 | n |  | TRUE
45 | bus_LV_4068-3_0_4_node_116 | 0.4 | n |  | TRUE
46 | bus_LV_4068-3_0_4_node_111 | 0.4 | n |  | TRUE
47 | bus_LV_4068-3_0_4_node_115 | 0.4 | n |  | TRUE
48 | bus_LV_4068-3_0_4_node_110 | 0.4 | n |  | TRUE
49 | bus_LV_4068-3_0_4_node_112 | 0.4 | n |  | TRUE
50 | bus_LV_4068-3_0_4_node_113 | 0.4 | n |  | TRUE
51 | bus_LV_4068-3_0_4_node_138 | 0.4 | n |  | TRUE
52 | bus_LV_4068-3_0_4_node_139 | 0.4 | n |  | TRUE
53 | bus_LV_4068-3_0_4_node_114 | 0.4 | n |  | TRUE
54 | bus_LV_4068-3_0_4_node_117 | 0.4 | n |  | TRUE
55 | bus_LV_4068-3_0_4_node_140 | 0.4 | n |  | TRUE
56 | bus_LV_4068-3_0_4_node_118 | 0.4 | n |  | TRUE
57 | bus_LV_4068-3_0_4_node_119 | 0.4 | n |  | TRUE
58 | bus_LV_4068-3_0_4_node_120 | 0.4 | n |  | TRUE
59 | bus_LV_4068-3_0_4_node_121 | 0.4 | n |  | TRUE
60 | bus_LV_4068-3_0_4_node_122 | 0.4 | n |  | TRUE
61 | bus_LV_4068-3_0_4_node_129 | 0.4 | n |  | TRUE
62 | bus_LV_4068-3_0_4_node_128 | 0.4 | n |  | TRUE
63 | bus_LV_4068-3_0_4_node_142 | 0.4 | n |  | TRUE
64 | bus_LV_4068-3_0_4_node_146 | 0.4 | n |  | TRUE
65 | bus_LV_4068-3_0_4_node_125 | 0.4 | n |  | TRUE
66 | bus_LV_4068-3_0_4_node_136 | 0.4 | n |  | TRUE
67 | bus_LV_4068-3_0_4_node_123 | 0.4 | n |  | TRUE
68 | bus_LV_4068-3_0_4_node_124 | 0.4 | n |  | TRUE
69 | bus_LV_4068-3_0_4_node_126 | 0.4 | n |  | TRUE
70 | bus_LV_4068-3_0_4_node_127 | 0.4 | n |  | TRUE
71 | bus_LV_4068-3_0_4_node_134 | 0.4 | n |  | TRUE
72 | bus_LV_4068-3_0_4_node_132 | 0.4 | n |  | TRUE
73 | bus_LV_4068-3_0_4_node_141 | 0.4 | n |  | TRUE
74 | bus_LV_4068-3_0_4_node_133 | 0.4 | n |  | TRUE
75 | bus_LV_4068-3_0_4_node_135 | 0.4 | n |  | TRUE
76 | bus_LV_4068-3_0_4_node_137 | 0.4 | n |  | TRUE
77 | bus_MV_427_0_node_311 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4068-3_0_4_load_0 | 0 | 0.0038254 | 0.00095873 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4068-3_0_4_load_3 | 3 | 0.003203 | 0.00080275 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4068-3_0_4_load_5 | 5 | 0.0034674 | 0.00086902 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4068-3_0_4_load_27 | 6 | 0.0022465 | 0.00056303 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4068-3_0_4_load_52 | 8 | 0.002321 | 0.0005817 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4068-3_0_4_load_14 | 12 | 0.0058254 | 0.00146 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4068-3_0_4_load_13 | 13 | 0.0029659 | 0.00074333 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4068-3_0_4_load_10 | 14 | 0.006608 | 0.0016561 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4068-3_0_4_load_56 | 16 | 0.0026957 | 0.00067562 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4068-3_0_4_load_49 | 17 | 0.0066071 | 0.0016559 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4068-3_0_4_load_25 | 18 | 0.0030104 | 0.00075448 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4068-3_0_4_load_24 | 19 | 0.0016203 | 0.00040609 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4068-3_0_4_load_15 | 21 | 0.0058982 | 0.0014782 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4068-3_0_4_load_147 | 22 | 0.010805 | 0.0027079 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4068-3_0_4_load_57 | 24 | 0.0075752 | 0.0018985 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4068-3_0_4_load_11 | 25 | 0.0067688 | 0.0016964 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4068-3_0_4_load_48 | 27 | 0.0049139 | 0.0012316 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4068-3_0_4_load_12 | 28 | 0.0085969 | 0.0021546 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4068-3_0_4_load_17 | 30 | 0.008691 | 0.0021782 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4068-3_0_4_load_149 | 31 | 0.0046892 | 0.0011752 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4068-3_0_4_load_19 | 32 | 0.0015715 | 0.00039385 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4068-3_0_4_load_20 | 33 | 0.0016187 | 0.00040569 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4068-3_0_4_load_22 | 35 | 0.0042604 | 0.0010677 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4068-3_0_4_load_23 | 36 | 0.0030453 | 0.00076323 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4068-3_0_4_load_45 | 37 | 0.0015718 | 0.00039393 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4068-3_0_4_load_46 | 38 | 0.00162 | 0.000406 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4068-3_0_4_load_26 | 39 | 0.0059606 | 0.0014939 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4068-3_0_4_load_28 | 40 | 0.0030104 | 0.00075448 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4068-3_0_4_load_130 | 42 | 0.00066229 | 0.00016599 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4068-3_0_4_load_109 | 43 | 0.0013373 | 0.00033515 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4068-3_0_4_load_108 | 44 | 0.0047747 | 0.0011967 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4068-3_0_4_load_116 | 45 | 0.016482 | 0.0041308 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4068-3_0_4_load_111 | 46 | 0.00083463 | 0.00020918 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4068-3_0_4_load_110 | 48 | 0.0015077 | 0.00037787 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4068-3_0_4_load_112 | 49 | 0.001186 | 0.00029724 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4068-3_0_4_load_113 | 50 | 0.00063617 | 0.00015944 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4068-3_0_4_load_138 | 51 | 0.001204 | 0.00030175 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4068-3_0_4_load_114 | 53 | 0.0075348 | 0.0018884 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4068-3_0_4_load_117 | 54 | 0.00077009 | 0.000193 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4068-3_0_4_load_140 | 55 | 0.0011056 | 0.00027709 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4068-3_0_4_load_118 | 56 | 0.0051248 | 0.0012844 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4068-3_0_4_load_119 | 57 | 0.00037531 | 9.4062e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4068-3_0_4_load_120 | 58 | 0.0080008 | 0.0020052 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4068-3_0_4_load_121 | 59 | 0.001725 | 0.00043233 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4068-3_0_4_load_129 | 61 | 0.00071137 | 0.00017829 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4068-3_0_4_load_142 | 63 | 0.029784 | 0.0074646 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4068-3_0_4_load_146 | 64 | 0.00028921 | 7.2484e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4068-3_0_4_load_136 | 66 | 0.034749 | 0.0087088 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4068-3_0_4_load_123 | 67 | 0.0072934 | 0.0018279 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4068-3_0_4_load_124 | 68 | 0.00080325 | 0.00020131 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4068-3_0_4_load_126 | 69 | 0.00085281 | 0.00021373 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4068-3_0_4_load_132 | 72 | 0.0078345 | 0.0019635 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4068-3_0_4_load_141 | 73 | 0.0012405 | 0.00031089 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4068-3_0_4_load_135 | 75 | 0.0076861 | 0.0019263 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4068-3_0_4_load_137 | 76 | 0.0091436 | 0.0022916 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4068-3_0_4_line_0 |  | 0 | 1 | 0.05811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4068-3_0_4_line_1 |  | 0 | 2 | 0.0077687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4068-3_0_4_line_2 |  | 1 | 3 | 0.01787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4068-3_0_4_line_3 |  | 1 | 4 | 0.005382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4068-3_0_4_line_4 |  | 2 | 5 | 0.02467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4068-3_0_4_line_5 |  | 3 | 6 | 0.016005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4068-3_0_4_line_6 |  | 4 | 7 | 0.030931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4068-3_0_4_line_7 |  | 4 | 8 | 0.040222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4068-3_0_4_line_8 |  | 5 | 9 | 0.0079767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4068-3_0_4_line_9 |  | 6 | 18 | 0.0039508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4068-3_0_4_line_10 |  | 7 | 11 | 0.035297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4068-3_0_4_line_11 |  | 8 | 19 | 0.0029255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4068-3_0_4_line_12 |  | 9 | 20 | 0.036075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4068-3_0_4_line_13 |  | 9 | 21 | 0.019943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4068-3_0_4_line_14 |  | 10 | 11 | 0.032488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4068-3_0_4_line_15 |  | 10 | 12 | 0.016742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4068-3_0_4_line_16 |  | 11 | 13 | 0.0038015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4068-3_0_4_line_17 |  | 11 | 14 | 0.030543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4068-3_0_4_line_18 |  | 13 | 24 | 0.066981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4068-3_0_4_line_19 |  | 14 | 25 | 0.029824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4068-3_0_4_line_20 |  | 15 | 16 | 0.060669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4068-3_0_4_line_21 |  | 15 | 17 | 0.044449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4068-3_0_4_line_22 |  | 16 | 26 | 0.032983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4068-3_0_4_line_23 |  | 17 | 27 | 0.0058813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4068-3_0_4_line_24 |  | 18 | 39 | 0.01631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4068-3_0_4_line_25 |  | 19 | 34 | 0.010808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4068-3_0_4_line_26 |  | 20 | 31 | 0.015155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4068-3_0_4_line_27 |  | 21 | 30 | 0.0051791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4068-3_0_4_line_28 |  | 22 | 23 | 0.0659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4068-3_0_4_line_29 |  | 23 | 41 | 0.00612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4068-3_0_4_line_30 |  | 23 | 26 | 0.010281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4068-3_0_4_line_31 |  | 24 | 29 | 0.01774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4068-3_0_4_line_32 |  | 25 | 28 | 0.014668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4068-3_0_4_line_33 |  | 29 | 43 | 0.013837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4068-3_0_4_line_34 |  | 32 | 33 | 0.0068122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4068-3_0_4_line_35 |  | 32 | 34 | 0.019008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4068-3_0_4_line_36 |  | 33 | 35 | 0.010116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4068-3_0_4_line_37 |  | 34 | 36 | 0.04487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4068-3_0_4_line_38 |  | 35 | 37 | 0.013886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4068-3_0_4_line_39 |  | 37 | 38 | 0.0068173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4068-3_0_4_line_40 |  | 39 | 40 | 0.0018643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4068-3_0_4_line_41 |  | 41 | 42 | 0.019247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4068-3_0_4_line_42 |  | 42 | 61 | 0.0087538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4068-3_0_4_line_43 |  | 43 | 46 | 0.00057346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4068-3_0_4_line_44 |  | 44 | 45 | 0.0078852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4068-3_0_4_line_45 |  | 45 | 47 | 0.013567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4068-3_0_4_line_46 |  | 46 | 48 | 0.011908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4068-3_0_4_line_47 |  | 47 | 54 | 0.039683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_4068-3_0_4_line_48 |  | 47 | 53 | 0.021137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4068-3_0_4_line_49 |  | 48 | 49 | 0.012477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4068-3_0_4_line_50 |  | 49 | 50 | 0.01331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4068-3_0_4_line_51 |  | 50 | 51 | 0.010526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4068-3_0_4_line_52 |  | 51 | 52 | 0.014588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4068-3_0_4_line_53 |  | 52 | 55 | 0.013555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_4068-3_0_4_line_54 |  | 52 | 73 | 0.012569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_4068-3_0_4_line_55 |  | 54 | 55 | 0.0009789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_4068-3_0_4_line_56 |  | 56 | 57 | 0.017884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4068-3_0_4_line_57 |  | 56 | 58 | 0.0023434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4068-3_0_4_line_58 |  | 57 | 59 | 0.0027272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4068-3_0_4_line_59 |  | 58 | 60 | 0.035592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4068-3_0_4_line_60 |  | 59 | 61 | 0.012453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4068-3_0_4_line_61 |  | 60 | 62 | 0.010879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4068-3_0_4_line_62 |  | 60 | 63 | 0.020784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4068-3_0_4_line_63 |  | 62 | 64 | 0.043991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4068-3_0_4_line_64 |  | 62 | 65 | 0.017163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4068-3_0_4_line_65 |  | 63 | 66 | 0.0027192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4068-3_0_4_line_66 |  | 65 | 67 | 0.0080155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4068-3_0_4_line_67 |  | 66 | 74 | 0.014728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4068-3_0_4_line_68 |  | 67 | 68 | 0.041581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4068-3_0_4_line_69 |  | 68 | 69 | 0.029655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4068-3_0_4_line_70 |  | 70 | 71 | 0.052292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_4068-3_0_4_line_71 |  | 70 | 72 | 0.02162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4068-3_0_4_line_72 |  | 71 | 73 | 0.019454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_4068-3_0_4_line_73 |  | 72 | 74 | 0.0098911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4068-3_0_4_line_74 |  | 74 | 75 | 0.017304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4068-3_0_4_line_75 |  | 75 | 76 | 0.0038076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4068-3_0_4_trafo_115 | 0.63 MVA 20/0.4 kV | 77 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2661156.6094 | 1248707.3625 | 2661143.7071 | 1248697.5671 | 2661136.6537 | 1248695.4151 | 2661130.1976 | 1248697.5946 | 2661118.5 | 1248707.9034 | 2661112.3322 | 1248713.6105 | 2661111.3891 | 1248717.2167
1 | 2661109.4235 | 1248724.7327 | 2661111.3891 | 1248717.2167
2 | 2661156.6094 | 1248707.3625 | 2661156.5933 | 1248708.1851 | 2661162.7792 | 1248724.0709
3 | 2661156.7102 | 1248701.982 | 2661156.6094 | 1248707.3625
4 | 2661109.4235 | 1248724.7327 | 2661116.8615 | 1248748.255
5 | 2661162.7792 | 1248724.0709 | 2661168.1133 | 1248737.7689 | 2661168.6919 | 1248738.9384
6 | 2661156.7102 | 1248701.982 | 2661158.6153 | 1248698.1101 | 2661166.9342 | 1248692.5142 | 2661168.4228 | 1248687.2926 | 2661171.4861 | 1248676.5612
7 | 2661156.7102 | 1248701.982 | 2661168.2452 | 1248711.0851 | 2661190.313 | 1248723.9178
8 | 2661116.8029 | 1248756.0527 | 2661117.6212 | 1248750.6574 | 2661116.8615 | 1248748.255
9 | 2661168.6919 | 1248738.9384 | 2661170.444 | 1248742.4795
10 | 2661151.8737 | 1248654.0322 | 2661150.174 | 1248659.2183 | 2661150.9701 | 1248664.7637 | 2661153.6637 | 1248668.6386 | 2661164.1606 | 1248673.7059 | 2661171.4861 | 1248676.5612
11 | 2661192.3476 | 1248726.0108 | 2661190.4561 | 1248724.001 | 2661190.313 | 1248723.9178
12 | 2661101.5856 | 1248787.6957 | 2661104.8616 | 1248773.8976 | 2661106.6544 | 1248767.734 | 2661116.8029 | 1248756.0527
13 | 2661116.8029 | 1248756.0527 | 2661124.9248 | 1248760.0169 | 2661128.6383 | 1248770.2699
14 | 2661129.7926 | 1248673.1623 | 2661134.4247 | 1248666.2719 | 2661137.5 | 1248661.6893 | 2661142.2907 | 1248662.1168 | 2661150.174 | 1248659.2183 | 2661151.8737 | 1248654.0322
15 | 2661129.7926 | 1248673.1623 | 2661121.3165 | 1248669.1055 | 2661115.2272 | 1248665.7293 | 2661114.892 | 1248665.5442
16 | 2661151.8737 | 1248654.0322 | 2661153.248 | 1248650.4878
17 | 2661151.8737 | 1248654.0322 | 2661132.8261 | 1248647.0087 | 2661126.8485 | 1248639.3974 | 2661126.4964 | 1248638.9568
18 | 2661153.248 | 1248650.4878 | 2661161.8658 | 1248628.2618 | 2661167.3952 | 1248620.0353 | 2661177.1202 | 1248615.766 | 2661186.0546 | 1248614.1904 | 2661194.4817 | 1248613.4879 | 2661199.1451 | 1248615.5047
19 | 2661126.4964 | 1248638.9568 | 2661119.0727 | 1248629.6661 | 2661118.8159 | 1248625.2826 | 2661121.5759 | 1248621.9865 | 2661118.2835 | 1248618.3278 | 2661114.829 | 1248615.7349
20 | 2661263.3419 | 1248726.0882 | 2661318.2592 | 1248751.873
21 | 2661263.3419 | 1248726.0882 | 2661272.2053 | 1248769.6446
22 | 2661347.7376 | 1248766.6665 | 2661321.1905 | 1248753.2493 | 2661318.2592 | 1248751.873
23 | 2661273.3781 | 1248775.4078 | 2661272.2053 | 1248769.6446
24 | 2661177.677 | 1248757.0977 | 2661170.444 | 1248742.4795
25 | 2661199.7554 | 1248733.8816 | 2661192.3476 | 1248726.0108
26 | 2661101.5856 | 1248787.6957 | 2661111.2894 | 1248799.3593
27 | 2661130.4021 | 1248775.1394 | 2661128.6383 | 1248770.2699
28 | 2661351.0702 | 1248756.9387 | 2661346.0126 | 1248755.3186 | 2661343.0958 | 1248757.7012 | 2661335.7163 | 1248755.7013 | 2661296.6466 | 1248736.6841 | 2661291.4682 | 1248734.2416
29 | 2661351.0702 | 1248756.9387 | 2661352.1972 | 1248750.924
30 | 2661347.7376 | 1248766.6665 | 2661351.0702 | 1248756.9387
31 | 2661214.9795 | 1248623.4064 | 2661209.2843 | 1248619.8896 | 2661199.1451 | 1248615.5047
32 | 2661114.829 | 1248615.7349 | 2661114.829 | 1248615.7349 | 2661101.1873 | 1248610.3457
33 | 2661214.9795 | 1248623.4064 | 2661222.0962 | 1248619.4326 | 2661225.8993 | 1248615.2062
34 | 2661222.6954 | 1248737.5759 | 2661216.5962 | 1248734.5418
35 | 2661199.7554 | 1248733.8816 | 2661207.0844 | 1248729.8099 | 2661216.5962 | 1248734.5418
36 | 2661222.6954 | 1248737.5759 | 2661231.7523 | 1248742.0815
37 | 2661199.7554 | 1248733.8816 | 2661216.5468 | 1248769.2239 | 2661218.9394 | 1248774.443
38 | 2661244.1853 | 1248748.2665 | 2661231.7523 | 1248742.0815
39 | 2661244.1853 | 1248748.2665 | 2661250.2891 | 1248751.3029
40 | 2661177.677 | 1248757.0977 | 2661178.5037 | 1248758.7687
41 | 2661352.1972 | 1248750.924 | 2661355.9258 | 1248732.1272 | 2661355.941 | 1248732.0448
42 | 2661357.5271 | 1248723.4359 | 2661355.941 | 1248732.0448
43 | 2661226.2829 | 1248614.7799 | 2661225.8993 | 1248615.2062
44 | 2661244.3388 | 1248671.6339 | 2661237.2245 | 1248668.2336
45 | 2661256.5799 | 1248677.4846 | 2661244.3388 | 1248671.6339
46 | 2661235.3251 | 1248607.1162 | 2661228.9561 | 1248611.8092 | 2661226.2829 | 1248614.7799
47 | 2661256.5799 | 1248677.4846 | 2661274.258 | 1248641.9568
48 | 2661256.5799 | 1248677.4846 | 2661275.6483 | 1248686.6033
49 | 2661235.3251 | 1248607.1162 | 2661235.3251 | 1248607.1162 | 2661241.4907 | 1248607.4912 | 2661247.0183 | 1248610.5132
50 | 2661258.6966 | 1248616.8977 | 2661247.0183 | 1248610.5132
51 | 2661258.6966 | 1248616.8977 | 2661267.9324 | 1248621.9469
52 | 2661280.7326 | 1248628.9448 | 2661267.9324 | 1248621.9469
53 | 2661280.7326 | 1248628.9448 | 2661274.6941 | 1248641.0804
54 | 2661280.7326 | 1248628.9448 | 2661286.0141 | 1248617.5396
55 | 2661274.258 | 1248641.9568 | 2661274.6941 | 1248641.0804
56 | 2661363.518 | 1248690.9188 | 2661360.2776 | 1248708.5065
57 | 2661363.518 | 1248690.9188 | 2661363.9426 | 1248688.6142
58 | 2661360.2776 | 1248708.5065 | 2661359.7835 | 1248711.1886
59 | 2661370.3915 | 1248653.6112 | 2661363.9426 | 1248688.6142
60 | 2661357.5271 | 1248723.4359 | 2661359.7835 | 1248711.1886
61 | 2661372.9702 | 1248643.0417 | 2661370.3915 | 1248653.6112
62 | 2661370.3915 | 1248653.6112 | 2661349.9957 | 1248649.6109
63 | 2661372.9702 | 1248643.0417 | 2661414.1815 | 1248658.4324
64 | 2661372.9702 | 1248643.0417 | 2661375.9393 | 1248626.1384
65 | 2661347.3274 | 1248649.0876 | 2661349.9957 | 1248649.6109
66 | 2661375.9393 | 1248626.1384 | 2661377.1431 | 1248618.2139
67 | 2661332.9557 | 1248645.9409 | 2661335.4995 | 1248646.7677 | 2661347.3274 | 1248649.0876
68 | 2661377.1431 | 1248618.2139 | 2661383.3884 | 1248577.1042
69 | 2661388.6303 | 1248547.9273 | 2661385.672 | 1248562.0724 | 2661383.3884 | 1248577.1042
70 | 2661294.1876 | 1248599.8858 | 2661313.5573 | 1248607.1578 | 2661343.924 | 1248616.4004
71 | 2661343.924 | 1248616.4004 | 2661336.3986 | 1248636.6683
72 | 2661294.1876 | 1248599.8858 | 2661292.8205 | 1248602.8293 | 2661290.2947 | 1248608.2959 | 2661286.0141 | 1248617.5396
73 | 2661332.9557 | 1248645.9409 | 2661336.3986 | 1248636.6683
74 | 2661332.9557 | 1248645.9409 | 2661325.9896 | 1248661.781
75 | 2661324.4568 | 1248665.2664 | 2661325.9896 | 1248661.781

## bus_geodata
| x | y | coords
0 | 2661111.3891 | 1248717.2167
1 | 2661156.6093 | 1248707.3625
2 | 2661109.4235 | 1248724.7327
3 | 2661162.7792 | 1248724.0709
4 | 2661156.7102 | 1248701.982
5 | 2661116.8615 | 1248748.255
6 | 2661168.6919 | 1248738.9384
7 | 2661171.4861 | 1248676.5612
8 | 2661190.313 | 1248723.9178
9 | 2661116.8029 | 1248756.0527
10 | 2661129.7926 | 1248673.1623
11 | 2661151.8737 | 1248654.0322
12 | 2661114.892 | 1248665.5442
13 | 2661153.248 | 1248650.4878
14 | 2661126.4964 | 1248638.9568
15 | 2661263.3419 | 1248726.0882
16 | 2661318.2592 | 1248751.873
17 | 2661272.2053 | 1248769.6446
18 | 2661170.444 | 1248742.4795
19 | 2661192.3477 | 1248726.0108
20 | 2661101.5856 | 1248787.6957
21 | 2661128.6383 | 1248770.2699
22 | 2661291.4682 | 1248734.2416
23 | 2661351.0702 | 1248756.9387
24 | 2661199.1451 | 1248615.5047
25 | 2661114.829 | 1248615.7349
26 | 2661347.7376 | 1248766.6665
27 | 2661273.3781 | 1248775.4078
28 | 2661101.1873 | 1248610.3457
29 | 2661214.9795 | 1248623.4064
30 | 2661130.4021 | 1248775.1394
31 | 2661111.2894 | 1248799.3593
32 | 2661216.5962 | 1248734.5418
33 | 2661222.6954 | 1248737.5759
34 | 2661199.7554 | 1248733.8816
35 | 2661231.7523 | 1248742.0815
36 | 2661218.9394 | 1248774.443
37 | 2661244.1853 | 1248748.2665
38 | 2661250.2891 | 1248751.3029
39 | 2661177.677 | 1248757.0977
40 | 2661178.5037 | 1248758.7687
41 | 2661352.1972 | 1248750.924
42 | 2661355.941 | 1248732.0448
43 | 2661225.8993 | 1248615.2062
44 | 2661237.2245 | 1248668.2336
45 | 2661244.3388 | 1248671.6339
46 | 2661226.2829 | 1248614.7799
47 | 2661256.5799 | 1248677.4846
48 | 2661235.3251 | 1248607.1162
49 | 2661247.0183 | 1248610.5132
50 | 2661258.6966 | 1248616.8977
51 | 2661267.9324 | 1248621.9469
52 | 2661280.7326 | 1248628.9448
53 | 2661275.6483 | 1248686.6033
54 | 2661274.258 | 1248641.9568
55 | 2661274.6941 | 1248641.0804
56 | 2661363.518 | 1248690.9188
57 | 2661360.2776 | 1248708.5065
58 | 2661363.9426 | 1248688.6142
59 | 2661359.7835 | 1248711.1886
60 | 2661370.3915 | 1248653.6112
61 | 2661357.5271 | 1248723.4359
62 | 2661372.9702 | 1248643.0417
63 | 2661349.9957 | 1248649.6109
64 | 2661414.1815 | 1248658.4324
65 | 2661375.9393 | 1248626.1384
66 | 2661347.3274 | 1248649.0876
67 | 2661377.1431 | 1248618.2139
68 | 2661383.3884 | 1248577.1042
69 | 2661388.6303 | 1248547.9273
70 | 2661343.924 | 1248616.4004
71 | 2661294.1876 | 1248599.8858
72 | 2661336.3986 | 1248636.6683
73 | 2661286.0141 | 1248617.5396
74 | 2661332.9557 | 1248645.9409
75 | 2661325.9896 | 1248661.781
76 | 2661324.4568 | 1248665.2664
77 | 2661280.1068 | 1248688.7354

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1