## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4068-3_1_4_node_144 | 0.4 | n |  | TRUE
1 | bus_LV_4068-3_1_4_node_40 | 0.4 | n |  | TRUE
2 | bus_LV_4068-3_1_4_node_145 | 0.4 | n |  | TRUE
3 | bus_LV_4068-3_1_4_node_148 | 0.4 | n |  | TRUE
4 | bus_LV_4068-3_1_4_node_44 | 0.4 | n |  | TRUE
5 | bus_LV_4068-3_1_4_node_150 | 0.4 | n |  | TRUE
6 | bus_LV_4068-3_1_4_node_60 | 0.4 | n |  | TRUE
7 | bus_LV_4068-3_1_4_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_4068-3_1_4_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_4068-3_1_4_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_4068-3_1_4_node_31 | 0.4 | n |  | TRUE
11 | bus_LV_4068-3_1_4_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_4068-3_1_4_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_4068-3_1_4_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_4068-3_1_4_node_85 | 0.4 | n |  | TRUE
15 | bus_LV_4068-3_1_4_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_4068-3_1_4_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_4068-3_1_4_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_4068-3_1_4_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_4068-3_1_4_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_4068-3_1_4_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_4068-3_1_4_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_4068-3_1_4_node_98 | 0.4 | n |  | TRUE
23 | bus_LV_4068-3_1_4_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_4068-3_1_4_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_4068-3_1_4_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_4068-3_1_4_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_4068-3_1_4_node_62 | 0.4 | n |  | TRUE
28 | bus_LV_4068-3_1_4_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_4068-3_1_4_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_4068-3_1_4_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_4068-3_1_4_node_66 | 0.4 | n |  | TRUE
32 | bus_LV_4068-3_1_4_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_4068-3_1_4_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_4068-3_1_4_node_81 | 0.4 | n |  | TRUE
35 | bus_LV_4068-3_1_4_node_76 | 0.4 | n |  | TRUE
36 | bus_LV_4068-3_1_4_node_69 | 0.4 | n |  | TRUE
37 | bus_LV_4068-3_1_4_node_70 | 0.4 | n |  | TRUE
38 | bus_LV_4068-3_1_4_node_71 | 0.4 | n |  | TRUE
39 | bus_LV_4068-3_1_4_node_73 | 0.4 | n |  | TRUE
40 | bus_LV_4068-3_1_4_node_74 | 0.4 | n |  | TRUE
41 | bus_LV_4068-3_1_4_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_4068-3_1_4_node_94 | 0.4 | n |  | TRUE
43 | bus_LV_4068-3_1_4_node_91 | 0.4 | n |  | TRUE
44 | bus_LV_4068-3_1_4_node_103 | 0.4 | n |  | TRUE
45 | bus_LV_4068-3_1_4_node_100 | 0.4 | n |  | TRUE
46 | bus_LV_4068-3_1_4_node_88 | 0.4 | n |  | TRUE
47 | bus_LV_4068-3_1_4_node_77 | 0.4 | n |  | TRUE
48 | bus_LV_4068-3_1_4_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_4068-3_1_4_node_80 | 0.4 | n |  | TRUE
50 | bus_LV_4068-3_1_4_node_84 | 0.4 | n |  | TRUE
51 | bus_LV_4068-3_1_4_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_4068-3_1_4_node_83 | 0.4 | n |  | TRUE
53 | bus_LV_4068-3_1_4_node_86 | 0.4 | n |  | TRUE
54 | bus_LV_4068-3_1_4_node_92 | 0.4 | n |  | TRUE
55 | bus_LV_4068-3_1_4_node_87 | 0.4 | n |  | TRUE
56 | bus_LV_4068-3_1_4_node_89 | 0.4 | n |  | TRUE
57 | bus_LV_4068-3_1_4_node_90 | 0.4 | n |  | TRUE
58 | bus_LV_4068-3_1_4_node_95 | 0.4 | n |  | TRUE
59 | bus_LV_4068-3_1_4_node_93 | 0.4 | n |  | TRUE
60 | bus_LV_4068-3_1_4_node_96 | 0.4 | n |  | TRUE
61 | bus_LV_4068-3_1_4_node_97 | 0.4 | n |  | TRUE
62 | bus_LV_4068-3_1_4_node_105 | 0.4 | n |  | TRUE
63 | bus_LV_4068-3_1_4_node_104 | 0.4 | n |  | TRUE
64 | bus_LV_4068-3_1_4_node_99 | 0.4 | n |  | TRUE
65 | bus_LV_4068-3_1_4_node_101 | 0.4 | n |  | TRUE
66 | bus_LV_4068-3_1_4_node_102 | 0.4 | n |  | TRUE
67 | bus_LV_4068-3_1_4_node_106 | 0.4 | n |  | TRUE
68 | bus_LV_4068-3_1_4_node_107 | 0.4 | n |  | TRUE
69 | bus_MV_427_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4068-3_1_4_load_144 | 0 | 0.0012569 | 0.00031501 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4068-3_1_4_load_145 | 2 | 0.00058405 | 0.00014638 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4068-3_1_4_load_148 | 3 | 0.052995 | 0.013282 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4068-3_1_4_load_150 | 5 | 0.0051908 | 0.0013009 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4068-3_1_4_load_32 | 7 | 0.001481 | 0.00037118 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4068-3_1_4_load_29 | 8 | 0.0011206 | 0.00028084 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4068-3_1_4_load_30 | 9 | 0.0014555 | 0.00036477 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4068-3_1_4_load_35 | 11 | 0.0013676 | 0.00034276 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4068-3_1_4_load_33 | 12 | 0.0057249 | 0.0014348 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4068-3_1_4_load_34 | 13 | 0.0017951 | 0.00044989 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4068-3_1_4_load_36 | 16 | 0.011052 | 0.00277 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4068-3_1_4_load_38 | 18 | 0.050372 | 0.012625 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4068-3_1_4_load_53 | 21 | 0.0034351 | 0.00086093 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4068-3_1_4_load_98 | 22 | 0.0018206 | 0.00045628 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4068-3_1_4_load_59 | 24 | 0.0026089 | 0.00065384 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4068-3_1_4_load_50 | 25 | 0.011993 | 0.0030058 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4068-3_1_4_load_61 | 26 | 0.0025791 | 0.00064639 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4068-3_1_4_load_62 | 27 | 0.0051896 | 0.0013006 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4068-3_1_4_load_63 | 28 | 0.0011599 | 0.00029071 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4068-3_1_4_load_64 | 29 | 0.0012899 | 0.00032328 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4068-3_1_4_load_81 | 34 | 0.00081072 | 0.00020319 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4068-3_1_4_load_76 | 35 | 0.0038557 | 0.00096633 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4068-3_1_4_load_69 | 36 | 0.001289 | 0.00032305 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4068-3_1_4_load_73 | 39 | 0.0012815 | 0.00032116 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4068-3_1_4_load_94 | 42 | 0.00063207 | 0.00015841 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4068-3_1_4_load_103 | 44 | 0.00088331 | 0.00022138 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4068-3_1_4_load_100 | 45 | 0.0011956 | 0.00029964 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4068-3_1_4_load_88 | 46 | 0.0016225 | 0.00040663 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4068-3_1_4_load_77 | 47 | 0.0015381 | 0.00038549 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4068-3_1_4_load_78 | 48 | 0.0011392 | 0.00028551 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4068-3_1_4_load_82 | 51 | 0.00039676 | 9.9437e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4068-3_1_4_load_83 | 52 | 0.001095 | 0.00027443 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4068-3_1_4_load_86 | 53 | 0.0016395 | 0.00041089 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4068-3_1_4_load_92 | 54 | 0.0010533 | 0.00026399 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4068-3_1_4_load_87 | 55 | 0.00076566 | 0.00019189 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4068-3_1_4_load_89 | 56 | 0.0013411 | 0.00033612 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4068-3_1_4_load_90 | 57 | 0.0061459 | 0.0015403 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4068-3_1_4_load_93 | 59 | 0.00094897 | 0.00023783 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4068-3_1_4_load_97 | 61 | 0.0058434 | 0.0014645 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4068-3_1_4_load_105 | 62 | 0.0016586 | 0.00041569 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4068-3_1_4_load_104 | 63 | 0.00093436 | 0.00023417 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4068-3_1_4_load_99 | 64 | 0.0025509 | 0.00063931 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4068-3_1_4_load_101 | 65 | 0.00038863 | 9.7399e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4068-3_1_4_load_102 | 66 | 0.00056437 | 0.00014144 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4068-3_1_4_load_106 | 67 | 0.00091588 | 0.00022954 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4068-3_1_4_load_107 | 68 | 0.0023138 | 0.0005799 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4068-3_1_4_line_0 |  | 0 | 1 | 0.0041771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4068-3_1_4_line_1 |  | 1 | 2 | 0.02042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4068-3_1_4_line_2 |  | 1 | 19 | 0.027445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4068-3_1_4_line_3 |  | 3 | 4 | 0.04108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4068-3_1_4_line_4 |  | 4 | 15 | 0.00282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4068-3_1_4_line_5 |  | 5 | 6 | 0.045282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4068-3_1_4_line_6 |  | 5 | 7 | 0.023657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4068-3_1_4_line_7 |  | 6 | 23 | 0.007226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4068-3_1_4_line_8 |  | 7 | 12 | 0.11454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_4068-3_1_4_line_9 |  | 7 | 10 | 0.049983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_4068-3_1_4_line_10 |  | 8 | 9 | 0.0095726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4068-3_1_4_line_11 |  | 9 | 10 | 0.023224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4068-3_1_4_line_12 |  | 10 | 11 | 0.010514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_4068-3_1_4_line_13 |  | 11 | 15 | 0.019519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_4068-3_1_4_line_14 |  | 12 | 13 | 0.037874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_4068-3_1_4_line_15 |  | 13 | 14 | 0.01656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_4068-3_1_4_line_16 |  | 14 | 54 | 0.010319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_4068-3_1_4_line_17 |  | 15 | 25 | 0.035202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_4068-3_1_4_line_18 |  | 16 | 17 | 0.072692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4068-3_1_4_line_19 |  | 16 | 18 | 0.031402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4068-3_1_4_line_20 |  | 17 | 19 | 0.12574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4068-3_1_4_line_21 |  | 17 | 20 | 0.13857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_4068-3_1_4_line_22 |  | 19 | 21 | 0.019952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4068-3_1_4_line_23 |  | 20 | 22 | 0.053127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4068-3_1_4_line_24 |  | 22 | 64 | 0.013493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_4068-3_1_4_line_25 |  | 23 | 24 | 0.020842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4068-3_1_4_line_26 |  | 24 | 26 | 9.3407e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4068-3_1_4_line_27 |  | 26 | 27 | 0.00025618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4068-3_1_4_line_28 |  | 28 | 29 | 0.031711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4068-3_1_4_line_29 |  | 28 | 30 | 0.057385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4068-3_1_4_line_30 |  | 29 | 31 | 0.022089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4068-3_1_4_line_31 |  | 30 | 32 | 0.001972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4068-3_1_4_line_32 |  | 31 | 33 | 0.002846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4068-3_1_4_line_33 |  | 31 | 34 | 0.01712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4068-3_1_4_line_34 |  | 32 | 35 | 0.012373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4068-3_1_4_line_35 |  | 33 | 42 | 0.01602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4068-3_1_4_line_36 |  | 33 | 37 | 0.012113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4068-3_1_4_line_37 |  | 34 | 48 | 0.045812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4068-3_1_4_line_38 |  | 35 | 47 | 0.025692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4068-3_1_4_line_39 |  | 36 | 37 | 0.019268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_4068-3_1_4_line_40 |  | 36 | 38 | 0.0045126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_4068-3_1_4_line_41 |  | 37 | 39 | 0.016363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_4068-3_1_4_line_42 |  | 38 | 40 | 0.003036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_4068-3_1_4_line_43 |  | 38 | 41 | 0.013718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4068-3_1_4_line_44 |  | 39 | 43 | 0.002657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_4068-3_1_4_line_45 |  | 40 | 44 | 0.023187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_4068-3_1_4_line_46 |  | 40 | 45 | 0.010413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4068-3_1_4_line_47 |  | 41 | 46 | 0.01144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4068-3_1_4_line_48 |  | 42 | 49 | 0.016523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4068-3_1_4_line_49 |  | 43 | 54 | 0.025007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_4068-3_1_4_line_50 |  | 43 | 59 | 0.032882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4068-3_1_4_line_51 |  | 44 | 68 | 0.023384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4068-3_1_4_line_52 |  | 45 | 65 | 0.0076098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4068-3_1_4_line_53 |  | 46 | 56 | 0.029257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4068-3_1_4_line_54 |  | 49 | 50 | 0.004923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4068-3_1_4_line_55 |  | 50 | 53 | 0.012763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4068-3_1_4_line_56 |  | 50 | 51 | 0.014885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4068-3_1_4_line_57 |  | 51 | 52 | 0.0050496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4068-3_1_4_line_58 |  | 53 | 55 | 0.019419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4068-3_1_4_line_59 |  | 57 | 58 | 0.025619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4068-3_1_4_line_60 |  | 58 | 60 | 0.002769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_4068-3_1_4_line_61 |  | 58 | 61 | 0.0091362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_4068-3_1_4_line_62 |  | 60 | 62 | 0.0161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_4068-3_1_4_line_63 |  | 60 | 63 | 0.009016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4068-3_1_4_line_64 |  | 61 | 64 | 0.030727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_4068-3_1_4_line_65 |  | 62 | 68 | 0.019936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_4068-3_1_4_line_66 |  | 65 | 66 | 0.029654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4068-3_1_4_line_67 |  | 66 | 67 | 0.0071852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4068-3_1_4_trafo_50 | 0.63 MVA 20/0.4 kV | 69 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2661385.7114 | 1248764.6025 | 2661381.556 | 1248765.0278
1 | 2661385.7114 | 1248764.6025 | 2661406.0249 | 1248762.5162
2 | 2661366.3926 | 1248779.4573 | 2661375.855 | 1248772.0946 | 2661386.076 | 1248769.4985 | 2661385.7114 | 1248764.6025
3 | 2661291.9423 | 1248837.4389 | 2661286.0543 | 1248849.6754 | 2661282.9828 | 1248853.8799 | 2661262.0455 | 1248861.7358
4 | 2661259.3999 | 1248862.7314 | 2661262.0455 | 1248861.7358
5 | 2661177.7328 | 1248813.1873 | 2661174.1925 | 1248815.2744 | 2661187.7602 | 1248841.7661 | 2661177.6836 | 1248847.2215
6 | 2661200.4073 | 1248853.8011 | 2661177.6836 | 1248847.2215
7 | 2661177.7328 | 1248813.1873 | 2661174.5301 | 1248806.7053
8 | 2661189.9564 | 1248944.6228 | 2661183.4709 | 1248912.7379 | 2661178.9914 | 1248884.3831 | 2661170.0237 | 1248865.811 | 2661200.4073 | 1248853.8011
9 | 2661246.8905 | 1248835.4276 | 2661200.4073 | 1248853.8011
10 | 2661233.2285 | 1248805.6126 | 2661237.2176 | 1248814.3144
11 | 2661246.8905 | 1248835.4276 | 2661245.3766 | 1248832.1319 | 2661240.5767 | 1248821.6417 | 2661237.2176 | 1248814.3144
12 | 2661246.8905 | 1248835.4276 | 2661251.2698 | 1248844.9865
13 | 2661259.3999 | 1248862.7314 | 2661254.7624 | 1248852.6097 | 2661251.2698 | 1248844.9865
14 | 2661202.6238 | 1248979.7984 | 2661195.7929 | 1248969.1709 | 2661191.7998 | 1248953.6856 | 2661189.9564 | 1248944.6228
15 | 2661211.5775 | 1248993.7287 | 2661202.6238 | 1248979.7984
16 | 2661211.5775 | 1248993.7287 | 2661217.1566 | 1249002.4098
17 | 2661259.3999 | 1248862.7314 | 2661273.8581 | 1248894.8275
18 | 2661434.4476 | 1248876.7184 | 2661426.1203 | 1248853.2603 | 2661421.1582 | 1248845.3367 | 2661409.2188 | 1248831.6035 | 2661401.3631 | 1248820.1809 | 2661397.9954 | 1248814.7506
19 | 2661376.6228 | 1248813.8871 | 2661380.919 | 1248812.4639 | 2661384.3578 | 1248808.5301 | 2661388.8372 | 1248803.2728 | 2661395.1169 | 1248810.1093 | 2661397.9954 | 1248814.7506
20 | 2661366.3926 | 1248779.4573 | 2661386.4308 | 1248795.7538 | 2661396.222 | 1248805.4841 | 2661406.5852 | 1248816.8549 | 2661416.2308 | 1248830.4309 | 2661417.8234 | 1248832.6823 | 2661426.9362 | 1248847.3869 | 2661437.9701 | 1248875.6319 | 2661434.4476 | 1248876.7184
21 | 2661434.4476 | 1248876.7184 | 2661435.246 | 1248880.5516 | 2661435.3186 | 1248883.0207 | 2661434.5817 | 1248885.6371 | 2661433.6014 | 1248887.6951 | 2661432.0962 | 1248889.3918 | 2661435.1282 | 1248894.1042 | 2661440.4341 | 1248902.3538 | 2661442.5212 | 1248914.4505 | 2661450.1507 | 1248960.0391 | 2661451.3235 | 1248967.0895 | 2661455.6026 | 1248992.7962 | 2661452.6585 | 1248997.8247 | 2661448.9154 | 1248999.7984 | 2661444.7383 | 1249000.6669 | 2661445.3824 | 1249004.087
22 | 2661366.3926 | 1248779.4573 | 2661349.9372 | 1248768.1747
23 | 2661445.3824 | 1249004.087 | 2661404.0853 | 1249012.2205 | 2661393.1631 | 1249013.8044
24 | 2661393.1631 | 1249013.8044 | 2661379.8103 | 1249015.7408
25 | 2661174.5301 | 1248806.7053 | 2661156.0062 | 1248816.2576
26 | 2661155.9232 | 1248816.3004 | 2661156.0062 | 1248816.2576
27 | 2661155.6955 | 1248816.4178 | 2661155.9232 | 1248816.3004
28 | 2661237.6608 | 1249095.811 | 2661240.5102 | 1249092.6073 | 2661242.9104 | 1249087.5842 | 2661241.7126 | 1249077.8205 | 2661235.6395 | 1249067.4485
29 | 2661204.2175 | 1249141.9448 | 2661211.7403 | 1249126.3671 | 2661221.7934 | 1249113.6509 | 2661237.6608 | 1249095.811
30 | 2661225.2885 | 1249047.9524 | 2661229.6127 | 1249056.9589 | 2661233.2762 | 1249063.4123 | 2661235.6395 | 1249067.4485
31 | 2661204.2175 | 1249141.9448 | 2661202.4445 | 1249141.0703
32 | 2661224.0616 | 1249045.3824 | 2661225.2885 | 1249047.9524
33 | 2661225.2885 | 1249047.9524 | 2661222.3892 | 1249048.6674 | 2661208.2819 | 1249049.5386
34 | 2661202.4445 | 1249141.0703 | 2661201.8107 | 1249135.9157 | 2661195.3181 | 1249132.8504
35 | 2661224.0616 | 1249045.3824 | 2661213.4732 | 1249046.3182 | 2661208.0833 | 1249046.2827
36 | 2661235.6666 | 1249041.7997 | 2661224.0616 | 1249045.3824
37 | 2661208.2819 | 1249049.5386 | 2661202.3364 | 1249049.9057 | 2661192.003 | 1249053.9353 | 2661177.0285 | 1249070.8814 | 2661173.6239 | 1249076.0026
38 | 2661195.3181 | 1249132.8504 | 2661172.0857 | 1249121.8815
39 | 2661235.6666 | 1249041.7997 | 2661254.3682 | 1249037.1642
40 | 2661258.7483 | 1249036.0785 | 2661254.3682 | 1249037.1642
41 | 2661235.6666 | 1249041.7997 | 2661231.3734 | 1249026.0105
42 | 2661258.7483 | 1249036.0785 | 2661259.2383 | 1249039.0746
43 | 2661272.2177 | 1249033.2824 | 2661258.7483 | 1249036.0785
44 | 2661230.6763 | 1249023.4465 | 2661231.3734 | 1249026.0105
45 | 2661259.2383 | 1249039.0746 | 2661267.4591 | 1249037.0803 | 2661281.8778 | 1249034.0788
46 | 2661259.2383 | 1249039.0746 | 2661261.9329 | 1249049.1325
47 | 2661272.2177 | 1249033.2824 | 2661269.3835 | 1249022.199
48 | 2661191.6344 | 1249045.0252 | 2661201.6117 | 1249046.2402 | 2661208.0833 | 1249046.2827
49 | 2661230.6763 | 1249023.4465 | 2661217.1566 | 1249002.4098
50 | 2661230.6763 | 1249023.4465 | 2661234.358 | 1249000.3685 | 2661230.424 | 1248991.708
51 | 2661281.8778 | 1249034.0788 | 2661304.7709 | 1249029.3132
52 | 2661261.9329 | 1249049.1325 | 2661263.9021 | 1249056.4832
53 | 2661269.561 | 1248993.7274 | 2661266.1142 | 1249009.4139 | 2661269.3835 | 1249022.199
54 | 2661191.6344 | 1249045.0252 | 2661187.0317 | 1249043.2432
55 | 2661187.0317 | 1249043.2432 | 2661177.3825 | 1249039.5077 | 2661175.4163 | 1249038.1038
56 | 2661187.0317 | 1249043.2432 | 2661189.7829 | 1249030.5516 | 2661190.4593 | 1249028.7775
57 | 2661190.4593 | 1249028.7775 | 2661192.2582 | 1249024.0593
58 | 2661159.6122 | 1249026.8199 | 2661175.4163 | 1249038.1038
59 | 2661340.1977 | 1249020.1983 | 2661324.0921 | 1249023.067 | 2661314.9622 | 1249024.6131
60 | 2661340.1977 | 1249020.1983 | 2661340.2068 | 1249022.967
61 | 2661340.1977 | 1249020.1983 | 2661349.2781 | 1249019.1909
62 | 2661340.2068 | 1249022.967 | 2661330.0472 | 1249024.0515 | 2661324.288 | 1249025.2504
63 | 2661340.2068 | 1249022.967 | 2661340.2491 | 1249031.9829
64 | 2661379.8103 | 1249015.7408 | 2661377.9653 | 1249016.0083 | 2661349.2781 | 1249019.1909
65 | 2661324.288 | 1249025.2504 | 2661304.7709 | 1249029.3132
66 | 2661263.9021 | 1249056.4832 | 2661264.4657 | 1249058.5866 | 2661267.3001 | 1249072.1809 | 2661271.8756 | 1249079.5222 | 2661275.5314 | 1249082.8437
67 | 2661281.1895 | 1249087.2107 | 2661278.8324 | 1249085.8429 | 2661275.5314 | 1249082.8437

## bus_geodata
| x | y | coords
0 | 2661381.556 | 1248765.0278
1 | 2661385.7114 | 1248764.6025
2 | 2661406.0249 | 1248762.5162
3 | 2661291.9423 | 1248837.4389
4 | 2661262.0455 | 1248861.7358
5 | 2661177.6836 | 1248847.2215
6 | 2661177.7328 | 1248813.1873
7 | 2661200.4073 | 1248853.8012
8 | 2661233.2285 | 1248805.6126
9 | 2661237.2176 | 1248814.3144
10 | 2661246.8905 | 1248835.4276
11 | 2661251.2698 | 1248844.9865
12 | 2661189.9564 | 1248944.6228
13 | 2661202.6238 | 1248979.7984
14 | 2661211.5775 | 1248993.7287
15 | 2661259.3999 | 1248862.7314
16 | 2661397.9954 | 1248814.7506
17 | 2661434.4476 | 1248876.7184
18 | 2661376.6228 | 1248813.8871
19 | 2661366.3926 | 1248779.4573
20 | 2661445.3824 | 1249004.087
21 | 2661349.9372 | 1248768.1747
22 | 2661393.1631 | 1249013.8044
23 | 2661174.5301 | 1248806.7053
24 | 2661156.0062 | 1248816.2576
25 | 2661273.8581 | 1248894.8275
26 | 2661155.9232 | 1248816.3004
27 | 2661155.6955 | 1248816.4178
28 | 2661237.6608 | 1249095.811
29 | 2661235.6394 | 1249067.4485
30 | 2661204.2175 | 1249141.9448
31 | 2661225.2885 | 1249047.9524
32 | 2661202.4445 | 1249141.0703
33 | 2661224.0616 | 1249045.3824
34 | 2661208.2819 | 1249049.5386
35 | 2661195.3181 | 1249132.8504
36 | 2661254.3682 | 1249037.1642
37 | 2661235.6666 | 1249041.7997
38 | 2661258.7483 | 1249036.0785
39 | 2661231.3734 | 1249026.0105
40 | 2661259.2383 | 1249039.0746
41 | 2661272.2177 | 1249033.2824
42 | 2661208.0832 | 1249046.2827
43 | 2661230.6763 | 1249023.4465
44 | 2661281.8778 | 1249034.0788
45 | 2661261.9329 | 1249049.1325
46 | 2661269.3835 | 1249022.199
47 | 2661172.0857 | 1249121.8815
48 | 2661173.6239 | 1249076.0026
49 | 2661191.6344 | 1249045.0252
50 | 2661187.0317 | 1249043.2432
51 | 2661190.4593 | 1249028.7775
52 | 2661192.2582 | 1249024.0593
53 | 2661175.4163 | 1249038.1038
54 | 2661217.1566 | 1249002.4098
55 | 2661159.6122 | 1249026.8199
56 | 2661269.561 | 1248993.7274
57 | 2661314.9622 | 1249024.6131
58 | 2661340.1977 | 1249020.1983
59 | 2661230.424 | 1248991.708
60 | 2661340.2068 | 1249022.967
61 | 2661349.2781 | 1249019.1909
62 | 2661324.288 | 1249025.2504
63 | 2661340.2491 | 1249031.9829
64 | 2661379.8103 | 1249015.7408
65 | 2661263.9021 | 1249056.4832
66 | 2661275.5314 | 1249082.8437
67 | 2661281.1895 | 1249087.2107
68 | 2661304.7709 | 1249029.3132
69 | 2661288.8726 | 1248910.1133

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1