## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4072-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4072-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4072-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4072-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4072-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4072-6_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4072-6_0_4_node_42 | 0.4 | n |  | TRUE
7 | bus_LV_4072-6_0_4_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_4072-6_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4072-6_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4072-6_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_4072-6_0_4_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_4072-6_0_4_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_4072-6_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_4072-6_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_4072-6_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_4072-6_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_4072-6_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_4072-6_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_4072-6_0_4_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_4072-6_0_4_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_4072-6_0_4_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_4072-6_0_4_node_64 | 0.4 | n |  | TRUE
23 | bus_LV_4072-6_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_4072-6_0_4_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_4072-6_0_4_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_4072-6_0_4_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_4072-6_0_4_node_69 | 0.4 | n |  | TRUE
28 | bus_LV_4072-6_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_4072-6_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_4072-6_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_4072-6_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_4072-6_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_4072-6_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_4072-6_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_4072-6_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_4072-6_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_4072-6_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_4072-6_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_4072-6_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_4072-6_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_4072-6_0_4_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_4072-6_0_4_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_4072-6_0_4_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_4072-6_0_4_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_4072-6_0_4_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_4072-6_0_4_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_4072-6_0_4_node_71 | 0.4 | n |  | TRUE
48 | bus_LV_4072-6_0_4_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_4072-6_0_4_node_73 | 0.4 | n |  | TRUE
50 | bus_LV_4072-6_0_4_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_4072-6_0_4_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_4072-6_0_4_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_4072-6_0_4_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_4072-6_0_4_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_4072-6_0_4_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_4072-6_0_4_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_4072-6_0_4_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_4072-6_0_4_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_4072-6_0_4_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_4072-6_0_4_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_4072-6_0_4_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_4072-6_0_4_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_4072-6_0_4_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_4072-6_0_4_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_4072-6_0_4_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_4072-6_0_4_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_4072-6_0_4_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_4072-6_0_4_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_4072-6_0_4_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_4072-6_0_4_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_4072-6_0_4_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_4072-6_0_4_node_60 | 0.4 | n |  | TRUE
73 | bus_MV_428_0_node_16 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4072-6_0_4_load_0 | 0 | 0.0024159 | 0.00060548 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4072-6_0_4_load_1 | 1 | 0.0015858 | 0.00039744 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4072-6_0_4_load_3 | 3 | 0.0044907 | 0.0011255 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4072-6_0_4_load_4 | 4 | 0.0020276 | 0.00050816 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4072-6_0_4_load_5 | 5 | 0.0020001 | 0.00050127 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4072-6_0_4_load_42 | 6 | 0.0054547 | 0.0013671 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4072-6_0_4_load_43 | 7 | 0.0028046 | 0.00070291 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4072-6_0_4_load_6 | 8 | 0.00050929 | 0.00012764 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4072-6_0_4_load_7 | 9 | 0.013647 | 0.0034202 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4072-6_0_4_load_9 | 10 | 0.067379 | 0.016887 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4072-6_0_4_load_18 | 11 | 0.0040164 | 0.0010066 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4072-6_0_4_load_19 | 12 | 0.0071667 | 0.0017961 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4072-6_0_4_load_11 | 13 | 0.0072668 | 0.0018212 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4072-6_0_4_load_12 | 14 | 0.00036719 | 9.2028e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4072-6_0_4_load_15 | 17 | 0.0021141 | 0.00052985 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4072-6_0_4_load_16 | 18 | 0.00031942 | 8.0055e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4072-6_0_4_load_37 | 19 | 0.0026953 | 0.00067551 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4072-6_0_4_load_36 | 21 | 0.0038989 | 0.00097717 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4072-6_0_4_load_64 | 22 | 0.00018014 | 4.5147e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4072-6_0_4_load_17 | 23 | 0.0016915 | 0.00042392 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4072-6_0_4_load_66 | 24 | 0.0037969 | 0.00095159 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4072-6_0_4_load_52 | 26 | 0.0039602 | 0.00099252 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4072-6_0_4_load_21 | 28 | 0.008022 | 0.0020105 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4072-6_0_4_load_20 | 29 | 0.047681 | 0.01195 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4072-6_0_4_load_22 | 30 | 0.0080171 | 0.0020093 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4072-6_0_4_load_23 | 31 | 0.0042921 | 0.0010757 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4072-6_0_4_load_33 | 33 | 0.0028596 | 0.00071668 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4072-6_0_4_load_24 | 35 | 0.0080628 | 0.0020207 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4072-6_0_4_load_25 | 36 | 0.043371 | 0.01087 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4072-6_0_4_load_26 | 37 | 0.015612 | 0.0039128 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4072-6_0_4_load_27 | 38 | 0.056383 | 0.014131 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4072-6_0_4_load_30 | 40 | 0.001053 | 0.00026392 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4072-6_0_4_load_76 | 42 | 0.00058377 | 0.00014631 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4072-6_0_4_load_61 | 44 | 0.002351 | 0.00058922 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4072-6_0_4_load_62 | 45 | 0.0012594 | 0.00031563 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4072-6_0_4_load_63 | 46 | 0.0043707 | 0.0010954 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4072-6_0_4_load_71 | 47 | 0.00065334 | 0.00016374 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4072-6_0_4_load_72 | 48 | 0.00056763 | 0.00014226 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4072-6_0_4_load_75 | 50 | 0.0019103 | 0.00047877 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4072-6_0_4_load_44 | 52 | 0.0038148 | 0.00095609 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4072-6_0_4_load_54 | 53 | 0.001596 | 0.0004 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4072-6_0_4_load_55 | 54 | 0.0011945 | 0.00029937 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4072-6_0_4_load_49 | 55 | 0.0018281 | 0.00045817 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4072-6_0_4_load_34 | 57 | 0.0054562 | 0.0013675 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4072-6_0_4_load_35 | 58 | 0.0050709 | 0.0012709 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4072-6_0_4_load_38 | 59 | 0.0029934 | 0.00075022 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4072-6_0_4_load_39 | 60 | 0.001735 | 0.00043483 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4072-6_0_4_load_40 | 61 | 0.0024936 | 0.00062496 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4072-6_0_4_load_56 | 62 | 0.0027631 | 0.00069249 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4072-6_0_4_load_68 | 63 | 0.0016567 | 0.00041522 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4072-6_0_4_load_70 | 64 | 0.0024443 | 0.00061261 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4072-6_0_4_load_46 | 65 | 0.0029449 | 0.00073807 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4072-6_0_4_load_47 | 66 | 0.0016566 | 0.00041519 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4072-6_0_4_load_50 | 68 | 0.0032047 | 0.00080316 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4072-6_0_4_load_51 | 69 | 0.0039616 | 0.00099287 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4072-6_0_4_load_58 | 70 | 0.0043081 | 0.0010797 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4072-6_0_4_load_57 | 71 | 0.0034947 | 0.00087585 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4072-6_0_4_load_60 | 72 | 0.0012402 | 0.00031083 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4072-6_0_4_line_0 |  | 0 | 1 | 0.002984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4072-6_0_4_line_1 |  | 0 | 2 | 0.01178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4072-6_0_4_line_2 |  | 1 | 3 | 0.011547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4072-6_0_4_line_3 |  | 2 | 4 | 0.016048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4072-6_0_4_line_4 |  | 2 | 5 | 0.0092261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4072-6_0_4_line_5 |  | 4 | 6 | 0.003046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4072-6_0_4_line_6 |  | 6 | 7 | 0.021632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4072-6_0_4_line_7 |  | 7 | 56 | 0.0072789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4072-6_0_4_line_8 |  | 8 | 9 | 0.069112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4072-6_0_4_line_9 |  | 9 | 10 | 0.019043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4072-6_0_4_line_10 |  | 10 | 11 | 0.00311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4072-6_0_4_line_11 |  | 11 | 12 | 0.0069492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4072-6_0_4_line_12 |  | 12 | 28 | 0.023642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4072-6_0_4_line_13 |  | 13 | 14 | 0.00027068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4072-6_0_4_line_14 |  | 13 | 15 | 0.026834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4072-6_0_4_line_15 |  | 14 | 16 | 0.026443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4072-6_0_4_line_16 |  | 15 | 17 | 0.058199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4072-6_0_4_line_17 |  | 15 | 18 | 0.026026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4072-6_0_4_line_18 |  | 16 | 22 | 0.039231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4072-6_0_4_line_19 |  | 17 | 23 | 0.011999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4072-6_0_4_line_20 |  | 18 | 24 | 0.012069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4072-6_0_4_line_21 |  | 19 | 20 | 0.014889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4072-6_0_4_line_22 |  | 19 | 21 | 0.090033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4072-6_0_4_line_23 |  | 20 | 26 | 0.021098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4072-6_0_4_line_24 |  | 20 | 27 | 0.086633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4072-6_0_4_line_25 |  | 21 | 57 | 0.026772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4072-6_0_4_line_26 |  | 24 | 25 | 0.022075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4072-6_0_4_line_27 |  | 25 | 63 | 0.0033255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4072-6_0_4_line_28 |  | 26 | 62 | 0.012678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4072-6_0_4_line_29 |  | 27 | 64 | 0.016768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4072-6_0_4_line_30 |  | 27 | 63 | 0.041053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4072-6_0_4_line_31 |  | 28 | 29 | 0.0015924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4072-6_0_4_line_32 |  | 29 | 30 | 0.02183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_4072-6_0_4_line_33 |  | 30 | 31 | 0.0090601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_4072-6_0_4_line_34 |  | 31 | 32 | 0.024979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_4072-6_0_4_line_35 |  | 32 | 33 | 0.012806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4072-6_0_4_line_36 |  | 32 | 34 | 0.023875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_4072-6_0_4_line_37 |  | 33 | 52 | 0.0058564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4072-6_0_4_line_38 |  | 34 | 40 | 0.010846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4072-6_0_4_line_39 |  | 34 | 37 | 0.079692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4072-6_0_4_line_40 |  | 35 | 36 | 0.019998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4072-6_0_4_line_41 |  | 35 | 37 | 0.014906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4072-6_0_4_line_42 |  | 36 | 38 | 0.025411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4072-6_0_4_line_43 |  | 38 | 39 | 0.16788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4072-6_0_4_line_44 |  | 39 | 41 | 0.005922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4072-6_0_4_line_45 |  | 40 | 51 | 0.021759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4072-6_0_4_line_46 |  | 41 | 42 | 0.025139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4072-6_0_4_line_47 |  | 41 | 43 | 0.034315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4072-6_0_4_line_48 |  | 43 | 44 | 0.22226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4072-6_0_4_line_49 |  | 43 | 48 | 0.0091688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4072-6_0_4_line_50 |  | 44 | 45 | 0.01568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4072-6_0_4_line_51 |  | 45 | 46 | 0.016054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4072-6_0_4_line_52 |  | 47 | 48 | 0.026442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4072-6_0_4_line_53 |  | 47 | 49 | 0.014159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4072-6_0_4_line_54 |  | 49 | 50 | 0.016566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4072-6_0_4_line_55 |  | 51 | 53 | 0.016444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4072-6_0_4_line_56 |  | 51 | 54 | 0.02942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4072-6_0_4_line_57 |  | 51 | 55 | 0.017343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4072-6_0_4_line_58 |  | 52 | 56 | 0.01597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4072-6_0_4_line_59 |  | 54 | 72 | 0.028727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4072-6_0_4_line_60 |  | 55 | 66 | 0.0068144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4072-6_0_4_line_61 |  | 56 | 60 | 0.010514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4072-6_0_4_line_62 |  | 57 | 58 | 0.028982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4072-6_0_4_line_63 |  | 59 | 60 | 0.0067119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4072-6_0_4_line_64 |  | 59 | 61 | 0.0020311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4072-6_0_4_line_65 |  | 62 | 68 | 0.01112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4072-6_0_4_line_66 |  | 65 | 66 | 0.01939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4072-6_0_4_line_67 |  | 65 | 67 | 0.012552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4072-6_0_4_line_68 |  | 67 | 68 | 0.0095445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4072-6_0_4_line_69 |  | 67 | 69 | 0.015521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4072-6_0_4_line_70 |  | 69 | 70 | 0.00013326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4072-6_0_4_line_71 |  | 70 | 71 | 0.027851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4072-6_0_4_trafo_22 | 0.63 MVA 20/0.4 kV | 73 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2664661.0718 | 1248135.2074 | 2664660.2904 | 1248132.3275
1 | 2664664.1565 | 1248146.5763 | 2664661.0718 | 1248135.2074
2 | 2664657.2666 | 1248121.1834 | 2664660.2904 | 1248132.3275
3 | 2664664.1565 | 1248146.5763 | 2664677.618 | 1248141.3972 | 2664679.1385 | 1248140.8258
4 | 2664664.1565 | 1248146.5763 | 2664655.1339 | 1248148.5028
5 | 2664681.9898 | 1248139.7544 | 2664679.1385 | 1248140.8258
6 | 2664681.9898 | 1248139.7544 | 2664695.7039 | 1248134.6008 | 2664702.2131 | 1248132.0752
7 | 2664708.9991 | 1248129.4422 | 2664702.2131 | 1248132.0752
8 | 2664792.3439 | 1248287.3724 | 2664794.9127 | 1248277.8952 | 2664795.6916 | 1248266.7403 | 2664794.2086 | 1248258.018 | 2664787.5456 | 1248243.0236 | 2664776.9366 | 1248222.7799
9 | 2664776.9366 | 1248222.7799 | 2664774.5996 | 1248218.3205 | 2664768.856 | 1248205.5433
10 | 2664768.856 | 1248205.5433 | 2664767.5809 | 1248202.7067
11 | 2664764.7317 | 1248196.3684 | 2664767.5809 | 1248202.7067
12 | 2664756.1364 | 1248174.3462 | 2664764.1671 | 1248195.1125 | 2664764.7317 | 1248196.3684
13 | 2664496.8595 | 1248148.7057 | 2664496.615 | 1248148.5897
14 | 2664472.3687 | 1248137.0929 | 2664496.615 | 1248148.5897
15 | 2664520.4077 | 1248160.6762 | 2664515.8321 | 1248157.8133 | 2664506.9525 | 1248153.4915 | 2664496.8595 | 1248148.7057
16 | 2664472.3687 | 1248137.0929 | 2664453.4167 | 1248161.0592 | 2664438.6635 | 1248184.4383
17 | 2664472.3687 | 1248137.0929 | 2664487.3425 | 1248115.8061
18 | 2664520.4077 | 1248160.6762 | 2664513.2404 | 1248189.852 | 2664510.3067 | 1248198.559
19 | 2664432.2601 | 1248194.5855 | 2664438.6635 | 1248184.4383
20 | 2664494.2864 | 1248105.9345 | 2664487.3425 | 1248115.8061
21 | 2664622.5089 | 1248087.5032 | 2664625.8834 | 1248102.0043
22 | 2664652.6611 | 1248187.6157 | 2664647.3142 | 1248177.1474 | 2664640.8033 | 1248160.6204 | 2664635.4582 | 1248143.1499 | 2664625.8834 | 1248102.0043
23 | 2664622.5089 | 1248087.5032 | 2664638.3838 | 1248083.3289 | 2664642.9957 | 1248082.5132
24 | 2664622.5089 | 1248087.5032 | 2664539.7128 | 1248062.0061
25 | 2664666.8733 | 1248210.2269 | 2664662.8073 | 1248205.1803 | 2664654.4643 | 1248191.1462 | 2664652.6611 | 1248187.6157
26 | 2664506.9869 | 1248087.8793 | 2664494.2864 | 1248105.9345
27 | 2664506.9869 | 1248087.8793 | 2664508.8945 | 1248085.1553
28 | 2664655.4395 | 1248080.1236 | 2664653.366 | 1248080.6792 | 2664642.9957 | 1248082.5132
29 | 2664539.7128 | 1248062.0061 | 2664536.3696 | 1248074.2672 | 2664535.6453 | 1248078.2616
30 | 2664539.7128 | 1248062.0061 | 2664535.2947 | 1248060.6238 | 2664526.1573 | 1248066.106 | 2664512.2802 | 1248080.3205 | 2664508.8945 | 1248085.1553
31 | 2664756.1364 | 1248174.3462 | 2664755.5621 | 1248172.861
32 | 2664749.5069 | 1248151.9519 | 2664752.2102 | 1248164.1937 | 2664755.5621 | 1248172.861
33 | 2664747.5533 | 1248143.105 | 2664749.5069 | 1248151.9519
34 | 2664741.8236 | 1248118.793 | 2664746.3598 | 1248137.7002 | 2664747.5533 | 1248143.105
35 | 2664741.8236 | 1248118.793 | 2664729.2815 | 1248121.3801
36 | 2664741.8236 | 1248118.793 | 2664737.1402 | 1248095.381
37 | 2664729.2815 | 1248121.3801 | 2664723.8423 | 1248123.5511
38 | 2664737.1402 | 1248095.381 | 2664734.8745 | 1248084.7746
39 | 2664737.1402 | 1248095.381 | 2664740.3784 | 1248095.5387 | 2664750.0437 | 1248101.8931 | 2664778.5249 | 1248114.146 | 2664809.8875 | 1248126.955
40 | 2664823.6868 | 1248132.5909 | 2664825.576 | 1248133.3624 | 2664841.9214 | 1248140.7995
41 | 2664809.8875 | 1248126.955 | 2664823.6868 | 1248132.5909
42 | 2664865.0508 | 1248151.3233 | 2664841.9214 | 1248140.7995
43 | 2664865.0508 | 1248151.3233 | 2665011.5145 | 1248233.3787
44 | 2665011.5145 | 1248233.3787 | 2665016.6012 | 1248236.4366
45 | 2664730.329 | 1248063.4955 | 2664734.8745 | 1248084.7746
46 | 2665016.6012 | 1248236.4366 | 2665016.2081 | 1248242.67 | 2665015.6784 | 1248252.4044 | 2665011.6612 | 1248260.6217
47 | 2665045.9709 | 1248254.3268 | 2665026.7521 | 1248242.5411 | 2665016.6012 | 1248236.4366
48 | 2665045.9709 | 1248254.3268 | 2665206.3765 | 1248100.4846
49 | 2665045.9709 | 1248254.3268 | 2665043.6537 | 1248263.1979
50 | 2665206.3765 | 1248100.4846 | 2665221.9142 | 1248102.5956
51 | 2665221.9142 | 1248102.5956 | 2665237.8223 | 1248104.757
52 | 2665033.6054 | 1248287.4689 | 2665038.568 | 1248272.4027 | 2665043.2197 | 1248264.8595 | 2665043.6537 | 1248263.1979
53 | 2665028.704 | 1248300.7255 | 2665030.3574 | 1248297.3301 | 2665033.6054 | 1248287.4689
54 | 2665028.704 | 1248300.7255 | 2665022.6907 | 1248316.1619
55 | 2664730.329 | 1248063.4955 | 2664726.5297 | 1248047.4964
56 | 2664730.329 | 1248063.4955 | 2664738.7461 | 1248061.0635 | 2664744.1461 | 1248056.2079 | 2664748.1447 | 1248049.6692 | 2664751.2791 | 1248044.8698
57 | 2664730.329 | 1248063.4955 | 2664713.3628 | 1248067.0917
58 | 2664708.9991 | 1248129.4422 | 2664717.4865 | 1248126.088 | 2664723.8423 | 1248123.5511
59 | 2664763.8296 | 1248019.0866 | 2664757.2721 | 1248034.0579 | 2664753.9129 | 1248040.8371 | 2664751.2791 | 1248044.8698
60 | 2664713.3628 | 1248067.0917 | 2664706.6965 | 1248068.5047
61 | 2664708.9991 | 1248129.4422 | 2664706.7568 | 1248119.1705
62 | 2664666.8733 | 1248210.2269 | 2664677.702 | 1248223.6668 | 2664685.7206 | 1248232.2172
63 | 2664705.3254 | 1248112.613 | 2664706.7568 | 1248119.1705
64 | 2664704.8922 | 1248110.6287 | 2664705.3254 | 1248112.613
65 | 2664666.1804 | 1248077.2454 | 2664655.4395 | 1248080.1236
66 | 2664687.7907 | 1248072.8017 | 2664697.204 | 1248070.5168 | 2664706.6965 | 1248068.5047
67 | 2664675.5928 | 1248075.7625 | 2664687.7907 | 1248072.8017
68 | 2664675.5928 | 1248075.7625 | 2664668.3177 | 1248076.6727 | 2664666.1804 | 1248077.2454
69 | 2664675.5928 | 1248075.7625 | 2664672.281 | 1248060.5988
70 | 2664672.2525 | 1248060.4686 | 2664672.281 | 1248060.5988
71 | 2664669.8169 | 1248033.103 | 2664669.0008 | 1248035.5181 | 2664668.858 | 1248040.2976 | 2664669.0545 | 1248045.8259 | 2664672.2525 | 1248060.4686

## bus_geodata
| x | y | coords
0 | 2664661.0718 | 1248135.2074
1 | 2664660.2904 | 1248132.3275
2 | 2664664.1565 | 1248146.5763
3 | 2664657.2666 | 1248121.1834
4 | 2664679.1385 | 1248140.8258
5 | 2664655.1339 | 1248148.5028
6 | 2664681.9898 | 1248139.7544
7 | 2664702.2131 | 1248132.0752
8 | 2664792.3439 | 1248287.3724
9 | 2664776.9366 | 1248222.7799
10 | 2664768.856 | 1248205.5433
11 | 2664767.5809 | 1248202.7067
12 | 2664764.7317 | 1248196.3684
13 | 2664496.615 | 1248148.5897
14 | 2664496.8595 | 1248148.7057
15 | 2664472.3687 | 1248137.0929
16 | 2664520.4077 | 1248160.6762
17 | 2664438.6635 | 1248184.4383
18 | 2664487.3425 | 1248115.8061
19 | 2664625.8834 | 1248102.0043
20 | 2664622.5089 | 1248087.5032
21 | 2664652.6611 | 1248187.6157
22 | 2664510.3067 | 1248198.559
23 | 2664432.2601 | 1248194.5855
24 | 2664494.2864 | 1248105.9345
25 | 2664506.9869 | 1248087.8793
26 | 2664642.9957 | 1248082.5132
27 | 2664539.7128 | 1248062.0061
28 | 2664756.1364 | 1248174.3462
29 | 2664755.5621 | 1248172.861
30 | 2664749.5069 | 1248151.9519
31 | 2664747.5533 | 1248143.105
32 | 2664741.8236 | 1248118.793
33 | 2664729.2815 | 1248121.3801
34 | 2664737.1402 | 1248095.381
35 | 2664823.6868 | 1248132.5909
36 | 2664841.9214 | 1248140.7995
37 | 2664809.8875 | 1248126.955
38 | 2664865.0508 | 1248151.3233
39 | 2665011.5145 | 1248233.3787
40 | 2664734.8745 | 1248084.7746
41 | 2665016.6012 | 1248236.4366
42 | 2665011.6612 | 1248260.6217
43 | 2665045.9709 | 1248254.3268
44 | 2665206.3765 | 1248100.4846
45 | 2665221.9142 | 1248102.5956
46 | 2665237.8223 | 1248104.757
47 | 2665033.6054 | 1248287.4689
48 | 2665043.6537 | 1248263.1979
49 | 2665028.704 | 1248300.7255
50 | 2665022.6907 | 1248316.1619
51 | 2664730.329 | 1248063.4955
52 | 2664723.8423 | 1248123.5511
53 | 2664726.5297 | 1248047.4964
54 | 2664751.2791 | 1248044.8698
55 | 2664713.3628 | 1248067.0917
56 | 2664708.9991 | 1248129.4422
57 | 2664666.8733 | 1248210.2269
58 | 2664685.7206 | 1248232.2172
59 | 2664705.3254 | 1248112.613
60 | 2664706.7568 | 1248119.1705
61 | 2664704.8922 | 1248110.6287
62 | 2664655.4395 | 1248080.1236
63 | 2664508.8945 | 1248085.1553
64 | 2664535.6453 | 1248078.2616
65 | 2664687.7907 | 1248072.8017
66 | 2664706.6965 | 1248068.5047
67 | 2664675.5928 | 1248075.7625
68 | 2664666.1804 | 1248077.2454
69 | 2664672.281 | 1248060.5988
70 | 2664672.2525 | 1248060.4686
71 | 2664669.8169 | 1248033.103
72 | 2664763.8296 | 1248019.0866
73 | 2664741.8236 | 1248118.793

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1