## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_409-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_409-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_409-2_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_409-2_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_409-2_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_409-2_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_409-2_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_409-2_0_6_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_409-2_0_6_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_409-2_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_409-2_0_6_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_409-2_0_6_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_409-2_0_6_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_409-2_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_409-2_0_6_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_409-2_0_6_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_409-2_0_6_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_409-2_0_6_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_409-2_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_409-2_0_6_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_409-2_0_6_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_409-2_0_6_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_409-2_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_409-2_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_409-2_0_6_node_103 | 0.4 | n |  | TRUE
25 | bus_LV_409-2_0_6_node_104 | 0.4 | n |  | TRUE
26 | bus_LV_409-2_0_6_node_105 | 0.4 | n |  | TRUE
27 | bus_LV_409-2_0_6_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_409-2_0_6_node_102 | 0.4 | n |  | TRUE
29 | bus_LV_409-2_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_409-2_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_409-2_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_409-2_0_6_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_409-2_0_6_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_409-2_0_6_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_409-2_0_6_node_101 | 0.4 | n |  | TRUE
36 | bus_LV_409-2_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_409-2_0_6_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_409-2_0_6_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_409-2_0_6_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_409-2_0_6_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_409-2_0_6_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_409-2_0_6_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_409-2_0_6_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_409-2_0_6_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_409-2_0_6_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_409-2_0_6_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_409-2_0_6_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_409-2_0_6_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_409-2_0_6_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_409-2_0_6_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_409-2_0_6_node_74 | 0.4 | n |  | TRUE
52 | bus_LV_409-2_0_6_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_409-2_0_6_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_409-2_0_6_node_82 | 0.4 | n |  | TRUE
55 | bus_LV_409-2_0_6_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_409-2_0_6_node_80 | 0.4 | n |  | TRUE
57 | bus_LV_409-2_0_6_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_409-2_0_6_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_409-2_0_6_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_409-2_0_6_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_409-2_0_6_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_409-2_0_6_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_409-2_0_6_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_409-2_0_6_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_409-2_0_6_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_409-2_0_6_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_409-2_0_6_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_409-2_0_6_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_409-2_0_6_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_409-2_0_6_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_409-2_0_6_node_88 | 0.4 | n |  | TRUE
72 | bus_LV_409-2_0_6_node_87 | 0.4 | n |  | TRUE
73 | bus_LV_409-2_0_6_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_409-2_0_6_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_409-2_0_6_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_409-2_0_6_node_86 | 0.4 | n |  | TRUE
77 | bus_LV_409-2_0_6_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_409-2_0_6_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_409-2_0_6_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_409-2_0_6_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_409-2_0_6_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_409-2_0_6_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_409-2_0_6_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_409-2_0_6_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_409-2_0_6_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_409-2_0_6_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_409-2_0_6_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_409-2_0_6_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_409-2_0_6_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_409-2_0_6_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_409-2_0_6_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_409-2_0_6_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_409-2_0_6_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_409-2_0_6_node_93 | 0.4 | n |  | TRUE
95 | bus_LV_409-2_0_6_node_90 | 0.4 | n |  | TRUE
96 | bus_LV_409-2_0_6_node_91 | 0.4 | n |  | TRUE
97 | bus_LV_409-2_0_6_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_409-2_0_6_node_95 | 0.4 | n |  | TRUE
99 | bus_LV_409-2_0_6_node_94 | 0.4 | n |  | TRUE
100 | bus_LV_409-2_0_6_node_97 | 0.4 | n |  | TRUE
101 | bus_LV_409-2_0_6_node_98 | 0.4 | n |  | TRUE
102 | bus_LV_409-2_0_6_node_99 | 0.4 | n |  | TRUE
103 | bus_MV_387_3_node_77 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_409-2_0_6_load_0 | 0 | 0.0069769 | 0.0017486 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_409-2_0_6_load_4 | 4 | 0.014254 | 0.0035725 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_409-2_0_6_load_6 | 6 | 0.012 | 0.0030075 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_409-2_0_6_load_8 | 7 | 0.00032903 | 8.2462e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_409-2_0_6_load_17 | 10 | 0.0005589 | 0.00014007 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_409-2_0_6_load_18 | 11 | 0.0032939 | 0.00082553 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_409-2_0_6_load_14 | 12 | 0.0055158 | 0.0013824 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_409-2_0_6_load_10 | 13 | 0.014859 | 0.0037241 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_409-2_0_6_load_33 | 15 | 0.0062578 | 0.0015684 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_409-2_0_6_load_23 | 16 | 0.00026844 | 6.7277e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_409-2_0_6_load_24 | 17 | 0.0049343 | 0.0012367 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_409-2_0_6_load_13 | 18 | 0.0011401 | 0.00028573 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_409-2_0_6_load_9 | 19 | 0.00036021 | 9.0276e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_409-2_0_6_load_11 | 20 | 0.00076495 | 0.00019172 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_409-2_0_6_load_12 | 21 | 0.0020669 | 0.000518 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_409-2_0_6_load_15 | 22 | 0.00035988 | 9.0195e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_409-2_0_6_load_103 | 24 | 0.0010351 | 0.00025942 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_409-2_0_6_load_104 | 25 | 0.0003755 | 9.4108e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_409-2_0_6_load_105 | 26 | 0.0018294 | 0.00045848 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_409-2_0_6_load_44 | 27 | 0.00027417 | 6.8714e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_409-2_0_6_load_21 | 31 | 0.00040053 | 0.00010038 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_409-2_0_6_load_22 | 32 | 0.00035799 | 8.9722e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_409-2_0_6_load_41 | 33 | 0.0025292 | 0.00063388 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_409-2_0_6_load_40 | 34 | 0.0014449 | 0.00036212 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_409-2_0_6_load_101 | 35 | 0.028846 | 0.0072294 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_409-2_0_6_load_25 | 36 | 0.00021696 | 5.4375e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_409-2_0_6_load_26 | 37 | 0.0004593 | 0.00011511 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_409-2_0_6_load_28 | 39 | 0.00057314 | 0.00014364 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_409-2_0_6_load_29 | 40 | 0.004155 | 0.0010413 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_409-2_0_6_load_30 | 41 | 0.013685 | 0.0034298 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_409-2_0_6_load_31 | 42 | 0.0054182 | 0.0013579 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_409-2_0_6_load_32 | 43 | 0.0014525 | 0.00036404 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_409-2_0_6_load_34 | 44 | 0.0031147 | 0.0007806 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_409-2_0_6_load_35 | 45 | 0.0050301 | 0.0012607 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_409-2_0_6_load_36 | 46 | 0.0027336 | 0.00068511 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_409-2_0_6_load_45 | 47 | 0.0032784 | 0.00082164 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_409-2_0_6_load_37 | 49 | 0.00035983 | 9.0182e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_409-2_0_6_load_46 | 50 | 0.0027263 | 0.00068328 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_409-2_0_6_load_74 | 51 | 0.029294 | 0.0073418 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_409-2_0_6_load_43 | 52 | 0.00024449 | 6.1274e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_409-2_0_6_load_42 | 53 | 0.00025909 | 6.4934e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_409-2_0_6_load_82 | 54 | 0.009527 | 0.0023877 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_409-2_0_6_load_79 | 55 | 0.0015492 | 0.00038826 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_409-2_0_6_load_52 | 58 | 0.0094396 | 0.0023658 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_409-2_0_6_load_47 | 59 | 0.0022936 | 0.00057482 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_409-2_0_6_load_50 | 60 | 0.014169 | 0.003551 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_409-2_0_6_load_49 | 61 | 0.020522 | 0.0051433 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_409-2_0_6_load_54 | 64 | 0.0030842 | 0.00077298 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_409-2_0_6_load_55 | 65 | 0.0060839 | 0.0015248 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_409-2_0_6_load_56 | 68 | 0.020546 | 0.0051494 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_409-2_0_6_load_88 | 71 | 0.0056239 | 0.0014095 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_409-2_0_6_load_87 | 72 | 0.0050471 | 0.0012649 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_409-2_0_6_load_60 | 74 | 0.0069103 | 0.0017319 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_409-2_0_6_load_85 | 75 | 0.0041854 | 0.001049 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_409-2_0_6_load_86 | 76 | 0.010289 | 0.0025787 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_409-2_0_6_load_62 | 77 | 0.0060415 | 0.0015141 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_409-2_0_6_load_64 | 78 | 0.0063197 | 0.0015839 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_409-2_0_6_load_65 | 80 | 0.0098709 | 0.0024739 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_409-2_0_6_load_66 | 81 | 0.013873 | 0.0034769 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_409-2_0_6_load_67 | 82 | 0.010378 | 0.0026009 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_409-2_0_6_load_68 | 83 | 0.0039952 | 0.0010013 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_409-2_0_6_load_70 | 85 | 0.015002 | 0.0037598 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_409-2_0_6_load_71 | 86 | 0.0099315 | 0.0024891 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_409-2_0_6_load_72 | 87 | 0.0050966 | 0.0012773 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_409-2_0_6_load_76 | 88 | 0.036919 | 0.0092529 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_409-2_0_6_load_77 | 89 | 0.0044993 | 0.0011276 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_409-2_0_6_load_75 | 90 | 0.02693 | 0.0067493 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_409-2_0_6_load_81 | 91 | 0.0016977 | 0.00042548 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_409-2_0_6_load_92 | 92 | 0.0010403 | 0.00026072 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_409-2_0_6_load_89 | 93 | 0.0017171 | 0.00043035 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_409-2_0_6_load_90 | 95 | 0.0021384 | 0.00053594 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_409-2_0_6_load_96 | 97 | 0.0012329 | 0.00030898 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_409-2_0_6_load_95 | 98 | 0.0048373 | 0.0012123 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_409-2_0_6_load_94 | 99 | 0.002447 | 0.00061328 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_409-2_0_6_load_97 | 100 | 0.0019678 | 0.00049318 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_409-2_0_6_load_98 | 101 | 0.0020697 | 0.00051871 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_409-2_0_6_load_99 | 102 | 0.0016706 | 0.0004187 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_409-2_0_6_line_0 |  | 0 | 1 | 0.018429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_409-2_0_6_line_1 |  | 0 | 2 | 0.041658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_409-2_0_6_line_2 |  | 1 | 3 | 0.028905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_409-2_0_6_line_3 |  | 1 | 4 | 0.021705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_409-2_0_6_line_4 |  | 2 | 5 | 0.003459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_409-2_0_6_line_5 |  | 3 | 6 | 0.016899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_409-2_0_6_line_6 |  | 5 | 7 | 0.047884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_409-2_0_6_line_7 |  | 6 | 8 | 0.050441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_409-2_0_6_line_8 |  | 7 | 13 | 0.0046469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_409-2_0_6_line_9 |  | 8 | 14 | 0.037722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_409-2_0_6_line_10 |  | 8 | 15 | 0.055402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_409-2_0_6_line_11 |  | 9 | 10 | 0.044249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_409-2_0_6_line_12 |  | 9 | 11 | 0.032689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_409-2_0_6_line_13 |  | 9 | 12 | 0.020372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_409-2_0_6_line_14 |  | 10 | 16 | 0.019936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_409-2_0_6_line_15 |  | 11 | 17 | 0.0082664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_409-2_0_6_line_16 |  | 12 | 18 | 0.0054934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_409-2_0_6_line_17 |  | 13 | 19 | 0.011986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_409-2_0_6_line_18 |  | 14 | 54 | 0.023338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_409-2_0_6_line_19 |  | 14 | 55 | 0.0097915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_409-2_0_6_line_20 |  | 15 | 40 | 0.013594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_409-2_0_6_line_21 |  | 16 | 27 | 0.0020224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_409-2_0_6_line_22 |  | 17 | 28 | 0.0085348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_409-2_0_6_line_23 |  | 18 | 20 | 0.020821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_409-2_0_6_line_24 |  | 20 | 21 | 0.011821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_409-2_0_6_line_25 |  | 21 | 22 | 0.1287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_409-2_0_6_line_26 |  | 22 | 23 | 0.034247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_409-2_0_6_line_27 |  | 23 | 24 | 0.017948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_409-2_0_6_line_28 |  | 24 | 25 | 0.019207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_409-2_0_6_line_29 |  | 25 | 26 | 0.033008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_409-2_0_6_line_30 |  | 27 | 30 | 0.052027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_409-2_0_6_line_31 |  | 28 | 35 | 0.035247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_409-2_0_6_line_32 |  | 29 | 30 | 0.006654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_409-2_0_6_line_33 |  | 29 | 31 | 0.042512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_409-2_0_6_line_34 |  | 29 | 32 | 0.021663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_409-2_0_6_line_35 |  | 32 | 33 | 0.010947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_409-2_0_6_line_36 |  | 33 | 34 | 0.0096174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_409-2_0_6_line_37 |  | 34 | 53 | 0.023871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_409-2_0_6_line_38 |  | 36 | 37 | 0.010305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_409-2_0_6_line_39 |  | 36 | 38 | 0.033092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_409-2_0_6_line_40 |  | 37 | 39 | 0.025871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_409-2_0_6_line_41 |  | 38 | 40 | 0.020941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_409-2_0_6_line_42 |  | 38 | 41 | 0.018868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_409-2_0_6_line_43 |  | 38 | 42 | 0.016708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_409-2_0_6_line_44 |  | 39 | 43 | 0.028557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_409-2_0_6_line_45 |  | 41 | 44 | 0.0039564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_409-2_0_6_line_46 |  | 42 | 45 | 0.01986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_409-2_0_6_line_47 |  | 43 | 46 | 0.0018214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_409-2_0_6_line_48 |  | 44 | 47 | 0.0083044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_409-2_0_6_line_49 |  | 45 | 48 | 0.032516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_409-2_0_6_line_50 |  | 46 | 49 | 0.019262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_409-2_0_6_line_51 |  | 47 | 50 | 0.0078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_409-2_0_6_line_52 |  | 48 | 51 | 0.023604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_409-2_0_6_line_53 |  | 49 | 52 | 0.01292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_409-2_0_6_line_54 |  | 50 | 59 | 0.0089443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_409-2_0_6_line_55 |  | 51 | 86 | 0.016939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_409-2_0_6_line_56 |  | 52 | 53 | 0.0020914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_409-2_0_6_line_57 |  | 54 | 56 | 0.026678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_409-2_0_6_line_58 |  | 56 | 91 | 0.011892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_409-2_0_6_line_59 |  | 57 | 58 | 0.01858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_409-2_0_6_line_60 |  | 57 | 59 | 0.011211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_409-2_0_6_line_61 |  | 58 | 60 | 0.0091054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_409-2_0_6_line_62 |  | 60 | 61 | 0.01686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_409-2_0_6_line_63 |  | 61 | 62 | 0.022729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_409-2_0_6_line_64 |  | 62 | 63 | 0.032298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_409-2_0_6_line_65 |  | 62 | 64 | 0.070939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_409-2_0_6_line_66 |  | 63 | 65 | 0.015408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_409-2_0_6_line_67 |  | 64 | 66 | 0.013427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_409-2_0_6_line_68 |  | 65 | 67 | 0.025247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_409-2_0_6_line_69 |  | 66 | 70 | 0.021225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_409-2_0_6_line_70 |  | 67 | 71 | 0.020647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_409-2_0_6_line_71 |  | 67 | 72 | 0.0055871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_409-2_0_6_line_72 |  | 68 | 69 | 0.0081821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_409-2_0_6_line_73 |  | 69 | 73 | 0.034289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_409-2_0_6_line_74 |  | 69 | 74 | 0.015359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_409-2_0_6_line_75 |  | 70 | 75 | 0.01424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_409-2_0_6_line_76 |  | 70 | 76 | 0.016726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_409-2_0_6_line_77 |  | 71 | 79 | 0.013865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_409-2_0_6_line_78 |  | 73 | 77 | 0.0051186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_409-2_0_6_line_79 |  | 74 | 78 | 0.0072968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_409-2_0_6_line_80 |  | 75 | 92 | 0.019953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_409-2_0_6_line_81 |  | 76 | 93 | 0.021107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_409-2_0_6_line_82 |  | 78 | 79 | 0.018792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_409-2_0_6_line_83 |  | 80 | 81 | 0.0021934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_409-2_0_6_line_84 |  | 80 | 82 | 0.013315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_409-2_0_6_line_85 |  | 81 | 83 | 0.0059051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_409-2_0_6_line_86 |  | 82 | 84 | 0.027414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_409-2_0_6_line_87 |  | 83 | 85 | 0.0037789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_409-2_0_6_line_88 |  | 84 | 86 | 0.010281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_409-2_0_6_line_89 |  | 84 | 87 | 0.051986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_409-2_0_6_line_90 |  | 85 | 88 | 0.016224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_409-2_0_6_line_91 |  | 87 | 89 | 0.020512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_409-2_0_6_line_92 |  | 89 | 90 | 0.026793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_409-2_0_6_line_93 |  | 92 | 94 | 0.036203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_409-2_0_6_line_94 |  | 93 | 95 | 0.018285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_409-2_0_6_line_95 |  | 94 | 99 | 0.018439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_409-2_0_6_line_96 |  | 95 | 96 | 0.029982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_409-2_0_6_line_97 |  | 96 | 97 | 0.038548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_409-2_0_6_line_98 |  | 97 | 98 | 0.0046064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_409-2_0_6_line_99 |  | 98 | 102 | 0.036639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_409-2_0_6_line_100 |  | 99 | 100 | 0.0059021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_409-2_0_6_line_101 |  | 100 | 101 | 0.0035424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_409-2_0_6_trafo_31 | 0.63 MVA 20/0.4 kV | 103 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2607831.1796 | 1210167.8487 | 2607832.9768 | 1210170.8639 | 2607837.8376 | 1210178.9858 | 2607840.575 | 1210183.702
1 | 2607859.9514 | 1210220.5377 | 2607855.1212 | 1210212.3268 | 2607845.7159 | 1210192.5592 | 2607840.575 | 1210183.702
2 | 2607802.5447 | 1210167.4447 | 2607807.6354 | 1210168.2962 | 2607815.0586 | 1210169.5398 | 2607819.9524 | 1210169.813 | 2607831.1796 | 1210167.8487
3 | 2607831.1796 | 1210167.8487 | 2607837.1641 | 1210165.1106 | 2607843.5744 | 1210162.2062 | 2607850.2893 | 1210157.7009
4 | 2607862.1137 | 1210223.242 | 2607859.9514 | 1210220.5377
5 | 2607802.5447 | 1210167.4447 | 2607803.3795 | 1210162.4652 | 2607802.6805 | 1210150.6355
6 | 2607862.1137 | 1210223.242 | 2607883.2183 | 1210205.4153 | 2607896.6468 | 1210190.2472
7 | 2607768.6423 | 1210114.7938 | 2607790.0222 | 1210130.9304 | 2607796.9962 | 1210138.7327 | 2607802.6805 | 1210150.6355
8 | 2607896.6468 | 1210190.2472 | 2607899.7271 | 1210186.7679
9 | 2607768.6423 | 1210114.7938 | 2607752.5106 | 1210101.0654 | 2607748.057 | 1210095.3454 | 2607739.6466 | 1210099.2923
10 | 2607768.6423 | 1210114.7938 | 2607772.6617 | 1210109.5405 | 2607778.6555 | 1210099.665 | 2607778.4432 | 1210093.428 | 2607775.1593 | 1210062.6073
11 | 2607891.7909 | 1210118.3894 | 2607898.4848 | 1210113.6956 | 2607904.8516 | 1210109.2237 | 2607925.9044 | 1210090.3216
12 | 2607891.7909 | 1210118.3894 | 2607884.1275 | 1210114.7996 | 2607875.8185 | 1210110.8976 | 2607861.8007 | 1210105.4272
13 | 2607891.7909 | 1210118.3894 | 2607898.0894 | 1210119.6094 | 2607904.3463 | 1210123.5977 | 2607909.1598 | 1210128.0202
14 | 2607940.7389 | 1210077.0025 | 2607925.9044 | 1210090.3216
15 | 2607854.0999 | 1210102.4219 | 2607861.8007 | 1210105.4272
16 | 2607909.1598 | 1210128.0202 | 2607913.205 | 1210131.7368
17 | 2607907.6722 | 1210177.7937 | 2607899.7271 | 1210186.7679
18 | 2607739.6466 | 1210099.2923 | 2607736.6614 | 1210098.0767 | 2607733.6763 | 1210096.8611 | 2607716.8526 | 1210098.3725
19 | 2607739.6466 | 1210099.2923 | 2607736.6048 | 1210100.7114 | 2607730.3093 | 1210102.044
20 | 2607773.8142 | 1210049.0852 | 2607773.8028 | 1210049.8756 | 2607775.1593 | 1210062.6073
21 | 2607940.7389 | 1210077.0025 | 2607942.2438 | 1210075.6514
22 | 2607846.1491 | 1210099.3191 | 2607854.0999 | 1210102.4219
23 | 2607928.5375 | 1210145.824 | 2607913.205 | 1210131.7368
24 | 2607928.5375 | 1210145.824 | 2607932.5678 | 1210149.527 | 2607937.1427 | 1210153.9273
25 | 2607937.1427 | 1210153.9273 | 2608048.5979 | 1210218.2842
26 | 2608080.4087 | 1210230.9689 | 2608048.5979 | 1210218.2842
27 | 2608080.4087 | 1210230.9689 | 2608088.7037 | 1210215.0532
28 | 2608088.7037 | 1210215.0532 | 2608097.5807 | 1210198.0209
29 | 2608097.5807 | 1210198.0209 | 2608112.8362 | 1210168.7503
30 | 2607980.3172 | 1210040.2073 | 2607961.788 | 1210058.1037 | 2607942.2438 | 1210075.6514
31 | 2607846.1491 | 1210099.3191 | 2607819.5695 | 1210122.4682
32 | 2607980.3172 | 1210040.2073 | 2607973.7908 | 1210038.8201
33 | 2607973.7908 | 1210038.8201 | 2607984.5079 | 1210026.3385 | 2607994.0602 | 1210009.7419 | 2607996.5103 | 1210003.2793
34 | 2607973.7908 | 1210038.8201 | 2607972.3169 | 1210038.5068 | 2607952.1796 | 1210037.6273
35 | 2607952.1796 | 1210037.6273 | 2607941.2433 | 1210037.1496
36 | 2607941.2433 | 1210037.1496 | 2607931.635 | 1210036.73
37 | 2607907.7868 | 1210035.6884 | 2607931.635 | 1210036.73
38 | 2607807.5449 | 1210032.2499 | 2607817.7713 | 1210033.5186
39 | 2607774.7048 | 1210028.1758 | 2607807.5449 | 1210032.2499
40 | 2607843.4457 | 1210036.7037 | 2607817.7713 | 1210033.5186
41 | 2607774.7048 | 1210028.1758 | 2607773.9949 | 1210036.5351 | 2607773.8142 | 1210049.0852
42 | 2607774.7048 | 1210028.1758 | 2607756.1188 | 1210024.9251
43 | 2607774.7048 | 1210028.1758 | 2607778.1669 | 1210011.8307
44 | 2607871.9343 | 1210037.9714 | 2607852.2257 | 1210037.7929 | 2607843.4457 | 1210036.7037
45 | 2607756.1188 | 1210024.9251 | 2607752.2216 | 1210024.2435
46 | 2607778.1669 | 1210011.8307 | 2607781.1126 | 1209997.9229 | 2607782.1213 | 1209992.3698
47 | 2607873.7557 | 1210037.9879 | 2607871.9343 | 1210037.9714
48 | 2607744.0413 | 1210022.8128 | 2607752.2216 | 1210024.2435
49 | 2607787.9327 | 1209960.3776 | 2607782.1213 | 1209992.3698
50 | 2607873.7557 | 1210037.9879 | 2607873.7557 | 1210037.9879 | 2607892.7894 | 1210035.0334 | 2607892.7894 | 1210035.0334
51 | 2607744.0413 | 1210022.8128 | 2607736.358 | 1210021.4689
52 | 2607787.9327 | 1209960.3776 | 2607788.6302 | 1209955.8204 | 2607795.8496 | 1209938.2522
53 | 2607905.6973 | 1210035.5971 | 2607892.7894 | 1210035.0334
54 | 2607727.5266 | 1210020.6215 | 2607729.9444 | 1210020.3472 | 2607736.358 | 1210021.4689
55 | 2607795.8496 | 1209938.2522 | 2607802.288 | 1209922.5848
56 | 2607905.6973 | 1210035.5971 | 2607907.7868 | 1210035.6884
57 | 2607695.9885 | 1210109.3085 | 2607700.9785 | 1210099.7985 | 2607716.8526 | 1210098.3725
58 | 2607695.9885 | 1210109.3085 | 2607688.2931 | 1210118.3751
59 | 2607716.8987 | 1210023.7101 | 2607708.1796 | 1210013.5044 | 2607704.3041 | 1210010.1029
60 | 2607716.8987 | 1210023.7101 | 2607722.2902 | 1210021.2156 | 2607727.5266 | 1210020.6215
61 | 2607704.3041 | 1210010.1029 | 2607697.4607 | 1210004.0965
62 | 2607683.1817 | 1209995.1633 | 2607683.6706 | 1209995.3185 | 2607697.4607 | 1210004.0965 | 2607697.4607 | 1210004.0965
63 | 2607661.5183 | 1209988.2864 | 2607683.1817 | 1209995.1633
64 | 2607674.2328 | 1209958.5861 | 2607664.4301 | 1209981.4974 | 2607661.5183 | 1209988.2864
65 | 2607661.5183 | 1209988.2864 | 2607633.4005 | 1209980.9688 | 2607629.7766 | 1209979.9748 | 2607592.7839 | 1209970.7441
66 | 2607674.2328 | 1209958.5861 | 2607660.2597 | 1209952.0922
67 | 2607579.9227 | 1209966.9157 | 2607587.9069 | 1209969.5272 | 2607592.7839 | 1209970.7441
68 | 2607637.3646 | 1209941.4519 | 2607660.2597 | 1209952.0922
69 | 2607565.95 | 1209982.1843 | 2607573.0922 | 1209977.5352 | 2607574.8955 | 1209975.8031 | 2607577.4769 | 1209971.8486 | 2607579.9227 | 1209966.9157
70 | 2607637.3646 | 1209941.4519 | 2607645.0456 | 1209922.2871
71 | 2607637.3646 | 1209941.4519 | 2607632.2297 | 1209939.2499
72 | 2607687.8164 | 1209926.8303 | 2607684.5986 | 1209934.353
73 | 2607701.8708 | 1209895.542 | 2607687.8164 | 1209926.8303
74 | 2607687.8164 | 1209926.8303 | 2607673.8788 | 1209920.3777
75 | 2607565.95 | 1209982.1843 | 2607551.7413 | 1209981.2375
76 | 2607565.95 | 1209982.1843 | 2607565.3793 | 1209988.854 | 2607564.5157 | 1209992.6772 | 2607563.3556 | 1209996.589 | 2607562.3908 | 1209998.3777
77 | 2607650.2036 | 1209909.4172 | 2607645.0456 | 1209922.2871
78 | 2607701.8708 | 1209895.542 | 2607703.8565 | 1209890.8243
79 | 2607667.2571 | 1209917.3122 | 2607673.8788 | 1209920.3777
80 | 2607551.7413 | 1209981.2375 | 2607544.695 | 1209980.768 | 2607531.901 | 1209979.1888
81 | 2607562.3908 | 1209998.3777 | 2607552.3709 | 1210016.9549
82 | 2607650.2036 | 1209909.4172 | 2607667.2571 | 1209917.3122
83 | 2607774.8267 | 1209923.5366 | 2607774.1352 | 1209925.6182
84 | 2607774.8267 | 1209923.5366 | 2607775.2979 | 1209922.1178 | 2607778.0279 | 1209915.0285 | 2607779.7505 | 1209911.1731 | 2607779.7505 | 1209911.1731
85 | 2607774.1352 | 1209925.6182 | 2607772.7878 | 1209929.6743 | 2607772.6205 | 1209931.2968
86 | 2607806.1959 | 1209913.075 | 2607791.897 | 1209909.8103 | 2607787.5739 | 1209908.8152 | 2607783.4465 | 1209909.2657 | 2607779.7505 | 1209911.1731
87 | 2607772.6205 | 1209931.2968 | 2607772.2331 | 1209935.0558
88 | 2607806.1959 | 1209913.075 | 2607802.288 | 1209922.5848
89 | 2607806.1959 | 1209913.075 | 2607806.6783 | 1209910.2852 | 2607808.321 | 1209903.617 | 2607818.1091 | 1209880.7504 | 2607822.8057 | 1209875.0644 | 2607826.981 | 1209872.7797 | 2607831.878 | 1209870.8072
90 | 2607772.4635 | 1209951.2525 | 2607771.9181 | 1209938.1112 | 2607772.2331 | 1209935.0558
91 | 2607851.3621 | 1209875.0866 | 2607845.8381 | 1209871.6926 | 2607842.1225 | 1209871.0763 | 2607836.8714 | 1209870.6692 | 2607831.878 | 1209870.8072
92 | 2607851.3621 | 1209875.0866 | 2607858.93 | 1209879.7363 | 2607860.6048 | 1209883.4517 | 2607860.5993 | 1209887.6095 | 2607856.3717 | 1209895.0081 | 2607855.7997 | 1209896.0126
93 | 2607496.179 | 1209973.3143 | 2607530.227 | 1209978.9822 | 2607531.901 | 1209979.1888
94 | 2607543.6907 | 1210033.0483 | 2607552.3709 | 1210016.9549
95 | 2607496.179 | 1209973.3143 | 2607500.8474 | 1209991.153
96 | 2607529.4576 | 1210059.4369 | 2607543.6907 | 1210033.0483
97 | 2607529.4576 | 1210059.4369 | 2607521.5739 | 1210055.4916 | 2607518.886 | 1210053.576 | 2607518.021 | 1210052.4299 | 2607517.1493 | 1210050.6611 | 2607511.8304 | 1210028.2605
98 | 2607510.7663 | 1210023.7786 | 2607511.8304 | 1210028.2605
99 | 2607510.7663 | 1210023.7786 | 2607474.3189 | 1210027.5204
100 | 2607502.3417 | 1209996.8627 | 2607500.8474 | 1209991.153
101 | 2607502.3417 | 1209996.8627 | 2607503.2385 | 1210000.2897

## bus_geodata
| x | y | coords
0 | 2607840.575 | 1210183.702
1 | 2607831.1796 | 1210167.8487
2 | 2607859.9514 | 1210220.5377
3 | 2607802.5447 | 1210167.4447
4 | 2607850.2893 | 1210157.7009
5 | 2607862.1137 | 1210223.242
6 | 2607802.6805 | 1210150.6355
7 | 2607896.6468 | 1210190.2472
8 | 2607768.6423 | 1210114.7938
9 | 2607891.7909 | 1210118.3894
10 | 2607925.9044 | 1210090.3216
11 | 2607861.8007 | 1210105.4272
12 | 2607909.1598 | 1210128.0202
13 | 2607899.7271 | 1210186.7679
14 | 2607739.6466 | 1210099.2923
15 | 2607775.1593 | 1210062.6073
16 | 2607940.7389 | 1210077.0025
17 | 2607854.0999 | 1210102.4219
18 | 2607913.205 | 1210131.7368
19 | 2607907.6722 | 1210177.7937
20 | 2607928.5375 | 1210145.824
21 | 2607937.1427 | 1210153.9273
22 | 2608048.5979 | 1210218.2842
23 | 2608080.4087 | 1210230.9689
24 | 2608088.7037 | 1210215.0532
25 | 2608097.5807 | 1210198.0209
26 | 2608112.8362 | 1210168.7503
27 | 2607942.2438 | 1210075.6514
28 | 2607846.1491 | 1210099.3191
29 | 2607973.7908 | 1210038.8201
30 | 2607980.3172 | 1210040.2073
31 | 2607996.5103 | 1210003.2793
32 | 2607952.1796 | 1210037.6273
33 | 2607941.2433 | 1210037.1496
34 | 2607931.635 | 1210036.73
35 | 2607819.5695 | 1210122.4682
36 | 2607807.5449 | 1210032.2499
37 | 2607817.7713 | 1210033.5186
38 | 2607774.7048 | 1210028.1758
39 | 2607843.4457 | 1210036.7037
40 | 2607773.8142 | 1210049.0852
41 | 2607756.1188 | 1210024.9251
42 | 2607778.1669 | 1210011.8307
43 | 2607871.9343 | 1210037.9714
44 | 2607752.2216 | 1210024.2435
45 | 2607782.1213 | 1209992.3699
46 | 2607873.7557 | 1210037.9879
47 | 2607744.0413 | 1210022.8128
48 | 2607787.9327 | 1209960.3776
49 | 2607892.7894 | 1210035.0334
50 | 2607736.358 | 1210021.4689
51 | 2607795.8496 | 1209938.2522
52 | 2607905.6973 | 1210035.5971
53 | 2607907.7868 | 1210035.6884
54 | 2607716.8526 | 1210098.3725
55 | 2607730.3093 | 1210102.044
56 | 2607695.9885 | 1210109.3085
57 | 2607716.8987 | 1210023.7101
58 | 2607704.3041 | 1210010.1029
59 | 2607727.5266 | 1210020.6215
60 | 2607697.4607 | 1210004.0965
61 | 2607683.1817 | 1209995.1633
62 | 2607661.5183 | 1209988.2864
63 | 2607674.2328 | 1209958.5861
64 | 2607592.7839 | 1209970.7441
65 | 2607660.2597 | 1209952.0922
66 | 2607579.9227 | 1209966.9157
67 | 2607637.3646 | 1209941.4519
68 | 2607684.5986 | 1209934.353
69 | 2607687.8164 | 1209926.8303
70 | 2607565.95 | 1209982.1843
71 | 2607645.0456 | 1209922.2871
72 | 2607632.2297 | 1209939.2499
73 | 2607701.8708 | 1209895.542
74 | 2607673.8788 | 1209920.3777
75 | 2607551.7413 | 1209981.2375
76 | 2607562.3908 | 1209998.3777
77 | 2607703.8565 | 1209890.8243
78 | 2607667.2571 | 1209917.3122
79 | 2607650.2036 | 1209909.4172
80 | 2607774.8266 | 1209923.5366
81 | 2607774.1352 | 1209925.6182
82 | 2607779.7505 | 1209911.1731
83 | 2607772.6205 | 1209931.2968
84 | 2607806.1959 | 1209913.075
85 | 2607772.2331 | 1209935.0558
86 | 2607802.288 | 1209922.5848
87 | 2607831.878 | 1209870.8072
88 | 2607772.4635 | 1209951.2525
89 | 2607851.3621 | 1209875.0866
90 | 2607855.7997 | 1209896.0126
91 | 2607688.2931 | 1210118.3751
92 | 2607531.901 | 1209979.1888
93 | 2607552.3709 | 1210016.9549
94 | 2607496.179 | 1209973.3143
95 | 2607543.6907 | 1210033.0483
96 | 2607529.4576 | 1210059.4369
97 | 2607511.8304 | 1210028.2605
98 | 2607510.7663 | 1210023.7786
99 | 2607500.8474 | 1209991.153
100 | 2607502.3417 | 1209996.8627
101 | 2607503.2385 | 1210000.2897
102 | 2607474.3189 | 1210027.5204
103 | 2607774.7048 | 1210028.1758

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1