## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_409-5_1_4_node_31 | 0.4 | n |  | TRUE
1 | bus_LV_409-5_1_4_node_46 | 0.4 | n |  | TRUE
2 | bus_LV_409-5_1_4_node_32 | 0.4 | n |  | TRUE
3 | bus_LV_409-5_1_4_node_44 | 0.4 | n |  | TRUE
4 | bus_LV_409-5_1_4_node_40 | 0.4 | n |  | TRUE
5 | bus_LV_409-5_1_4_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_409-5_1_4_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_409-5_1_4_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_409-5_1_4_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_409-5_1_4_node_100 | 0.4 | n |  | TRUE
10 | bus_LV_409-5_1_4_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_409-5_1_4_node_60 | 0.4 | n |  | TRUE
12 | bus_LV_409-5_1_4_node_62 | 0.4 | n |  | TRUE
13 | bus_LV_409-5_1_4_node_61 | 0.4 | n |  | TRUE
14 | bus_LV_409-5_1_4_node_83 | 0.4 | n |  | TRUE
15 | bus_LV_409-5_1_4_node_71 | 0.4 | n |  | TRUE
16 | bus_LV_409-5_1_4_node_84 | 0.4 | n |  | TRUE
17 | bus_LV_409-5_1_4_node_65 | 0.4 | n |  | TRUE
18 | bus_LV_409-5_1_4_node_69 | 0.4 | n |  | TRUE
19 | bus_LV_409-5_1_4_node_67 | 0.4 | n |  | TRUE
20 | bus_LV_409-5_1_4_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_409-5_1_4_node_70 | 0.4 | n |  | TRUE
22 | bus_LV_409-5_1_4_node_72 | 0.4 | n |  | TRUE
23 | bus_LV_409-5_1_4_node_73 | 0.4 | n |  | TRUE
24 | bus_LV_409-5_1_4_node_74 | 0.4 | n |  | TRUE
25 | bus_LV_409-5_1_4_node_80 | 0.4 | n |  | TRUE
26 | bus_LV_409-5_1_4_node_81 | 0.4 | n |  | TRUE
27 | bus_LV_409-5_1_4_node_78 | 0.4 | n |  | TRUE
28 | bus_LV_409-5_1_4_node_75 | 0.4 | n |  | TRUE
29 | bus_LV_409-5_1_4_node_76 | 0.4 | n |  | TRUE
30 | bus_LV_409-5_1_4_node_77 | 0.4 | n |  | TRUE
31 | bus_LV_409-5_1_4_node_99 | 0.4 | n |  | TRUE
32 | bus_LV_409-5_1_4_node_79 | 0.4 | n |  | TRUE
33 | bus_LV_409-5_1_4_node_82 | 0.4 | n |  | TRUE
34 | bus_LV_409-5_1_4_node_90 | 0.4 | n |  | TRUE
35 | bus_LV_409-5_1_4_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_409-5_1_4_node_86 | 0.4 | n |  | TRUE
37 | bus_LV_409-5_1_4_node_87 | 0.4 | n |  | TRUE
38 | bus_LV_409-5_1_4_node_89 | 0.4 | n |  | TRUE
39 | bus_LV_409-5_1_4_node_88 | 0.4 | n |  | TRUE
40 | bus_LV_409-5_1_4_node_107 | 0.4 | n |  | TRUE
41 | bus_LV_409-5_1_4_node_104 | 0.4 | n |  | TRUE
42 | bus_LV_409-5_1_4_node_93 | 0.4 | n |  | TRUE
43 | bus_LV_409-5_1_4_node_91 | 0.4 | n |  | TRUE
44 | bus_LV_409-5_1_4_node_92 | 0.4 | n |  | TRUE
45 | bus_LV_409-5_1_4_node_94 | 0.4 | n |  | TRUE
46 | bus_LV_409-5_1_4_node_95 | 0.4 | n |  | TRUE
47 | bus_LV_409-5_1_4_node_96 | 0.4 | n |  | TRUE
48 | bus_LV_409-5_1_4_node_97 | 0.4 | n |  | TRUE
49 | bus_LV_409-5_1_4_node_98 | 0.4 | n |  | TRUE
50 | bus_LV_409-5_1_4_node_101 | 0.4 | n |  | TRUE
51 | bus_LV_409-5_1_4_node_102 | 0.4 | n |  | TRUE
52 | bus_LV_409-5_1_4_node_103 | 0.4 | n |  | TRUE
53 | bus_LV_409-5_1_4_node_105 | 0.4 | n |  | TRUE
54 | bus_LV_409-5_1_4_node_106 | 0.4 | n |  | TRUE
55 | bus_LV_409-5_1_4_node_110 | 0.4 | n |  | TRUE
56 | bus_LV_409-5_1_4_node_109 | 0.4 | n |  | TRUE
57 | bus_LV_409-5_1_4_node_108 | 0.4 | n |  | TRUE
58 | bus_LV_409-5_1_4_node_119 | 0.4 | n |  | TRUE
59 | bus_LV_409-5_1_4_node_115 | 0.4 | n |  | TRUE
60 | bus_LV_409-5_1_4_node_112 | 0.4 | n |  | TRUE
61 | bus_LV_409-5_1_4_node_111 | 0.4 | n |  | TRUE
62 | bus_LV_409-5_1_4_node_116 | 0.4 | n |  | TRUE
63 | bus_LV_409-5_1_4_node_117 | 0.4 | n |  | TRUE
64 | bus_LV_409-5_1_4_node_113 | 0.4 | n |  | TRUE
65 | bus_LV_409-5_1_4_node_114 | 0.4 | n |  | TRUE
66 | bus_LV_409-5_1_4_node_118 | 0.4 | n |  | TRUE
67 | bus_MV_429_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_409-5_1_4_load_44 | 3 | 0.00030074 | 7.5373e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_409-5_1_4_load_40 | 4 | 0.0019403 | 0.00048629 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_409-5_1_4_load_39 | 5 | 0.00077861 | 0.00019514 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_409-5_1_4_load_38 | 6 | 0.001471 | 0.00036868 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_409-5_1_4_load_41 | 7 | 0.0015292 | 0.00038325 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_409-5_1_4_load_45 | 8 | 0.0014136 | 0.00035428 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_409-5_1_4_load_100 | 9 | 0.051549 | 0.012919 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_409-5_1_4_load_59 | 10 | 0.059418 | 0.014891 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_409-5_1_4_load_83 | 14 | 0.00010698 | 2.6812e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_409-5_1_4_load_71 | 15 | 0.00058133 | 0.00014569 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_409-5_1_4_load_84 | 16 | 0.0041647 | 0.0010438 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_409-5_1_4_load_69 | 18 | 0.0026087 | 0.0006538 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_409-5_1_4_load_67 | 19 | 0.00074274 | 0.00018615 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_409-5_1_4_load_73 | 23 | 0.00038605 | 9.6753e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_409-5_1_4_load_74 | 24 | 0.00043253 | 0.0001084 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_409-5_1_4_load_80 | 25 | 0.0017495 | 0.00043848 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_409-5_1_4_load_81 | 26 | 0.00013855 | 3.4723e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_409-5_1_4_load_78 | 27 | 0.0012717 | 0.00031871 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_409-5_1_4_load_75 | 28 | 0.00018262 | 4.577e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_409-5_1_4_load_99 | 31 | 0.000339 | 8.4961e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_409-5_1_4_load_79 | 32 | 0.00048327 | 0.00012112 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_409-5_1_4_load_82 | 33 | 0.0034693 | 0.00086949 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_409-5_1_4_load_90 | 34 | 0.001273 | 0.00031904 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_409-5_1_4_load_85 | 35 | 0.0012189 | 0.00030549 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_409-5_1_4_load_86 | 36 | 0.00014545 | 3.6452e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_409-5_1_4_load_87 | 37 | 0.00012789 | 3.2053e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_409-5_1_4_load_89 | 38 | 0.00047155 | 0.00011818 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_409-5_1_4_load_107 | 40 | 0.0014344 | 0.00035949 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_409-5_1_4_load_104 | 41 | 0.013189 | 0.0033055 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_409-5_1_4_load_93 | 42 | 0.00037369 | 9.3655e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_409-5_1_4_load_92 | 44 | 0.00012958 | 3.2475e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_409-5_1_4_load_94 | 45 | 0.00061482 | 0.00015409 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_409-5_1_4_load_95 | 46 | 0.00016826 | 4.2171e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_409-5_1_4_load_97 | 48 | 0.0019866 | 0.00049789 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_409-5_1_4_load_98 | 49 | 0.0017499 | 0.00043857 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_409-5_1_4_load_102 | 51 | 0.0041408 | 0.0010378 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_409-5_1_4_load_105 | 53 | 0.0025625 | 0.00064223 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_409-5_1_4_load_106 | 54 | 0.004039 | 0.0010123 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_409-5_1_4_load_110 | 55 | 0.0025195 | 0.00063144 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_409-5_1_4_load_109 | 56 | 0.0003705 | 9.2856e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_409-5_1_4_load_119 | 58 | 0.00050858 | 0.00012746 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_409-5_1_4_load_115 | 59 | 0.00047541 | 0.00011915 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_409-5_1_4_load_112 | 60 | 0.0052725 | 0.0013214 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_409-5_1_4_load_116 | 62 | 0.0010695 | 0.00026804 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_409-5_1_4_load_117 | 63 | 0.0035879 | 0.00089921 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_409-5_1_4_load_113 | 64 | 0.00016854 | 4.2241e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_409-5_1_4_load_114 | 65 | 0.00058809 | 0.00014739 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_409-5_1_4_load_118 | 66 | 0.00096904 | 0.00024287 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_409-5_1_4_line_0 |  | 0 | 1 | 0.82613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_409-5_1_4_line_1 |  | 0 | 2 | 0.063928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_409-5_1_4_line_2 |  | 0 | 3 | 0.068298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_409-5_1_4_line_3 |  | 1 | 9 | 0.085609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_409-5_1_4_line_4 |  | 2 | 4 | 0.043173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_409-5_1_4_line_5 |  | 2 | 5 | 0.016514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_409-5_1_4_line_6 |  | 3 | 8 | 0.0070201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_409-5_1_4_line_7 |  | 4 | 7 | 0.00048212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_409-5_1_4_line_8 |  | 5 | 6 | 0.028682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_409-5_1_4_line_9 |  | 9 | 50 | 0.047561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_409-5_1_4_line_10 |  | 10 | 11 | 0.01491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_409-5_1_4_line_11 |  | 11 | 12 | 0.061319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_409-5_1_4_line_12 |  | 12 | 14 | 0.030198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_409-5_1_4_line_13 |  | 12 | 16 | 0.026069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_409-5_1_4_line_14 |  | 13 | 14 | 0.0079739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_409-5_1_4_line_15 |  | 13 | 15 | 0.034218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_409-5_1_4_line_16 |  | 15 | 20 | 0.047386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_409-5_1_4_line_17 |  | 17 | 18 | 0.040283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_409-5_1_4_line_18 |  | 17 | 19 | 0.025341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_409-5_1_4_line_19 |  | 18 | 22 | 0.043076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_409-5_1_4_line_20 |  | 19 | 20 | 0.032851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_409-5_1_4_line_21 |  | 20 | 21 | 0.013193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_409-5_1_4_line_22 |  | 21 | 23 | 0.026248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_409-5_1_4_line_23 |  | 21 | 24 | 0.035515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_409-5_1_4_line_24 |  | 22 | 25 | 0.15348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_409-5_1_4_line_25 |  | 22 | 26 | 0.04594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_409-5_1_4_line_26 |  | 23 | 27 | 0.0095007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_409-5_1_4_line_27 |  | 24 | 28 | 0.010591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_409-5_1_4_line_28 |  | 25 | 33 | 0.029448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_409-5_1_4_line_29 |  | 27 | 32 | 0.010551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_409-5_1_4_line_30 |  | 28 | 29 | 0.020239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_409-5_1_4_line_31 |  | 29 | 30 | 0.01872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_409-5_1_4_line_32 |  | 30 | 31 | 0.006833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_409-5_1_4_line_33 |  | 33 | 34 | 0.017656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_409-5_1_4_line_34 |  | 34 | 43 | 0.025208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_409-5_1_4_line_35 |  | 35 | 36 | 0.010165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_409-5_1_4_line_36 |  | 36 | 37 | 0.041486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_409-5_1_4_line_37 |  | 37 | 38 | 0.0042014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_409-5_1_4_line_38 |  | 38 | 42 | 0.017435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_409-5_1_4_line_39 |  | 39 | 40 | 0.034659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_409-5_1_4_line_40 |  | 39 | 41 | 0.031652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_409-5_1_4_line_41 |  | 40 | 56 | 0.028741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_409-5_1_4_line_42 |  | 41 | 52 | 0.028136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_409-5_1_4_line_43 |  | 42 | 43 | 0.0044347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_409-5_1_4_line_44 |  | 43 | 44 | 0.0058354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_409-5_1_4_line_45 |  | 44 | 45 | 0.03696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_409-5_1_4_line_46 |  | 45 | 46 | 0.011645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_409-5_1_4_line_47 |  | 46 | 47 | 0.23057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_409-5_1_4_line_48 |  | 47 | 48 | 0.13597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_409-5_1_4_line_49 |  | 47 | 49 | 0.097008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_409-5_1_4_line_50 |  | 49 | 50 | 0.027959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_409-5_1_4_line_51 |  | 50 | 51 | 0.049294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_409-5_1_4_line_52 |  | 51 | 52 | 0.0029066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_409-5_1_4_line_53 |  | 52 | 53 | 0.041553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_409-5_1_4_line_54 |  | 53 | 54 | 0.070342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_409-5_1_4_line_55 |  | 54 | 55 | 0.051549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_409-5_1_4_line_56 |  | 55 | 61 | 0.057114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_409-5_1_4_line_57 |  | 56 | 60 | 0.030816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_409-5_1_4_line_58 |  | 57 | 58 | 0.045238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_409-5_1_4_line_59 |  | 57 | 59 | 0.017524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_409-5_1_4_line_60 |  | 59 | 65 | 8.6616e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_409-5_1_4_line_61 |  | 60 | 64 | 0.045102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_409-5_1_4_line_62 |  | 61 | 62 | 0.050777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_409-5_1_4_line_63 |  | 61 | 63 | 0.042432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_409-5_1_4_line_64 |  | 63 | 66 | 0.019464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_409-5_1_4_line_65 |  | 64 | 65 | 0.0099659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_409-5_1_4_trafo_95 | 0.63 MVA 20/0.4 kV | 67 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2608207.9513 | 1209613.6995 | 2608211.3833 | 1209616.1277 | 2608212.7643 | 1209617.7972 | 2608214.492 | 1209621.6239 | 2608214.8055 | 1209625.8155 | 2608213.6599 | 1209629.8495 | 2608217.4039 | 1209632.0114 | 2608454.3798 | 1209768.7489 | 2608537.1166 | 1209815.8252 | 2608570.1209 | 1209828.4792 | 2608602.3189 | 1209836.2406 | 2608646.3402 | 1209845.6534 | 2608674.4621 | 1209849.7628 | 2608716.4528 | 1209849.4122 | 2608726.1817 | 1209848.8372 | 2608736.4351 | 1209848.2295 | 2608846.1024 | 1209849.2015 | 2608879.5326 | 1209850.874 | 2608886.8271 | 1209851.9409 | 2608896.3824 | 1209855.6571 | 2608960.9754 | 1209880.9671
1 | 2608960.9754 | 1209880.9671 | 2608987.0878 | 1209891.9455 | 2609020.7765 | 1209903.4579
2 | 2608960.9754 | 1209880.9671 | 2608972.1935 | 1209865.4307 | 2608979.5445 | 1209854.0576 | 2608982.0057 | 1209844.7228 | 2608982.43 | 1209835.3738 | 2608979.9919 | 1209829.2668 | 2608975.925 | 1209824.7916 | 2608972.1045 | 1209823.7599
3 | 2608207.9513 | 1209613.6995 | 2608212.5785 | 1209603.5891 | 2608237.8236 | 1209556.0639 | 2608247.0814 | 1209537.5768
4 | 2609020.7765 | 1209903.4579 | 2609028.3222 | 1209889.0279 | 2609029.3659 | 1209877.234 | 2609025.7747 | 1209874.8384 | 2609018.2292 | 1209873.971 | 2609015.1063 | 1209874.2651
5 | 2609020.7765 | 1209903.4579 | 2609036.4034 | 1209908.7981
6 | 2608965.3271 | 1209821.9297 | 2608972.1045 | 1209823.7599
7 | 2609014.6263 | 1209874.3103 | 2609015.1063 | 1209874.2651
8 | 2609063.3282 | 1209918.6696 | 2609046.5576 | 1209912.2682 | 2609036.4034 | 1209908.7981
9 | 2608268.3777 | 1209495.0499 | 2608247.0814 | 1209537.5768
10 | 2607783.5194 | 1209118.7394 | 2607783.4234 | 1209133.6496
11 | 2607783.5194 | 1209118.7394 | 2607783.645 | 1209098.0281 | 2607804.4039 | 1209097.5992 | 2607804.4145 | 1209077.7549
12 | 2607804.4145 | 1209077.7549 | 2607832.3562 | 1209089.2087
13 | 2607804.4145 | 1209077.7549 | 2607780.1162 | 1209068.3107
14 | 2607832.5586 | 1209097.18 | 2607832.3562 | 1209089.2087
15 | 2607832.5586 | 1209097.18 | 2607866.7758 | 1209096.8857
16 | 2607913.9244 | 1209093.6734 | 2607895.3968 | 1209096.6396 | 2607866.7758 | 1209096.8857
17 | 2607915.0032 | 1209151.8292 | 2607955.2772 | 1209150.9938
18 | 2607915.0032 | 1209151.8292 | 2607915.1733 | 1209143.8917 | 2607915.3714 | 1209126.4915
19 | 2607998.1235 | 1209148.8375 | 2607994.1084 | 1209150.1884 | 2607955.2772 | 1209150.9938
20 | 2607913.9244 | 1209093.6734 | 2607915.3796 | 1209125.7708 | 2607915.3714 | 1209126.4915
21 | 2607913.0828 | 1209080.5095 | 2607913.9244 | 1209093.6734
22 | 2607913.0828 | 1209080.5095 | 2607939.3306 | 1209080.3444
23 | 2607913.0828 | 1209080.5095 | 2607912.8952 | 1209072.8828 | 2607912.6395 | 1209065.0781 | 2607913.5952 | 1209045.0233
24 | 2607998.1235 | 1209148.8375 | 2607999.4628 | 1209153.3528 | 2608001.3804 | 1209208.9083 | 2608003.0123 | 1209267.743 | 2608004.2212 | 1209278.8174 | 2608005.1361 | 1209282.4762 | 2608006.1498 | 1209286.0351 | 2608015.2491 | 1209298.8468
25 | 2607998.1235 | 1209148.8375 | 2607998.9437 | 1209143.6134 | 2607999.0438 | 1209102.9617
26 | 2607939.3306 | 1209080.3444 | 2607948.8311 | 1209080.2846
27 | 2607913.5952 | 1209045.0233 | 2607914.0993 | 1209034.4438
28 | 2608015.2491 | 1209298.8468 | 2608021.1029 | 1209307.0889 | 2608023.4439 | 1209312.784 | 2608027.4564 | 1209325.3399
29 | 2607959.3817 | 1209080.2182 | 2607948.8311 | 1209080.2846
30 | 2607915.2755 | 1209014.2424 | 2607914.8125 | 1209019.478 | 2607914.0993 | 1209034.4438
31 | 2607896.5006 | 1209014.3289 | 2607915.2755 | 1209014.2424
32 | 2607889.7601 | 1209013.0972 | 2607896.5006 | 1209014.3289
33 | 2608032.831 | 1209342.1578 | 2608027.4564 | 1209325.3399
34 | 2608040.5046 | 1209366.1697 | 2608032.831 | 1209342.1578
35 | 2607983.7787 | 1209350.0666 | 2607976.2855 | 1209349.764 | 2607973.6286 | 1209349.9761
36 | 2607983.7787 | 1209350.0666 | 2607987.6707 | 1209350.2238 | 2607996.143 | 1209352.1139 | 2608001.9986 | 1209355.4902 | 2608011.2305 | 1209363.3735 | 2608016.9885 | 1209371.5635
37 | 2608020.2304 | 1209374.236 | 2608016.9885 | 1209371.5635 | 2608016.9885 | 1209371.5635
38 | 2608020.2304 | 1209374.236 | 2608020.2304 | 1209374.236 | 2608024.2373 | 1209373.263 | 2608036.4395 | 1209367.9422
39 | 2608372.0891 | 1209536.8387 | 2608378.9431 | 1209532.5236 | 2608383.848 | 1209530.6628 | 2608400.5782 | 1209524.0713 | 2608403.5696 | 1209522.605
40 | 2608372.0891 | 1209536.8387 | 2608356.3845 | 1209532.8702 | 2608342.1765 | 1209526.7927
41 | 2608403.5696 | 1209522.605 | 2608411.6825 | 1209518.6283 | 2608421.5 | 1209509.4481 | 2608426.0099 | 1209505.0995
42 | 2608316.3082 | 1209515.7274 | 2608342.1765 | 1209526.7927
43 | 2608040.5046 | 1209366.1697 | 2608036.4395 | 1209367.9422
44 | 2608040.5046 | 1209366.1697 | 2608043.7748 | 1209364.7399 | 2608046.024 | 1209364.4621
45 | 2608082.6704 | 1209367.6666 | 2608052.5018 | 1209363.6621 | 2608046.024 | 1209364.4621
46 | 2608094.2144 | 1209369.1989 | 2608082.6704 | 1209367.6666
47 | 2608323.9859 | 1209383.1424 | 2608309.6187 | 1209379.0536 | 2608108.4798 | 1209369.9185 | 2608094.2144 | 1209369.1989
48 | 2608323.9859 | 1209383.1424 | 2608343.5347 | 1209339.3342 | 2608362.2501 | 1209293.835 | 2608372.2083 | 1209256.3384
49 | 2608323.9859 | 1209383.1424 | 2608301.3888 | 1209427.4246 | 2608280.7099 | 1209469.9576
50 | 2608268.3777 | 1209495.0499 | 2608273.5984 | 1209484.5846 | 2608280.7099 | 1209469.9576
51 | 2608268.3777 | 1209495.0499 | 2608273.0796 | 1209497.0797 | 2608313.6393 | 1209514.5761
52 | 2608316.3082 | 1209515.7274 | 2608313.6393 | 1209514.5761
53 | 2608316.3082 | 1209515.7274 | 2608326.1636 | 1209495.5187 | 2608331.1833 | 1209482.1516 | 2608332.5197 | 1209477.5509
54 | 2608332.5197 | 1209477.5509 | 2608332.5197 | 1209477.5509 | 2608324.9115 | 1209466.6677 | 2608313.7161 | 1209450.0319 | 2608309.3214 | 1209440.1648 | 2608311.3491 | 1209430.3622 | 2608317.944 | 1209415.5655
55 | 2608317.944 | 1209415.5655 | 2608322.9761 | 1209404.2749 | 2608338.7657 | 1209374.6471 | 2608341.5015 | 1209369.744
56 | 2608390.5739 | 1209362.2567 | 2608364.0868 | 1209355.8607 | 2608355.8409 | 1209355.2934 | 2608347.8712 | 1209358.3285 | 2608341.5015 | 1209369.744
57 | 2608444.8888 | 1209480.8873 | 2608437.5234 | 1209492.0831 | 2608431.0211 | 1209500.2674 | 2608426.0099 | 1209505.0995
58 | 2608483.2138 | 1209419.4072 | 2608477.6588 | 1209374.5118
59 | 2608483.2138 | 1209419.4072 | 2608472.5695 | 1209433.3277
60 | 2608472.5169 | 1209433.3965 | 2608472.5695 | 1209433.3277
61 | 2608444.8888 | 1209480.8873 | 2608444.8888 | 1209480.8873 | 2608452.3975 | 1209470.5477 | 2608458.4721 | 1209458.4829 | 2608465.9862 | 1209444.2745 | 2608467.3278 | 1209441.8819
62 | 2608390.5739 | 1209362.2567 | 2608408.3046 | 1209363.4599 | 2608441.3253 | 1209366.4189
63 | 2608390.5739 | 1209362.2567 | 2608403.4119 | 1209321.8133
64 | 2608409.3009 | 1209303.2614 | 2608403.4119 | 1209321.8133
65 | 2608472.5169 | 1209433.3965 | 2608470.9009 | 1209435.5099 | 2608467.3278 | 1209441.8819

## bus_geodata
| x | y | coords
0 | 2608960.9754 | 1209880.9671
1 | 2608207.9513 | 1209613.6995
2 | 2609020.7765 | 1209903.4579
3 | 2608972.1045 | 1209823.7599
4 | 2609015.1063 | 1209874.2651
5 | 2609036.4034 | 1209908.7981
6 | 2609063.3282 | 1209918.6696
7 | 2609014.6263 | 1209874.3103
8 | 2608965.3271 | 1209821.9297
9 | 2608247.0814 | 1209537.5768
10 | 2607783.4234 | 1209133.6496
11 | 2607783.5194 | 1209118.7394
12 | 2607804.4145 | 1209077.7549
13 | 2607832.5586 | 1209097.18
14 | 2607832.3562 | 1209089.2087
15 | 2607866.7758 | 1209096.8858
16 | 2607780.1162 | 1209068.3107
17 | 2607915.0032 | 1209151.8292
18 | 2607955.2772 | 1209150.9938
19 | 2607915.3714 | 1209126.4915
20 | 2607913.9244 | 1209093.6734
21 | 2607913.0828 | 1209080.5095
22 | 2607998.1235 | 1209148.8375
23 | 2607939.3306 | 1209080.3444
24 | 2607913.5952 | 1209045.0233
25 | 2608015.2491 | 1209298.8468
26 | 2607999.0438 | 1209102.9617
27 | 2607948.8311 | 1209080.2846
28 | 2607914.0993 | 1209034.4438
29 | 2607915.2755 | 1209014.2424
30 | 2607896.5006 | 1209014.3289
31 | 2607889.7601 | 1209013.0972
32 | 2607959.3817 | 1209080.2182
33 | 2608027.4564 | 1209325.3399
34 | 2608032.831 | 1209342.1578
35 | 2607973.6286 | 1209349.9761
36 | 2607983.7787 | 1209350.0666
37 | 2608016.9885 | 1209371.5635
38 | 2608020.2304 | 1209374.236
39 | 2608372.0891 | 1209536.8387
40 | 2608403.5696 | 1209522.605
41 | 2608342.1765 | 1209526.7927
42 | 2608036.4395 | 1209367.9422
43 | 2608040.5046 | 1209366.1697
44 | 2608046.024 | 1209364.4621
45 | 2608082.6704 | 1209367.6666
46 | 2608094.2144 | 1209369.1989
47 | 2608323.9859 | 1209383.1424
48 | 2608372.2082 | 1209256.3384
49 | 2608280.7099 | 1209469.9576
50 | 2608268.3777 | 1209495.0499
51 | 2608313.6393 | 1209514.5761
52 | 2608316.3082 | 1209515.7274
53 | 2608332.5197 | 1209477.5509
54 | 2608317.944 | 1209415.5655
55 | 2608341.5015 | 1209369.744
56 | 2608426.0099 | 1209505.0995
57 | 2608483.2138 | 1209419.4072
58 | 2608477.6588 | 1209374.5118
59 | 2608472.5695 | 1209433.3277
60 | 2608444.8888 | 1209480.8873
61 | 2608390.5739 | 1209362.2567
62 | 2608441.3253 | 1209366.4189
63 | 2608403.4119 | 1209321.8133
64 | 2608467.3278 | 1209441.8819
65 | 2608472.5169 | 1209433.3965
66 | 2608409.3009 | 1209303.2614
67 | 2608040.5046 | 1209366.1697

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1