## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4144-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4144-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4144-1_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4144-1_0_4_node_108 | 0.4 | n |  | TRUE
4 | bus_LV_4144-1_0_4_node_109 | 0.4 | n |  | TRUE
5 | bus_LV_4144-1_0_4_node_129 | 0.4 | n |  | TRUE
6 | bus_LV_4144-1_0_4_node_130 | 0.4 | n |  | TRUE
7 | bus_LV_4144-1_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4144-1_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4144-1_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_4144-1_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_4144-1_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_4144-1_0_4_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_4144-1_0_4_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_4144-1_0_4_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_4144-1_0_4_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_4144-1_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_4144-1_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_4144-1_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_4144-1_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_4144-1_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_4144-1_0_4_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_4144-1_0_4_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_4144-1_0_4_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_4144-1_0_4_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_4144-1_0_4_node_100 | 0.4 | n |  | TRUE
26 | bus_LV_4144-1_0_4_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_4144-1_0_4_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_4144-1_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_4144-1_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_4144-1_0_4_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_4144-1_0_4_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_4144-1_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_4144-1_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_4144-1_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_4144-1_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_4144-1_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_4144-1_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_4144-1_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_4144-1_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_4144-1_0_4_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_4144-1_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_4144-1_0_4_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_4144-1_0_4_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_4144-1_0_4_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_4144-1_0_4_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_4144-1_0_4_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_4144-1_0_4_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_4144-1_0_4_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_4144-1_0_4_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_4144-1_0_4_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_4144-1_0_4_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_4144-1_0_4_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_4144-1_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_4144-1_0_4_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_4144-1_0_4_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_4144-1_0_4_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_4144-1_0_4_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_4144-1_0_4_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_4144-1_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_4144-1_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_4144-1_0_4_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_4144-1_0_4_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_4144-1_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_4144-1_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_4144-1_0_4_node_135 | 0.4 | n |  | TRUE
66 | bus_LV_4144-1_0_4_node_132 | 0.4 | n |  | TRUE
67 | bus_LV_4144-1_0_4_node_103 | 0.4 | n |  | TRUE
68 | bus_LV_4144-1_0_4_node_104 | 0.4 | n |  | TRUE
69 | bus_LV_4144-1_0_4_node_105 | 0.4 | n |  | TRUE
70 | bus_LV_4144-1_0_4_node_106 | 0.4 | n |  | TRUE
71 | bus_LV_4144-1_0_4_node_107 | 0.4 | n |  | TRUE
72 | bus_LV_4144-1_0_4_node_118 | 0.4 | n |  | TRUE
73 | bus_LV_4144-1_0_4_node_115 | 0.4 | n |  | TRUE
74 | bus_LV_4144-1_0_4_node_119 | 0.4 | n |  | TRUE
75 | bus_LV_4144-1_0_4_node_116 | 0.4 | n |  | TRUE
76 | bus_LV_4144-1_0_4_node_133 | 0.4 | n |  | TRUE
77 | bus_LV_4144-1_0_4_node_117 | 0.4 | n |  | TRUE
78 | bus_LV_4144-1_0_4_node_126 | 0.4 | n |  | TRUE
79 | bus_LV_4144-1_0_4_node_134 | 0.4 | n |  | TRUE
80 | bus_MV_418_0_node_30 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4144-1_0_4_load_0 | 0 | 0.0083181 | 0.0020847 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4144-1_0_4_load_3 | 2 | 0.0020494 | 0.00051363 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4144-1_0_4_load_108 | 3 | 0.0032312 | 0.00080983 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4144-1_0_4_load_129 | 5 | 0.0021175 | 0.00053071 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4144-1_0_4_load_130 | 6 | 0.0024819 | 0.00062201 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4144-1_0_4_load_6 | 7 | 0.0024036 | 0.00060241 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4144-1_0_4_load_7 | 8 | 0.0011123 | 0.00027876 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4144-1_0_4_load_8 | 9 | 0.0015497 | 0.0003884 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4144-1_0_4_load_9 | 10 | 0.0016698 | 0.0004185 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4144-1_0_4_load_60 | 12 | 0.0026034 | 0.00065247 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4144-1_0_4_load_39 | 14 | 0.0038403 | 0.00096247 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4144-1_0_4_load_64 | 15 | 0.0020148 | 0.00050495 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4144-1_0_4_load_11 | 16 | 0.0029179 | 0.0007313 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4144-1_0_4_load_12 | 17 | 0.0072299 | 0.001812 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4144-1_0_4_load_58 | 22 | 0.0014678 | 0.00036788 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4144-1_0_4_load_31 | 23 | 0.0063381 | 0.0015885 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4144-1_0_4_load_100 | 25 | 0.029675 | 0.0074373 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4144-1_0_4_load_50 | 27 | 0.0019575 | 0.00049059 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4144-1_0_4_load_17 | 28 | 0.0017799 | 0.00044609 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4144-1_0_4_load_18 | 29 | 0.0068773 | 0.0017236 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4144-1_0_4_load_35 | 30 | 0.0016451 | 0.0004123 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4144-1_0_4_load_41 | 31 | 0.0010035 | 0.0002515 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4144-1_0_4_load_19 | 32 | 0.0028122 | 0.00070481 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4144-1_0_4_load_20 | 33 | 0.001977 | 0.00049548 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4144-1_0_4_load_22 | 35 | 0.00095923 | 0.00024041 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4144-1_0_4_load_23 | 36 | 0.0020975 | 0.00052567 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4144-1_0_4_load_34 | 37 | 0.0073896 | 0.001852 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4144-1_0_4_load_24 | 39 | 0.0019364 | 0.0004853 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4144-1_0_4_load_44 | 40 | 0.0015059 | 0.00037741 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4144-1_0_4_load_25 | 41 | 0.0022096 | 0.00055379 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4144-1_0_4_load_40 | 43 | 0.0020266 | 0.00050791 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4144-1_0_4_load_43 | 44 | 0.0017042 | 0.00042711 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4144-1_0_4_load_54 | 45 | 0.0023171 | 0.00058073 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4144-1_0_4_load_51 | 46 | 0.0013777 | 0.00034528 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4144-1_0_4_load_26 | 47 | 0.0027959 | 0.00070073 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4144-1_0_4_load_27 | 48 | 0.0010935 | 0.00027405 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4144-1_0_4_load_28 | 49 | 0.0006849 | 0.00017165 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4144-1_0_4_load_29 | 50 | 0.0048395 | 0.0012129 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4144-1_0_4_load_61 | 55 | 0.0022921 | 0.00057446 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4144-1_0_4_load_63 | 56 | 0.0016918 | 0.00042401 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4144-1_0_4_load_36 | 57 | 0.0012079 | 0.00030272 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4144-1_0_4_load_55 | 58 | 0.0031989 | 0.00080171 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4144-1_0_4_load_42 | 59 | 0.0027883 | 0.00069881 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4144-1_0_4_load_46 | 60 | 0.0021433 | 0.00053717 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4144-1_0_4_load_47 | 61 | 0.0019999 | 0.00050121 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4144-1_0_4_load_48 | 62 | 0.0021393 | 0.00053616 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4144-1_0_4_load_49 | 63 | 0.0017009 | 0.0004263 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4144-1_0_4_load_52 | 64 | 0.0014498 | 0.00036336 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4144-1_0_4_load_135 | 65 | 0.0067739 | 0.0016977 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4144-1_0_4_load_103 | 67 | 0.0014667 | 0.00036758 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4144-1_0_4_load_104 | 68 | 0.0013369 | 0.00033506 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4144-1_0_4_load_105 | 69 | 0.0025908 | 0.00064932 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4144-1_0_4_load_106 | 70 | 0.0020232 | 0.00050705 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4144-1_0_4_load_107 | 71 | 0.0027044 | 0.00067778 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4144-1_0_4_load_118 | 72 | 0.0024132 | 0.0006048 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4144-1_0_4_load_115 | 73 | 0.0017114 | 0.00042893 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4144-1_0_4_load_119 | 74 | 0.0017414 | 0.00043643 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4144-1_0_4_load_116 | 75 | 0.0025076 | 0.00062846 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4144-1_0_4_load_133 | 76 | 0.0017146 | 0.00042972 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4144-1_0_4_load_117 | 77 | 0.0045011 | 0.0011281 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4144-1_0_4_load_134 | 79 | 0.0046686 | 0.0011701 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4144-1_0_4_line_0 |  | 0 | 1 | 0.011227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4144-1_0_4_line_1 |  | 1 | 2 | 0.0077584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4144-1_0_4_line_2 |  | 2 | 3 | 0.017561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4144-1_0_4_line_3 |  | 3 | 4 | 0.059416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4144-1_0_4_line_4 |  | 4 | 66 | 0.052977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4144-1_0_4_line_5 |  | 5 | 6 | 0.0055489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4144-1_0_4_line_6 |  | 6 | 78 | 0.01982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4144-1_0_4_line_7 |  | 7 | 8 | 0.00046134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_4144-1_0_4_line_8 |  | 7 | 9 | 0.019272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_4144-1_0_4_line_9 |  | 8 | 10 | 0.029541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_4144-1_0_4_line_10 |  | 9 | 11 | 0.0058217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_4144-1_0_4_line_11 |  | 10 | 12 | 0.020946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_4144-1_0_4_line_12 |  | 11 | 13 | 0.022513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_4144-1_0_4_line_13 |  | 12 | 14 | 0.0078828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_4144-1_0_4_line_14 |  | 13 | 15 | 0.024399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_4144-1_0_4_line_15 |  | 14 | 38 | 0.017359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_4144-1_0_4_line_16 |  | 15 | 56 | 0.0050237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_4144-1_0_4_line_17 |  | 16 | 17 | 0.019212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4144-1_0_4_line_18 |  | 16 | 18 | 0.033708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4144-1_0_4_line_19 |  | 17 | 19 | 0.0023566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4144-1_0_4_line_20 |  | 18 | 20 | 0.005179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4144-1_0_4_line_21 |  | 19 | 21 | 0.010933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4144-1_0_4_line_22 |  | 20 | 22 | 0.016027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4144-1_0_4_line_23 |  | 21 | 23 | 0.019799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4144-1_0_4_line_24 |  | 22 | 27 | 0.00069533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4144-1_0_4_line_25 |  | 23 | 26 | 0.020365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4144-1_0_4_line_26 |  | 24 | 25 | 0.0058273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4144-1_0_4_line_27 |  | 24 | 26 | 0.009674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4144-1_0_4_line_28 |  | 26 | 57 | 0.034223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4144-1_0_4_line_29 |  | 27 | 62 | 0.025839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4144-1_0_4_line_30 |  | 28 | 29 | 0.071717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4144-1_0_4_line_31 |  | 29 | 30 | 0.18777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4144-1_0_4_line_32 |  | 30 | 31 | 0.01527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4144-1_0_4_line_33 |  | 31 | 59 | 0.038972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4144-1_0_4_line_34 |  | 32 | 33 | 0.0061831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_4144-1_0_4_line_35 |  | 32 | 34 | 0.023505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_4144-1_0_4_line_36 |  | 33 | 35 | 0.014545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_4144-1_0_4_line_37 |  | 34 | 36 | 0.014143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_4144-1_0_4_line_38 |  | 35 | 37 | 0.032043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4144-1_0_4_line_39 |  | 36 | 38 | 0.032255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_4144-1_0_4_line_40 |  | 38 | 43 | 0.01644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4144-1_0_4_line_41 |  | 39 | 40 | 0.0097351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4144-1_0_4_line_42 |  | 40 | 44 | 0.0094958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4144-1_0_4_line_43 |  | 41 | 42 | 0.014279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4144-1_0_4_line_44 |  | 42 | 45 | 0.011759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_4144-1_0_4_line_45 |  | 42 | 46 | 0.027094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4144-1_0_4_line_46 |  | 43 | 59 | 0.025332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4144-1_0_4_line_47 |  | 44 | 51 | 0.024516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4144-1_0_4_line_48 |  | 45 | 55 | 0.026529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_4144-1_0_4_line_49 |  | 46 | 64 | 0.0082018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4144-1_0_4_line_50 |  | 47 | 48 | 0.013034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_4144-1_0_4_line_51 |  | 47 | 49 | 0.0037353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4144-1_0_4_line_52 |  | 48 | 50 | 0.025872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_4144-1_0_4_line_53 |  | 49 | 51 | 0.015684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_4144-1_0_4_line_54 |  | 50 | 52 | 0.012354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_4144-1_0_4_line_55 |  | 51 | 53 | 0.002763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_4144-1_0_4_line_56 |  | 52 | 54 | 0.001553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4144-1_0_4_line_57 |  | 52 | 55 | 0.031528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_4144-1_0_4_line_58 |  | 53 | 56 | 0.013729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_4144-1_0_4_line_59 |  | 54 | 65 | 0.024129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4144-1_0_4_line_60 |  | 57 | 58 | 0.037126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4144-1_0_4_line_61 |  | 60 | 61 | 0.021314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4144-1_0_4_line_62 |  | 60 | 62 | 0.0015913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4144-1_0_4_line_63 |  | 61 | 63 | 0.0031197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4144-1_0_4_line_64 |  | 63 | 64 | 0.027539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4144-1_0_4_line_65 |  | 65 | 66 | 0.020288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4144-1_0_4_line_66 |  | 66 | 76 | 0.034634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4144-1_0_4_line_67 |  | 67 | 68 | 0.013597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4144-1_0_4_line_68 |  | 67 | 69 | 0.012435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4144-1_0_4_line_69 |  | 68 | 70 | 0.0077205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4144-1_0_4_line_70 |  | 69 | 71 | 0.0082187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4144-1_0_4_line_71 |  | 70 | 72 | 0.016128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4144-1_0_4_line_72 |  | 71 | 73 | 0.015777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4144-1_0_4_line_73 |  | 72 | 74 | 0.0070664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4144-1_0_4_line_74 |  | 73 | 75 | 0.005531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4144-1_0_4_line_75 |  | 74 | 79 | 0.015951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4144-1_0_4_line_76 |  | 75 | 77 | 0.023867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4144-1_0_4_line_77 |  | 76 | 79 | 0.0086989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4144-1_0_4_line_78 |  | 77 | 78 | 0.018751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4144-1_0_4_trafo_22 | 0.63 MVA 20/0.4 kV | 80 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2646319.3744 | 1240173.8082 | 2646316.2514 | 1240184.5922
1 | 2646319.3744 | 1240173.8082 | 2646321.0112 | 1240166.2244
2 | 2646321.0112 | 1240166.2244 | 2646324.716 | 1240149.0588
3 | 2646327.2624 | 1240090.3266 | 2646326.1865 | 1240100.2913 | 2646329.0556 | 1240116.3575 | 2646327.7925 | 1240134.804 | 2646324.716 | 1240149.0588
4 | 2646327.2624 | 1240090.3266 | 2646295.1334 | 1240086.2402 | 2646279.7725 | 1240085.5979 | 2646274.516 | 1240086.691
5 | 2646270.4404 | 1240268.9728 | 2646273.685 | 1240268.0356 | 2646275.7599 | 1240267.3949
6 | 2646251.0445 | 1240272.9848 | 2646266.8262 | 1240270.0168 | 2646270.4404 | 1240268.9728
7 | 2646104.6234 | 1240061.1762 | 2646104.581 | 1240061.6356
8 | 2646104.6234 | 1240061.1762 | 2646106.393 | 1240041.9858
9 | 2646104.581 | 1240061.6356 | 2646101.8684 | 1240091.0522
10 | 2646106.9276 | 1240036.1887 | 2646106.393 | 1240041.9858
11 | 2646099.9451 | 1240111.9094 | 2646101.8684 | 1240091.0522
12 | 2646106.9276 | 1240036.1887 | 2646124.6016 | 1240042.7857 | 2646128.3014 | 1240042.5365
13 | 2646099.9451 | 1240111.9094 | 2646099.2213 | 1240119.7589
14 | 2646128.3014 | 1240042.5365 | 2646130.2052 | 1240046.6539 | 2646148.7455 | 1240053.7812
15 | 2646107.2113 | 1240131.1191 | 2646100.6949 | 1240129.89 | 2646098.6126 | 1240126.3604 | 2646099.2213 | 1240119.7589
16 | 2646153.4779 | 1240055.466 | 2646149.363 | 1240054.0186 | 2646148.7455 | 1240053.7812
17 | 2646155.9557 | 1240273.2704 | 2646140.6898 | 1240272.9156 | 2646136.7553 | 1240273.1564
18 | 2646189.6306 | 1240274.6636 | 2646170.1524 | 1240273.6004 | 2646155.9557 | 1240273.2704
19 | 2646134.403 | 1240273.3003 | 2646136.7553 | 1240273.1564
20 | 2646194.8253 | 1240274.6818 | 2646189.6306 | 1240274.6636
21 | 2646134.403 | 1240273.3003 | 2646134.2611 | 1240262.3699
22 | 2646194.8253 | 1240274.6818 | 2646194.9968 | 1240258.656
23 | 2646134.2611 | 1240262.3699 | 2646123.5774 | 1240264.1881 | 2646114.9064 | 1240266.4515
24 | 2646194.9968 | 1240258.656 | 2646195.0042 | 1240257.9607
25 | 2646095.2014 | 1240271.5949 | 2646114.9064 | 1240266.4515
26 | 2646097.3437 | 1240281.0288 | 2646091.9478 | 1240283.2291
27 | 2646097.3437 | 1240281.0288 | 2646095.2014 | 1240271.5949
28 | 2646095.2014 | 1240271.5949 | 2646069.2773 | 1240284.6023 | 2646064.8861 | 1240287.4226
29 | 2646195.0042 | 1240257.9607 | 2646195.2807 | 1240232.1227
30 | 2645888.196 | 1240185.8285 | 2645889.9518 | 1240249.4473 | 2645890.0061 | 1240253.1835 | 2645890.0633 | 1240257.52 | 2645890.0633 | 1240257.52
31 | 2646073.3001 | 1240217.3565 | 2645888.196 | 1240185.8285
32 | 2646079.7696 | 1240204.1499 | 2646074.574 | 1240210.0839 | 2646073.3001 | 1240217.3565
33 | 2646079.7696 | 1240204.1499 | 2646084.8813 | 1240198.3117 | 2646099.0685 | 1240180.6214 | 2646101.3324 | 1240172.3912
34 | 2646148.5431 | 1240167.6572 | 2646149.4814 | 1240161.5458
35 | 2646153.0483 | 1240138.313 | 2646149.4814 | 1240161.5458
36 | 2646148.5431 | 1240167.6572 | 2646146.3358 | 1240182.0338
37 | 2646153.0483 | 1240138.313 | 2646139.0767 | 1240136.1202
38 | 2646141.4732 | 1240213.7054 | 2646146.3358 | 1240182.0338
39 | 2646107.2113 | 1240131.1191 | 2646139.0767 | 1240136.1202
40 | 2646107.2113 | 1240131.1191 | 2646105.8691 | 1240142.3049 | 2646105.3241 | 1240147.4502
41 | 2646158.4966 | 1240105.8397 | 2646160.1075 | 1240096.2388
42 | 2646161.6787 | 1240086.8739 | 2646160.1075 | 1240096.2388
43 | 2646206.9645 | 1240144.1359 | 2646192.7675 | 1240142.6026
44 | 2646206.9645 | 1240144.1359 | 2646211.4577 | 1240133.269
45 | 2646206.9645 | 1240144.1359 | 2646202.8263 | 1240170.9122
46 | 2646101.3324 | 1240172.3912 | 2646103.5272 | 1240164.4122 | 2646105.3241 | 1240147.4502
47 | 2646165.7352 | 1240062.6958 | 2646161.6787 | 1240086.8739
48 | 2646221.0715 | 1240108.5522 | 2646217.4767 | 1240118.7122 | 2646211.4577 | 1240133.269
49 | 2646202.8263 | 1240170.9122 | 2646201.5736 | 1240179.0178
50 | 2646197.8365 | 1240067.4317 | 2646188.5594 | 1240066.2978 | 2646184.9171 | 1240065.723
51 | 2646181.2274 | 1240065.1407 | 2646184.9171 | 1240065.723
52 | 2646197.8365 | 1240067.4317 | 2646200.3147 | 1240067.7345 | 2646203.5454 | 1240074.3084 | 2646219.3915 | 1240076.8631
53 | 2646165.7352 | 1240062.6958 | 2646181.2274 | 1240065.1407
54 | 2646231.5877 | 1240078.8294 | 2646219.3915 | 1240076.8631
55 | 2646165.7352 | 1240062.6958 | 2646166.429 | 1240060.0217
56 | 2646231.5877 | 1240078.8294 | 2646232.377 | 1240077.4903
57 | 2646231.5877 | 1240078.8294 | 2646221.0715 | 1240108.5522
58 | 2646166.429 | 1240060.0217 | 2646153.4779 | 1240055.466
59 | 2646232.377 | 1240077.4903 | 2646256.2674 | 1240080.8762
60 | 2646033.3893 | 1240307.0721 | 2646051.4032 | 1240296.0823 | 2646064.8861 | 1240287.4226
61 | 2646195.2978 | 1240230.5316 | 2646195.4071 | 1240220.3177 | 2646196.9427 | 1240209.3249
62 | 2646195.2978 | 1240230.5316 | 2646195.2807 | 1240232.1227
63 | 2646196.9427 | 1240209.3249 | 2646197.3743 | 1240206.2352
64 | 2646197.3743 | 1240206.2352 | 2646197.441 | 1240205.7574 | 2646201.5736 | 1240179.0178
65 | 2646274.516 | 1240086.691 | 2646272.056 | 1240083.1139 | 2646256.2674 | 1240080.8762
66 | 2646274.516 | 1240086.691 | 2646272.2384 | 1240090.7648 | 2646268.2888 | 1240120.4697
67 | 2646260.0044 | 1240189.1303 | 2646261.7953 | 1240175.6514
68 | 2646260.0044 | 1240189.1303 | 2646258.3665 | 1240201.4572
69 | 2646262.6939 | 1240167.9836 | 2646261.9845 | 1240174.228 | 2646261.7953 | 1240175.6514
70 | 2646257.284 | 1240209.6043 | 2646258.3665 | 1240201.4572
71 | 2646262.6939 | 1240167.9836 | 2646264.5145 | 1240151.9589
72 | 2646255.2059 | 1240225.2437 | 2646257.284 | 1240209.6043
73 | 2646265.3122 | 1240144.9377 | 2646264.5145 | 1240151.9589
74 | 2646255.2059 | 1240225.2437 | 2646254.4774 | 1240230.7266
75 | 2646265.3122 | 1240144.9377 | 2646266.9368 | 1240130.6382 | 2646267.1423 | 1240129.0927
76 | 2646254.4774 | 1240230.7266 | 2646251.3338 | 1240254.3855
77 | 2646268.2888 | 1240120.4697 | 2646267.1423 | 1240129.0927
78 | 2646251.0445 | 1240272.9848 | 2646249.9996 | 1240264.4266 | 2646251.3338 | 1240254.3855

## bus_geodata
| x | y | coords
0 | 2646316.2514 | 1240184.5922
1 | 2646319.3744 | 1240173.8082
2 | 2646321.0112 | 1240166.2244
3 | 2646324.716 | 1240149.0588
4 | 2646327.2624 | 1240090.3266
5 | 2646275.7599 | 1240267.3949
6 | 2646270.4404 | 1240268.9728
7 | 2646104.6234 | 1240061.1762
8 | 2646104.581 | 1240061.6356
9 | 2646106.393 | 1240041.9858
10 | 2646101.8684 | 1240091.0522
11 | 2646106.9276 | 1240036.1887
12 | 2646099.9451 | 1240111.9094
13 | 2646128.3014 | 1240042.5365
14 | 2646099.2213 | 1240119.7589
15 | 2646148.7455 | 1240053.7812
16 | 2646155.9557 | 1240273.2704
17 | 2646136.7553 | 1240273.1564
18 | 2646189.6306 | 1240274.6636
19 | 2646134.403 | 1240273.3003
20 | 2646194.8253 | 1240274.6818
21 | 2646134.2611 | 1240262.3699
22 | 2646194.9968 | 1240258.656
23 | 2646114.9064 | 1240266.4515
24 | 2646097.3437 | 1240281.0288
25 | 2646091.9478 | 1240283.2291
26 | 2646095.2014 | 1240271.5949
27 | 2646195.0042 | 1240257.9607
28 | 2645890.0633 | 1240257.5201
29 | 2645888.196 | 1240185.8285
30 | 2646073.3001 | 1240217.3565
31 | 2646079.7696 | 1240204.1499
32 | 2646149.4814 | 1240161.5458
33 | 2646148.5431 | 1240167.6572
34 | 2646153.0483 | 1240138.313
35 | 2646146.3358 | 1240182.0338
36 | 2646139.0767 | 1240136.1202
37 | 2646141.4732 | 1240213.7054
38 | 2646107.2113 | 1240131.1191
39 | 2646158.4966 | 1240105.8397
40 | 2646160.1075 | 1240096.2388
41 | 2646192.7675 | 1240142.6026
42 | 2646206.9645 | 1240144.1359
43 | 2646105.3241 | 1240147.4502
44 | 2646161.6787 | 1240086.8739
45 | 2646211.4577 | 1240133.269
46 | 2646202.8263 | 1240170.9122
47 | 2646184.9171 | 1240065.723
48 | 2646197.8365 | 1240067.4317
49 | 2646181.2274 | 1240065.1407
50 | 2646219.3915 | 1240076.8631
51 | 2646165.7352 | 1240062.6958
52 | 2646231.5877 | 1240078.8294
53 | 2646166.429 | 1240060.0217
54 | 2646232.377 | 1240077.4903
55 | 2646221.0715 | 1240108.5522
56 | 2646153.4779 | 1240055.466
57 | 2646064.8861 | 1240287.4226
58 | 2646033.3893 | 1240307.0721
59 | 2646101.3324 | 1240172.3912
60 | 2646195.2978 | 1240230.5316
61 | 2646196.9427 | 1240209.3249
62 | 2646195.2807 | 1240232.1227
63 | 2646197.3743 | 1240206.2352
64 | 2646201.5736 | 1240179.0178
65 | 2646256.2674 | 1240080.8762
66 | 2646274.516 | 1240086.691
67 | 2646260.0044 | 1240189.1303
68 | 2646261.7953 | 1240175.6514
69 | 2646258.3665 | 1240201.4572
70 | 2646262.6939 | 1240167.9836
71 | 2646257.284 | 1240209.6043
72 | 2646264.5145 | 1240151.9589
73 | 2646255.2059 | 1240225.2437
74 | 2646265.3122 | 1240144.9377
75 | 2646254.4774 | 1240230.7266
76 | 2646268.2888 | 1240120.4697
77 | 2646251.3338 | 1240254.3855
78 | 2646251.0445 | 1240272.9848
79 | 2646267.1423 | 1240129.0927
80 | 2646153.0483 | 1240138.313

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1