## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4144-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4144-8_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4144-8_0_4_node_15 | 0.4 | n |  | TRUE
3 | bus_LV_4144-8_0_4_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_4144-8_0_4_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_4144-8_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4144-8_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4144-8_0_4_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_4144-8_0_4_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_4144-8_0_4_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_4144-8_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_4144-8_0_4_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_4144-8_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4144-8_0_4_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_4144-8_0_4_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_4144-8_0_4_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_4144-8_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_4144-8_0_4_node_78 | 0.4 | n |  | TRUE
18 | bus_LV_4144-8_0_4_node_76 | 0.4 | n |  | TRUE
19 | bus_LV_4144-8_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_4144-8_0_4_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_4144-8_0_4_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_4144-8_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_4144-8_0_4_node_69 | 0.4 | n |  | TRUE
24 | bus_LV_4144-8_0_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_4144-8_0_4_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_4144-8_0_4_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_4144-8_0_4_node_81 | 0.4 | n |  | TRUE
28 | bus_LV_4144-8_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_4144-8_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_4144-8_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_4144-8_0_4_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_4144-8_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_4144-8_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_4144-8_0_4_node_103 | 0.4 | n |  | TRUE
35 | bus_LV_4144-8_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_4144-8_0_4_node_87 | 0.4 | n |  | TRUE
37 | bus_LV_4144-8_0_4_node_85 | 0.4 | n |  | TRUE
38 | bus_LV_4144-8_0_4_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_4144-8_0_4_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_4144-8_0_4_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_4144-8_0_4_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_4144-8_0_4_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_4144-8_0_4_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_4144-8_0_4_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_4144-8_0_4_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_4144-8_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_4144-8_0_4_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_4144-8_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_4144-8_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_4144-8_0_4_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_4144-8_0_4_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_4144-8_0_4_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_4144-8_0_4_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_4144-8_0_4_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_4144-8_0_4_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_4144-8_0_4_node_98 | 0.4 | n |  | TRUE
57 | bus_LV_4144-8_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_4144-8_0_4_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_4144-8_0_4_node_100 | 0.4 | n |  | TRUE
60 | bus_LV_4144-8_0_4_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_4144-8_0_4_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_4144-8_0_4_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_4144-8_0_4_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_4144-8_0_4_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_4144-8_0_4_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_4144-8_0_4_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_4144-8_0_4_node_84 | 0.4 | n |  | TRUE
68 | bus_LV_4144-8_0_4_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_4144-8_0_4_node_83 | 0.4 | n |  | TRUE
70 | bus_LV_4144-8_0_4_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_4144-8_0_4_node_82 | 0.4 | n |  | TRUE
72 | bus_LV_4144-8_0_4_node_99 | 0.4 | n |  | TRUE
73 | bus_LV_4144-8_0_4_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_4144-8_0_4_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_4144-8_0_4_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_4144-8_0_4_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_4144-8_0_4_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_4144-8_0_4_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_4144-8_0_4_node_101 | 0.4 | n |  | TRUE
80 | bus_LV_4144-8_0_4_node_94 | 0.4 | n |  | TRUE
81 | bus_LV_4144-8_0_4_node_102 | 0.4 | n |  | TRUE
82 | bus_LV_4144-8_0_4_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_4144-8_0_4_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_4144-8_0_4_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_4144-8_0_4_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_4144-8_0_4_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_4144-8_0_4_node_95 | 0.4 | n |  | TRUE
88 | bus_LV_4144-8_0_4_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_4144-8_0_4_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_4144-8_0_4_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_4144-8_0_4_node_92 | 0.4 | n |  | TRUE
92 | bus_LV_4144-8_0_4_node_91 | 0.4 | n |  | TRUE
93 | bus_MV_418_0_node_200 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4144-8_0_4_load_0 | 0 | 0.0054171 | 0.0013576 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4144-8_0_4_load_16 | 3 | 0.0022646 | 0.00056756 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4144-8_0_4_load_33 | 7 | 0.0017275 | 0.00043296 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4144-8_0_4_load_20 | 9 | 0.006154 | 0.0015423 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4144-8_0_4_load_17 | 11 | 0.0025602 | 0.00064164 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4144-8_0_4_load_32 | 13 | 0.0021899 | 0.00054885 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4144-8_0_4_load_23 | 15 | 0.0039554 | 0.00099131 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4144-8_0_4_load_76 | 18 | 0.0012618 | 0.00031625 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4144-8_0_4_load_48 | 21 | 0.0021156 | 0.00053021 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4144-8_0_4_load_69 | 23 | 0.0094039 | 0.0023568 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4144-8_0_4_load_22 | 24 | 0.0083373 | 0.0020895 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4144-8_0_4_load_28 | 25 | 0.0010046 | 0.00025177 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4144-8_0_4_load_34 | 26 | 0.011638 | 0.0029169 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4144-8_0_4_load_81 | 27 | 0.0064271 | 0.0016108 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4144-8_0_4_load_18 | 28 | 0.020781 | 0.0052083 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4144-8_0_4_load_26 | 29 | 0.0012613 | 0.00031612 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4144-8_0_4_load_30 | 30 | 0.0039384 | 0.00098705 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4144-8_0_4_load_35 | 32 | 0.0034091 | 0.0008544 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4144-8_0_4_load_103 | 34 | 0.0067746 | 0.0016979 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4144-8_0_4_load_87 | 36 | 0.039561 | 0.0099148 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4144-8_0_4_load_85 | 37 | 0.051469 | 0.012899 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4144-8_0_4_load_67 | 39 | 0.065008 | 0.016293 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4144-8_0_4_load_19 | 41 | 0.0018379 | 0.00046062 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4144-8_0_4_load_45 | 43 | 0.0067193 | 0.001684 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4144-8_0_4_load_42 | 44 | 0.0011286 | 0.00028285 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4144-8_0_4_load_29 | 46 | 0.00063546 | 0.00015926 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4144-8_0_4_load_31 | 47 | 0.0007632 | 0.00019128 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4144-8_0_4_load_36 | 48 | 0.0020417 | 0.00051169 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4144-8_0_4_load_44 | 49 | 0.012029 | 0.0030146 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4144-8_0_4_load_46 | 50 | 0.0024775 | 0.00062091 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4144-8_0_4_load_62 | 53 | 0.0036311 | 0.00091004 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4144-8_0_4_load_98 | 56 | 0.017558 | 0.0044005 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4144-8_0_4_load_54 | 57 | 0.0022119 | 0.00055434 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4144-8_0_4_load_55 | 58 | 0.0018703 | 0.00046875 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4144-8_0_4_load_100 | 59 | 0.0023608 | 0.00059167 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4144-8_0_4_load_72 | 63 | 0.0016746 | 0.00041969 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4144-8_0_4_load_51 | 64 | 0.0024308 | 0.00060921 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4144-8_0_4_load_52 | 65 | 0.0013079 | 0.00032779 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4144-8_0_4_load_77 | 66 | 0.0025345 | 0.0006352 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4144-8_0_4_load_83 | 69 | 0.0037716 | 0.00094526 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4144-8_0_4_load_56 | 70 | 0.031739 | 0.0079546 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4144-8_0_4_load_57 | 73 | 0.00059106 | 0.00014813 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4144-8_0_4_load_58 | 74 | 0.00090523 | 0.00022687 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4144-8_0_4_load_60 | 76 | 0.0018228 | 0.00045683 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4144-8_0_4_load_88 | 78 | 0.0017319 | 0.00043405 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4144-8_0_4_load_101 | 79 | 0.0013207 | 0.00033099 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4144-8_0_4_load_94 | 80 | 0.001867 | 0.00046791 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4144-8_0_4_load_102 | 81 | 0.0071454 | 0.0017908 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4144-8_0_4_load_70 | 82 | 0.0081611 | 0.0020454 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4144-8_0_4_load_79 | 84 | 0.0020219 | 0.00050674 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4144-8_0_4_load_86 | 86 | 0.0027058 | 0.00067813 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4144-8_0_4_load_95 | 87 | 0.00054943 | 0.0001377 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4144-8_0_4_load_89 | 88 | 0.0020232 | 0.00050706 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4144-8_0_4_load_90 | 89 | 0.0022311 | 0.00055916 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4144-8_0_4_load_92 | 91 | 0.0018895 | 0.00047356 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4144-8_0_4_load_91 | 92 | 0.003712 | 0.00093031 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4144-8_0_4_line_0 |  | 0 | 1 | 0.012469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4144-8_0_4_line_1 |  | 1 | 2 | 0.011632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4144-8_0_4_line_2 |  | 1 | 3 | 0.03971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4144-8_0_4_line_3 |  | 1 | 4 | 0.037067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4144-8_0_4_line_4 |  | 2 | 24 | 0.015782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4144-8_0_4_line_5 |  | 2 | 5 | 0.018598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4144-8_0_4_line_6 |  | 3 | 25 | 0.0098059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4144-8_0_4_line_7 |  | 4 | 15 | 0.018405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4144-8_0_4_line_8 |  | 4 | 10 | 0.069719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4144-8_0_4_line_9 |  | 5 | 6 | 0.024936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4144-8_0_4_line_10 |  | 5 | 7 | 0.016019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4144-8_0_4_line_11 |  | 6 | 8 | 0.031595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4144-8_0_4_line_12 |  | 6 | 9 | 0.015728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4144-8_0_4_line_13 |  | 7 | 26 | 0.0053399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4144-8_0_4_line_14 |  | 8 | 27 | 0.019299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4144-8_0_4_line_15 |  | 8 | 22 | 0.039455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4144-8_0_4_line_16 |  | 10 | 11 | 0.029049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4144-8_0_4_line_17 |  | 11 | 28 | 0.048817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4144-8_0_4_line_18 |  | 12 | 13 | 0.026458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4144-8_0_4_line_19 |  | 12 | 14 | 0.00699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4144-8_0_4_line_20 |  | 13 | 30 | 0.01759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4144-8_0_4_line_21 |  | 14 | 31 | 0.041554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4144-8_0_4_line_22 |  | 14 | 32 | 0.0070004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4144-8_0_4_line_23 |  | 15 | 35 | 0.03293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4144-8_0_4_line_24 |  | 16 | 17 | 0.047137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4144-8_0_4_line_25 |  | 16 | 18 | 0.010276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4144-8_0_4_line_26 |  | 17 | 36 | 0.0044457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_4144-8_0_4_line_27 |  | 17 | 37 | 0.036222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_4144-8_0_4_line_28 |  | 18 | 20 | 0.01348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4144-8_0_4_line_29 |  | 19 | 20 | 0.032638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4144-8_0_4_line_30 |  | 19 | 21 | 0.049737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4144-8_0_4_line_31 |  | 21 | 38 | 0.013425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4144-8_0_4_line_32 |  | 22 | 23 | 0.021395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4144-8_0_4_line_33 |  | 25 | 29 | 0.022263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4144-8_0_4_line_34 |  | 27 | 45 | 0.012357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4144-8_0_4_line_35 |  | 28 | 41 | 0.004372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4144-8_0_4_line_36 |  | 30 | 46 | 0.0022019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4144-8_0_4_line_37 |  | 31 | 49 | 0.022726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4144-8_0_4_line_38 |  | 32 | 48 | 0.010798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4144-8_0_4_line_39 |  | 33 | 34 | 0.046768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4144-8_0_4_line_40 |  | 33 | 35 | 0.006159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4144-8_0_4_line_41 |  | 36 | 83 | 0.027034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_4144-8_0_4_line_42 |  | 37 | 67 | 0.053921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_4144-8_0_4_line_43 |  | 38 | 64 | 0.040975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4144-8_0_4_line_44 |  | 39 | 40 | 0.0016602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4144-8_0_4_line_45 |  | 40 | 82 | 0.038804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4144-8_0_4_line_46 |  | 40 | 83 | 0.022684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_4144-8_0_4_line_47 |  | 42 | 43 | 0.013244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4144-8_0_4_line_48 |  | 42 | 44 | 0.01175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4144-8_0_4_line_49 |  | 43 | 59 | 0.013462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4144-8_0_4_line_50 |  | 45 | 61 | 0.024266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4144-8_0_4_line_51 |  | 45 | 84 | 0.013365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4144-8_0_4_line_52 |  | 46 | 47 | 0.0078827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4144-8_0_4_line_53 |  | 49 | 50 | 0.0027635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4144-8_0_4_line_54 |  | 50 | 60 | 0.023474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4144-8_0_4_line_55 |  | 51 | 52 | 0.014747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4144-8_0_4_line_56 |  | 51 | 53 | 0.034752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4144-8_0_4_line_57 |  | 52 | 81 | 0.010401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4144-8_0_4_line_58 |  | 53 | 54 | 0.012581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4144-8_0_4_line_59 |  | 54 | 55 | 0.01448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4144-8_0_4_line_60 |  | 55 | 56 | 0.0051782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4144-8_0_4_line_61 |  | 55 | 71 | 0.024877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4144-8_0_4_line_62 |  | 57 | 58 | 0.013116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4144-8_0_4_line_63 |  | 58 | 70 | 0.00873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4144-8_0_4_line_64 |  | 59 | 61 | 0.0052937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4144-8_0_4_line_65 |  | 60 | 62 | 0.045582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4144-8_0_4_line_66 |  | 62 | 63 | 0.015217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_4144-8_0_4_line_67 |  | 63 | 85 | 0.007672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_4144-8_0_4_line_68 |  | 64 | 65 | 0.018402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4144-8_0_4_line_69 |  | 65 | 68 | 0.051595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4144-8_0_4_line_70 |  | 66 | 67 | 0.0019039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4144-8_0_4_line_71 |  | 67 | 86 | 0.033496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4144-8_0_4_line_72 |  | 68 | 69 | 0.045186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4144-8_0_4_line_73 |  | 70 | 71 | 0.032926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4144-8_0_4_line_74 |  | 71 | 72 | 0.031975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4144-8_0_4_line_75 |  | 72 | 87 | 0.013644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4144-8_0_4_line_76 |  | 73 | 74 | 0.02595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4144-8_0_4_line_77 |  | 73 | 75 | 0.050794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4144-8_0_4_line_78 |  | 74 | 76 | 0.00053564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4144-8_0_4_line_79 |  | 75 | 77 | 0.000284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4144-8_0_4_line_80 |  | 76 | 78 | 0.00027719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4144-8_0_4_line_81 |  | 77 | 79 | 0.050695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4144-8_0_4_line_82 |  | 78 | 80 | 6.9079e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4144-8_0_4_line_83 |  | 79 | 81 | 0.025378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4144-8_0_4_line_84 |  | 80 | 90 | 0.010435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4144-8_0_4_line_85 |  | 82 | 84 | 0.0035731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4144-8_0_4_line_86 |  | 83 | 85 | 0.001451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_4144-8_0_4_line_87 |  | 86 | 88 | 0.0012284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4144-8_0_4_line_88 |  | 88 | 89 | 1.2558e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4144-8_0_4_line_89 |  | 89 | 91 | 0.0015648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4144-8_0_4_line_90 |  | 90 | 92 | 0.015201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4144-8_0_4_line_91 |  | 91 | 92 | 0.00039273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4144-8_0_4_trafo_73 | 0.63 MVA 20/0.4 kV | 93 | 62 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2646249.9639 | 1239574.8456 | 2646245.0639 | 1239571.85 | 2646240.8638 | 1239568.3372 | 2646240.1244 | 1239567.3284
1 | 2646261.4661 | 1239574.9018 | 2646255.6734 | 1239575.8462 | 2646249.9639 | 1239574.8456
2 | 2646249.9639 | 1239574.8456 | 2646251.2213 | 1239580.4034 | 2646253.6015 | 1239586.4926 | 2646263.2378 | 1239604.735 | 2646264.8769 | 1239611.3783
3 | 2646249.9639 | 1239574.8456 | 2646247.1127 | 1239580.6827 | 2646244.9782 | 1239584.8021 | 2646242.4148 | 1239588.6513 | 2646233.5107 | 1239592.9182 | 2646232.741 | 1239594.6355 | 2646232.0204 | 1239594.919 | 2646234.4049 | 1239603.3652
4 | 2646261.4661 | 1239574.9018 | 2646256.7287 | 1239569.4948 | 2646254.5284 | 1239561.1879
5 | 2646261.4661 | 1239574.9018 | 2646279.6486 | 1239570.7518
6 | 2646267.2258 | 1239620.8987 | 2646264.8769 | 1239611.3783
7 | 2646234.4049 | 1239603.3652 | 2646239.1768 | 1239621.1412
8 | 2646179.9415 | 1239623.5214 | 2646188.8462 | 1239619.1656 | 2646211.7973 | 1239603.7674 | 2646216.3071 | 1239601.501 | 2646218.0077 | 1239600.6581 | 2646223.3081 | 1239597.8642 | 2646225.7897 | 1239596.7495 | 2646227.9687 | 1239595.6546 | 2646230.1704 | 1239594.5488 | 2646231.0663 | 1239594.0999 | 2646231.3604 | 1239595.1807 | 2646232.0204 | 1239594.919 | 2646234.4049 | 1239603.3652
9 | 2646279.6486 | 1239570.7518 | 2646292.0582 | 1239567.9245 | 2646304.004 | 1239565.4048
10 | 2646279.6486 | 1239570.7518 | 2646280.6779 | 1239574.5401 | 2646282.7537 | 1239586.454
11 | 2646304.004 | 1239565.4048 | 2646309.8535 | 1239565.9174 | 2646321.6932 | 1239569.2451 | 2646316.5523 | 1239581.6464
12 | 2646304.004 | 1239565.4048 | 2646302.2679 | 1239549.7724
13 | 2646283.5079 | 1239591.7356 | 2646283.349 | 1239589.8708 | 2646282.7537 | 1239586.454
14 | 2646316.5523 | 1239581.6464 | 2646326.2497 | 1239585.2466 | 2646335.1627 | 1239586.1103
15 | 2646316.5523 | 1239581.6464 | 2646321.6932 | 1239569.2451 | 2646332.2623 | 1239545.4566
16 | 2646179.9415 | 1239623.5214 | 2646167.3125 | 1239597.361
17 | 2646167.3125 | 1239597.361 | 2646160.6055 | 1239583.4674 | 2646145.733 | 1239553.5729
18 | 2646296.6024 | 1239721.3037 | 2646297.2257 | 1239717.9842 | 2646296.0429 | 1239694.9339
19 | 2646296.6024 | 1239721.3037 | 2646303.3172 | 1239723.3129
20 | 2646296.0429 | 1239694.9339 | 2646295.9849 | 1239693.8033 | 2646294.2462 | 1239677.437
21 | 2646327.8683 | 1239693.774 | 2646321.6491 | 1239695.1153 | 2646320.4636 | 1239704.5788 | 2646316.6058 | 1239711.4977 | 2646307.8264 | 1239719.1787 | 2646303.3172 | 1239723.3129
22 | 2646303.3172 | 1239723.3129 | 2646308.2564 | 1239728.0433 | 2646308.2955 | 1239728.1999
23 | 2646247.7145 | 1239652.9454 | 2646239.1768 | 1239621.1412
24 | 2646441.4844 | 1239581.855 | 2646429.6832 | 1239591.9805 | 2646423.2928 | 1239622.9395
25 | 2646441.4844 | 1239581.855 | 2646444.4306 | 1239583.2234 | 2646451.4001 | 1239584.1276
26 | 2646423.2928 | 1239622.9395 | 2646418.8554 | 1239623.2101
27 | 2646423.2928 | 1239622.9395 | 2646446.0016 | 1239616.3572 | 2646453.3987 | 1239620.1063 | 2646457.2007 | 1239622.0827
28 | 2646464.7684 | 1239585.8619 | 2646451.4001 | 1239584.1276
29 | 2646467.8078 | 1239554.0762 | 2646464.2882 | 1239562.1872 | 2646463.8579 | 1239582.3858 | 2646464.7684 | 1239585.8619
30 | 2646467.8078 | 1239554.0762 | 2646511.4208 | 1239577.9864
31 | 2646523.1929 | 1239584.4403 | 2646511.4208 | 1239577.9864
32 | 2646332.2623 | 1239545.4566 | 2646339.7965 | 1239545.2263 | 2646353.307 | 1239548.3083
33 | 2646267.2258 | 1239620.8987 | 2646270.1507 | 1239632.7847 | 2646270.677 | 1239636.091 | 2646270.1447 | 1239639.3779 | 2646268.6241 | 1239642.3568
34 | 2646347.4617 | 1239587.3022 | 2646335.1627 | 1239586.1103
35 | 2646145.733 | 1239553.5729 | 2646143.7857 | 1239549.6585
36 | 2646294.2462 | 1239677.437 | 2646294.0136 | 1239675.2474
37 | 2646327.8683 | 1239693.774 | 2646350.2542 | 1239689.8565
38 | 2646308.2955 | 1239728.1999 | 2646310.6765 | 1239737.724 | 2646310.6617 | 1239738.7045
39 | 2646241.7651 | 1239654.6001 | 2646253.7852 | 1239699.8008
40 | 2646247.7145 | 1239652.9454 | 2646244.2283 | 1239653.9077 | 2646242.6897 | 1239654.3405 | 2646241.7651 | 1239654.6001
41 | 2646392.4442 | 1239627.9129 | 2646404.3851 | 1239624.0926 | 2646418.8554 | 1239623.2101
42 | 2646502.4632 | 1239650.1985 | 2646497.5498 | 1239648.937 | 2646473.4813 | 1239634.0835 | 2646467.7093 | 1239627.5452 | 2646457.2007 | 1239622.0827
43 | 2646523.1929 | 1239584.4403 | 2646556.1093 | 1239601.2757 | 2646559.5763 | 1239603.2766
44 | 2646392.8405 | 1239605.268 | 2646392.9733 | 1239603.6131
45 | 2646392.8405 | 1239605.268 | 2646375.7798 | 1239604.2453 | 2646371.9496 | 1239601.7916 | 2646370.2147 | 1239597.3418 | 2646370.1026 | 1239591.3593 | 2646364.3545 | 1239588.5348
46 | 2646392.4442 | 1239627.9129 | 2646392.0098 | 1239618.6591 | 2646392.8405 | 1239605.268
47 | 2646314.0551 | 1239608.9891 | 2646327.235 | 1239610.295
48 | 2646314.0551 | 1239608.9891 | 2646314.5179 | 1239613.6513 | 2646315.3732 | 1239620.6644
49 | 2646340.6518 | 1239611.3164 | 2646335.6144 | 1239611.1253 | 2646327.235 | 1239610.295
50 | 2646345.9417 | 1239611.5172 | 2646347.4617 | 1239587.3022
51 | 2646347.4617 | 1239587.3022 | 2646360.7909 | 1239588.2748
52 | 2646293.1808 | 1239667.4088 | 2646294.0136 | 1239675.2474
53 | 2646350.2542 | 1239689.8565 | 2646352.9763 | 1239689.3802
54 | 2646376.0994 | 1239685.3337 | 2646352.9763 | 1239689.3802
55 | 2646452.0119 | 1239803.1809 | 2646466.5381 | 1239800.4037
56 | 2646452.0119 | 1239803.1809 | 2646445.6849 | 1239769.0092
57 | 2646466.5381 | 1239800.4037 | 2646476.7037 | 1239798.2023
58 | 2646434.2284 | 1239770.8876 | 2646435.049 | 1239769.4153 | 2646443.0225 | 1239768.0989 | 2646445.6849 | 1239769.0092
59 | 2646420.8775 | 1239768.415 | 2646427.8149 | 1239767.0905 | 2646434.2284 | 1239770.8876
60 | 2646420.8775 | 1239768.415 | 2646421.901 | 1239773.491
61 | 2646420.8775 | 1239768.415 | 2646416.0771 | 1239744.0061
62 | 2646361.9307 | 1239752.2561 | 2646374.9077 | 1239750.3509
63 | 2646374.9077 | 1239750.3509 | 2646379.6959 | 1239749.6479 | 2646383.5404 | 1239749.0517
64 | 2646345.9417 | 1239611.5172 | 2646340.6518 | 1239611.3164
65 | 2646376.0994 | 1239685.3337 | 2646371.3866 | 1239640.0008
66 | 2646371.3866 | 1239640.0008 | 2646384.4443 | 1239632.1863
67 | 2646391.0274 | 1239628.2465 | 2646384.4443 | 1239632.1863
68 | 2646559.5763 | 1239603.2766 | 2646575.5144 | 1239612.4748
69 | 2646619.4712 | 1239639.4528 | 2646598.1784 | 1239625.5546 | 2646575.5144 | 1239612.4748
70 | 2646502.4632 | 1239650.1985 | 2646501.6839 | 1239648.4613
71 | 2646502.4632 | 1239650.1985 | 2646514.3084 | 1239681.5297
72 | 2646619.4712 | 1239639.4528 | 2646617.2114 | 1239643.1264 | 2646615.8856 | 1239648.2415 | 2646615.4172 | 1239683.8276
73 | 2646416.0771 | 1239744.0061 | 2646383.5404 | 1239749.0517
74 | 2646423.2358 | 1239721.1583 | 2646426.2665 | 1239742.6737 | 2646416.0771 | 1239744.0061
75 | 2646423.2358 | 1239721.1583 | 2646426.1776 | 1239715.3553 | 2646433.2501 | 1239714.3931
76 | 2646533.8093 | 1239733.667 | 2646530.2245 | 1239723.619 | 2646524.8185 | 1239709.3254
77 | 2646550.8773 | 1239781.5072 | 2646533.8093 | 1239733.667
78 | 2646524.8185 | 1239709.3254 | 2646524.629 | 1239708.8244
79 | 2646550.9735 | 1239781.7748 | 2646550.8773 | 1239781.5072
80 | 2646524.629 | 1239708.8244 | 2646524.531 | 1239708.5651
81 | 2646550.9735 | 1239781.7748 | 2646544.2819 | 1239783.568 | 2646501.5065 | 1239792.8312
82 | 2646524.531 | 1239708.5651 | 2646524.5065 | 1239708.5005
83 | 2646501.5065 | 1239792.8312 | 2646476.7037 | 1239798.2023
84 | 2646520.8151 | 1239698.7403 | 2646524.5065 | 1239708.5005
85 | 2646360.7909 | 1239588.2748 | 2646364.3545 | 1239588.5348
86 | 2646392.4442 | 1239627.9129 | 2646391.0274 | 1239628.2465
87 | 2646514.3084 | 1239681.5297 | 2646514.7428 | 1239682.6786
88 | 2646514.7428 | 1239682.6786 | 2646514.7472 | 1239682.6904
89 | 2646514.7472 | 1239682.6904 | 2646515.3006 | 1239684.154
90 | 2646520.8151 | 1239698.7403 | 2646515.4395 | 1239684.5214
91 | 2646515.3006 | 1239684.154 | 2646515.4395 | 1239684.5214

## bus_geodata
| x | y | coords
0 | 2646240.1244 | 1239567.3284
1 | 2646249.9639 | 1239574.8456
2 | 2646261.4661 | 1239574.9018
3 | 2646264.8769 | 1239611.3783
4 | 2646234.4049 | 1239603.3652
5 | 2646279.6486 | 1239570.7518
6 | 2646304.004 | 1239565.4048
7 | 2646282.7537 | 1239586.454
8 | 2646316.5523 | 1239581.6464
9 | 2646302.2679 | 1239549.7724
10 | 2646179.9415 | 1239623.5214
11 | 2646167.3125 | 1239597.361
12 | 2646296.6024 | 1239721.3037
13 | 2646296.0429 | 1239694.9339
14 | 2646303.3172 | 1239723.3129
15 | 2646239.1768 | 1239621.1412
16 | 2646441.4844 | 1239581.855
17 | 2646423.2928 | 1239622.9395
18 | 2646451.4001 | 1239584.1276
19 | 2646467.8078 | 1239554.0762
20 | 2646464.7684 | 1239585.8619
21 | 2646511.4208 | 1239577.9864
22 | 2646332.2623 | 1239545.4566
23 | 2646353.307 | 1239548.3083
24 | 2646254.5284 | 1239561.1879
25 | 2646267.2258 | 1239620.8987
26 | 2646283.5079 | 1239591.7356
27 | 2646335.1627 | 1239586.1103
28 | 2646145.733 | 1239553.5729
29 | 2646268.6241 | 1239642.3568
30 | 2646294.2462 | 1239677.437
31 | 2646327.8683 | 1239693.774
32 | 2646308.2955 | 1239728.1999
33 | 2646241.7651 | 1239654.6001
34 | 2646253.7852 | 1239699.8008
35 | 2646247.7145 | 1239652.9454
36 | 2646418.8554 | 1239623.2101
37 | 2646457.2007 | 1239622.0827
38 | 2646523.1929 | 1239584.4403
39 | 2646392.9733 | 1239603.6131
40 | 2646392.8405 | 1239605.268
41 | 2646143.7857 | 1239549.6585
42 | 2646314.0551 | 1239608.9891
43 | 2646327.235 | 1239610.295
44 | 2646315.3732 | 1239620.6644
45 | 2646347.4617 | 1239587.3022
46 | 2646294.0136 | 1239675.2474
47 | 2646293.1808 | 1239667.4088
48 | 2646310.6617 | 1239738.7045
49 | 2646350.2542 | 1239689.8565
50 | 2646352.9763 | 1239689.3802
51 | 2646452.0119 | 1239803.1809
52 | 2646466.5381 | 1239800.4037
53 | 2646445.6849 | 1239769.0092
54 | 2646434.2284 | 1239770.8876
55 | 2646420.8775 | 1239768.415
56 | 2646421.901 | 1239773.491
57 | 2646361.9307 | 1239752.2561
58 | 2646374.9077 | 1239750.3509
59 | 2646340.6518 | 1239611.3164
60 | 2646376.0994 | 1239685.3337
61 | 2646345.9417 | 1239611.5172
62 | 2646371.3866 | 1239640.0008
63 | 2646384.4443 | 1239632.1863
64 | 2646559.5763 | 1239603.2766
65 | 2646575.5144 | 1239612.4748
66 | 2646501.6839 | 1239648.4613
67 | 2646502.4632 | 1239650.1985
68 | 2646619.4712 | 1239639.4528
69 | 2646615.4172 | 1239683.8276
70 | 2646383.5404 | 1239749.0517
71 | 2646416.0771 | 1239744.0061
72 | 2646423.2358 | 1239721.1583
73 | 2646533.8093 | 1239733.667
74 | 2646524.8185 | 1239709.3254
75 | 2646550.8773 | 1239781.5072
76 | 2646524.629 | 1239708.8244
77 | 2646550.9735 | 1239781.7748
78 | 2646524.531 | 1239708.5651
79 | 2646501.5065 | 1239792.8312
80 | 2646524.5065 | 1239708.5005
81 | 2646476.7037 | 1239798.2023
82 | 2646364.3545 | 1239588.5348
83 | 2646392.4442 | 1239627.9129
84 | 2646360.7909 | 1239588.2748
85 | 2646391.0274 | 1239628.2465
86 | 2646514.3084 | 1239681.5297
87 | 2646433.2501 | 1239714.3931
88 | 2646514.7428 | 1239682.6786
89 | 2646514.7472 | 1239682.6904
90 | 2646520.8151 | 1239698.7403
91 | 2646515.3006 | 1239684.154
92 | 2646515.4395 | 1239684.5214
93 | 2646391.0274 | 1239628.2465

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1