## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4161-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4161-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4161-3_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4161-3_0_4_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_4161-3_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_4161-3_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_4161-3_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_4161-3_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_4161-3_0_4_node_89 | 0.4 | n |  | TRUE
9 | bus_LV_4161-3_0_4_node_87 | 0.4 | n |  | TRUE
10 | bus_LV_4161-3_0_4_node_88 | 0.4 | n |  | TRUE
11 | bus_LV_4161-3_0_4_node_92 | 0.4 | n |  | TRUE
12 | bus_LV_4161-3_0_4_node_151 | 0.4 | n |  | TRUE
13 | bus_LV_4161-3_0_4_node_150 | 0.4 | n |  | TRUE
14 | bus_LV_4161-3_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4161-3_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_4161-3_0_4_node_156 | 0.4 | n |  | TRUE
17 | bus_LV_4161-3_0_4_node_154 | 0.4 | n |  | TRUE
18 | bus_LV_4161-3_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_4161-3_0_4_node_149 | 0.4 | n |  | TRUE
20 | bus_LV_4161-3_0_4_node_106 | 0.4 | n |  | TRUE
21 | bus_LV_4161-3_0_4_node_108 | 0.4 | n |  | TRUE
22 | bus_LV_4161-3_0_4_node_104 | 0.4 | n |  | TRUE
23 | bus_LV_4161-3_0_4_node_107 | 0.4 | n |  | TRUE
24 | bus_LV_4161-3_0_4_node_105 | 0.4 | n |  | TRUE
25 | bus_LV_4161-3_0_4_node_102 | 0.4 | n |  | TRUE
26 | bus_LV_4161-3_0_4_node_76 | 0.4 | n |  | TRUE
27 | bus_LV_4161-3_0_4_node_77 | 0.4 | n |  | TRUE
28 | bus_LV_4161-3_0_4_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_4161-3_0_4_node_79 | 0.4 | n |  | TRUE
30 | bus_LV_4161-3_0_4_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_4161-3_0_4_node_81 | 0.4 | n |  | TRUE
32 | bus_LV_4161-3_0_4_node_82 | 0.4 | n |  | TRUE
33 | bus_LV_4161-3_0_4_node_155 | 0.4 | n |  | TRUE
34 | bus_LV_4161-3_0_4_node_152 | 0.4 | n |  | TRUE
35 | bus_LV_4161-3_0_4_node_117 | 0.4 | n |  | TRUE
36 | bus_LV_4161-3_0_4_node_114 | 0.4 | n |  | TRUE
37 | bus_LV_4161-3_0_4_node_83 | 0.4 | n |  | TRUE
38 | bus_LV_4161-3_0_4_node_157 | 0.4 | n |  | TRUE
39 | bus_LV_4161-3_0_4_node_153 | 0.4 | n |  | TRUE
40 | bus_LV_4161-3_0_4_node_118 | 0.4 | n |  | TRUE
41 | bus_LV_4161-3_0_4_node_127 | 0.4 | n |  | TRUE
42 | bus_LV_4161-3_0_4_node_135 | 0.4 | n |  | TRUE
43 | bus_LV_4161-3_0_4_node_119 | 0.4 | n |  | TRUE
44 | bus_LV_4161-3_0_4_node_143 | 0.4 | n |  | TRUE
45 | bus_LV_4161-3_0_4_node_141 | 0.4 | n |  | TRUE
46 | bus_LV_4161-3_0_4_node_120 | 0.4 | n |  | TRUE
47 | bus_LV_4161-3_0_4_node_146 | 0.4 | n |  | TRUE
48 | bus_LV_4161-3_0_4_node_145 | 0.4 | n |  | TRUE
49 | bus_LV_4161-3_0_4_node_115 | 0.4 | n |  | TRUE
50 | bus_LV_4161-3_0_4_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_4161-3_0_4_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_4161-3_0_4_node_85 | 0.4 | n |  | TRUE
53 | bus_LV_4161-3_0_4_node_109 | 0.4 | n |  | TRUE
54 | bus_LV_4161-3_0_4_node_121 | 0.4 | n |  | TRUE
55 | bus_LV_4161-3_0_4_node_96 | 0.4 | n |  | TRUE
56 | bus_LV_4161-3_0_4_node_93 | 0.4 | n |  | TRUE
57 | bus_LV_4161-3_0_4_node_94 | 0.4 | n |  | TRUE
58 | bus_LV_4161-3_0_4_node_95 | 0.4 | n |  | TRUE
59 | bus_LV_4161-3_0_4_node_97 | 0.4 | n |  | TRUE
60 | bus_LV_4161-3_0_4_node_98 | 0.4 | n |  | TRUE
61 | bus_LV_4161-3_0_4_node_111 | 0.4 | n |  | TRUE
62 | bus_LV_4161-3_0_4_node_128 | 0.4 | n |  | TRUE
63 | bus_LV_4161-3_0_4_node_110 | 0.4 | n |  | TRUE
64 | bus_LV_4161-3_0_4_node_99 | 0.4 | n |  | TRUE
65 | bus_LV_4161-3_0_4_node_100 | 0.4 | n |  | TRUE
66 | bus_LV_4161-3_0_4_node_101 | 0.4 | n |  | TRUE
67 | bus_LV_4161-3_0_4_node_103 | 0.4 | n |  | TRUE
68 | bus_LV_4161-3_0_4_node_126 | 0.4 | n |  | TRUE
69 | bus_LV_4161-3_0_4_node_124 | 0.4 | n |  | TRUE
70 | bus_LV_4161-3_0_4_node_116 | 0.4 | n |  | TRUE
71 | bus_LV_4161-3_0_4_node_112 | 0.4 | n |  | TRUE
72 | bus_LV_4161-3_0_4_node_113 | 0.4 | n |  | TRUE
73 | bus_LV_4161-3_0_4_node_136 | 0.4 | n |  | TRUE
74 | bus_LV_4161-3_0_4_node_142 | 0.4 | n |  | TRUE
75 | bus_LV_4161-3_0_4_node_132 | 0.4 | n |  | TRUE
76 | bus_LV_4161-3_0_4_node_122 | 0.4 | n |  | TRUE
77 | bus_LV_4161-3_0_4_node_123 | 0.4 | n |  | TRUE
78 | bus_LV_4161-3_0_4_node_125 | 0.4 | n |  | TRUE
79 | bus_LV_4161-3_0_4_node_129 | 0.4 | n |  | TRUE
80 | bus_LV_4161-3_0_4_node_130 | 0.4 | n |  | TRUE
81 | bus_LV_4161-3_0_4_node_131 | 0.4 | n |  | TRUE
82 | bus_LV_4161-3_0_4_node_133 | 0.4 | n |  | TRUE
83 | bus_LV_4161-3_0_4_node_134 | 0.4 | n |  | TRUE
84 | bus_LV_4161-3_0_4_node_140 | 0.4 | n |  | TRUE
85 | bus_LV_4161-3_0_4_node_137 | 0.4 | n |  | TRUE
86 | bus_LV_4161-3_0_4_node_138 | 0.4 | n |  | TRUE
87 | bus_LV_4161-3_0_4_node_139 | 0.4 | n |  | TRUE
88 | bus_LV_4161-3_0_4_node_147 | 0.4 | n |  | TRUE
89 | bus_LV_4161-3_0_4_node_148 | 0.4 | n |  | TRUE
90 | bus_LV_4161-3_0_4_node_144 | 0.4 | n |  | TRUE
91 | bus_MV_432_0_node_83 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4161-3_0_4_load_0 | 0 | 0.0038825 | 0.00097305 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4161-3_0_4_load_1 | 1 | 0.0039655 | 0.00099386 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4161-3_0_4_load_6 | 3 | 0.034486 | 0.0086431 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4161-3_0_4_load_7 | 4 | 0.00045597 | 0.00011428 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4161-3_0_4_load_11 | 6 | 0.002703 | 0.00067745 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4161-3_0_4_load_9 | 7 | 0.0036416 | 0.00091266 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4161-3_0_4_load_88 | 10 | 0.00068978 | 0.00017287 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4161-3_0_4_load_92 | 11 | 0.0287 | 0.0071928 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4161-3_0_4_load_151 | 12 | 0.0050806 | 0.0012733 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4161-3_0_4_load_10 | 14 | 0.006005 | 0.001505 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4161-3_0_4_load_12 | 15 | 0.0030815 | 0.0007723 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4161-3_0_4_load_156 | 16 | 0.0027446 | 0.00068786 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4161-3_0_4_load_154 | 17 | 0.036952 | 0.0092609 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4161-3_0_4_load_13 | 18 | 0.0058622 | 0.0014692 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4161-3_0_4_load_149 | 19 | 0.0029429 | 0.00073756 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4161-3_0_4_load_104 | 22 | 0.0012138 | 0.00030421 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4161-3_0_4_load_107 | 23 | 0.0022352 | 0.00056019 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4161-3_0_4_load_105 | 24 | 0.0037479 | 0.00093932 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4161-3_0_4_load_102 | 25 | 0.0028405 | 0.00071189 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4161-3_0_4_load_76 | 26 | 0.0011859 | 0.00029722 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4161-3_0_4_load_77 | 27 | 0.002202 | 0.00055188 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4161-3_0_4_load_79 | 29 | 0.0057747 | 0.0014473 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4161-3_0_4_load_152 | 34 | 0.0060187 | 0.0015084 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4161-3_0_4_load_114 | 36 | 0.00074858 | 0.00018761 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4161-3_0_4_load_157 | 38 | 0.026953 | 0.0067551 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4161-3_0_4_load_153 | 39 | 0.039087 | 0.0097961 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4161-3_0_4_load_127 | 41 | 0.00096802 | 0.00024261 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4161-3_0_4_load_135 | 42 | 0.00090106 | 0.00022583 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4161-3_0_4_load_143 | 44 | 0.001129 | 0.00028296 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4161-3_0_4_load_141 | 45 | 0.0019235 | 0.00048207 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4161-3_0_4_load_146 | 47 | 0.0020075 | 0.00050313 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4161-3_0_4_load_145 | 48 | 0.0011946 | 0.00029939 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4161-3_0_4_load_115 | 49 | 0.0013566 | 0.00034001 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4161-3_0_4_load_86 | 50 | 0.0035687 | 0.0008944 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4161-3_0_4_load_84 | 51 | 0.0018571 | 0.00046544 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4161-3_0_4_load_85 | 52 | 0.0010134 | 0.00025398 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4161-3_0_4_load_121 | 54 | 0.0036537 | 0.00091571 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4161-3_0_4_load_96 | 55 | 0.0030639 | 0.00076789 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4161-3_0_4_load_93 | 56 | 0.0059966 | 0.0015029 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4161-3_0_4_load_94 | 57 | 0.0054474 | 0.0013652 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4161-3_0_4_load_97 | 59 | 0.003404 | 0.00085313 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4161-3_0_4_load_98 | 60 | 0.0072835 | 0.0018254 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4161-3_0_4_load_111 | 61 | 0.0067344 | 0.0016878 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4161-3_0_4_load_128 | 62 | 0.0050647 | 0.0012693 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4161-3_0_4_load_110 | 63 | 0.0038742 | 0.00097096 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4161-3_0_4_load_99 | 64 | 0.0023898 | 0.00059895 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4161-3_0_4_load_100 | 65 | 0.0030135 | 0.00075525 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4161-3_0_4_load_101 | 66 | 0.0016073 | 0.00040283 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4161-3_0_4_load_103 | 67 | 0.00064609 | 0.00016193 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4161-3_0_4_load_126 | 68 | 0.0019411 | 0.0004865 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4161-3_0_4_load_112 | 71 | 0.0026407 | 0.00066182 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4161-3_0_4_load_113 | 72 | 0.0010092 | 0.00025293 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4161-3_0_4_load_136 | 73 | 0.011968 | 0.0029995 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4161-3_0_4_load_132 | 75 | 0.00061029 | 0.00015295 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4161-3_0_4_load_122 | 76 | 0.0010223 | 0.00025622 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4161-3_0_4_load_123 | 77 | 0.0023123 | 0.00057953 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4161-3_0_4_load_125 | 78 | 0.0055358 | 0.0013874 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4161-3_0_4_load_129 | 79 | 0.0022071 | 0.00055314 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4161-3_0_4_load_140 | 84 | 0.0015141 | 0.00037946 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4161-3_0_4_load_137 | 85 | 0.0012408 | 0.00031096 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4161-3_0_4_load_138 | 86 | 0.0015146 | 0.0003796 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4161-3_0_4_load_139 | 87 | 0.0015145 | 0.00037958 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4161-3_0_4_load_147 | 88 | 0.0015267 | 0.00038263 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4161-3_0_4_load_148 | 89 | 0.0018782 | 0.00047073 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4161-3_0_4_load_144 | 90 | 0.018098 | 0.0045358 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4161-3_0_4_line_0 |  | 0 | 1 | 0.0092061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4161-3_0_4_line_1 |  | 1 | 2 | 0.0068074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4161-3_0_4_line_2 |  | 2 | 3 | 0.053926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4161-3_0_4_line_3 |  | 2 | 4 | 0.029811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4161-3_0_4_line_4 |  | 3 | 5 | 0.046741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4161-3_0_4_line_5 |  | 4 | 6 | 0.018867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4161-3_0_4_line_6 |  | 5 | 14 | 0.002991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4161-3_0_4_line_7 |  | 5 | 7 | 0.022924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4161-3_0_4_line_8 |  | 6 | 15 | 0.022713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4161-3_0_4_line_9 |  | 8 | 9 | 0.037201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4161-3_0_4_line_10 |  | 8 | 10 | 0.009767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4161-3_0_4_line_11 |  | 9 | 11 | 0.025736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4161-3_0_4_line_12 |  | 9 | 52 | 0.033737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4161-3_0_4_line_13 |  | 12 | 13 | 0.030357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4161-3_0_4_line_14 |  | 13 | 19 | 0.018414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4161-3_0_4_line_15 |  | 13 | 18 | 0.031756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4161-3_0_4_line_16 |  | 14 | 16 | 0.011029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_4161-3_0_4_line_17 |  | 15 | 18 | 0.018808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4161-3_0_4_line_18 |  | 16 | 17 | 0.013576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_4161-3_0_4_line_19 |  | 17 | 39 | 0.001216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_4161-3_0_4_line_20 |  | 19 | 82 | 0.030969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4161-3_0_4_line_21 |  | 20 | 21 | 0.032135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4161-3_0_4_line_22 |  | 20 | 22 | 0.028582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4161-3_0_4_line_23 |  | 21 | 25 | 0.011552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4161-3_0_4_line_24 |  | 22 | 24 | 0.0069093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4161-3_0_4_line_25 |  | 23 | 24 | 0.018023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4161-3_0_4_line_26 |  | 25 | 65 | 0.024633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4161-3_0_4_line_27 |  | 26 | 27 | 0.0082393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4161-3_0_4_line_28 |  | 26 | 28 | 0.014738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4161-3_0_4_line_29 |  | 27 | 29 | 0.0087075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4161-3_0_4_line_30 |  | 28 | 30 | 0.032617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4161-3_0_4_line_31 |  | 28 | 31 | 0.071833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4161-3_0_4_line_32 |  | 29 | 32 | 0.056826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4161-3_0_4_line_33 |  | 30 | 33 | 0.034781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_4161-3_0_4_line_34 |  | 30 | 34 | 0.0069347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_4161-3_0_4_line_35 |  | 31 | 35 | 0.030897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4161-3_0_4_line_36 |  | 31 | 36 | 0.0046563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4161-3_0_4_line_37 |  | 32 | 37 | 0.045701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4161-3_0_4_line_38 |  | 33 | 38 | 0.021022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4161-3_0_4_line_39 |  | 34 | 39 | 0.012761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_4161-3_0_4_line_40 |  | 35 | 40 | 0.029143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4161-3_0_4_line_41 |  | 35 | 41 | 0.02807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4161-3_0_4_line_42 |  | 36 | 49 | 0.029903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4161-3_0_4_line_43 |  | 37 | 50 | 0.01088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4161-3_0_4_line_44 |  | 40 | 42 | 0.041176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4161-3_0_4_line_45 |  | 41 | 69 | 0.02428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4161-3_0_4_line_46 |  | 42 | 73 | 0.076905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4161-3_0_4_line_47 |  | 43 | 44 | 0.022595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4161-3_0_4_line_48 |  | 43 | 45 | 0.0043939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4161-3_0_4_line_49 |  | 44 | 48 | 0.017836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4161-3_0_4_line_50 |  | 45 | 74 | 0.11086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4161-3_0_4_line_51 |  | 46 | 47 | 0.013469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4161-3_0_4_line_52 |  | 46 | 48 | 0.030811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4161-3_0_4_line_53 |  | 47 | 75 | 0.034501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4161-3_0_4_line_54 |  | 49 | 70 | 0.040686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4161-3_0_4_line_55 |  | 50 | 51 | 0.026158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4161-3_0_4_line_56 |  | 51 | 52 | 0.020923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4161-3_0_4_line_57 |  | 53 | 54 | 0.048675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4161-3_0_4_line_58 |  | 53 | 55 | 0.036314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4161-3_0_4_line_59 |  | 54 | 70 | 0.018908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4161-3_0_4_line_60 |  | 56 | 57 | 0.027132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4161-3_0_4_line_61 |  | 56 | 58 | 0.016943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4161-3_0_4_line_62 |  | 58 | 59 | 0.038634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4161-3_0_4_line_63 |  | 58 | 60 | 0.010244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4161-3_0_4_line_64 |  | 59 | 61 | 0.020283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4161-3_0_4_line_65 |  | 60 | 62 | 0.014047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4161-3_0_4_line_66 |  | 61 | 63 | 5.2174e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4161-3_0_4_line_67 |  | 63 | 71 | 0.0014314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4161-3_0_4_line_68 |  | 64 | 65 | 0.029604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4161-3_0_4_line_69 |  | 64 | 66 | 0.039552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4161-3_0_4_line_70 |  | 66 | 67 | 0.03457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4161-3_0_4_line_71 |  | 67 | 68 | 0.018487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4161-3_0_4_line_72 |  | 68 | 69 | 0.011093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4161-3_0_4_line_73 |  | 69 | 76 | 0.013558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4161-3_0_4_line_74 |  | 70 | 72 | 0.011815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4161-3_0_4_line_75 |  | 71 | 72 | 0.021665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4161-3_0_4_line_76 |  | 74 | 90 | 0.011336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4161-3_0_4_line_77 |  | 75 | 80 | 0.038961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4161-3_0_4_line_78 |  | 76 | 77 | 0.015851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4161-3_0_4_line_79 |  | 77 | 78 | 0.0071049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4161-3_0_4_line_80 |  | 79 | 80 | 0.028303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4161-3_0_4_line_81 |  | 79 | 81 | 0.034913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4161-3_0_4_line_82 |  | 80 | 82 | 0.081634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4161-3_0_4_line_83 |  | 81 | 83 | 0.00404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4161-3_0_4_line_84 |  | 83 | 84 | 0.017536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4161-3_0_4_line_85 |  | 83 | 85 | 0.01258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4161-3_0_4_line_86 |  | 85 | 86 | 0.01055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4161-3_0_4_line_87 |  | 86 | 87 | 0.014793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4161-3_0_4_line_88 |  | 87 | 88 | 0.002256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4161-3_0_4_line_89 |  | 88 | 89 | 0.0018078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4161-3_0_4_trafo_155 | 0.63 MVA 20/0.4 kV | 91 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2641576.5503 | 1264690.8262 | 2641582.1707 | 1264698.1175
1 | 2641586.3267 | 1264703.509 | 2641582.1707 | 1264698.1175
2 | 2641586.3267 | 1264703.509 | 2641572.9802 | 1264716.7358 | 2641559.0102 | 1264728.6684 | 2641553.5525 | 1264732.6996 | 2641545.095 | 1264734.9641 | 2641543.8824 | 1264735.1226
3 | 2641586.3267 | 1264703.509 | 2641595.7546 | 1264704.6094 | 2641604.8234 | 1264702.1714 | 2641615.2504 | 1264698.8987
4 | 2641500.9515 | 1264751.0992 | 2641512.2467 | 1264743.6398 | 2641524.1035 | 1264737.7076 | 2641543.8824 | 1264735.1226
5 | 2641615.2504 | 1264698.8987 | 2641633.2519 | 1264693.2486
6 | 2641500.9515 | 1264751.0992 | 2641502.0332 | 1264753.8878
7 | 2641500.9515 | 1264751.0992 | 2641488.0885 | 1264732.1245
8 | 2641633.2519 | 1264693.2486 | 2641654.9229 | 1264686.4469
9 | 2641366.5915 | 1264790.2754 | 2641381.6005 | 1264781.5185 | 2641393.645 | 1264774.5645 | 2641398.8394 | 1264771.5653
10 | 2641366.5915 | 1264790.2754 | 2641358.8478 | 1264796.2276
11 | 2641398.8394 | 1264771.5653 | 2641412.2701 | 1264763.4424 | 2641420.8629 | 1264758.2495
12 | 2641398.8394 | 1264771.5653 | 2641401.2032 | 1264779.1873 | 2641398.1476 | 1264804.762
13 | 2641696.2212 | 1264658.2722 | 2641676.1842 | 1264635.467
14 | 2641696.2212 | 1264658.2722 | 2641705.0512 | 1264664.0718 | 2641712.7751 | 1264665.4717
15 | 2641696.2212 | 1264658.2722 | 2641671.4324 | 1264678.1208
16 | 2641506.0217 | 1264764.17 | 2641502.0332 | 1264753.8878
17 | 2641671.4324 | 1264678.1208 | 2641664.974 | 1264683.2922 | 2641654.9229 | 1264686.4469
18 | 2641510.9315 | 1264776.8274 | 2641506.0217 | 1264764.17
19 | 2641510.9315 | 1264776.8274 | 2641511.3713 | 1264777.9611
20 | 2641741.1989 | 1264654.2864 | 2641733.8212 | 1264657.1697 | 2641725.3144 | 1264662.1355 | 2641720.0847 | 1264664.7672 | 2641712.7751 | 1264665.4717
21 | 2641562.0769 | 1265020.921 | 2641577.5959 | 1265025.2664 | 2641590.382 | 1265015.6161
22 | 2641562.0769 | 1265020.921 | 2641547.271 | 1265021.1839 | 2641533.6233 | 1265023.0429
23 | 2641590.382 | 1265015.6161 | 2641600.0115 | 1265009.2339
24 | 2641533.6233 | 1265023.0429 | 2641526.7772 | 1265023.9754
25 | 2641509.212 | 1265028.0101 | 2641526.7772 | 1265023.9754 | 2641526.7772 | 1265023.9754
26 | 2641620.5302 | 1264995.6039 | 2641619.2664 | 1264996.4721 | 2641600.0115 | 1265009.2339
27 | 2641494.5907 | 1264832.732 | 2641487.9128 | 1264837.5582
28 | 2641507.6623 | 1264826.022 | 2641497.1158 | 1264830.9071 | 2641494.5907 | 1264832.732
29 | 2641480.8554 | 1264842.6586 | 2641487.9128 | 1264837.5582
30 | 2641516.9034 | 1264796.8549 | 2641517.8406 | 1264801.7316 | 2641517.9527 | 1264807.2141 | 2641516.4485 | 1264814.4532 | 2641513.202 | 1264821.024 | 2641507.6623 | 1264826.022
31 | 2641507.6623 | 1264826.022 | 2641514.3594 | 1264835.2978 | 2641526.5959 | 1264851.4174 | 2641535.1623 | 1264848.62 | 2641556.3848 | 1264832.2351 | 2641560.6023 | 1264833.2209
32 | 2641441.8513 | 1264882.4456 | 2641457.4234 | 1264871.7692 | 2641465.4987 | 1264857.3822 | 2641472.9188 | 1264848.3944 | 2641480.8554 | 1264842.6586
33 | 2641543.6953 | 1264808.7848 | 2641534.1547 | 1264795.8864 | 2641528.5627 | 1264799.7388 | 2641516.9034 | 1264796.8549
34 | 2641516.9034 | 1264796.8549 | 2641515.0251 | 1264790.1794
35 | 2641560.6023 | 1264833.2209 | 2641572.1063 | 1264823.9062 | 2641580.7082 | 1264837.5097
36 | 2641560.6023 | 1264833.2209 | 2641556.9257 | 1264836.0781
37 | 2641411.9228 | 1264857.1402 | 2641434.456 | 1264884.6954 | 2641434.8439 | 1264883.0636 | 2641435.8623 | 1264881.7253 | 2641437.344 | 1264880.9018 | 2641439.0243 | 1264880.7579 | 2641440.6169 | 1264881.3028 | 2641441.8513 | 1264882.4456
38 | 2641560.5541 | 1264796.1608 | 2641543.6953 | 1264808.7848
39 | 2641515.0251 | 1264790.1794 | 2641512.1572 | 1264779.9873 | 2641511.3713 | 1264777.9611
40 | 2641604.3756 | 1264820.4082 | 2641580.7082 | 1264837.5097
41 | 2641580.7082 | 1264837.5097 | 2641593.3232 | 1264862.5852
42 | 2641556.9257 | 1264836.0781 | 2641533.314 | 1264854.4271
43 | 2641411.9228 | 1264857.1402 | 2641413.2585 | 1264849.1994 | 2641413.6582 | 1264846.3999
44 | 2641604.3756 | 1264820.4082 | 2641633.9859 | 1264849.021
45 | 2641604.2351 | 1264884.2751 | 2641593.3232 | 1264862.5852
46 | 2641688.9023 | 1264878.2222 | 2641676.9479 | 1264890.5357 | 2641633.9859 | 1264849.021
47 | 2641702.2315 | 1264808.6997 | 2641690.7218 | 1264792.0957 | 2641689.2329 | 1264790.2241
48 | 2641702.2315 | 1264808.6997 | 2641704.911 | 1264812.1821
49 | 2641678.1287 | 1264776.2663 | 2641689.2329 | 1264790.2241
50 | 2641746.1028 | 1264859.9568 | 2641734.2416 | 1264860.0954 | 2641755.0159 | 1264831.5327 | 2641749.944 | 1264825.7038 | 2641723.6434 | 1264829.5989 | 2641720.2446 | 1264832.1101 | 2641704.911 | 1264812.1821
51 | 2641658.9465 | 1264752.1545 | 2641669.3995 | 1264743.6597
52 | 2641658.9465 | 1264752.1545 | 2641678.1287 | 1264776.2663
53 | 2641669.3995 | 1264743.6597 | 2641693.6041 | 1264723.9895 | 2641696.1085 | 1264721.8224
54 | 2641501.1883 | 1264879.3925 | 2641533.314 | 1264854.4271
55 | 2641413.6582 | 1264846.3999 | 2641415.7846 | 1264831.5045 | 2641409.6672 | 1264822.2288
56 | 2641409.6672 | 1264822.2288 | 2641398.1476 | 1264804.762 | 2641398.1476 | 1264804.762
57 | 2641447.2724 | 1264920.1438 | 2641486.1038 | 1264890.7938
58 | 2641447.2724 | 1264920.1438 | 2641464.0832 | 1264952.3324
59 | 2641501.1883 | 1264879.3925 | 2641486.1038 | 1264890.7938
60 | 2641526.131 | 1264971.1383 | 2641517.6333 | 1264974.9873 | 2641501.6093 | 1264982.7458
61 | 2641541.5648 | 1264964.1475 | 2641526.131 | 1264971.1383
62 | 2641541.5648 | 1264964.1475 | 2641524.9489 | 1264929.2689
63 | 2641541.5648 | 1264964.1475 | 2641545.7163 | 1264973.513
64 | 2641516.2257 | 1264910.9578 | 2641524.9489 | 1264929.2689
65 | 2641551.4087 | 1264986.3547 | 2641545.7163 | 1264973.513
66 | 2641516.2257 | 1264910.9578 | 2641516.2032 | 1264910.9107
67 | 2641515.5876 | 1264909.6185 | 2641516.2032 | 1264910.9107
68 | 2641642.7172 | 1264976.5868 | 2641640.8428 | 1264980.0455 | 2641635.5272 | 1264985.3007 | 2641620.5302 | 1264995.6039
69 | 2641642.7172 | 1264976.5868 | 2641644.5887 | 1264973.1336 | 2641645.5679 | 1264966.6803 | 2641645.3068 | 1264957.7721 | 2641642.522 | 1264950.1026 | 2641636.2631 | 1264940.674 | 2641635.9129 | 1264940.0574
70 | 2641635.9129 | 1264940.0574 | 2641618.8418 | 1264909.9964
71 | 2641609.7128 | 1264893.9211 | 2641618.8418 | 1264909.9964
72 | 2641604.2351 | 1264884.2751 | 2641609.7128 | 1264893.9211
73 | 2641604.2351 | 1264884.2751 | 2641592.1079 | 1264890.3374
74 | 2641501.1883 | 1264879.3925 | 2641506.2698 | 1264890.0593
75 | 2641515.5876 | 1264909.6185 | 2641506.2698 | 1264890.0593
76 | 2641754.6495 | 1264867.4335 | 2641746.1028 | 1264859.9568
77 | 2641725.5701 | 1264696.3284 | 2641696.1085 | 1264721.8224
78 | 2641592.1079 | 1264890.3374 | 2641577.9298 | 1264897.4249
79 | 2641571.5747 | 1264900.6017 | 2641577.9298 | 1264897.4249
80 | 2641725.5701 | 1264696.3284 | 2641744.7216 | 1264717.168
81 | 2641768.3457 | 1264742.8745 | 2641744.7216 | 1264717.168
82 | 2641741.1989 | 1264654.2864 | 2641746.4092 | 1264654.401 | 2641751.4977 | 1264655.7601 | 2641755.7702 | 1264657.5137 | 2641761.1106 | 1264659.4639 | 2641765.8449 | 1264662.9998 | 2641765.0398 | 1264668.2423 | 2641759.4924 | 1264676.409 | 2641749.1313 | 1264682.6959 | 2641737.0302 | 1264686.9136 | 2641725.5701 | 1264696.3284
83 | 2641768.3457 | 1264742.8745 | 2641771.0732 | 1264745.8626
84 | 2641771.0732 | 1264745.8626 | 2641782.9052 | 1264758.8055
85 | 2641771.0732 | 1264745.8626 | 2641762.6419 | 1264755.1992
86 | 2641762.6419 | 1264755.1992 | 2641756.3567 | 1264762.1592 | 2641755.4474 | 1264762.8983
87 | 2641743.9687 | 1264772.2287 | 2641755.4474 | 1264762.8983
88 | 2641742.218 | 1264773.6517 | 2641743.9687 | 1264772.2287
89 | 2641740.8152 | 1264774.792 | 2641742.218 | 1264773.6517

## bus_geodata
| x | y | coords
0 | 2641576.5503 | 1264690.8262
1 | 2641582.1707 | 1264698.1175
2 | 2641586.3267 | 1264703.509
3 | 2641543.8824 | 1264735.1226
4 | 2641615.2504 | 1264698.8987
5 | 2641500.9515 | 1264751.0992
6 | 2641633.2519 | 1264693.2486
7 | 2641488.0885 | 1264732.1245
8 | 2641366.5915 | 1264790.2754
9 | 2641398.8393 | 1264771.5653
10 | 2641358.8478 | 1264796.2276
11 | 2641420.8629 | 1264758.2495
12 | 2641676.1842 | 1264635.467
13 | 2641696.2212 | 1264658.2722
14 | 2641502.0332 | 1264753.8878
15 | 2641654.9229 | 1264686.4469
16 | 2641506.0217 | 1264764.17
17 | 2641510.9315 | 1264776.8274
18 | 2641671.4324 | 1264678.1208
19 | 2641712.7751 | 1264665.4717
20 | 2641562.0769 | 1265020.921
21 | 2641590.382 | 1265015.6161
22 | 2641533.6233 | 1265023.0429
23 | 2641509.212 | 1265028.0101
24 | 2641526.7772 | 1265023.9754
25 | 2641600.0115 | 1265009.2339
26 | 2641494.5907 | 1264832.732
27 | 2641487.9128 | 1264837.5582
28 | 2641507.6623 | 1264826.022
29 | 2641480.8554 | 1264842.6586
30 | 2641516.9034 | 1264796.8549
31 | 2641560.6023 | 1264833.2209
32 | 2641441.8513 | 1264882.4456
33 | 2641543.6953 | 1264808.7848
34 | 2641515.0251 | 1264790.1794
35 | 2641580.7082 | 1264837.5097
36 | 2641556.9257 | 1264836.0781
37 | 2641411.9228 | 1264857.1402
38 | 2641560.5541 | 1264796.1608
39 | 2641511.3713 | 1264777.9611
40 | 2641604.3756 | 1264820.4082
41 | 2641593.3232 | 1264862.5852
42 | 2641633.9859 | 1264849.021
43 | 2641702.2315 | 1264808.6997
44 | 2641689.2329 | 1264790.2241
45 | 2641704.911 | 1264812.1821
46 | 2641658.9465 | 1264752.1545
47 | 2641669.3995 | 1264743.6597
48 | 2641678.1287 | 1264776.2663
49 | 2641533.314 | 1264854.4271
50 | 2641413.6582 | 1264846.3999
51 | 2641409.6672 | 1264822.2288
52 | 2641398.1476 | 1264804.762
53 | 2641447.2724 | 1264920.1438
54 | 2641486.1038 | 1264890.7938
55 | 2641464.0832 | 1264952.3324
56 | 2641526.131 | 1264971.1383
57 | 2641501.6093 | 1264982.7458
58 | 2641541.5648 | 1264964.1475
59 | 2641524.9489 | 1264929.2689
60 | 2641545.7163 | 1264973.513
61 | 2641516.2257 | 1264910.9578
62 | 2641551.4087 | 1264986.3547
63 | 2641516.2032 | 1264910.9107
64 | 2641642.7172 | 1264976.5868
65 | 2641620.5302 | 1264995.6039
66 | 2641635.9129 | 1264940.0574
67 | 2641618.8418 | 1264909.9964
68 | 2641609.7129 | 1264893.9211
69 | 2641604.2351 | 1264884.2751
70 | 2641501.1883 | 1264879.3925
71 | 2641515.5876 | 1264909.6185
72 | 2641506.2698 | 1264890.0593
73 | 2641688.9023 | 1264878.2222
74 | 2641746.1028 | 1264859.9568
75 | 2641696.1085 | 1264721.8224
76 | 2641592.1079 | 1264890.3374
77 | 2641577.9298 | 1264897.4249
78 | 2641571.5747 | 1264900.6017
79 | 2641744.7216 | 1264717.168
80 | 2641725.5701 | 1264696.3284
81 | 2641768.3457 | 1264742.8745
82 | 2641741.1989 | 1264654.2864
83 | 2641771.0732 | 1264745.8626
84 | 2641782.9052 | 1264758.8055
85 | 2641762.6419 | 1264755.1992
86 | 2641755.4474 | 1264762.8983
87 | 2641743.9687 | 1264772.2287
88 | 2641742.218 | 1264773.6517
89 | 2641740.8152 | 1264774.792
90 | 2641754.6495 | 1264867.4335
91 | 2641534.5098 | 1264816.0922

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1