## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4195-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4195-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4195-1_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4195-1_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4195-1_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4195-1_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4195-1_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4195-1_0_6_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_4195-1_0_6_node_50 | 0.4 | n |  | TRUE
9 | bus_LV_4195-1_0_6_node_73 | 0.4 | n |  | TRUE
10 | bus_LV_4195-1_0_6_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_4195-1_0_6_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_4195-1_0_6_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_4195-1_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4195-1_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4195-1_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4195-1_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_4195-1_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4195-1_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_4195-1_0_6_node_76 | 0.4 | n |  | TRUE
20 | bus_LV_4195-1_0_6_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_4195-1_0_6_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_4195-1_0_6_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_4195-1_0_6_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_4195-1_0_6_node_70 | 0.4 | n |  | TRUE
25 | bus_LV_4195-1_0_6_node_68 | 0.4 | n |  | TRUE
26 | bus_LV_4195-1_0_6_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_4195-1_0_6_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_4195-1_0_6_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_4195-1_0_6_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_4195-1_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_4195-1_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_4195-1_0_6_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_4195-1_0_6_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_4195-1_0_6_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_4195-1_0_6_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_4195-1_0_6_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_4195-1_0_6_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_4195-1_0_6_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_4195-1_0_6_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_4195-1_0_6_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_4195-1_0_6_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_4195-1_0_6_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_4195-1_0_6_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_4195-1_0_6_node_77 | 0.4 | n |  | TRUE
45 | bus_LV_4195-1_0_6_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_4195-1_0_6_node_78 | 0.4 | n |  | TRUE
47 | bus_LV_4195-1_0_6_node_22 | 0.4 | n |  | TRUE
48 | bus_LV_4195-1_0_6_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_4195-1_0_6_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_4195-1_0_6_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_4195-1_0_6_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_4195-1_0_6_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_4195-1_0_6_node_26 | 0.4 | n |  | TRUE
54 | bus_LV_4195-1_0_6_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_4195-1_0_6_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_4195-1_0_6_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_4195-1_0_6_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_4195-1_0_6_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_4195-1_0_6_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_4195-1_0_6_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_4195-1_0_6_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_4195-1_0_6_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_4195-1_0_6_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_4195-1_0_6_node_38 | 0.4 | n |  | TRUE
65 | bus_LV_4195-1_0_6_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_4195-1_0_6_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_4195-1_0_6_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_4195-1_0_6_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_4195-1_0_6_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_4195-1_0_6_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_4195-1_0_6_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_4195-1_0_6_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_4195-1_0_6_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_4195-1_0_6_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_4195-1_0_6_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_4195-1_0_6_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_4195-1_0_6_node_72 | 0.4 | n |  | TRUE
78 | bus_MV_427_1_node_257 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4195-1_0_6_load_0 | 0 | 0.0050077 | 0.001255 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4195-1_0_6_load_3 | 3 | 0.0077507 | 0.0019425 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4195-1_0_6_load_4 | 4 | 0.0013035 | 0.00032669 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4195-1_0_6_load_41 | 7 | 0.0098641 | 0.0024722 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4195-1_0_6_load_50 | 8 | 0.0029013 | 0.00072714 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4195-1_0_6_load_73 | 9 | 0.022618 | 0.0056687 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4195-1_0_6_load_12 | 10 | 0.0075702 | 0.0018973 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4195-1_0_6_load_40 | 11 | 0.0023874 | 0.00059835 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4195-1_0_6_load_51 | 12 | 0.0025863 | 0.00064819 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4195-1_0_6_load_7 | 13 | 0.072781 | 0.018241 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4195-1_0_6_load_9 | 15 | 0.042355 | 0.010615 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4195-1_0_6_load_13 | 18 | 0.07286 | 0.01826 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4195-1_0_6_load_76 | 19 | 0.0049353 | 0.0012369 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4195-1_0_6_load_54 | 23 | 0.0010035 | 0.0002515 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4195-1_0_6_load_68 | 25 | 0.0032196 | 0.0008069 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4195-1_0_6_load_14 | 26 | 0.0040096 | 0.0010049 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4195-1_0_6_load_20 | 30 | 0.0042702 | 0.0010702 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4195-1_0_6_load_21 | 31 | 0.0046437 | 0.0011638 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4195-1_0_6_load_32 | 33 | 0.00079666 | 0.00019966 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4195-1_0_6_load_30 | 36 | 0.001202 | 0.00030124 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4195-1_0_6_load_74 | 38 | 0.0029556 | 0.00074074 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4195-1_0_6_load_62 | 40 | 0.0014275 | 0.00035776 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4195-1_0_6_load_59 | 42 | 0.0013667 | 0.00034253 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4195-1_0_6_load_33 | 43 | 0.0011923 | 0.00029882 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4195-1_0_6_load_77 | 44 | 0.010334 | 0.0025898 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4195-1_0_6_load_78 | 46 | 0.0058162 | 0.0014577 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4195-1_0_6_load_22 | 47 | 0.0020021 | 0.00050177 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4195-1_0_6_load_23 | 48 | 0.0025924 | 0.00064973 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4195-1_0_6_load_24 | 49 | 0.0029165 | 0.00073095 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4195-1_0_6_load_45 | 51 | 0.0026023 | 0.00065219 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4195-1_0_6_load_26 | 53 | 0.00086059 | 0.00021568 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4195-1_0_6_load_27 | 54 | 0.00097283 | 0.00024381 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4195-1_0_6_load_29 | 55 | 0.0037944 | 0.00095096 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4195-1_0_6_load_44 | 58 | 0.01182 | 0.0029623 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4195-1_0_6_load_42 | 59 | 0.0026512 | 0.00066446 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4195-1_0_6_load_46 | 60 | 0.0021224 | 0.00053192 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4195-1_0_6_load_58 | 61 | 0.0030279 | 0.00075886 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4195-1_0_6_load_36 | 62 | 0.0039913 | 0.0010003 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4195-1_0_6_load_38 | 64 | 0.012439 | 0.0031174 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4195-1_0_6_load_39 | 65 | 0.0082906 | 0.0020778 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4195-1_0_6_load_52 | 66 | 0.00099114 | 0.0002484 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4195-1_0_6_load_66 | 67 | 0.006667 | 0.0016709 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4195-1_0_6_load_53 | 68 | 0.00093574 | 0.00023452 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4195-1_0_6_load_64 | 69 | 0.012519 | 0.0031377 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4195-1_0_6_load_47 | 70 | 0.00099002 | 0.00024812 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4195-1_0_6_load_55 | 71 | 0.0019471 | 0.00048799 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4195-1_0_6_load_71 | 72 | 0.0099528 | 0.0024944 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4195-1_0_6_load_60 | 73 | 0.0013975 | 0.00035025 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4195-1_0_6_load_61 | 74 | 0.0013821 | 0.00034638 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4195-1_0_6_load_65 | 75 | 0.0090742 | 0.0022742 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4195-1_0_6_load_67 | 76 | 0.0065025 | 0.0016297 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4195-1_0_6_load_72 | 77 | 0.084895 | 0.021277 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4195-1_0_6_line_0 |  | 0 | 1 | 0.13459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_4195-1_0_6_line_1 |  | 0 | 2 | 0.14096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_4195-1_0_6_line_2 |  | 1 | 3 | 0.03294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_4195-1_0_6_line_3 |  | 1 | 4 | 0.060013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_4195-1_0_6_line_4 |  | 2 | 5 | 0.054856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4195-1_0_6_line_5 |  | 2 | 6 | 0.17688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4195-1_0_6_line_6 |  | 3 | 7 | 0.043931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_4195-1_0_6_line_7 |  | 4 | 8 | 0.0042492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4195-1_0_6_line_8 |  | 5 | 9 | 0.035323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4195-1_0_6_line_9 |  | 6 | 10 | 0.026945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4195-1_0_6_line_10 |  | 7 | 11 | 0.05289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_4195-1_0_6_line_11 |  | 8 | 12 | 0.020779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4195-1_0_6_line_12 |  | 11 | 30 | 0.033075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_4195-1_0_6_line_13 |  | 12 | 56 | 0.038489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4195-1_0_6_line_14 |  | 13 | 14 | 0.020092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4195-1_0_6_line_15 |  | 14 | 15 | 0.017631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4195-1_0_6_line_16 |  | 14 | 16 | 0.027211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4195-1_0_6_line_17 |  | 16 | 19 | 0.026371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4195-1_0_6_line_18 |  | 16 | 20 | 0.072302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_4195-1_0_6_line_19 |  | 16 | 17 | 0.058567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_4195-1_0_6_line_20 |  | 17 | 18 | 0.1733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4195-1_0_6_line_21 |  | 20 | 24 | 0.1523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_4195-1_0_6_line_22 |  | 20 | 25 | 0.033581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_4195-1_0_6_line_23 |  | 21 | 22 | 0.020773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_4195-1_0_6_line_24 |  | 21 | 23 | 0.035306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_4195-1_0_6_line_25 |  | 22 | 72 | 0.015247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4195-1_0_6_line_26 |  | 22 | 40 | 0.056497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_4195-1_0_6_line_27 |  | 23 | 71 | 0.0011652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_4195-1_0_6_line_28 |  | 24 | 77 | 0.16145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4195-1_0_6_line_29 |  | 25 | 76 | 0.031554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_4195-1_0_6_line_30 |  | 26 | 27 | 0.018847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4195-1_0_6_line_31 |  | 26 | 28 | 0.042553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4195-1_0_6_line_32 |  | 27 | 29 | 0.017837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4195-1_0_6_line_33 |  | 28 | 30 | 0.064829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_4195-1_0_6_line_34 |  | 28 | 31 | 0.019607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_4195-1_0_6_line_35 |  | 29 | 32 | 0.048199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4195-1_0_6_line_36 |  | 29 | 33 | 0.03634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4195-1_0_6_line_37 |  | 31 | 40 | 0.0095034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_4195-1_0_6_line_38 |  | 32 | 41 | 0.026507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4195-1_0_6_line_39 |  | 32 | 42 | 0.02747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4195-1_0_6_line_40 |  | 33 | 43 | 0.029041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4195-1_0_6_line_41 |  | 34 | 35 | 0.024846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4195-1_0_6_line_42 |  | 34 | 36 | 0.0423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4195-1_0_6_line_43 |  | 35 | 39 | 0.015679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4195-1_0_6_line_44 |  | 35 | 44 | 0.010246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4195-1_0_6_line_45 |  | 36 | 45 | 0.017102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4195-1_0_6_line_46 |  | 37 | 38 | 0.003206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4195-1_0_6_line_47 |  | 37 | 39 | 0.02852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4195-1_0_6_line_48 |  | 39 | 46 | 0.004728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4195-1_0_6_line_49 |  | 41 | 60 | 0.075984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4195-1_0_6_line_50 |  | 42 | 61 | 0.011939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4195-1_0_6_line_51 |  | 43 | 57 | 0.032486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4195-1_0_6_line_52 |  | 45 | 56 | 0.056357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4195-1_0_6_line_53 |  | 45 | 53 | 0.037974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4195-1_0_6_line_54 |  | 47 | 48 | 0.00050186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4195-1_0_6_line_55 |  | 47 | 49 | 0.013425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4195-1_0_6_line_56 |  | 48 | 50 | 0.011138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4195-1_0_6_line_57 |  | 50 | 51 | 0.01664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4195-1_0_6_line_58 |  | 51 | 52 | 0.013423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4195-1_0_6_line_59 |  | 52 | 59 | 0.021377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4195-1_0_6_line_60 |  | 53 | 54 | 0.002932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4195-1_0_6_line_61 |  | 54 | 55 | 0.0096951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4195-1_0_6_line_62 |  | 57 | 58 | 0.017523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4195-1_0_6_line_63 |  | 57 | 59 | 0.06113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4195-1_0_6_line_64 |  | 60 | 70 | 0.0023569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4195-1_0_6_line_65 |  | 61 | 73 | 0.0086894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4195-1_0_6_line_66 |  | 62 | 63 | 0.042802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4195-1_0_6_line_67 |  | 63 | 64 | 0.017213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_4195-1_0_6_line_68 |  | 63 | 65 | 0.010888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_4195-1_0_6_line_69 |  | 64 | 66 | 0.026849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_4195-1_0_6_line_70 |  | 65 | 67 | 0.0072666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_4195-1_0_6_line_71 |  | 66 | 68 | 0.00035278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_4195-1_0_6_line_72 |  | 67 | 69 | 0.035404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_4195-1_0_6_line_73 |  | 68 | 71 | 0.015992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_4195-1_0_6_line_74 |  | 69 | 75 | 0.024785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_4195-1_0_6_line_75 |  | 73 | 74 | 0.015859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4195-1_0_6_line_76 |  | 75 | 76 | 0.040169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4195-1_0_6_trafo_10 | 0.63 MVA 20/0.4 kV | 78 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2656089.1956 | 1244418.0466 | 2656048.4017 | 1244368.8058 | 2656030.2903 | 1244351.8012 | 2655992.9083 | 1244325.3298
1 | 2655874.5176 | 1244248.9857 | 2655945.9014 | 1244292.0427 | 2655992.9083 | 1244325.3298
2 | 2656089.1956 | 1244418.0466 | 2656068.3279 | 1244443.533
3 | 2656089.1956 | 1244418.0466 | 2656122.3228 | 1244457.2862 | 2656128.6537 | 1244463.1946
4 | 2655874.5176 | 1244248.9857 | 2655847.1597 | 1244296.5715
5 | 2655723.6353 | 1244155.9492 | 2655874.5176 | 1244248.9857
6 | 2656040.4972 | 1244477.5236 | 2656068.3279 | 1244443.533
7 | 2656128.6537 | 1244463.1946 | 2656131.7602 | 1244466.0938
8 | 2655847.1597 | 1244296.5715 | 2655816.7759 | 1244278.5571
9 | 2655723.6353 | 1244155.9492 | 2655709.7203 | 1244179.0226
10 | 2656007.6211 | 1244518.8881 | 2656010.2403 | 1244514.4772 | 2656040.4972 | 1244477.5236
11 | 2656147.0865 | 1244480.101 | 2656145.9251 | 1244479.3132 | 2656131.7602 | 1244466.0938
12 | 2656007.6211 | 1244518.8881 | 2655995.0674 | 1244540.0291 | 2655991.4094 | 1244547.6879
13 | 2656178.9391 | 1244501.7074 | 2656147.0865 | 1244480.101
14 | 2655671.7745 | 1244516.4055 | 2655658.0423 | 1244505.347 | 2655659.5375 | 1244503.3927
15 | 2655671.7745 | 1244516.4055 | 2655658.0423 | 1244505.347
16 | 2655671.7745 | 1244516.4055 | 2655687.9907 | 1244530.089 | 2655683.802 | 1244534.3749
17 | 2655683.802 | 1244534.3749 | 2655705.4142 | 1244549.5768
18 | 2655633.2842 | 1244586.2361 | 2655683.802 | 1244534.3749
19 | 2655683.802 | 1244534.3749 | 2655687.9907 | 1244530.089 | 2655723.4626 | 1244491.2847
20 | 2655582.7615 | 1244389.5413 | 2655646.8979 | 1244435.9179 | 2655703.0024 | 1244476.4937 | 2655723.4626 | 1244491.2847
21 | 2655633.2842 | 1244586.2361 | 2655600.36 | 1244633.9042 | 2655597.5046 | 1244638.6473 | 2655595.2444 | 1244637.1251 | 2655523.7881 | 1244589.0794
22 | 2655633.2842 | 1244586.2361 | 2655662.3038 | 1244603.1338
23 | 2655863.8047 | 1244568.8562 | 2655870.7965 | 1244571.8351 | 2655883.1986 | 1244576.4327
24 | 2655863.8047 | 1244568.8562 | 2655859.5947 | 1244585.0163 | 2655855.6939 | 1244589.2047 | 2655844.8945 | 1244588.5471 | 2655842.8317 | 1244588.4797
25 | 2655883.1986 | 1244576.4327 | 2655878.8445 | 1244591.046
26 | 2655883.1986 | 1244576.4327 | 2655936.1735 | 1244596.0691
27 | 2655842.8317 | 1244588.4797 | 2655841.6672 | 1244588.4416
28 | 2655523.7881 | 1244589.0794 | 2655544.7445 | 1244533.9383 | 2655546.1521 | 1244530.4825 | 2655562.0854 | 1244509.8622 | 2655581.2508 | 1244489.4723 | 2655590.7873 | 1244480.5889 | 2655601.2309 | 1244470.858 | 2655606.6459 | 1244464.7379 | 2655612.1014 | 1244457.314
29 | 2655662.3038 | 1244603.1338 | 2655669.4404 | 1244607.2893 | 2655676.6594 | 1244606.2007 | 2655688.5404 | 1244595.4914
30 | 2656021.168 | 1244627.1787 | 2656003.4032 | 1244620.8839
31 | 2655963.4693 | 1244606.1869 | 2655996.1194 | 1244618.303 | 2656003.4032 | 1244620.8839
32 | 2656021.168 | 1244627.1787 | 2656016.3134 | 1244644.3444
33 | 2655963.4693 | 1244606.1869 | 2655991.4094 | 1244547.6879
34 | 2655963.4693 | 1244606.1869 | 2655945.0845 | 1244599.3721
35 | 2656000.8906 | 1244689.9964 | 2656010.6123 | 1244659.134 | 2656016.3134 | 1244644.3444
36 | 2656016.3134 | 1244644.3444 | 2655994.9887 | 1244646.8227 | 2655980.5577 | 1244650.4157
37 | 2655945.0845 | 1244599.3721 | 2655936.1735 | 1244596.0691
38 | 2655993.2462 | 1244715.3414 | 2655998.4228 | 1244696.0772 | 2656000.8906 | 1244689.9964
39 | 2656000.8906 | 1244689.9964 | 2656026.6874 | 1244680.5553
40 | 2655980.5577 | 1244650.4157 | 2655952.3767 | 1244657.4321
41 | 2656086.8361 | 1244579.6668 | 2656093.369 | 1244582.4304 | 2656097.6491 | 1244585.2838 | 2656103.1639 | 1244589.4276 | 2656107.7257 | 1244592.862
42 | 2656107.7257 | 1244592.862 | 2656123.2036 | 1244576.6418 | 2656134.8676 | 1244560.5429
43 | 2656086.8361 | 1244579.6668 | 2656077.0929 | 1244591.9719
44 | 2656087.1455 | 1244570.9304 | 2656084.5069 | 1244577.4655 | 2656086.8361 | 1244579.6668
45 | 2656144.9019 | 1244546.6935 | 2656134.8676 | 1244560.5429
46 | 2656057.3267 | 1244613.4219 | 2656060.1535 | 1244614.9496
47 | 2656077.0929 | 1244591.9719 | 2656060.1535 | 1244614.9496
48 | 2656073.143 | 1244589.355 | 2656077.0929 | 1244591.9719
49 | 2655993.2462 | 1244715.3414 | 2656036.7131 | 1244704.5888 | 2656060.281 | 1244697.3954 | 2656066.376 | 1244694.9554
50 | 2656037.8987 | 1244676.4521 | 2656026.6874 | 1244680.5553
51 | 2655920.8534 | 1244665.2807 | 2655952.3767 | 1244657.4321
52 | 2656178.9391 | 1244501.7074 | 2656144.9019 | 1244546.6935
53 | 2656144.9019 | 1244546.6935 | 2656114.466 | 1244523.985
54 | 2655831.8988 | 1244646.5942 | 2655832.0068 | 1244647.0843
55 | 2655829.0111 | 1244633.4835 | 2655831.8988 | 1244646.5942
56 | 2655834.4026 | 1244657.9619 | 2655832.0068 | 1244647.0843
57 | 2655834.4026 | 1244657.9619 | 2655838.2403 | 1244674.1529
58 | 2655841.336 | 1244687.2135 | 2655838.2403 | 1244674.1529
59 | 2655841.336 | 1244687.2135 | 2655858.4499 | 1244681.7042 | 2655861.7363 | 1244680.8392
60 | 2656112.1161 | 1244522.2317 | 2656114.466 | 1244523.985
61 | 2656104.3455 | 1244516.434 | 2656112.1161 | 1244522.2317
62 | 2655919.779 | 1244647.7921 | 2655920.8534 | 1244665.2807
63 | 2655920.8534 | 1244665.2807 | 2655861.7363 | 1244680.8392
64 | 2656066.376 | 1244694.9554 | 2656068.5641 | 1244694.0795
65 | 2656037.8987 | 1244676.4521 | 2656046.0588 | 1244673.4657
66 | 2655784.9171 | 1244568.703 | 2655794.9295 | 1244546.9936 | 2655811.9543 | 1244555.1897
67 | 2655784.9171 | 1244568.703 | 2655800.8369 | 1244575.2491
68 | 2655784.9171 | 1244568.703 | 2655774.969 | 1244564.2774
69 | 2655800.8369 | 1244575.2491 | 2655818.263 | 1244582.4146 | 2655825.8614 | 1244584.941
70 | 2655768.3298 | 1244561.3238 | 2655774.969 | 1244564.2774
71 | 2655825.8614 | 1244584.941 | 2655826.1962 | 1244585.0524
72 | 2655736.7871 | 1244552.0024 | 2655740.2865 | 1244548.8481 | 2655768.3298 | 1244561.3238
73 | 2655841.6672 | 1244588.4416 | 2655835.8145 | 1244588.2503 | 2655826.1962 | 1244585.0524
74 | 2655736.7871 | 1244552.0024 | 2655718.377 | 1244568.5971
75 | 2656060.9516 | 1244668.0152 | 2656046.0588 | 1244673.4657
76 | 2655718.377 | 1244568.5971 | 2655688.5404 | 1244595.4914

## bus_geodata
| x | y | coords
0 | 2655992.9083 | 1244325.3298
1 | 2656089.1956 | 1244418.0466
2 | 2655874.5176 | 1244248.9857
3 | 2656068.3279 | 1244443.533
4 | 2656128.6537 | 1244463.1946
5 | 2655847.1597 | 1244296.5715
6 | 2655723.6353 | 1244155.9492
7 | 2656040.4972 | 1244477.5236
8 | 2656131.7602 | 1244466.0938
9 | 2655816.7759 | 1244278.5571
10 | 2655709.7203 | 1244179.0226
11 | 2656007.6211 | 1244518.8881
12 | 2656147.0865 | 1244480.101
13 | 2655659.5375 | 1244503.3927
14 | 2655671.7745 | 1244516.4055
15 | 2655658.0423 | 1244505.347
16 | 2655683.802 | 1244534.3749
17 | 2655723.4626 | 1244491.2847
18 | 2655582.7615 | 1244389.5413
19 | 2655705.4142 | 1244549.5768
20 | 2655633.2842 | 1244586.2361
21 | 2655863.8047 | 1244568.8562
22 | 2655883.1986 | 1244576.4327
23 | 2655842.8318 | 1244588.4797
24 | 2655523.7881 | 1244589.0794
25 | 2655662.3038 | 1244603.1338
26 | 2656003.4032 | 1244620.8839
27 | 2656021.168 | 1244627.1787
28 | 2655963.4693 | 1244606.1869
29 | 2656016.3134 | 1244644.3444
30 | 2655991.4094 | 1244547.6879
31 | 2655945.0845 | 1244599.3721
32 | 2656000.8906 | 1244689.9964
33 | 2655980.5577 | 1244650.4157
34 | 2656107.7257 | 1244592.862
35 | 2656086.8361 | 1244579.6668
36 | 2656134.8676 | 1244560.5429
37 | 2656060.1535 | 1244614.9496
38 | 2656057.3267 | 1244613.4219
39 | 2656077.0929 | 1244591.9719
40 | 2655936.1735 | 1244596.0691
41 | 2655993.2462 | 1244715.3414
42 | 2656026.6874 | 1244680.5553
43 | 2655952.3767 | 1244657.4321
44 | 2656087.1454 | 1244570.9304
45 | 2656144.9019 | 1244546.6935
46 | 2656073.143 | 1244589.355
47 | 2655831.8988 | 1244646.5942
48 | 2655832.0068 | 1244647.0843
49 | 2655829.0111 | 1244633.4835
50 | 2655834.4026 | 1244657.9619
51 | 2655838.2403 | 1244674.1529
52 | 2655841.336 | 1244687.2135
53 | 2656114.466 | 1244523.985
54 | 2656112.1161 | 1244522.2317
55 | 2656104.3455 | 1244516.434
56 | 2656178.9391 | 1244501.7074
57 | 2655920.8534 | 1244665.2807
58 | 2655919.779 | 1244647.7921
59 | 2655861.7363 | 1244680.8392
60 | 2656066.376 | 1244694.9554
61 | 2656037.8987 | 1244676.4521
62 | 2655811.9543 | 1244555.1897
63 | 2655784.9171 | 1244568.703
64 | 2655800.8368 | 1244575.2491
65 | 2655774.969 | 1244564.2774
66 | 2655825.8614 | 1244584.941
67 | 2655768.3298 | 1244561.3238
68 | 2655826.1962 | 1244585.0524
69 | 2655736.7871 | 1244552.0024
70 | 2656068.5641 | 1244694.0795
71 | 2655841.6672 | 1244588.4416
72 | 2655878.8445 | 1244591.046
73 | 2656046.0588 | 1244673.4657
74 | 2656060.9516 | 1244668.0152
75 | 2655718.377 | 1244568.5971
76 | 2655688.5404 | 1244595.4914
77 | 2655612.1014 | 1244457.314
78 | 2655687.9907 | 1244530.089

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1