## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4205-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4205-1_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4205-1_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_4205-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4205-1_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_4205-1_0_4_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_4205-1_0_4_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_4205-1_0_4_node_50 | 0.4 | n |  | TRUE
8 | bus_LV_4205-1_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4205-1_0_4_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_4205-1_0_4_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_4205-1_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4205-1_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_4205-1_0_4_node_64 | 0.4 | n |  | TRUE
14 | bus_LV_4205-1_0_4_node_89 | 0.4 | n |  | TRUE
15 | bus_LV_4205-1_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4205-1_0_4_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_4205-1_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4205-1_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4205-1_0_4_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_4205-1_0_4_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_4205-1_0_4_node_86 | 0.4 | n |  | TRUE
22 | bus_LV_4205-1_0_4_node_88 | 0.4 | n |  | TRUE
23 | bus_LV_4205-1_0_4_node_63 | 0.4 | n |  | TRUE
24 | bus_LV_4205-1_0_4_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_4205-1_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_4205-1_0_4_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_4205-1_0_4_node_87 | 0.4 | n |  | TRUE
28 | bus_LV_4205-1_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_4205-1_0_4_node_97 | 0.4 | n |  | TRUE
30 | bus_LV_4205-1_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_4205-1_0_4_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_4205-1_0_4_node_90 | 0.4 | n |  | TRUE
33 | bus_LV_4205-1_0_4_node_95 | 0.4 | n |  | TRUE
34 | bus_LV_4205-1_0_4_node_85 | 0.4 | n |  | TRUE
35 | bus_LV_4205-1_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_4205-1_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_4205-1_0_4_node_94 | 0.4 | n |  | TRUE
38 | bus_LV_4205-1_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_4205-1_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_4205-1_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_4205-1_0_4_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_4205-1_0_4_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_4205-1_0_4_node_72 | 0.4 | n |  | TRUE
44 | bus_LV_4205-1_0_4_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_4205-1_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_4205-1_0_4_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_4205-1_0_4_node_71 | 0.4 | n |  | TRUE
48 | bus_LV_4205-1_0_4_node_98 | 0.4 | n |  | TRUE
49 | bus_LV_4205-1_0_4_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_4205-1_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_4205-1_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_4205-1_0_4_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_4205-1_0_4_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_4205-1_0_4_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_4205-1_0_4_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_4205-1_0_4_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_4205-1_0_4_node_68 | 0.4 | n |  | TRUE
58 | bus_LV_4205-1_0_4_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_4205-1_0_4_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_4205-1_0_4_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_4205-1_0_4_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_4205-1_0_4_node_35 | 0.4 | n |  | TRUE
63 | bus_LV_4205-1_0_4_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_4205-1_0_4_node_38 | 0.4 | n |  | TRUE
65 | bus_LV_4205-1_0_4_node_93 | 0.4 | n |  | TRUE
66 | bus_LV_4205-1_0_4_node_81 | 0.4 | n |  | TRUE
67 | bus_LV_4205-1_0_4_node_96 | 0.4 | n |  | TRUE
68 | bus_LV_4205-1_0_4_node_39 | 0.4 | n |  | TRUE
69 | bus_LV_4205-1_0_4_node_40 | 0.4 | n |  | TRUE
70 | bus_LV_4205-1_0_4_node_92 | 0.4 | n |  | TRUE
71 | bus_LV_4205-1_0_4_node_79 | 0.4 | n |  | TRUE
72 | bus_LV_4205-1_0_4_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_4205-1_0_4_node_41 | 0.4 | n |  | TRUE
74 | bus_LV_4205-1_0_4_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_4205-1_0_4_node_46 | 0.4 | n |  | TRUE
76 | bus_LV_4205-1_0_4_node_47 | 0.4 | n |  | TRUE
77 | bus_LV_4205-1_0_4_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_4205-1_0_4_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_4205-1_0_4_node_53 | 0.4 | n |  | TRUE
80 | bus_LV_4205-1_0_4_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_4205-1_0_4_node_54 | 0.4 | n |  | TRUE
82 | bus_LV_4205-1_0_4_node_91 | 0.4 | n |  | TRUE
83 | bus_LV_4205-1_0_4_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_4205-1_0_4_node_57 | 0.4 | n |  | TRUE
85 | bus_LV_4205-1_0_4_node_59 | 0.4 | n |  | TRUE
86 | bus_LV_4205-1_0_4_node_60 | 0.4 | n |  | TRUE
87 | bus_LV_4205-1_0_4_node_62 | 0.4 | n |  | TRUE
88 | bus_LV_4205-1_0_4_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_4205-1_0_4_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_4205-1_0_4_node_67 | 0.4 | n |  | TRUE
91 | bus_LV_4205-1_0_4_node_70 | 0.4 | n |  | TRUE
92 | bus_LV_4205-1_0_4_node_77 | 0.4 | n |  | TRUE
93 | bus_LV_4205-1_0_4_node_78 | 0.4 | n |  | TRUE
94 | bus_LV_4205-1_0_4_node_83 | 0.4 | n |  | TRUE
95 | bus_MV_423_1_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4205-1_0_4_load_0 | 0 | 0.002194 | 0.00054986 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4205-1_0_4_load_32 | 5 | 0.0025314 | 0.00063442 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4205-1_0_4_load_50 | 7 | 0.00144 | 0.0003609 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4205-1_0_4_load_45 | 9 | 0.0055104 | 0.001381 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4205-1_0_4_load_48 | 10 | 0.0049865 | 0.0012497 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4205-1_0_4_load_64 | 13 | 0.0069533 | 0.0017427 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4205-1_0_4_load_89 | 14 | 0.0051033 | 0.001279 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4205-1_0_4_load_33 | 16 | 0.0050957 | 0.0012771 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4205-1_0_4_load_31 | 19 | 0.0039094 | 0.0009798 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4205-1_0_4_load_86 | 21 | 0.014739 | 0.003694 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4205-1_0_4_load_88 | 22 | 0.0065076 | 0.0016309 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4205-1_0_4_load_63 | 23 | 0.005329 | 0.0013356 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4205-1_0_4_load_49 | 24 | 0.0028808 | 0.00072199 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4205-1_0_4_load_56 | 26 | 0.0085516 | 0.0021432 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4205-1_0_4_load_97 | 29 | 0.0026421 | 0.00066216 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4205-1_0_4_load_90 | 32 | 0.028085 | 0.0070387 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4205-1_0_4_load_95 | 33 | 0.016811 | 0.0042133 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4205-1_0_4_load_85 | 34 | 0.0020637 | 0.00051722 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4205-1_0_4_load_94 | 37 | 0.022875 | 0.005733 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4205-1_0_4_load_72 | 43 | 0.0035034 | 0.00087803 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4205-1_0_4_load_55 | 44 | 0.0038734 | 0.00097077 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4205-1_0_4_load_71 | 47 | 0.0019971 | 0.00050053 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4205-1_0_4_load_98 | 48 | 0.0019406 | 0.00048636 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4205-1_0_4_load_42 | 50 | 0.011281 | 0.0028272 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4205-1_0_4_load_43 | 51 | 0.0049971 | 0.0012524 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4205-1_0_4_load_30 | 52 | 0.0026341 | 0.00066016 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4205-1_0_4_load_44 | 53 | 0.003554 | 0.00089073 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4205-1_0_4_load_58 | 54 | 0.026063 | 0.0065321 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4205-1_0_4_load_61 | 55 | 0.0025069 | 0.00062829 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4205-1_0_4_load_84 | 56 | 0.00046685 | 0.000117 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4205-1_0_4_load_68 | 57 | 0.0011876 | 0.00029763 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4205-1_0_4_load_51 | 59 | 0.0068759 | 0.0017233 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4205-1_0_4_load_34 | 61 | 0.0010645 | 0.00026679 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4205-1_0_4_load_37 | 63 | 0.00080429 | 0.00020157 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4205-1_0_4_load_93 | 65 | 0.00068372 | 0.00017136 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4205-1_0_4_load_81 | 66 | 0.0005402 | 0.00013539 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4205-1_0_4_load_39 | 68 | 0.0018248 | 0.00045734 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4205-1_0_4_load_40 | 69 | 0.0012457 | 0.00031219 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4205-1_0_4_load_92 | 70 | 0.00080429 | 0.00020157 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4205-1_0_4_load_79 | 71 | 0.0014474 | 0.00036276 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4205-1_0_4_load_69 | 72 | 0.0021316 | 0.00053424 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4205-1_0_4_load_41 | 73 | 0.001224 | 0.00030677 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4205-1_0_4_load_65 | 74 | 0.0011467 | 0.00028739 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4205-1_0_4_load_46 | 75 | 0.00098507 | 0.00024688 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4205-1_0_4_load_47 | 76 | 0.00094377 | 0.00023653 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4205-1_0_4_load_82 | 77 | 0.001179 | 0.00029549 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4205-1_0_4_load_53 | 79 | 0.0014861 | 0.00037246 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4205-1_0_4_load_91 | 82 | 0.091894 | 0.023031 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4205-1_0_4_load_75 | 83 | 0.068695 | 0.017217 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4205-1_0_4_load_57 | 84 | 0.0036814 | 0.00092264 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4205-1_0_4_load_59 | 85 | 0.0031621 | 0.0007925 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4205-1_0_4_load_60 | 86 | 0.021286 | 0.0053347 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4205-1_0_4_load_62 | 87 | 0.010765 | 0.002698 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4205-1_0_4_load_73 | 88 | 0.050965 | 0.012773 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4205-1_0_4_load_76 | 89 | 0.019749 | 0.0049496 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4205-1_0_4_load_70 | 91 | 0.002103 | 0.00052707 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4205-1_0_4_load_77 | 92 | 0.0017673 | 0.00044292 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4205-1_0_4_load_78 | 93 | 0.00030372 | 7.6119e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4205-1_0_4_load_83 | 94 | 0.00098067 | 0.00024578 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 87 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4205-1_0_4_line_0 |  | 0 | 1 | 0.016028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4205-1_0_4_line_1 |  | 1 | 2 | 0.004528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4205-1_0_4_line_2 |  | 2 | 6 | 0.021121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4205-1_0_4_line_3 |  | 2 | 7 | 0.0070402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4205-1_0_4_line_4 |  | 3 | 4 | 0.035034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4205-1_0_4_line_5 |  | 3 | 5 | 0.01123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4205-1_0_4_line_6 |  | 4 | 14 | 0.031095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4205-1_0_4_line_7 |  | 5 | 19 | 0.037148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4205-1_0_4_line_8 |  | 6 | 34 | 0.03452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4205-1_0_4_line_9 |  | 8 | 9 | 0.015879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4205-1_0_4_line_10 |  | 8 | 10 | 0.017169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4205-1_0_4_line_11 |  | 9 | 53 | 0.01419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4205-1_0_4_line_12 |  | 10 | 24 | 0.03284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4205-1_0_4_line_13 |  | 11 | 12 | 0.019217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4205-1_0_4_line_14 |  | 11 | 13 | 0.014547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4205-1_0_4_line_15 |  | 12 | 25 | 0.0098886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4205-1_0_4_line_16 |  | 12 | 26 | 0.016637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4205-1_0_4_line_17 |  | 13 | 54 | 0.014421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4205-1_0_4_line_18 |  | 14 | 30 | 0.026433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4205-1_0_4_line_19 |  | 15 | 16 | 0.043359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4205-1_0_4_line_20 |  | 15 | 17 | 0.015945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4205-1_0_4_line_21 |  | 15 | 18 | 0.026066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_4205-1_0_4_line_22 |  | 15 | 19 | 0.024186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4205-1_0_4_line_23 |  | 16 | 52 | 0.0097821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4205-1_0_4_line_24 |  | 17 | 22 | 0.017961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4205-1_0_4_line_25 |  | 17 | 20 | 0.018485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4205-1_0_4_line_26 |  | 18 | 23 | 0.027327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_4205-1_0_4_line_27 |  | 18 | 24 | 0.020851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4205-1_0_4_line_28 |  | 20 | 21 | 0.0012351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4205-1_0_4_line_29 |  | 21 | 25 | 0.018465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4205-1_0_4_line_30 |  | 23 | 55 | 0.0066695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_4205-1_0_4_line_31 |  | 25 | 27 | 0.003545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4205-1_0_4_line_32 |  | 27 | 37 | 0.026595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4205-1_0_4_line_33 |  | 28 | 29 | 0.015358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4205-1_0_4_line_34 |  | 28 | 30 | 0.073606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4205-1_0_4_line_35 |  | 30 | 33 | 0.056339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4205-1_0_4_line_36 |  | 30 | 31 | 0.06717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4205-1_0_4_line_37 |  | 31 | 32 | 0.045665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4205-1_0_4_line_38 |  | 34 | 56 | 0.0054806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4205-1_0_4_line_39 |  | 35 | 36 | 0.012563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4205-1_0_4_line_40 |  | 35 | 37 | 0.021166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4205-1_0_4_line_41 |  | 36 | 41 | 0.029312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4205-1_0_4_line_42 |  | 38 | 39 | 0.025743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4205-1_0_4_line_43 |  | 38 | 40 | 0.038629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4205-1_0_4_line_44 |  | 39 | 45 | 0.035323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4205-1_0_4_line_45 |  | 40 | 49 | 0.012484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4205-1_0_4_line_46 |  | 40 | 50 | 0.035623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4205-1_0_4_line_47 |  | 41 | 42 | 0.021057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4205-1_0_4_line_48 |  | 41 | 43 | 0.0089973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4205-1_0_4_line_49 |  | 42 | 44 | 0.01511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4205-1_0_4_line_50 |  | 43 | 46 | 0.019779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4205-1_0_4_line_51 |  | 45 | 48 | 0.012574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4205-1_0_4_line_52 |  | 45 | 46 | 0.055002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4205-1_0_4_line_53 |  | 46 | 47 | 0.010113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4205-1_0_4_line_54 |  | 49 | 51 | 0.0032709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4205-1_0_4_line_55 |  | 53 | 75 | 0.001155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4205-1_0_4_line_56 |  | 54 | 84 | 0.0050184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4205-1_0_4_line_57 |  | 55 | 85 | 0.0076982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_4205-1_0_4_line_58 |  | 56 | 94 | 0.02418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4205-1_0_4_line_59 |  | 57 | 58 | 0.018311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4205-1_0_4_line_60 |  | 58 | 74 | 0.020185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4205-1_0_4_line_61 |  | 58 | 73 | 0.0034303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4205-1_0_4_line_62 |  | 59 | 60 | 0.065809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4205-1_0_4_line_63 |  | 60 | 79 | 0.045434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4205-1_0_4_line_64 |  | 61 | 62 | 0.0097175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4205-1_0_4_line_65 |  | 62 | 63 | 0.014243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4205-1_0_4_line_66 |  | 62 | 64 | 0.009252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4205-1_0_4_line_67 |  | 63 | 65 | 0.016261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4205-1_0_4_line_68 |  | 64 | 66 | 0.0041467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4205-1_0_4_line_69 |  | 64 | 67 | 0.029014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4205-1_0_4_line_70 |  | 65 | 70 | 0.0046416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4205-1_0_4_line_71 |  | 66 | 71 | 0.015057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4205-1_0_4_line_72 |  | 67 | 72 | 0.012199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4205-1_0_4_line_73 |  | 68 | 69 | 0.018494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4205-1_0_4_line_74 |  | 69 | 73 | 0.00011926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4205-1_0_4_line_75 |  | 71 | 92 | 0.010052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4205-1_0_4_line_76 |  | 72 | 90 | 0.021871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4205-1_0_4_line_77 |  | 74 | 90 | 0.019082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4205-1_0_4_line_78 |  | 75 | 76 | 0.013174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4205-1_0_4_line_79 |  | 76 | 77 | 0.013824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4205-1_0_4_line_80 |  | 77 | 78 | 0.0069026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4205-1_0_4_line_81 |  | 78 | 94 | 0.01174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4205-1_0_4_line_82 |  | 78 | 93 | 0.0031375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4205-1_0_4_line_83 |  | 79 | 80 | 0.083412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4205-1_0_4_line_84 |  | 80 | 83 | 0.089826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4205-1_0_4_line_85 |  | 80 | 81 | 0.071739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4205-1_0_4_line_86 |  | 81 | 82 | 0.045686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4205-1_0_4_line_87 |  | 83 | 89 | 0.013208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_4205-1_0_4_line_88 |  | 85 | 86 | 0.011785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
89 | LV_4205-1_0_4_line_89 |  | 86 | 87 | 0.00036956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
90 | LV_4205-1_0_4_line_90 |  | 87 | 88 | 0.017315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
91 | LV_4205-1_0_4_line_91 |  | 88 | 89 | 0.028655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
92 | LV_4205-1_0_4_line_92 |  | 90 | 91 | 0.0026242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4205-1_0_4_line_93 |  | 92 | 93 | 0.017282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4205-1_0_4_trafo_62 | 0.63 MVA 20/0.4 kV | 95 | 87 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2658412.7209 | 1250171.3288 | 2658417.0698 | 1250164.389 | 2658423.7545 | 1250160.2956
1 | 2658409.0259 | 1250173.9609 | 2658412.7209 | 1250171.3288
2 | 2658409.0259 | 1250173.9609 | 2658395.9101 | 1250157.3757
3 | 2658409.0259 | 1250173.9609 | 2658405.6427 | 1250176.3737 | 2658407.45 | 1250178.622
4 | 2658499.1543 | 1250166.6331 | 2658503.6671 | 1250147.6979 | 2658508.5002 | 1250149.0687 | 2658506.6907 | 1250155.711 | 2658510.1984 | 1250156.7575
5 | 2658499.1543 | 1250166.6331 | 2658498.2364 | 1250177.8254
6 | 2658510.1984 | 1250156.7575 | 2658540.0053 | 1250165.6161
7 | 2658494.2913 | 1250214.65 | 2658496.0783 | 1250208.2762 | 2658497.0431 | 1250192.3746 | 2658498.2364 | 1250177.8254
8 | 2658395.9101 | 1250157.3757 | 2658390.0456 | 1250165.6682 | 2658382.5749 | 1250185.2638 | 2658381.9877 | 1250188.6044
9 | 2658433.1282 | 1250210.2235 | 2658419.1058 | 1250217.6753
10 | 2658433.1282 | 1250210.2235 | 2658444.1258 | 1250223.4077 | 2658444.1258 | 1250223.4077
11 | 2658405.7539 | 1250222.1051 | 2658414.3529 | 1250220.201 | 2658419.1058 | 1250217.6753
12 | 2658468.7648 | 1250245.1023 | 2658464.7934 | 1250242.0133 | 2658444.1258 | 1250223.4077
13 | 2658535.5634 | 1250291.3457 | 2658519.4059 | 1250280.8679
14 | 2658535.5634 | 1250291.3457 | 2658528.1724 | 1250303.8747
15 | 2658519.4059 | 1250280.8679 | 2658521.7509 | 1250275.8097 | 2658523.5786 | 1250271.9028
16 | 2658519.4059 | 1250280.8679 | 2658512.1898 | 1250295.8587
17 | 2658520.8452 | 1250316.2956 | 2658520.8452 | 1250316.2956 | 2658528.1724 | 1250303.8747
18 | 2658565.3431 | 1250173.1466 | 2658540.0053 | 1250165.6161
19 | 2658484.4677 | 1250236.5591 | 2658477.1523 | 1250238.1102 | 2658465.6498 | 1250231.7257 | 2658451.0906 | 1250218.3729 | 2658449.1332 | 1250216.1386
20 | 2658484.4677 | 1250236.5591 | 2658490.8306 | 1250241.2584 | 2658497.5513 | 1250245.6611
21 | 2658484.4677 | 1250236.5591 | 2658490.8306 | 1250241.2584 | 2658485.0989 | 1250251.3867 | 2658485.2233 | 1250257.9036
22 | 2658484.4677 | 1250236.5591 | 2658491.6886 | 1250223.9326 | 2658494.2913 | 1250214.65
23 | 2658449.1332 | 1250216.1386 | 2658442.6873 | 1250208.7807
24 | 2658497.5513 | 1250245.6611 | 2658498.1097 | 1250240.3296 | 2658500.7671 | 1250228.0917 | 2658500.7811 | 1250228.0155
25 | 2658497.5513 | 1250245.6611 | 2658498.1165 | 1250249.5805 | 2658500.8017 | 1250254.4104 | 2658507.9264 | 1250259.9401
26 | 2658485.2233 | 1250257.9036 | 2658480.8378 | 1250267.0222 | 2658471.6353 | 1250281.5638
27 | 2658485.2233 | 1250257.9036 | 2658468.7648 | 1250245.1023
28 | 2658507.9264 | 1250259.9401 | 2658508.9077 | 1250260.6901
29 | 2658523.5786 | 1250271.9028 | 2658508.9077 | 1250260.6901
30 | 2658474.1617 | 1250287.7363 | 2658471.6353 | 1250281.5638 | 2658471.6353 | 1250281.5638
31 | 2658523.5786 | 1250271.9028 | 2658525.0373 | 1250268.6705
32 | 2658525.0373 | 1250268.6705 | 2658549.5135 | 1250279.0725
33 | 2658590.1314 | 1250221.6251 | 2658593.0284 | 1250206.5433
34 | 2658565.3431 | 1250173.1466 | 2658578.6663 | 1250177.1031 | 2658569.6961 | 1250210.1041 | 2658571.8631 | 1250216.1742 | 2658590.1314 | 1250221.6251
35 | 2658565.3431 | 1250173.1466 | 2658558.8898 | 1250193.6304 | 2658552.3695 | 1250197.2129 | 2658541.5813 | 1250222.4573
36 | 2658565.3431 | 1250173.1466 | 2658578.6663 | 1250177.1031 | 2658584.2963 | 1250177.2811 | 2658629.4108 | 1250192.5821
37 | 2658629.4108 | 1250192.5821 | 2658623.8555 | 1250216.1324 | 2658618.9256 | 1250237.0266
38 | 2658381.0387 | 1250194.0022 | 2658381.9877 | 1250188.6044
39 | 2658568.993 | 1250287.3509 | 2658566.1914 | 1250295.073 | 2658568.8314 | 1250296.0553 | 2658569.3816 | 1250294.6264
40 | 2658568.993 | 1250287.3509 | 2658549.5135 | 1250279.0725
41 | 2658569.3816 | 1250294.6264 | 2658568.8314 | 1250296.0553 | 2658587.169 | 1250302.8634 | 2658590.909 | 1250310.1832
42 | 2658596.8471 | 1250418.8953 | 2658601.2995 | 1250419.0505 | 2658601.3062 | 1250416.0818 | 2658603.7082 | 1250405.2536 | 2658605.4234 | 1250398.2323
43 | 2658596.8471 | 1250418.8953 | 2658601.2995 | 1250419.0505 | 2658601.199 | 1250426.9216 | 2658602.16 | 1250445.7776 | 2658603.197 | 1250453.1263
44 | 2658605.4234 | 1250398.2323 | 2658608.2288 | 1250389.3539 | 2658613.7725 | 1250371.5296 | 2658616.4371 | 1250364.6845
45 | 2658599.2797 | 1250461.46 | 2658604.3641 | 1250460.2983 | 2658603.768 | 1250457.2125 | 2658603.197 | 1250453.1263
46 | 2658603.197 | 1250453.1263 | 2658610.0107 | 1250452.6711 | 2658618.6578 | 1250453.0791 | 2658620.5888 | 1250453.2316 | 2658625.4043 | 1250443.3946 | 2658628.5615 | 1250436.8708
47 | 2658590.909 | 1250310.1832 | 2658592.9567 | 1250316.0965 | 2658602.9496 | 1250318.6081 | 2658601.8045 | 1250322.9553
48 | 2658590.909 | 1250310.1832 | 2658599.5172 | 1250312.8005
49 | 2658601.8045 | 1250322.9553 | 2658587.1518 | 1250319.2678
50 | 2658618.5036 | 1250318.3394 | 2658607.9566 | 1250315.3664 | 2658599.5172 | 1250312.8005
51 | 2658623.086 | 1250374.7906 | 2658622.3152 | 1250372.5815 | 2658619.5361 | 1250366.5832 | 2658616.4371 | 1250364.6845
52 | 2658618.5036 | 1250318.3394 | 2658617.2095 | 1250322.4739 | 2658616.0478 | 1250326.9656 | 2658618.3355 | 1250328.4559 | 2658619.5945 | 1250330.9256 | 2658620.2381 | 1250333.7784 | 2658624.1631 | 1250335.3628 | 2658622.0856 | 1250340.8571 | 2658616.2941 | 1250354.7206 | 2658613.2373 | 1250363.0629 | 2658616.4371 | 1250364.6845
53 | 2658618.5036 | 1250318.3394 | 2658622.6185 | 1250319.0361 | 2658627.0169 | 1250319.3131 | 2658628.5488 | 1250319.2871
54 | 2658599.2797 | 1250461.46 | 2658598.8802 | 1250458.2136
55 | 2658404.6262 | 1250222.3548 | 2658405.7539 | 1250222.1051
56 | 2658520.8452 | 1250316.2956 | 2658516.4671 | 1250313.8426
57 | 2658471.3147 | 1250294.8338 | 2658471.8679 | 1250293.9413 | 2658474.2079 | 1250287.8491 | 2658474.1617 | 1250287.7363
58 | 2658376.205 | 1250217.6845 | 2658378.9201 | 1250206.0534 | 2658381.0387 | 1250194.0022
59 | 2658282.4775 | 1250173.849 | 2658281.5531 | 1250155.5616
60 | 2658282.4775 | 1250173.849 | 2658302.6263 | 1250172.6469
61 | 2658282.4775 | 1250173.849 | 2658282.6502 | 1250177.2749
62 | 2658497.8705 | 1250500.0744 | 2658544.5258 | 1250453.6627
63 | 2658497.8705 | 1250500.0744 | 2658469.1192 | 1250469.981 | 2658465.9296 | 1250467.8898
64 | 2658312.7771 | 1250235.5675 | 2658303.1074 | 1250236.5295
65 | 2658312.7771 | 1250235.5675 | 2658312.6538 | 1250249.8098
66 | 2658322.0044 | 1250234.5909 | 2658312.7771 | 1250235.5675
67 | 2658312.6538 | 1250249.8098 | 2658312.5131 | 1250266.0703
68 | 2658322.0044 | 1250234.5909 | 2658326.1166 | 1250234.0568
69 | 2658321.8521 | 1250205.5803 | 2658322.0044 | 1250234.5909
70 | 2658312.4729 | 1250270.7117 | 2658312.5131 | 1250266.0703
71 | 2658341.0481 | 1250232.1177 | 2658326.1166 | 1250234.0568
72 | 2658321.8521 | 1250205.5803 | 2658321.7883 | 1250193.3811
73 | 2658283.5873 | 1250195.865 | 2658282.6562 | 1250177.394
74 | 2658282.6562 | 1250177.394 | 2658282.6502 | 1250177.2749
75 | 2658351.0166 | 1250230.8231 | 2658341.0481 | 1250232.1177
76 | 2658321.674 | 1250171.5105 | 2658321.7883 | 1250193.3811
77 | 2658321.674 | 1250171.5105 | 2658302.6263 | 1250172.6469
78 | 2658391.7634 | 1250225.203 | 2658404.6262 | 1250222.3548
79 | 2658378.1112 | 1250227.3053 | 2658388.1526 | 1250226.0026 | 2658391.7634 | 1250225.203
80 | 2658371.2659 | 1250228.1934 | 2658378.1112 | 1250227.3053
81 | 2658371.2659 | 1250228.1934 | 2658375.318 | 1250221.4842 | 2658376.205 | 1250217.6845
82 | 2658371.2659 | 1250228.1934 | 2658368.1546 | 1250228.5974
83 | 2658390.4115 | 1250434.2028 | 2658437.9023 | 1250449.5146 | 2658465.9296 | 1250467.8898
84 | 2658390.4115 | 1250434.2028 | 2658435.202 | 1250356.3411
85 | 2658390.4115 | 1250434.2028 | 2658363.6348 | 1250427.3455 | 2658321.4557 | 1250413.8211
86 | 2658321.4557 | 1250413.8211 | 2658326.0767 | 1250388.4156 | 2658329.0219 | 1250372.1999 | 2658328.8804 | 1250368.8197
87 | 2658441.7881 | 1250344.8921 | 2658435.202 | 1250356.3411
88 | 2658471.3147 | 1250294.8338 | 2658465.1056 | 1250304.8502
89 | 2658464.9109 | 1250305.1643 | 2658465.1056 | 1250304.8502
90 | 2658456.0766 | 1250320.0536 | 2658461.1742 | 1250311.1923 | 2658464.9109 | 1250305.1643
91 | 2658441.7881 | 1250344.8921 | 2658456.0766 | 1250320.0536
92 | 2658321.674 | 1250171.5105 | 2658321.6617 | 1250168.8863
93 | 2658351.0166 | 1250230.8231 | 2658368.1546 | 1250228.5974

## bus_geodata
| x | y | coords
0 | 2658423.7545 | 1250160.2956
1 | 2658412.7209 | 1250171.3288
2 | 2658409.0259 | 1250173.9609
3 | 2658499.1543 | 1250166.6331
4 | 2658510.1984 | 1250156.7575
5 | 2658498.2364 | 1250177.8254
6 | 2658395.9101 | 1250157.3757
7 | 2658407.45 | 1250178.622
8 | 2658433.1282 | 1250210.2235
9 | 2658419.1058 | 1250217.6753
10 | 2658444.1258 | 1250223.4077
11 | 2658535.5634 | 1250291.3457
12 | 2658519.4059 | 1250280.8679
13 | 2658528.1724 | 1250303.8747
14 | 2658540.0053 | 1250165.6161
15 | 2658484.4677 | 1250236.5591
16 | 2658449.1332 | 1250216.1386
17 | 2658497.5513 | 1250245.6611
18 | 2658485.2233 | 1250257.9036
19 | 2658494.2913 | 1250214.65
20 | 2658507.9264 | 1250259.9401
21 | 2658508.9077 | 1250260.6901
22 | 2658500.7811 | 1250228.0155
23 | 2658471.6353 | 1250281.5638
24 | 2658468.7648 | 1250245.1023
25 | 2658523.5786 | 1250271.9028
26 | 2658512.1898 | 1250295.8587
27 | 2658525.0373 | 1250268.6705
28 | 2658590.1314 | 1250221.6251
29 | 2658593.0284 | 1250206.5433
30 | 2658565.3431 | 1250173.1466
31 | 2658629.4108 | 1250192.5821
32 | 2658618.9256 | 1250237.0266
33 | 2658541.5813 | 1250222.4573
34 | 2658381.9877 | 1250188.6044
35 | 2658568.993 | 1250287.3509
36 | 2658569.3816 | 1250294.6264
37 | 2658549.5135 | 1250279.0725
38 | 2658596.8471 | 1250418.8953
39 | 2658605.4234 | 1250398.2323
40 | 2658603.197 | 1250453.1263
41 | 2658590.909 | 1250310.1832
42 | 2658601.8045 | 1250322.9553
43 | 2658599.5172 | 1250312.8005
44 | 2658587.1518 | 1250319.2678
45 | 2658616.4371 | 1250364.6845
46 | 2658618.5036 | 1250318.3394
47 | 2658628.5488 | 1250319.2871
48 | 2658623.086 | 1250374.7906
49 | 2658599.2797 | 1250461.46
50 | 2658628.5615 | 1250436.8708
51 | 2658598.8802 | 1250458.2136
52 | 2658442.6873 | 1250208.7807
53 | 2658405.7539 | 1250222.1051
54 | 2658520.8452 | 1250316.2956
55 | 2658474.1617 | 1250287.7363
56 | 2658381.0387 | 1250194.0022
57 | 2658281.5531 | 1250155.5616
58 | 2658282.4775 | 1250173.849
59 | 2658544.5258 | 1250453.6627
60 | 2658497.8705 | 1250500.0744
61 | 2658303.1074 | 1250236.5295
62 | 2658312.7771 | 1250235.5675
63 | 2658312.6538 | 1250249.8098
64 | 2658322.0044 | 1250234.5909
65 | 2658312.5131 | 1250266.0703
66 | 2658326.1166 | 1250234.0568
67 | 2658321.8521 | 1250205.5803
68 | 2658283.5873 | 1250195.865
69 | 2658282.6562 | 1250177.394
70 | 2658312.4729 | 1250270.7117
71 | 2658341.0481 | 1250232.1177
72 | 2658321.7883 | 1250193.3811
73 | 2658282.6502 | 1250177.2749
74 | 2658302.6263 | 1250172.6469
75 | 2658404.6262 | 1250222.3548
76 | 2658391.7634 | 1250225.203
77 | 2658378.1112 | 1250227.3053
78 | 2658371.2659 | 1250228.1934
79 | 2658465.9296 | 1250467.8898
80 | 2658390.4116 | 1250434.2028
81 | 2658321.4557 | 1250413.8211
82 | 2658328.8804 | 1250368.8197
83 | 2658435.202 | 1250356.3411
84 | 2658516.4671 | 1250313.8426
85 | 2658471.3147 | 1250294.8338
86 | 2658465.1056 | 1250304.8502
87 | 2658464.9109 | 1250305.1643
88 | 2658456.0766 | 1250320.0536
89 | 2658441.7881 | 1250344.8921
90 | 2658321.674 | 1250171.5105
91 | 2658321.6617 | 1250168.8863
92 | 2658351.0166 | 1250230.8231
93 | 2658368.1546 | 1250228.5974
94 | 2658376.205 | 1250217.6845
95 | 2658485.2233 | 1250257.9036

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1