## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4207-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4207-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4207-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4207-1_0_3_node_40 | 0.4 | n |  | TRUE
4 | bus_LV_4207-1_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_4207-1_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_4207-1_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4207-1_0_3_node_175 | 0.4 | n |  | TRUE
8 | bus_LV_4207-1_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_4207-1_0_3_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_4207-1_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_4207-1_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_4207-1_0_3_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_4207-1_0_3_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_4207-1_0_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_4207-1_0_3_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_4207-1_0_3_node_48 | 0.4 | n |  | TRUE
17 | bus_LV_4207-1_0_3_node_112 | 0.4 | n |  | TRUE
18 | bus_LV_4207-1_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_4207-1_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_4207-1_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_4207-1_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_4207-1_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_4207-1_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_4207-1_0_3_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_4207-1_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_4207-1_0_3_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_4207-1_0_3_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_4207-1_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_4207-1_0_3_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_4207-1_0_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_4207-1_0_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_4207-1_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_4207-1_0_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_4207-1_0_3_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_4207-1_0_3_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_4207-1_0_3_node_181 | 0.4 | n |  | TRUE
37 | bus_LV_4207-1_0_3_node_177 | 0.4 | n |  | TRUE
38 | bus_LV_4207-1_0_3_node_196 | 0.4 | n |  | TRUE
39 | bus_LV_4207-1_0_3_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_4207-1_0_3_node_180 | 0.4 | n |  | TRUE
41 | bus_LV_4207-1_0_3_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_4207-1_0_3_node_140 | 0.4 | n |  | TRUE
43 | bus_LV_4207-1_0_3_node_139 | 0.4 | n |  | TRUE
44 | bus_LV_4207-1_0_3_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_4207-1_0_3_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_4207-1_0_3_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_4207-1_0_3_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_4207-1_0_3_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_4207-1_0_3_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_4207-1_0_3_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_4207-1_0_3_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_4207-1_0_3_node_176 | 0.4 | n |  | TRUE
53 | bus_LV_4207-1_0_3_node_83 | 0.4 | n |  | TRUE
54 | bus_LV_4207-1_0_3_node_84 | 0.4 | n |  | TRUE
55 | bus_LV_4207-1_0_3_node_100 | 0.4 | n |  | TRUE
56 | bus_LV_4207-1_0_3_node_123 | 0.4 | n |  | TRUE
57 | bus_LV_4207-1_0_3_node_189 | 0.4 | n |  | TRUE
58 | bus_LV_4207-1_0_3_node_97 | 0.4 | n |  | TRUE
59 | bus_LV_4207-1_0_3_node_109 | 0.4 | n |  | TRUE
60 | bus_LV_4207-1_0_3_node_99 | 0.4 | n |  | TRUE
61 | bus_LV_4207-1_0_3_node_105 | 0.4 | n |  | TRUE
62 | bus_LV_4207-1_0_3_node_106 | 0.4 | n |  | TRUE
63 | bus_LV_4207-1_0_3_node_107 | 0.4 | n |  | TRUE
64 | bus_LV_4207-1_0_3_node_108 | 0.4 | n |  | TRUE
65 | bus_LV_4207-1_0_3_node_110 | 0.4 | n |  | TRUE
66 | bus_LV_4207-1_0_3_node_124 | 0.4 | n |  | TRUE
67 | bus_LV_4207-1_0_3_node_122 | 0.4 | n |  | TRUE
68 | bus_LV_4207-1_0_3_node_188 | 0.4 | n |  | TRUE
69 | bus_LV_4207-1_0_3_node_111 | 0.4 | n |  | TRUE
70 | bus_LV_4207-1_0_3_node_113 | 0.4 | n |  | TRUE
71 | bus_LV_4207-1_0_3_node_114 | 0.4 | n |  | TRUE
72 | bus_LV_4207-1_0_3_node_115 | 0.4 | n |  | TRUE
73 | bus_LV_4207-1_0_3_node_130 | 0.4 | n |  | TRUE
74 | bus_LV_4207-1_0_3_node_121 | 0.4 | n |  | TRUE
75 | bus_LV_4207-1_0_3_node_128 | 0.4 | n |  | TRUE
76 | bus_LV_4207-1_0_3_node_129 | 0.4 | n |  | TRUE
77 | bus_LV_4207-1_0_3_node_131 | 0.4 | n |  | TRUE
78 | bus_LV_4207-1_0_3_node_134 | 0.4 | n |  | TRUE
79 | bus_LV_4207-1_0_3_node_136 | 0.4 | n |  | TRUE
80 | bus_LV_4207-1_0_3_node_141 | 0.4 | n |  | TRUE
81 | bus_LV_4207-1_0_3_node_142 | 0.4 | n |  | TRUE
82 | bus_LV_4207-1_0_3_node_166 | 0.4 | n |  | TRUE
83 | bus_LV_4207-1_0_3_node_178 | 0.4 | n |  | TRUE
84 | bus_LV_4207-1_0_3_node_183 | 0.4 | n |  | TRUE
85 | bus_LV_4207-1_0_3_node_179 | 0.4 | n |  | TRUE
86 | bus_LV_4207-1_0_3_node_182 | 0.4 | n |  | TRUE
87 | bus_LV_4207-1_0_3_node_194 | 0.4 | n |  | TRUE
88 | bus_LV_4207-1_0_3_node_184 | 0.4 | n |  | TRUE
89 | bus_LV_4207-1_0_3_node_192 | 0.4 | n |  | TRUE
90 | bus_LV_4207-1_0_3_node_193 | 0.4 | n |  | TRUE
91 | bus_LV_4207-1_0_3_node_195 | 0.4 | n |  | TRUE
92 | bus_MV_434_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4207-1_0_3_load_0 | 0 | 0.019821 | 0.0049675 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4207-1_0_3_load_40 | 3 | 0.0076962 | 0.0019289 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4207-1_0_3_load_3 | 4 | 0.0016086 | 0.00040316 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4207-1_0_3_load_6 | 6 | 0.0038525 | 0.00096552 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4207-1_0_3_load_175 | 7 | 0.0026053 | 0.00065296 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4207-1_0_3_load_8 | 8 | 0.0017135 | 0.00042945 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4207-1_0_3_load_10 | 10 | 0.002726 | 0.0006832 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4207-1_0_3_load_11 | 11 | 0.0016206 | 0.00040616 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4207-1_0_3_load_13 | 13 | 0.0012447 | 0.00031195 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4207-1_0_3_load_14 | 14 | 0.0016056 | 0.00040241 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4207-1_0_3_load_15 | 15 | 0.0019988 | 0.00050095 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4207-1_0_3_load_48 | 16 | 0.0020274 | 0.00050812 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4207-1_0_3_load_112 | 17 | 0.005499 | 0.0013782 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4207-1_0_3_load_16 | 18 | 0.0067902 | 0.0017018 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4207-1_0_3_load_17 | 19 | 0.0010006 | 0.00025076 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4207-1_0_3_load_18 | 20 | 0.026523 | 0.0066472 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4207-1_0_3_load_19 | 21 | 0.0019889 | 0.00049846 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4207-1_0_3_load_20 | 22 | 0.032532 | 0.0081534 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4207-1_0_3_load_21 | 23 | 0.0020285 | 0.00050839 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4207-1_0_3_load_42 | 26 | 0.0030184 | 0.00075648 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4207-1_0_3_load_58 | 29 | 0.019765 | 0.0049536 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4207-1_0_3_load_29 | 30 | 0.0023816 | 0.00059689 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4207-1_0_3_load_30 | 31 | 0.0023617 | 0.00059189 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4207-1_0_3_load_32 | 33 | 0.0020037 | 0.00050218 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4207-1_0_3_load_33 | 34 | 0.0024392 | 0.00061132 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4207-1_0_3_load_34 | 35 | 0.0015406 | 0.00038611 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4207-1_0_3_load_177 | 37 | 0.0039693 | 0.0009948 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4207-1_0_3_load_41 | 39 | 0.0026381 | 0.00066118 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4207-1_0_3_load_50 | 41 | 0.0010921 | 0.0002737 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4207-1_0_3_load_140 | 42 | 0.001321 | 0.00033107 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4207-1_0_3_load_139 | 43 | 0.0024171 | 0.00060579 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4207-1_0_3_load_49 | 44 | 0.0015272 | 0.00038276 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4207-1_0_3_load_51 | 45 | 0.0045288 | 0.001135 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4207-1_0_3_load_52 | 46 | 0.0012205 | 0.00030589 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4207-1_0_3_load_53 | 47 | 0.0065614 | 0.0016444 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4207-1_0_3_load_54 | 48 | 0.001144 | 0.0002867 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4207-1_0_3_load_56 | 50 | 0.0014077 | 0.00035281 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4207-1_0_3_load_176 | 52 | 0.0024392 | 0.00061132 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4207-1_0_3_load_100 | 55 | 0.00088609 | 0.00022208 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4207-1_0_3_load_123 | 56 | 0.001207 | 0.0003025 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4207-1_0_3_load_189 | 57 | 0.0042251 | 0.0010589 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4207-1_0_3_load_97 | 58 | 0.0024106 | 0.00060415 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4207-1_0_3_load_109 | 59 | 0.0015032 | 0.00037674 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4207-1_0_3_load_99 | 60 | 0.0025585 | 0.00064123 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4207-1_0_3_load_105 | 61 | 0.0020249 | 0.00050749 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4207-1_0_3_load_106 | 62 | 0.0015379 | 0.00038544 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4207-1_0_3_load_110 | 65 | 0.0013684 | 0.00034294 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4207-1_0_3_load_124 | 66 | 0.0016004 | 0.00040109 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4207-1_0_3_load_122 | 67 | 0.0018696 | 0.00046856 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4207-1_0_3_load_188 | 68 | 0.0012155 | 0.00030463 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4207-1_0_3_load_111 | 69 | 0.001847 | 0.00046291 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4207-1_0_3_load_114 | 71 | 0.0026621 | 0.00066718 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4207-1_0_3_load_115 | 72 | 0.0024875 | 0.00062343 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4207-1_0_3_load_130 | 73 | 0.002132 | 0.00053432 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4207-1_0_3_load_121 | 74 | 0.0027073 | 0.0006785 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4207-1_0_3_load_128 | 75 | 0.0014318 | 0.00035883 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4207-1_0_3_load_129 | 76 | 0.0011874 | 0.0002976 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4207-1_0_3_load_131 | 77 | 0.0014817 | 0.00037135 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4207-1_0_3_load_134 | 78 | 0.0018788 | 0.00047086 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4207-1_0_3_load_136 | 79 | 0.0013595 | 0.00034072 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4207-1_0_3_load_141 | 80 | 0.0017288 | 0.00043329 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4207-1_0_3_load_142 | 81 | 0.0016003 | 0.00040108 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4207-1_0_3_load_166 | 82 | 0.0014083 | 0.00035296 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4207-1_0_3_load_183 | 84 | 0.0028877 | 0.00072373 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4207-1_0_3_load_179 | 85 | 0.0020778 | 0.00052074 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4207-1_0_3_load_182 | 86 | 0.001147 | 0.00028746 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4207-1_0_3_load_194 | 87 | 0.0020778 | 0.00052074 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4207-1_0_3_load_184 | 88 | 0.0037356 | 0.00093624 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4207-1_0_3_load_192 | 89 | 0.0020078 | 0.00050321 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4207-1_0_3_load_193 | 90 | 0.0023576 | 0.00059086 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4207-1_0_3_load_195 | 91 | 0.0023857 | 0.00059792 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4207-1_0_3_line_0 |  | 0 | 1 | 0.14104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4207-1_0_3_line_1 |  | 1 | 2 | 0.066927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4207-1_0_3_line_2 |  | 2 | 3 | 0.077134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4207-1_0_3_line_3 |  | 3 | 24 | 0.019603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4207-1_0_3_line_4 |  | 4 | 5 | 0.016698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4207-1_0_3_line_5 |  | 5 | 6 | 0.01717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4207-1_0_3_line_6 |  | 6 | 7 | 0.02661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4207-1_0_3_line_7 |  | 7 | 51 | 0.019292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4207-1_0_3_line_8 |  | 8 | 9 | 0.042533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4207-1_0_3_line_9 |  | 9 | 28 | 0.020249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4207-1_0_3_line_10 |  | 10 | 11 | 0.02474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4207-1_0_3_line_11 |  | 10 | 12 | 0.084807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4207-1_0_3_line_12 |  | 11 | 13 | 0.0067055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4207-1_0_3_line_13 |  | 12 | 14 | 0.022015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4207-1_0_3_line_14 |  | 12 | 15 | 0.030029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4207-1_0_3_line_15 |  | 14 | 16 | 0.0029144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4207-1_0_3_line_16 |  | 15 | 17 | 0.020713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4207-1_0_3_line_17 |  | 16 | 44 | 0.024573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4207-1_0_3_line_18 |  | 17 | 69 | 0.0057492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4207-1_0_3_line_19 |  | 18 | 19 | 0.032634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4207-1_0_3_line_20 |  | 18 | 20 | 0.021808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_4207-1_0_3_line_21 |  | 19 | 21 | 0.011726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4207-1_0_3_line_22 |  | 20 | 22 | 0.031702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4207-1_0_3_line_23 |  | 21 | 23 | 0.023372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4207-1_0_3_line_24 |  | 22 | 24 | 0.014638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4207-1_0_3_line_25 |  | 23 | 25 | 0.012246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4207-1_0_3_line_26 |  | 24 | 39 | 0.027949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4207-1_0_3_line_27 |  | 25 | 26 | 0.020327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4207-1_0_3_line_28 |  | 25 | 27 | 0.00862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4207-1_0_3_line_29 |  | 26 | 41 | 0.0013165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4207-1_0_3_line_30 |  | 27 | 42 | 0.021862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4207-1_0_3_line_31 |  | 27 | 43 | 0.012667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4207-1_0_3_line_32 |  | 28 | 29 | 0.0089682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4207-1_0_3_line_33 |  | 29 | 49 | 0.019191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4207-1_0_3_line_34 |  | 30 | 31 | 0.0064093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4207-1_0_3_line_35 |  | 30 | 32 | 0.014455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4207-1_0_3_line_36 |  | 31 | 33 | 0.0058981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4207-1_0_3_line_37 |  | 32 | 34 | 0.010428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4207-1_0_3_line_38 |  | 32 | 35 | 0.0095738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4207-1_0_3_line_39 |  | 33 | 36 | 0.010362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4207-1_0_3_line_40 |  | 34 | 37 | 0.006031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4207-1_0_3_line_41 |  | 35 | 38 | 0.0097805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4207-1_0_3_line_42 |  | 36 | 86 | 0.014259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4207-1_0_3_line_43 |  | 36 | 85 | 0.010237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4207-1_0_3_line_44 |  | 37 | 83 | 0.017217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4207-1_0_3_line_45 |  | 38 | 52 | 0.0061661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4207-1_0_3_line_46 |  | 39 | 40 | 0.049896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4207-1_0_3_line_47 |  | 40 | 85 | 0.025939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4207-1_0_3_line_48 |  | 42 | 81 | 5.5798e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4207-1_0_3_line_49 |  | 43 | 46 | 0.02515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4207-1_0_3_line_50 |  | 44 | 45 | 0.0015457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4207-1_0_3_line_51 |  | 45 | 46 | 0.014856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4207-1_0_3_line_52 |  | 47 | 48 | 0.033053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4207-1_0_3_line_53 |  | 47 | 49 | 0.016791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4207-1_0_3_line_54 |  | 48 | 50 | 0.042951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4207-1_0_3_line_55 |  | 49 | 51 | 0.018459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4207-1_0_3_line_56 |  | 51 | 52 | 0.0050562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4207-1_0_3_line_57 |  | 53 | 54 | 0.078881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4207-1_0_3_line_58 |  | 53 | 55 | 0.017529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4207-1_0_3_line_59 |  | 53 | 56 | 0.017084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4207-1_0_3_line_60 |  | 54 | 57 | 0.035251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4207-1_0_3_line_61 |  | 55 | 60 | 0.0026497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4207-1_0_3_line_62 |  | 56 | 74 | 0.021203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4207-1_0_3_line_63 |  | 58 | 59 | 0.0039459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4207-1_0_3_line_64 |  | 59 | 63 | 0.02216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4207-1_0_3_line_65 |  | 61 | 62 | 0.0057514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4207-1_0_3_line_66 |  | 61 | 63 | 0.0058084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4207-1_0_3_line_67 |  | 62 | 64 | 0.014168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4207-1_0_3_line_68 |  | 63 | 65 | 0.017101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4207-1_0_3_line_69 |  | 64 | 66 | 0.010795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4207-1_0_3_line_70 |  | 64 | 67 | 0.0059252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4207-1_0_3_line_71 |  | 65 | 68 | 0.024889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4207-1_0_3_line_72 |  | 66 | 75 | 0.012875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4207-1_0_3_line_73 |  | 67 | 74 | 0.024343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4207-1_0_3_line_74 |  | 68 | 72 | 0.0093691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4207-1_0_3_line_75 |  | 69 | 70 | 0.015763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4207-1_0_3_line_76 |  | 70 | 71 | 0.013703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4207-1_0_3_line_77 |  | 70 | 72 | 0.0062177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4207-1_0_3_line_78 |  | 71 | 73 | 0.026623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4207-1_0_3_line_79 |  | 73 | 77 | 0.020473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4207-1_0_3_line_80 |  | 75 | 76 | 0.0076426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4207-1_0_3_line_81 |  | 77 | 78 | 0.0048496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4207-1_0_3_line_82 |  | 79 | 80 | 0.0083727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4207-1_0_3_line_83 |  | 80 | 81 | 0.017201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4207-1_0_3_line_84 |  | 80 | 82 | 0.05449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4207-1_0_3_line_85 |  | 83 | 84 | 0.021752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4207-1_0_3_line_86 |  | 84 | 88 | 0.02545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4207-1_0_3_line_87 |  | 86 | 87 | 0.010106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4207-1_0_3_line_88 |  | 87 | 89 | 0.0055199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4207-1_0_3_line_89 |  | 89 | 90 | 0.0058979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4207-1_0_3_line_90 |  | 90 | 91 | 0.006409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4207-1_0_3_trafo_16 | 0.63 MVA 20/0.4 kV | 92 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2653374.2424 | 1248423.032 | 2653396.4627 | 1248283.7495
1 | 2653307.1624 | 1248420.5604 | 2653368.0743 | 1248422.8652 | 2653374.2424 | 1248423.032
2 | 2653307.1624 | 1248420.5604 | 2653246.5847 | 1248420.5608 | 2653230.0337 | 1248420.1526
3 | 2653210.4364 | 1248419.6692 | 2653230.0337 | 1248420.1526
4 | 2653149.3926 | 1248597.1429 | 2653132.6953 | 1248597.0398
5 | 2653149.3926 | 1248597.1429 | 2653149.3911 | 1248579.9729
6 | 2653149.3887 | 1248553.3631 | 2653149.3911 | 1248579.9729
7 | 2653141.1593 | 1248538.4513 | 2653147.215 | 1248541.0296 | 2653149.3881 | 1248547.1087 | 2653149.3887 | 1248553.3631
8 | 2653074.2024 | 1248540.0863 | 2653073.7422 | 1248582.6169
9 | 2653074.2024 | 1248540.0863 | 2653094.4929 | 1248539.2229
10 | 2653104.1408 | 1248369.0433 | 2653105.4699 | 1248344.3394
11 | 2653044.4454 | 1248328.8096 | 2653099.25 | 1248320.8945 | 2653105.4922 | 1248321.2284 | 2653106.3264 | 1248328.4186 | 2653105.4699 | 1248344.3394
12 | 2653103.7806 | 1248375.7391 | 2653104.1408 | 1248369.0433
13 | 2653044.4454 | 1248328.8096 | 2653046.5911 | 1248350.7197
14 | 2653044.4454 | 1248328.8096 | 2653014.8336 | 1248333.7974
15 | 2653046.5911 | 1248350.7197 | 2653046.8751 | 1248353.6202
16 | 2653014.8336 | 1248333.7974 | 2652997.8728 | 1248336.6543 | 2652994.4207 | 1248337.3055
17 | 2653049.2701 | 1248378.0764 | 2653046.8751 | 1248353.6202
18 | 2652988.7711 | 1248338.3713 | 2652994.4207 | 1248337.3055
19 | 2653109.8477 | 1248423.2706 | 2653130.583 | 1248420.9988 | 2653142.335 | 1248420.2702
20 | 2653164.1021 | 1248418.9442 | 2653163.7976 | 1248418.9394 | 2653142.335 | 1248420.2702
21 | 2653109.8477 | 1248423.2706 | 2653106.3795 | 1248423.6506 | 2653098.2504 | 1248424.9791
22 | 2653195.8005 | 1248419.4402 | 2653164.1021 | 1248418.9442
23 | 2653075.1846 | 1248428.7486 | 2653098.2504 | 1248424.9791
24 | 2653210.4364 | 1248419.6692 | 2653195.8005 | 1248419.4402
25 | 2653063.0993 | 1248430.7236 | 2653075.1846 | 1248428.7486
26 | 2653210.4364 | 1248419.6692 | 2653209.2992 | 1248447.5946
27 | 2653063.0993 | 1248430.7236 | 2653065.1381 | 1248450.9478
28 | 2653063.0993 | 1248430.7236 | 2653054.5544 | 1248432.037
29 | 2653065.2701 | 1248452.2577 | 2653065.1381 | 1248450.9478
30 | 2653054.5544 | 1248432.037 | 2653032.9304 | 1248435.254
31 | 2653054.5544 | 1248432.037 | 2653053.3199 | 1248419.4307
32 | 2653094.4929 | 1248539.2229 | 2653103.4599 | 1248539.0766
33 | 2653122.6483 | 1248538.7635 | 2653103.4599 | 1248539.0766
34 | 2653171.0446 | 1248514.0962 | 2653171.0249 | 1248520.5055
35 | 2653170.9805 | 1248534.9606 | 2653171.0249 | 1248520.5055
36 | 2653171.0627 | 1248508.1981 | 2653171.0446 | 1248514.0962
37 | 2653170.9805 | 1248534.9606 | 2653181.4031 | 1248534.6272
38 | 2653170.9805 | 1248534.9606 | 2653161.4116 | 1248535.2653
39 | 2653171.0945 | 1248497.8364 | 2653171.0627 | 1248508.1981
40 | 2653181.4031 | 1248534.6272 | 2653187.4309 | 1248534.4344
41 | 2653151.6361 | 1248535.5766 | 2653161.4116 | 1248535.2653
42 | 2653171.0945 | 1248497.8364 | 2653156.8365 | 1248498.0005
43 | 2653171.0945 | 1248497.8364 | 2653181.3314 | 1248497.7268
44 | 2653204.6387 | 1248533.8839 | 2653187.4309 | 1248534.4344
45 | 2653151.6361 | 1248535.5766 | 2653145.6386 | 1248535.7674 | 2653145.4966 | 1248535.8526
46 | 2653207.2689 | 1248497.4493 | 2653209.2992 | 1248447.5946
47 | 2653207.2689 | 1248497.4493 | 2653181.3314 | 1248497.7268
48 | 2653032.9304 | 1248435.254 | 2653032.8753 | 1248435.2622
49 | 2653053.3199 | 1248419.4307 | 2653050.8687 | 1248394.4005
50 | 2653049.2701 | 1248378.0764 | 2653049.4207 | 1248379.6147
51 | 2653050.8687 | 1248394.4005 | 2653049.4207 | 1248379.6147
52 | 2653122.6894 | 1248521.9725 | 2653122.7702 | 1248488.9196 | 2653122.7702 | 1248488.9196
53 | 2653122.6483 | 1248538.7635 | 2653122.6894 | 1248521.9725
54 | 2653151.7661 | 1248462.1166 | 2653140.318 | 1248473.9332 | 2653129.4637 | 1248475.9484 | 2653126.209 | 1248477.6427 | 2653122.7702 | 1248488.9196
55 | 2653122.6483 | 1248538.7635 | 2653141.1593 | 1248538.4513
56 | 2653141.1593 | 1248538.4513 | 2653145.4966 | 1248535.8526
57 | 2652908.8356 | 1248242.3842 | 2652917.9565 | 1248223.0969 | 2652939.5323 | 1248184.1296 | 2652947.6333 | 1248188.5827 | 2652950.1152 | 1248191.4068
58 | 2652950.1152 | 1248191.4068 | 2652967.3676 | 1248188.3066
59 | 2652950.1152 | 1248191.4068 | 2652952.5823 | 1248198.4336 | 2652954.6923 | 1248207.836
60 | 2652943.8296 | 1248237.3597 | 2652908.8356 | 1248242.3842
61 | 2652967.3676 | 1248188.3066 | 2652969.9755 | 1248187.838
62 | 2652954.6923 | 1248207.836 | 2652956.0175 | 1248213.7413 | 2652957.6363 | 1248226.9647 | 2652957.8592 | 1248228.7794
63 | 2652943.5553 | 1248290.419 | 2652943.4158 | 1248290.4588 | 2652940.0644 | 1248292.2518
64 | 2652964.8642 | 1248284.335 | 2652943.5553 | 1248290.419
65 | 2652963.3753 | 1248272.8714 | 2652964.1161 | 1248278.575
66 | 2652964.8642 | 1248284.335 | 2652964.1161 | 1248278.575
67 | 2652961.5504 | 1248258.8214 | 2652963.3753 | 1248272.8714
68 | 2652964.8642 | 1248284.335 | 2652967.3642 | 1248301.2526
69 | 2652961.5504 | 1248258.8214 | 2652950.8336 | 1248260.1171
70 | 2652961.5504 | 1248258.8214 | 2652960.8278 | 1248252.9404
71 | 2652971.0026 | 1248325.874 | 2652967.3642 | 1248301.2526
72 | 2652950.8336 | 1248260.1171 | 2652938.0518 | 1248261.6625
73 | 2652957.8592 | 1248228.7794 | 2652960.8278 | 1248252.9404
74 | 2652971.0026 | 1248325.874 | 2652972.3723 | 1248335.1424
75 | 2652973.2812 | 1248341.2933 | 2652988.7711 | 1248338.3713
76 | 2652973.2812 | 1248341.2933 | 2652975.5964 | 1248354.7989
77 | 2652973.2812 | 1248341.2933 | 2652972.3723 | 1248335.1424
78 | 2652975.5964 | 1248354.7989 | 2652980.0944 | 1248381.0388
79 | 2652983.5534 | 1248401.2171 | 2652980.0944 | 1248381.0388
80 | 2652930.4645 | 1248262.5798 | 2652938.0518 | 1248261.6625
81 | 2652984.3728 | 1248405.9969 | 2652983.5534 | 1248401.2171
82 | 2653007.5798 | 1248439.0254 | 2653015.8613 | 1248437.7933
83 | 2653015.8613 | 1248437.7933 | 2653032.8753 | 1248435.2622
84 | 2653015.8613 | 1248437.7933 | 2653023.9334 | 1248491.6816
85 | 2653204.6387 | 1248533.8839 | 2653203.0878 | 1248555.5808
86 | 2653203.0878 | 1248555.5808 | 2653201.2732 | 1248580.9662
87 | 2653151.5607 | 1248502.8798 | 2653151.5496 | 1248498.0614 | 2653156.8365 | 1248498.0005
88 | 2653151.5734 | 1248508.3997 | 2653151.5607 | 1248502.8798
89 | 2653151.5734 | 1248508.3997 | 2653151.587 | 1248514.2975
90 | 2653151.587 | 1248514.2975 | 2653151.6018 | 1248520.7064

## bus_geodata
| x | y | coords
0 | 2653396.4627 | 1248283.7495
1 | 2653374.2424 | 1248423.032
2 | 2653307.1624 | 1248420.5604
3 | 2653230.0337 | 1248420.1526
4 | 2653132.6953 | 1248597.0398
5 | 2653149.3926 | 1248597.1429
6 | 2653149.3911 | 1248579.9729
7 | 2653149.3887 | 1248553.3631
8 | 2653073.7422 | 1248582.6169
9 | 2653074.2024 | 1248540.0863
10 | 2653105.4699 | 1248344.3394
11 | 2653104.1408 | 1248369.0433
12 | 2653044.4454 | 1248328.8096
13 | 2653103.7806 | 1248375.7391
14 | 2653046.5911 | 1248350.7197
15 | 2653014.8336 | 1248333.7974
16 | 2653046.8751 | 1248353.6202
17 | 2652994.4207 | 1248337.3055
18 | 2653142.335 | 1248420.2702
19 | 2653109.8477 | 1248423.2706
20 | 2653164.1021 | 1248418.9442
21 | 2653098.2504 | 1248424.9791
22 | 2653195.8005 | 1248419.4402
23 | 2653075.1846 | 1248428.7486
24 | 2653210.4364 | 1248419.6692
25 | 2653063.0993 | 1248430.7236
26 | 2653065.1381 | 1248450.9478
27 | 2653054.5544 | 1248432.037
28 | 2653094.4929 | 1248539.2229
29 | 2653103.4599 | 1248539.0766
30 | 2653171.0249 | 1248520.5055
31 | 2653171.0446 | 1248514.0962
32 | 2653170.9805 | 1248534.9606
33 | 2653171.0627 | 1248508.1981
34 | 2653181.4031 | 1248534.6272
35 | 2653161.4116 | 1248535.2653
36 | 2653171.0945 | 1248497.8364
37 | 2653187.4309 | 1248534.4344
38 | 2653151.6361 | 1248535.5766
39 | 2653209.2992 | 1248447.5946
40 | 2653207.2689 | 1248497.4493
41 | 2653065.2701 | 1248452.2577
42 | 2653032.9304 | 1248435.254
43 | 2653053.3199 | 1248419.4307
44 | 2653049.2701 | 1248378.0764
45 | 2653049.4207 | 1248379.6147
46 | 2653050.8687 | 1248394.4005
47 | 2653122.6894 | 1248521.9725
48 | 2653122.7702 | 1248488.9196
49 | 2653122.6483 | 1248538.7635
50 | 2653151.7661 | 1248462.1166
51 | 2653141.1593 | 1248538.4513
52 | 2653145.4966 | 1248535.8526
53 | 2652950.1152 | 1248191.4068
54 | 2652908.8356 | 1248242.3842
55 | 2652967.3676 | 1248188.3066
56 | 2652954.6923 | 1248207.836
57 | 2652943.8296 | 1248237.3597
58 | 2652940.0644 | 1248292.2518
59 | 2652943.5553 | 1248290.419
60 | 2652969.9755 | 1248187.838
61 | 2652964.1161 | 1248278.575
62 | 2652963.3753 | 1248272.8714
63 | 2652964.8642 | 1248284.335
64 | 2652961.5504 | 1248258.8214
65 | 2652967.3642 | 1248301.2526
66 | 2652950.8336 | 1248260.1171
67 | 2652960.8278 | 1248252.9404
68 | 2652971.0026 | 1248325.874
69 | 2652988.7711 | 1248338.3713
70 | 2652973.2812 | 1248341.2933
71 | 2652975.5964 | 1248354.7989
72 | 2652972.3723 | 1248335.1424
73 | 2652980.0944 | 1248381.0388
74 | 2652957.8592 | 1248228.7794
75 | 2652938.0518 | 1248261.6625
76 | 2652930.4645 | 1248262.5798
77 | 2652983.5534 | 1248401.2171
78 | 2652984.3728 | 1248405.9969
79 | 2653007.5798 | 1248439.0254
80 | 2653015.8613 | 1248437.7933
81 | 2653032.8753 | 1248435.2622
82 | 2653023.9334 | 1248491.6816
83 | 2653204.6387 | 1248533.8839
84 | 2653203.0878 | 1248555.5808
85 | 2653181.3314 | 1248497.7268
86 | 2653156.8365 | 1248498.0005
87 | 2653151.5607 | 1248502.8798
88 | 2653201.2732 | 1248580.9662
89 | 2653151.5734 | 1248508.3997
90 | 2653151.587 | 1248514.2975
91 | 2653151.6018 | 1248520.7064
92 | 2653210.4364 | 1248419.6692

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1