## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4207-1_1_2_node_9 | 0.4 | n |  | TRUE
1 | bus_LV_4207-1_1_2_node_132 | 0.4 | n |  | TRUE
2 | bus_LV_4207-1_1_2_node_133 | 0.4 | n |  | TRUE
3 | bus_LV_4207-1_1_2_node_46 | 0.4 | n |  | TRUE
4 | bus_LV_4207-1_1_2_node_197 | 0.4 | n |  | TRUE
5 | bus_LV_4207-1_1_2_node_147 | 0.4 | n |  | TRUE
6 | bus_LV_4207-1_1_2_node_186 | 0.4 | n |  | TRUE
7 | bus_LV_4207-1_1_2_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_4207-1_1_2_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_4207-1_1_2_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_4207-1_1_2_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_4207-1_1_2_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_4207-1_1_2_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_4207-1_1_2_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_4207-1_1_2_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_4207-1_1_2_node_174 | 0.4 | n |  | TRUE
16 | bus_LV_4207-1_1_2_node_148 | 0.4 | n |  | TRUE
17 | bus_LV_4207-1_1_2_node_146 | 0.4 | n |  | TRUE
18 | bus_LV_4207-1_1_2_node_163 | 0.4 | n |  | TRUE
19 | bus_LV_4207-1_1_2_node_152 | 0.4 | n |  | TRUE
20 | bus_LV_4207-1_1_2_node_167 | 0.4 | n |  | TRUE
21 | bus_LV_4207-1_1_2_node_190 | 0.4 | n |  | TRUE
22 | bus_LV_4207-1_1_2_node_150 | 0.4 | n |  | TRUE
23 | bus_LV_4207-1_1_2_node_138 | 0.4 | n |  | TRUE
24 | bus_LV_4207-1_1_2_node_165 | 0.4 | n |  | TRUE
25 | bus_LV_4207-1_1_2_node_191 | 0.4 | n |  | TRUE
26 | bus_LV_4207-1_1_2_node_62 | 0.4 | n |  | TRUE
27 | bus_LV_4207-1_1_2_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_4207-1_1_2_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_4207-1_1_2_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_4207-1_1_2_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_4207-1_1_2_node_85 | 0.4 | n |  | TRUE
32 | bus_LV_4207-1_1_2_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_4207-1_1_2_node_89 | 0.4 | n |  | TRUE
34 | bus_LV_4207-1_1_2_node_68 | 0.4 | n |  | TRUE
35 | bus_LV_4207-1_1_2_node_156 | 0.4 | n |  | TRUE
36 | bus_LV_4207-1_1_2_node_158 | 0.4 | n |  | TRUE
37 | bus_LV_4207-1_1_2_node_154 | 0.4 | n |  | TRUE
38 | bus_LV_4207-1_1_2_node_69 | 0.4 | n |  | TRUE
39 | bus_LV_4207-1_1_2_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_4207-1_1_2_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_4207-1_1_2_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_4207-1_1_2_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_4207-1_1_2_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_4207-1_1_2_node_92 | 0.4 | n |  | TRUE
45 | bus_LV_4207-1_1_2_node_93 | 0.4 | n |  | TRUE
46 | bus_LV_4207-1_1_2_node_91 | 0.4 | n |  | TRUE
47 | bus_LV_4207-1_1_2_node_88 | 0.4 | n |  | TRUE
48 | bus_LV_4207-1_1_2_node_86 | 0.4 | n |  | TRUE
49 | bus_LV_4207-1_1_2_node_185 | 0.4 | n |  | TRUE
50 | bus_LV_4207-1_1_2_node_168 | 0.4 | n |  | TRUE
51 | bus_LV_4207-1_1_2_node_118 | 0.4 | n |  | TRUE
52 | bus_LV_4207-1_1_2_node_87 | 0.4 | n |  | TRUE
53 | bus_LV_4207-1_1_2_node_75 | 0.4 | n |  | TRUE
54 | bus_LV_4207-1_1_2_node_76 | 0.4 | n |  | TRUE
55 | bus_LV_4207-1_1_2_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_4207-1_1_2_node_78 | 0.4 | n |  | TRUE
57 | bus_LV_4207-1_1_2_node_79 | 0.4 | n |  | TRUE
58 | bus_LV_4207-1_1_2_node_164 | 0.4 | n |  | TRUE
59 | bus_LV_4207-1_1_2_node_104 | 0.4 | n |  | TRUE
60 | bus_LV_4207-1_1_2_node_80 | 0.4 | n |  | TRUE
61 | bus_LV_4207-1_1_2_node_81 | 0.4 | n |  | TRUE
62 | bus_LV_4207-1_1_2_node_90 | 0.4 | n |  | TRUE
63 | bus_LV_4207-1_1_2_node_82 | 0.4 | n |  | TRUE
64 | bus_LV_4207-1_1_2_node_127 | 0.4 | n |  | TRUE
65 | bus_LV_4207-1_1_2_node_126 | 0.4 | n |  | TRUE
66 | bus_LV_4207-1_1_2_node_120 | 0.4 | n |  | TRUE
67 | bus_LV_4207-1_1_2_node_116 | 0.4 | n |  | TRUE
68 | bus_LV_4207-1_1_2_node_198 | 0.4 | n |  | TRUE
69 | bus_LV_4207-1_1_2_node_169 | 0.4 | n |  | TRUE
70 | bus_LV_4207-1_1_2_node_94 | 0.4 | n |  | TRUE
71 | bus_LV_4207-1_1_2_node_95 | 0.4 | n |  | TRUE
72 | bus_LV_4207-1_1_2_node_96 | 0.4 | n |  | TRUE
73 | bus_LV_4207-1_1_2_node_98 | 0.4 | n |  | TRUE
74 | bus_LV_4207-1_1_2_node_143 | 0.4 | n |  | TRUE
75 | bus_LV_4207-1_1_2_node_162 | 0.4 | n |  | TRUE
76 | bus_LV_4207-1_1_2_node_101 | 0.4 | n |  | TRUE
77 | bus_LV_4207-1_1_2_node_102 | 0.4 | n |  | TRUE
78 | bus_LV_4207-1_1_2_node_103 | 0.4 | n |  | TRUE
79 | bus_LV_4207-1_1_2_node_160 | 0.4 | n |  | TRUE
80 | bus_LV_4207-1_1_2_node_161 | 0.4 | n |  | TRUE
81 | bus_LV_4207-1_1_2_node_159 | 0.4 | n |  | TRUE
82 | bus_LV_4207-1_1_2_node_117 | 0.4 | n |  | TRUE
83 | bus_LV_4207-1_1_2_node_119 | 0.4 | n |  | TRUE
84 | bus_LV_4207-1_1_2_node_153 | 0.4 | n |  | TRUE
85 | bus_LV_4207-1_1_2_node_151 | 0.4 | n |  | TRUE
86 | bus_LV_4207-1_1_2_node_125 | 0.4 | n |  | TRUE
87 | bus_LV_4207-1_1_2_node_145 | 0.4 | n |  | TRUE
88 | bus_LV_4207-1_1_2_node_137 | 0.4 | n |  | TRUE
89 | bus_LV_4207-1_1_2_node_157 | 0.4 | n |  | TRUE
90 | bus_LV_4207-1_1_2_node_144 | 0.4 | n |  | TRUE
91 | bus_LV_4207-1_1_2_node_149 | 0.4 | n |  | TRUE
92 | bus_LV_4207-1_1_2_node_155 | 0.4 | n |  | TRUE
93 | bus_LV_4207-1_1_2_node_170 | 0.4 | n |  | TRUE
94 | bus_LV_4207-1_1_2_node_171 | 0.4 | n |  | TRUE
95 | bus_LV_4207-1_1_2_node_172 | 0.4 | n |  | TRUE
96 | bus_LV_4207-1_1_2_node_173 | 0.4 | n |  | TRUE
97 | bus_LV_4207-1_1_2_node_199 | 0.4 | n |  | TRUE
98 | bus_LV_4207-1_1_2_node_200 | 0.4 | n |  | TRUE
99 | bus_MV_434_0_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4207-1_1_2_load_46 | 3 | 0.0025191 | 0.00063135 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4207-1_1_2_load_197 | 4 | 0.019222 | 0.0048176 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4207-1_1_2_load_147 | 5 | 0.00094675 | 0.00023728 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4207-1_1_2_load_186 | 6 | 0.00044348 | 0.00011115 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4207-1_1_2_load_25 | 8 | 0.021408 | 0.0053654 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4207-1_1_2_load_35 | 11 | 0.03989 | 0.0099974 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4207-1_1_2_load_37 | 13 | 0.0013524 | 0.00033895 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4207-1_1_2_load_38 | 14 | 0.00094686 | 0.00023731 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4207-1_1_2_load_174 | 15 | 0.012645 | 0.0031691 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4207-1_1_2_load_148 | 16 | 0.00094675 | 0.00023728 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4207-1_1_2_load_163 | 18 | 0.0016963 | 0.00042513 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4207-1_1_2_load_152 | 19 | 0.0018618 | 0.00046661 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4207-1_1_2_load_190 | 21 | 0.0035736 | 0.00089563 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4207-1_1_2_load_150 | 22 | 0.0020131 | 0.00050453 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4207-1_1_2_load_138 | 23 | 0.0017006 | 0.0004262 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4207-1_1_2_load_165 | 24 | 0.0014082 | 0.00035294 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4207-1_1_2_load_191 | 25 | 0.0026918 | 0.00067463 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4207-1_1_2_load_62 | 26 | 0.001976 | 0.00049523 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4207-1_1_2_load_63 | 27 | 0.0004019 | 0.00010073 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4207-1_1_2_load_65 | 29 | 0.0018443 | 0.00046224 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4207-1_1_2_load_66 | 30 | 0.0020486 | 0.00051343 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4207-1_1_2_load_85 | 31 | 0.00069412 | 0.00017396 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4207-1_1_2_load_67 | 32 | 0.00353 | 0.00088469 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4207-1_1_2_load_89 | 33 | 0.00082392 | 0.00020649 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4207-1_1_2_load_68 | 34 | 0.00080338 | 0.00020135 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4207-1_1_2_load_158 | 36 | 0.0018033 | 0.00045194 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4207-1_1_2_load_154 | 37 | 0.0019583 | 0.0004908 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4207-1_1_2_load_69 | 38 | 0.00016075 | 4.0289e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4207-1_1_2_load_74 | 43 | 0.00017689 | 4.4333e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4207-1_1_2_load_91 | 46 | 0.00070112 | 0.00017572 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4207-1_1_2_load_88 | 47 | 0.0013024 | 0.00032641 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4207-1_1_2_load_86 | 48 | 0.00029041 | 7.2782e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4207-1_1_2_load_168 | 50 | 0.00017713 | 4.4393e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4207-1_1_2_load_75 | 53 | 0.0035786 | 0.00089689 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4207-1_1_2_load_76 | 54 | 0.0050132 | 0.0012564 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4207-1_1_2_load_77 | 55 | 0.0050106 | 0.0012558 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4207-1_1_2_load_78 | 56 | 0.004001 | 0.0010027 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4207-1_1_2_load_164 | 58 | 0.00077931 | 0.00019531 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4207-1_1_2_load_80 | 60 | 0.0014944 | 0.00037452 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4207-1_1_2_load_90 | 62 | 0.001743 | 0.00043683 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4207-1_1_2_load_82 | 63 | 0.0012199 | 0.00030573 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4207-1_1_2_load_127 | 64 | 0.00071262 | 0.0001786 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4207-1_1_2_load_126 | 65 | 0.0044958 | 0.0011267 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4207-1_1_2_load_120 | 66 | 0.0041053 | 0.0010289 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4207-1_1_2_load_116 | 67 | 0.002338 | 0.00058596 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4207-1_1_2_load_198 | 68 | 0.001774 | 0.0004446 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4207-1_1_2_load_169 | 69 | 0.00022624 | 5.6701e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4207-1_1_2_load_94 | 70 | 0.00044406 | 0.00011129 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4207-1_1_2_load_95 | 71 | 0.0017491 | 0.00043837 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4207-1_1_2_load_96 | 72 | 0.0023151 | 0.00058021 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4207-1_1_2_load_98 | 73 | 0.00052244 | 0.00013094 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4207-1_1_2_load_143 | 74 | 0.0020637 | 0.00051722 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4207-1_1_2_load_162 | 75 | 0.0039744 | 0.00099607 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4207-1_1_2_load_101 | 76 | 0.0041631 | 0.0010434 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4207-1_1_2_load_102 | 77 | 0.0010384 | 0.00026025 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4207-1_1_2_load_103 | 78 | 0.0013974 | 0.00035021 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4207-1_1_2_load_161 | 80 | 0.003352 | 0.00084009 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4207-1_1_2_load_159 | 81 | 0.0012685 | 0.00031792 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4207-1_1_2_load_117 | 82 | 0.0021501 | 0.00053886 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4207-1_1_2_load_119 | 83 | 0.0040205 | 0.0010076 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4207-1_1_2_load_153 | 84 | 0.0016474 | 0.00041287 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4207-1_1_2_load_151 | 85 | 0.000833 | 0.00020877 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4207-1_1_2_load_125 | 86 | 0.0043731 | 0.001096 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4207-1_1_2_load_145 | 87 | 0.00094686 | 0.00023731 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4207-1_1_2_load_137 | 88 | 0.0010493 | 0.00026299 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4207-1_1_2_load_157 | 89 | 0.00050824 | 0.00012738 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4207-1_1_2_load_144 | 90 | 0.00094686 | 0.00023731 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4207-1_1_2_load_149 | 91 | 0.0017151 | 0.00042984 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4207-1_1_2_load_155 | 92 | 0.0024601 | 0.00061657 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4207-1_1_2_load_170 | 93 | 0.00034632 | 8.6797e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4207-1_1_2_load_172 | 95 | 0.001698 | 0.00042556 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4207-1_1_2_load_173 | 96 | 0.00032676 | 8.1893e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4207-1_1_2_load_200 | 98 | 0.013367 | 0.00335 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 85 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4207-1_1_2_line_0 |  | 0 | 1 | 0.042747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4207-1_1_2_line_1 |  | 0 | 2 | 0.1023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4207-1_1_2_line_2 |  | 0 | 3 | 0.026741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4207-1_1_2_line_3 |  | 1 | 4 | 0.008988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4207-1_1_2_line_4 |  | 1 | 5 | 0.019065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4207-1_1_2_line_5 |  | 2 | 6 | 0.10939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4207-1_1_2_line_6 |  | 3 | 7 | 0.028534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4207-1_1_2_line_7 |  | 5 | 87 | 0.005596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4207-1_1_2_line_8 |  | 7 | 9 | 0.03734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4207-1_1_2_line_9 |  | 7 | 10 | 0.026452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4207-1_1_2_line_10 |  | 7 | 8 | 0.032294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4207-1_1_2_line_11 |  | 9 | 18 | 0.019283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4207-1_1_2_line_12 |  | 9 | 19 | 0.0024827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4207-1_1_2_line_13 |  | 10 | 20 | 0.022206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4207-1_1_2_line_14 |  | 10 | 21 | 0.021306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4207-1_1_2_line_15 |  | 11 | 12 | 0.045448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4207-1_1_2_line_16 |  | 12 | 13 | 0.0088881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4207-1_1_2_line_17 |  | 12 | 14 | 0.0065664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4207-1_1_2_line_18 |  | 13 | 15 | 0.0065851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4207-1_1_2_line_19 |  | 14 | 16 | 0.005589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4207-1_1_2_line_20 |  | 16 | 17 | 0.0049648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4207-1_1_2_line_21 |  | 17 | 90 | 0.0099594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4207-1_1_2_line_22 |  | 19 | 22 | 0.026698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4207-1_1_2_line_23 |  | 20 | 23 | 0.011491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4207-1_1_2_line_24 |  | 20 | 24 | 0.016911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4207-1_1_2_line_25 |  | 21 | 25 | 0.018733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4207-1_1_2_line_26 |  | 22 | 91 | 0.026568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4207-1_1_2_line_27 |  | 26 | 27 | 0.043896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4207-1_1_2_line_28 |  | 26 | 28 | 0.065063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4207-1_1_2_line_29 |  | 27 | 29 | 0.022467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4207-1_1_2_line_30 |  | 28 | 30 | 0.018076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4207-1_1_2_line_31 |  | 29 | 31 | 0.028637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4207-1_1_2_line_32 |  | 30 | 32 | 0.022295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4207-1_1_2_line_33 |  | 31 | 33 | 0.0084697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4207-1_1_2_line_34 |  | 32 | 34 | 0.03739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4207-1_1_2_line_35 |  | 33 | 62 | 0.010799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4207-1_1_2_line_36 |  | 34 | 35 | 0.028081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4207-1_1_2_line_37 |  | 35 | 36 | 0.017018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4207-1_1_2_line_38 |  | 35 | 37 | 0.015112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4207-1_1_2_line_39 |  | 36 | 59 | 0.022847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4207-1_1_2_line_40 |  | 37 | 92 | 0.0032139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4207-1_1_2_line_41 |  | 38 | 39 | 0.017479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4207-1_1_2_line_42 |  | 38 | 40 | 0.017684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4207-1_1_2_line_43 |  | 39 | 41 | 0.011677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4207-1_1_2_line_44 |  | 40 | 42 | 0.00554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4207-1_1_2_line_45 |  | 40 | 43 | 0.012965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4207-1_1_2_line_46 |  | 41 | 44 | 0.042725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4207-1_1_2_line_47 |  | 41 | 45 | 0.045344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4207-1_1_2_line_48 |  | 41 | 46 | 0.04417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4207-1_1_2_line_49 |  | 42 | 47 | 0.032826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4207-1_1_2_line_50 |  | 42 | 48 | 0.0082285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4207-1_1_2_line_51 |  | 44 | 49 | 0.024679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4207-1_1_2_line_52 |  | 45 | 50 | 0.015941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4207-1_1_2_line_53 |  | 47 | 51 | 0.0017016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4207-1_1_2_line_54 |  | 48 | 52 | 0.039651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4207-1_1_2_line_55 |  | 49 | 68 | 0.021509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4207-1_1_2_line_56 |  | 50 | 69 | 0.0096563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4207-1_1_2_line_57 |  | 51 | 66 | 0.018971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4207-1_1_2_line_58 |  | 51 | 67 | 0.020721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4207-1_1_2_line_59 |  | 52 | 56 | 0.0071079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4207-1_1_2_line_60 |  | 53 | 54 | 0.03022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4207-1_1_2_line_61 |  | 53 | 55 | 0.0087935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4207-1_1_2_line_62 |  | 54 | 56 | 0.028689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4207-1_1_2_line_63 |  | 55 | 57 | 0.011023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4207-1_1_2_line_64 |  | 57 | 58 | 0.025198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4207-1_1_2_line_65 |  | 58 | 59 | 0.012832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4207-1_1_2_line_66 |  | 59 | 79 | 0.028924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4207-1_1_2_line_67 |  | 59 | 77 | 0.018195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4207-1_1_2_line_68 |  | 60 | 61 | 0.0087729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4207-1_1_2_line_69 |  | 60 | 62 | 0.040499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4207-1_1_2_line_70 |  | 61 | 63 | 0.023068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4207-1_1_2_line_71 |  | 63 | 64 | 0.023818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4207-1_1_2_line_72 |  | 64 | 65 | 0.035522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4207-1_1_2_line_73 |  | 65 | 86 | 0.049283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4207-1_1_2_line_74 |  | 67 | 82 | 0.0053586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4207-1_1_2_line_75 |  | 68 | 97 | 0.027887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4207-1_1_2_line_76 |  | 69 | 93 | 0.0016258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4207-1_1_2_line_77 |  | 70 | 71 | 0.018797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4207-1_1_2_line_78 |  | 70 | 72 | 0.017925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4207-1_1_2_line_79 |  | 72 | 73 | 0.012065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4207-1_1_2_line_80 |  | 73 | 74 | 0.013254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4207-1_1_2_line_81 |  | 74 | 75 | 0.0052503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4207-1_1_2_line_82 |  | 75 | 89 | 0.0020384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4207-1_1_2_line_83 |  | 76 | 77 | 0.010936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4207-1_1_2_line_84 |  | 76 | 78 | 0.0033093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4207-1_1_2_line_85 |  | 79 | 80 | 0.020401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4207-1_1_2_line_86 |  | 79 | 81 | 0.011519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4207-1_1_2_line_87 |  | 81 | 88 | 0.020419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4207-1_1_2_line_88 |  | 82 | 83 | 0.020025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4207-1_1_2_line_89 |  | 83 | 84 | 0.0001687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4207-1_1_2_line_90 |  | 84 | 85 | 0.033977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4207-1_1_2_line_91 |  | 85 | 91 | 0.0046132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4207-1_1_2_line_92 |  | 87 | 90 | 0.005596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4207-1_1_2_line_93 |  | 89 | 92 | 0.025557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4207-1_1_2_line_94 |  | 93 | 94 | 0.0097217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4207-1_1_2_line_95 |  | 94 | 95 | 0.021328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4207-1_1_2_line_96 |  | 94 | 96 | 0.025831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4207-1_1_2_line_97 |  | 97 | 98 | 0.0378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4207-1_1_2_trafo_151 | 0.63 MVA 20/0.4 kV | 99 | 85 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2653000.4293 | 1248597.1879 | 2652957.556 | 1248596.9048
1 | 2653000.4293 | 1248597.1879 | 2652999.6427 | 1248612.5246 | 2652998.9312 | 1248617.7885 | 2652999.3319 | 1248622.7955 | 2652999.6119 | 1248637.0855 | 2652996.6167 | 1248655.3824 | 2652998.8845 | 1248661.8626 | 2652999.1968 | 1248666.6242 | 2653003.0921 | 1248666.748 | 2653004.2879 | 1248668.9713 | 2653006.4516 | 1248671.0587 | 2653009.3187 | 1248673.0079 | 2653009.0602 | 1248679.1097 | 2653008.6261 | 1248687.9674 | 2653008.5124 | 1248692.236
2 | 2653000.4293 | 1248597.1879 | 2653000.2775 | 1248570.4471
3 | 2652957.7098 | 1248605.8901 | 2652957.556 | 1248596.9048
4 | 2652957.556 | 1248596.9048 | 2652938.4915 | 1248596.7767
5 | 2653008.5124 | 1248692.236 | 2653008.3507 | 1248695.9704 | 2653003.4239 | 1248698.0389 | 2652999.4507 | 1248700.7275 | 2652995.8686 | 1248704.4313 | 2652993.0712 | 1248711.5779 | 2652986.3899 | 1248734.2336 | 2652975.3699 | 1248765.8345 | 2652972.2444 | 1248775.9024 | 2652971.9674 | 1248784.0833 | 2652973.1732 | 1248790.845
6 | 2653000.1155 | 1248541.9141 | 2653000.2775 | 1248570.4471
7 | 2652932.8957 | 1248596.7391 | 2652938.4915 | 1248596.7767
8 | 2652962.7317 | 1248544.1484 | 2652996.6098 | 1248542.1274 | 2653000.1155 | 1248541.9141
9 | 2652999.6345 | 1248515.4696 | 2653000.1155 | 1248541.9141
10 | 2653000.1155 | 1248541.9141 | 2653032.3993 | 1248541.1176
11 | 2652962.7317 | 1248544.1484 | 2652961.5857 | 1248563.3957
12 | 2652962.7317 | 1248544.1484 | 2652960.2535 | 1248544.2963
13 | 2652999.9085 | 1248493.268 | 2652999.6345 | 1248515.4696
14 | 2652999.6345 | 1248515.4696 | 2652978.3663 | 1248516.735
15 | 2652900.2259 | 1248596.2039 | 2652899.681 | 1248641.6489
16 | 2652900.2259 | 1248596.2039 | 2652891.3378 | 1248596.1711
17 | 2652900.2259 | 1248596.2039 | 2652906.7902 | 1248596.3691
18 | 2652891.3378 | 1248596.1711 | 2652884.7528 | 1248596.1468
19 | 2652906.7902 | 1248596.3691 | 2652912.3774 | 1248596.5097
20 | 2652917.3406 | 1248596.6346 | 2652912.3774 | 1248596.5097
21 | 2652917.3406 | 1248596.6346 | 2652927.2998 | 1248596.7015
22 | 2652960.2535 | 1248544.2963 | 2652933.6026 | 1248545.8867
23 | 2652999.9085 | 1248493.268 | 2652997.8448 | 1248481.9635
24 | 2652999.9085 | 1248493.268 | 2653016.7829 | 1248492.1538
25 | 2652959.6668 | 1248517.8476 | 2652978.3663 | 1248516.735
26 | 2652907.0819 | 1248547.4694 | 2652933.6026 | 1248545.8867
27 | 2652837.1553 | 1248383.551 | 2652857.0293 | 1248344.4113
28 | 2652807.6965 | 1248441.563 | 2652818.3266 | 1248420.6323 | 2652837.1553 | 1248383.551
29 | 2652857.0293 | 1248344.4113 | 2652867.201 | 1248324.3791
30 | 2652807.6965 | 1248441.563 | 2652821.2089 | 1248440.3825 | 2652825.6941 | 1248439.8897
31 | 2652880.1662 | 1248298.8456 | 2652867.201 | 1248324.3791
32 | 2652825.6941 | 1248439.8897 | 2652847.8561 | 1248437.4547
33 | 2652884.0008 | 1248291.2937 | 2652880.1662 | 1248298.8456
34 | 2652847.8561 | 1248437.4547 | 2652885.0222 | 1248433.3712
35 | 2652888.8901 | 1248281.6648 | 2652884.0008 | 1248291.2937
36 | 2652912.9353 | 1248430.3043 | 2652885.0222 | 1248433.3712
37 | 2652912.9353 | 1248430.3043 | 2652915.7415 | 1248447.0892
38 | 2652912.9353 | 1248430.3043 | 2652911.0781 | 1248415.3066
39 | 2652919.509 | 1248469.623 | 2652915.7415 | 1248447.0892
40 | 2652910.6831 | 1248412.117 | 2652911.0781 | 1248415.3066
41 | 2652747.3016 | 1248557.6826 | 2652764.7306 | 1248556.3564
42 | 2652782.3632 | 1248555.0148 | 2652764.7306 | 1248556.3564
43 | 2652742.3595 | 1248568.268 | 2652747.3016 | 1248557.6826
44 | 2652782.3632 | 1248555.0148 | 2652787.9022 | 1248554.5749
45 | 2652782.3632 | 1248555.0148 | 2652783.003 | 1248567.9627
46 | 2652742.3595 | 1248568.268 | 2652734.9291 | 1248585.2469 | 2652738.5319 | 1248586.8467 | 2652754.7009 | 1248590.0259 | 2652758.4675 | 1248590.1929
47 | 2652724.5076 | 1248609.9488 | 2652734.9291 | 1248585.2469 | 2652742.3595 | 1248568.268
48 | 2652742.3595 | 1248568.268 | 2652714.3534 | 1248567.2517 | 2652709.4388 | 1248573.0565 | 2652700.8997 | 1248573.1416
49 | 2652787.9022 | 1248554.5749 | 2652820.6708 | 1248552.6258
50 | 2652787.9022 | 1248554.5749 | 2652792.0844 | 1248547.4885
51 | 2652757.2816 | 1248614.8436 | 2652757.861 | 1248603.1963 | 2652758.0627 | 1248599.1954 | 2652758.4675 | 1248590.1929
52 | 2652724.5076 | 1248609.9488 | 2652708.7193 | 1248607.7445
53 | 2652822.3694 | 1248552.5248 | 2652820.6708 | 1248552.6258
54 | 2652812.2373 | 1248513.3412 | 2652792.0844 | 1248547.4885
55 | 2652757.2816 | 1248614.8436 | 2652756.2026 | 1248636.3255
56 | 2652708.7193 | 1248607.7445 | 2652699.1557 | 1248606.4093
57 | 2652822.3694 | 1248552.5248 | 2652822.4193 | 1248571.4937
58 | 2652822.3694 | 1248552.5248 | 2652843.0532 | 1248551.2904
59 | 2652812.2373 | 1248513.3412 | 2652815.8024 | 1248507.3022 | 2652815.8737 | 1248507.2394
60 | 2652864.3065 | 1248483.9344 | 2652834.2425 | 1248486.997 | 2652834.2425 | 1248486.997
61 | 2652864.3065 | 1248483.9344 | 2652873.0547 | 1248483.0432
62 | 2652815.8737 | 1248507.2394 | 2652824.715 | 1248499.454 | 2652826.9547 | 1248491.3239 | 2652834.2425 | 1248486.997
63 | 2652884.021 | 1248481.926 | 2652873.0547 | 1248483.0432
64 | 2652884.021 | 1248481.926 | 2652902.5813 | 1248478.6448 | 2652908.1853 | 1248475.6581
65 | 2652919.509 | 1248469.623 | 2652908.1853 | 1248475.6581
66 | 2652944.7001 | 1248455.2825 | 2652919.509 | 1248469.623
67 | 2652919.509 | 1248469.623 | 2652920.9819 | 1248487.7584
68 | 2652879.9759 | 1248234.4549 | 2652884.8949 | 1248240.0581 | 2652885.2294 | 1248241.3317
69 | 2652888.8901 | 1248281.6648 | 2652885.2294 | 1248241.3317
70 | 2652879.9759 | 1248234.4549 | 2652860.1532 | 1248246.2529
71 | 2652837.939 | 1248254.8444 | 2652860.1532 | 1248246.2529 | 2652860.1532 | 1248246.2529
72 | 2652837.939 | 1248254.8444 | 2652804.8083 | 1248267.658
73 | 2652758.7889 | 1248285.2943 | 2652783.7467 | 1248275.8038 | 2652804.8083 | 1248267.658
74 | 2652848.4023 | 1248550.9712 | 2652843.0532 | 1248551.2904
75 | 2652754.8037 | 1248664.1774 | 2652756.2026 | 1248636.3255
76 | 2652697.5456 | 1248606.1845 | 2652699.1557 | 1248606.4093
77 | 2652904.7125 | 1248337.0597 | 2652911.0926 | 1248321.1802 | 2652912.0325 | 1248319.7832
78 | 2652904.7125 | 1248337.0597 | 2652902.2033 | 1248343.3049 | 2652903.1843 | 1248354.4559
79 | 2652904.2417 | 1248366.4744 | 2652903.1843 | 1248354.4559
80 | 2652904.2417 | 1248366.4744 | 2652904.2807 | 1248366.9172 | 2652906.203 | 1248379.5814
81 | 2652906.9909 | 1248384.7722 | 2652906.203 | 1248379.5814
82 | 2652906.9909 | 1248384.7722 | 2652907.2968 | 1248386.7876
83 | 2652920.9819 | 1248487.7584 | 2652921.8672 | 1248498.6589
84 | 2652922.1351 | 1248501.9573 | 2652921.8672 | 1248498.6589
85 | 2652946.2703 | 1248475.6214 | 2652944.7001 | 1248455.2825
86 | 2652944.7001 | 1248455.2825 | 2652955.3183 | 1248450.818
87 | 2652955.3183 | 1248450.818 | 2652962.6189 | 1248447.7484 | 2652974.8212 | 1248445.0419
88 | 2652848.4023 | 1248550.9712 | 2652868.3919 | 1248549.7783
89 | 2652868.5603 | 1248549.7682 | 2652868.3919 | 1248549.7783
90 | 2652902.4769 | 1248547.7442 | 2652868.5603 | 1248549.7682
91 | 2652902.4769 | 1248547.7442 | 2652907.0819 | 1248547.4694
92 | 2652932.8957 | 1248596.7391 | 2652927.2998 | 1248596.7015
93 | 2652910.6831 | 1248412.117 | 2652908.6527 | 1248395.7203 | 2652907.2968 | 1248386.7876
94 | 2652693.5177 | 1248615.0325 | 2652697.5456 | 1248606.1845
95 | 2652693.5177 | 1248615.0325 | 2652685.3458 | 1248634.74
96 | 2652693.5177 | 1248615.0325 | 2652667.7071 | 1248613.9944
97 | 2652754.8037 | 1248664.1774 | 2652740.8764 | 1248699.3186

## bus_geodata
| x | y | coords
0 | 2653000.4293 | 1248597.1879
1 | 2652957.556 | 1248596.9048
2 | 2653008.5124 | 1248692.236
3 | 2653000.2775 | 1248570.4471
4 | 2652957.7098 | 1248605.8901
5 | 2652938.4915 | 1248596.7767
6 | 2652973.1732 | 1248790.845
7 | 2653000.1155 | 1248541.9141
8 | 2653032.3993 | 1248541.1176
9 | 2652962.7317 | 1248544.1484
10 | 2652999.6345 | 1248515.4696
11 | 2652899.681 | 1248641.6489
12 | 2652900.2259 | 1248596.2039
13 | 2652891.3378 | 1248596.1711
14 | 2652906.7902 | 1248596.3691
15 | 2652884.7528 | 1248596.1468
16 | 2652912.3774 | 1248596.5097
17 | 2652917.3406 | 1248596.6346
18 | 2652961.5857 | 1248563.3957
19 | 2652960.2535 | 1248544.2963
20 | 2652999.9085 | 1248493.268
21 | 2652978.3663 | 1248516.735
22 | 2652933.6026 | 1248545.8867
23 | 2652997.8448 | 1248481.9635
24 | 2653016.7829 | 1248492.1538
25 | 2652959.6668 | 1248517.8476
26 | 2652837.1553 | 1248383.551
27 | 2652857.0293 | 1248344.4113
28 | 2652807.6965 | 1248441.563
29 | 2652867.201 | 1248324.3791
30 | 2652825.6941 | 1248439.8897
31 | 2652880.1662 | 1248298.8456
32 | 2652847.8561 | 1248437.4547
33 | 2652884.0008 | 1248291.2937
34 | 2652885.0222 | 1248433.3712
35 | 2652912.9353 | 1248430.3043
36 | 2652915.7415 | 1248447.0892
37 | 2652911.0781 | 1248415.3066
38 | 2652764.7306 | 1248556.3564
39 | 2652747.3016 | 1248557.6826
40 | 2652782.3632 | 1248555.0148
41 | 2652742.3595 | 1248568.268
42 | 2652787.9022 | 1248554.5749
43 | 2652783.003 | 1248567.9627
44 | 2652758.4675 | 1248590.1929
45 | 2652724.5076 | 1248609.9488
46 | 2652700.8997 | 1248573.1416
47 | 2652820.6708 | 1248552.6258
48 | 2652792.0844 | 1248547.4885
49 | 2652757.2816 | 1248614.8436
50 | 2652708.7193 | 1248607.7445
51 | 2652822.3694 | 1248552.5248
52 | 2652812.2373 | 1248513.3412
53 | 2652864.3065 | 1248483.9344
54 | 2652834.2425 | 1248486.997
55 | 2652873.0547 | 1248483.0432
56 | 2652815.8737 | 1248507.2394
57 | 2652884.021 | 1248481.926
58 | 2652908.1853 | 1248475.6581
59 | 2652919.509 | 1248469.623
60 | 2652885.2294 | 1248241.3317
61 | 2652879.9759 | 1248234.4549
62 | 2652888.8901 | 1248281.6648
63 | 2652860.1532 | 1248246.2529
64 | 2652837.939 | 1248254.8444
65 | 2652804.8083 | 1248267.658
66 | 2652822.4193 | 1248571.4937
67 | 2652843.0532 | 1248551.2904
68 | 2652756.2026 | 1248636.3255
69 | 2652699.1557 | 1248606.4093
70 | 2652904.7125 | 1248337.0597
71 | 2652912.0325 | 1248319.7832
72 | 2652903.1843 | 1248354.4559
73 | 2652904.2417 | 1248366.4744
74 | 2652906.203 | 1248379.5814
75 | 2652906.9909 | 1248384.7722
76 | 2652921.8672 | 1248498.6589
77 | 2652920.9819 | 1248487.7584
78 | 2652922.1351 | 1248501.9573
79 | 2652944.7001 | 1248455.2825
80 | 2652946.2703 | 1248475.6214
81 | 2652955.3183 | 1248450.818
82 | 2652848.4023 | 1248550.9712
83 | 2652868.3919 | 1248549.7783
84 | 2652868.5603 | 1248549.7683
85 | 2652902.4769 | 1248547.7442
86 | 2652758.7889 | 1248285.2943
87 | 2652932.8957 | 1248596.7391
88 | 2652974.8212 | 1248445.0419
89 | 2652907.2968 | 1248386.7876
90 | 2652927.2998 | 1248596.7015
91 | 2652907.0819 | 1248547.4694
92 | 2652910.6831 | 1248412.117
93 | 2652697.5456 | 1248606.1845
94 | 2652693.5177 | 1248615.0325
95 | 2652685.3458 | 1248634.74
96 | 2652667.7071 | 1248613.9944
97 | 2652754.8037 | 1248664.1774
98 | 2652740.8764 | 1248699.3186
99 | 2652962.7317 | 1248544.1484

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1