## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4223-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4223-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4223-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4223-4_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4223-4_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4223-4_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_4223-4_0_5_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_4223-4_0_5_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_4223-4_0_5_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_4223-4_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_4223-4_0_5_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_4223-4_0_5_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_4223-4_0_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_4223-4_0_5_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_4223-4_0_5_node_96 | 0.4 | n |  | TRUE
15 | bus_LV_4223-4_0_5_node_54 | 0.4 | n |  | TRUE
16 | bus_LV_4223-4_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_4223-4_0_5_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_4223-4_0_5_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_4223-4_0_5_node_89 | 0.4 | n |  | TRUE
20 | bus_LV_4223-4_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_4223-4_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_4223-4_0_5_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_4223-4_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_4223-4_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_4223-4_0_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_4223-4_0_5_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_4223-4_0_5_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_4223-4_0_5_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_4223-4_0_5_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_4223-4_0_5_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_4223-4_0_5_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_4223-4_0_5_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_4223-4_0_5_node_79 | 0.4 | n |  | TRUE
34 | bus_LV_4223-4_0_5_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_4223-4_0_5_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_4223-4_0_5_node_69 | 0.4 | n |  | TRUE
37 | bus_LV_4223-4_0_5_node_64 | 0.4 | n |  | TRUE
38 | bus_LV_4223-4_0_5_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_4223-4_0_5_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_4223-4_0_5_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_4223-4_0_5_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_4223-4_0_5_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_4223-4_0_5_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_4223-4_0_5_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_4223-4_0_5_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_4223-4_0_5_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_4223-4_0_5_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_4223-4_0_5_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_4223-4_0_5_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_4223-4_0_5_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_4223-4_0_5_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_4223-4_0_5_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_4223-4_0_5_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_4223-4_0_5_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_4223-4_0_5_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_4223-4_0_5_node_83 | 0.4 | n |  | TRUE
57 | bus_LV_4223-4_0_5_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_4223-4_0_5_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_4223-4_0_5_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_4223-4_0_5_node_86 | 0.4 | n |  | TRUE
61 | bus_LV_4223-4_0_5_node_81 | 0.4 | n |  | TRUE
62 | bus_LV_4223-4_0_5_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_4223-4_0_5_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_4223-4_0_5_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_4223-4_0_5_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_4223-4_0_5_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_4223-4_0_5_node_92 | 0.4 | n |  | TRUE
68 | bus_LV_4223-4_0_5_node_93 | 0.4 | n |  | TRUE
69 | bus_LV_4223-4_0_5_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_4223-4_0_5_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_4223-4_0_5_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_4223-4_0_5_node_88 | 0.4 | n |  | TRUE
73 | bus_LV_4223-4_0_5_node_94 | 0.4 | n |  | TRUE
74 | bus_LV_4223-4_0_5_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_4223-4_0_5_node_90 | 0.4 | n |  | TRUE
76 | bus_LV_4223-4_0_5_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_4223-4_0_5_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_4223-4_0_5_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_4223-4_0_5_node_95 | 0.4 | n |  | TRUE
80 | bus_LV_4223-4_0_5_node_101 | 0.4 | n |  | TRUE
81 | bus_LV_4223-4_0_5_node_111 | 0.4 | n |  | TRUE
82 | bus_LV_4223-4_0_5_node_99 | 0.4 | n |  | TRUE
83 | bus_LV_4223-4_0_5_node_109 | 0.4 | n |  | TRUE
84 | bus_LV_4223-4_0_5_node_62 | 0.4 | n |  | TRUE
85 | bus_LV_4223-4_0_5_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_4223-4_0_5_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_4223-4_0_5_node_100 | 0.4 | n |  | TRUE
88 | bus_LV_4223-4_0_5_node_85 | 0.4 | n |  | TRUE
89 | bus_LV_4223-4_0_5_node_72 | 0.4 | n |  | TRUE
90 | bus_LV_4223-4_0_5_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_4223-4_0_5_node_73 | 0.4 | n |  | TRUE
92 | bus_LV_4223-4_0_5_node_77 | 0.4 | n |  | TRUE
93 | bus_LV_4223-4_0_5_node_102 | 0.4 | n |  | TRUE
94 | bus_LV_4223-4_0_5_node_103 | 0.4 | n |  | TRUE
95 | bus_LV_4223-4_0_5_node_104 | 0.4 | n |  | TRUE
96 | bus_LV_4223-4_0_5_node_80 | 0.4 | n |  | TRUE
97 | bus_LV_4223-4_0_5_node_82 | 0.4 | n |  | TRUE
98 | bus_LV_4223-4_0_5_node_84 | 0.4 | n |  | TRUE
99 | bus_LV_4223-4_0_5_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_4223-4_0_5_node_87 | 0.4 | n |  | TRUE
101 | bus_LV_4223-4_0_5_node_98 | 0.4 | n |  | TRUE
102 | bus_LV_4223-4_0_5_node_91 | 0.4 | n |  | TRUE
103 | bus_LV_4223-4_0_5_node_105 | 0.4 | n |  | TRUE
104 | bus_LV_4223-4_0_5_node_110 | 0.4 | n |  | TRUE
105 | bus_LV_4223-4_0_5_node_106 | 0.4 | n |  | TRUE
106 | bus_LV_4223-4_0_5_node_107 | 0.4 | n |  | TRUE
107 | bus_LV_4223-4_0_5_node_108 | 0.4 | n |  | TRUE
108 | bus_MV_435_0_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4223-4_0_5_load_0 | 0 | 0.0049841 | 0.0012491 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4223-4_0_5_load_1 | 1 | 0.0060093 | 0.0015061 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4223-4_0_5_load_3 | 3 | 0.063423 | 0.015895 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4223-4_0_5_load_4 | 4 | 0.0051358 | 0.0012871 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4223-4_0_5_load_6 | 5 | 0.005222 | 0.0013088 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4223-4_0_5_load_7 | 6 | 0.012519 | 0.0031377 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4223-4_0_5_load_46 | 7 | 0.0044749 | 0.0011215 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4223-4_0_5_load_10 | 8 | 0.018695 | 0.0046853 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4223-4_0_5_load_8 | 9 | 0.003121 | 0.00078219 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4223-4_0_5_load_26 | 10 | 0.0025371 | 0.00063586 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4223-4_0_5_load_45 | 11 | 0.012134 | 0.003041 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4223-4_0_5_load_25 | 13 | 0.0025834 | 0.00064745 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4223-4_0_5_load_96 | 14 | 0.00066657 | 0.00016706 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4223-4_0_5_load_13 | 16 | 0.022565 | 0.0056554 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4223-4_0_5_load_56 | 17 | 0.0045012 | 0.0011281 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4223-4_0_5_load_55 | 18 | 0.00085893 | 0.00021527 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4223-4_0_5_load_89 | 19 | 0.0093538 | 0.0023443 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4223-4_0_5_load_14 | 20 | 0.0072934 | 0.0018279 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4223-4_0_5_load_15 | 21 | 0.0032632 | 0.00081782 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4223-4_0_5_load_18 | 24 | 0.0045619 | 0.0011433 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4223-4_0_5_load_19 | 25 | 0.02946 | 0.0073835 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4223-4_0_5_load_20 | 26 | 0.029373 | 0.0073615 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4223-4_0_5_load_22 | 28 | 0.002909 | 0.00072907 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4223-4_0_5_load_23 | 29 | 0.0024719 | 0.00061951 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4223-4_0_5_load_68 | 31 | 0.0077016 | 0.0019302 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4223-4_0_5_load_79 | 33 | 0.0060668 | 0.0015205 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4223-4_0_5_load_47 | 35 | 0.015725 | 0.0039411 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4223-4_0_5_load_69 | 36 | 0.0014685 | 0.00036805 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4223-4_0_5_load_78 | 38 | 0.0016899 | 0.00042352 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4223-4_0_5_load_28 | 39 | 0.011093 | 0.0027801 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4223-4_0_5_load_48 | 40 | 0.014233 | 0.0035671 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4223-4_0_5_load_29 | 41 | 0.0023134 | 0.0005798 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4223-4_0_5_load_30 | 43 | 0.0010756 | 0.00026957 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4223-4_0_5_load_31 | 44 | 0.0025244 | 0.00063268 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4223-4_0_5_load_34 | 47 | 0.0014155 | 0.00035475 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4223-4_0_5_load_35 | 48 | 0.00099826 | 0.00025019 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4223-4_0_5_load_36 | 49 | 0.0031315 | 0.00078484 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4223-4_0_5_load_37 | 50 | 0.0045343 | 0.0011364 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4223-4_0_5_load_38 | 51 | 0.012847 | 0.0032197 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4223-4_0_5_load_39 | 52 | 0.0043734 | 0.0010961 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4223-4_0_5_load_40 | 54 | 0.0028851 | 0.00072307 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4223-4_0_5_load_49 | 55 | 0.0063831 | 0.0015998 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4223-4_0_5_load_59 | 57 | 0.001556 | 0.00038997 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4223-4_0_5_load_57 | 58 | 0.001875 | 0.00046992 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4223-4_0_5_load_86 | 60 | 0.0035295 | 0.00088457 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4223-4_0_5_load_81 | 61 | 0.0024614 | 0.00061689 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4223-4_0_5_load_42 | 62 | 0.0010209 | 0.00025586 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4223-4_0_5_load_43 | 63 | 0.0076757 | 0.0019237 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4223-4_0_5_load_71 | 64 | 0.0081564 | 0.0020442 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4223-4_0_5_load_70 | 65 | 0.0079136 | 0.0019833 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4223-4_0_5_load_58 | 66 | 0.0068299 | 0.0017117 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4223-4_0_5_load_92 | 67 | 0.0070759 | 0.0017734 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4223-4_0_5_load_93 | 68 | 0.0084511 | 0.002118 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4223-4_0_5_load_51 | 70 | 0.0047692 | 0.0011953 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4223-4_0_5_load_52 | 71 | 0.0060115 | 0.0015066 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4223-4_0_5_load_88 | 72 | 0.0016725 | 0.00041918 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4223-4_0_5_load_94 | 73 | 0.017327 | 0.0043426 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4223-4_0_5_load_76 | 74 | 0.0091231 | 0.0022865 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4223-4_0_5_load_90 | 75 | 0.0059477 | 0.0014906 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4223-4_0_5_load_75 | 76 | 0.0019755 | 0.00049511 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4223-4_0_5_load_60 | 77 | 0.0021651 | 0.00054263 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4223-4_0_5_load_61 | 78 | 0.0024205 | 0.00060663 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4223-4_0_5_load_95 | 79 | 0.0024511 | 0.00061431 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4223-4_0_5_load_101 | 80 | 0.001269 | 0.00031804 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4223-4_0_5_load_111 | 81 | 0.0092283 | 0.0023128 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4223-4_0_5_load_99 | 82 | 0.0026187 | 0.0006563 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4223-4_0_5_load_62 | 84 | 0.0053059 | 0.0013298 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4223-4_0_5_load_100 | 87 | 0.0076808 | 0.001925 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4223-4_0_5_load_85 | 88 | 0.0094546 | 0.0023695 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4223-4_0_5_load_77 | 92 | 0.0093488 | 0.002343 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4223-4_0_5_load_82 | 97 | 0.0084284 | 0.0021123 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4223-4_0_5_load_84 | 98 | 0.0014403 | 0.00036097 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4223-4_0_5_load_97 | 99 | 0.0014331 | 0.00035917 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4223-4_0_5_load_87 | 100 | 0.004191 | 0.0010504 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4223-4_0_5_load_98 | 101 | 0.0028398 | 0.00071173 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4223-4_0_5_load_91 | 102 | 0.0063254 | 0.0015853 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4223-4_0_5_load_105 | 103 | 0.0059888 | 0.0015009 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4223-4_0_5_load_106 | 105 | 0.0047655 | 0.0011944 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4223-4_0_5_load_107 | 106 | 0.0028537 | 0.00071521 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4223-4_0_5_load_108 | 107 | 0.0076873 | 0.0019266 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4223-4_0_5_line_0 |  | 0 | 1 | 0.0027759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4223-4_0_5_line_1 |  | 0 | 2 | 0.018885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4223-4_0_5_line_2 |  | 1 | 3 | 0.032219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4223-4_0_5_line_3 |  | 2 | 4 | 0.05794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4223-4_0_5_line_4 |  | 3 | 5 | 0.0078331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4223-4_0_5_line_5 |  | 4 | 6 | 0.028835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4223-4_0_5_line_6 |  | 5 | 7 | 0.019701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_4223-4_0_5_line_7 |  | 6 | 8 | 0.023269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4223-4_0_5_line_8 |  | 7 | 11 | 0.0064641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_4223-4_0_5_line_9 |  | 8 | 12 | 0.041244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4223-4_0_5_line_10 |  | 9 | 10 | 0.0096036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4223-4_0_5_line_11 |  | 10 | 13 | 0.00091769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4223-4_0_5_line_12 |  | 11 | 30 | 0.026603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_4223-4_0_5_line_13 |  | 12 | 16 | 0.028847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4223-4_0_5_line_14 |  | 13 | 34 | 0.043108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4223-4_0_5_line_15 |  | 14 | 15 | 0.050312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4223-4_0_5_line_16 |  | 15 | 42 | 0.035503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4223-4_0_5_line_17 |  | 16 | 17 | 0.0011915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4223-4_0_5_line_18 |  | 18 | 19 | 0.033582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4223-4_0_5_line_19 |  | 19 | 75 | 0.023431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4223-4_0_5_line_20 |  | 19 | 76 | 0.044706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4223-4_0_5_line_21 |  | 20 | 21 | 0.010879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4223-4_0_5_line_22 |  | 20 | 22 | 0.028067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4223-4_0_5_line_23 |  | 21 | 23 | 0.010991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4223-4_0_5_line_24 |  | 22 | 24 | 0.011772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4223-4_0_5_line_25 |  | 22 | 25 | 0.035023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4223-4_0_5_line_26 |  | 22 | 26 | 0.017258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_4223-4_0_5_line_27 |  | 23 | 27 | 0.008774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4223-4_0_5_line_28 |  | 24 | 28 | 0.021806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4223-4_0_5_line_29 |  | 25 | 29 | 0.014321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4223-4_0_5_line_30 |  | 26 | 30 | 0.018502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_4223-4_0_5_line_31 |  | 27 | 31 | 0.01204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4223-4_0_5_line_32 |  | 27 | 32 | 0.026958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4223-4_0_5_line_33 |  | 28 | 33 | 0.0054587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4223-4_0_5_line_34 |  | 29 | 34 | 0.022347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4223-4_0_5_line_35 |  | 30 | 35 | 0.028381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_4223-4_0_5_line_36 |  | 32 | 36 | 0.012331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4223-4_0_5_line_37 |  | 32 | 37 | 0.034157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4223-4_0_5_line_38 |  | 33 | 38 | 0.015475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4223-4_0_5_line_39 |  | 34 | 39 | 0.0099981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4223-4_0_5_line_40 |  | 35 | 40 | 0.014514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_4223-4_0_5_line_41 |  | 36 | 88 | 0.022873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4223-4_0_5_line_42 |  | 37 | 84 | 0.0061691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4223-4_0_5_line_43 |  | 38 | 96 | 0.010722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4223-4_0_5_line_44 |  | 39 | 41 | 0.0092075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4223-4_0_5_line_45 |  | 40 | 67 | 0.0098745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4223-4_0_5_line_46 |  | 41 | 42 | 0.052612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4223-4_0_5_line_47 |  | 43 | 44 | 0.019616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4223-4_0_5_line_48 |  | 43 | 45 | 0.011616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4223-4_0_5_line_49 |  | 44 | 46 | 0.00018866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4223-4_0_5_line_50 |  | 45 | 47 | 0.012934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4223-4_0_5_line_51 |  | 45 | 48 | 0.0015741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4223-4_0_5_line_52 |  | 46 | 49 | 0.011284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4223-4_0_5_line_53 |  | 46 | 50 | 0.02661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4223-4_0_5_line_54 |  | 47 | 51 | 0.034645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4223-4_0_5_line_55 |  | 48 | 52 | 0.010588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4223-4_0_5_line_56 |  | 49 | 53 | 0.027762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4223-4_0_5_line_57 |  | 50 | 54 | 0.010059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4223-4_0_5_line_58 |  | 51 | 55 | 0.0002406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4223-4_0_5_line_59 |  | 52 | 56 | 0.0092777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4223-4_0_5_line_60 |  | 53 | 57 | 0.013919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4223-4_0_5_line_61 |  | 53 | 58 | 0.015208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4223-4_0_5_line_62 |  | 54 | 59 | 0.016318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4223-4_0_5_line_63 |  | 56 | 60 | 0.012145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4223-4_0_5_line_64 |  | 56 | 61 | 0.010574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4223-4_0_5_line_65 |  | 58 | 66 | 0.026472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4223-4_0_5_line_66 |  | 59 | 62 | 0.012245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4223-4_0_5_line_67 |  | 59 | 63 | 0.026456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4223-4_0_5_line_68 |  | 60 | 100 | 0.014948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4223-4_0_5_line_69 |  | 61 | 96 | 0.011564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4223-4_0_5_line_70 |  | 63 | 64 | 0.011578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4223-4_0_5_line_71 |  | 64 | 65 | 0.0076524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4223-4_0_5_line_72 |  | 65 | 89 | 0.024816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4223-4_0_5_line_73 |  | 67 | 68 | 0.0047869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4223-4_0_5_line_74 |  | 68 | 73 | 0.0024919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4223-4_0_5_line_75 |  | 69 | 70 | 0.013693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4223-4_0_5_line_76 |  | 69 | 71 | 0.010185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4223-4_0_5_line_77 |  | 70 | 72 | 0.0050286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4223-4_0_5_line_78 |  | 71 | 73 | 0.01327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4223-4_0_5_line_79 |  | 72 | 74 | 0.011699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4223-4_0_5_line_80 |  | 74 | 91 | 0.015495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4223-4_0_5_line_81 |  | 75 | 102 | 0.0034119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4223-4_0_5_line_82 |  | 76 | 91 | 0.031935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4223-4_0_5_line_83 |  | 77 | 78 | 0.0095542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4223-4_0_5_line_84 |  | 78 | 79 | 0.011087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4223-4_0_5_line_85 |  | 79 | 83 | 0.030688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4223-4_0_5_line_86 |  | 80 | 81 | 0.10975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4223-4_0_5_line_87 |  | 80 | 82 | 0.0058783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4223-4_0_5_line_88 |  | 81 | 104 | 0.027424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4223-4_0_5_line_89 |  | 82 | 87 | 0.0083891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4223-4_0_5_line_90 |  | 83 | 104 | 0.086047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4223-4_0_5_line_91 |  | 84 | 85 | 0.010709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4223-4_0_5_line_92 |  | 85 | 86 | 0.03034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4223-4_0_5_line_93 |  | 86 | 87 | 0.023733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4223-4_0_5_line_94 |  | 89 | 90 | 0.03402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4223-4_0_5_line_95 |  | 90 | 92 | 0.020897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4223-4_0_5_line_96 |  | 93 | 94 | 0.047955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4223-4_0_5_line_97 |  | 93 | 95 | 0.001724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4223-4_0_5_line_98 |  | 94 | 105 | 0.019362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4223-4_0_5_line_99 |  | 94 | 103 | 0.02084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4223-4_0_5_line_100 |  | 95 | 106 | 0.027129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4223-4_0_5_line_101 |  | 97 | 98 | 0.015063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4223-4_0_5_line_102 |  | 98 | 99 | 0.0038656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4223-4_0_5_line_103 |  | 99 | 101 | 0.0037004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4223-4_0_5_line_104 |  | 100 | 101 | 0.010511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4223-4_0_5_line_105 |  | 102 | 103 | 0.03245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4223-4_0_5_line_106 |  | 105 | 107 | 0.0039296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4223-4_0_5_trafo_48 | 0.63 MVA 20/0.4 kV | 108 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2670288.7585 | 1229393.2896 | 2670287.393 | 1229390.8729
1 | 2670298.0485 | 1229409.7321 | 2670288.7585 | 1229393.2896
2 | 2670271.4354 | 1229362.883 | 2670287.3922 | 1229390.8714 | 2670287.393 | 1229390.8729
3 | 2670298.0485 | 1229409.7321 | 2670287.5631 | 1229415.5009 | 2670247.2823 | 1229437.6582
4 | 2670271.4354 | 1229362.883 | 2670267.5558 | 1229356.0782
5 | 2670222.0176 | 1229451.5556 | 2670247.2823 | 1229437.6582
6 | 2670267.5558 | 1229356.0782 | 2670257.7982 | 1229338.9632
7 | 2670201.6294 | 1229462.7706 | 2670222.0176 | 1229451.5556
8 | 2670257.7982 | 1229338.9632 | 2670254.5966 | 1229333.3476
9 | 2670165.4918 | 1229482.6488 | 2670201.6294 | 1229462.7706
10 | 2670339.7293 | 1229344.4544 | 2670341.8152 | 1229353.4454 | 2670341.5008 | 1229353.6477
11 | 2670339.7293 | 1229344.4544 | 2670339.5219 | 1229343.5605
12 | 2670239.0951 | 1229311.9043 | 2670248.2393 | 1229322.1969 | 2670254.5966 | 1229333.3476
13 | 2670165.4918 | 1229482.6488 | 2670163.7763 | 1229511.4448
14 | 2670333.7468 | 1229300.9041 | 2670337.0791 | 1229333.0315 | 2670339.5219 | 1229343.5605
15 | 2670406.6887 | 1229314.5648 | 2670393.6352 | 1229363.1537
16 | 2670406.6887 | 1229314.5648 | 2670400.8805 | 1229304.0892 | 2670402.4692 | 1229280.6146
17 | 2670163.7763 | 1229511.4448 | 2670163.7054 | 1229512.6342
18 | 2670111.9349 | 1229450.6851 | 2670111.4939 | 1229457.8847 | 2670109.4952 | 1229484.1781
19 | 2670111.9349 | 1229450.6851 | 2670088.5092 | 1229450.1981
20 | 2670111.9349 | 1229450.6851 | 2670113.4291 | 1229426.1309 | 2670116.1467 | 1229406.2091
21 | 2670281.9407 | 1229264.9681 | 2670286.4596 | 1229255.0718
22 | 2670265.1514 | 1229287.418 | 2670273.7441 | 1229277.0682 | 2670281.9407 | 1229264.9681 | 2670281.9407 | 1229264.9681
23 | 2670291.0251 | 1229245.0734 | 2670286.4596 | 1229255.0718
24 | 2670265.1514 | 1229287.418 | 2670255.3721 | 1229280.8648
25 | 2670265.1514 | 1229287.418 | 2670272.8639 | 1229293.2018 | 2670282.6594 | 1229295.8192 | 2670297.4966 | 1229299.3139
26 | 2670265.1514 | 1229287.418 | 2670252.6981 | 1229299.3666
27 | 2670293.8583 | 1229236.768 | 2670291.0251 | 1229245.0734
28 | 2670255.3721 | 1229280.8648 | 2670241.0883 | 1229275.9373 | 2670234.5517 | 1229274.4856
29 | 2670297.4966 | 1229299.3139 | 2670309.2992 | 1229302.0937 | 2670311.4937 | 1229302.1632
30 | 2670239.0951 | 1229311.9043 | 2670247.6717 | 1229304.1893 | 2670252.6981 | 1229299.3666
31 | 2670293.8583 | 1229236.768 | 2670297.9619 | 1229225.4492
32 | 2670293.8583 | 1229236.768 | 2670271.5683 | 1229228.4659 | 2670269.7055 | 1229225.8199
33 | 2670229.2229 | 1229273.3022 | 2670234.5517 | 1229274.4856
34 | 2670333.7468 | 1229300.9041 | 2670320.5004 | 1229302.4486 | 2670311.4937 | 1229302.1632
35 | 2670239.0951 | 1229311.9043 | 2670217.4973 | 1229330.3162
36 | 2670269.7055 | 1229225.8199 | 2670259.109 | 1229226.8621 | 2670257.426 | 1229226.8666
37 | 2670269.7055 | 1229225.8199 | 2670267.4626 | 1229222.6357 | 2670266.3017 | 1229213.8051 | 2670267.3746 | 1229199.953 | 2670270.1235 | 1229193.0142
38 | 2670213.9586 | 1229271.4431 | 2670220.5725 | 1229271.381 | 2670229.2229 | 1229273.3022
39 | 2670333.7468 | 1229300.9041 | 2670339.3595 | 1229299.7364 | 2670343.2564 | 1229298.0024
40 | 2670217.4973 | 1229330.3162 | 2670215.8367 | 1229331.7318 | 2670205.3965 | 1229338.2954
41 | 2670234.5531 | 1229226.9278 | 2670257.426 | 1229226.8666
42 | 2670270.1235 | 1229193.0142 | 2670276.2257 | 1229192.1079
43 | 2670203.2834 | 1229272.0107 | 2670205.8879 | 1229271.5189 | 2670213.9586 | 1229271.4431
44 | 2670351.7329 | 1229294.4235 | 2670349.9235 | 1229295.036 | 2670343.2564 | 1229298.0024
45 | 2670205.3965 | 1229338.2954 | 2670197.0368 | 1229343.5511 | 2670197.0368 | 1229343.5511
46 | 2670402.4692 | 1229280.6146 | 2670396.4468 | 1229281.822 | 2670375.7637 | 1229287.57 | 2670359.3178 | 1229291.8561 | 2670351.7329 | 1229294.4235
47 | 2670136.2989 | 1229252.6259 | 2670148.7979 | 1229261.45 | 2670152.1047 | 1229264.224
48 | 2670161.0038 | 1229271.6896 | 2670152.1047 | 1229264.224
49 | 2670136.2989 | 1229252.6259 | 2670136.1448 | 1229252.5171
50 | 2670161.0038 | 1229271.6896 | 2670153.3701 | 1229282.1306
51 | 2670161.0038 | 1229271.6896 | 2670162.4261 | 1229272.3639
52 | 2670136.1448 | 1229252.5171 | 2670126.9253 | 1229246.0106
53 | 2670136.1448 | 1229252.5171 | 2670131.5189 | 1229267.0166 | 2670130.1309 | 1229269.0683 | 2670121.7991 | 1229272.2355
54 | 2670153.3701 | 1229282.1306 | 2670153.0491 | 1229282.5696 | 2670153.3345 | 1229294.3363 | 2670158.7461 | 1229316.0021
55 | 2670172.2559 | 1229275.8141 | 2670169.5174 | 1229275.726 | 2670162.4261 | 1229272.3639
56 | 2670104.8415 | 1229229.1994 | 2670120.4109 | 1229241.4132 | 2670126.9253 | 1229246.0106
57 | 2670121.7991 | 1229272.2355 | 2670114.3012 | 1229275.0857 | 2670112.6655 | 1229276.3005 | 2670112.6655 | 1229276.3005
58 | 2670158.7461 | 1229316.0021 | 2670158.8044 | 1229316.2355
59 | 2670181.5289 | 1229276.1124 | 2670172.2559 | 1229275.8141
60 | 2670104.8415 | 1229229.1994 | 2670096.6419 | 1229240.4468
61 | 2670104.8415 | 1229229.1994 | 2670115.8749 | 1229218.7336
62 | 2670099.5533 | 1229285.0963 | 2670106.42 | 1229282.9536 | 2670112.6655 | 1229276.3005
63 | 2670181.5289 | 1229276.1124 | 2670180.8263 | 1229263.9873
64 | 2670181.5289 | 1229276.1124 | 2670191.9199 | 1229274.1532
65 | 2670115.8749 | 1229218.7336 | 2670115.8749 | 1229218.7336 | 2670122.4071 | 1229210.2717 | 2670126.1774 | 1229194.9461
66 | 2670099.5533 | 1229285.0963 | 2670087.5564 | 1229287.5481
67 | 2670099.5533 | 1229285.0963 | 2670098.7132 | 1229286.9543 | 2670093.9128 | 1229297.627 | 2670093.5724 | 1229303.3601 | 2670094.7932 | 1229305.8428 | 2670094.4875 | 1229310.0365
68 | 2670180.8263 | 1229263.9873 | 2670179.9616 | 1229249.0649 | 2670179.9616 | 1229249.0649
69 | 2670203.2834 | 1229272.0107 | 2670191.9199 | 1229274.1532
70 | 2670094.4875 | 1229310.0365 | 2670093.763 | 1229319.9734 | 2670093.479 | 1229321.5626
71 | 2670092.1331 | 1229329.0957 | 2670093.479 | 1229321.5626
72 | 2670087.7686 | 1229353.525 | 2670092.1331 | 1229329.0957
73 | 2670192.6075 | 1229345.3664 | 2670197.0368 | 1229343.5511
74 | 2670192.6075 | 1229345.3664 | 2670190.3018 | 1229346.3114
75 | 2670168.4256 | 1229354.7543 | 2670156.0494 | 1229360.614
76 | 2670168.4256 | 1229354.7543 | 2670178.0139 | 1229351.3198
77 | 2670151.509 | 1229362.7753 | 2670152.7538 | 1229362.1744 | 2670156.0494 | 1229360.614
78 | 2670178.0139 | 1229351.3198 | 2670178.5523 | 1229351.1269 | 2670190.3018 | 1229346.3114
79 | 2670151.509 | 1229362.7753 | 2670140.9739 | 1229367.8615 | 2670140.9739 | 1229367.8615
80 | 2670129.0534 | 1229377.7608 | 2670140.9739 | 1229367.8615
81 | 2670088.5092 | 1229450.1981 | 2670085.098 | 1229450.1272
82 | 2670129.0534 | 1229377.7608 | 2670122.4894 | 1229386.3669 | 2670117.4844 | 1229396.4035 | 2670116.1467 | 1229406.2091
83 | 2670163.6382 | 1229042.6811 | 2670161.3558 | 1229051.9587
84 | 2670166.2867 | 1229031.9155 | 2670163.6382 | 1229042.6811
85 | 2670173.6179 | 1229002.1155 | 2670166.2867 | 1229031.9155
86 | 2670249.3946 | 1229147.4726 | 2670259.3158 | 1229038.173
87 | 2670249.3946 | 1229147.4726 | 2670254.6411 | 1229150.1238
88 | 2670259.2307 | 1229010.7539 | 2670259.3158 | 1229038.173
89 | 2670254.6411 | 1229150.1238 | 2670257.1671 | 1229151.4003 | 2670261.9383 | 1229154.2528
90 | 2670173.6179 | 1229002.1155 | 2670259.2307 | 1229010.7539
91 | 2670285.7984 | 1229187.3067 | 2670276.2257 | 1229192.1079
92 | 2670283.0537 | 1229165.0484 | 2670278.876 | 1229173.6381 | 2670275.1553 | 1229181.3882 | 2670279.7588 | 1229184.2 | 2670282.8296 | 1229185.9263 | 2670285.7984 | 1229187.3067
93 | 2670283.0537 | 1229165.0484 | 2670267.1656 | 1229157.3779 | 2670261.9383 | 1229154.2528
94 | 2670053.7613 | 1229350.7559 | 2670087.7686 | 1229353.525
95 | 2670053.7613 | 1229350.7559 | 2670050.9392 | 1229361.363 | 2670045.8429 | 1229369.8745
96 | 2670073.6107 | 1229408.628 | 2670063.8076 | 1229412.4484 | 2670045.3368 | 1229416.9672 | 2670033.3526 | 1229417.5043 | 2670026.8466 | 1229416.7049
97 | 2670026.3121 | 1229418.3442 | 2670026.8466 | 1229416.7049
98 | 2670073.6107 | 1229408.628 | 2670081.298 | 1229405.6277 | 2670091.0814 | 1229400.3632
99 | 2670073.6107 | 1229408.628 | 2670073.535 | 1229429.4676
100 | 2670026.3121 | 1229418.3442 | 2670025.5881 | 1229433.5012 | 2670025.4636 | 1229445.4556
101 | 2670192.5897 | 1229241.9711 | 2670198.9557 | 1229243.274 | 2670199.8399 | 1229246.0307 | 2670201.4791 | 1229251.4587
102 | 2670192.5897 | 1229241.9711 | 2670188.8025 | 1229241.196
103 | 2670188.8025 | 1229241.196 | 2670185.1773 | 1229240.454
104 | 2670185.1773 | 1229240.454 | 2670182.7048 | 1229241.9592 | 2670179.9616 | 1229249.0649
105 | 2670085.098 | 1229450.1272 | 2670073.6396 | 1229449.889 | 2670072.147 | 1229447.9701 | 2670073.5297 | 1229430.9307 | 2670073.535 | 1229429.4676
106 | 2670094.5418 | 1229398.5012 | 2670091.0814 | 1229400.3632

## bus_geodata
| x | y | coords
0 | 2670288.7585 | 1229393.2896
1 | 2670287.393 | 1229390.8729
2 | 2670298.0485 | 1229409.7321
3 | 2670271.4354 | 1229362.883
4 | 2670247.2823 | 1229437.6582
5 | 2670267.5558 | 1229356.0782
6 | 2670222.0176 | 1229451.5556
7 | 2670257.7982 | 1229338.9632
8 | 2670201.6294 | 1229462.7706
9 | 2670341.5008 | 1229353.6477
10 | 2670339.7293 | 1229344.4544
11 | 2670254.5966 | 1229333.3476
12 | 2670165.4918 | 1229482.6488
13 | 2670339.5219 | 1229343.5605
14 | 2670393.6352 | 1229363.1537
15 | 2670406.6887 | 1229314.5648
16 | 2670163.7763 | 1229511.4448
17 | 2670163.7054 | 1229512.6342
18 | 2670109.4952 | 1229484.1781
19 | 2670111.9349 | 1229450.6851
20 | 2670281.9407 | 1229264.9681
21 | 2670286.4596 | 1229255.0718
22 | 2670265.1514 | 1229287.418
23 | 2670291.0251 | 1229245.0734
24 | 2670255.3721 | 1229280.8648
25 | 2670297.4966 | 1229299.3139
26 | 2670252.6981 | 1229299.3666
27 | 2670293.8583 | 1229236.768
28 | 2670234.5517 | 1229274.4856
29 | 2670311.4937 | 1229302.1632
30 | 2670239.0951 | 1229311.9043
31 | 2670297.9619 | 1229225.4492
32 | 2670269.7055 | 1229225.8199
33 | 2670229.2229 | 1229273.3022
34 | 2670333.7468 | 1229300.9041
35 | 2670217.4973 | 1229330.3162
36 | 2670257.426 | 1229226.8666
37 | 2670270.1235 | 1229193.0142
38 | 2670213.9586 | 1229271.4431
39 | 2670343.2564 | 1229298.0024
40 | 2670205.3965 | 1229338.2954
41 | 2670351.7329 | 1229294.4235
42 | 2670402.4692 | 1229280.6146
43 | 2670152.1047 | 1229264.224
44 | 2670136.2989 | 1229252.6259
45 | 2670161.0038 | 1229271.6896
46 | 2670136.1448 | 1229252.5171
47 | 2670153.3701 | 1229282.1306
48 | 2670162.4261 | 1229272.3639
49 | 2670126.9253 | 1229246.0106
50 | 2670121.7991 | 1229272.2355
51 | 2670158.7461 | 1229316.0021
52 | 2670172.2559 | 1229275.8141
53 | 2670104.8415 | 1229229.1994
54 | 2670112.6655 | 1229276.3005
55 | 2670158.8044 | 1229316.2355
56 | 2670181.5289 | 1229276.1124
57 | 2670096.6419 | 1229240.4468
58 | 2670115.8749 | 1229218.7336
59 | 2670099.5533 | 1229285.0963
60 | 2670180.8263 | 1229263.9873
61 | 2670191.9199 | 1229274.1532
62 | 2670087.5564 | 1229287.5481
63 | 2670094.4875 | 1229310.0365
64 | 2670093.479 | 1229321.5626
65 | 2670092.1331 | 1229329.0957
66 | 2670126.1774 | 1229194.9461
67 | 2670197.0368 | 1229343.5511
68 | 2670192.6075 | 1229345.3664
69 | 2670168.4256 | 1229354.7543
70 | 2670156.0494 | 1229360.614
71 | 2670178.0139 | 1229351.3198
72 | 2670151.509 | 1229362.7753
73 | 2670190.3018 | 1229346.3114
74 | 2670140.9739 | 1229367.8615
75 | 2670088.5092 | 1229450.1981
76 | 2670116.1467 | 1229406.2091
77 | 2670161.3558 | 1229051.9587
78 | 2670163.6382 | 1229042.6811
79 | 2670166.2867 | 1229031.9155
80 | 2670249.3946 | 1229147.4726
81 | 2670259.3158 | 1229038.173
82 | 2670254.6411 | 1229150.1238
83 | 2670173.6179 | 1229002.1155
84 | 2670276.2257 | 1229192.1079
85 | 2670285.7984 | 1229187.3067
86 | 2670283.0537 | 1229165.0484
87 | 2670261.9383 | 1229154.2528
88 | 2670234.5531 | 1229226.9278
89 | 2670087.7686 | 1229353.525
90 | 2670053.7613 | 1229350.7559
91 | 2670129.0534 | 1229377.7608
92 | 2670045.8429 | 1229369.8745
93 | 2670026.8466 | 1229416.7049
94 | 2670073.6107 | 1229408.628
95 | 2670026.3121 | 1229418.3442
96 | 2670203.2834 | 1229272.0107
97 | 2670201.4791 | 1229251.4587
98 | 2670192.5897 | 1229241.9711
99 | 2670188.8025 | 1229241.196
100 | 2670179.9616 | 1229249.0649
101 | 2670185.1773 | 1229240.454
102 | 2670085.098 | 1229450.1272
103 | 2670073.535 | 1229429.4676
104 | 2670259.2307 | 1229010.7539
105 | 2670091.0814 | 1229400.3632
106 | 2670025.4636 | 1229445.4556
107 | 2670094.5418 | 1229398.5012
108 | 2670168.4256 | 1229354.7543

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1