## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4237-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4237-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4237-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4237-1_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4237-1_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4237-1_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_4237-1_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4237-1_0_2_node_55 | 0.4 | n |  | TRUE
8 | bus_LV_4237-1_0_2_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_4237-1_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4237-1_0_2_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_4237-1_0_2_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_4237-1_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4237-1_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4237-1_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4237-1_0_2_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_4237-1_0_2_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_4237-1_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4237-1_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4237-1_0_2_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4237-1_0_2_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_4237-1_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_4237-1_0_2_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_4237-1_0_2_node_65 | 0.4 | n |  | TRUE
24 | bus_LV_4237-1_0_2_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_4237-1_0_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_4237-1_0_2_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_4237-1_0_2_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_4237-1_0_2_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_4237-1_0_2_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_4237-1_0_2_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_4237-1_0_2_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_4237-1_0_2_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_4237-1_0_2_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_4237-1_0_2_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_4237-1_0_2_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_4237-1_0_2_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_4237-1_0_2_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_4237-1_0_2_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_4237-1_0_2_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_4237-1_0_2_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_4237-1_0_2_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_4237-1_0_2_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_4237-1_0_2_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_4237-1_0_2_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_4237-1_0_2_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_4237-1_0_2_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_4237-1_0_2_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_4237-1_0_2_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_4237-1_0_2_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_4237-1_0_2_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_4237-1_0_2_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_4237-1_0_2_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_4237-1_0_2_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_4237-1_0_2_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_4237-1_0_2_node_84 | 0.4 | n |  | TRUE
56 | bus_MV_435_1_node_159 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4237-1_0_2_load_0 | 0 | 0.00044323 | 0.00011108 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4237-1_0_2_load_1 | 1 | 0.00028713 | 7.1962e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4237-1_0_2_load_4 | 3 | 0.013228 | 0.0033152 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4237-1_0_2_load_6 | 6 | 0.0065141 | 0.0016326 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4237-1_0_2_load_7 | 9 | 0.00073236 | 0.00018355 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4237-1_0_2_load_17 | 11 | 0.020328 | 0.0050947 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4237-1_0_2_load_9 | 13 | 0.011502 | 0.0028826 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4237-1_0_2_load_18 | 15 | 0.00053337 | 0.00013367 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4237-1_0_2_load_30 | 16 | 0.00045159 | 0.00011318 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4237-1_0_2_load_11 | 17 | 0.0026562 | 0.00066569 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4237-1_0_2_load_15 | 21 | 0.00041856 | 0.0001049 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4237-1_0_2_load_61 | 22 | 0.00080169 | 0.00020092 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4237-1_0_2_load_65 | 23 | 0.0004712 | 0.00011809 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4237-1_0_2_load_19 | 25 | 0.03933 | 0.0098572 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4237-1_0_2_load_20 | 27 | 0.0056367 | 0.0014127 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4237-1_0_2_load_21 | 28 | 0.0030314 | 0.00075975 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4237-1_0_2_load_24 | 29 | 0.0055216 | 0.0013838 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4237-1_0_2_load_27 | 31 | 0.078414 | 0.019652 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4237-1_0_2_load_29 | 32 | 0.00055977 | 0.00014029 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4237-1_0_2_load_38 | 34 | 0.00096076 | 0.00024079 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4237-1_0_2_load_85 | 35 | 0.00053519 | 0.00013413 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4237-1_0_2_load_31 | 36 | 0.00074902 | 0.00018772 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4237-1_0_2_load_37 | 38 | 0.00094461 | 0.00023674 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4237-1_0_2_load_34 | 39 | 0.0021921 | 0.0005494 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4237-1_0_2_load_35 | 40 | 0.00094831 | 0.00023767 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4237-1_0_2_load_36 | 41 | 0.0012351 | 0.00030955 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4237-1_0_2_load_39 | 42 | 0.00078874 | 0.00019768 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4237-1_0_2_load_40 | 43 | 0.0008152 | 0.00020431 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4237-1_0_2_load_41 | 44 | 0.00054966 | 0.00013776 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4237-1_0_2_load_42 | 45 | 0.0014765 | 0.00037004 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4237-1_0_2_load_43 | 46 | 0.00046915 | 0.00011758 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4237-1_0_2_load_50 | 48 | 0.00058017 | 0.0001454 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4237-1_0_2_load_51 | 49 | 0.00016974 | 4.2542e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4237-1_0_2_load_66 | 52 | 0.00010647 | 2.6685e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4237-1_0_2_load_62 | 53 | 0.00042476 | 0.00010645 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4237-1_0_2_load_64 | 54 | 0.00021273 | 5.3316e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4237-1_0_2_load_84 | 55 | 0.0022037 | 0.0005523 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4237-1_0_2_line_0 |  | 0 | 1 | 0.0103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4237-1_0_2_line_1 |  | 0 | 2 | 0.0017516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4237-1_0_2_line_2 |  | 2 | 3 | 0.031612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4237-1_0_2_line_3 |  | 2 | 4 | 0.034929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4237-1_0_2_line_4 |  | 3 | 8 | 0.064155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4237-1_0_2_line_5 |  | 4 | 9 | 0.01437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4237-1_0_2_line_6 |  | 5 | 6 | 0.077299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4237-1_0_2_line_7 |  | 5 | 7 | 0.33864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4237-1_0_2_line_8 |  | 6 | 10 | 0.054012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4237-1_0_2_line_9 |  | 6 | 11 | 0.081583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4237-1_0_2_line_10 |  | 7 | 50 | 0.004183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4237-1_0_2_line_11 |  | 8 | 10 | 0.064925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4237-1_0_2_line_12 |  | 8 | 28 | 0.044838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4237-1_0_2_line_13 |  | 9 | 12 | 0.090701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4237-1_0_2_line_14 |  | 11 | 24 | 0.026572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4237-1_0_2_line_15 |  | 12 | 13 | 0.0087335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4237-1_0_2_line_16 |  | 12 | 14 | 0.066111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4237-1_0_2_line_17 |  | 13 | 15 | 0.083039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4237-1_0_2_line_18 |  | 14 | 16 | 0.088343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4237-1_0_2_line_19 |  | 15 | 25 | 0.0029569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4237-1_0_2_line_20 |  | 16 | 36 | 0.014461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4237-1_0_2_line_21 |  | 17 | 18 | 0.032955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4237-1_0_2_line_22 |  | 17 | 19 | 0.023426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4237-1_0_2_line_23 |  | 18 | 20 | 0.011599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4237-1_0_2_line_24 |  | 19 | 21 | 0.0058724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4237-1_0_2_line_25 |  | 20 | 22 | 0.10591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4237-1_0_2_line_26 |  | 20 | 23 | 0.10907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4237-1_0_2_line_27 |  | 21 | 24 | 0.018401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4237-1_0_2_line_28 |  | 22 | 53 | 0.041909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4237-1_0_2_line_29 |  | 23 | 54 | 0.039871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4237-1_0_2_line_30 |  | 25 | 26 | 0.0097551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4237-1_0_2_line_31 |  | 26 | 29 | 0.05401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4237-1_0_2_line_32 |  | 27 | 28 | 0.028001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4237-1_0_2_line_33 |  | 29 | 30 | 0.022551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4237-1_0_2_line_34 |  | 30 | 31 | 0.10538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4237-1_0_2_line_35 |  | 31 | 32 | 0.1845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4237-1_0_2_line_36 |  | 32 | 35 | 0.008191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4237-1_0_2_line_37 |  | 32 | 33 | 0.030881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4237-1_0_2_line_38 |  | 33 | 34 | 0.15441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4237-1_0_2_line_39 |  | 34 | 38 | 0.010791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4237-1_0_2_line_40 |  | 35 | 55 | 0.023433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4237-1_0_2_line_41 |  | 37 | 38 | 0.025741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4237-1_0_2_line_42 |  | 37 | 39 | 0.03492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4237-1_0_2_line_43 |  | 39 | 40 | 0.019169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4237-1_0_2_line_44 |  | 40 | 41 | 0.022823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4237-1_0_2_line_45 |  | 42 | 43 | 0.011735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4237-1_0_2_line_46 |  | 42 | 44 | 0.027189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4237-1_0_2_line_47 |  | 43 | 45 | 0.032673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4237-1_0_2_line_48 |  | 44 | 46 | 0.0098728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4237-1_0_2_line_49 |  | 45 | 47 | 0.016336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4237-1_0_2_line_50 |  | 47 | 51 | 0.028913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4237-1_0_2_line_51 |  | 47 | 49 | 0.02218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4237-1_0_2_line_52 |  | 48 | 49 | 0.02851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4237-1_0_2_line_53 |  | 48 | 50 | 0.039585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4237-1_0_2_line_54 |  | 51 | 52 | 0.01328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4237-1_0_2_trafo_23 | 0.63 MVA 20/0.4 kV | 56 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2673240.3839 | 1224331.4252 | 2673244.3069 | 1224321.9012
1 | 2673239.7168 | 1224333.0448 | 2673240.3839 | 1224331.4252
2 | 2673239.7168 | 1224333.0448 | 2673208.9581 | 1224325.7507
3 | 2673239.7168 | 1224333.0448 | 2673236.9439 | 1224345.1742 | 2673239.394 | 1224345.7158 | 2673238.1067 | 1224353.5829 | 2673240.3771 | 1224358.8699 | 2673245.5353 | 1224362.4023
4 | 2673146.41 | 1224313.4293 | 2673153.1774 | 1224312.523 | 2673208.9581 | 1224325.7507
5 | 2673245.5353 | 1224362.4023 | 2673241.8293 | 1224376.2862
6 | 2673272.1251 | 1224234.5344 | 2673195.2764 | 1224242.8699
7 | 2673272.1251 | 1224234.5344 | 2673609.9761 | 1224211.4531
8 | 2673141.5794 | 1224248.6942 | 2673195.2764 | 1224242.8699
9 | 2673195.2764 | 1224242.8699 | 2673210.9195 | 1224162.8011
10 | 2673614.1703 | 1224211.3827 | 2673609.9761 | 1224211.4531
11 | 2673141.5794 | 1224248.6942 | 2673146.41 | 1224313.4293
12 | 2673146.41 | 1224313.4293 | 2673148.941 | 1224358.1958
13 | 2673209.5776 | 1224460.4467 | 2673214.3901 | 1224445.8519 | 2673220.9257 | 1224429.8773 | 2673226.5106 | 1224417.8381 | 2673230.6364 | 1224412.2185 | 2673233.4605 | 1224407.6391 | 2673241.8293 | 1224376.2862
14 | 2673207.6647 | 1224136.4326 | 2673207.9885 | 1224139.0828 | 2673210.9195 | 1224162.8011
15 | 2673209.5776 | 1224460.4467 | 2673207.4413 | 1224468.9149 | 2673207.4413 | 1224468.9149
16 | 2673209.5776 | 1224460.4467 | 2673219.9844 | 1224462.6206 | 2673236.2233 | 1224466.5562 | 2673237.7677 | 1224468.5988 | 2673238.2541 | 1224470.973 | 2673232.8808 | 1224493.5439 | 2673231.8651 | 1224499.6799 | 2673232.9124 | 1224503.9178
17 | 2673150.8645 | 1224510.0146 | 2673192.2883 | 1224505.5305 | 2673197.5099 | 1224502.059 | 2673200.5144 | 1224496.3589 | 2673206.582 | 1224481.4348 | 2673207.4413 | 1224468.9149
18 | 2673232.9124 | 1224503.9178 | 2673229.17 | 1224509.1864 | 2673226.9086 | 1224516.1187 | 2673222.6988 | 1224540.2716 | 2673222.2319 | 1224564.0371 | 2673221.4666 | 1224581.8616 | 2673219.8522 | 1224587.3565 | 2673218.9368 | 1224589.932
19 | 2673150.8645 | 1224510.0146 | 2673147.9248 | 1224510.3328
20 | 2673218.9368 | 1224589.932 | 2673214.0938 | 1224603.5579
21 | 2673127.5788 | 1224145.8769 | 2673135.4126 | 1224145.206 | 2673160.325 | 1224142.206
22 | 2673183.5826 | 1224139.4052 | 2673160.325 | 1224142.206
23 | 2673127.5788 | 1224145.8769 | 2673116.0979 | 1224147.7483
24 | 2673183.5826 | 1224139.4052 | 2673189.3967 | 1224138.5803
25 | 2673116.0979 | 1224147.7483 | 2673017.7146 | 1224108.5239
26 | 2673116.0979 | 1224147.7483 | 2673081.7987 | 1224044.2118
27 | 2673207.6647 | 1224136.4326 | 2673200.0968 | 1224137.0622 | 2673189.3967 | 1224138.5803
28 | 2673017.7146 | 1224108.5239 | 2673013.22 | 1224106.9702 | 2673003.276 | 1224099.7769 | 2672998.4784 | 1224092.1575 | 2672994.4477 | 1224081.3677 | 2672993.8336 | 1224077.0534
29 | 2673041.957 | 1224042.8632 | 2673071.2049 | 1224044.1737 | 2673081.7987 | 1224044.2118
30 | 2673140.2767 | 1224505.18 | 2673143.3291 | 1224509.1534 | 2673147.9248 | 1224510.3328
31 | 2673140.2767 | 1224505.18 | 2673137.3147 | 1224508.657 | 2673128.9833 | 1224512.8351 | 2673089.1584 | 1224517.7056
32 | 2673150.1843 | 1224386.1548 | 2673150.3215 | 1224382.6117 | 2673148.941 | 1224358.1958
33 | 2673066.7742 | 1224520.443 | 2673089.1584 | 1224517.7056
34 | 2673066.7742 | 1224520.443 | 2673062.2046 | 1224625.722
35 | 2673062.2046 | 1224625.722 | 2672988.6933 | 1224794.9497
36 | 2672981.0319 | 1224792.0524 | 2672988.6933 | 1224794.9497
37 | 2673014.5855 | 1224811.3495 | 2673003.3341 | 1224802.0388 | 2672990.6513 | 1224795.6902 | 2672988.6933 | 1224794.9497
38 | 2673042.5201 | 1224963.2136 | 2673014.5855 | 1224811.3495
39 | 2673039.6963 | 1224973.5986 | 2673041.7056 | 1224967.685 | 2673042.5201 | 1224963.2136
40 | 2672981.0319 | 1224792.0524 | 2672959.114 | 1224783.7638
41 | 2673030.9864 | 1224997.8178 | 2673035.7352 | 1224985.2567 | 2673039.6963 | 1224973.5986
42 | 2673030.9864 | 1224997.8178 | 2673018.5147 | 1225030.4343
43 | 2673018.5147 | 1225030.4343 | 2673018.2495 | 1225031.1279 | 2673014.6704 | 1225049.203
44 | 2673014.6704 | 1225049.203 | 2673012.5107 | 1225060.1099 | 2673011.7647 | 1225067.7725 | 2673010.3974 | 1225071.5374
45 | 2673660.4175 | 1224159.7251 | 2673660.3146 | 1224147.9908
46 | 2673660.4175 | 1224159.7251 | 2673660.4252 | 1224160.5991 | 2673661.6008 | 1224186.8873
47 | 2673660.3146 | 1224147.9908 | 2673660.1673 | 1224131.1988 | 2673659.5498 | 1224129.0119 | 2673658.2738 | 1224127.3395 | 2673656.0909 | 1224126.0339 | 2673653.2087 | 1224125.4756 | 2673647.1844 | 1224125.3531
48 | 2673661.6008 | 1224186.8873 | 2673662.0419 | 1224196.7503
49 | 2673630.8521 | 1224125.021 | 2673647.1844 | 1224125.3531
50 | 2673630.8521 | 1224125.021 | 2673624.2528 | 1224124.5836 | 2673620.9184 | 1224123.7974 | 2673617.2883 | 1224122.396 | 2673613.7965 | 1224120.8519 | 2673603.1097 | 1224117.3619
51 | 2673630.8521 | 1224125.021 | 2673631.2713 | 1224147.1967
52 | 2673630.2049 | 1224175.6645 | 2673630.9052 | 1224167.9166 | 2673631.4021 | 1224154.1136 | 2673631.2713 | 1224147.1967
53 | 2673614.1703 | 1224211.3827 | 2673622.1965 | 1224198.2288 | 2673628.4625 | 1224185.1532 | 2673629.8421 | 1224179.6778 | 2673630.2049 | 1224175.6645
54 | 2673603.1097 | 1224117.3619 | 2673603.4015 | 1224130.6385

## bus_geodata
| x | y | coords
0 | 2673240.3839 | 1224331.4252
1 | 2673244.3069 | 1224321.9012
2 | 2673239.7168 | 1224333.0448
3 | 2673208.9581 | 1224325.7507
4 | 2673245.5353 | 1224362.4023
5 | 2673272.1251 | 1224234.5344
6 | 2673195.2764 | 1224242.8699
7 | 2673609.9761 | 1224211.4531
8 | 2673146.41 | 1224313.4293
9 | 2673241.8293 | 1224376.2862
10 | 2673141.5794 | 1224248.6942
11 | 2673210.9195 | 1224162.8011
12 | 2673209.5776 | 1224460.4467
13 | 2673207.4413 | 1224468.9149
14 | 2673232.9124 | 1224503.9178
15 | 2673150.8645 | 1224510.0146
16 | 2673218.9368 | 1224589.932
17 | 2673160.325 | 1224142.206
18 | 2673127.5788 | 1224145.8769
19 | 2673183.5826 | 1224139.4052
20 | 2673116.0979 | 1224147.7483
21 | 2673189.3967 | 1224138.5803
22 | 2673017.7146 | 1224108.5239
23 | 2673081.7987 | 1224044.2118
24 | 2673207.6647 | 1224136.4326
25 | 2673147.9248 | 1224510.3328
26 | 2673140.2767 | 1224505.1799
27 | 2673150.1843 | 1224386.1548
28 | 2673148.941 | 1224358.1958
29 | 2673089.1584 | 1224517.7056
30 | 2673066.7742 | 1224520.443
31 | 2673062.2046 | 1224625.722
32 | 2672988.6933 | 1224794.9497
33 | 2673014.5855 | 1224811.3495
34 | 2673042.5201 | 1224963.2136
35 | 2672981.0319 | 1224792.0524
36 | 2673214.0938 | 1224603.5579
37 | 2673030.9864 | 1224997.8178
38 | 2673039.6963 | 1224973.5986
39 | 2673018.5147 | 1225030.4343
40 | 2673014.6704 | 1225049.203
41 | 2673010.3974 | 1225071.5374
42 | 2673660.4175 | 1224159.7251
43 | 2673660.3146 | 1224147.9908
44 | 2673661.6008 | 1224186.8873
45 | 2673647.1844 | 1224125.3531
46 | 2673662.0419 | 1224196.7503
47 | 2673630.8521 | 1224125.021
48 | 2673630.2049 | 1224175.6645
49 | 2673631.2713 | 1224147.1967
50 | 2673614.1703 | 1224211.3827
51 | 2673603.1097 | 1224117.3619
52 | 2673603.4015 | 1224130.6385
53 | 2672993.8336 | 1224077.0534
54 | 2673041.957 | 1224042.8632
55 | 2672959.114 | 1224783.7638
56 | 2673066.7742 | 1224520.443

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1