## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4238-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4238-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4238-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4238-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4238-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4238-2_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_4238-2_0_4_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_4238-2_0_4_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_4238-2_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4238-2_0_4_node_99 | 0.4 | n |  | TRUE
10 | bus_LV_4238-2_0_4_node_100 | 0.4 | n |  | TRUE
11 | bus_LV_4238-2_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4238-2_0_4_node_98 | 0.4 | n |  | TRUE
13 | bus_LV_4238-2_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_4238-2_0_4_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_4238-2_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_4238-2_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_4238-2_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4238-2_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4238-2_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4238-2_0_4_node_97 | 0.4 | n |  | TRUE
21 | bus_LV_4238-2_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_4238-2_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_4238-2_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_4238-2_0_4_node_67 | 0.4 | n |  | TRUE
25 | bus_LV_4238-2_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_4238-2_0_4_node_96 | 0.4 | n |  | TRUE
27 | bus_LV_4238-2_0_4_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_4238-2_0_4_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_4238-2_0_4_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_4238-2_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_4238-2_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_4238-2_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_4238-2_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_4238-2_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_4238-2_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_4238-2_0_4_node_93 | 0.4 | n |  | TRUE
37 | bus_LV_4238-2_0_4_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_4238-2_0_4_node_82 | 0.4 | n |  | TRUE
39 | bus_LV_4238-2_0_4_node_83 | 0.4 | n |  | TRUE
40 | bus_LV_4238-2_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_4238-2_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_4238-2_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_4238-2_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_4238-2_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_4238-2_0_4_node_86 | 0.4 | n |  | TRUE
46 | bus_LV_4238-2_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_4238-2_0_4_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_4238-2_0_4_node_85 | 0.4 | n |  | TRUE
49 | bus_LV_4238-2_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_4238-2_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_4238-2_0_4_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_4238-2_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_4238-2_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_4238-2_0_4_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_4238-2_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_4238-2_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_4238-2_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_4238-2_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_4238-2_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_4238-2_0_4_node_92 | 0.4 | n |  | TRUE
61 | bus_LV_4238-2_0_4_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_4238-2_0_4_node_91 | 0.4 | n |  | TRUE
63 | bus_LV_4238-2_0_4_node_78 | 0.4 | n |  | TRUE
64 | bus_LV_4238-2_0_4_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_4238-2_0_4_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_4238-2_0_4_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_4238-2_0_4_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_4238-2_0_4_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_4238-2_0_4_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_4238-2_0_4_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_4238-2_0_4_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_4238-2_0_4_node_87 | 0.4 | n |  | TRUE
73 | bus_LV_4238-2_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_4238-2_0_4_node_84 | 0.4 | n |  | TRUE
75 | bus_LV_4238-2_0_4_node_88 | 0.4 | n |  | TRUE
76 | bus_LV_4238-2_0_4_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_4238-2_0_4_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_4238-2_0_4_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_4238-2_0_4_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_4238-2_0_4_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_4238-2_0_4_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_4238-2_0_4_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_4238-2_0_4_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_4238-2_0_4_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_4238-2_0_4_node_94 | 0.4 | n |  | TRUE
86 | bus_LV_4238-2_0_4_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_4238-2_0_4_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_4238-2_0_4_node_95 | 0.4 | n |  | TRUE
89 | bus_LV_4238-2_0_4_node_63 | 0.4 | n |  | TRUE
90 | bus_LV_4238-2_0_4_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_4238-2_0_4_node_71 | 0.4 | n |  | TRUE
92 | bus_LV_4238-2_0_4_node_72 | 0.4 | n |  | TRUE
93 | bus_LV_4238-2_0_4_node_75 | 0.4 | n |  | TRUE
94 | bus_LV_4238-2_0_4_node_76 | 0.4 | n |  | TRUE
95 | bus_LV_4238-2_0_4_node_77 | 0.4 | n |  | TRUE
96 | bus_LV_4238-2_0_4_node_89 | 0.4 | n |  | TRUE
97 | bus_LV_4238-2_0_4_node_90 | 0.4 | n |  | TRUE
98 | bus_MV_420_1_node_72 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4238-2_0_4_load_0 | 0 | 0.00388 | 0.00097241 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4238-2_0_4_load_20 | 6 | 0.0059013 | 0.001479 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4238-2_0_4_load_18 | 7 | 0.0021728 | 0.00054455 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4238-2_0_4_load_99 | 9 | 0.033062 | 0.008286 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4238-2_0_4_load_100 | 10 | 0.0041293 | 0.0010349 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4238-2_0_4_load_7 | 11 | 0.028399 | 0.0071176 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4238-2_0_4_load_98 | 12 | 0.0063669 | 0.0015957 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4238-2_0_4_load_19 | 14 | 0.0030384 | 0.00076148 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4238-2_0_4_load_11 | 17 | 0.00035056 | 8.7858e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4238-2_0_4_load_13 | 19 | 0.0001804 | 4.5213e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4238-2_0_4_load_97 | 20 | 0.032929 | 0.0082528 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4238-2_0_4_load_16 | 22 | 0.0041109 | 0.0010303 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4238-2_0_4_load_21 | 23 | 0.0021466 | 0.00053799 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4238-2_0_4_load_15 | 25 | 0.0026749 | 0.00067039 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4238-2_0_4_load_96 | 26 | 0.0050131 | 0.0012564 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4238-2_0_4_load_73 | 28 | 0.0073392 | 0.0018394 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4238-2_0_4_load_65 | 29 | 0.0041206 | 0.0010327 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4238-2_0_4_load_22 | 30 | 0.00065679 | 0.00016461 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4238-2_0_4_load_23 | 31 | 0.00068406 | 0.00017144 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4238-2_0_4_load_24 | 32 | 0.0082799 | 0.0020751 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4238-2_0_4_load_27 | 35 | 0.00063049 | 0.00015802 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4238-2_0_4_load_93 | 36 | 0.00068267 | 0.00017109 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4238-2_0_4_load_60 | 37 | 0.002458 | 0.00061604 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4238-2_0_4_load_82 | 38 | 0.0040102 | 0.0010051 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4238-2_0_4_load_30 | 40 | 0.0023336 | 0.00058486 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4238-2_0_4_load_31 | 41 | 0.0021396 | 0.00053623 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4238-2_0_4_load_32 | 42 | 0.0061398 | 0.0015388 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4238-2_0_4_load_33 | 43 | 0.0062236 | 0.0015598 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4238-2_0_4_load_34 | 44 | 0.0027982 | 0.0007013 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4238-2_0_4_load_51 | 47 | 0.0030602 | 0.00076696 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4238-2_0_4_load_85 | 48 | 0.0022509 | 0.00056412 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4238-2_0_4_load_40 | 49 | 0.0030585 | 0.00076653 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4238-2_0_4_load_41 | 50 | 0.0016668 | 0.00041774 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4238-2_0_4_load_35 | 51 | 0.0032368 | 0.00081122 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4238-2_0_4_load_38 | 53 | 0.0024056 | 0.00060291 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4238-2_0_4_load_47 | 54 | 0.00092135 | 0.00023091 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4238-2_0_4_load_42 | 55 | 0.0011459 | 0.0002872 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4238-2_0_4_load_43 | 56 | 0.00095844 | 0.00024021 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4238-2_0_4_load_44 | 57 | 0.00079889 | 0.00020022 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4238-2_0_4_load_45 | 58 | 0.0021363 | 0.00053542 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4238-2_0_4_load_46 | 59 | 0.00073954 | 0.00018535 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4238-2_0_4_load_92 | 60 | 0.0010948 | 0.00027438 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4238-2_0_4_load_80 | 61 | 0.0011358 | 0.00028465 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4238-2_0_4_load_91 | 62 | 0.00206 | 0.00051629 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4238-2_0_4_load_78 | 63 | 0.00084847 | 0.00021265 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4238-2_0_4_load_48 | 64 | 0.0028789 | 0.00072152 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4238-2_0_4_load_49 | 65 | 0.0028892 | 0.00072411 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4238-2_0_4_load_50 | 66 | 0.0022386 | 0.00056104 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4238-2_0_4_load_52 | 67 | 0.0019603 | 0.0004913 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4238-2_0_4_load_53 | 68 | 0.0034669 | 0.00086888 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4238-2_0_4_load_54 | 69 | 0.0034292 | 0.00085945 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4238-2_0_4_load_56 | 71 | 0.0067143 | 0.0016828 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4238-2_0_4_load_87 | 72 | 0.0026552 | 0.00066546 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4238-2_0_4_load_66 | 73 | 0.0036898 | 0.00092476 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4238-2_0_4_load_84 | 74 | 0.0042923 | 0.0010758 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4238-2_0_4_load_88 | 75 | 0.0020977 | 0.00052572 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4238-2_0_4_load_64 | 76 | 0.0025647 | 0.00064278 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4238-2_0_4_load_57 | 77 | 0.0016751 | 0.00041982 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4238-2_0_4_load_58 | 78 | 0.0034457 | 0.00086358 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4238-2_0_4_load_61 | 80 | 0.0024128 | 0.00060471 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4238-2_0_4_load_70 | 82 | 0.0049974 | 0.0012525 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4238-2_0_4_load_68 | 83 | 0.0031734 | 0.00079533 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4238-2_0_4_load_81 | 84 | 0.0017288 | 0.00043328 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4238-2_0_4_load_94 | 85 | 0.0024779 | 0.00062102 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4238-2_0_4_load_79 | 87 | 0.011897 | 0.0029815 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4238-2_0_4_load_95 | 88 | 0.0047835 | 0.0011989 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4238-2_0_4_load_63 | 89 | 0.0034113 | 0.00085496 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4238-2_0_4_load_74 | 90 | 0.0041072 | 0.0010294 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4238-2_0_4_load_71 | 91 | 0.0012902 | 0.00032336 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4238-2_0_4_load_72 | 92 | 0.0046742 | 0.0011715 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4238-2_0_4_load_75 | 93 | 0.00093386 | 0.00023405 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4238-2_0_4_load_76 | 94 | 0.0018518 | 0.0004641 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4238-2_0_4_load_77 | 95 | 0.001616 | 0.00040501 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4238-2_0_4_load_89 | 96 | 0.0030774 | 0.00077127 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4238-2_0_4_load_90 | 97 | 0.000519 | 0.00013007 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 89 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4238-2_0_4_line_0 |  | 0 | 1 | 0.0088714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4238-2_0_4_line_1 |  | 0 | 2 | 0.039897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4238-2_0_4_line_2 |  | 1 | 3 | 0.015175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4238-2_0_4_line_3 |  | 2 | 4 | 0.021508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4238-2_0_4_line_4 |  | 2 | 5 | 0.0070196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4238-2_0_4_line_5 |  | 3 | 6 | 0.0021735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4238-2_0_4_line_6 |  | 3 | 7 | 0.021551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4238-2_0_4_line_7 |  | 4 | 8 | 0.010796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4238-2_0_4_line_8 |  | 4 | 9 | 0.004139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4238-2_0_4_line_9 |  | 5 | 12 | 0.008201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4238-2_0_4_line_10 |  | 6 | 13 | 0.020059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4238-2_0_4_line_11 |  | 7 | 14 | 0.0015161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4238-2_0_4_line_12 |  | 8 | 10 | 0.034176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4238-2_0_4_line_13 |  | 8 | 11 | 0.048495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4238-2_0_4_line_14 |  | 10 | 15 | 0.066605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4238-2_0_4_line_15 |  | 11 | 16 | 0.031219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4238-2_0_4_line_16 |  | 13 | 23 | 0.0058813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4238-2_0_4_line_17 |  | 15 | 25 | 0.022223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4238-2_0_4_line_18 |  | 16 | 17 | 0.038702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4238-2_0_4_line_19 |  | 16 | 18 | 0.036081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4238-2_0_4_line_20 |  | 17 | 19 | 0.0039525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4238-2_0_4_line_21 |  | 18 | 20 | 0.012747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4238-2_0_4_line_22 |  | 18 | 21 | 0.071449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4238-2_0_4_line_23 |  | 21 | 22 | 0.036637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4238-2_0_4_line_24 |  | 23 | 24 | 0.022598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_4238-2_0_4_line_25 |  | 24 | 28 | 0.040254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4238-2_0_4_line_26 |  | 24 | 29 | 0.014673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_4238-2_0_4_line_27 |  | 25 | 26 | 0.032726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4238-2_0_4_line_28 |  | 26 | 27 | 0.08498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4238-2_0_4_line_29 |  | 27 | 51 | 0.04034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4238-2_0_4_line_30 |  | 28 | 90 | 0.0017287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4238-2_0_4_line_31 |  | 29 | 89 | 0.032916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_4238-2_0_4_line_32 |  | 30 | 31 | 0.018618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4238-2_0_4_line_33 |  | 31 | 32 | 0.011979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4238-2_0_4_line_34 |  | 32 | 33 | 0.037576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4238-2_0_4_line_35 |  | 33 | 34 | 0.00796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4238-2_0_4_line_36 |  | 33 | 35 | 0.034019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4238-2_0_4_line_37 |  | 34 | 36 | 0.04855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4238-2_0_4_line_38 |  | 36 | 37 | 0.013454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4238-2_0_4_line_39 |  | 37 | 78 | 0.0079348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4238-2_0_4_line_40 |  | 38 | 39 | 0.08755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4238-2_0_4_line_41 |  | 39 | 74 | 0.075108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4238-2_0_4_line_42 |  | 40 | 41 | 0.021048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4238-2_0_4_line_43 |  | 40 | 42 | 0.01436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4238-2_0_4_line_44 |  | 41 | 43 | 0.016191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4238-2_0_4_line_45 |  | 42 | 44 | 0.023113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4238-2_0_4_line_46 |  | 43 | 45 | 0.00088062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4238-2_0_4_line_47 |  | 44 | 46 | 0.035501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4238-2_0_4_line_48 |  | 45 | 47 | 0.028567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4238-2_0_4_line_49 |  | 45 | 48 | 0.030961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4238-2_0_4_line_50 |  | 46 | 49 | 0.032034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4238-2_0_4_line_51 |  | 46 | 50 | 0.044816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4238-2_0_4_line_52 |  | 47 | 66 | 0.014717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4238-2_0_4_line_53 |  | 48 | 82 | 0.016258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4238-2_0_4_line_54 |  | 49 | 54 | 0.018821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4238-2_0_4_line_55 |  | 51 | 52 | 0.032813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4238-2_0_4_line_56 |  | 52 | 53 | 0.045451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4238-2_0_4_line_57 |  | 55 | 56 | 0.0091112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4238-2_0_4_line_58 |  | 55 | 57 | 0.0076452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4238-2_0_4_line_59 |  | 56 | 58 | 0.013801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4238-2_0_4_line_60 |  | 57 | 59 | 0.0029602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4238-2_0_4_line_61 |  | 58 | 60 | 0.0019638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4238-2_0_4_line_62 |  | 59 | 61 | 0.00031688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4238-2_0_4_line_63 |  | 60 | 62 | 0.0003954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4238-2_0_4_line_64 |  | 61 | 63 | 0.0037913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4238-2_0_4_line_65 |  | 62 | 97 | 0.0056412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4238-2_0_4_line_66 |  | 63 | 95 | 0.022113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4238-2_0_4_line_67 |  | 64 | 65 | 0.015171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4238-2_0_4_line_68 |  | 64 | 66 | 0.00085621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4238-2_0_4_line_69 |  | 67 | 68 | 0.0010528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4238-2_0_4_line_70 |  | 67 | 69 | 0.028906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4238-2_0_4_line_71 |  | 68 | 70 | 0.017619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4238-2_0_4_line_72 |  | 69 | 71 | 0.029972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4238-2_0_4_line_73 |  | 70 | 72 | 0.01969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4238-2_0_4_line_74 |  | 70 | 73 | 0.0074081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_4238-2_0_4_line_75 |  | 71 | 74 | 0.18531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4238-2_0_4_line_76 |  | 72 | 75 | 0.015202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4238-2_0_4_line_77 |  | 73 | 76 | 0.020774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_4238-2_0_4_line_78 |  | 75 | 96 | 0.0038588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4238-2_0_4_line_79 |  | 76 | 89 | 0.0029576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_4238-2_0_4_line_80 |  | 77 | 78 | 0.017806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4238-2_0_4_line_81 |  | 77 | 79 | 0.005381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4238-2_0_4_line_82 |  | 79 | 80 | 0.031948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4238-2_0_4_line_83 |  | 79 | 81 | 0.023501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4238-2_0_4_line_84 |  | 80 | 82 | 0.021939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4238-2_0_4_line_85 |  | 80 | 83 | 0.014561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4238-2_0_4_line_86 |  | 81 | 84 | 0.014173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4238-2_0_4_line_87 |  | 81 | 85 | 0.022844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4238-2_0_4_line_88 |  | 83 | 86 | 0.012748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4238-2_0_4_line_89 |  | 84 | 87 | 0.069725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4238-2_0_4_line_90 |  | 85 | 88 | 0.020096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4238-2_0_4_line_91 |  | 86 | 91 | 0.0099377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4238-2_0_4_line_92 |  | 86 | 92 | 0.017052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4238-2_0_4_line_93 |  | 87 | 95 | 0.014311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4238-2_0_4_line_94 |  | 91 | 93 | 0.014442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4238-2_0_4_line_95 |  | 93 | 94 | 0.010905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4238-2_0_4_line_96 |  | 96 | 97 | 0.017243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4238-2_0_4_trafo_63 | 0.63 MVA 20/0.4 kV | 98 | 89 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2670364.879 | 1241258.3202 | 2670372.9017 | 1241262.1068
1 | 2670394.1404 | 1241283.7958 | 2670396.7987 | 1241270.04 | 2670391.9382 | 1241269.3041 | 2670376.9083 | 1241265.9903 | 2670372.9017 | 1241262.1068
2 | 2670351.6144 | 1241250.8801 | 2670364.879 | 1241258.3202
3 | 2670415.3962 | 1241287.4615 | 2670394.1404 | 1241283.7958
4 | 2670391.5644 | 1241289.9695 | 2670393.2299 | 1241288.5216 | 2670393.633 | 1241286.4138 | 2670394.1404 | 1241283.7958
5 | 2670351.6144 | 1241250.8801 | 2670349.7516 | 1241249.7601
6 | 2670351.6144 | 1241250.8801 | 2670343.0386 | 1241270.6508
7 | 2670415.3962 | 1241287.4615 | 2670420.2223 | 1241288.5528 | 2670420.0167 | 1241294.41
8 | 2670416.2609 | 1241283.4134 | 2670415.3962 | 1241287.4615
9 | 2670383.541 | 1241288.162 | 2670391.5644 | 1241289.9695
10 | 2670332.5602 | 1241239.4242 | 2670349.7516 | 1241249.7601
11 | 2670343.0386 | 1241270.6508 | 2670342.4353 | 1241272.0418
12 | 2670420.0167 | 1241294.41 | 2670422.2933 | 1241301.3529 | 2670420.4126 | 1241313.9282 | 2670413.6218 | 1241321.6641 | 2670410.1415 | 1241319.9438
13 | 2670420.0167 | 1241294.41 | 2670466.3709 | 1241280.1614
14 | 2670410.1415 | 1241319.9438 | 2670406.4338 | 1241386.4459
15 | 2670494.3537 | 1241294.0029 | 2670466.3709 | 1241280.1614
16 | 2670332.5602 | 1241239.4242 | 2670327.6122 | 1241236.2451
17 | 2670406.4338 | 1241386.4459 | 2670412.062 | 1241407.9444
18 | 2670494.3537 | 1241294.0029 | 2670478.0306 | 1241329.0945
19 | 2670526.9752 | 1241309.6233 | 2670494.3537 | 1241294.0029
20 | 2670476.3636 | 1241332.6782 | 2670478.0306 | 1241329.0945
21 | 2670526.9752 | 1241309.6233 | 2670520.899 | 1241320.8367
22 | 2670526.9752 | 1241309.6233 | 2670549.3064 | 1241321.3968 | 2670557.9135 | 1241324.9904 | 2670574.8958 | 1241338.9353 | 2670582.7979 | 1241351.5713
23 | 2670582.7979 | 1241351.5713 | 2670581.8635 | 1241355.1182 | 2670578.1726 | 1241357.765 | 2670571.7987 | 1241359.0346 | 2670551.595 | 1241350.51
24 | 2670308.6002 | 1241224.0298 | 2670327.6122 | 1241236.2451
25 | 2670308.6002 | 1241224.0298 | 2670292.0502 | 1241260.7247
26 | 2670308.6002 | 1241224.0298 | 2670296.4636 | 1241215.7832
27 | 2670420.35 | 1241439.6033 | 2670412.062 | 1241407.9444
28 | 2670354.9036 | 1241493.8094 | 2670420.35 | 1241439.6033
29 | 2670354.9036 | 1241493.8094 | 2670347.9824 | 1241492.7933 | 2670329.2314 | 1241496.6516 | 2670316.5216 | 1241494.1216 | 2670315.3296 | 1241493.773
30 | 2670292.0502 | 1241260.7247 | 2670291.3395 | 1241262.3006
31 | 2670269.0682 | 1241197.5429 | 2670276.4746 | 1241202.201 | 2670296.4636 | 1241215.7832
32 | 2669911.7775 | 1240964.7668 | 2669920.0252 | 1240971.5336 | 2669926.5296 | 1240976.1043
33 | 2669936.1709 | 1240983.2089 | 2669930.7267 | 1240979.0537 | 2669926.5296 | 1240976.1043
34 | 2669967.6851 | 1241003.5615 | 2669955.6351 | 1240996.9038 | 2669942.8894 | 1240988.3366 | 2669936.1709 | 1240983.2089
35 | 2669967.6851 | 1241003.5615 | 2669974.7954 | 1241007.1811
36 | 2669967.6851 | 1241003.5615 | 2669964.8082 | 1241009.6318 | 2669955.6048 | 1241035.3352
37 | 2669974.7954 | 1241007.1811 | 2669994.2267 | 1241017.5506 | 2670010.3977 | 1241024.1903 | 2670017.9165 | 1241026.5139 | 2670019.0401 | 1241026.8565
38 | 2670031.9644 | 1241030.5736 | 2670028.9164 | 1241029.8682 | 2670019.0401 | 1241026.8565
39 | 2670039.6949 | 1241032.3626 | 2670031.9644 | 1241030.5736
40 | 2669963.2862 | 1241273.5658 | 2670044.8469 | 1241305.3909
41 | 2670044.8469 | 1241305.3909 | 2670057.5995 | 1241314.5921 | 2670068.9042 | 1241330.5032 | 2670091.0459 | 1241363.6532
42 | 2670197.215 | 1241060.4431 | 2670178.2082 | 1241051.401
43 | 2670197.215 | 1241060.4431 | 2670210.1823 | 1241066.612
44 | 2670178.2082 | 1241051.401 | 2670177.2021 | 1241050.9223 | 2670163.1574 | 1241045.4406
45 | 2670230.9127 | 1241076.8296 | 2670217.3007 | 1241069.9985 | 2670210.1823 | 1241066.612
46 | 2670162.3371 | 1241045.1204 | 2670163.1574 | 1241045.4406
47 | 2670262.0997 | 1241093.7559 | 2670251.8661 | 1241087.6417 | 2670241.4892 | 1241082.1374 | 2670230.9127 | 1241076.8296
48 | 2670162.3371 | 1241045.1204 | 2670164.479 | 1241037.2736 | 2670170.1703 | 1241017.6496
49 | 2670162.3371 | 1241045.1204 | 2670156.9313 | 1241043.1552 | 2670148.1807 | 1241040.1386 | 2670136.0305 | 1241036.8706 | 2670132.6979 | 1241036.3619
50 | 2670262.0997 | 1241093.7559 | 2670269.9835 | 1241099.0862 | 2670277.2754 | 1241104.5875 | 2670287.2011 | 1241113.5644
51 | 2670262.0997 | 1241093.7559 | 2670266.0781 | 1241085.9976 | 2670265.328 | 1241075.2702 | 2670260.2095 | 1241063.735 | 2670253.6798 | 1241052.815
52 | 2670170.1703 | 1241017.6496 | 2670170.1703 | 1241017.6496 | 2670155.8875 | 1241014.1002
53 | 2670116.6226 | 1241033.9403 | 2670117.0028 | 1241033.9661 | 2670132.6979 | 1241036.3619
54 | 2670300.0039 | 1241127.3491 | 2670296.3219 | 1241123.1146 | 2670288.1753 | 1241114.4455 | 2670287.2011 | 1241113.5644
55 | 2670283.8363 | 1241484.5613 | 2670315.3296 | 1241493.773
56 | 2670283.8363 | 1241484.5613 | 2670303.2304 | 1241443.456
57 | 2670172.4092 | 1241129.945 | 2670179.9096 | 1241135.1179
58 | 2670172.4092 | 1241129.945 | 2670166.1157 | 1241125.6044
59 | 2670191.2705 | 1241142.9534 | 2670179.9096 | 1241135.1179
60 | 2670163.6788 | 1241123.9238 | 2670166.1157 | 1241125.6044
61 | 2670192.8871 | 1241144.0683 | 2670191.2705 | 1241142.9534
62 | 2670163.4179 | 1241123.7439 | 2670163.6788 | 1241123.9238
63 | 2670192.8871 | 1241144.0683 | 2670193.2126 | 1241144.2928
64 | 2670163.4179 | 1241123.7439 | 2670160.297 | 1241121.5914
65 | 2670197.8564 | 1241147.4956 | 2670193.2126 | 1241144.2928
66 | 2670141.8874 | 1241109.358 | 2670148.0073 | 1241113.654 | 2670154.7561 | 1241117.7699 | 2670160.297 | 1241121.5914
67 | 2670155.0566 | 1241013.8937 | 2670140.3335 | 1241010.2349
68 | 2670155.0566 | 1241013.8937 | 2670155.8875 | 1241014.1002
69 | 2670232.068 | 1241196.3073 | 2670232.668 | 1241195.4421
70 | 2670232.068 | 1241196.3073 | 2670215.5949 | 1241220.0599
71 | 2670242.7086 | 1241180.9646 | 2670232.668 | 1241195.4421
72 | 2670229.3707 | 1241240.3349 | 2670215.0573 | 1241231.4613 | 2670212.2194 | 1241227.2026 | 2670213.2621 | 1241223.4234 | 2670215.5949 | 1241220.0599
73 | 2670242.7086 | 1241180.9646 | 2670227.2859 | 1241168.7237
74 | 2670242.7086 | 1241180.9646 | 2670248.9795 | 1241184.9085
75 | 2670229.3707 | 1241240.3349 | 2670091.0459 | 1241363.6532
76 | 2670215.2278 | 1241159.4764 | 2670218.3336 | 1241161.6184 | 2670227.2859 | 1241168.7237
77 | 2670248.9795 | 1241184.9085 | 2670266.5646 | 1241195.9683
78 | 2670215.2278 | 1241159.4764 | 2670212.0513 | 1241157.2856
79 | 2670269.0682 | 1241197.5429 | 2670266.5646 | 1241195.9683
80 | 2670057.3288 | 1241034.6406 | 2670051.684 | 1241034.3176 | 2670046.7465 | 1241033.67 | 2670040.4085 | 1241032.5278 | 2670039.6949 | 1241032.3626
81 | 2670062.7009 | 1241034.948 | 2670057.3288 | 1241034.6406
82 | 2670062.7009 | 1241034.948 | 2670094.716 | 1241033.6249
83 | 2670058.2553 | 1241057.967 | 2670060.8919 | 1241048.5583 | 2670062.7009 | 1241034.948
84 | 2670094.716 | 1241033.6249 | 2670105.9041 | 1241033.2123 | 2670116.6226 | 1241033.9403
85 | 2670094.716 | 1241033.6249 | 2670094.9986 | 1241020.5859 | 2670095.3334 | 1241019.104
86 | 2670058.2553 | 1241057.967 | 2670070.5021 | 1241065.1013
87 | 2670058.2553 | 1241057.967 | 2670048.8062 | 1241078.7652
88 | 2670098.1422 | 1241006.669 | 2670095.3334 | 1241019.104
89 | 2670130.1747 | 1241101.1359 | 2670127.9174 | 1241099.5514 | 2670125.5769 | 1241097.9782 | 2670104.8749 | 1241085.1249 | 2670070.5021 | 1241065.1013
90 | 2670048.8062 | 1241078.7652 | 2670045.7491 | 1241085.494 | 2670056.4566 | 1241092.3324
91 | 2670098.1422 | 1241006.669 | 2670089.1137 | 1241002.5165
92 | 2670111.7611 | 1240996.356 | 2670098.1422 | 1241006.669
93 | 2670141.8874 | 1241109.358 | 2670130.1747 | 1241101.1359
94 | 2670075.8236 | 1240996.8864 | 2670081.8904 | 1240999.1942 | 2670089.1137 | 1241002.5165
95 | 2670065.6309 | 1240993.0092 | 2670075.8236 | 1240996.8864
96 | 2670197.8564 | 1241147.4956 | 2670212.0513 | 1241157.2856

## bus_geodata
| x | y | coords
0 | 2670372.9017 | 1241262.1068
1 | 2670364.879 | 1241258.3202
2 | 2670394.1404 | 1241283.7958
3 | 2670351.6144 | 1241250.8801
4 | 2670415.3962 | 1241287.4615
5 | 2670391.5644 | 1241289.9695
6 | 2670349.7516 | 1241249.7601
7 | 2670343.0386 | 1241270.6508
8 | 2670420.0167 | 1241294.41
9 | 2670416.2609 | 1241283.4134
10 | 2670410.1415 | 1241319.9438
11 | 2670466.3709 | 1241280.1614
12 | 2670383.541 | 1241288.162
13 | 2670332.5602 | 1241239.4242
14 | 2670342.4353 | 1241272.0418
15 | 2670406.4338 | 1241386.4459
16 | 2670494.3537 | 1241294.0029
17 | 2670478.0306 | 1241329.0945
18 | 2670526.9752 | 1241309.6233
19 | 2670476.3636 | 1241332.6782
20 | 2670520.899 | 1241320.8367
21 | 2670582.7979 | 1241351.5713
22 | 2670551.595 | 1241350.51
23 | 2670327.6122 | 1241236.2451
24 | 2670308.6002 | 1241224.0298
25 | 2670412.062 | 1241407.9444
26 | 2670420.35 | 1241439.6033
27 | 2670354.9036 | 1241493.8094
28 | 2670292.0503 | 1241260.7247
29 | 2670296.4636 | 1241215.7832
30 | 2669911.7775 | 1240964.7668
31 | 2669926.5296 | 1240976.1043
32 | 2669936.1709 | 1240983.2089
33 | 2669967.6851 | 1241003.5615
34 | 2669974.7954 | 1241007.1811
35 | 2669955.6048 | 1241035.3352
36 | 2670019.0401 | 1241026.8565
37 | 2670031.9644 | 1241030.5736
38 | 2669963.2862 | 1241273.5658
39 | 2670044.8469 | 1241305.3909
40 | 2670197.215 | 1241060.4431
41 | 2670178.2082 | 1241051.401
42 | 2670210.1823 | 1241066.612
43 | 2670163.1574 | 1241045.4406
44 | 2670230.9127 | 1241076.8296
45 | 2670162.3371 | 1241045.1204
46 | 2670262.0997 | 1241093.7559
47 | 2670170.1703 | 1241017.6496
48 | 2670132.6979 | 1241036.3619
49 | 2670287.2011 | 1241113.5644
50 | 2670253.6798 | 1241052.815
51 | 2670315.3296 | 1241493.773
52 | 2670283.8363 | 1241484.5613
53 | 2670303.2304 | 1241443.456
54 | 2670300.0039 | 1241127.3491
55 | 2670172.4092 | 1241129.945
56 | 2670179.9096 | 1241135.1179
57 | 2670166.1157 | 1241125.6044
58 | 2670191.2705 | 1241142.9534
59 | 2670163.6788 | 1241123.9238
60 | 2670192.8871 | 1241144.0683
61 | 2670163.4179 | 1241123.7439
62 | 2670193.2126 | 1241144.2928
63 | 2670160.297 | 1241121.5914
64 | 2670155.0566 | 1241013.8937
65 | 2670140.3335 | 1241010.2349
66 | 2670155.8875 | 1241014.1002
67 | 2670232.068 | 1241196.3073
68 | 2670232.668 | 1241195.4421
69 | 2670215.5949 | 1241220.0599
70 | 2670242.7086 | 1241180.9646
71 | 2670229.3707 | 1241240.3349
72 | 2670227.2859 | 1241168.7237
73 | 2670248.9795 | 1241184.9085
74 | 2670091.0459 | 1241363.6532
75 | 2670215.2278 | 1241159.4764
76 | 2670266.5646 | 1241195.9683
77 | 2670057.3288 | 1241034.6406
78 | 2670039.6949 | 1241032.3626
79 | 2670062.7009 | 1241034.948
80 | 2670094.716 | 1241033.6249
81 | 2670058.2553 | 1241057.967
82 | 2670116.6226 | 1241033.9403
83 | 2670095.3334 | 1241019.104
84 | 2670070.5021 | 1241065.1013
85 | 2670048.8062 | 1241078.7652
86 | 2670098.1422 | 1241006.669
87 | 2670130.1747 | 1241101.1359
88 | 2670056.4566 | 1241092.3324
89 | 2670269.0682 | 1241197.5429
90 | 2670291.3395 | 1241262.3006
91 | 2670089.1137 | 1241002.5165
92 | 2670111.7611 | 1240996.356
93 | 2670075.8236 | 1240996.8864
94 | 2670065.6309 | 1240993.0092
95 | 2670141.8874 | 1241109.358
96 | 2670212.0513 | 1241157.2856
97 | 2670197.8564 | 1241147.4956
98 | 2670242.7086 | 1241180.9646

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1