## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4239-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4239-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4239-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4239-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4239-4_0_3_node_55 | 0.4 | n |  | TRUE
5 | bus_LV_4239-4_0_3_node_57 | 0.4 | n |  | TRUE
6 | bus_LV_4239-4_0_3_node_58 | 0.4 | n |  | TRUE
7 | bus_LV_4239-4_0_3_node_52 | 0.4 | n |  | TRUE
8 | bus_LV_4239-4_0_3_node_53 | 0.4 | n |  | TRUE
9 | bus_LV_4239-4_0_3_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_4239-4_0_3_node_62 | 0.4 | n |  | TRUE
11 | bus_LV_4239-4_0_3_node_59 | 0.4 | n |  | TRUE
12 | bus_LV_4239-4_0_3_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_4239-4_0_3_node_61 | 0.4 | n |  | TRUE
14 | bus_LV_4239-4_0_3_node_71 | 0.4 | n |  | TRUE
15 | bus_LV_4239-4_0_3_node_70 | 0.4 | n |  | TRUE
16 | bus_LV_4239-4_0_3_node_4 | 0.4 | n |  | TRUE
17 | bus_LV_4239-4_0_3_node_5 | 0.4 | n |  | TRUE
18 | bus_LV_4239-4_0_3_node_92 | 0.4 | n |  | TRUE
19 | bus_LV_4239-4_0_3_node_6 | 0.4 | n |  | TRUE
20 | bus_LV_4239-4_0_3_node_7 | 0.4 | n |  | TRUE
21 | bus_LV_4239-4_0_3_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_4239-4_0_3_node_90 | 0.4 | n |  | TRUE
23 | bus_LV_4239-4_0_3_node_89 | 0.4 | n |  | TRUE
24 | bus_LV_4239-4_0_3_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_4239-4_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_4239-4_0_3_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_4239-4_0_3_node_10 | 0.4 | n |  | TRUE
28 | bus_LV_4239-4_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_4239-4_0_3_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_4239-4_0_3_node_11 | 0.4 | n |  | TRUE
31 | bus_LV_4239-4_0_3_node_12 | 0.4 | n |  | TRUE
32 | bus_LV_4239-4_0_3_node_13 | 0.4 | n |  | TRUE
33 | bus_LV_4239-4_0_3_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_4239-4_0_3_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_4239-4_0_3_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_4239-4_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_4239-4_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_4239-4_0_3_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_4239-4_0_3_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_4239-4_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_4239-4_0_3_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_4239-4_0_3_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_4239-4_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_4239-4_0_3_node_17 | 0.4 | n |  | TRUE
45 | bus_LV_4239-4_0_3_node_18 | 0.4 | n |  | TRUE
46 | bus_LV_4239-4_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_4239-4_0_3_node_19 | 0.4 | n |  | TRUE
48 | bus_LV_4239-4_0_3_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_4239-4_0_3_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_4239-4_0_3_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_4239-4_0_3_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_4239-4_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_4239-4_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_4239-4_0_3_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_4239-4_0_3_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_4239-4_0_3_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_4239-4_0_3_node_94 | 0.4 | n |  | TRUE
58 | bus_LV_4239-4_0_3_node_91 | 0.4 | n |  | TRUE
59 | bus_LV_4239-4_0_3_node_93 | 0.4 | n |  | TRUE
60 | bus_LV_4239-4_0_3_node_95 | 0.4 | n |  | TRUE
61 | bus_LV_4239-4_0_3_node_32 | 0.4 | n |  | TRUE
62 | bus_LV_4239-4_0_3_node_33 | 0.4 | n |  | TRUE
63 | bus_LV_4239-4_0_3_node_34 | 0.4 | n |  | TRUE
64 | bus_LV_4239-4_0_3_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_4239-4_0_3_node_35 | 0.4 | n |  | TRUE
66 | bus_LV_4239-4_0_3_node_36 | 0.4 | n |  | TRUE
67 | bus_LV_4239-4_0_3_node_37 | 0.4 | n |  | TRUE
68 | bus_LV_4239-4_0_3_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_4239-4_0_3_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_4239-4_0_3_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_4239-4_0_3_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_4239-4_0_3_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_4239-4_0_3_node_49 | 0.4 | n |  | TRUE
74 | bus_LV_4239-4_0_3_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_4239-4_0_3_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_4239-4_0_3_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_4239-4_0_3_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_4239-4_0_3_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_4239-4_0_3_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_4239-4_0_3_node_85 | 0.4 | n |  | TRUE
81 | bus_LV_4239-4_0_3_node_86 | 0.4 | n |  | TRUE
82 | bus_LV_4239-4_0_3_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_4239-4_0_3_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_4239-4_0_3_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_4239-4_0_3_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_4239-4_0_3_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_4239-4_0_3_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_4239-4_0_3_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_4239-4_0_3_node_66 | 0.4 | n |  | TRUE
90 | bus_LV_4239-4_0_3_node_69 | 0.4 | n |  | TRUE
91 | bus_LV_4239-4_0_3_node_65 | 0.4 | n |  | TRUE
92 | bus_LV_4239-4_0_3_node_67 | 0.4 | n |  | TRUE
93 | bus_LV_4239-4_0_3_node_68 | 0.4 | n |  | TRUE
94 | bus_MV_435_0_node_153 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4239-4_0_3_load_0 | 0 | 0.00030322 | 7.5994e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4239-4_0_3_load_1 | 1 | 0.0036727 | 0.00092046 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4239-4_0_3_load_2 | 2 | 0.00026843 | 6.7275e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4239-4_0_3_load_55 | 4 | 0.0007312 | 0.00018326 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4239-4_0_3_load_57 | 5 | 0.0011952 | 0.00029954 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4239-4_0_3_load_58 | 6 | 0.0030349 | 0.00076061 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4239-4_0_3_load_52 | 7 | 0.0002066 | 5.178e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4239-4_0_3_load_53 | 8 | 0.00033091 | 8.2935e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4239-4_0_3_load_62 | 10 | 0.0012895 | 0.00032319 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4239-4_0_3_load_59 | 11 | 0.00042505 | 0.00010653 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4239-4_0_3_load_61 | 13 | 0.0039937 | 0.0010009 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4239-4_0_3_load_71 | 14 | 0.0014777 | 0.00037035 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4239-4_0_3_load_70 | 15 | 0.0003894 | 9.7593e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4239-4_0_3_load_4 | 16 | 0.00053114 | 0.00013312 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4239-4_0_3_load_92 | 18 | 0.0010913 | 0.00027351 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4239-4_0_3_load_6 | 19 | 0.00019892 | 4.9854e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4239-4_0_3_load_7 | 20 | 0.00016948 | 4.2476e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4239-4_0_3_load_8 | 21 | 0.00020927 | 5.2448e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4239-4_0_3_load_90 | 22 | 0.00016924 | 4.2416e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4239-4_0_3_load_89 | 23 | 0.00019419 | 4.8668e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4239-4_0_3_load_9 | 24 | 0.00010323 | 2.5873e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4239-4_0_3_load_20 | 25 | 0.00035675 | 8.941e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4239-4_0_3_load_63 | 26 | 0.00027438 | 6.8767e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4239-4_0_3_load_10 | 27 | 0.00021327 | 5.3451e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4239-4_0_3_load_21 | 28 | 0.00013833 | 3.4669e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4239-4_0_3_load_64 | 29 | 0.00094927 | 0.00023791 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4239-4_0_3_load_11 | 30 | 0.0014051 | 0.00035214 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4239-4_0_3_load_12 | 31 | 0.0019778 | 0.00049569 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4239-4_0_3_load_14 | 33 | 0.00087136 | 0.00021838 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4239-4_0_3_load_16 | 35 | 0.00033478 | 8.3903e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4239-4_0_3_load_26 | 36 | 0.0022536 | 0.0005648 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4239-4_0_3_load_25 | 37 | 0.00053817 | 0.00013488 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4239-4_0_3_load_22 | 38 | 0.001314 | 0.00032932 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4239-4_0_3_load_39 | 39 | 0.0011284 | 0.00028281 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4239-4_0_3_load_27 | 40 | 0.0003697 | 9.2655e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4239-4_0_3_load_23 | 42 | 0.00044598 | 0.00011177 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4239-4_0_3_load_38 | 43 | 0.0015574 | 0.00039032 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4239-4_0_3_load_17 | 44 | 0.00030211 | 7.5716e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4239-4_0_3_load_19 | 47 | 0.0010169 | 0.00025486 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4239-4_0_3_load_29 | 48 | 0.00058869 | 0.00014754 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4239-4_0_3_load_24 | 49 | 0.00028139 | 7.0523e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4239-4_0_3_load_51 | 50 | 0.00027389 | 6.8644e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4239-4_0_3_load_50 | 51 | 0.00010262 | 2.5719e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4239-4_0_3_load_41 | 52 | 0.000383 | 9.5989e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4239-4_0_3_load_72 | 54 | 0.0019513 | 0.00048905 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4239-4_0_3_load_28 | 55 | 0.00096767 | 0.00024252 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4239-4_0_3_load_30 | 56 | 0.00012461 | 3.1229e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4239-4_0_3_load_94 | 57 | 0.00070635 | 0.00017703 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4239-4_0_3_load_91 | 58 | 0.00019687 | 4.9341e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4239-4_0_3_load_93 | 59 | 0.00079065 | 0.00019816 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4239-4_0_3_load_95 | 60 | 0.00027669 | 6.9344e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4239-4_0_3_load_32 | 61 | 0.0060252 | 0.0015101 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4239-4_0_3_load_33 | 62 | 0.084133 | 0.021086 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4239-4_0_3_load_34 | 63 | 0.0014546 | 0.00036456 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4239-4_0_3_load_43 | 64 | 0.00030157 | 7.558e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4239-4_0_3_load_35 | 65 | 0.0036848 | 0.0009235 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4239-4_0_3_load_36 | 66 | 0.0027999 | 0.00070171 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4239-4_0_3_load_37 | 67 | 0.0097986 | 0.0024558 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4239-4_0_3_load_47 | 68 | 8.3879e-05 | 2.1022e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4239-4_0_3_load_46 | 69 | 0.00021275 | 5.3321e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4239-4_0_3_load_44 | 70 | 0.012242 | 0.003068 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4239-4_0_3_load_45 | 71 | 0.0038324 | 0.0009605 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4239-4_0_3_load_48 | 72 | 0.0029285 | 0.00073396 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4239-4_0_3_load_49 | 73 | 0.001445 | 0.00036216 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4239-4_0_3_load_74 | 74 | 0.00029136 | 7.3022e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4239-4_0_3_load_75 | 75 | 0.00066578 | 0.00016686 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4239-4_0_3_load_78 | 77 | 0.00033159 | 8.3105e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4239-4_0_3_load_86 | 81 | 0.00029044 | 7.2791e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4239-4_0_3_load_79 | 82 | 0.00055206 | 0.00013836 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4239-4_0_3_load_81 | 83 | 0.00046163 | 0.0001157 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4239-4_0_3_load_87 | 85 | 0.0025379 | 0.00063606 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4239-4_0_3_load_83 | 86 | 0.0012634 | 0.00031663 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4239-4_0_3_load_84 | 87 | 0.00040646 | 0.00010187 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4239-4_0_3_load_88 | 88 | 0.0012575 | 0.00031515 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4239-4_0_3_load_66 | 89 | 0.00039152 | 9.8125e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4239-4_0_3_load_69 | 90 | 0.00047638 | 0.00011939 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4239-4_0_3_load_65 | 91 | 0.00084702 | 0.00021228 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4239-4_0_3_load_67 | 92 | 0.0020678 | 0.00051823 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4239-4_0_3_load_68 | 93 | 0.0014136 | 0.00035427 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4239-4_0_3_line_0 |  | 0 | 1 | 0.034802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4239-4_0_3_line_1 |  | 0 | 2 | 0.013387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4239-4_0_3_line_2 |  | 1 | 3 | 0.0051045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4239-4_0_3_line_3 |  | 2 | 4 | 0.038196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4239-4_0_3_line_4 |  | 3 | 5 | 0.047948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4239-4_0_3_line_5 |  | 3 | 6 | 0.048008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4239-4_0_3_line_6 |  | 4 | 8 | 0.02049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4239-4_0_3_line_7 |  | 5 | 14 | 0.01574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4239-4_0_3_line_8 |  | 6 | 15 | 0.026539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4239-4_0_3_line_9 |  | 7 | 8 | 0.020559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4239-4_0_3_line_10 |  | 7 | 9 | 0.027793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4239-4_0_3_line_11 |  | 9 | 10 | 0.12496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4239-4_0_3_line_12 |  | 10 | 12 | 0.099896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4239-4_0_3_line_13 |  | 11 | 12 | 0.046289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4239-4_0_3_line_14 |  | 11 | 13 | 0.020881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4239-4_0_3_line_15 |  | 12 | 29 | 0.28807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4239-4_0_3_line_16 |  | 14 | 54 | 0.013898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4239-4_0_3_line_17 |  | 15 | 90 | 0.0015714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4239-4_0_3_line_18 |  | 16 | 17 | 0.036614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4239-4_0_3_line_19 |  | 16 | 18 | 0.46011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4239-4_0_3_line_20 |  | 17 | 19 | 0.024228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4239-4_0_3_line_21 |  | 17 | 20 | 0.018124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4239-4_0_3_line_22 |  | 17 | 21 | 0.026764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4239-4_0_3_line_23 |  | 18 | 22 | 0.026606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4239-4_0_3_line_24 |  | 19 | 24 | 0.0097945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4239-4_0_3_line_25 |  | 20 | 25 | 0.019143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4239-4_0_3_line_26 |  | 21 | 26 | 0.01878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4239-4_0_3_line_27 |  | 22 | 23 | 0.011463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4239-4_0_3_line_28 |  | 23 | 58 | 0.020731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4239-4_0_3_line_29 |  | 24 | 27 | 0.005255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4239-4_0_3_line_30 |  | 25 | 28 | 0.0039432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4239-4_0_3_line_31 |  | 26 | 29 | 0.026306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4239-4_0_3_line_32 |  | 30 | 31 | 0.012728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4239-4_0_3_line_33 |  | 30 | 32 | 0.021424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4239-4_0_3_line_34 |  | 31 | 33 | 0.00015865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4239-4_0_3_line_35 |  | 32 | 34 | 0.00487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4239-4_0_3_line_36 |  | 32 | 35 | 0.020948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4239-4_0_3_line_37 |  | 33 | 36 | 0.0075785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4239-4_0_3_line_38 |  | 34 | 37 | 0.01852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4239-4_0_3_line_39 |  | 34 | 38 | 0.015246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4239-4_0_3_line_40 |  | 35 | 39 | 0.023856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4239-4_0_3_line_41 |  | 36 | 40 | 0.0085571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4239-4_0_3_line_42 |  | 37 | 41 | 0.0059653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4239-4_0_3_line_43 |  | 38 | 42 | 0.022469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4239-4_0_3_line_44 |  | 39 | 43 | 0.0015998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4239-4_0_3_line_45 |  | 40 | 54 | 0.013441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4239-4_0_3_line_46 |  | 41 | 52 | 0.0093782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4239-4_0_3_line_47 |  | 41 | 53 | 0.019723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4239-4_0_3_line_48 |  | 42 | 49 | 0.0077311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4239-4_0_3_line_49 |  | 43 | 66 | 0.011403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4239-4_0_3_line_50 |  | 44 | 45 | 0.019331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4239-4_0_3_line_51 |  | 44 | 46 | 0.10323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4239-4_0_3_line_52 |  | 45 | 47 | 0.013006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4239-4_0_3_line_53 |  | 46 | 48 | 0.022094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4239-4_0_3_line_54 |  | 48 | 55 | 0.00077234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4239-4_0_3_line_55 |  | 49 | 50 | 0.022294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4239-4_0_3_line_56 |  | 50 | 51 | 0.0098334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4239-4_0_3_line_57 |  | 51 | 73 | 0.027146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4239-4_0_3_line_58 |  | 53 | 68 | 0.018312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4239-4_0_3_line_59 |  | 53 | 64 | 0.025443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4239-4_0_3_line_60 |  | 55 | 56 | 0.02527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4239-4_0_3_line_61 |  | 56 | 57 | 0.46946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4239-4_0_3_line_62 |  | 57 | 60 | 0.022352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4239-4_0_3_line_63 |  | 57 | 59 | 0.033431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4239-4_0_3_line_64 |  | 58 | 59 | 0.047553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4239-4_0_3_line_65 |  | 61 | 62 | 0.16319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4239-4_0_3_line_66 |  | 62 | 63 | 0.0058831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4239-4_0_3_line_67 |  | 63 | 64 | 0.026736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4239-4_0_3_line_68 |  | 65 | 66 | 0.032927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4239-4_0_3_line_69 |  | 65 | 67 | 0.0059603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4239-4_0_3_line_70 |  | 68 | 69 | 0.0082806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4239-4_0_3_line_71 |  | 69 | 70 | 0.025773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4239-4_0_3_line_72 |  | 70 | 71 | 0.013544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4239-4_0_3_line_73 |  | 72 | 73 | 0.0068157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4239-4_0_3_line_74 |  | 74 | 75 | 0.0005058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4239-4_0_3_line_75 |  | 74 | 76 | 0.002446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4239-4_0_3_line_76 |  | 76 | 77 | 0.0072536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4239-4_0_3_line_77 |  | 77 | 81 | 0.019618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4239-4_0_3_line_78 |  | 78 | 79 | 0.024376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4239-4_0_3_line_79 |  | 78 | 80 | 0.02571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4239-4_0_3_line_80 |  | 79 | 84 | 0.015341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4239-4_0_3_line_81 |  | 79 | 82 | 0.020346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4239-4_0_3_line_82 |  | 80 | 81 | 0.0070876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4239-4_0_3_line_83 |  | 80 | 86 | 0.030345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4239-4_0_3_line_84 |  | 82 | 83 | 0.0042357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4239-4_0_3_line_85 |  | 84 | 85 | 0.031576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4239-4_0_3_line_86 |  | 85 | 88 | 0.087173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4239-4_0_3_line_87 |  | 86 | 87 | 0.017122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4239-4_0_3_line_88 |  | 88 | 89 | 0.29545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4239-4_0_3_line_89 |  | 89 | 91 | 0.031287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4239-4_0_3_line_90 |  | 90 | 93 | 0.0050958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4239-4_0_3_line_91 |  | 91 | 92 | 0.4099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4239-4_0_3_line_92 |  | 92 | 93 | 0.021835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4239-4_0_3_trafo_15 | 0.63 MVA 20/0.4 kV | 94 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2670570.2821 | 1223777.2401 | 2670570.4199 | 1223776.1133 | 2670573.3414 | 1223761.2382 | 2670576.4941 | 1223743.0006
1 | 2670570.2821 | 1223777.2401 | 2670569.4205 | 1223784.2845 | 2670569.5122 | 1223790.5742
2 | 2670577.3636 | 1223737.9708 | 2670576.4941 | 1223743.0006
3 | 2670569.5122 | 1223790.5742 | 2670541.8176 | 1223816.8787
4 | 2670577.3636 | 1223737.9708 | 2670582.2299 | 1223690.2707
5 | 2670577.3636 | 1223737.9708 | 2670608.0743 | 1223738.135 | 2670608.3719 | 1223720.8404
6 | 2670541.8176 | 1223816.8787 | 2670542.7421 | 1223837.3476
7 | 2670583.6671 | 1223674.6069 | 2670583.7135 | 1223675.7278 | 2670582.2299 | 1223690.2707
8 | 2670614.2431 | 1223700.0386 | 2670608.7337 | 1223699.8179 | 2670608.3719 | 1223720.8404
9 | 2670543.6698 | 1223857.8858 | 2670542.7421 | 1223837.3476
10 | 2670547.5161 | 1223885.035 | 2670545.7321 | 1223881.3559 | 2670544.5987 | 1223878.4517 | 2670543.6698 | 1223857.8858
11 | 2670547.5161 | 1223885.035 | 2670432.8744 | 1223934.7652
12 | 2670340.6734 | 1223973.212 | 2670432.8744 | 1223934.7652
13 | 2670340.6734 | 1223973.212 | 2670334.3205 | 1223967.2887 | 2670320.5508 | 1223932.2977
14 | 2670312.9044 | 1223912.867 | 2670320.5508 | 1223932.2977
15 | 2670559.2029 | 1224160.9131 | 2670340.6734 | 1223973.212
16 | 2670583.6671 | 1223674.6069 | 2670583.2419 | 1223664.337 | 2670582.8276 | 1223660.7411
17 | 2670615.8132 | 1223700.1016 | 2670614.2431 | 1223700.0386
18 | 2670630.3236 | 1224151.5345 | 2670665.6777 | 1224142.014
19 | 2670665.6777 | 1224142.014 | 2671101.9315 | 1224288.2438
20 | 2670630.3236 | 1224151.5345 | 2670627.4025 | 1224137.6242 | 2670624.1447 | 1224128.1547
21 | 2670630.3236 | 1224151.5345 | 2670633.3052 | 1224169.4113
22 | 2670630.3236 | 1224151.5345 | 2670609.3544 | 1224155.5885 | 2670604.0226 | 1224156.4863
23 | 2671106.7662 | 1224314.3335 | 2671103.4148 | 1224301.6296 | 2671101.9315 | 1224288.2438
24 | 2670624.1447 | 1224128.1547 | 2670620.9584 | 1224118.8929
25 | 2670636.4544 | 1224188.2932 | 2670633.3052 | 1224169.4113
26 | 2670585.4503 | 1224159.1539 | 2670589.987 | 1224158.8499 | 2670604.0226 | 1224156.4863
27 | 2671109.6901 | 1224325.4168 | 2671106.7662 | 1224314.3335
28 | 2671109.6901 | 1224325.4168 | 2671110.3207 | 1224327.807 | 2671111.5318 | 1224346.0261
29 | 2670619.2489 | 1224113.9237 | 2670620.9584 | 1224118.8929
30 | 2670636.4544 | 1224188.2932 | 2670637.1031 | 1224192.1827
31 | 2670585.4503 | 1224159.1539 | 2670559.2029 | 1224160.9131
32 | 2670570.4291 | 1223620.3763 | 2670575.5918 | 1223631.5917 | 2670575.7422 | 1223631.9427
33 | 2670561.471 | 1223600.9156 | 2670570.4291 | 1223620.3763
34 | 2670575.7422 | 1223631.9427 | 2670575.8047 | 1223632.0885
35 | 2670558.8197 | 1223596.8259 | 2670561.471 | 1223600.9156
36 | 2670561.471 | 1223600.9156 | 2670542.5589 | 1223609.9241
37 | 2670578.1462 | 1223639.2663 | 2670577.2448 | 1223635.4472 | 2670575.8047 | 1223632.0885
38 | 2670558.8197 | 1223596.8259 | 2670554.0099 | 1223590.5871 | 2670546.5726 | 1223582.9753
39 | 2670558.8197 | 1223596.8259 | 2670564.9789 | 1223594.1527 | 2670571.8952 | 1223589.1564
40 | 2670523.049 | 1223623.2703 | 2670524.4845 | 1223622.7916 | 2670530.0843 | 1223618.6886 | 2670536.7607 | 1223612.686 | 2670542.5589 | 1223609.9241
41 | 2670578.1462 | 1223639.2663 | 2670580.112 | 1223647.5946
42 | 2670542.4037 | 1223578.7086 | 2670546.5726 | 1223582.9753
43 | 2670589.5126 | 1223575.2214 | 2670576.1084 | 1223586.1127 | 2670571.8952 | 1223589.1564
44 | 2670523.049 | 1223623.2703 | 2670521.5313 | 1223623.7764
45 | 2670580.112 | 1223647.5946 | 2670582.4581 | 1223657.5344 | 2670582.8276 | 1223660.7411
46 | 2670542.4037 | 1223578.7086 | 2670541.1217 | 1223569.4184
47 | 2670527.3348 | 1223565.9329 | 2670542.4037 | 1223578.7086
48 | 2670589.5126 | 1223575.2214 | 2670590.4583 | 1223574.453 | 2670593.5872 | 1223568.7412
49 | 2670510.7135 | 1223627.3836 | 2670521.5313 | 1223623.7764
50 | 2670629.904 | 1224616.7995 | 2670611.7581 | 1224610.1353
51 | 2670647.3068 | 1224513.2162 | 2670611.7581 | 1224610.1353
52 | 2670629.904 | 1224616.7995 | 2670627.642 | 1224629.6073
53 | 2670647.3068 | 1224513.2162 | 2670650.7967 | 1224491.3994
54 | 2670650.9186 | 1224490.6367 | 2670650.7967 | 1224491.3994
55 | 2670597.8689 | 1223547.0119 | 2670596.5139 | 1223556.8689 | 2670594.8999 | 1223566.3449 | 2670593.5872 | 1223568.7412
56 | 2670599.2081 | 1223537.2701 | 2670597.8689 | 1223547.0119
57 | 2670609.5698 | 1223512.7407 | 2670604.4846 | 1223519.1278 | 2670599.9915 | 1223531.5715 | 2670599.2081 | 1223537.2701
58 | 2670527.3348 | 1223565.9329 | 2670509.4911 | 1223569.7352 | 2670509.4242 | 1223569.7415
59 | 2670527.3348 | 1223565.9329 | 2670519.8022 | 1223555.8705 | 2670515.1993 | 1223543.8477
60 | 2670654.9 | 1224465.6823 | 2670653.3103 | 1224475.6851 | 2670650.9186 | 1224490.6367
61 | 2670654.9 | 1224465.6823 | 2671122.6733 | 1224425.9755
62 | 2671122.6733 | 1224425.9755 | 2671123.2908 | 1224432.7971 | 2671124.4948 | 1224448.2528
63 | 2671119.6592 | 1224392.6808 | 2671122.6733 | 1224425.9755
64 | 2671119.6592 | 1224392.6808 | 2671118.4815 | 1224379.6716 | 2671112.2038 | 1224356.1368 | 2671111.5318 | 1224346.0261
65 | 2670503.5366 | 1223513.3847 | 2670402.8311 | 1223384.9744
66 | 2670503.5366 | 1223513.3847 | 2670505.64 | 1223518.8789
67 | 2670505.64 | 1223518.8789 | 2670515.1993 | 1223543.8477
68 | 2670480.1142 | 1223639.2375 | 2670484.1634 | 1223638.1131 | 2670493.992 | 1223632.9594 | 2670510.7135 | 1223627.3836
69 | 2670474.3712 | 1223640.8323 | 2670480.1142 | 1223639.2375
70 | 2670501.18 | 1223570.5166 | 2670509.4242 | 1223569.7415
71 | 2670475.5812 | 1223569.7679 | 2670478.883 | 1223570.4289 | 2670489.9567 | 1223571.5718 | 2670501.18 | 1223570.5166
72 | 2670475.5812 | 1223569.7679 | 2670462.3002 | 1223567.1096
73 | 2670613.815 | 1223507.4086 | 2670613.815 | 1223507.4086 | 2670609.5698 | 1223512.7407
74 | 2671096.2747 | 1223316.5424 | 2671096.3698 | 1223317.0392
75 | 2671095.815 | 1223314.1401 | 2671096.2747 | 1223316.5424
76 | 2671095.815 | 1223314.1401 | 2671101.9256 | 1223318.0484
77 | 2671118.4522 | 1223328.6191 | 2671101.9256 | 1223318.0484
78 | 2671101.0352 | 1223366.6254 | 2671100.0774 | 1223359.8318 | 2671100.2556 | 1223350.6279 | 2671101.2187 | 1223342.3785
79 | 2671124.4229 | 1223332.438 | 2671114.2109 | 1223334.0504 | 2671101.2187 | 1223342.3785
80 | 2671102.2404 | 1223381.9164 | 2671101.0352 | 1223366.6254
81 | 2671101.0352 | 1223366.6254 | 2671121.3052 | 1223364.8663
82 | 2671124.4229 | 1223332.438 | 2671118.4522 | 1223328.6191
83 | 2671124.4229 | 1223332.438 | 2671142.6208 | 1223329.5646 | 2671154.4194 | 1223327.8552
84 | 2671120.9233 | 1223360.6479 | 2671121.3052 | 1223364.8663
85 | 2671102.2404 | 1223381.9164 | 2671083.7769 | 1223394.9823 | 2671076.0127 | 1223399.4495
86 | 2671076.0127 | 1223399.4495 | 2671108.9895 | 1223480.1439
87 | 2671154.4194 | 1223327.8552 | 2671154.6014 | 1223327.8288 | 2671167.9797 | 1223325.8986 | 2671171.2108 | 1223324.7753
88 | 2671108.9895 | 1223480.1439 | 2671049.6659 | 1223769.5748
89 | 2671040.7308 | 1223799.2083 | 2671043.7777 | 1223794.7207 | 2671049.2479 | 1223773.5388 | 2671049.6659 | 1223769.5748
90 | 2670620.9049 | 1223700.3056 | 2670615.8132 | 1223700.1016
91 | 2670642.7225 | 1223701.1885 | 2671040.7308 | 1223799.2083
92 | 2670642.7225 | 1223701.1885 | 2670624.4998 | 1223700.4497 | 2670620.9049 | 1223700.3056

## bus_geodata
| x | y | coords
0 | 2670570.2821 | 1223777.2401
1 | 2670576.4941 | 1223743.0006
2 | 2670569.5122 | 1223790.5742
3 | 2670577.3636 | 1223737.9708
4 | 2670541.8176 | 1223816.8787
5 | 2670582.2299 | 1223690.2707
6 | 2670608.3719 | 1223720.8404
7 | 2670543.6698 | 1223857.8858
8 | 2670542.7421 | 1223837.3476
9 | 2670547.5161 | 1223885.035
10 | 2670432.8744 | 1223934.7652
11 | 2670320.5508 | 1223932.2977
12 | 2670340.6734 | 1223973.212
13 | 2670312.9044 | 1223912.867
14 | 2670583.6671 | 1223674.6069
15 | 2670614.2431 | 1223700.0386
16 | 2670665.6777 | 1224142.014
17 | 2670630.3236 | 1224151.5345
18 | 2671101.9315 | 1224288.2438
19 | 2670624.1447 | 1224128.1547
20 | 2670633.3052 | 1224169.4113
21 | 2670604.0226 | 1224156.4863
22 | 2671106.7662 | 1224314.3335
23 | 2671109.6901 | 1224325.4168
24 | 2670620.9584 | 1224118.8929
25 | 2670636.4544 | 1224188.2932
26 | 2670585.4503 | 1224159.1539
27 | 2670619.2489 | 1224113.9237
28 | 2670637.1031 | 1224192.1827
29 | 2670559.2029 | 1224160.9131
30 | 2670570.4291 | 1223620.3763
31 | 2670575.7422 | 1223631.9427
32 | 2670561.471 | 1223600.9156
33 | 2670575.8047 | 1223632.0885
34 | 2670558.8197 | 1223596.8259
35 | 2670542.5589 | 1223609.9241
36 | 2670578.1462 | 1223639.2663
37 | 2670546.5726 | 1223582.9753
38 | 2670571.8952 | 1223589.1564
39 | 2670523.049 | 1223623.2703
40 | 2670580.112 | 1223647.5946
41 | 2670542.4037 | 1223578.7086
42 | 2670589.5126 | 1223575.2214
43 | 2670521.5313 | 1223623.7764
44 | 2670611.7581 | 1224610.1353
45 | 2670629.904 | 1224616.7995
46 | 2670647.3068 | 1224513.2162
47 | 2670627.642 | 1224629.6073
48 | 2670650.7967 | 1224491.3994
49 | 2670593.5872 | 1223568.7412
50 | 2670597.8689 | 1223547.0119
51 | 2670599.2081 | 1223537.2701
52 | 2670541.1217 | 1223569.4184
53 | 2670527.3348 | 1223565.9329
54 | 2670582.8276 | 1223660.7411
55 | 2670650.9186 | 1224490.6367
56 | 2670654.9 | 1224465.6823
57 | 2671122.6733 | 1224425.9755
58 | 2671111.5318 | 1224346.0261
59 | 2671119.6592 | 1224392.6808
60 | 2671124.4948 | 1224448.2528
61 | 2670402.8311 | 1223384.9744
62 | 2670503.5366 | 1223513.3847
63 | 2670505.64 | 1223518.8789
64 | 2670515.1993 | 1223543.8477
65 | 2670480.1142 | 1223639.2375
66 | 2670510.7135 | 1223627.3836
67 | 2670474.3712 | 1223640.8323
68 | 2670509.4242 | 1223569.7415
69 | 2670501.18 | 1223570.5166
70 | 2670475.5812 | 1223569.7679
71 | 2670462.3002 | 1223567.1096
72 | 2670613.815 | 1223507.4086
73 | 2670609.5698 | 1223512.7407
74 | 2671096.2747 | 1223316.5424
75 | 2671096.3698 | 1223317.0392
76 | 2671095.815 | 1223314.1401
77 | 2671101.9256 | 1223318.0484
78 | 2671101.2187 | 1223342.3785
79 | 2671101.0352 | 1223366.6254
80 | 2671124.4229 | 1223332.438
81 | 2671118.4522 | 1223328.6191
82 | 2671121.3052 | 1223364.8663
83 | 2671120.9233 | 1223360.6479
84 | 2671102.2404 | 1223381.9164
85 | 2671076.0127 | 1223399.4495
86 | 2671154.4194 | 1223327.8552
87 | 2671171.2108 | 1223324.7753
88 | 2671108.9895 | 1223480.1439
89 | 2671049.6659 | 1223769.5748
90 | 2670615.8132 | 1223700.1016
91 | 2671040.7308 | 1223799.2083
92 | 2670642.7225 | 1223701.1885
93 | 2670620.9049 | 1223700.3056
94 | 2670561.471 | 1223600.9156

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1