## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4254-17_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4254-17_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4254-17_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4254-17_0_5_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_4254-17_0_5_node_25 | 0.4 | n |  | TRUE
5 | bus_LV_4254-17_0_5_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_4254-17_0_5_node_56 | 0.4 | n |  | TRUE
7 | bus_LV_4254-17_0_5_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_4254-17_0_5_node_74 | 0.4 | n |  | TRUE
9 | bus_LV_4254-17_0_5_node_75 | 0.4 | n |  | TRUE
10 | bus_LV_4254-17_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4254-17_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4254-17_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4254-17_0_5_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_4254-17_0_5_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_4254-17_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4254-17_0_5_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_4254-17_0_5_node_61 | 0.4 | n |  | TRUE
18 | bus_LV_4254-17_0_5_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_4254-17_0_5_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_4254-17_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_4254-17_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4254-17_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_4254-17_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_4254-17_0_5_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_4254-17_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_4254-17_0_5_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_4254-17_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_4254-17_0_5_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_4254-17_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_4254-17_0_5_node_85 | 0.4 | n |  | TRUE
31 | bus_LV_4254-17_0_5_node_93 | 0.4 | n |  | TRUE
32 | bus_LV_4254-17_0_5_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_4254-17_0_5_node_83 | 0.4 | n |  | TRUE
34 | bus_LV_4254-17_0_5_node_89 | 0.4 | n |  | TRUE
35 | bus_LV_4254-17_0_5_node_91 | 0.4 | n |  | TRUE
36 | bus_LV_4254-17_0_5_node_95 | 0.4 | n |  | TRUE
37 | bus_LV_4254-17_0_5_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_4254-17_0_5_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_4254-17_0_5_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_4254-17_0_5_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_4254-17_0_5_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_4254-17_0_5_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_4254-17_0_5_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_4254-17_0_5_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_4254-17_0_5_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_4254-17_0_5_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_4254-17_0_5_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_4254-17_0_5_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_4254-17_0_5_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_4254-17_0_5_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_4254-17_0_5_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_4254-17_0_5_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_4254-17_0_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_4254-17_0_5_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_4254-17_0_5_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_4254-17_0_5_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_4254-17_0_5_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_4254-17_0_5_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_4254-17_0_5_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_4254-17_0_5_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_4254-17_0_5_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_4254-17_0_5_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_4254-17_0_5_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_4254-17_0_5_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_4254-17_0_5_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_4254-17_0_5_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_4254-17_0_5_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_4254-17_0_5_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_4254-17_0_5_node_86 | 0.4 | n |  | TRUE
70 | bus_LV_4254-17_0_5_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_4254-17_0_5_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_4254-17_0_5_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_4254-17_0_5_node_87 | 0.4 | n |  | TRUE
74 | bus_LV_4254-17_0_5_node_88 | 0.4 | n |  | TRUE
75 | bus_LV_4254-17_0_5_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_4254-17_0_5_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_4254-17_0_5_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_4254-17_0_5_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_4254-17_0_5_node_84 | 0.4 | n |  | TRUE
80 | bus_LV_4254-17_0_5_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_4254-17_0_5_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_4254-17_0_5_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_4254-17_0_5_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_4254-17_0_5_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_4254-17_0_5_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_4254-17_0_5_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_4254-17_0_5_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_4254-17_0_5_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_4254-17_0_5_node_92 | 0.4 | n |  | TRUE
90 | bus_LV_4254-17_0_5_node_94 | 0.4 | n |  | TRUE
91 | bus_MV_298_1_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4254-17_0_5_load_0 | 0 | 0.013739 | 0.0034433 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4254-17_0_5_load_22 | 3 | 0.0084301 | 0.0021128 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4254-17_0_5_load_52 | 5 | 0.0021254 | 0.00053268 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4254-17_0_5_load_56 | 6 | 0.0029378 | 0.00073629 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4254-17_0_5_load_23 | 7 | 0.0046625 | 0.0011685 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4254-17_0_5_load_74 | 8 | 0.0010585 | 0.00026528 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4254-17_0_5_load_5 | 10 | 0.0075601 | 0.0018947 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4254-17_0_5_load_12 | 13 | 0.010533 | 0.0026399 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4254-17_0_5_load_58 | 14 | 0.0017574 | 0.00044045 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4254-17_0_5_load_10 | 15 | 0.010643 | 0.0026673 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4254-17_0_5_load_57 | 16 | 0.0013601 | 0.00034087 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4254-17_0_5_load_61 | 17 | 0.0027128 | 0.0006799 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4254-17_0_5_load_62 | 18 | 0.0019429 | 0.00048695 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4254-17_0_5_load_60 | 19 | 0.0016156 | 0.0004049 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4254-17_0_5_load_11 | 20 | 0.012609 | 0.0031601 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4254-17_0_5_load_13 | 21 | 0.018714 | 0.0046902 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4254-17_0_5_load_15 | 23 | 0.0073407 | 0.0018398 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4254-17_0_5_load_19 | 24 | 0.0069464 | 0.0017409 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4254-17_0_5_load_17 | 25 | 0.0039714 | 0.00099532 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4254-17_0_5_load_16 | 26 | 0.0067081 | 0.0016812 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4254-17_0_5_load_21 | 29 | 0.010647 | 0.0026683 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4254-17_0_5_load_85 | 30 | 0.010762 | 0.0026971 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4254-17_0_5_load_89 | 34 | 0.014306 | 0.0035853 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4254-17_0_5_load_95 | 36 | 0.0031497 | 0.0007894 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4254-17_0_5_load_29 | 37 | 0.0074288 | 0.0018618 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4254-17_0_5_load_24 | 38 | 0.0021738 | 0.00054481 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4254-17_0_5_load_51 | 40 | 0.0015971 | 0.00040026 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4254-17_0_5_load_55 | 41 | 0.0030025 | 0.0007525 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4254-17_0_5_load_26 | 42 | 0.011498 | 0.0028816 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4254-17_0_5_load_27 | 43 | 0.010403 | 0.0026073 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4254-17_0_5_load_30 | 44 | 0.011177 | 0.0028012 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4254-17_0_5_load_63 | 45 | 0.011132 | 0.0027899 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4254-17_0_5_load_31 | 47 | 0.0013644 | 0.00034196 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4254-17_0_5_load_32 | 48 | 0.0014205 | 0.00035601 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4254-17_0_5_load_34 | 50 | 0.0012422 | 0.00031133 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4254-17_0_5_load_35 | 51 | 0.00096192 | 0.00024108 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4254-17_0_5_load_36 | 52 | 0.0012504 | 0.00031337 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4254-17_0_5_load_45 | 53 | 0.0014437 | 0.00036181 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4254-17_0_5_load_37 | 54 | 0.0017131 | 0.00042933 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4254-17_0_5_load_40 | 55 | 0.0016037 | 0.00040193 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4254-17_0_5_load_43 | 56 | 0.0012224 | 0.00030637 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4254-17_0_5_load_39 | 58 | 0.0015542 | 0.00038951 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4254-17_0_5_load_49 | 59 | 0.00065414 | 0.00016394 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4254-17_0_5_load_48 | 60 | 0.0015188 | 0.00038065 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4254-17_0_5_load_54 | 62 | 0.0031076 | 0.00077884 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4254-17_0_5_load_41 | 63 | 0.049047 | 0.012292 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4254-17_0_5_load_42 | 64 | 0.0011295 | 0.00028309 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4254-17_0_5_load_44 | 65 | 0.0010434 | 0.00026151 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4254-17_0_5_load_73 | 67 | 0.01257 | 0.0031503 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4254-17_0_5_load_71 | 68 | 0.0017808 | 0.0004463 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4254-17_0_5_load_59 | 70 | 0.0029216 | 0.00073222 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4254-17_0_5_load_76 | 71 | 0.014712 | 0.0036871 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4254-17_0_5_load_77 | 72 | 0.011398 | 0.0028567 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4254-17_0_5_load_87 | 73 | 0.010317 | 0.0025858 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4254-17_0_5_load_88 | 74 | 0.012455 | 0.0031214 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4254-17_0_5_load_65 | 75 | 0.019047 | 0.0047737 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4254-17_0_5_load_66 | 76 | 0.0083502 | 0.0020928 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4254-17_0_5_load_67 | 77 | 0.038552 | 0.009662 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4254-17_0_5_load_68 | 78 | 0.014233 | 0.0035671 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4254-17_0_5_load_69 | 80 | 0.01075 | 0.0026941 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4254-17_0_5_load_70 | 81 | 0.0037937 | 0.0009508 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4254-17_0_5_load_72 | 82 | 0.0031501 | 0.00078948 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4254-17_0_5_load_78 | 85 | 0.012905 | 0.0032342 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4254-17_0_5_load_80 | 86 | 0.012329 | 0.0030898 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4254-17_0_5_load_82 | 87 | 0.025965 | 0.0065075 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4254-17_0_5_load_90 | 88 | 0.0047063 | 0.0011795 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4254-17_0_5_load_92 | 89 | 0.011573 | 0.0029004 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4254-17_0_5_load_94 | 90 | 0.017457 | 0.0043751 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4254-17_0_5_line_0 |  | 0 | 1 | 0.040914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4254-17_0_5_line_1 |  | 1 | 2 | 0.080484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4254-17_0_5_line_2 |  | 2 | 3 | 0.04997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4254-17_0_5_line_3 |  | 3 | 7 | 0.01772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4254-17_0_5_line_4 |  | 4 | 5 | 0.018836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4254-17_0_5_line_5 |  | 4 | 6 | 0.020924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4254-17_0_5_line_6 |  | 5 | 39 | 0.018865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4254-17_0_5_line_7 |  | 6 | 41 | 0.0019568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4254-17_0_5_line_8 |  | 7 | 38 | 0.0011126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4254-17_0_5_line_9 |  | 8 | 9 | 0.023179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4254-17_0_5_line_10 |  | 9 | 46 | 0.025637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4254-17_0_5_line_11 |  | 10 | 11 | 0.01709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4254-17_0_5_line_12 |  | 11 | 12 | 0.031822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4254-17_0_5_line_13 |  | 12 | 13 | 0.022446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4254-17_0_5_line_14 |  | 12 | 14 | 0.037218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4254-17_0_5_line_15 |  | 13 | 15 | 0.018349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4254-17_0_5_line_16 |  | 14 | 16 | 0.017524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4254-17_0_5_line_17 |  | 15 | 20 | 0.01585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4254-17_0_5_line_18 |  | 16 | 70 | 0.016745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4254-17_0_5_line_19 |  | 17 | 18 | 0.022159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4254-17_0_5_line_20 |  | 17 | 19 | 0.014768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4254-17_0_5_line_21 |  | 18 | 71 | 0.027621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4254-17_0_5_line_22 |  | 20 | 21 | 0.03743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4254-17_0_5_line_23 |  | 21 | 22 | 0.006879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4254-17_0_5_line_24 |  | 22 | 23 | 0.024963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4254-17_0_5_line_25 |  | 23 | 24 | 0.016763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4254-17_0_5_line_26 |  | 24 | 25 | 0.0056186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4254-17_0_5_line_27 |  | 25 | 26 | 0.010541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_4254-17_0_5_line_28 |  | 26 | 27 | 0.014536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_4254-17_0_5_line_29 |  | 27 | 28 | 0.019399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_4254-17_0_5_line_30 |  | 27 | 29 | 2.9689e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_4254-17_0_5_line_31 |  | 28 | 30 | 0.018323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_4254-17_0_5_line_32 |  | 28 | 31 | 0.02824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4254-17_0_5_line_33 |  | 29 | 32 | 0.031974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_4254-17_0_5_line_34 |  | 30 | 33 | 0.0071751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_4254-17_0_5_line_35 |  | 31 | 34 | 0.0141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4254-17_0_5_line_36 |  | 31 | 35 | 0.021534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4254-17_0_5_line_37 |  | 32 | 36 | 0.012634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_4254-17_0_5_line_38 |  | 32 | 37 | 0.020404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4254-17_0_5_line_39 |  | 33 | 79 | 0.020181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4254-17_0_5_line_40 |  | 33 | 78 | 0.0088608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4254-17_0_5_line_41 |  | 34 | 74 | 0.019876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4254-17_0_5_line_42 |  | 35 | 89 | 0.002297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4254-17_0_5_line_43 |  | 35 | 88 | 0.016857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4254-17_0_5_line_44 |  | 36 | 69 | 0.0018174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_4254-17_0_5_line_45 |  | 37 | 43 | 0.033367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4254-17_0_5_line_46 |  | 38 | 39 | 0.023325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4254-17_0_5_line_47 |  | 39 | 40 | 0.014062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4254-17_0_5_line_48 |  | 40 | 67 | 0.002672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4254-17_0_5_line_49 |  | 41 | 62 | 0.022598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4254-17_0_5_line_50 |  | 42 | 43 | 0.012867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4254-17_0_5_line_51 |  | 44 | 45 | 0.032115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4254-17_0_5_line_52 |  | 45 | 46 | 0.016459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4254-17_0_5_line_53 |  | 46 | 73 | 0.017617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4254-17_0_5_line_54 |  | 47 | 48 | 0.013741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4254-17_0_5_line_55 |  | 47 | 49 | 0.012023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4254-17_0_5_line_56 |  | 48 | 50 | 0.0039848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4254-17_0_5_line_57 |  | 49 | 51 | 0.0049096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4254-17_0_5_line_58 |  | 49 | 52 | 0.018674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4254-17_0_5_line_59 |  | 50 | 53 | 0.0093165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4254-17_0_5_line_60 |  | 51 | 54 | 0.014644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4254-17_0_5_line_61 |  | 52 | 55 | 0.0043581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4254-17_0_5_line_62 |  | 53 | 56 | 0.019573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4254-17_0_5_line_63 |  | 54 | 57 | 0.013554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4254-17_0_5_line_64 |  | 55 | 58 | 0.012646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4254-17_0_5_line_65 |  | 56 | 64 | 0.0059475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4254-17_0_5_line_66 |  | 57 | 59 | 0.026121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4254-17_0_5_line_67 |  | 58 | 63 | 0.031099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4254-17_0_5_line_68 |  | 59 | 62 | 0.039162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4254-17_0_5_line_69 |  | 60 | 61 | 0.052386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4254-17_0_5_line_70 |  | 61 | 66 | 0.062001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4254-17_0_5_line_71 |  | 64 | 65 | 0.037386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4254-17_0_5_line_72 |  | 65 | 66 | 0.029753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4254-17_0_5_line_73 |  | 67 | 68 | 0.013219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4254-17_0_5_line_74 |  | 68 | 80 | 0.0071772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4254-17_0_5_line_75 |  | 69 | 82 | 0.0053712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_4254-17_0_5_line_76 |  | 71 | 72 | 0.017664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4254-17_0_5_line_77 |  | 72 | 83 | 0.016774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4254-17_0_5_line_78 |  | 73 | 74 | 0.039632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4254-17_0_5_line_79 |  | 75 | 76 | 0.011719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4254-17_0_5_line_80 |  | 75 | 77 | 0.013181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4254-17_0_5_line_81 |  | 76 | 78 | 0.011067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4254-17_0_5_line_82 |  | 79 | 87 | 0.018659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4254-17_0_5_line_83 |  | 80 | 81 | 0.0073061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4254-17_0_5_line_84 |  | 81 | 82 | 0.0083139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4254-17_0_5_line_85 |  | 83 | 84 | 0.025803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4254-17_0_5_line_86 |  | 84 | 87 | 0.0041461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4254-17_0_5_line_87 |  | 84 | 85 | 0.017735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4254-17_0_5_line_88 |  | 85 | 86 | 0.018723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4254-17_0_5_line_89 |  | 89 | 90 | 0.022804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4254-17_0_5_trafo_17 | 0.63 MVA 20/0.4 kV | 91 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2630394.8183 | 1267771.627 | 2630381.0579 | 1267785.2438 | 2630365.2634 | 1267799.9114
1 | 2630349.1212 | 1267706.5239 | 2630365.599 | 1267722.1751 | 2630369.3882 | 1267727.376 | 2630379.1394 | 1267739.6904 | 2630383.5476 | 1267747.4519 | 2630386.5118 | 1267753.5492 | 2630387.832 | 1267755.8688 | 2630392.67 | 1267766.4122 | 2630394.8183 | 1267771.627
2 | 2630349.1212 | 1267706.5239 | 2630339.2711 | 1267709.0641 | 2630307.4027 | 1267710.8132 | 2630299.5353 | 1267710.3526
3 | 2630281.8457 | 1267709.317 | 2630299.5353 | 1267710.3526
4 | 2630274.826 | 1267674.5095 | 2630269.9263 | 1267686.2706 | 2630266.8794 | 1267691.5499
5 | 2630274.826 | 1267674.5095 | 2630255.3316 | 1267668.7946 | 2630254.7659 | 1267668.5681
6 | 2630257.4497 | 1267707.8889 | 2630266.8794 | 1267691.5499
7 | 2630252.9494 | 1267667.8407 | 2630254.7659 | 1267668.5681
8 | 2630280.735 | 1267709.252 | 2630281.8457 | 1267709.317
9 | 2630295.3774 | 1267894.1156 | 2630314.9415 | 1267881.6846
10 | 2630295.3774 | 1267894.1156 | 2630288.4757 | 1267892.6792 | 2630278.6323 | 1267888.0922 | 2630271.2927 | 1267885.4639
11 | 2630021.3941 | 1267779.8715 | 2630013.5306 | 1267795.0449
12 | 2630021.3941 | 1267779.8715 | 2630030.8567 | 1267754.279 | 2630034.8791 | 1267752.1424
13 | 2630034.8791 | 1267752.1424 | 2630040.7392 | 1267751.2381 | 2630056.5992 | 1267755.85
14 | 2630034.8791 | 1267752.1424 | 2630034.2601 | 1267746.5797 | 2630043.0782 | 1267716.2134
15 | 2630074.2187 | 1267760.9735 | 2630056.5992 | 1267755.85
16 | 2630053.2089 | 1267702.301 | 2630049.7725 | 1267709.4431 | 2630043.2457 | 1267715.6366 | 2630043.0782 | 1267716.2134
17 | 2630074.2187 | 1267760.9735 | 2630089.4386 | 1267765.3993
18 | 2630054.7331 | 1267687.0857 | 2630057.4629 | 1267693.4597 | 2630053.2089 | 1267702.301
19 | 2630051.2763 | 1267846.0147 | 2630071.4903 | 1267855.0932
20 | 2630051.2763 | 1267846.0147 | 2630045.0868 | 1267859.4233
21 | 2630071.4903 | 1267855.0932 | 2630096.6863 | 1267866.4094
22 | 2630089.4386 | 1267765.3993 | 2630119.1984 | 1267774.0531 | 2630125.5229 | 1267775.2517
23 | 2630132.2816 | 1267776.5326 | 2630125.5229 | 1267775.2517
24 | 2630132.2816 | 1267776.5326 | 2630148.4182 | 1267776.5258 | 2630156.8902 | 1267779.0011
25 | 2630156.8902 | 1267779.0011 | 2630172.9806 | 1267783.7022
26 | 2630178.3737 | 1267785.2779 | 2630172.9806 | 1267783.7022
27 | 2630178.3737 | 1267785.2779 | 2630188.4913 | 1267788.234
28 | 2630200.8238 | 1267795.7511 | 2630190.6758 | 1267788.8722 | 2630188.4913 | 1267788.234
29 | 2630189.4549 | 1267811.3042 | 2630193.1565 | 1267804.2069 | 2630200.8238 | 1267795.7511
30 | 2630200.8238 | 1267795.7511 | 2630200.841 | 1267795.7269
31 | 2630189.4549 | 1267811.3042 | 2630174.2966 | 1267821.5982
32 | 2630189.4549 | 1267811.3042 | 2630193.5356 | 1267827.2364 | 2630192.7831 | 1267839.0076
33 | 2630219.3739 | 1267769.6717 | 2630200.841 | 1267795.7269
34 | 2630168.3609 | 1267825.6291 | 2630174.2966 | 1267821.5982
35 | 2630192.7831 | 1267839.0076 | 2630204.9181 | 1267846.1882
36 | 2630192.7831 | 1267839.0076 | 2630191.8078 | 1267860.518
37 | 2630219.3739 | 1267769.6717 | 2630226.0022 | 1267758.9156
38 | 2630219.3739 | 1267769.6717 | 2630237.375 | 1267779.2787
39 | 2630153.2549 | 1267839.0617 | 2630168.3609 | 1267825.6291
40 | 2630168.3609 | 1267825.6291 | 2630159.8386 | 1267823.2033
41 | 2630204.9181 | 1267846.1882 | 2630222.0237 | 1267856.3101
42 | 2630191.8078 | 1267860.518 | 2630191.763 | 1267862.8145
43 | 2630191.8078 | 1267860.518 | 2630208.6643 | 1267860.4803
44 | 2630226.9556 | 1267757.3683 | 2630226.0022 | 1267758.9156
45 | 2630267.7117 | 1267792.5127 | 2630258.5846 | 1267790.598 | 2630237.375 | 1267779.2787
46 | 2630257.4497 | 1267707.8889 | 2630280.735 | 1267709.252
47 | 2630257.4497 | 1267707.8889 | 2630250.0719 | 1267719.86
48 | 2630248.67 | 1267722.1347 | 2630250.0719 | 1267719.86
49 | 2630231.971 | 1267659.4397 | 2630252.9494 | 1267667.8407
50 | 2630267.7117 | 1267792.5127 | 2630267.7117 | 1267792.5127 | 2630278.8887 | 1267798.8877
51 | 2630297.9221 | 1267844.8392 | 2630280.3159 | 1267871.6984
52 | 2630271.2927 | 1267885.4639 | 2630280.3159 | 1267871.6984
53 | 2630271.2927 | 1267885.4639 | 2630256.1313 | 1267876.4925
54 | 2630127.1094 | 1267652.2266 | 2630123.6948 | 1267652.2559 | 2630118.7422 | 1267650.8075 | 2630113.9367 | 1267648.9114
55 | 2630139.1323 | 1267652.1233 | 2630127.1094 | 1267652.2266
56 | 2630113.9367 | 1267648.9114 | 2630110.23 | 1267647.4488
57 | 2630139.1323 | 1267652.1233 | 2630143.9155 | 1267651.0163
58 | 2630139.1323 | 1267652.1233 | 2630134.2806 | 1267670.1558
59 | 2630101.5637 | 1267644.0294 | 2630110.23 | 1267647.4488
60 | 2630143.9155 | 1267651.0163 | 2630158.182 | 1267647.7147
61 | 2630134.2806 | 1267670.1558 | 2630133.1483 | 1267674.3642 | 2630133.1483 | 1267674.3642
62 | 2630083.3563 | 1267636.8454 | 2630101.5637 | 1267644.0294
63 | 2630169.554 | 1267640.4144 | 2630158.8299 | 1267647.5648 | 2630158.182 | 1267647.7147
64 | 2630145.1949 | 1267678.2127 | 2630133.1483 | 1267674.3642
65 | 2630077.8238 | 1267634.6624 | 2630083.3563 | 1267636.8454
66 | 2630169.554 | 1267640.4144 | 2630194.6215 | 1267647.7571
67 | 2630166.7934 | 1267693.2157 | 2630167.6289 | 1267688.7834 | 2630167.0676 | 1267685.2003 | 2630145.1949 | 1267678.2127
68 | 2630231.971 | 1267659.4397 | 2630225.0693 | 1267656.6758 | 2630194.6215 | 1267647.7571
69 | 2630036.1286 | 1267590.567 | 2630043.8205 | 1267593.5749 | 2630054.8746 | 1267598.5011 | 2630084.1876 | 1267611.3975
70 | 2630011.7615 | 1267629.838 | 2630012.7007 | 1267625.7065 | 2630018.6666 | 1267595.0816 | 2630016.8708 | 1267590.0356 | 2630026.9364 | 1267592.4884 | 2630034.7528 | 1267593.2286 | 2630036.1286 | 1267590.567
71 | 2630077.8238 | 1267634.6624 | 2630067.3264 | 1267630.5205 | 2630061.4717 | 1267628.8563 | 2630056.1458 | 1267628.2844 | 2630041.4965 | 1267628.7972
72 | 2630011.7615 | 1267629.838 | 2630041.4965 | 1267628.7972
73 | 2630241.7345 | 1267733.3882 | 2630248.67 | 1267722.1347
74 | 2630237.9689 | 1267739.4982 | 2630241.7345 | 1267733.3882
75 | 2630226.9556 | 1267757.3683 | 2630229.7737 | 1267752.7957
76 | 2630112.7998 | 1267873.6463 | 2630096.6863 | 1267866.4094
77 | 2630128.1017 | 1267880.5187 | 2630112.7998 | 1267873.6463
78 | 2630256.1313 | 1267876.4925 | 2630222.0237 | 1267856.3101
79 | 2630137.923 | 1267816.965 | 2630149.1944 | 1267820.1734
80 | 2630125.2451 | 1267813.3563 | 2630137.923 | 1267816.965
81 | 2630159.8386 | 1267823.2033 | 2630149.1944 | 1267820.1734
82 | 2630153.2549 | 1267839.0617 | 2630142.3582 | 1267854.2081
83 | 2630237.9689 | 1267739.4982 | 2630234.1357 | 1267745.718
84 | 2630234.1357 | 1267745.718 | 2630229.7737 | 1267752.7957
85 | 2630139.9369 | 1267857.5737 | 2630128.1017 | 1267880.5187
86 | 2630139.9369 | 1267857.5737 | 2630142.3582 | 1267854.2081
87 | 2630139.9369 | 1267857.5737 | 2630123.507 | 1267850.8967
88 | 2630106.1613 | 1267843.8476 | 2630123.507 | 1267850.8967
89 | 2630191.3181 | 1267885.6147 | 2630191.763 | 1267862.8145

## bus_geodata
| x | y | coords
0 | 2630365.2634 | 1267799.9114
1 | 2630394.8183 | 1267771.627
2 | 2630349.1212 | 1267706.5239
3 | 2630299.5353 | 1267710.3526
4 | 2630274.826 | 1267674.5095
5 | 2630266.8794 | 1267691.5499
6 | 2630254.7659 | 1267668.5681
7 | 2630281.8457 | 1267709.317
8 | 2630314.9415 | 1267881.6846
9 | 2630295.3774 | 1267894.1156
10 | 2630013.5306 | 1267795.0449
11 | 2630021.3941 | 1267779.8715
12 | 2630034.8791 | 1267752.1424
13 | 2630056.5992 | 1267755.85
14 | 2630043.0782 | 1267716.2134
15 | 2630074.2187 | 1267760.9735
16 | 2630053.2089 | 1267702.301
17 | 2630051.2763 | 1267846.0147
18 | 2630071.4903 | 1267855.0932
19 | 2630045.0868 | 1267859.4233
20 | 2630089.4386 | 1267765.3993
21 | 2630125.5229 | 1267775.2517
22 | 2630132.2816 | 1267776.5326
23 | 2630156.8902 | 1267779.0011
24 | 2630172.9806 | 1267783.7022
25 | 2630178.3737 | 1267785.2779
26 | 2630188.4913 | 1267788.234
27 | 2630200.8238 | 1267795.7511
28 | 2630189.4549 | 1267811.3042
29 | 2630200.841 | 1267795.7269
30 | 2630174.2966 | 1267821.5982
31 | 2630192.7831 | 1267839.0076
32 | 2630219.3739 | 1267769.6717
33 | 2630168.3609 | 1267825.6291
34 | 2630204.9181 | 1267846.1882
35 | 2630191.8078 | 1267860.5179
36 | 2630226.0022 | 1267758.9156
37 | 2630237.375 | 1267779.2787
38 | 2630280.735 | 1267709.252
39 | 2630257.4497 | 1267707.8889
40 | 2630250.0719 | 1267719.86
41 | 2630252.9494 | 1267667.8407
42 | 2630278.8887 | 1267798.8877
43 | 2630267.7117 | 1267792.5127
44 | 2630297.9221 | 1267844.8392
45 | 2630280.3159 | 1267871.6984
46 | 2630271.2927 | 1267885.4639
47 | 2630127.1094 | 1267652.2266
48 | 2630113.9367 | 1267648.9114
49 | 2630139.1323 | 1267652.1233
50 | 2630110.23 | 1267647.4488
51 | 2630143.9155 | 1267651.0163
52 | 2630134.2806 | 1267670.1558
53 | 2630101.5637 | 1267644.0294
54 | 2630158.182 | 1267647.7147
55 | 2630133.1483 | 1267674.3642
56 | 2630083.3563 | 1267636.8454
57 | 2630169.554 | 1267640.4144
58 | 2630145.1949 | 1267678.2127
59 | 2630194.6215 | 1267647.7571
60 | 2630084.1876 | 1267611.3975
61 | 2630036.1286 | 1267590.567
62 | 2630231.971 | 1267659.4397
63 | 2630166.7934 | 1267693.2157
64 | 2630077.8238 | 1267634.6624
65 | 2630041.4965 | 1267628.7972
66 | 2630011.7615 | 1267629.838
67 | 2630248.67 | 1267722.1347
68 | 2630241.7345 | 1267733.3882
69 | 2630226.9556 | 1267757.3683
70 | 2630054.7331 | 1267687.0857
71 | 2630096.6863 | 1267866.4094
72 | 2630112.7998 | 1267873.6463
73 | 2630256.1313 | 1267876.4925
74 | 2630222.0237 | 1267856.3101
75 | 2630137.923 | 1267816.965
76 | 2630149.1944 | 1267820.1734
77 | 2630125.2451 | 1267813.3563
78 | 2630159.8386 | 1267823.2033
79 | 2630153.2549 | 1267839.0617
80 | 2630237.9689 | 1267739.4982
81 | 2630234.1357 | 1267745.718
82 | 2630229.7737 | 1267752.7957
83 | 2630128.1017 | 1267880.5187
84 | 2630139.9369 | 1267857.5737
85 | 2630123.507 | 1267850.8967
86 | 2630106.1613 | 1267843.8476
87 | 2630142.3582 | 1267854.2081
88 | 2630208.6643 | 1267860.4803
89 | 2630191.763 | 1267862.8145
90 | 2630191.3181 | 1267885.6147
91 | 2630200.8238 | 1267795.7511

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1