## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4254-9_1_2_node_11 | 0.4 | n |  | TRUE
1 | bus_LV_4254-9_1_2_node_12 | 0.4 | n |  | TRUE
2 | bus_LV_4254-9_1_2_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_4254-9_1_2_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_4254-9_1_2_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_4254-9_1_2_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_4254-9_1_2_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_4254-9_1_2_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_4254-9_1_2_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_4254-9_1_2_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_4254-9_1_2_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_4254-9_1_2_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_4254-9_1_2_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_4254-9_1_2_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_4254-9_1_2_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_4254-9_1_2_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_4254-9_1_2_node_159 | 0.4 | n |  | TRUE
17 | bus_LV_4254-9_1_2_node_157 | 0.4 | n |  | TRUE
18 | bus_LV_4254-9_1_2_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_4254-9_1_2_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_4254-9_1_2_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_4254-9_1_2_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_4254-9_1_2_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_4254-9_1_2_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_4254-9_1_2_node_141 | 0.4 | n |  | TRUE
25 | bus_LV_4254-9_1_2_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_4254-9_1_2_node_140 | 0.4 | n |  | TRUE
27 | bus_LV_4254-9_1_2_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_4254-9_1_2_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_4254-9_1_2_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_4254-9_1_2_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_4254-9_1_2_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_4254-9_1_2_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_4254-9_1_2_node_77 | 0.4 | n |  | TRUE
34 | bus_LV_4254-9_1_2_node_78 | 0.4 | n |  | TRUE
35 | bus_LV_4254-9_1_2_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_4254-9_1_2_node_89 | 0.4 | n |  | TRUE
37 | bus_LV_4254-9_1_2_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_4254-9_1_2_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_4254-9_1_2_node_65 | 0.4 | n |  | TRUE
40 | bus_LV_4254-9_1_2_node_66 | 0.4 | n |  | TRUE
41 | bus_LV_4254-9_1_2_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_4254-9_1_2_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_4254-9_1_2_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_4254-9_1_2_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_4254-9_1_2_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_4254-9_1_2_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_4254-9_1_2_node_100 | 0.4 | n |  | TRUE
48 | bus_LV_4254-9_1_2_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_4254-9_1_2_node_87 | 0.4 | n |  | TRUE
50 | bus_LV_4254-9_1_2_node_101 | 0.4 | n |  | TRUE
51 | bus_LV_4254-9_1_2_node_133 | 0.4 | n |  | TRUE
52 | bus_LV_4254-9_1_2_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_4254-9_1_2_node_86 | 0.4 | n |  | TRUE
54 | bus_LV_4254-9_1_2_node_102 | 0.4 | n |  | TRUE
55 | bus_LV_4254-9_1_2_node_135 | 0.4 | n |  | TRUE
56 | bus_LV_4254-9_1_2_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_4254-9_1_2_node_113 | 0.4 | n |  | TRUE
58 | bus_LV_4254-9_1_2_node_114 | 0.4 | n |  | TRUE
59 | bus_LV_4254-9_1_2_node_112 | 0.4 | n |  | TRUE
60 | bus_LV_4254-9_1_2_node_88 | 0.4 | n |  | TRUE
61 | bus_LV_4254-9_1_2_node_90 | 0.4 | n |  | TRUE
62 | bus_LV_4254-9_1_2_node_91 | 0.4 | n |  | TRUE
63 | bus_LV_4254-9_1_2_node_92 | 0.4 | n |  | TRUE
64 | bus_LV_4254-9_1_2_node_93 | 0.4 | n |  | TRUE
65 | bus_LV_4254-9_1_2_node_94 | 0.4 | n |  | TRUE
66 | bus_LV_4254-9_1_2_node_155 | 0.4 | n |  | TRUE
67 | bus_LV_4254-9_1_2_node_99 | 0.4 | n |  | TRUE
68 | bus_LV_4254-9_1_2_node_95 | 0.4 | n |  | TRUE
69 | bus_LV_4254-9_1_2_node_96 | 0.4 | n |  | TRUE
70 | bus_LV_4254-9_1_2_node_97 | 0.4 | n |  | TRUE
71 | bus_LV_4254-9_1_2_node_98 | 0.4 | n |  | TRUE
72 | bus_LV_4254-9_1_2_node_104 | 0.4 | n |  | TRUE
73 | bus_LV_4254-9_1_2_node_103 | 0.4 | n |  | TRUE
74 | bus_LV_4254-9_1_2_node_161 | 0.4 | n |  | TRUE
75 | bus_LV_4254-9_1_2_node_163 | 0.4 | n |  | TRUE
76 | bus_LV_4254-9_1_2_node_160 | 0.4 | n |  | TRUE
77 | bus_LV_4254-9_1_2_node_162 | 0.4 | n |  | TRUE
78 | bus_LV_4254-9_1_2_node_137 | 0.4 | n |  | TRUE
79 | bus_LV_4254-9_1_2_node_127 | 0.4 | n |  | TRUE
80 | bus_LV_4254-9_1_2_node_116 | 0.4 | n |  | TRUE
81 | bus_LV_4254-9_1_2_node_117 | 0.4 | n |  | TRUE
82 | bus_LV_4254-9_1_2_node_118 | 0.4 | n |  | TRUE
83 | bus_LV_4254-9_1_2_node_119 | 0.4 | n |  | TRUE
84 | bus_LV_4254-9_1_2_node_120 | 0.4 | n |  | TRUE
85 | bus_LV_4254-9_1_2_node_125 | 0.4 | n |  | TRUE
86 | bus_LV_4254-9_1_2_node_126 | 0.4 | n |  | TRUE
87 | bus_LV_4254-9_1_2_node_123 | 0.4 | n |  | TRUE
88 | bus_LV_4254-9_1_2_node_121 | 0.4 | n |  | TRUE
89 | bus_LV_4254-9_1_2_node_122 | 0.4 | n |  | TRUE
90 | bus_LV_4254-9_1_2_node_124 | 0.4 | n |  | TRUE
91 | bus_LV_4254-9_1_2_node_142 | 0.4 | n |  | TRUE
92 | bus_LV_4254-9_1_2_node_143 | 0.4 | n |  | TRUE
93 | bus_LV_4254-9_1_2_node_144 | 0.4 | n |  | TRUE
94 | bus_LV_4254-9_1_2_node_156 | 0.4 | n |  | TRUE
95 | bus_LV_4254-9_1_2_node_158 | 0.4 | n |  | TRUE
96 | bus_LV_4254-9_1_2_node_164 | 0.4 | n |  | TRUE
97 | bus_MV_298_1_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4254-9_1_2_load_11 | 0 | 0.0065428 | 0.0016398 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4254-9_1_2_load_12 | 1 | 0.0010214 | 0.00025599 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4254-9_1_2_load_14 | 3 | 0.0026445 | 0.00066277 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4254-9_1_2_load_15 | 4 | 0.0065209 | 0.0016343 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4254-9_1_2_load_17 | 5 | 0.0064164 | 0.0016081 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4254-9_1_2_load_18 | 6 | 0.0023792 | 0.00059628 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4254-9_1_2_load_26 | 8 | 0.0012517 | 0.00031369 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4254-9_1_2_load_48 | 10 | 0.0014705 | 0.00036854 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4254-9_1_2_load_24 | 11 | 0.0031985 | 0.00080162 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4254-9_1_2_load_20 | 12 | 0.0034378 | 0.00086158 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4254-9_1_2_load_21 | 13 | 0.0034153 | 0.00085596 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4254-9_1_2_load_23 | 14 | 0.0034777 | 0.00087159 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4254-9_1_2_load_25 | 15 | 0.002676 | 0.00067066 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4254-9_1_2_load_159 | 16 | 0.0023608 | 0.00059168 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4254-9_1_2_load_157 | 17 | 0.0010548 | 0.00026437 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4254-9_1_2_load_49 | 18 | 0.00079608 | 0.00019952 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4254-9_1_2_load_27 | 19 | 0.0033564 | 0.00084119 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4254-9_1_2_load_29 | 21 | 0.0014728 | 0.00036912 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4254-9_1_2_load_30 | 22 | 0.00076237 | 0.00019107 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4254-9_1_2_load_31 | 23 | 0.00080109 | 0.00020077 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4254-9_1_2_load_141 | 24 | 0.00076237 | 0.00019107 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4254-9_1_2_load_45 | 25 | 0.00080014 | 0.00020053 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4254-9_1_2_load_140 | 26 | 0.00076205 | 0.00019099 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4254-9_1_2_load_44 | 27 | 0.00080091 | 0.00020073 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4254-9_1_2_load_37 | 28 | 0.00087919 | 0.00022035 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4254-9_1_2_load_38 | 29 | 0.00066173 | 0.00016585 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4254-9_1_2_load_39 | 30 | 0.0024773 | 0.00062088 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4254-9_1_2_load_41 | 32 | 0.002547 | 0.00063833 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4254-9_1_2_load_77 | 33 | 0.0016294 | 0.00040836 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4254-9_1_2_load_78 | 34 | 0.0016031 | 0.00040177 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4254-9_1_2_load_43 | 35 | 0.00080092 | 0.00020073 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4254-9_1_2_load_89 | 36 | 0.0050607 | 0.0012683 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4254-9_1_2_load_42 | 37 | 0.00048073 | 0.00012048 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4254-9_1_2_load_65 | 39 | 0.00098845 | 0.00024773 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4254-9_1_2_load_66 | 40 | 0.00074512 | 0.00018675 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4254-9_1_2_load_50 | 41 | 0.0071235 | 0.0017853 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4254-9_1_2_load_52 | 42 | 0.0011118 | 0.00027864 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4254-9_1_2_load_54 | 43 | 0.00093305 | 0.00023384 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4254-9_1_2_load_56 | 44 | 0.017954 | 0.0044998 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4254-9_1_2_load_87 | 49 | 0.014864 | 0.0037254 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4254-9_1_2_load_101 | 50 | 0.0068781 | 0.0017238 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4254-9_1_2_load_133 | 51 | 0.0047464 | 0.0011896 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4254-9_1_2_load_76 | 52 | 0.014652 | 0.003672 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4254-9_1_2_load_86 | 53 | 0.010045 | 0.0025174 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4254-9_1_2_load_102 | 54 | 0.004657 | 0.0011672 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4254-9_1_2_load_135 | 55 | 0.0013093 | 0.00032815 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4254-9_1_2_load_75 | 56 | 0.002412 | 0.0006045 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4254-9_1_2_load_112 | 59 | 0.00056264 | 0.00014101 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4254-9_1_2_load_88 | 60 | 0.006733 | 0.0016875 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4254-9_1_2_load_90 | 61 | 0.01021 | 0.0025589 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4254-9_1_2_load_91 | 62 | 0.00047027 | 0.00011786 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4254-9_1_2_load_92 | 63 | 0.0008277 | 0.00020744 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4254-9_1_2_load_93 | 64 | 0.007965 | 0.0019962 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4254-9_1_2_load_94 | 65 | 0.00045999 | 0.00011528 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4254-9_1_2_load_155 | 66 | 0.00032175 | 8.0638e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4254-9_1_2_load_99 | 67 | 0.00017942 | 4.4967e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4254-9_1_2_load_95 | 68 | 0.010004 | 0.0025073 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4254-9_1_2_load_96 | 69 | 0.0021899 | 0.00054885 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4254-9_1_2_load_97 | 70 | 0.0021822 | 0.0005469 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4254-9_1_2_load_103 | 73 | 0.0068332 | 0.0017126 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4254-9_1_2_load_163 | 75 | 0.0018558 | 0.00046511 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4254-9_1_2_load_160 | 76 | 0.0029135 | 0.00073019 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4254-9_1_2_load_162 | 77 | 0.0020917 | 0.00052422 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4254-9_1_2_load_137 | 78 | 0.00016922 | 4.2412e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4254-9_1_2_load_127 | 79 | 0.00084817 | 0.00021257 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4254-9_1_2_load_116 | 80 | 0.00079997 | 0.00020049 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4254-9_1_2_load_117 | 81 | 0.0016807 | 0.00042122 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4254-9_1_2_load_118 | 82 | 0.00049517 | 0.0001241 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4254-9_1_2_load_119 | 83 | 0.00042775 | 0.0001072 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4254-9_1_2_load_120 | 84 | 0.000495 | 0.00012406 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4254-9_1_2_load_126 | 86 | 0.0013461 | 0.00033736 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4254-9_1_2_load_123 | 87 | 0.0014608 | 0.00036612 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4254-9_1_2_load_121 | 88 | 0.0016349 | 0.00040975 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4254-9_1_2_load_122 | 89 | 0.0018393 | 0.00046096 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4254-9_1_2_load_124 | 90 | 0.00063105 | 0.00015816 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4254-9_1_2_load_142 | 91 | 0.00076237 | 0.00019107 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4254-9_1_2_load_143 | 92 | 0.0015912 | 0.00039878 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4254-9_1_2_load_144 | 93 | 0.0015899 | 0.00039846 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4254-9_1_2_load_156 | 94 | 0.001832 | 0.00045915 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4254-9_1_2_load_158 | 95 | 0.0032152 | 0.00080581 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4254-9_1_2_load_164 | 96 | 0.012236 | 0.0030666 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4254-9_1_2_line_0 |  | 0 | 1 | 0.0039246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4254-9_1_2_line_1 |  | 0 | 2 | 0.033841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4254-9_1_2_line_2 |  | 1 | 3 | 0.031644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4254-9_1_2_line_3 |  | 2 | 4 | 0.0094246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4254-9_1_2_line_4 |  | 3 | 5 | 0.0028253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4254-9_1_2_line_5 |  | 5 | 6 | 0.035307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4254-9_1_2_line_6 |  | 6 | 7 | 0.010022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4254-9_1_2_line_7 |  | 7 | 8 | 0.018258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4254-9_1_2_line_8 |  | 7 | 9 | 0.008447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4254-9_1_2_line_9 |  | 8 | 10 | 0.035062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4254-9_1_2_line_10 |  | 9 | 11 | 0.017635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4254-9_1_2_line_11 |  | 9 | 12 | 0.023876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4254-9_1_2_line_12 |  | 10 | 18 | 0.018193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4254-9_1_2_line_13 |  | 11 | 16 | 0.014252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4254-9_1_2_line_14 |  | 12 | 13 | 0.017642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4254-9_1_2_line_15 |  | 13 | 14 | 0.0051444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4254-9_1_2_line_16 |  | 14 | 15 | 0.004386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4254-9_1_2_line_17 |  | 16 | 17 | 0.025709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4254-9_1_2_line_18 |  | 17 | 94 | 1.0033e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4254-9_1_2_line_19 |  | 18 | 38 | 0.0038021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4254-9_1_2_line_20 |  | 19 | 20 | 0.015262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4254-9_1_2_line_21 |  | 19 | 21 | 0.015047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4254-9_1_2_line_22 |  | 20 | 22 | 0.010572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4254-9_1_2_line_23 |  | 20 | 23 | 0.0071638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4254-9_1_2_line_24 |  | 22 | 24 | 0.0056884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4254-9_1_2_line_25 |  | 23 | 25 | 0.0079483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4254-9_1_2_line_26 |  | 24 | 26 | 0.0075863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4254-9_1_2_line_27 |  | 25 | 27 | 0.0079447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4254-9_1_2_line_28 |  | 26 | 91 | 0.0075863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4254-9_1_2_line_29 |  | 27 | 37 | 0.0020069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4254-9_1_2_line_30 |  | 28 | 29 | 0.0029013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4254-9_1_2_line_31 |  | 28 | 30 | 0.018311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4254-9_1_2_line_32 |  | 29 | 31 | 0.019183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4254-9_1_2_line_33 |  | 30 | 32 | 0.00055902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4254-9_1_2_line_34 |  | 31 | 33 | 0.022923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4254-9_1_2_line_35 |  | 31 | 34 | 0.035871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4254-9_1_2_line_36 |  | 31 | 35 | 0.019848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4254-9_1_2_line_37 |  | 34 | 36 | 1.9753e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4254-9_1_2_line_38 |  | 35 | 37 | 0.0059418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4254-9_1_2_line_39 |  | 36 | 60 | 0.019371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4254-9_1_2_line_40 |  | 38 | 39 | 0.013574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4254-9_1_2_line_41 |  | 38 | 40 | 0.02399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4254-9_1_2_line_42 |  | 39 | 43 | 0.022461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4254-9_1_2_line_43 |  | 40 | 55 | 0.0064202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4254-9_1_2_line_44 |  | 41 | 42 | 0.018601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4254-9_1_2_line_45 |  | 42 | 43 | 0.026487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4254-9_1_2_line_46 |  | 44 | 45 | 0.031375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4254-9_1_2_line_47 |  | 45 | 46 | 0.056624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4254-9_1_2_line_48 |  | 46 | 47 | 0.019451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4254-9_1_2_line_49 |  | 46 | 48 | 0.030242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4254-9_1_2_line_50 |  | 46 | 49 | 0.013573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4254-9_1_2_line_51 |  | 47 | 51 | 0.0016363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4254-9_1_2_line_52 |  | 47 | 52 | 0.019845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4254-9_1_2_line_53 |  | 48 | 50 | 0.021709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4254-9_1_2_line_54 |  | 49 | 53 | 0.031007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4254-9_1_2_line_55 |  | 50 | 54 | 0.016454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4254-9_1_2_line_56 |  | 52 | 56 | 0.007751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4254-9_1_2_line_57 |  | 53 | 60 | 0.0025677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4254-9_1_2_line_58 |  | 54 | 73 | 0.019691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4254-9_1_2_line_59 |  | 57 | 58 | 0.014471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4254-9_1_2_line_60 |  | 57 | 59 | 0.02924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4254-9_1_2_line_61 |  | 58 | 78 | 0.026963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4254-9_1_2_line_62 |  | 59 | 64 | 0.006765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4254-9_1_2_line_63 |  | 61 | 62 | 0.013876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4254-9_1_2_line_64 |  | 61 | 63 | 0.0028213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4254-9_1_2_line_65 |  | 62 | 64 | 0.018128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4254-9_1_2_line_66 |  | 63 | 65 | 0.010013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4254-9_1_2_line_67 |  | 65 | 66 | 0.012716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4254-9_1_2_line_68 |  | 66 | 67 | 0.0061799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4254-9_1_2_line_69 |  | 67 | 70 | 0.0017178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4254-9_1_2_line_70 |  | 68 | 69 | 0.016606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4254-9_1_2_line_71 |  | 68 | 70 | 0.0078346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4254-9_1_2_line_72 |  | 69 | 71 | 0.0099527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4254-9_1_2_line_73 |  | 71 | 72 | 0.021109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4254-9_1_2_line_74 |  | 71 | 73 | 0.023574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4254-9_1_2_line_75 |  | 72 | 74 | 0.014596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4254-9_1_2_line_76 |  | 72 | 75 | 0.012284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4254-9_1_2_line_77 |  | 74 | 76 | 0.010255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4254-9_1_2_line_78 |  | 75 | 77 | 0.005847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4254-9_1_2_line_79 |  | 76 | 95 | 0.021288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4254-9_1_2_line_80 |  | 77 | 96 | 0.010633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4254-9_1_2_line_81 |  | 78 | 79 | 0.030566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4254-9_1_2_line_82 |  | 79 | 86 | 0.027691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4254-9_1_2_line_83 |  | 80 | 81 | 0.034309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4254-9_1_2_line_84 |  | 80 | 82 | 0.03163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4254-9_1_2_line_85 |  | 81 | 83 | 0.0013783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4254-9_1_2_line_86 |  | 82 | 84 | 0.0021342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4254-9_1_2_line_87 |  | 83 | 85 | 0.044231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4254-9_1_2_line_88 |  | 84 | 86 | 0.0027111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4254-9_1_2_line_89 |  | 85 | 87 | 0.048133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4254-9_1_2_line_90 |  | 87 | 88 | 0.0064214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4254-9_1_2_line_91 |  | 88 | 89 | 0.023407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4254-9_1_2_line_92 |  | 89 | 90 | 0.0364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4254-9_1_2_line_93 |  | 91 | 92 | 0.012598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4254-9_1_2_line_94 |  | 92 | 93 | 0.0076249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4254-9_1_2_line_95 |  | 94 | 95 | 0.00011305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4254-9_1_2_trafo_102 | 0.63 MVA 20/0.4 kV | 97 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2630041.2793 | 1268307.4861 | 2630042.7703 | 1268303.8557
1 | 2630055.6264 | 1268272.552 | 2630042.7703 | 1268303.8557
2 | 2630041.2793 | 1268307.4861 | 2630039.4036 | 1268312.0534 | 2630026.4841 | 1268335.4269
3 | 2630055.6264 | 1268272.552 | 2630051.4153 | 1268270.4291 | 2630049.1862 | 1268266.2815
4 | 2630025.1174 | 1268337.8996 | 2630026.4841 | 1268335.4269
5 | 2630025.1174 | 1268337.8996 | 2630008.0371 | 1268368.8008
6 | 2630003.1888 | 1268377.5721 | 2630008.0371 | 1268368.8008
7 | 2630003.1888 | 1268377.5721 | 2630019.6153 | 1268385.5422
8 | 2630003.1888 | 1268377.5721 | 2629996.5323 | 1268382.7976
9 | 2630019.6153 | 1268385.5422 | 2630023.1051 | 1268387.2355 | 2630027.9414 | 1268387.7716 | 2630033.8636 | 1268386.3673 | 2630037.9051 | 1268383.3412 | 2630046.65 | 1268370.9306
10 | 2629996.5323 | 1268382.7976 | 2629982.2191 | 1268393.0991
11 | 2629996.5323 | 1268382.7976 | 2629992.1748 | 1268375.4147 | 2629988.9088 | 1268372.4294 | 2629978.8736 | 1268368.23
12 | 2630046.65 | 1268370.9306 | 2630057.1293 | 1268356.0584
13 | 2629982.2191 | 1268393.0991 | 2629982.2191 | 1268393.0991 | 2629976.4347 | 1268406.1249
14 | 2629978.8736 | 1268368.23 | 2629962.5989 | 1268361.4197
15 | 2629957.8533 | 1268359.4338 | 2629962.5989 | 1268361.4197
16 | 2629957.8533 | 1268359.4338 | 2629953.8073 | 1268357.7407
17 | 2629976.4347 | 1268406.1249 | 2629972.5285 | 1268414.9212 | 2629964.1116 | 1268428.6277
18 | 2629964.1064 | 1268428.6363 | 2629964.1116 | 1268428.6277
19 | 2630059.3193 | 1268352.9504 | 2630057.1293 | 1268356.0584
20 | 2629933.0426 | 1268673.5284 | 2629931.5774 | 1268679.0249 | 2629929.106 | 1268688.2735
21 | 2629925.2187 | 1268702.8097 | 2629928.5093 | 1268690.5065 | 2629929.106 | 1268688.2735
22 | 2629933.0426 | 1268673.5284 | 2629926.1615 | 1268681.5549
23 | 2629933.0426 | 1268673.5284 | 2629934.9646 | 1268666.6273
24 | 2629924.0293 | 1268686.8286 | 2629926.1615 | 1268681.5549 | 2629926.1615 | 1268681.5549
25 | 2629937.0972 | 1268658.9704 | 2629934.9646 | 1268666.6273
26 | 2629921.1856 | 1268693.8617 | 2629924.0293 | 1268686.8286
27 | 2629939.2288 | 1268651.3169 | 2629937.0972 | 1268658.9704
28 | 2629921.1856 | 1268693.8617 | 2629918.342 | 1268700.8949
29 | 2629939.7673 | 1268649.3836 | 2629939.2288 | 1268651.3169
30 | 2629967.9414 | 1268630.3618 | 2629965.1631 | 1268629.526
31 | 2629967.9414 | 1268630.3618 | 2629985.4761 | 1268635.6362
32 | 2629946.6479 | 1268624.5288 | 2629957.4932 | 1268627.219 | 2629965.1631 | 1268629.526
33 | 2629986.0115 | 1268635.7973 | 2629985.4761 | 1268635.6362
34 | 2629946.6479 | 1268624.5288 | 2629924.3021 | 1268619.419
35 | 2629946.6479 | 1268624.5288 | 2629957.8097 | 1268590.4387
36 | 2629946.6479 | 1268624.5288 | 2629942.4623 | 1268639.7074 | 2629941.3615 | 1268643.6597
37 | 2629957.8097 | 1268590.4387 | 2629957.8158 | 1268590.4199
38 | 2629939.7673 | 1268649.3836 | 2629941.3615 | 1268643.6597
39 | 2629957.8158 | 1268590.4199 | 2629962.8981 | 1268574.8978 | 2629964.2127 | 1268572.1589
40 | 2630059.3193 | 1268352.9504 | 2630059.6839 | 1268366.5195
41 | 2630059.3193 | 1268352.9504 | 2630072.3238 | 1268333.6694 | 2630072.7281 | 1268333.0574
42 | 2630059.6839 | 1268366.5195 | 2630060.1167 | 1268382.6312 | 2630061.552 | 1268388.8099
43 | 2630076.2672 | 1268327.7007 | 2630072.7281 | 1268333.0574
44 | 2630092.4887 | 1268412.8062 | 2630088.3442 | 1268407.9483 | 2630080.1886 | 1268404.5933 | 2630076.8449 | 1268403.9932
45 | 2630061.552 | 1268388.8099 | 2630064.8078 | 1268402.825 | 2630075.4067 | 1268403.7351 | 2630076.8449 | 1268403.9932
46 | 2630044.999 | 1268539.422 | 2630039.8718 | 1268517.6805 | 2630042.2969 | 1268508.9749
47 | 2629998.9245 | 1268541.7233 | 2630002.7727 | 1268529.3117 | 2630042.7317 | 1268539.8441 | 2630044.999 | 1268539.422
48 | 2629998.9245 | 1268541.7233 | 2630006.7889 | 1268549.0573 | 2630004.0679 | 1268557.3383
49 | 2629998.9245 | 1268541.7233 | 2630002.7727 | 1268529.3117 | 2630007.2521 | 1268512.6558
50 | 2629998.9245 | 1268541.7233 | 2629993.3653 | 1268548.7334 | 2629989.4211 | 1268551.1515
51 | 2630004.0679 | 1268557.3383 | 2630003.5558 | 1268558.8924
52 | 2630004.0679 | 1268557.3383 | 2630023.0026 | 1268563.2783
53 | 2630007.2521 | 1268512.6558 | 2629993.5697 | 1268508.439 | 2629988.7518 | 1268502.8328
54 | 2629965.3238 | 1268569.844 | 2629966.7313 | 1268566.9115 | 2629971.9418 | 1268561.8676 | 2629989.4211 | 1268551.1515
55 | 2629988.7518 | 1268502.8328 | 2629972.9812 | 1268498.1394
56 | 2630023.0026 | 1268563.2783 | 2630030.3982 | 1268565.5984
57 | 2629965.3238 | 1268569.844 | 2629964.2127 | 1268572.1589
58 | 2629954.0479 | 1268494.6651 | 2629962.591 | 1268497.3631 | 2629967.2389 | 1268496.4304 | 2629972.9812 | 1268498.1394
59 | 2629870.7277 | 1268615.1607 | 2629885.2383 | 1268614.8003
60 | 2629885.2383 | 1268614.8003 | 2629893.6082 | 1268586.7835
61 | 2629870.7277 | 1268615.1607 | 2629867.3874 | 1268606.0373 | 2629863.3174 | 1268602.8367 | 2629851.6007 | 1268599.9387
62 | 2629893.6082 | 1268586.7835 | 2629895.5446 | 1268580.3016
63 | 2629900.7337 | 1268562.9317 | 2629902.4157 | 1268557.3016 | 2629904.8069 | 1268549.6669
64 | 2629905.6501 | 1268546.9745 | 2629904.8069 | 1268549.6669
65 | 2629900.7337 | 1268562.9317 | 2629895.5446 | 1268580.3016
66 | 2629908.6429 | 1268537.4192 | 2629905.6501 | 1268546.9745
67 | 2629912.4434 | 1268525.2849 | 2629912.4434 | 1268525.2849 | 2629908.6429 | 1268537.4192
68 | 2629915.2381 | 1268519.773 | 2629912.4434 | 1268525.2849
69 | 2629915.2381 | 1268519.773 | 2629916.0149 | 1268518.2409
70 | 2629927.0673 | 1268496.4426 | 2629919.5579 | 1268511.2532
71 | 2629916.0149 | 1268518.2409 | 2629919.5579 | 1268511.2532
72 | 2629931.5681 | 1268487.5658 | 2629927.0673 | 1268496.4426
73 | 2629931.5681 | 1268487.5658 | 2629941.1305 | 1268468.734
74 | 2629931.5681 | 1268487.5658 | 2629954.0479 | 1268494.6651
75 | 2629947.5409 | 1268455.6126 | 2629941.1305 | 1268468.734
76 | 2629941.1305 | 1268468.734 | 2629930.1929 | 1268463.1418
77 | 2629947.5409 | 1268455.6126 | 2629952.9073 | 1268446.8736
78 | 2629924.9869 | 1268460.48 | 2629930.1929 | 1268463.1418
79 | 2629952.9073 | 1268446.8736 | 2629964.0472 | 1268428.7326
80 | 2629915.5198 | 1268455.6396 | 2629924.9869 | 1268460.48
81 | 2629851.6007 | 1268599.9387 | 2629838.1691 | 1268596.6165 | 2629825.7148 | 1268592.1394 | 2629822.6009 | 1268590.5524
82 | 2629822.6009 | 1268590.5524 | 2629797.9297 | 1268577.9778
83 | 2629766.083 | 1268560.2075 | 2629750.6891 | 1268551.4327 | 2629736.5462 | 1268542.7613
84 | 2629766.083 | 1268560.2075 | 2629791.5848 | 1268574.744 | 2629793.6127 | 1268575.7776
85 | 2629736.5462 | 1268542.7613 | 2629735.3711 | 1268542.0408
86 | 2629795.5142 | 1268576.7467 | 2629793.6127 | 1268575.7776
87 | 2629697.6632 | 1268518.921 | 2629735.3711 | 1268542.0408
88 | 2629795.5142 | 1268576.7467 | 2629797.9297 | 1268577.9778
89 | 2629697.6632 | 1268518.921 | 2629717.4762 | 1268475.0549
90 | 2629720.1195 | 1268469.2027 | 2629717.4762 | 1268475.0549
91 | 2629720.1195 | 1268469.2027 | 2629729.7547 | 1268447.8705
92 | 2629737.3974 | 1268414.1234 | 2629739.7912 | 1268419.9729 | 2629739.8841 | 1268425.444 | 2629729.7547 | 1268447.8705
93 | 2629918.342 | 1268700.8949 | 2629918.1981 | 1268701.2509 | 2629914.9339 | 1268713.0204
94 | 2629914.9339 | 1268713.0204 | 2629912.8961 | 1268720.368
95 | 2629964.0472 | 1268428.7326 | 2629964.1064 | 1268428.6363

## bus_geodata
| x | y | coords
0 | 2630042.7703 | 1268303.8557
1 | 2630041.2793 | 1268307.4861
2 | 2630055.6264 | 1268272.552
3 | 2630026.4841 | 1268335.4269
4 | 2630049.1862 | 1268266.2815
5 | 2630025.1174 | 1268337.8996
6 | 2630008.0371 | 1268368.8008
7 | 2630003.1888 | 1268377.5721
8 | 2630019.6153 | 1268385.5422
9 | 2629996.5323 | 1268382.7976
10 | 2630046.65 | 1268370.9306
11 | 2629982.2191 | 1268393.0991
12 | 2629978.8736 | 1268368.23
13 | 2629962.5989 | 1268361.4197
14 | 2629957.8533 | 1268359.4338
15 | 2629953.8073 | 1268357.7407
16 | 2629976.4347 | 1268406.1249
17 | 2629964.1116 | 1268428.6277
18 | 2630057.1293 | 1268356.0584
19 | 2629929.106 | 1268688.2735
20 | 2629933.0426 | 1268673.5284
21 | 2629925.2187 | 1268702.8097
22 | 2629926.1615 | 1268681.5549
23 | 2629934.9646 | 1268666.6273
24 | 2629924.0293 | 1268686.8286
25 | 2629937.0972 | 1268658.9704
26 | 2629921.1857 | 1268693.8617
27 | 2629939.2288 | 1268651.3169
28 | 2629967.9414 | 1268630.3618
29 | 2629965.1631 | 1268629.526
30 | 2629985.4761 | 1268635.6362
31 | 2629946.6479 | 1268624.5288
32 | 2629986.0115 | 1268635.7973
33 | 2629924.3021 | 1268619.419
34 | 2629957.8097 | 1268590.4387
35 | 2629941.3615 | 1268643.6597
36 | 2629957.8158 | 1268590.4199
37 | 2629939.7673 | 1268649.3836
38 | 2630059.3193 | 1268352.9504
39 | 2630059.6839 | 1268366.5194
40 | 2630072.7281 | 1268333.0574
41 | 2630092.4887 | 1268412.8062
42 | 2630076.8449 | 1268403.9932
43 | 2630061.552 | 1268388.8099
44 | 2630042.2969 | 1268508.9749
45 | 2630044.999 | 1268539.422
46 | 2629998.9245 | 1268541.7233
47 | 2630004.0679 | 1268557.3383
48 | 2630007.2521 | 1268512.6558
49 | 2629989.4211 | 1268551.1515
50 | 2629988.7518 | 1268502.8328
51 | 2630003.5558 | 1268558.8924
52 | 2630023.0026 | 1268563.2783
53 | 2629965.3238 | 1268569.844
54 | 2629972.9812 | 1268498.1394
55 | 2630076.2672 | 1268327.7007
56 | 2630030.3982 | 1268565.5984
57 | 2629885.2383 | 1268614.8003
58 | 2629870.7277 | 1268615.1607
59 | 2629893.6082 | 1268586.7835
60 | 2629964.2127 | 1268572.1589
61 | 2629904.8069 | 1268549.6669
62 | 2629900.7337 | 1268562.9317
63 | 2629905.6501 | 1268546.9745
64 | 2629895.5446 | 1268580.3016
65 | 2629908.6429 | 1268537.4192
66 | 2629912.4434 | 1268525.2849
67 | 2629915.2381 | 1268519.773
68 | 2629919.5579 | 1268511.2532
69 | 2629927.0673 | 1268496.4426
70 | 2629916.0149 | 1268518.2409
71 | 2629931.5681 | 1268487.5658
72 | 2629941.1305 | 1268468.734
73 | 2629954.0479 | 1268494.6651
74 | 2629947.5409 | 1268455.6126
75 | 2629930.1929 | 1268463.1418
76 | 2629952.9073 | 1268446.8736
77 | 2629924.9869 | 1268460.48
78 | 2629851.6007 | 1268599.9387
79 | 2629822.6009 | 1268590.5524
80 | 2629766.083 | 1268560.2075
81 | 2629736.5462 | 1268542.7613
82 | 2629793.6127 | 1268575.7776
83 | 2629735.3711 | 1268542.0408
84 | 2629795.5142 | 1268576.7467
85 | 2629697.6632 | 1268518.921
86 | 2629797.9297 | 1268577.9778
87 | 2629717.4762 | 1268475.0549
88 | 2629720.1195 | 1268469.2027
89 | 2629729.7547 | 1268447.8705
90 | 2629737.3974 | 1268414.1234
91 | 2629918.342 | 1268700.8949
92 | 2629914.9339 | 1268713.0204
93 | 2629912.8961 | 1268720.368
94 | 2629964.1064 | 1268428.6363
95 | 2629964.0472 | 1268428.7326
96 | 2629915.5198 | 1268455.6396
97 | 2630007.2521 | 1268512.6558

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1