## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4283-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4283-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4283-1_0_5_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_4283-1_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_4283-1_0_5_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_4283-1_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_4283-1_0_5_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_4283-1_0_5_node_88 | 0.4 | n |  | TRUE
8 | bus_LV_4283-1_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4283-1_0_5_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_4283-1_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4283-1_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_4283-1_0_5_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_4283-1_0_5_node_132 | 0.4 | n |  | TRUE
14 | bus_LV_4283-1_0_5_node_142 | 0.4 | n |  | TRUE
15 | bus_LV_4283-1_0_5_node_170 | 0.4 | n |  | TRUE
16 | bus_LV_4283-1_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_4283-1_0_5_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_4283-1_0_5_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_4283-1_0_5_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_4283-1_0_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_4283-1_0_5_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_4283-1_0_5_node_133 | 0.4 | n |  | TRUE
23 | bus_LV_4283-1_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_4283-1_0_5_node_204 | 0.4 | n |  | TRUE
25 | bus_LV_4283-1_0_5_node_131 | 0.4 | n |  | TRUE
26 | bus_LV_4283-1_0_5_node_90 | 0.4 | n |  | TRUE
27 | bus_LV_4283-1_0_5_node_140 | 0.4 | n |  | TRUE
28 | bus_LV_4283-1_0_5_node_141 | 0.4 | n |  | TRUE
29 | bus_LV_4283-1_0_5_node_91 | 0.4 | n |  | TRUE
30 | bus_LV_4283-1_0_5_node_143 | 0.4 | n |  | TRUE
31 | bus_LV_4283-1_0_5_node_126 | 0.4 | n |  | TRUE
32 | bus_LV_4283-1_0_5_node_185 | 0.4 | n |  | TRUE
33 | bus_LV_4283-1_0_5_node_153 | 0.4 | n |  | TRUE
34 | bus_LV_4283-1_0_5_node_154 | 0.4 | n |  | TRUE
35 | bus_LV_4283-1_0_5_node_155 | 0.4 | n |  | TRUE
36 | bus_LV_4283-1_0_5_node_168 | 0.4 | n |  | TRUE
37 | bus_LV_4283-1_0_5_node_169 | 0.4 | n |  | TRUE
38 | bus_LV_4283-1_0_5_node_171 | 0.4 | n |  | TRUE
39 | bus_LV_4283-1_0_5_node_190 | 0.4 | n |  | TRUE
40 | bus_LV_4283-1_0_5_node_191 | 0.4 | n |  | TRUE
41 | bus_LV_4283-1_0_5_node_186 | 0.4 | n |  | TRUE
42 | bus_LV_4283-1_0_5_node_92 | 0.4 | n |  | TRUE
43 | bus_LV_4283-1_0_5_node_214 | 0.4 | n |  | TRUE
44 | bus_LV_4283-1_0_5_node_202 | 0.4 | n |  | TRUE
45 | bus_LV_4283-1_0_5_node_213 | 0.4 | n |  | TRUE
46 | bus_LV_4283-1_0_5_node_195 | 0.4 | n |  | TRUE
47 | bus_LV_4283-1_0_5_node_196 | 0.4 | n |  | TRUE
48 | bus_LV_4283-1_0_5_node_198 | 0.4 | n |  | TRUE
49 | bus_LV_4283-1_0_5_node_203 | 0.4 | n |  | TRUE
50 | bus_LV_4283-1_0_5_node_207 | 0.4 | n |  | TRUE
51 | bus_LV_4283-1_0_5_node_205 | 0.4 | n |  | TRUE
52 | bus_LV_4283-1_0_5_node_209 | 0.4 | n |  | TRUE
53 | bus_LV_4283-1_0_5_node_210 | 0.4 | n |  | TRUE
54 | bus_LV_4283-1_0_5_node_211 | 0.4 | n |  | TRUE
55 | bus_LV_4283-1_0_5_node_212 | 0.4 | n |  | TRUE
56 | bus_LV_4283-1_0_5_node_144 | 0.4 | n |  | TRUE
57 | bus_LV_4283-1_0_5_node_89 | 0.4 | n |  | TRUE
58 | bus_LV_4283-1_0_5_node_86 | 0.4 | n |  | TRUE
59 | bus_LV_4283-1_0_5_node_87 | 0.4 | n |  | TRUE
60 | bus_LV_4283-1_0_5_node_124 | 0.4 | n |  | TRUE
61 | bus_LV_4283-1_0_5_node_125 | 0.4 | n |  | TRUE
62 | bus_LV_4283-1_0_5_node_122 | 0.4 | n |  | TRUE
63 | bus_LV_4283-1_0_5_node_123 | 0.4 | n |  | TRUE
64 | bus_MV_398_0_node_204 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4283-1_0_5_load_0 | 0 | 0.0007665 | 0.0001921 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4283-1_0_5_load_4 | 2 | 0.0028036 | 0.00070266 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4283-1_0_5_load_5 | 3 | 0.0077466 | 0.0019415 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4283-1_0_5_load_2 | 4 | 0.00058161 | 0.00014577 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4283-1_0_5_load_3 | 5 | 0.014579 | 0.0036538 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4283-1_0_5_load_11 | 6 | 0.03062 | 0.0076742 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4283-1_0_5_load_8 | 10 | 0.063772 | 0.015983 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4283-1_0_5_load_12 | 12 | 0.016629 | 0.0041676 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4283-1_0_5_load_132 | 13 | 0.0001243 | 3.1153e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4283-1_0_5_load_13 | 16 | 0.076945 | 0.019284 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4283-1_0_5_load_16 | 19 | 0.0074555 | 0.0018685 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4283-1_0_5_load_18 | 20 | 0.024712 | 0.0061934 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4283-1_0_5_load_19 | 21 | 0.026551 | 0.0066544 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4283-1_0_5_load_133 | 22 | 0.0059335 | 0.0014871 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4283-1_0_5_load_204 | 24 | 0.0060024 | 0.0015044 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4283-1_0_5_load_131 | 25 | 0.0068549 | 0.001718 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4283-1_0_5_load_90 | 26 | 0.00083981 | 0.00021048 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4283-1_0_5_load_140 | 27 | 0.00035955 | 9.0112e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4283-1_0_5_load_141 | 28 | 0.00019727 | 4.9441e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4283-1_0_5_load_126 | 31 | 0.00047542 | 0.00011915 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4283-1_0_5_load_185 | 32 | 0.00094409 | 0.00023661 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4283-1_0_5_load_153 | 33 | 0.00040438 | 0.00010135 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4283-1_0_5_load_154 | 34 | 0.00044952 | 0.00011266 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4283-1_0_5_load_155 | 35 | 5.7408e-05 | 1.4388e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4283-1_0_5_load_168 | 36 | 0.0009298 | 0.00023303 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4283-1_0_5_load_169 | 37 | 0.0011552 | 0.00028951 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4283-1_0_5_load_191 | 40 | 0.0010554 | 0.0002645 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4283-1_0_5_load_186 | 41 | 0.001169 | 0.00029297 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4283-1_0_5_load_214 | 43 | 0.0058645 | 0.0014698 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4283-1_0_5_load_202 | 44 | 0.00020042 | 5.023e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4283-1_0_5_load_213 | 45 | 0.0035039 | 0.00087815 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4283-1_0_5_load_195 | 46 | 0.016511 | 0.0041381 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4283-1_0_5_load_196 | 47 | 0.0014552 | 0.00036472 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4283-1_0_5_load_203 | 49 | 0.00014549 | 3.6463e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4283-1_0_5_load_205 | 51 | 0.011393 | 0.0028555 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4283-1_0_5_load_209 | 52 | 0.0039792 | 0.00099727 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4283-1_0_5_load_210 | 53 | 0.001469 | 0.00036817 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4283-1_0_5_load_211 | 54 | 0.0018795 | 0.00047106 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4283-1_0_5_load_212 | 55 | 0.0014808 | 0.00037112 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4283-1_0_5_load_144 | 56 | 0.00036386 | 9.1191e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4283-1_0_5_load_86 | 58 | 0.0033366 | 0.00083623 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4283-1_0_5_load_87 | 59 | 0.00199 | 0.00049874 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4283-1_0_5_load_125 | 61 | 0.0003249 | 8.1428e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4283-1_0_5_load_122 | 62 | 0.001093 | 0.00027393 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4283-1_0_5_line_0 |  | 0 | 1 | 0.031857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4283-1_0_5_line_1 |  | 1 | 2 | 0.043774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4283-1_0_5_line_2 |  | 1 | 3 | 0.076227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4283-1_0_5_line_3 |  | 3 | 7 | 0.037949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4283-1_0_5_line_4 |  | 4 | 5 | 0.046331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4283-1_0_5_line_5 |  | 5 | 6 | 0.059823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4283-1_0_5_line_6 |  | 6 | 11 | 0.038447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4283-1_0_5_line_7 |  | 7 | 26 | 0.062679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4283-1_0_5_line_8 |  | 7 | 58 | 0.051805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4283-1_0_5_line_9 |  | 8 | 9 | 0.069288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4283-1_0_5_line_10 |  | 8 | 10 | 0.046807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4283-1_0_5_line_11 |  | 9 | 13 | 0.018578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4283-1_0_5_line_12 |  | 9 | 14 | 0.024054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4283-1_0_5_line_13 |  | 10 | 11 | 0.05305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_4283-1_0_5_line_14 |  | 11 | 12 | 0.052365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_4283-1_0_5_line_15 |  | 12 | 15 | 0.041673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_4283-1_0_5_line_16 |  | 13 | 25 | 0.035479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4283-1_0_5_line_17 |  | 14 | 27 | 0.028515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4283-1_0_5_line_18 |  | 15 | 36 | 0.075211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_4283-1_0_5_line_19 |  | 16 | 17 | 0.023184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_4283-1_0_5_line_20 |  | 16 | 18 | 0.023903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_4283-1_0_5_line_21 |  | 17 | 19 | 0.023448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_4283-1_0_5_line_22 |  | 18 | 20 | 0.054273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_4283-1_0_5_line_23 |  | 18 | 21 | 0.020163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4283-1_0_5_line_24 |  | 19 | 22 | 0.014302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_4283-1_0_5_line_25 |  | 20 | 24 | 0.055167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_4283-1_0_5_line_26 |  | 22 | 23 | 0.02901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_4283-1_0_5_line_27 |  | 24 | 48 | 0.050501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_4283-1_0_5_line_28 |  | 25 | 26 | 0.015623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4283-1_0_5_line_29 |  | 27 | 28 | 0.0093572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4283-1_0_5_line_30 |  | 28 | 29 | 0.012062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4283-1_0_5_line_31 |  | 29 | 60 | 0.056521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4283-1_0_5_line_32 |  | 30 | 31 | 0.022933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4283-1_0_5_line_33 |  | 30 | 32 | 0.060482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4283-1_0_5_line_34 |  | 31 | 60 | 0.016522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4283-1_0_5_line_35 |  | 32 | 34 | 0.10718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4283-1_0_5_line_36 |  | 33 | 34 | 0.0036014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4283-1_0_5_line_37 |  | 33 | 35 | 0.011648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4283-1_0_5_line_38 |  | 36 | 37 | 0.011765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_4283-1_0_5_line_39 |  | 37 | 38 | 0.016632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_4283-1_0_5_line_40 |  | 38 | 39 | 0.026403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_4283-1_0_5_line_41 |  | 38 | 40 | 0.014546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4283-1_0_5_line_42 |  | 39 | 43 | 0.041152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4283-1_0_5_line_43 |  | 39 | 44 | 0.028203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_4283-1_0_5_line_44 |  | 40 | 45 | 0.0050533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4283-1_0_5_line_45 |  | 41 | 42 | 0.012441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4283-1_0_5_line_46 |  | 42 | 61 | 0.016778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4283-1_0_5_line_47 |  | 44 | 48 | 0.027379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_4283-1_0_5_line_48 |  | 45 | 55 | 0.011586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4283-1_0_5_line_49 |  | 46 | 47 | 0.032122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4283-1_0_5_line_50 |  | 47 | 48 | 0.022801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4283-1_0_5_line_51 |  | 48 | 49 | 0.02006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4283-1_0_5_line_52 |  | 49 | 50 | 0.028195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4283-1_0_5_line_53 |  | 50 | 51 | 0.0030246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4283-1_0_5_line_54 |  | 52 | 53 | 0.019916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4283-1_0_5_line_55 |  | 52 | 54 | 0.0013112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4283-1_0_5_line_56 |  | 54 | 55 | 0.031749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4283-1_0_5_line_57 |  | 56 | 57 | 0.0022701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4283-1_0_5_line_58 |  | 57 | 59 | 0.010965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4283-1_0_5_line_59 |  | 58 | 59 | 0.022616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4283-1_0_5_line_60 |  | 60 | 62 | 0.0072367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4283-1_0_5_line_61 |  | 61 | 63 | 0.021888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4283-1_0_5_line_62 |  | 62 | 63 | 0.013096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4283-1_0_5_trafo_17 | 0.63 MVA 20/0.4 kV | 64 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2640943.0383 | 1241747.8236 | 2640941.3411 | 1241753.8491 | 2640931.3093 | 1241772.5032 | 2640929.3019 | 1241776.4373
1 | 2640943.0383 | 1241747.8236 | 2640944.7278 | 1241743.9994 | 2640955.9803 | 1241713.8686 | 2640959.0134 | 1241707.0858
2 | 2640943.0383 | 1241747.8236 | 2640903.3149 | 1241732.0398 | 2640873.7207 | 1241716.3785
3 | 2640840.1791 | 1241698.6283 | 2640873.7207 | 1241716.3785
4 | 2641015.2063 | 1241694.583 | 2640993.768 | 1241735.6552
5 | 2641042.8878 | 1241641.5499 | 2641015.2063 | 1241694.583
6 | 2641060.6779 | 1241607.4669 | 2641042.8878 | 1241641.5499
7 | 2640840.1791 | 1241698.6283 | 2640856.5866 | 1241676.2377 | 2640870.2111 | 1241644.0851
8 | 2640840.1791 | 1241698.6283 | 2640807.8269 | 1241739.0888
9 | 2640895.3708 | 1241579.3085 | 2640929.8056 | 1241583.7819 | 2640964.3985 | 1241587.2559
10 | 2640964.3985 | 1241587.2559 | 2640986.6517 | 1241588.8215 | 2641011.0893 | 1241590.5487
11 | 2640895.3708 | 1241579.3085 | 2640894.3255 | 1241586.1836 | 2640890.0411 | 1241596.9892
12 | 2640895.3708 | 1241579.3085 | 2640871.4739 | 1241576.0086
13 | 2641060.6779 | 1241607.4669 | 2641049.2347 | 1241600.55 | 2641039.2928 | 1241596.2675 | 2641027.5072 | 1241592.9506 | 2641015.592 | 1241590.867 | 2641011.0893 | 1241590.5487
14 | 2641060.6779 | 1241607.4669 | 2641072.1779 | 1241614.9179 | 2641079.9723 | 1241619.2635 | 2641089.3179 | 1241623.3974 | 2641099.0327 | 1241626.6223 | 2641108.1579 | 1241628.3291
15 | 2641149.7293 | 1241630.9649 | 2641140.0773 | 1241630.6979 | 2641121.1697 | 1241629.6552 | 2641108.5383 | 1241628.4003 | 2641108.1579 | 1241628.3291
16 | 2640876.3064 | 1241629.7007 | 2640888.2015 | 1241601.6292 | 2640890.0411 | 1241596.9892
17 | 2640871.4739 | 1241576.0086 | 2640861.598 | 1241602.7592
18 | 2641149.7293 | 1241630.9649 | 2641152.2223 | 1241622.4989 | 2641153.1165 | 1241614.5555 | 2641155.4611 | 1241586.0533 | 2641156.7162 | 1241557.6659 | 2641156.793 | 1241556.2892
19 | 2640994.8873 | 1241499.7207 | 2640991.6753 | 1241477.6732 | 2640992.502 | 1241477.3092
20 | 2641014.3791 | 1241467.6789 | 2640992.502 | 1241477.3092
21 | 2640994.8873 | 1241499.7207 | 2640972.0863 | 1241505.1892
22 | 2641014.3791 | 1241467.6789 | 2641023.2634 | 1241463.1262 | 2641045.387 | 1241462.7232 | 2641056.4507 | 1241462.2438 | 2641063.6797 | 1241454.3553 | 2641064.067 | 1241454.3213
23 | 2641015.0035 | 1241487.8296 | 2641014.3791 | 1241467.6789
24 | 2640972.0863 | 1241505.1892 | 2640974.8678 | 1241519.2182
25 | 2641064.067 | 1241454.3213 | 2641119.0224 | 1241449.4909
26 | 2640980.5098 | 1241547.6747 | 2640974.8678 | 1241519.2182
27 | 2641169.4581 | 1241447.0604 | 2641157.4398 | 1241447.8332 | 2641123.1306 | 1241449.1298 | 2641119.0224 | 1241449.4909
28 | 2640876.3064 | 1241629.7007 | 2640870.2111 | 1241644.0851
29 | 2640861.598 | 1241602.7592 | 2640858.3572 | 1241611.5373
30 | 2640854.1795 | 1241622.8533 | 2640858.3572 | 1241611.5373
31 | 2640800.3619 | 1241605.0942 | 2640854.1795 | 1241622.8533
32 | 2640812.3608 | 1241567.5079 | 2640805.3864 | 1241589.3551
33 | 2640812.3608 | 1241567.5079 | 2640752.7741 | 1241557.1399
34 | 2640800.3619 | 1241605.0942 | 2640805.3864 | 1241589.3551
35 | 2640752.7741 | 1241557.1399 | 2640669.6216 | 1241624.7711
36 | 2640670.8251 | 1241628.1654 | 2640669.6216 | 1241624.7711
37 | 2640674.7177 | 1241639.1436 | 2640670.8251 | 1241628.1654
38 | 2641157.448 | 1241544.542 | 2641156.793 | 1241556.2892
39 | 2641158.3738 | 1241527.9359 | 2641157.448 | 1241544.542
40 | 2641159.0935 | 1241501.546 | 2641158.3738 | 1241527.9359
41 | 2641158.3738 | 1241527.9359 | 2641172.9037 | 1241527.2498
42 | 2641159.0935 | 1241501.546 | 2641200.2339 | 1241500.5615
43 | 2641159.0935 | 1241501.546 | 2641160.305 | 1241487.1006 | 2641162.6899 | 1241474.6091 | 2641162.9153 | 1241473.6449
44 | 2641172.9037 | 1241527.2498 | 2641177.9514 | 1241527.0114
45 | 2640800.7201 | 1241651.9825 | 2640796.8136 | 1241663.7967
46 | 2640800.7201 | 1241651.9825 | 2640786.7896 | 1241647.2505 | 2640787.4238 | 1241645.2844
47 | 2641169.4581 | 1241447.0604 | 2641165.7596 | 1241461.4774 | 2641162.9153 | 1241473.6449
48 | 2641177.9514 | 1241527.0114 | 2641189.5243 | 1241526.4649
49 | 2641176.8627 | 1241392.6411 | 2641176.5812 | 1241395.6098 | 2641172.669 | 1241424.4865
50 | 2641169.4581 | 1241447.0604 | 2641171.904 | 1241430.1331 | 2641172.669 | 1241424.4865
51 | 2641169.4581 | 1241447.0604 | 2641189.4688 | 1241445.6509
52 | 2641217.5941 | 1241443.6697 | 2641189.4688 | 1241445.6509
53 | 2641217.5941 | 1241443.6697 | 2641220.6158 | 1241443.5377
54 | 2641222.5479 | 1241524.9054 | 2641240.8956 | 1241524.039 | 2641242.4283 | 1241523.8228
55 | 2641222.5479 | 1241524.9054 | 2641221.2381 | 1241524.9673
56 | 2641221.2381 | 1241524.9673 | 2641189.5243 | 1241526.4649
57 | 2640786.8555 | 1241765.3162 | 2640785.4381 | 1241767.0895
58 | 2640786.8555 | 1241765.3162 | 2640793.7033 | 1241756.7521
59 | 2640807.8269 | 1241739.0888 | 2640793.7033 | 1241756.7521
60 | 2640800.3619 | 1241605.0942 | 2640798.1486 | 1241611.9841
61 | 2640794.1432 | 1241624.4529 | 2640787.4238 | 1241645.2844
62 | 2640794.1432 | 1241624.4529 | 2640798.1486 | 1241611.9841

## bus_geodata
| x | y | coords
0 | 2640929.3019 | 1241776.4373
1 | 2640943.0383 | 1241747.8236
2 | 2640959.0134 | 1241707.0858
3 | 2640873.7207 | 1241716.3785
4 | 2640993.768 | 1241735.6552
5 | 2641015.2063 | 1241694.583
6 | 2641042.8878 | 1241641.5499
7 | 2640840.1791 | 1241698.6283
8 | 2640964.3985 | 1241587.2559
9 | 2640895.3708 | 1241579.3085
10 | 2641011.0893 | 1241590.5487
11 | 2641060.6779 | 1241607.4669
12 | 2641108.1579 | 1241628.3291
13 | 2640890.0411 | 1241596.9892
14 | 2640871.4739 | 1241576.0086
15 | 2641149.7293 | 1241630.9649
16 | 2640992.502 | 1241477.3092
17 | 2640994.8873 | 1241499.7207
18 | 2641014.3791 | 1241467.6789
19 | 2640972.0863 | 1241505.1892
20 | 2641064.067 | 1241454.3213
21 | 2641015.0035 | 1241487.8296
22 | 2640974.8678 | 1241519.2182
23 | 2640980.5097 | 1241547.6747
24 | 2641119.0224 | 1241449.4909
25 | 2640876.3064 | 1241629.7007
26 | 2640870.2111 | 1241644.0851
27 | 2640861.598 | 1241602.7592
28 | 2640858.3572 | 1241611.5373
29 | 2640854.1795 | 1241622.8533
30 | 2640812.3608 | 1241567.5079
31 | 2640805.3864 | 1241589.3551
32 | 2640752.7741 | 1241557.1399
33 | 2640670.8251 | 1241628.1654
34 | 2640669.6216 | 1241624.7711
35 | 2640674.7177 | 1241639.1436
36 | 2641156.793 | 1241556.2892
37 | 2641157.448 | 1241544.542
38 | 2641158.3738 | 1241527.9359
39 | 2641159.0935 | 1241501.546
40 | 2641172.9037 | 1241527.2498
41 | 2640796.8136 | 1241663.7967
42 | 2640800.7201 | 1241651.9825
43 | 2641200.2339 | 1241500.5615
44 | 2641162.9152 | 1241473.6449
45 | 2641177.9514 | 1241527.0114
46 | 2641176.8627 | 1241392.6411
47 | 2641172.669 | 1241424.4865
48 | 2641169.4581 | 1241447.0604
49 | 2641189.4688 | 1241445.6509
50 | 2641217.5941 | 1241443.6697
51 | 2641220.6158 | 1241443.5377
52 | 2641222.5479 | 1241524.9054
53 | 2641242.4283 | 1241523.8228
54 | 2641221.2381 | 1241524.9673
55 | 2641189.5243 | 1241526.4649
56 | 2640785.4381 | 1241767.0895
57 | 2640786.8555 | 1241765.3162
58 | 2640807.8269 | 1241739.0888
59 | 2640793.7033 | 1241756.7521
60 | 2640800.3619 | 1241605.0942
61 | 2640787.4238 | 1241645.2844
62 | 2640798.1486 | 1241611.9841
63 | 2640794.1432 | 1241624.4529
64 | 2640995.9172 | 1241542.1663

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1