## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4411-3_1_1_node_106 | 0.4 | n |  | TRUE
1 | bus_LV_4411-3_1_1_node_107 | 0.4 | n |  | TRUE
2 | bus_LV_4411-3_1_1_node_108 | 0.4 | n |  | TRUE
3 | bus_LV_4411-3_1_1_node_110 | 0.4 | n |  | TRUE
4 | bus_LV_4411-3_1_1_node_111 | 0.4 | n |  | TRUE
5 | bus_LV_4411-3_1_1_node_120 | 0.4 | n |  | TRUE
6 | bus_LV_4411-3_1_1_node_121 | 0.4 | n |  | TRUE
7 | bus_LV_4411-3_1_1_node_119 | 0.4 | n |  | TRUE
8 | bus_LV_4411-3_1_1_node_122 | 0.4 | n |  | TRUE
9 | bus_LV_4411-3_1_1_node_123 | 0.4 | n |  | TRUE
10 | bus_LV_4411-3_1_1_node_124 | 0.4 | n |  | TRUE
11 | bus_LV_4411-3_1_1_node_125 | 0.4 | n |  | TRUE
12 | bus_LV_4411-3_1_1_node_132 | 0.4 | n |  | TRUE
13 | bus_LV_4411-3_1_1_node_126 | 0.4 | n |  | TRUE
14 | bus_LV_4411-3_1_1_node_127 | 0.4 | n |  | TRUE
15 | bus_LV_4411-3_1_1_node_128 | 0.4 | n |  | TRUE
16 | bus_LV_4411-3_1_1_node_135 | 0.4 | n |  | TRUE
17 | bus_LV_4411-3_1_1_node_136 | 0.4 | n |  | TRUE
18 | bus_LV_4411-3_1_1_node_134 | 0.4 | n |  | TRUE
19 | bus_LV_4411-3_1_1_node_133 | 0.4 | n |  | TRUE
20 | bus_LV_4411-3_1_1_node_139 | 0.4 | n |  | TRUE
21 | bus_LV_4411-3_1_1_node_137 | 0.4 | n |  | TRUE
22 | bus_LV_4411-3_1_1_node_138 | 0.4 | n |  | TRUE
23 | bus_LV_4411-3_1_1_node_140 | 0.4 | n |  | TRUE
24 | bus_LV_4411-3_1_1_node_141 | 0.4 | n |  | TRUE
25 | bus_LV_4411-3_1_1_node_142 | 0.4 | n |  | TRUE
26 | bus_LV_4411-3_1_1_node_143 | 0.4 | n |  | TRUE
27 | bus_LV_4411-3_1_1_node_144 | 0.4 | n |  | TRUE
28 | bus_LV_4411-3_1_1_node_187 | 0.4 | n |  | TRUE
29 | bus_LV_4411-3_1_1_node_145 | 0.4 | n |  | TRUE
30 | bus_LV_4411-3_1_1_node_146 | 0.4 | n |  | TRUE
31 | bus_LV_4411-3_1_1_node_181 | 0.4 | n |  | TRUE
32 | bus_LV_4411-3_1_1_node_176 | 0.4 | n |  | TRUE
33 | bus_LV_4411-3_1_1_node_147 | 0.4 | n |  | TRUE
34 | bus_LV_4411-3_1_1_node_149 | 0.4 | n |  | TRUE
35 | bus_LV_4411-3_1_1_node_151 | 0.4 | n |  | TRUE
36 | bus_LV_4411-3_1_1_node_152 | 0.4 | n |  | TRUE
37 | bus_LV_4411-3_1_1_node_154 | 0.4 | n |  | TRUE
38 | bus_LV_4411-3_1_1_node_155 | 0.4 | n |  | TRUE
39 | bus_LV_4411-3_1_1_node_153 | 0.4 | n |  | TRUE
40 | bus_LV_4411-3_1_1_node_156 | 0.4 | n |  | TRUE
41 | bus_LV_4411-3_1_1_node_157 | 0.4 | n |  | TRUE
42 | bus_LV_4411-3_1_1_node_186 | 0.4 | n |  | TRUE
43 | bus_LV_4411-3_1_1_node_167 | 0.4 | n |  | TRUE
44 | bus_LV_4411-3_1_1_node_158 | 0.4 | n |  | TRUE
45 | bus_LV_4411-3_1_1_node_159 | 0.4 | n |  | TRUE
46 | bus_LV_4411-3_1_1_node_161 | 0.4 | n |  | TRUE
47 | bus_LV_4411-3_1_1_node_164 | 0.4 | n |  | TRUE
48 | bus_LV_4411-3_1_1_node_162 | 0.4 | n |  | TRUE
49 | bus_LV_4411-3_1_1_node_165 | 0.4 | n |  | TRUE
50 | bus_LV_4411-3_1_1_node_166 | 0.4 | n |  | TRUE
51 | bus_LV_4411-3_1_1_node_182 | 0.4 | n |  | TRUE
52 | bus_LV_4411-3_1_1_node_230 | 0.4 | n |  | TRUE
53 | bus_LV_4411-3_1_1_node_171 | 0.4 | n |  | TRUE
54 | bus_LV_4411-3_1_1_node_168 | 0.4 | n |  | TRUE
55 | bus_LV_4411-3_1_1_node_169 | 0.4 | n |  | TRUE
56 | bus_LV_4411-3_1_1_node_170 | 0.4 | n |  | TRUE
57 | bus_LV_4411-3_1_1_node_172 | 0.4 | n |  | TRUE
58 | bus_LV_4411-3_1_1_node_173 | 0.4 | n |  | TRUE
59 | bus_LV_4411-3_1_1_node_184 | 0.4 | n |  | TRUE
60 | bus_LV_4411-3_1_1_node_174 | 0.4 | n |  | TRUE
61 | bus_LV_4411-3_1_1_node_175 | 0.4 | n |  | TRUE
62 | bus_LV_4411-3_1_1_node_177 | 0.4 | n |  | TRUE
63 | bus_LV_4411-3_1_1_node_178 | 0.4 | n |  | TRUE
64 | bus_LV_4411-3_1_1_node_179 | 0.4 | n |  | TRUE
65 | bus_LV_4411-3_1_1_node_180 | 0.4 | n |  | TRUE
66 | bus_LV_4411-3_1_1_node_185 | 0.4 | n |  | TRUE
67 | bus_LV_4411-3_1_1_node_189 | 0.4 | n |  | TRUE
68 | bus_LV_4411-3_1_1_node_183 | 0.4 | n |  | TRUE
69 | bus_LV_4411-3_1_1_node_190 | 0.4 | n |  | TRUE
70 | bus_LV_4411-3_1_1_node_191 | 0.4 | n |  | TRUE
71 | bus_LV_4411-3_1_1_node_188 | 0.4 | n |  | TRUE
72 | bus_LV_4411-3_1_1_node_229 | 0.4 | n |  | TRUE
73 | bus_LV_4411-3_1_1_node_226 | 0.4 | n |  | TRUE
74 | bus_LV_4411-3_1_1_node_224 | 0.4 | n |  | TRUE
75 | bus_LV_4411-3_1_1_node_216 | 0.4 | n |  | TRUE
76 | bus_LV_4411-3_1_1_node_217 | 0.4 | n |  | TRUE
77 | bus_LV_4411-3_1_1_node_218 | 0.4 | n |  | TRUE
78 | bus_LV_4411-3_1_1_node_219 | 0.4 | n |  | TRUE
79 | bus_LV_4411-3_1_1_node_220 | 0.4 | n |  | TRUE
80 | bus_LV_4411-3_1_1_node_221 | 0.4 | n |  | TRUE
81 | bus_LV_4411-3_1_1_node_222 | 0.4 | n |  | TRUE
82 | bus_LV_4411-3_1_1_node_223 | 0.4 | n |  | TRUE
83 | bus_LV_4411-3_1_1_node_225 | 0.4 | n |  | TRUE
84 | bus_LV_4411-3_1_1_node_227 | 0.4 | n |  | TRUE
85 | bus_LV_4411-3_1_1_node_228 | 0.4 | n |  | TRUE
86 | bus_MV_0_node_145 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4411-3_1_1_load_106 | 0 | 0.00039854 | 9.9883e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4411-3_1_1_load_107 | 1 | 0.00061978 | 0.00015533 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4411-3_1_1_load_110 | 3 | 0.00076805 | 0.00019249 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4411-3_1_1_load_120 | 5 | 0.0035063 | 0.00087875 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4411-3_1_1_load_121 | 6 | 0.00040328 | 0.00010107 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4411-3_1_1_load_119 | 7 | 0.00017023 | 4.2663e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4411-3_1_1_load_122 | 8 | 0.00017297 | 4.3351e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4411-3_1_1_load_123 | 9 | 0.00033872 | 8.4891e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4411-3_1_1_load_124 | 10 | 0.00050621 | 0.00012687 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4411-3_1_1_load_125 | 11 | 0.0013217 | 0.00033124 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4411-3_1_1_load_132 | 12 | 0.00040936 | 0.0001026 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4411-3_1_1_load_128 | 15 | 0.00024557 | 6.1545e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4411-3_1_1_load_135 | 16 | 0.00022141 | 5.549e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4411-3_1_1_load_136 | 17 | 0.00023318 | 5.8441e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4411-3_1_1_load_134 | 18 | 0.00022578 | 5.6586e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4411-3_1_1_load_133 | 19 | 0.0001597 | 4.0024e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4411-3_1_1_load_139 | 20 | 0.00023153 | 5.8027e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4411-3_1_1_load_137 | 21 | 0.00039938 | 0.00010009 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4411-3_1_1_load_138 | 22 | 0.00019477 | 4.8814e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4411-3_1_1_load_140 | 23 | 0.00031393 | 7.8678e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4411-3_1_1_load_141 | 24 | 0.00018835 | 4.7204e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4411-3_1_1_load_143 | 26 | 0.0014982 | 0.00037549 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4411-3_1_1_load_144 | 27 | 0.00028627 | 7.1745e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4411-3_1_1_load_187 | 28 | 0.00015099 | 3.7841e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4411-3_1_1_load_145 | 29 | 0.00080397 | 0.00020149 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4411-3_1_1_load_181 | 31 | 0.0030098 | 0.00075433 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4411-3_1_1_load_176 | 32 | 0.00044293 | 0.00011101 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4411-3_1_1_load_147 | 33 | 0.001144 | 0.00028671 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4411-3_1_1_load_151 | 35 | 0.00028985 | 7.2644e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4411-3_1_1_load_152 | 36 | 0.00036514 | 9.1514e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4411-3_1_1_load_155 | 38 | 0.00038172 | 9.5667e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4411-3_1_1_load_153 | 39 | 0.001737 | 0.00043534 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4411-3_1_1_load_156 | 40 | 0.00045567 | 0.0001142 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4411-3_1_1_load_157 | 41 | 0.00090488 | 0.00022678 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4411-3_1_1_load_186 | 42 | 0.0020685 | 0.00051841 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4411-3_1_1_load_167 | 43 | 0.00055312 | 0.00013863 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4411-3_1_1_load_158 | 44 | 0.0022584 | 0.000566 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4411-3_1_1_load_161 | 46 | 0.00092354 | 0.00023146 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4411-3_1_1_load_164 | 47 | 0.0012566 | 0.00031492 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4411-3_1_1_load_165 | 49 | 0.00058963 | 0.00014778 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4411-3_1_1_load_166 | 50 | 0.0004152 | 0.00010406 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4411-3_1_1_load_182 | 51 | 0.00090181 | 0.00022601 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4411-3_1_1_load_230 | 52 | 0.0021678 | 0.0005433 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4411-3_1_1_load_171 | 53 | 0.00028045 | 7.0287e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4411-3_1_1_load_168 | 54 | 0.0004681 | 0.00011732 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4411-3_1_1_load_169 | 55 | 0.00023114 | 5.793e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4411-3_1_1_load_170 | 56 | 0.00028797 | 7.2171e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4411-3_1_1_load_173 | 58 | 0.00071696 | 0.00017969 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4411-3_1_1_load_184 | 59 | 0.00030685 | 7.6905e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4411-3_1_1_load_174 | 60 | 0.00075555 | 0.00018936 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4411-3_1_1_load_175 | 61 | 0.0010213 | 0.00025597 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4411-3_1_1_load_178 | 63 | 0.00028642 | 7.1782e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4411-3_1_1_load_179 | 64 | 0.00022355 | 5.6027e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4411-3_1_1_load_180 | 65 | 0.00019471 | 4.8799e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4411-3_1_1_load_185 | 66 | 0.00065727 | 0.00016473 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4411-3_1_1_load_189 | 67 | 0.00056192 | 0.00014083 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4411-3_1_1_load_191 | 70 | 0.00068563 | 0.00017184 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4411-3_1_1_load_188 | 71 | 0.00047943 | 0.00012016 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4411-3_1_1_load_229 | 72 | 0.0011281 | 0.00028273 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4411-3_1_1_load_226 | 73 | 0.00042583 | 0.00010672 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4411-3_1_1_load_216 | 75 | 0.0048461 | 0.0012146 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4411-3_1_1_load_218 | 77 | 0.0011841 | 0.00029676 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4411-3_1_1_load_219 | 78 | 0.0022233 | 0.0005572 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4411-3_1_1_load_220 | 79 | 0.00046806 | 0.00011731 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4411-3_1_1_load_221 | 80 | 0.0010986 | 0.00027535 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4411-3_1_1_load_222 | 81 | 0.00066357 | 0.00016631 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4411-3_1_1_load_223 | 82 | 0.00081024 | 0.00020307 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4411-3_1_1_load_225 | 83 | 0.0010504 | 0.00026325 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4411-3_1_1_load_227 | 84 | 0.0013641 | 0.00034188 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4411-3_1_1_load_228 | 85 | 0.00071622 | 0.0001795 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4411-3_1_1_line_0 |  | 0 | 1 | 0.025524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4411-3_1_1_line_1 |  | 0 | 2 | 0.030456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4411-3_1_1_line_2 |  | 2 | 3 | 0.025211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4411-3_1_1_line_3 |  | 2 | 4 | 0.0077789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4411-3_1_1_line_4 |  | 4 | 5 | 0.032635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4411-3_1_1_line_5 |  | 4 | 6 | 0.019289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4411-3_1_1_line_6 |  | 4 | 7 | 0.059278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4411-3_1_1_line_7 |  | 5 | 8 | 0.00085934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4411-3_1_1_line_8 |  | 6 | 9 | 0.018054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4411-3_1_1_line_9 |  | 8 | 10 | 0.019048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4411-3_1_1_line_10 |  | 10 | 11 | 0.020855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4411-3_1_1_line_11 |  | 11 | 12 | 0.0051723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4411-3_1_1_line_12 |  | 12 | 19 | 0.01154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4411-3_1_1_line_13 |  | 13 | 14 | 0.019689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4411-3_1_1_line_14 |  | 13 | 15 | 0.012589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4411-3_1_1_line_15 |  | 14 | 16 | 0.03569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4411-3_1_1_line_16 |  | 14 | 17 | 0.020432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4411-3_1_1_line_17 |  | 15 | 18 | 0.014162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4411-3_1_1_line_18 |  | 16 | 20 | 0.017904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4411-3_1_1_line_19 |  | 17 | 21 | 0.0051357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4411-3_1_1_line_20 |  | 18 | 19 | 0.016883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4411-3_1_1_line_21 |  | 20 | 23 | 0.01983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4411-3_1_1_line_22 |  | 21 | 22 | 0.0092025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4411-3_1_1_line_23 |  | 23 | 24 | 0.0047015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4411-3_1_1_line_24 |  | 24 | 25 | 0.019937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4411-3_1_1_line_25 |  | 25 | 26 | 0.17311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4411-3_1_1_line_26 |  | 26 | 27 | 0.030962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4411-3_1_1_line_27 |  | 27 | 28 | 0.042113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4411-3_1_1_line_28 |  | 28 | 42 | 0.0038365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4411-3_1_1_line_29 |  | 29 | 30 | 0.028571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4411-3_1_1_line_30 |  | 30 | 31 | 0.036482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4411-3_1_1_line_31 |  | 30 | 32 | 0.15079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4411-3_1_1_line_32 |  | 31 | 67 | 0.033902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4411-3_1_1_line_33 |  | 32 | 60 | 0.018933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4411-3_1_1_line_34 |  | 33 | 34 | 0.031556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4411-3_1_1_line_35 |  | 34 | 35 | 0.032425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4411-3_1_1_line_36 |  | 34 | 36 | 0.043366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4411-3_1_1_line_37 |  | 35 | 37 | 0.0080942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4411-3_1_1_line_38 |  | 36 | 38 | 0.011459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4411-3_1_1_line_39 |  | 37 | 41 | 0.020879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4411-3_1_1_line_40 |  | 37 | 40 | 0.013141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4411-3_1_1_line_41 |  | 38 | 42 | 0.017112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4411-3_1_1_line_42 |  | 39 | 40 | 0.029225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4411-3_1_1_line_43 |  | 41 | 43 | 0.0063415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4411-3_1_1_line_44 |  | 43 | 53 | 0.036632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4411-3_1_1_line_45 |  | 44 | 45 | 0.010391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4411-3_1_1_line_46 |  | 45 | 46 | 0.024008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4411-3_1_1_line_47 |  | 46 | 47 | 0.008941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4411-3_1_1_line_48 |  | 47 | 51 | 0.044621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4411-3_1_1_line_49 |  | 48 | 49 | 0.015926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4411-3_1_1_line_50 |  | 48 | 50 | 0.03419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4411-3_1_1_line_51 |  | 50 | 52 | 0.0029026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4411-3_1_1_line_52 |  | 51 | 68 | 0.043577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4411-3_1_1_line_53 |  | 52 | 70 | 0.039986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4411-3_1_1_line_54 |  | 53 | 55 | 0.04615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4411-3_1_1_line_55 |  | 54 | 55 | 0.0093197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4411-3_1_1_line_56 |  | 54 | 56 | 0.052399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4411-3_1_1_line_57 |  | 56 | 57 | 0.011815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4411-3_1_1_line_58 |  | 57 | 58 | 0.066257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4411-3_1_1_line_59 |  | 58 | 59 | 0.022993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4411-3_1_1_line_60 |  | 59 | 65 | 0.034435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4411-3_1_1_line_61 |  | 60 | 61 | 0.0028831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4411-3_1_1_line_62 |  | 61 | 62 | 0.092735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4411-3_1_1_line_63 |  | 62 | 63 | 0.01291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4411-3_1_1_line_64 |  | 62 | 64 | 0.015032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4411-3_1_1_line_65 |  | 62 | 65 | 0.028381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4411-3_1_1_line_66 |  | 64 | 66 | 0.0076416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4411-3_1_1_line_67 |  | 66 | 71 | 0.02987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4411-3_1_1_line_68 |  | 67 | 72 | 0.012414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4411-3_1_1_line_69 |  | 68 | 69 | 0.012386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4411-3_1_1_line_70 |  | 68 | 70 | 0.02019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4411-3_1_1_line_71 |  | 69 | 73 | 0.0078937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4411-3_1_1_line_72 |  | 69 | 74 | 0.012673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4411-3_1_1_line_73 |  | 72 | 85 | 0.021956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4411-3_1_1_line_74 |  | 73 | 84 | 0.0053106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4411-3_1_1_line_75 |  | 74 | 83 | 0.033242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4411-3_1_1_line_76 |  | 74 | 82 | 0.025417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4411-3_1_1_line_77 |  | 75 | 76 | 0.029865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4411-3_1_1_line_78 |  | 76 | 77 | 0.01111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4411-3_1_1_line_79 |  | 76 | 78 | 0.01727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4411-3_1_1_line_80 |  | 77 | 79 | 0.014647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4411-3_1_1_line_81 |  | 78 | 80 | 0.025831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4411-3_1_1_line_82 |  | 80 | 81 | 0.0028126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4411-3_1_1_line_83 |  | 81 | 82 | 0.0056173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4411-3_1_1_line_84 |  | 84 | 85 | 0.0076762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4411-3_1_1_trafo_145 | 0.63 MVA 20/0.4 kV | 86 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2745735.7005 | 1266657.388 | 2745743.3203 | 1266681.7484
1 | 2745726.6085 | 1266628.3211 | 2745735.7005 | 1266657.388
2 | 2745726.6085 | 1266628.3211 | 2745750.4324 | 1266620.0746
3 | 2745719.1161 | 1266630.3718 | 2745723.7292 | 1266629.3178 | 2745726.6085 | 1266628.3211
4 | 2745719.1161 | 1266630.3718 | 2745715.2453 | 1266631.255 | 2745704.1824 | 1266634.2297 | 2745697.2583 | 1266635.2267 | 2745692.1106 | 1266635.9672 | 2745687.1618 | 1266636.7628
5 | 2745719.1161 | 1266630.3718 | 2745724.8072 | 1266648.8016
6 | 2745719.1161 | 1266630.3718 | 2745715.6301 | 1266619.6307 | 2745699.7376 | 1266574.3533
7 | 2745686.3134 | 1266636.8993 | 2745687.1618 | 1266636.7628
8 | 2745724.8072 | 1266648.8016 | 2745727.7718 | 1266658.402 | 2745730.15 | 1266666.0469
9 | 2745686.3134 | 1266636.8993 | 2745679.096 | 1266638.0596 | 2745676.4954 | 1266638.1401 | 2745667.3635 | 1266638.4015
10 | 2745667.3635 | 1266638.4015 | 2745662.5133 | 1266638.5403 | 2745657.5124 | 1266638.2168 | 2745649.1195 | 1266637.6872 | 2745646.5725 | 1266637.2623
11 | 2745646.5725 | 1266637.2623 | 2745641.4707 | 1266636.4111
12 | 2745641.4707 | 1266636.4111 | 2745631.0488 | 1266634.6723 | 2745630.0964 | 1266634.4695
13 | 2745567.8313 | 1266630.0772 | 2745573.8655 | 1266628.5131 | 2745582.1319 | 1266627.7604 | 2745587.2812 | 1266626.9531
14 | 2745587.2812 | 1266626.9531 | 2745599.8476 | 1266627.7149
15 | 2745567.8313 | 1266630.0772 | 2745566.4746 | 1266630.4219 | 2745555.298 | 1266634.0392 | 2745543.4658 | 1266641.6443 | 2745537.4152 | 1266646.6225 | 2745536.9422 | 1266647.0564
16 | 2745567.8313 | 1266630.0772 | 2745570.0701 | 1266638.563 | 2745573.433 | 1266649.7236 | 2745573.433 | 1266649.7236
17 | 2745613.6146 | 1266630.8271 | 2745606.0515 | 1266628.7839 | 2745602.7443 | 1266627.8905 | 2745599.8476 | 1266627.7149
18 | 2745536.9422 | 1266647.0564 | 2745533.0457 | 1266650.63 | 2745524.5133 | 1266659.9247
19 | 2745575.4152 | 1266654.4614 | 2745573.433 | 1266649.7236
20 | 2745613.6146 | 1266630.8271 | 2745615.9282 | 1266631.4521 | 2745630.0964 | 1266634.4695
21 | 2745524.5133 | 1266659.9247 | 2745522.9219 | 1266661.6584 | 2745512.3334 | 1266675.5622
22 | 2745578.967 | 1266662.9509 | 2745575.4152 | 1266654.4614
23 | 2745512.3334 | 1266675.5622 | 2745509.4849 | 1266679.3026
24 | 2745497.4059 | 1266695.1636 | 2745509.4849 | 1266679.3026
25 | 2745497.4059 | 1266695.1636 | 2745496.6638 | 1266702.3525 | 2745497.845 | 1266710.968 | 2745501.1961 | 1266723.5296 | 2745509.945 | 1266764.9307 | 2745510.8913 | 1266776.0428 | 2745509.3063 | 1266784.7347 | 2745507.0898 | 1266796.4362 | 2745504.5647 | 1266803.2364 | 2745496.17 | 1266827.8543 | 2745480.5414 | 1266861.0715
26 | 2745480.5414 | 1266861.0715 | 2745467.3598 | 1266889.0879
27 | 2745449.4309 | 1266927.1939 | 2745467.3598 | 1266889.0879
28 | 2745449.4309 | 1266927.1939 | 2745447.7976 | 1266930.6654
29 | 2744948.8309 | 1266718.6647 | 2744958.0251 | 1266714.1635 | 2744967.399 | 1266710.6232 | 2744974.5907 | 1266706.4527
30 | 2744948.8309 | 1266718.6647 | 2744942.6183 | 1266717.0774 | 2744921.137 | 1266710.3218 | 2744914.9637 | 1266705.9732
31 | 2744948.8309 | 1266718.6647 | 2744957.2166 | 1266724.0868 | 2744971.3563 | 1266736.5794 | 2744987.6719 | 1266752.4843 | 2744994.1661 | 1266767.4473 | 2744999.0029 | 1266785.495 | 2744998.5247 | 1266804.9693 | 2744992.6845 | 1266849.259
32 | 2744890.217 | 1266683.3251 | 2744899.3467 | 1266694.9723 | 2744914.9637 | 1266705.9732
33 | 2744992.6845 | 1266849.259 | 2744992.6845 | 1266849.259 | 2744996.4673 | 1266867.2808 | 2744996.637 | 1266867.7706
34 | 2745399.6455 | 1266980.8982 | 2745415.1505 | 1267004.8702 | 2745416.6005 | 1267007.5047
35 | 2745399.6455 | 1266980.8982 | 2745396.7385 | 1266978.7468 | 2745389.57 | 1266976.5349 | 2745376.1554 | 1266975.6374 | 2745368.312 | 1266976.1732
36 | 2745399.6455 | 1266980.8982 | 2745405.8164 | 1266977.4355 | 2745412.2951 | 1266974.0137 | 2745417.477 | 1266971.2607 | 2745427.6018 | 1266963.8357 | 2745432.3972 | 1266958.4261 | 2745434.3551 | 1266955.757
37 | 2745360.2367 | 1266976.7248 | 2745368.312 | 1266976.1732
38 | 2745434.3551 | 1266955.757 | 2745438.9203 | 1266949.5333 | 2745440.5127 | 1266946.1488
39 | 2745360.2367 | 1266976.7248 | 2745339.4282 | 1266978.4445
40 | 2745360.2367 | 1266976.7248 | 2745359.6736 | 1266989.8532
41 | 2745447.7976 | 1266930.6654 | 2745440.5127 | 1266946.1488
42 | 2745358.4211 | 1267019.0517 | 2745359.6736 | 1266989.8532
43 | 2745333.1083 | 1266978.9668 | 2745339.4282 | 1266978.4445
44 | 2745333.1083 | 1266978.9668 | 2745315.6484 | 1266980.4098 | 2745296.6387 | 1266982.3877
45 | 2744781.4819 | 1266742.3979 | 2744781.3621 | 1266752.7884
46 | 2744781.4819 | 1266742.3979 | 2744787.4978 | 1266736.6507 | 2744794.8684 | 1266729.4129 | 2744798.5989 | 1266725.5673
47 | 2744804.8244 | 1266719.1498 | 2744798.5989 | 1266725.5673
48 | 2744804.8244 | 1266719.1498 | 2744811.5827 | 1266712.1831 | 2744822.6686 | 1266698.1074 | 2744832.4365 | 1266684.1961
49 | 2744774.4276 | 1266694.3441 | 2744772.6528 | 1266678.5176
50 | 2744774.4276 | 1266694.3441 | 2744780.4343 | 1266691.1213 | 2744784.6958 | 1266682.8953 | 2744790.7597 | 1266674.58 | 2744795.711 | 1266670.475 | 2744796.8733 | 1266669.7204
51 | 2744796.8733 | 1266669.7204 | 2744799.3079 | 1266668.1398
52 | 2744851.9977 | 1266645.3291 | 2744844.9957 | 1266661.4847 | 2744833.9542 | 1266682.0346 | 2744832.4365 | 1266684.1961
53 | 2744832.1558 | 1266646.8901 | 2744826.9108 | 1266648.5954 | 2744820.7709 | 1266653.5611 | 2744813.7035 | 1266660.7172 | 2744808.1594 | 1266665.3416 | 2744799.6069 | 1266667.9457 | 2744799.3079 | 1266668.1398
54 | 2745296.6387 | 1266982.3877 | 2745293.6899 | 1266982.6945 | 2745275.0301 | 1266980.7005 | 2745251.3041 | 1266974.9227 | 2745251.3041 | 1266974.9227
55 | 2745242.5542 | 1266971.7143 | 2745251.3041 | 1266974.9227
56 | 2745193.0517 | 1266954.5695 | 2745214.1089 | 1266961.2841 | 2745242.5542 | 1266971.7143
57 | 2745181.7949 | 1266950.98 | 2745193.0517 | 1266954.5695
58 | 2745181.7949 | 1266950.98 | 2745148.1613 | 1266945.6376 | 2745116.3565 | 1266940.5951
59 | 2745116.3565 | 1266940.5951 | 2745095.1108 | 1266937.2267 | 2745093.6297 | 1266937.2815
60 | 2745060.0864 | 1266942.9342 | 2745069.7719 | 1266938.8396 | 2745076.2521 | 1266938.1091 | 2745085.0014 | 1266937.6011 | 2745093.6297 | 1266937.2815
61 | 2744996.637 | 1266867.7706 | 2744997.5805 | 1266870.495
62 | 2745034.6069 | 1266955.3597 | 2745022.4238 | 1266927.9335 | 2745006.8131 | 1266897.1532 | 2744997.5805 | 1266870.495
63 | 2745034.6069 | 1266955.3597 | 2745026.5918 | 1266958.7887 | 2745022.7983 | 1266960.5725
64 | 2745034.6069 | 1266955.3597 | 2745041.4707 | 1266968.7333
65 | 2745034.6069 | 1266955.3597 | 2745048.4387 | 1266947.8584 | 2745060.0864 | 1266942.9342
66 | 2745044.9599 | 1266975.5318 | 2745041.4707 | 1266968.7333
67 | 2745044.9599 | 1266975.5318 | 2745054.4594 | 1266994.041 | 2745055.9164 | 1267002.9882
68 | 2744890.217 | 1266683.3251 | 2744885.0173 | 1266676.6918 | 2744882.8551 | 1266673.3435
69 | 2744860.5827 | 1266636.7977 | 2744857.7773 | 1266638.1637 | 2744854.7677 | 1266641.1039 | 2744852.4766 | 1266644.2287 | 2744851.9977 | 1266645.3291
70 | 2744851.9977 | 1266645.3291 | 2744838.6795 | 1266644.7689 | 2744832.1558 | 1266646.8901
71 | 2744860.5827 | 1266636.7977 | 2744864.2106 | 1266643.8083
72 | 2744856.9185 | 1266624.6625 | 2744860.5827 | 1266636.7977
73 | 2744870.9439 | 1266654.8989 | 2744882.8551 | 1266673.3435
74 | 2744866.7796 | 1266648.4503 | 2744865.9402 | 1266647.1504 | 2744864.2106 | 1266643.8083
75 | 2744856.9185 | 1266624.6625 | 2744882.9313 | 1266603.9663
76 | 2744856.9185 | 1266624.6625 | 2744852.4944 | 1266614.3328 | 2744847.9148 | 1266608.1922 | 2744842.7473 | 1266604.2172
77 | 2744791.6121 | 1266606.9449 | 2744786.5955 | 1266577.5044
78 | 2744791.6121 | 1266606.9449 | 2744780.5728 | 1266608.1994
79 | 2744791.6121 | 1266606.9449 | 2744805.4723 | 1266605.3717 | 2744808.7714 | 1266604.9897
80 | 2744766.0194 | 1266609.8533 | 2744780.5728 | 1266608.1994
81 | 2744834.5157 | 1266602.9463 | 2744815.6168 | 1266604.1969 | 2744808.7714 | 1266604.9897
82 | 2744837.3222 | 1266602.7606 | 2744837.3222 | 1266602.7606 | 2744834.5157 | 1266602.9463
83 | 2744837.3222 | 1266602.7606 | 2744842.7473 | 1266604.2172 | 2744842.7473 | 1266604.2172
84 | 2744866.7796 | 1266648.4503 | 2744870.9439 | 1266654.8989

## bus_geodata
| x | y | coords
0 | 2745735.7005 | 1266657.388
1 | 2745743.3203 | 1266681.7484
2 | 2745726.6085 | 1266628.3211
3 | 2745750.4324 | 1266620.0746
4 | 2745719.1161 | 1266630.3718
5 | 2745687.1618 | 1266636.7628
6 | 2745724.8072 | 1266648.8016
7 | 2745699.7376 | 1266574.3533
8 | 2745686.3134 | 1266636.8993
9 | 2745730.15 | 1266666.0469
10 | 2745667.3635 | 1266638.4015
11 | 2745646.5725 | 1266637.2623
12 | 2745641.4707 | 1266636.4111
13 | 2745587.2812 | 1266626.9531
14 | 2745567.8313 | 1266630.0772
15 | 2745599.8476 | 1266627.7149
16 | 2745536.9422 | 1266647.0564
17 | 2745573.433 | 1266649.7236
18 | 2745613.6146 | 1266630.8271
19 | 2745630.0964 | 1266634.4695
20 | 2745524.5133 | 1266659.9247
21 | 2745575.4152 | 1266654.4614
22 | 2745578.967 | 1266662.9509
23 | 2745512.3334 | 1266675.5622
24 | 2745509.4849 | 1266679.3026
25 | 2745497.4059 | 1266695.1636
26 | 2745480.5414 | 1266861.0715
27 | 2745467.3598 | 1266889.0879
28 | 2745449.4309 | 1266927.1939
29 | 2744974.5907 | 1266706.4527
30 | 2744948.8309 | 1266718.6647
31 | 2744914.9637 | 1266705.9732
32 | 2744992.6845 | 1266849.259
33 | 2745416.6005 | 1267007.5047
34 | 2745399.6455 | 1266980.8982
35 | 2745368.312 | 1266976.1732
36 | 2745434.3551 | 1266955.757
37 | 2745360.2367 | 1266976.7248
38 | 2745440.5127 | 1266946.1488
39 | 2745358.4211 | 1267019.0517
40 | 2745359.6736 | 1266989.8532
41 | 2745339.4282 | 1266978.4445
42 | 2745447.7976 | 1266930.6654
43 | 2745333.1083 | 1266978.9668
44 | 2744781.3621 | 1266752.7884
45 | 2744781.4819 | 1266742.3979
46 | 2744798.5989 | 1266725.5673
47 | 2744804.8244 | 1266719.1498
48 | 2744774.4276 | 1266694.3441
49 | 2744772.6528 | 1266678.5176
50 | 2744796.8733 | 1266669.7204
51 | 2744832.4365 | 1266684.1961
52 | 2744799.3079 | 1266668.1398
53 | 2745296.6387 | 1266982.3877
54 | 2745242.5542 | 1266971.7143
55 | 2745251.3041 | 1266974.9228
56 | 2745193.0517 | 1266954.5696
57 | 2745181.7949 | 1266950.98
58 | 2745116.3565 | 1266940.5951
59 | 2745093.6297 | 1266937.2815
60 | 2744996.637 | 1266867.7706
61 | 2744997.5805 | 1266870.495
62 | 2745034.6069 | 1266955.3597
63 | 2745022.7983 | 1266960.5725
64 | 2745041.4707 | 1266968.7333
65 | 2745060.0864 | 1266942.9342
66 | 2745044.9599 | 1266975.5318
67 | 2744890.217 | 1266683.3251
68 | 2744851.9977 | 1266645.3291
69 | 2744860.5827 | 1266636.7977
70 | 2744832.1558 | 1266646.8901
71 | 2745055.9164 | 1267002.9882
72 | 2744882.8551 | 1266673.3435
73 | 2744864.2106 | 1266643.8083
74 | 2744856.9185 | 1266624.6625
75 | 2744786.5955 | 1266577.5044
76 | 2744791.6121 | 1266606.9449
77 | 2744780.5728 | 1266608.1994
78 | 2744808.7714 | 1266604.9897
79 | 2744766.0194 | 1266609.8533
80 | 2744834.5157 | 1266602.9463
81 | 2744837.3222 | 1266602.7606
82 | 2744842.7473 | 1266604.2172
83 | 2744882.9313 | 1266603.9663
84 | 2744866.7796 | 1266648.4503
85 | 2744870.9439 | 1266654.8989
86 | 2744974.5907 | 1266706.4527

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1