## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4411-4_1_2_node_130 | 0.4 | n |  | TRUE
1 | bus_LV_4411-4_1_2_node_22 | 0.4 | n |  | TRUE
2 | bus_LV_4411-4_1_2_node_82 | 0.4 | n |  | TRUE
3 | bus_LV_4411-4_1_2_node_131 | 0.4 | n |  | TRUE
4 | bus_LV_4411-4_1_2_node_132 | 0.4 | n |  | TRUE
5 | bus_LV_4411-4_1_2_node_133 | 0.4 | n |  | TRUE
6 | bus_LV_4411-4_1_2_node_134 | 0.4 | n |  | TRUE
7 | bus_LV_4411-4_1_2_node_139 | 0.4 | n |  | TRUE
8 | bus_LV_4411-4_1_2_node_140 | 0.4 | n |  | TRUE
9 | bus_LV_4411-4_1_2_node_135 | 0.4 | n |  | TRUE
10 | bus_LV_4411-4_1_2_node_83 | 0.4 | n |  | TRUE
11 | bus_LV_4411-4_1_2_node_136 | 0.4 | n |  | TRUE
12 | bus_LV_4411-4_1_2_node_138 | 0.4 | n |  | TRUE
13 | bus_LV_4411-4_1_2_node_137 | 0.4 | n |  | TRUE
14 | bus_LV_4411-4_1_2_node_84 | 0.4 | n |  | TRUE
15 | bus_LV_4411-4_1_2_node_153 | 0.4 | n |  | TRUE
16 | bus_LV_4411-4_1_2_node_146 | 0.4 | n |  | TRUE
17 | bus_LV_4411-4_1_2_node_141 | 0.4 | n |  | TRUE
18 | bus_LV_4411-4_1_2_node_142 | 0.4 | n |  | TRUE
19 | bus_LV_4411-4_1_2_node_143 | 0.4 | n |  | TRUE
20 | bus_LV_4411-4_1_2_node_144 | 0.4 | n |  | TRUE
21 | bus_LV_4411-4_1_2_node_145 | 0.4 | n |  | TRUE
22 | bus_LV_4411-4_1_2_node_147 | 0.4 | n |  | TRUE
23 | bus_LV_4411-4_1_2_node_148 | 0.4 | n |  | TRUE
24 | bus_LV_4411-4_1_2_node_161 | 0.4 | n |  | TRUE
25 | bus_LV_4411-4_1_2_node_151 | 0.4 | n |  | TRUE
26 | bus_LV_4411-4_1_2_node_149 | 0.4 | n |  | TRUE
27 | bus_LV_4411-4_1_2_node_150 | 0.4 | n |  | TRUE
28 | bus_LV_4411-4_1_2_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_4411-4_1_2_node_152 | 0.4 | n |  | TRUE
30 | bus_LV_4411-4_1_2_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_4411-4_1_2_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_4411-4_1_2_node_154 | 0.4 | n |  | TRUE
33 | bus_LV_4411-4_1_2_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_4411-4_1_2_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_4411-4_1_2_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_4411-4_1_2_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_4411-4_1_2_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_4411-4_1_2_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_4411-4_1_2_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_4411-4_1_2_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_4411-4_1_2_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_4411-4_1_2_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_4411-4_1_2_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_4411-4_1_2_node_170 | 0.4 | n |  | TRUE
45 | bus_LV_4411-4_1_2_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_4411-4_1_2_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_4411-4_1_2_node_96 | 0.4 | n |  | TRUE
48 | bus_LV_4411-4_1_2_node_155 | 0.4 | n |  | TRUE
49 | bus_LV_4411-4_1_2_node_158 | 0.4 | n |  | TRUE
50 | bus_LV_4411-4_1_2_node_157 | 0.4 | n |  | TRUE
51 | bus_LV_4411-4_1_2_node_159 | 0.4 | n |  | TRUE
52 | bus_LV_4411-4_1_2_node_160 | 0.4 | n |  | TRUE
53 | bus_LV_4411-4_1_2_node_162 | 0.4 | n |  | TRUE
54 | bus_LV_4411-4_1_2_node_163 | 0.4 | n |  | TRUE
55 | bus_LV_4411-4_1_2_node_169 | 0.4 | n |  | TRUE
56 | bus_LV_4411-4_1_2_node_167 | 0.4 | n |  | TRUE
57 | bus_LV_4411-4_1_2_node_168 | 0.4 | n |  | TRUE
58 | bus_LV_4411-4_1_2_node_166 | 0.4 | n |  | TRUE
59 | bus_LV_4411-4_1_2_node_164 | 0.4 | n |  | TRUE
60 | bus_LV_4411-4_1_2_node_165 | 0.4 | n |  | TRUE
61 | bus_LV_4411-4_1_2_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_4411-4_1_2_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_4411-4_1_2_node_79 | 0.4 | n |  | TRUE
64 | bus_LV_4411-4_1_2_node_156 | 0.4 | n |  | TRUE
65 | bus_MV_406_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4411-4_1_2_load_130 | 0 | 0.0019193 | 0.00048101 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4411-4_1_2_load_131 | 3 | 0.00082026 | 0.00020558 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4411-4_1_2_load_132 | 4 | 0.0019955 | 0.00050013 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4411-4_1_2_load_133 | 5 | 0.0012863 | 0.00032239 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4411-4_1_2_load_139 | 7 | 0.0035008 | 0.00087738 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4411-4_1_2_load_140 | 8 | 0.0050791 | 0.001273 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4411-4_1_2_load_135 | 9 | 0.016418 | 0.0041148 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4411-4_1_2_load_83 | 10 | 0.0018552 | 0.00046495 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4411-4_1_2_load_136 | 11 | 0.060781 | 0.015233 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4411-4_1_2_load_138 | 12 | 0.07252 | 0.018175 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4411-4_1_2_load_137 | 13 | 0.0020207 | 0.00050642 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4411-4_1_2_load_84 | 14 | 0.00053582 | 0.00013429 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4411-4_1_2_load_153 | 15 | 0.027262 | 0.0068324 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4411-4_1_2_load_141 | 17 | 0.0020357 | 0.0005102 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4411-4_1_2_load_142 | 18 | 0.0015959 | 0.00039996 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4411-4_1_2_load_143 | 19 | 0.0036472 | 0.00091407 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4411-4_1_2_load_145 | 21 | 0.0019608 | 0.00049143 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4411-4_1_2_load_147 | 22 | 0.0098081 | 0.0024581 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4411-4_1_2_load_148 | 23 | 0.0014659 | 0.00036739 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4411-4_1_2_load_151 | 25 | 0.0014734 | 0.00036927 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4411-4_1_2_load_149 | 26 | 0.0014391 | 0.00036067 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4411-4_1_2_load_150 | 27 | 0.001105 | 0.00027694 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4411-4_1_2_load_152 | 29 | 0.0017047 | 0.00042725 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4411-4_1_2_load_43 | 31 | 0.00081548 | 0.00020438 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4411-4_1_2_load_154 | 32 | 0.0016245 | 0.00040713 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4411-4_1_2_load_29 | 33 | 0.00032079 | 8.0398e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4411-4_1_2_load_30 | 34 | 0.00013691 | 3.4314e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4411-4_1_2_load_32 | 35 | 0.00042808 | 0.00010729 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4411-4_1_2_load_34 | 36 | 9.6271e-05 | 2.4128e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4411-4_1_2_load_36 | 38 | 0.00011668 | 2.9243e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4411-4_1_2_load_37 | 39 | 0.00018861 | 4.727e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4411-4_1_2_load_38 | 40 | 0.00020196 | 5.0615e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4411-4_1_2_load_41 | 41 | 0.00041123 | 0.00010306 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4411-4_1_2_load_170 | 44 | 0.00059062 | 0.00014802 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4411-4_1_2_load_42 | 46 | 0.00026055 | 6.53e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4411-4_1_2_load_96 | 47 | 0.00022473 | 5.6323e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4411-4_1_2_load_155 | 48 | 0.0050931 | 0.0012764 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4411-4_1_2_load_159 | 51 | 0.0058779 | 0.0014731 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4411-4_1_2_load_160 | 52 | 0.0064256 | 0.0016104 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4411-4_1_2_load_162 | 53 | 0.0020087 | 0.00050343 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4411-4_1_2_load_163 | 54 | 0.0023984 | 0.0006011 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4411-4_1_2_load_167 | 56 | 0.0016087 | 0.00040317 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4411-4_1_2_load_168 | 57 | 0.0010458 | 0.00026209 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4411-4_1_2_load_164 | 59 | 0.0011844 | 0.00029683 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4411-4_1_2_load_165 | 60 | 0.0013462 | 0.00033738 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4411-4_1_2_load_77 | 61 | 0.0013366 | 0.00033498 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4411-4_1_2_load_78 | 62 | 0.00043433 | 0.00010885 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4411-4_1_2_load_156 | 64 | 0.061217 | 0.015343 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4411-4_1_2_line_0 |  | 0 | 1 | 0.032132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4411-4_1_2_line_1 |  | 0 | 2 | 0.011196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4411-4_1_2_line_2 |  | 1 | 28 | 0.1869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4411-4_1_2_line_3 |  | 2 | 3 | 0.0025961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4411-4_1_2_line_4 |  | 2 | 63 | 0.005595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4411-4_1_2_line_5 |  | 3 | 4 | 0.010539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4411-4_1_2_line_6 |  | 4 | 5 | 0.039049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4411-4_1_2_line_7 |  | 5 | 6 | 0.020693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4411-4_1_2_line_8 |  | 6 | 7 | 0.021125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4411-4_1_2_line_9 |  | 6 | 8 | 0.049757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4411-4_1_2_line_10 |  | 8 | 16 | 0.025483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4411-4_1_2_line_11 |  | 9 | 10 | 0.051728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4411-4_1_2_line_12 |  | 9 | 11 | 0.028476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4411-4_1_2_line_13 |  | 10 | 63 | 0.015917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4411-4_1_2_line_14 |  | 11 | 12 | 0.0019158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4411-4_1_2_line_15 |  | 12 | 15 | 0.045244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4411-4_1_2_line_16 |  | 13 | 14 | 0.011992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4411-4_1_2_line_17 |  | 14 | 63 | 0.030702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4411-4_1_2_line_18 |  | 15 | 32 | 0.025082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4411-4_1_2_line_19 |  | 16 | 22 | 0.05388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4411-4_1_2_line_20 |  | 16 | 23 | 0.017146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4411-4_1_2_line_21 |  | 16 | 21 | 0.0246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4411-4_1_2_line_22 |  | 17 | 18 | 0.0047318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4411-4_1_2_line_23 |  | 17 | 19 | 0.0085527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4411-4_1_2_line_24 |  | 18 | 20 | 0.011133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4411-4_1_2_line_25 |  | 20 | 21 | 0.013247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4411-4_1_2_line_26 |  | 22 | 24 | 0.023333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4411-4_1_2_line_27 |  | 23 | 25 | 0.023576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4411-4_1_2_line_28 |  | 24 | 53 | 0.026715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4411-4_1_2_line_29 |  | 24 | 54 | 0.023511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4411-4_1_2_line_30 |  | 25 | 26 | 0.0049359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4411-4_1_2_line_31 |  | 26 | 27 | 0.021566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4411-4_1_2_line_32 |  | 27 | 29 | 0.001671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4411-4_1_2_line_33 |  | 28 | 30 | 0.15514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4411-4_1_2_line_34 |  | 30 | 31 | 0.029742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4411-4_1_2_line_35 |  | 31 | 46 | 0.065051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4411-4_1_2_line_36 |  | 32 | 48 | 0.001506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4411-4_1_2_line_37 |  | 33 | 34 | 0.012967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4411-4_1_2_line_38 |  | 34 | 35 | 0.032439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4411-4_1_2_line_39 |  | 35 | 36 | 0.012171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4411-4_1_2_line_40 |  | 36 | 37 | 0.0093579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4411-4_1_2_line_41 |  | 37 | 38 | 0.025835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4411-4_1_2_line_42 |  | 37 | 39 | 0.0068368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4411-4_1_2_line_43 |  | 38 | 40 | 0.017332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4411-4_1_2_line_44 |  | 39 | 41 | 0.043262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4411-4_1_2_line_45 |  | 40 | 42 | 0.31875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4411-4_1_2_line_46 |  | 41 | 46 | 0.058318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4411-4_1_2_line_47 |  | 42 | 43 | 0.046205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4411-4_1_2_line_48 |  | 43 | 44 | 0.063282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4411-4_1_2_line_49 |  | 43 | 45 | 0.056281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4411-4_1_2_line_50 |  | 45 | 47 | 0.054653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4411-4_1_2_line_51 |  | 48 | 49 | 0.059087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4411-4_1_2_line_52 |  | 49 | 50 | 0.06352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4411-4_1_2_line_53 |  | 49 | 51 | 0.026018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4411-4_1_2_line_54 |  | 50 | 64 | 0.092451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4411-4_1_2_line_55 |  | 51 | 52 | 0.017419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4411-4_1_2_line_56 |  | 54 | 58 | 0.010849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4411-4_1_2_line_57 |  | 55 | 56 | 0.0092007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4411-4_1_2_line_58 |  | 55 | 57 | 0.022247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4411-4_1_2_line_59 |  | 56 | 58 | 0.048502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4411-4_1_2_line_60 |  | 58 | 60 | 0.025396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4411-4_1_2_line_61 |  | 59 | 60 | 0.0014019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4411-4_1_2_line_62 |  | 61 | 62 | 0.01254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4411-4_1_2_line_63 |  | 62 | 63 | 0.010364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4411-4_1_2_trafo_138 | 0.63 MVA 20/0.4 kV | 65 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2745656.9367 | 1266460.0139 | 2745642.4668 | 1266431.3242
1 | 2745637.4252 | 1266421.328 | 2745642.4668 | 1266431.3242
2 | 2745656.9367 | 1266460.0139 | 2745669.2235 | 1266484.3854 | 2745705.1902 | 1266575.9854 | 2745723.7292 | 1266629.3178 | 2745719.1161 | 1266630.3718
3 | 2745637.4252 | 1266421.328 | 2745636.2563 | 1266419.0099
4 | 2745637.4252 | 1266421.328 | 2745632.3784 | 1266423.7728
5 | 2745636.2563 | 1266419.0099 | 2745631.5115 | 1266409.5999
6 | 2745631.5115 | 1266409.5999 | 2745613.9304 | 1266374.7321
7 | 2745604.6137 | 1266356.2549 | 2745613.9304 | 1266374.7321
8 | 2745604.6137 | 1266356.2549 | 2745595.1683 | 1266337.359
9 | 2745604.6137 | 1266356.2549 | 2745648.89 | 1266333.5528
10 | 2745671.5663 | 1266321.9258 | 2745648.89 | 1266333.5528
11 | 2745625.1092 | 1266409.6124 | 2745602.5811 | 1266365.6809 | 2745601.4979 | 1266363.5871
12 | 2745601.4979 | 1266363.5871 | 2745588.4137 | 1266338.2948
13 | 2745632.3784 | 1266423.7728 | 2745630.5741 | 1266420.2693 | 2745625.1092 | 1266409.6124
14 | 2745587.5334 | 1266336.5932 | 2745588.4137 | 1266338.2948
15 | 2745587.5334 | 1266336.5932 | 2745566.7448 | 1266296.4081
16 | 2745593.9388 | 1266442.3505 | 2745604.7359 | 1266437.1324
17 | 2745632.3784 | 1266423.7728 | 2745604.7359 | 1266437.1324
18 | 2745566.7448 | 1266296.4081 | 2745555.2201 | 1266274.1304
19 | 2745671.5663 | 1266321.9258 | 2745647.3472 | 1266281.3776 | 2745644.6539 | 1266275.2978
20 | 2745671.5663 | 1266321.9258 | 2745681.231 | 1266316.4141 | 2745685.492 | 1266314.684 | 2745686.8644 | 1266314.313
21 | 2745671.5663 | 1266321.9258 | 2745684.1965 | 1266343.0361
22 | 2745677.3631 | 1266362.5151 | 2745681.4296 | 1266360.0958
23 | 2745670.0128 | 1266366.8879 | 2745677.3631 | 1266362.5151
24 | 2745690.9976 | 1266354.4037 | 2745681.4296 | 1266360.0958
25 | 2745690.9976 | 1266354.4037 | 2745684.1965 | 1266343.0361
26 | 2745639.4848 | 1266252.5997 | 2745642.0798 | 1266266.8 | 2745643.8651 | 1266273.5173 | 2745644.6539 | 1266275.2978
27 | 2745709.6234 | 1266308.1595 | 2745686.8644 | 1266314.313
28 | 2745639.4848 | 1266252.5997 | 2745634.5472 | 1266226.3446
29 | 2745639.4848 | 1266252.5997 | 2745662.1949 | 1266246.516
30 | 2745709.6234 | 1266308.1595 | 2745714.3882 | 1266306.8712
31 | 2745714.3882 | 1266306.8712 | 2745735.207 | 1266301.2423
32 | 2745736.8201 | 1266300.8062 | 2745735.207 | 1266301.2423
33 | 2745719.1161 | 1266630.3718 | 2745723.7292 | 1266629.3178 | 2745726.6085 | 1266628.3211 | 2745753.6923 | 1266618.9462 | 2745822.0972 | 1266592.2178 | 2745843.0246 | 1266584.482 | 2745852.0314 | 1266581.8126 | 2745864.5361 | 1266576.5827
34 | 2745864.5361 | 1266576.5827 | 2745868.052 | 1266569.9406 | 2745869.0423 | 1266562.4798 | 2745870.8742 | 1266550.5242 | 2745871.095 | 1266547.9286
35 | 2745871.095 | 1266547.9286 | 2745872.5726 | 1266530.5573 | 2745875.4331 | 1266517.8263 | 2745878.8426 | 1266506.9552 | 2745881.4605 | 1266498.5558 | 2745887.8796 | 1266485.6903
36 | 2745554.5281 | 1266272.7928 | 2745555.2201 | 1266274.1304
37 | 2745926.1064 | 1266338.2257 | 2745926.2371 | 1266341.1041 | 2745927.1577 | 1266351.148
38 | 2745927.1577 | 1266351.148 | 2745927.4356 | 1266354.1801 | 2745931.0684 | 1266367.5052 | 2745935.0627 | 1266376.5684 | 2745937.6239 | 1266381.6364
39 | 2745937.6239 | 1266381.6364 | 2745941.0735 | 1266388.462 | 2745942.5729 | 1266392.7291
40 | 2745945.3648 | 1266401.6589 | 2745943.3325 | 1266394.8909 | 2745942.5729 | 1266392.7291
41 | 2745945.3648 | 1266401.6589 | 2745954.6027 | 1266401.231 | 2745971.1248 | 1266399.7586
42 | 2745945.3648 | 1266401.6589 | 2745938.9972 | 1266404.1482
43 | 2745971.1248 | 1266399.7586 | 2745981.5683 | 1266398.8278 | 2745988.3992 | 1266398.3649
44 | 2745938.9972 | 1266404.1482 | 2745935.0358 | 1266405.6968 | 2745926.7426 | 1266409.3513 | 2745920.4684 | 1266413.3003 | 2745915.3012 | 1266420.0017 | 2745911.7875 | 1266427.7671 | 2745910.7283 | 1266433.2114
45 | 2746303.8165 | 1266386.7161 | 2746281.0923 | 1266390.0014 | 2746264.1673 | 1266392.4072 | 2746259.1707 | 1266393.1176 | 2746242.5264 | 1266396.3535 | 2746201.1927 | 1266401.9366 | 2746181.3017 | 1266403.9689 | 2746166.0624 | 1266403.7029 | 2746152.1491 | 1266400.6892 | 2746132.157 | 1266393.7214 | 2746118.8606 | 1266390.7341 | 2746105.4467 | 1266390.6692 | 2746086.7858 | 1266391.6979 | 2745988.3992 | 1266398.3649
46 | 2745910.7283 | 1266433.2114 | 2745909.1386 | 1266441.382 | 2745906.7217 | 1266454.1462 | 2745903.7888 | 1266462.1818 | 2745898.5558 | 1266471.5508 | 2745887.8796 | 1266485.6903 | 2745887.8796 | 1266485.6903
47 | 2746303.8165 | 1266386.7161 | 2746304.7799 | 1266394.3475 | 2746305.8445 | 1266402.7601 | 2746308.019 | 1266412.8907 | 2746309.614 | 1266421.7835 | 2746311.8683 | 1266428.6906 | 2746313.1239 | 1266431.8248
48 | 2746273.8078 | 1266465.7412 | 2746272.2884 | 1266452.8797 | 2746273.7194 | 1266444.3732 | 2746277.4762 | 1266441.1074 | 2746313.1239 | 1266431.8248
49 | 2746338.0181 | 1266482.3137 | 2746335.1467 | 1266475.9919 | 2746328.6005 | 1266462.939 | 2746322.0058 | 1266449.7181 | 2746319.5516 | 1266444.7969 | 2746314.7275 | 1266435.8129 | 2746313.1239 | 1266431.8248
50 | 2746338.0181 | 1266482.3137 | 2746314.1694 | 1266492.6893 | 2746285.8928 | 1266497.2724
51 | 2745533.8572 | 1266219.4541 | 2745531.6286 | 1266227.0513 | 2745536.1237 | 1266237.2165 | 2745554.5281 | 1266272.7928
52 | 2745477.8311 | 1266230.0634 | 2745529.6211 | 1266211.9201 | 2745533.0083 | 1266217.8316 | 2745533.8572 | 1266219.4541
53 | 2745533.8572 | 1266219.4541 | 2745545.9719 | 1266242.4797
54 | 2745477.8311 | 1266230.0634 | 2745500.376 | 1266319.7234
55 | 2745545.9719 | 1266242.4797 | 2745554.0827 | 1266257.8953
56 | 2745672.6747 | 1266243.7086 | 2745662.1949 | 1266246.516
57 | 2745728.5878 | 1266229.4503 | 2745719.6724 | 1266231.7238
58 | 2745728.5878 | 1266229.4503 | 2745734.8685 | 1266250.7919
59 | 2745672.6747 | 1266243.7086 | 2745719.6724 | 1266231.7238
60 | 2745672.6747 | 1266243.7086 | 2745679.974 | 1266268.0335
61 | 2745680.3769 | 1266269.3763 | 2745679.974 | 1266268.0335
62 | 2745642.8218 | 1266444.1565 | 2745641.7888 | 1266442.0005 | 2745637.1328 | 1266432.9819
63 | 2745632.3784 | 1266423.7728 | 2745637.1328 | 1266432.9819

## bus_geodata
| x | y | coords
0 | 2745642.4668 | 1266431.3242
1 | 2745656.9367 | 1266460.0139
2 | 2745637.4252 | 1266421.328
3 | 2745636.2563 | 1266419.0099
4 | 2745631.5115 | 1266409.5999
5 | 2745613.9304 | 1266374.7321
6 | 2745604.6137 | 1266356.2549
7 | 2745595.1683 | 1266337.359
8 | 2745648.89 | 1266333.5528
9 | 2745601.4979 | 1266363.5871
10 | 2745625.1092 | 1266409.6124
11 | 2745588.4137 | 1266338.2948
12 | 2745587.5334 | 1266336.5932
13 | 2745593.9388 | 1266442.3505
14 | 2745604.7359 | 1266437.1324
15 | 2745566.7448 | 1266296.4081
16 | 2745671.5663 | 1266321.9258
17 | 2745677.3631 | 1266362.5151
18 | 2745681.4296 | 1266360.0958
19 | 2745670.0128 | 1266366.8879
20 | 2745690.9976 | 1266354.4037
21 | 2745684.1965 | 1266343.0361
22 | 2745644.6539 | 1266275.2978
23 | 2745686.8644 | 1266314.313
24 | 2745639.4848 | 1266252.5997
25 | 2745709.6234 | 1266308.1595
26 | 2745714.3882 | 1266306.8712
27 | 2745735.207 | 1266301.2423
28 | 2745719.1161 | 1266630.3718
29 | 2745736.8201 | 1266300.8062
30 | 2745864.5361 | 1266576.5827
31 | 2745871.095 | 1266547.9286
32 | 2745555.2201 | 1266274.1304
33 | 2745926.1064 | 1266338.2257
34 | 2745927.1577 | 1266351.148
35 | 2745937.6239 | 1266381.6364
36 | 2745942.5729 | 1266392.7291
37 | 2745945.3648 | 1266401.6589
38 | 2745971.1248 | 1266399.7586
39 | 2745938.9972 | 1266404.1482
40 | 2745988.3992 | 1266398.3649
41 | 2745910.7283 | 1266433.2114
42 | 2746303.8165 | 1266386.7161
43 | 2746313.1239 | 1266431.8248
44 | 2746273.8078 | 1266465.7412
45 | 2746338.0181 | 1266482.3137
46 | 2745887.8796 | 1266485.6903
47 | 2746285.8928 | 1266497.2724
48 | 2745554.5281 | 1266272.7928
49 | 2745533.8572 | 1266219.4541
50 | 2745477.8311 | 1266230.0634
51 | 2745545.9719 | 1266242.4797
52 | 2745554.0827 | 1266257.8953
53 | 2745634.5472 | 1266226.3446
54 | 2745662.1949 | 1266246.516
55 | 2745728.5878 | 1266229.4503
56 | 2745719.6724 | 1266231.7238
57 | 2745734.8685 | 1266250.7919
58 | 2745672.6747 | 1266243.7086
59 | 2745680.3769 | 1266269.3763
60 | 2745679.974 | 1266268.0335
61 | 2745642.8218 | 1266444.1565
62 | 2745637.1328 | 1266432.9819
63 | 2745632.3784 | 1266423.7728
64 | 2745500.376 | 1266319.7234
65 | 2745632.3784 | 1266423.7728

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1