## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4431-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4431-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4431-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4431-7_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4431-7_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4431-7_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4431-7_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4431-7_0_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_4431-7_0_4_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_4431-7_0_4_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_4431-7_0_4_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_4431-7_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4431-7_0_4_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_4431-7_0_4_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_4431-7_0_4_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_4431-7_0_4_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_4431-7_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_4431-7_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_4431-7_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_4431-7_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_4431-7_0_4_node_71 | 0.4 | n |  | TRUE
21 | bus_LV_4431-7_0_4_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_4431-7_0_4_node_69 | 0.4 | n |  | TRUE
23 | bus_LV_4431-7_0_4_node_70 | 0.4 | n |  | TRUE
24 | bus_LV_4431-7_0_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_4431-7_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_4431-7_0_4_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_4431-7_0_4_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_4431-7_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_4431-7_0_4_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_4431-7_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_4431-7_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_4431-7_0_4_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_4431-7_0_4_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_4431-7_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_4431-7_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_4431-7_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_4431-7_0_4_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_4431-7_0_4_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_4431-7_0_4_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_4431-7_0_4_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_4431-7_0_4_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_4431-7_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_4431-7_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_4431-7_0_4_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_4431-7_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_4431-7_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_4431-7_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_4431-7_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_4431-7_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_4431-7_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_4431-7_0_4_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_4431-7_0_4_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_4431-7_0_4_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_4431-7_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_4431-7_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_4431-7_0_4_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_4431-7_0_4_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_4431-7_0_4_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_4431-7_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_4431-7_0_4_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_4431-7_0_4_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_4431-7_0_4_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_4431-7_0_4_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_4431-7_0_4_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_4431-7_0_4_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_4431-7_0_4_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_4431-7_0_4_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_4431-7_0_4_node_67 | 0.4 | n |  | TRUE
69 | bus_MV_406_0_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4431-7_0_4_load_0 | 0 | 0.01176 | 0.0029473 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4431-7_0_4_load_6 | 6 | 0.011378 | 0.0028517 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4431-7_0_4_load_16 | 7 | 0.013109 | 0.0032854 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4431-7_0_4_load_29 | 8 | 0.056693 | 0.014209 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4431-7_0_4_load_30 | 9 | 0.026194 | 0.0065648 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4431-7_0_4_load_28 | 10 | 0.011757 | 0.0029465 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4431-7_0_4_load_7 | 11 | 0.015231 | 0.0038172 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4431-7_0_4_load_33 | 14 | 0.035722 | 0.0089528 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4431-7_0_4_load_10 | 18 | 0.020474 | 0.0051312 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4431-7_0_4_load_71 | 20 | 0.00045713 | 0.00011457 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4431-7_0_4_load_23 | 21 | 0.00065685 | 0.00016462 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4431-7_0_4_load_69 | 22 | 0.00027505 | 6.8934e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4431-7_0_4_load_25 | 25 | 0.00060752 | 0.00015226 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4431-7_0_4_load_12 | 26 | 0.013082 | 0.0032787 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4431-7_0_4_load_13 | 27 | 0.00852 | 0.0021353 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4431-7_0_4_load_14 | 28 | 0.0072689 | 0.0018218 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4431-7_0_4_load_15 | 29 | 0.0011991 | 0.00030052 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4431-7_0_4_load_19 | 30 | 0.0079853 | 0.0020013 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4431-7_0_4_load_37 | 32 | 0.01717 | 0.0043031 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4431-7_0_4_load_31 | 33 | 0.023827 | 0.0059715 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4431-7_0_4_load_34 | 34 | 0.0011635 | 0.00029159 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4431-7_0_4_load_22 | 36 | 0.0013139 | 0.0003293 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4431-7_0_4_load_52 | 37 | 0.0038941 | 0.00097594 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4431-7_0_4_load_48 | 38 | 0.003275 | 0.0008208 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4431-7_0_4_load_53 | 40 | 0.002643 | 0.00066241 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4431-7_0_4_load_46 | 41 | 0.0024491 | 0.0006138 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4431-7_0_4_load_44 | 42 | 0.0051083 | 0.0012803 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4431-7_0_4_load_26 | 44 | 0.014289 | 0.0035812 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4431-7_0_4_load_32 | 46 | 0.021374 | 0.0053568 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4431-7_0_4_load_40 | 48 | 0.006832 | 0.0017123 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4431-7_0_4_load_35 | 49 | 0.034102 | 0.0085467 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4431-7_0_4_load_42 | 50 | 0.0011246 | 0.00028186 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4431-7_0_4_load_66 | 52 | 0.0016182 | 0.00040555 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4431-7_0_4_load_64 | 53 | 0.0013569 | 0.00034008 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4431-7_0_4_load_45 | 54 | 0.0027326 | 0.00068485 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4431-7_0_4_load_47 | 55 | 0.0026806 | 0.00067181 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4431-7_0_4_load_49 | 56 | 0.0023059 | 0.0005779 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4431-7_0_4_load_50 | 57 | 0.0021334 | 0.00053469 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4431-7_0_4_load_58 | 59 | 0.0036595 | 0.00091715 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4431-7_0_4_load_56 | 60 | 0.0027438 | 0.00068767 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4431-7_0_4_load_54 | 61 | 0.0016419 | 0.0004115 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4431-7_0_4_load_57 | 62 | 0.0012647 | 0.00031695 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4431-7_0_4_load_59 | 63 | 0.0013391 | 0.00033562 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4431-7_0_4_load_61 | 65 | 0.0027183 | 0.00068127 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4431-7_0_4_load_62 | 66 | 0.0028493 | 0.00071409 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4431-7_0_4_load_67 | 68 | 0.00046073 | 0.00011547 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4431-7_0_4_line_0 |  | 0 | 1 | 0.01602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4431-7_0_4_line_1 |  | 0 | 2 | 0.006504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4431-7_0_4_line_2 |  | 1 | 3 | 0.018502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_4431-7_0_4_line_3 |  | 1 | 4 | 0.023051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4431-7_0_4_line_4 |  | 2 | 5 | 0.005658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4431-7_0_4_line_5 |  | 2 | 6 | 0.0051426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4431-7_0_4_line_6 |  | 3 | 7 | 0.016094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_4431-7_0_4_line_7 |  | 4 | 8 | 0.013523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4431-7_0_4_line_8 |  | 5 | 9 | 0.035325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4431-7_0_4_line_9 |  | 5 | 10 | 0.027632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4431-7_0_4_line_10 |  | 6 | 11 | 0.0223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4431-7_0_4_line_11 |  | 7 | 15 | 0.030417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_4431-7_0_4_line_12 |  | 9 | 16 | 0.032965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4431-7_0_4_line_13 |  | 12 | 13 | 0.019507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4431-7_0_4_line_14 |  | 12 | 14 | 0.02677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4431-7_0_4_line_15 |  | 13 | 32 | 0.024181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4431-7_0_4_line_16 |  | 13 | 33 | 0.007886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4431-7_0_4_line_17 |  | 14 | 34 | 0.0049028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4431-7_0_4_line_18 |  | 15 | 30 | 0.029055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_4431-7_0_4_line_19 |  | 15 | 29 | 0.019821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4431-7_0_4_line_20 |  | 16 | 19 | 0.043948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4431-7_0_4_line_21 |  | 16 | 17 | 0.003202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4431-7_0_4_line_22 |  | 17 | 18 | 0.038444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4431-7_0_4_line_23 |  | 18 | 20 | 0.25374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4431-7_0_4_line_24 |  | 19 | 21 | 0.031843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4431-7_0_4_line_25 |  | 20 | 23 | 0.083137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4431-7_0_4_line_26 |  | 21 | 24 | 0.013745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4431-7_0_4_line_27 |  | 22 | 23 | 0.033342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4431-7_0_4_line_28 |  | 24 | 25 | 0.0089807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4431-7_0_4_line_29 |  | 26 | 27 | 0.0065603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4431-7_0_4_line_30 |  | 26 | 28 | 0.024091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4431-7_0_4_line_31 |  | 28 | 29 | 0.01761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4431-7_0_4_line_32 |  | 30 | 31 | 0.025084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_4431-7_0_4_line_33 |  | 31 | 35 | 0.014128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4431-7_0_4_line_34 |  | 31 | 36 | 0.024497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_4431-7_0_4_line_35 |  | 32 | 50 | 0.016138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_4431-7_0_4_line_36 |  | 33 | 45 | 0.016505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4431-7_0_4_line_37 |  | 34 | 49 | 0.0078252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4431-7_0_4_line_38 |  | 35 | 37 | 0.010106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4431-7_0_4_line_39 |  | 35 | 38 | 0.041704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4431-7_0_4_line_40 |  | 36 | 39 | 0.025775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_4431-7_0_4_line_41 |  | 37 | 40 | 0.0071058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4431-7_0_4_line_42 |  | 38 | 41 | 0.0025994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4431-7_0_4_line_43 |  | 39 | 42 | 0.047658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4431-7_0_4_line_44 |  | 39 | 43 | 0.011192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_4431-7_0_4_line_45 |  | 40 | 61 | 0.020557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4431-7_0_4_line_46 |  | 41 | 54 | 0.001666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4431-7_0_4_line_47 |  | 43 | 47 | 0.024309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4431-7_0_4_line_48 |  | 43 | 50 | 0.027829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_4431-7_0_4_line_49 |  | 44 | 45 | 0.039294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4431-7_0_4_line_50 |  | 45 | 46 | 0.0098625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4431-7_0_4_line_51 |  | 47 | 48 | 0.024114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4431-7_0_4_line_52 |  | 51 | 52 | 0.019988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4431-7_0_4_line_53 |  | 51 | 53 | 0.029548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4431-7_0_4_line_54 |  | 52 | 68 | 0.021309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4431-7_0_4_line_55 |  | 53 | 67 | 0.015594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4431-7_0_4_line_56 |  | 54 | 55 | 0.010002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4431-7_0_4_line_57 |  | 55 | 56 | 0.010818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4431-7_0_4_line_58 |  | 56 | 57 | 0.023756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4431-7_0_4_line_59 |  | 58 | 59 | 0.012218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4431-7_0_4_line_60 |  | 58 | 60 | 0.0035062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4431-7_0_4_line_61 |  | 59 | 63 | 0.014173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4431-7_0_4_line_62 |  | 60 | 62 | 0.016861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4431-7_0_4_line_63 |  | 61 | 62 | 0.0096127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4431-7_0_4_line_64 |  | 63 | 64 | 0.014412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4431-7_0_4_line_65 |  | 64 | 65 | 0.010776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4431-7_0_4_line_66 |  | 64 | 66 | 0.0048084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4431-7_0_4_line_67 |  | 65 | 67 | 0.0038117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4431-7_0_4_trafo_16 | 0.63 MVA 20/0.4 kV | 69 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2748150.9222 | 1263528.392 | 2748165.6606 | 1263534.6708
1 | 2748171.6442 | 1263537.22 | 2748165.6606 | 1263534.6708
2 | 2748140.0706 | 1263520.846 | 2748141.98 | 1263519.537 | 2748144.2255 | 1263518.9482 | 2748146.5338 | 1263519.1618 | 2748148.6346 | 1263520.1376 | 2748150.1198 | 1263521.6207 | 2748151.2696 | 1263523.8518 | 2748151.4909 | 1263526.1485 | 2748150.9222 | 1263528.392
3 | 2748150.9222 | 1263528.392 | 2748151.4909 | 1263526.1485 | 2748151.2696 | 1263523.8518 | 2748150.1198 | 1263521.6207 | 2748157.9063 | 1263507.7353
4 | 2748171.6442 | 1263537.22 | 2748177.0416 | 1263538.9681
5 | 2748171.6442 | 1263537.22 | 2748174.7289 | 1263541.3347
6 | 2748140.0706 | 1263520.846 | 2748125.2268 | 1263514.628
7 | 2748157.9063 | 1263507.7353 | 2748164.5233 | 1263495.9416
8 | 2748177.0416 | 1263538.9681 | 2748210.6432 | 1263549.8686
9 | 2748177.0416 | 1263538.9681 | 2748190.5621 | 1263514.8699
10 | 2748174.7289 | 1263541.3347 | 2748195.7493 | 1263548.7799
11 | 2748097.1721 | 1263502.8759 | 2748125.2268 | 1263514.628
12 | 2748242.7722 | 1263552.5288 | 2748232.4777 | 1263554.6284 | 2748221.3711 | 1263553.3488 | 2748210.6432 | 1263549.8686
13 | 2748129.7141 | 1263459.2919 | 2748132.4781 | 1263478.6026
14 | 2748132.4781 | 1263478.6026 | 2748105.7367 | 1263479.836
15 | 2748129.7141 | 1263459.2919 | 2748108.617 | 1263447.4761
16 | 2748129.7141 | 1263459.2919 | 2748133.5419 | 1263452.3972
17 | 2748105.7367 | 1263479.836 | 2748105.4515 | 1263479.8492 | 2748105.6155 | 1263484.4635
18 | 2748097.1721 | 1263502.8759 | 2748070.1984 | 1263492.0764
19 | 2748097.1721 | 1263502.8759 | 2748092.5991 | 1263522.162
20 | 2748268.3878 | 1263517.7029 | 2748253.5858 | 1263544.1582 | 2748242.7722 | 1263552.5288
21 | 2748243.2882 | 1263555.6894 | 2748242.7722 | 1263552.5288
22 | 2748243.2882 | 1263555.6894 | 2748244.2783 | 1263563.6888 | 2748232.6516 | 1263591.7599
23 | 2748232.6516 | 1263591.7599 | 2748269.7679 | 1263842.7718
24 | 2748268.3878 | 1263517.7029 | 2748264.0398 | 1263507.7729 | 2748245.7592 | 1263497.4318
25 | 2748323.0779 | 1263887.8659 | 2748320.4667 | 1263880.8156 | 2748313.8752 | 1263861.8091 | 2748309.8355 | 1263852.821 | 2748305.3623 | 1263846.6916 | 2748299.5823 | 1263842.4869 | 2748293.8156 | 1263839.5505 | 2748286.1414 | 1263839.3579 | 2748275.1782 | 1263841.0958 | 2748269.7679 | 1263842.7718
26 | 2748233.7961 | 1263490.6644 | 2748245.7592 | 1263497.4318
27 | 2748323.0779 | 1263887.8659 | 2748292.2369 | 1263900.5353
28 | 2748233.7961 | 1263490.6644 | 2748225.9983 | 1263486.2096
29 | 2748080.8458 | 1263562.1531 | 2748078.7728 | 1263568.3773
30 | 2748080.8458 | 1263562.1531 | 2748084.9874 | 1263549.7175 | 2748088.0481 | 1263539.1687
31 | 2748092.5991 | 1263522.162 | 2748090.8854 | 1263529.3894 | 2748088.0481 | 1263539.1687
32 | 2748046.9115 | 1263482.753 | 2748070.1984 | 1263492.0764
33 | 2748041.3034 | 1263495.7256 | 2748046.9115 | 1263482.753
34 | 2748046.9115 | 1263482.753 | 2748055.1945 | 1263459.6986
35 | 2748108.617 | 1263447.4761 | 2748094.5373 | 1263439.5905
36 | 2748141.5534 | 1263437.9672 | 2748133.5419 | 1263452.3972
37 | 2748105.8934 | 1263492.2838 | 2748105.6155 | 1263484.4635
38 | 2748041.3034 | 1263495.7256 | 2748032.7428 | 1263490.3554
39 | 2748041.3034 | 1263495.7256 | 2748029.2959 | 1263525.5881 | 2748025.5245 | 1263530.8323 | 2748022.9739 | 1263532.5202
40 | 2748065.3997 | 1263436.0805 | 2748059.331 | 1263448.1851 | 2748055.1945 | 1263459.6986
41 | 2748032.7428 | 1263490.3554 | 2748026.7234 | 1263486.5793
42 | 2748020.8063 | 1263533.9548 | 2748022.9739 | 1263532.5202
43 | 2748065.3997 | 1263436.0805 | 2748085.3909 | 1263448.5268 | 2748088.5034 | 1263454.2437 | 2748089.2152 | 1263460.123 | 2748085.4393 | 1263471.1726
44 | 2748070.2573 | 1263425.9921 | 2748065.3997 | 1263436.0805
45 | 2748009.3093 | 1263475.6552 | 2748026.7234 | 1263486.5793
46 | 2748019.1892 | 1263534.3524 | 2748020.7962 | 1263533.9615 | 2748020.8063 | 1263533.9548
47 | 2748070.2573 | 1263425.9921 | 2748082.0128 | 1263404.6985
48 | 2748070.2573 | 1263425.9921 | 2748094.5373 | 1263439.5905
49 | 2748141.5534 | 1263437.9672 | 2748175.6726 | 1263457.4591
50 | 2748141.5534 | 1263437.9672 | 2748132.9458 | 1263433.1529
51 | 2748082.0128 | 1263404.6985 | 2748073.184 | 1263399.7281 | 2748060.9338 | 1263392.9885
52 | 2748028.1419 | 1263377.3338 | 2748025.2309 | 1263375.6036 | 2748022.1503 | 1263373.4244 | 2748014.1633 | 1263366.74 | 2748012.0602 | 1263365.5573
53 | 2748028.1419 | 1263377.3338 | 2748016.3943 | 1263397.115 | 2748014.751 | 1263403.4468
54 | 2748012.0602 | 1263365.5573 | 2747993.4868 | 1263355.1116
55 | 2748012.1562 | 1263417.3736 | 2748016.9435 | 1263408.5846 | 2748014.751 | 1263403.4468
56 | 2748019.1892 | 1263534.3524 | 2748015.9054 | 1263535.1514 | 2748010.3198 | 1263535.5008 | 2748009.3121 | 1263535.3077
57 | 2748009.3121 | 1263535.3077 | 2748004.7771 | 1263534.4388 | 2747999.9074 | 1263532.3816 | 2747999.1408 | 1263531.8832
58 | 2747999.1408 | 1263531.8832 | 2747979.2235 | 1263518.9352
59 | 2747983.6826 | 1263460.1369 | 2747989.9171 | 1263449.6289
60 | 2747983.6826 | 1263460.1369 | 2747986.8279 | 1263461.6863
61 | 2747997.1491 | 1263437.4398 | 2747989.9171 | 1263449.6289
62 | 2747986.8279 | 1263461.6863 | 2747987.8217 | 1263462.1759 | 2748001.1662 | 1263470.547
63 | 2748009.3093 | 1263475.6552 | 2748001.1662 | 1263470.547
64 | 2748004.5029 | 1263425.0452 | 2747997.1491 | 1263437.4398
65 | 2748004.5029 | 1263425.0452 | 2748007.6331 | 1263425.8466 | 2748011.2976 | 1263424.27 | 2748012.9218 | 1263421.1075
66 | 2748004.5029 | 1263425.0452 | 2748002.8534 | 1263423.5024 | 2748001.8876 | 1263421.1426
67 | 2748012.1562 | 1263417.3736 | 2748012.9218 | 1263421.1075

## bus_geodata
| x | y | coords
0 | 2748165.6606 | 1263534.6708
1 | 2748150.9222 | 1263528.392
2 | 2748171.6442 | 1263537.22
3 | 2748140.0706 | 1263520.846
4 | 2748157.9063 | 1263507.7353
5 | 2748177.0416 | 1263538.968
6 | 2748174.7289 | 1263541.3347
7 | 2748125.2268 | 1263514.628
8 | 2748164.5233 | 1263495.9416
9 | 2748210.6432 | 1263549.8686
10 | 2748190.5621 | 1263514.8699
11 | 2748195.7493 | 1263548.7799
12 | 2748132.4781 | 1263478.6026
13 | 2748129.7141 | 1263459.2919
14 | 2748105.7367 | 1263479.836
15 | 2748097.1721 | 1263502.8759
16 | 2748242.7722 | 1263552.5288
17 | 2748243.2882 | 1263555.6894
18 | 2748232.6516 | 1263591.7599
19 | 2748268.3878 | 1263517.7029
20 | 2748269.7679 | 1263842.7718
21 | 2748245.7592 | 1263497.4318
22 | 2748292.2369 | 1263900.5353
23 | 2748323.0779 | 1263887.8659
24 | 2748233.7961 | 1263490.6644
25 | 2748225.9983 | 1263486.2096
26 | 2748080.8458 | 1263562.1531
27 | 2748078.7728 | 1263568.3773
28 | 2748088.0481 | 1263539.1687
29 | 2748092.5991 | 1263522.162
30 | 2748070.1984 | 1263492.0764
31 | 2748046.9115 | 1263482.753
32 | 2748108.617 | 1263447.4761
33 | 2748133.5419 | 1263452.3972
34 | 2748105.6155 | 1263484.4635
35 | 2748041.3034 | 1263495.7256
36 | 2748055.1945 | 1263459.6986
37 | 2748032.7428 | 1263490.3554
38 | 2748022.9739 | 1263532.5202
39 | 2748065.3997 | 1263436.0805
40 | 2748026.7234 | 1263486.5793
41 | 2748020.8063 | 1263533.9548
42 | 2748085.4393 | 1263471.1726
43 | 2748070.2573 | 1263425.9921
44 | 2748175.6726 | 1263457.4591
45 | 2748141.5534 | 1263437.9672
46 | 2748132.9458 | 1263433.1529
47 | 2748082.0128 | 1263404.6985
48 | 2748060.9338 | 1263392.9885
49 | 2748105.8934 | 1263492.2838
50 | 2748094.5373 | 1263439.5905
51 | 2748028.1419 | 1263377.3338
52 | 2748012.0602 | 1263365.5573
53 | 2748014.751 | 1263403.4469
54 | 2748019.1892 | 1263534.3524
55 | 2748009.3121 | 1263535.3077
56 | 2747999.1408 | 1263531.8832
57 | 2747979.2235 | 1263518.9352
58 | 2747983.6826 | 1263460.1369
59 | 2747989.9171 | 1263449.6289
60 | 2747986.8279 | 1263461.6863
61 | 2748009.3093 | 1263475.6552
62 | 2748001.1662 | 1263470.547
63 | 2747997.1491 | 1263437.4398
64 | 2748004.5029 | 1263425.0452
65 | 2748012.9218 | 1263421.1075
66 | 2748001.8876 | 1263421.1426
67 | 2748012.1562 | 1263417.3736
68 | 2747993.4868 | 1263355.1116
69 | 2748125.2268 | 1263514.628

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1