## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4451-4_1_3_node_25 | 0.4 | n |  | TRUE
1 | bus_LV_4451-4_1_3_node_22 | 0.4 | n |  | TRUE
2 | bus_LV_4451-4_1_3_node_19 | 0.4 | n |  | TRUE
3 | bus_LV_4451-4_1_3_node_20 | 0.4 | n |  | TRUE
4 | bus_LV_4451-4_1_3_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_4451-4_1_3_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_4451-4_1_3_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_4451-4_1_3_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_4451-4_1_3_node_50 | 0.4 | n |  | TRUE
9 | bus_LV_4451-4_1_3_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_4451-4_1_3_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_4451-4_1_3_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_4451-4_1_3_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_4451-4_1_3_node_160 | 0.4 | n |  | TRUE
14 | bus_LV_4451-4_1_3_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_4451-4_1_3_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_4451-4_1_3_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_4451-4_1_3_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_4451-4_1_3_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_4451-4_1_3_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_4451-4_1_3_node_44 | 0.4 | n |  | TRUE
21 | bus_LV_4451-4_1_3_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_4451-4_1_3_node_62 | 0.4 | n |  | TRUE
23 | bus_LV_4451-4_1_3_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_4451-4_1_3_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_4451-4_1_3_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_4451-4_1_3_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_4451-4_1_3_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_4451-4_1_3_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_4451-4_1_3_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_4451-4_1_3_node_163 | 0.4 | n |  | TRUE
31 | bus_LV_4451-4_1_3_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_4451-4_1_3_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_4451-4_1_3_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_4451-4_1_3_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_4451-4_1_3_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_4451-4_1_3_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_4451-4_1_3_node_164 | 0.4 | n |  | TRUE
38 | bus_LV_4451-4_1_3_node_137 | 0.4 | n |  | TRUE
39 | bus_LV_4451-4_1_3_node_165 | 0.4 | n |  | TRUE
40 | bus_LV_4451-4_1_3_node_166 | 0.4 | n |  | TRUE
41 | bus_LV_4451-4_1_3_node_110 | 0.4 | n |  | TRUE
42 | bus_LV_4451-4_1_3_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_4451-4_1_3_node_77 | 0.4 | n |  | TRUE
44 | bus_LV_4451-4_1_3_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_4451-4_1_3_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_4451-4_1_3_node_80 | 0.4 | n |  | TRUE
47 | bus_LV_4451-4_1_3_node_167 | 0.4 | n |  | TRUE
48 | bus_LV_4451-4_1_3_node_98 | 0.4 | n |  | TRUE
49 | bus_LV_4451-4_1_3_node_96 | 0.4 | n |  | TRUE
50 | bus_LV_4451-4_1_3_node_97 | 0.4 | n |  | TRUE
51 | bus_LV_4451-4_1_3_node_94 | 0.4 | n |  | TRUE
52 | bus_LV_4451-4_1_3_node_103 | 0.4 | n |  | TRUE
53 | bus_LV_4451-4_1_3_node_99 | 0.4 | n |  | TRUE
54 | bus_LV_4451-4_1_3_node_133 | 0.4 | n |  | TRUE
55 | bus_LV_4451-4_1_3_node_82 | 0.4 | n |  | TRUE
56 | bus_LV_4451-4_1_3_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_4451-4_1_3_node_87 | 0.4 | n |  | TRUE
58 | bus_LV_4451-4_1_3_node_88 | 0.4 | n |  | TRUE
59 | bus_LV_4451-4_1_3_node_159 | 0.4 | n |  | TRUE
60 | bus_LV_4451-4_1_3_node_111 | 0.4 | n |  | TRUE
61 | bus_LV_4451-4_1_3_node_162 | 0.4 | n |  | TRUE
62 | bus_LV_4451-4_1_3_node_109 | 0.4 | n |  | TRUE
63 | bus_LV_4451-4_1_3_node_161 | 0.4 | n |  | TRUE
64 | bus_LV_4451-4_1_3_node_158 | 0.4 | n |  | TRUE
65 | bus_LV_4451-4_1_3_node_95 | 0.4 | n |  | TRUE
66 | bus_LV_4451-4_1_3_node_130 | 0.4 | n |  | TRUE
67 | bus_LV_4451-4_1_3_node_131 | 0.4 | n |  | TRUE
68 | bus_LV_4451-4_1_3_node_132 | 0.4 | n |  | TRUE
69 | bus_LV_4451-4_1_3_node_102 | 0.4 | n |  | TRUE
70 | bus_LV_4451-4_1_3_node_108 | 0.4 | n |  | TRUE
71 | bus_LV_4451-4_1_3_node_134 | 0.4 | n |  | TRUE
72 | bus_LV_4451-4_1_3_node_100 | 0.4 | n |  | TRUE
73 | bus_LV_4451-4_1_3_node_107 | 0.4 | n |  | TRUE
74 | bus_LV_4451-4_1_3_node_116 | 0.4 | n |  | TRUE
75 | bus_LV_4451-4_1_3_node_117 | 0.4 | n |  | TRUE
76 | bus_LV_4451-4_1_3_node_118 | 0.4 | n |  | TRUE
77 | bus_LV_4451-4_1_3_node_119 | 0.4 | n |  | TRUE
78 | bus_LV_4451-4_1_3_node_120 | 0.4 | n |  | TRUE
79 | bus_LV_4451-4_1_3_node_121 | 0.4 | n |  | TRUE
80 | bus_LV_4451-4_1_3_node_138 | 0.4 | n |  | TRUE
81 | bus_LV_4451-4_1_3_node_135 | 0.4 | n |  | TRUE
82 | bus_LV_4451-4_1_3_node_139 | 0.4 | n |  | TRUE
83 | bus_LV_4451-4_1_3_node_140 | 0.4 | n |  | TRUE
84 | bus_MV_437_0_node_145 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4451-4_1_3_load_25 | 0 | 0.00088808 | 0.00022257 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4451-4_1_3_load_22 | 1 | 0.0022137 | 0.00055479 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4451-4_1_3_load_19 | 2 | 0.0019501 | 0.00048873 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4451-4_1_3_load_20 | 3 | 0.00097474 | 0.00024429 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4451-4_1_3_load_23 | 5 | 0.0014743 | 0.0003695 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4451-4_1_3_load_24 | 6 | 0.001893 | 0.00047442 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4451-4_1_3_load_33 | 7 | 0.0020681 | 0.0005183 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4451-4_1_3_load_50 | 8 | 0.0030874 | 0.00077378 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4451-4_1_3_load_34 | 9 | 0.0042931 | 0.0010759 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4451-4_1_3_load_48 | 10 | 0.0022272 | 0.00055819 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4451-4_1_3_load_35 | 11 | 0.0019789 | 0.00049596 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4451-4_1_3_load_41 | 12 | 0.0015192 | 0.00038074 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4451-4_1_3_load_160 | 13 | 0.00078383 | 0.00019645 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4451-4_1_3_load_36 | 14 | 0.0019388 | 0.00048591 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4451-4_1_3_load_37 | 15 | 0.0039766 | 0.00099663 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4451-4_1_3_load_38 | 16 | 0.0024165 | 0.00060563 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4451-4_1_3_load_39 | 17 | 0.0026448 | 0.00066285 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4451-4_1_3_load_40 | 18 | 0.0031929 | 0.00080021 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4451-4_1_3_load_46 | 19 | 0.0037621 | 0.00094287 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4451-4_1_3_load_44 | 20 | 0.0070513 | 0.0017672 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4451-4_1_3_load_52 | 21 | 0.002035 | 0.00051002 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4451-4_1_3_load_62 | 22 | 0.0059221 | 0.0014842 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4451-4_1_3_load_42 | 23 | 0.0024577 | 0.00061597 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4451-4_1_3_load_51 | 24 | 0.0042891 | 0.001075 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4451-4_1_3_load_43 | 25 | 0.0024719 | 0.00061952 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4451-4_1_3_load_59 | 26 | 0.0054266 | 0.00136 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4451-4_1_3_load_47 | 27 | 0.0024135 | 0.00060487 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4451-4_1_3_load_163 | 30 | 0.0015762 | 0.00039503 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4451-4_1_3_load_58 | 32 | 0.0031707 | 0.00079465 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4451-4_1_3_load_55 | 33 | 0.0010244 | 0.00025674 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4451-4_1_3_load_56 | 34 | 0.0012784 | 0.00032039 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4451-4_1_3_load_137 | 38 | 0.004162 | 0.0010431 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4451-4_1_3_load_165 | 39 | 0.0095726 | 0.0023991 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4451-4_1_3_load_166 | 40 | 0.0095753 | 0.0023998 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4451-4_1_3_load_76 | 42 | 0.01231 | 0.0030851 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4451-4_1_3_load_77 | 43 | 0.0073033 | 0.0018304 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4451-4_1_3_load_80 | 46 | 0.0074368 | 0.0018638 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4451-4_1_3_load_167 | 47 | 0.0082621 | 0.0020707 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4451-4_1_3_load_97 | 50 | 0.0032341 | 0.00081055 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4451-4_1_3_load_94 | 51 | 0.0027354 | 0.00068555 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4451-4_1_3_load_103 | 52 | 0.005979 | 0.0014985 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4451-4_1_3_load_133 | 54 | 0.0073186 | 0.0018342 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4451-4_1_3_load_82 | 55 | 0.0055903 | 0.0014011 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4451-4_1_3_load_87 | 57 | 0.0081539 | 0.0020436 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4451-4_1_3_load_88 | 58 | 0.0014316 | 0.00035879 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4451-4_1_3_load_159 | 59 | 0.0014315 | 0.00035876 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4451-4_1_3_load_111 | 60 | 0.0048134 | 0.0012064 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4451-4_1_3_load_161 | 63 | 0.0021304 | 0.00053393 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4451-4_1_3_load_158 | 64 | 0.00143 | 0.00035839 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4451-4_1_3_load_95 | 65 | 0.004857 | 0.0012173 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4451-4_1_3_load_131 | 67 | 0.0014159 | 0.00035486 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4451-4_1_3_load_132 | 68 | 0.0028782 | 0.00072136 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4451-4_1_3_load_102 | 69 | 0.0048202 | 0.0012081 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4451-4_1_3_load_108 | 70 | 0.0070119 | 0.0017574 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4451-4_1_3_load_134 | 71 | 0.0077594 | 0.0019447 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4451-4_1_3_load_100 | 72 | 0.001927 | 0.00048296 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4451-4_1_3_load_107 | 73 | 0.0093984 | 0.0023555 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4451-4_1_3_load_116 | 74 | 0.0021477 | 0.00053825 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4451-4_1_3_load_117 | 75 | 0.0024484 | 0.00061363 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4451-4_1_3_load_121 | 79 | 0.0060097 | 0.0015062 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4451-4_1_3_load_138 | 80 | 0.0018791 | 0.00047095 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4451-4_1_3_load_135 | 81 | 0.004137 | 0.0010368 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4451-4_1_3_load_140 | 83 | 0.0014314 | 0.00035875 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4451-4_1_3_line_0 |  | 0 | 1 | 0.0058728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4451-4_1_3_line_1 |  | 1 | 3 | 0.014084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4451-4_1_3_line_2 |  | 2 | 3 | 0.0058543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4451-4_1_3_line_3 |  | 2 | 4 | 0.014324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4451-4_1_3_line_4 |  | 4 | 5 | 0.024178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4451-4_1_3_line_5 |  | 4 | 6 | 0.013421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4451-4_1_3_line_6 |  | 5 | 7 | 0.023837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4451-4_1_3_line_7 |  | 6 | 8 | 0.0027289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4451-4_1_3_line_8 |  | 7 | 9 | 0.0013642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4451-4_1_3_line_9 |  | 8 | 10 | 0.021734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4451-4_1_3_line_10 |  | 9 | 11 | 0.024455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4451-4_1_3_line_11 |  | 10 | 27 | 0.0030477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4451-4_1_3_line_12 |  | 11 | 12 | 0.0053659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4451-4_1_3_line_13 |  | 12 | 13 | 0.012565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4451-4_1_3_line_14 |  | 14 | 15 | 0.031244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4451-4_1_3_line_15 |  | 14 | 16 | 0.0061928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4451-4_1_3_line_16 |  | 15 | 17 | 0.030772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_4451-4_1_3_line_17 |  | 16 | 18 | 0.00032831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4451-4_1_3_line_18 |  | 17 | 19 | 0.028192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_4451-4_1_3_line_19 |  | 17 | 20 | 0.014501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4451-4_1_3_line_20 |  | 18 | 21 | 0.039612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4451-4_1_3_line_21 |  | 19 | 22 | 0.0015352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_4451-4_1_3_line_22 |  | 20 | 23 | 0.03746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4451-4_1_3_line_23 |  | 21 | 24 | 0.049228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4451-4_1_3_line_24 |  | 22 | 26 | 0.022836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_4451-4_1_3_line_25 |  | 23 | 25 | 0.023674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4451-4_1_3_line_26 |  | 24 | 28 | 0.011252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4451-4_1_3_line_27 |  | 26 | 35 | 0.020494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_4451-4_1_3_line_28 |  | 27 | 28 | 0.017059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4451-4_1_3_line_29 |  | 29 | 30 | 0.06533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4451-4_1_3_line_30 |  | 29 | 31 | 0.081792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4451-4_1_3_line_31 |  | 31 | 32 | 0.041947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4451-4_1_3_line_32 |  | 32 | 34 | 0.016145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4451-4_1_3_line_33 |  | 33 | 34 | 0.00048466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4451-4_1_3_line_34 |  | 33 | 35 | 0.022024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4451-4_1_3_line_35 |  | 35 | 36 | 0.044817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_4451-4_1_3_line_36 |  | 36 | 37 | 0.029656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4451-4_1_3_line_37 |  | 36 | 38 | 0.004588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_4451-4_1_3_line_38 |  | 37 | 39 | 0.004731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4451-4_1_3_line_39 |  | 37 | 40 | 0.025258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4451-4_1_3_line_40 |  | 38 | 41 | 0.022521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_4451-4_1_3_line_41 |  | 41 | 70 | 0.027838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4451-4_1_3_line_42 |  | 41 | 53 | 0.053956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_4451-4_1_3_line_43 |  | 42 | 43 | 0.0080687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4451-4_1_3_line_44 |  | 42 | 44 | 0.0097582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4451-4_1_3_line_45 |  | 44 | 45 | 0.016317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4451-4_1_3_line_46 |  | 44 | 46 | 0.011087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4451-4_1_3_line_47 |  | 45 | 47 | 0.027009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_4451-4_1_3_line_48 |  | 45 | 48 | 0.065019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_4451-4_1_3_line_49 |  | 48 | 52 | 0.054714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4451-4_1_3_line_50 |  | 48 | 49 | 0.03812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_4451-4_1_3_line_51 |  | 49 | 50 | 0.01083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4451-4_1_3_line_52 |  | 49 | 51 | 0.025279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4451-4_1_3_line_53 |  | 50 | 66 | 0.019414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_4451-4_1_3_line_54 |  | 51 | 65 | 0.0028835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4451-4_1_3_line_55 |  | 52 | 69 | 0.0089885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4451-4_1_3_line_56 |  | 53 | 54 | 0.016948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_4451-4_1_3_line_57 |  | 54 | 71 | 0.002307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_4451-4_1_3_line_58 |  | 55 | 56 | 0.045812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4451-4_1_3_line_59 |  | 56 | 57 | 0.048383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4451-4_1_3_line_60 |  | 56 | 58 | 0.016092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4451-4_1_3_line_61 |  | 58 | 59 | 0.00048879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4451-4_1_3_line_62 |  | 59 | 64 | 0.0024178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4451-4_1_3_line_63 |  | 60 | 61 | 0.14452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4451-4_1_3_line_64 |  | 60 | 62 | 0.038627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4451-4_1_3_line_65 |  | 61 | 63 | 0.060994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4451-4_1_3_line_66 |  | 62 | 73 | 0.023904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4451-4_1_3_line_67 |  | 64 | 83 | 0.013477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4451-4_1_3_line_68 |  | 66 | 67 | 0.010767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_4451-4_1_3_line_69 |  | 66 | 68 | 0.02286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4451-4_1_3_line_70 |  | 67 | 82 | 0.0029111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_4451-4_1_3_line_71 |  | 69 | 72 | 0.032519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4451-4_1_3_line_72 |  | 70 | 73 | 0.014134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4451-4_1_3_line_73 |  | 71 | 81 | 0.027365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_4451-4_1_3_line_74 |  | 74 | 75 | 0.016884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_4451-4_1_3_line_75 |  | 74 | 76 | 0.0048427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_4451-4_1_3_line_76 |  | 75 | 77 | 0.0053777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_4451-4_1_3_line_77 |  | 76 | 78 | 0.008486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_4451-4_1_3_line_78 |  | 77 | 79 | 0.016966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_4451-4_1_3_line_79 |  | 78 | 80 | 0.0030179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_4451-4_1_3_line_80 |  | 79 | 81 | 0.016686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_4451-4_1_3_line_81 |  | 80 | 82 | 0.012263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_4451-4_1_3_line_82 |  | 82 | 83 | 0.01372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4451-4_1_3_trafo_167 | 0.63 MVA 20/0.4 kV | 84 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2743562.4981 | 1271856.286 | 2743565.4026 | 1271851.1817
1 | 2743562.4981 | 1271856.286 | 2743555.533 | 1271868.5266
2 | 2743552.1378 | 1271873.2831 | 2743554.8078 | 1271869.8011 | 2743555.533 | 1271868.5266
3 | 2743543.4218 | 1271884.6504 | 2743552.1378 | 1271873.2831
4 | 2743543.4218 | 1271884.6504 | 2743552.7281 | 1271892.7959 | 2743558.7944 | 1271902.9295
5 | 2743543.4218 | 1271884.6504 | 2743539.8093 | 1271889.612 | 2743534.814 | 1271894.913
6 | 2743571.0378 | 1271923.3819 | 2743558.7944 | 1271902.9295
7 | 2743532.9425 | 1271896.899 | 2743534.814 | 1271894.913
8 | 2743571.0378 | 1271923.3819 | 2743571.7385 | 1271924.5524
9 | 2743515.6943 | 1271910.0278 | 2743530.4854 | 1271899.5064 | 2743532.9425 | 1271896.899
10 | 2743584.2996 | 1271945.5355 | 2743571.7385 | 1271924.5524
11 | 2743513.2109 | 1271911.7944 | 2743515.6943 | 1271910.0278
12 | 2743584.2996 | 1271945.5355 | 2743587.0557 | 1271950.1394
13 | 2743587.0557 | 1271950.1394 | 2743593.5096 | 1271960.9206
14 | 2743471.8054 | 1271869.1597 | 2743454.735 | 1271842.9919
15 | 2743471.8054 | 1271869.1597 | 2743475.189 | 1271874.3464
16 | 2743437.9223 | 1271817.2193 | 2743454.735 | 1271842.9919
17 | 2743475.3683 | 1271874.6214 | 2743475.189 | 1271874.3464
18 | 2743437.9223 | 1271817.2193 | 2743421.6931 | 1271823.5871 | 2743411.9085 | 1271828.0589
19 | 2743437.9223 | 1271817.2193 | 2743451.8408 | 1271813.1488
20 | 2743475.3683 | 1271874.6214 | 2743478.884 | 1271880.0107 | 2743451.1757 | 1271898.2586
21 | 2743410.5122 | 1271828.697 | 2743411.9085 | 1271828.0589
22 | 2743451.8408 | 1271813.1488 | 2743487.7944 | 1271802.6342
23 | 2743451.1757 | 1271898.2586 | 2743490.1926 | 1271928.276
24 | 2743390.2125 | 1271839.1346 | 2743394.6919 | 1271836.5889 | 2743405.8415 | 1271830.8317 | 2743410.5122 | 1271828.697
25 | 2743487.7944 | 1271802.6342 | 2743491.8193 | 1271801.4572 | 2743510.5744 | 1271796.1906
26 | 2743499.3103 | 1271921.6823 | 2743490.1926 | 1271928.276
27 | 2743372.7056 | 1271849.7795 | 2743383.7874 | 1271842.786 | 2743390.2125 | 1271839.1346
28 | 2743499.3103 | 1271921.6823 | 2743513.2109 | 1271911.7944
29 | 2743347.3345 | 1271905.0302 | 2743365.7596 | 1271933.3949 | 2743339.1933 | 1271950.5117
30 | 2743307.8554 | 1271897.6425 | 2743300.3665 | 1271903.2664 | 2743303.4883 | 1271907.0348 | 2743295.5211 | 1271912.8362 | 2743339.1933 | 1271950.5117
31 | 2743307.8554 | 1271897.6425 | 2743341.6058 | 1271872.7329
32 | 2743354.5956 | 1271863.1457 | 2743341.6058 | 1271872.7329
33 | 2743354.9856 | 1271862.8579 | 2743354.5956 | 1271863.1457
34 | 2743372.7056 | 1271849.7795 | 2743354.9856 | 1271862.8579
35 | 2743343.2151 | 1271815.9519 | 2743372.7056 | 1271849.7795
36 | 2743361.4511 | 1271795.1292 | 2743362.8182 | 1271797.7094 | 2743343.2151 | 1271815.9519
37 | 2743343.2151 | 1271815.9519 | 2743340.1988 | 1271812.4863
38 | 2743359.2501 | 1271790.9382 | 2743361.4511 | 1271795.1292
39 | 2743377.7461 | 1271780.4767 | 2743379.2672 | 1271785.0849 | 2743361.4511 | 1271795.1292
40 | 2743340.1988 | 1271812.4863 | 2743325.3803 | 1271795.4874
41 | 2743325.3803 | 1271795.4874 | 2743305.4356 | 1271776.0665
42 | 2743345.8371 | 1271753.8754 | 2743341.3657 | 1271754.8567 | 2743337.1316 | 1271756.6002 | 2743333.2571 | 1271759.0308 | 2743330.3354 | 1271761.5847 | 2743327.8181 | 1271764.5265 | 2743325.7593 | 1271767.8021 | 2743323.9532 | 1271771.829 | 2743322.7888 | 1271776.0827 | 2743322.2985 | 1271780.4641 | 2743322.5818 | 1271785.5317 | 2743323.7639 | 1271790.4653 | 2743325.3803 | 1271795.4874
43 | 2743452.6726 | 1271748.186 | 2743450.6165 | 1271755.9883
44 | 2743441.9725 | 1271760.5162 | 2743450.6165 | 1271755.9883
45 | 2743441.9725 | 1271760.5162 | 2743427.2236 | 1271767.5873
46 | 2743437.8809 | 1271750.2065 | 2743441.9725 | 1271760.5162
47 | 2743406.2332 | 1271766.4209 | 2743410.753 | 1271774.283 | 2743419.4421 | 1271772.2364 | 2743427.2236 | 1271767.5873
48 | 2743427.2236 | 1271767.5873 | 2743409.3462 | 1271733.3966 | 2743422.7496 | 1271726.5708 | 2743432.8637 | 1271721.3223
49 | 2743432.8637 | 1271721.3223 | 2743453.6377 | 1271710.6606 | 2743471.2239 | 1271716.894 | 2743478.5794 | 1271727.2544
50 | 2743410.7321 | 1271702.6995 | 2743422.7496 | 1271726.5708 | 2743432.8637 | 1271721.3223
51 | 2743410.7321 | 1271702.6995 | 2743405.8371 | 1271693.0387
52 | 2743410.7321 | 1271702.6995 | 2743433.4249 | 1271691.5616
53 | 2743392.4754 | 1271679.7665 | 2743402.5671 | 1271686.585 | 2743405.8371 | 1271693.0387
54 | 2743433.4249 | 1271691.5616 | 2743436.0134 | 1271690.2912
55 | 2743483.7829 | 1271734.5836 | 2743483.7829 | 1271734.5836 | 2743478.5794 | 1271727.2544
56 | 2743345.8371 | 1271753.8754 | 2743338.3394 | 1271738.6757
57 | 2743338.3394 | 1271738.6757 | 2743337.3188 | 1271736.6067
58 | 2743360.0064 | 1271630.3508 | 2743385.8602 | 1271592.5311
59 | 2743360.0064 | 1271630.3508 | 2743339.6079 | 1271657.7721 | 2743331.7051 | 1271669.5773
60 | 2743360.0064 | 1271630.3508 | 2743365.8007 | 1271639.3561 | 2743368.1054 | 1271644.2213
61 | 2743368.3147 | 1271644.663 | 2743368.1054 | 1271644.2213
62 | 2743369.4594 | 1271646.7899 | 2743368.7643 | 1271645.6121 | 2743368.3147 | 1271644.663
63 | 2743299.6707 | 1271717.4306 | 2743172.3748 | 1271649.0069
64 | 2743278.1827 | 1271749.5293 | 2743299.6707 | 1271717.4306
65 | 2743172.3748 | 1271649.0069 | 2743180.1322 | 1271625.1933 | 2743185.9123 | 1271611.5308 | 2743193.3925 | 1271591.7867
66 | 2743278.1827 | 1271749.5293 | 2743295.3091 | 1271766.2059
67 | 2743378.6382 | 1271656.2186 | 2743372.5735 | 1271652.0666 | 2743369.4594 | 1271646.7899
68 | 2743392.4754 | 1271679.7665 | 2743387.134 | 1271670.4174
69 | 2743412.6161 | 1271668.8445 | 2743402.4969 | 1271674.3043 | 2743392.4754 | 1271679.7665
70 | 2743385.69 | 1271667.8898 | 2743387.134 | 1271670.4174
71 | 2743512.285 | 1271718.9271 | 2743483.7829 | 1271734.5836
72 | 2743295.3091 | 1271766.2059 | 2743305.4356 | 1271776.0665
73 | 2743338.5585 | 1271716.3204 | 2743329.6779 | 1271721.117 | 2743337.3188 | 1271736.6067
74 | 2743360.593 | 1271681.6644 | 2743352.8037 | 1271685.8206 | 2743356.6161 | 1271692.9162
75 | 2743364.8656 | 1271679.3847 | 2743360.593 | 1271681.6644
76 | 2743359.1613 | 1271697.6535 | 2743356.6161 | 1271692.9162
77 | 2743372.3106 | 1271675.2724 | 2743364.8656 | 1271679.3847
78 | 2743359.1613 | 1271697.6535 | 2743362.331 | 1271703.4807 | 2743353.2396 | 1271708.391
79 | 2743372.3106 | 1271675.2724 | 2743374.9529 | 1271673.8144
80 | 2743338.5585 | 1271716.3204 | 2743353.2396 | 1271708.391
81 | 2743385.69 | 1271667.8898 | 2743374.9529 | 1271673.8144
82 | 2743385.69 | 1271667.8898 | 2743379.3616 | 1271656.7138 | 2743378.6382 | 1271656.2186

## bus_geodata
| x | y | coords
0 | 2743565.4026 | 1271851.1817
1 | 2743562.4981 | 1271856.286
2 | 2743552.1378 | 1271873.2831
3 | 2743555.533 | 1271868.5266
4 | 2743543.4218 | 1271884.6504
5 | 2743558.7944 | 1271902.9295
6 | 2743534.814 | 1271894.913
7 | 2743571.0378 | 1271923.3819
8 | 2743532.9425 | 1271896.899
9 | 2743571.7385 | 1271924.5524
10 | 2743515.6943 | 1271910.0278
11 | 2743584.2996 | 1271945.5355
12 | 2743587.0557 | 1271950.1394
13 | 2743593.5096 | 1271960.9206
14 | 2743471.8054 | 1271869.1597
15 | 2743454.735 | 1271842.9919
16 | 2743475.189 | 1271874.3464
17 | 2743437.9223 | 1271817.2193
18 | 2743475.3683 | 1271874.6214
19 | 2743411.9085 | 1271828.0589
20 | 2743451.8408 | 1271813.1488
21 | 2743451.1757 | 1271898.2586
22 | 2743410.5122 | 1271828.697
23 | 2743487.7944 | 1271802.6342
24 | 2743490.1926 | 1271928.276
25 | 2743510.5744 | 1271796.1906
26 | 2743390.2125 | 1271839.1346
27 | 2743513.2109 | 1271911.7944
28 | 2743499.3103 | 1271921.6823
29 | 2743339.1933 | 1271950.5117
30 | 2743347.3345 | 1271905.0302
31 | 2743307.8554 | 1271897.6425
32 | 2743341.6058 | 1271872.7329
33 | 2743354.9856 | 1271862.8579
34 | 2743354.5956 | 1271863.1457
35 | 2743372.7056 | 1271849.7795
36 | 2743343.2151 | 1271815.9519
37 | 2743361.4511 | 1271795.1292
38 | 2743340.1988 | 1271812.4863
39 | 2743359.2501 | 1271790.9382
40 | 2743377.7461 | 1271780.4767
41 | 2743325.3803 | 1271795.4874
42 | 2743450.6165 | 1271755.9883
43 | 2743452.6726 | 1271748.186
44 | 2743441.9725 | 1271760.5162
45 | 2743427.2236 | 1271767.5874
46 | 2743437.8809 | 1271750.2065
47 | 2743406.2332 | 1271766.4209
48 | 2743432.8637 | 1271721.3223
49 | 2743410.7321 | 1271702.6995
50 | 2743405.8371 | 1271693.0387
51 | 2743433.4249 | 1271691.5616
52 | 2743478.5794 | 1271727.2544
53 | 2743345.8371 | 1271753.8754
54 | 2743338.3394 | 1271738.6757
55 | 2743385.8602 | 1271592.5311
56 | 2743360.0064 | 1271630.3508
57 | 2743331.7051 | 1271669.5773
58 | 2743368.1054 | 1271644.2213
59 | 2743368.3147 | 1271644.663
60 | 2743299.6707 | 1271717.4306
61 | 2743172.3748 | 1271649.0069
62 | 2743278.1827 | 1271749.5293
63 | 2743193.3925 | 1271591.7867
64 | 2743369.4594 | 1271646.7899
65 | 2743436.0134 | 1271690.2912
66 | 2743392.4754 | 1271679.7665
67 | 2743387.134 | 1271670.4174
68 | 2743412.6161 | 1271668.8445
69 | 2743483.7829 | 1271734.5836
70 | 2743305.4356 | 1271776.0665
71 | 2743337.3188 | 1271736.6067
72 | 2743512.285 | 1271718.9271
73 | 2743295.3091 | 1271766.2059
74 | 2743360.593 | 1271681.6644
75 | 2743356.6161 | 1271692.9162
76 | 2743364.8656 | 1271679.3847
77 | 2743359.1613 | 1271697.6535
78 | 2743372.3106 | 1271675.2724
79 | 2743353.2396 | 1271708.391
80 | 2743374.9529 | 1271673.8144
81 | 2743338.5585 | 1271716.3204
82 | 2743385.69 | 1271667.8898
83 | 2743378.6382 | 1271656.2186
84 | 2743427.2236 | 1271767.5874

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1