## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4451-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4451-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4451-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4451-6_0_3_node_51 | 0.4 | n |  | TRUE
4 | bus_LV_4451-6_0_3_node_52 | 0.4 | n |  | TRUE
5 | bus_LV_4451-6_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_4451-6_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4451-6_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4451-6_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4451-6_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_4451-6_0_3_node_82 | 0.4 | n |  | TRUE
11 | bus_LV_4451-6_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4451-6_0_3_node_75 | 0.4 | n |  | TRUE
13 | bus_LV_4451-6_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4451-6_0_3_node_69 | 0.4 | n |  | TRUE
15 | bus_LV_4451-6_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4451-6_0_3_node_68 | 0.4 | n |  | TRUE
17 | bus_LV_4451-6_0_3_node_66 | 0.4 | n |  | TRUE
18 | bus_LV_4451-6_0_3_node_80 | 0.4 | n |  | TRUE
19 | bus_LV_4451-6_0_3_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_4451-6_0_3_node_64 | 0.4 | n |  | TRUE
21 | bus_LV_4451-6_0_3_node_72 | 0.4 | n |  | TRUE
22 | bus_LV_4451-6_0_3_node_62 | 0.4 | n |  | TRUE
23 | bus_LV_4451-6_0_3_node_73 | 0.4 | n |  | TRUE
24 | bus_LV_4451-6_0_3_node_74 | 0.4 | n |  | TRUE
25 | bus_LV_4451-6_0_3_node_76 | 0.4 | n |  | TRUE
26 | bus_LV_4451-6_0_3_node_77 | 0.4 | n |  | TRUE
27 | bus_LV_4451-6_0_3_node_79 | 0.4 | n |  | TRUE
28 | bus_LV_4451-6_0_3_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_4451-6_0_3_node_11 | 0.4 | n |  | TRUE
30 | bus_LV_4451-6_0_3_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_4451-6_0_3_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_4451-6_0_3_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_4451-6_0_3_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_4451-6_0_3_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_4451-6_0_3_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_4451-6_0_3_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_4451-6_0_3_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_4451-6_0_3_node_81 | 0.4 | n |  | TRUE
39 | bus_LV_4451-6_0_3_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_4451-6_0_3_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_4451-6_0_3_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_4451-6_0_3_node_17 | 0.4 | n |  | TRUE
43 | bus_LV_4451-6_0_3_node_18 | 0.4 | n |  | TRUE
44 | bus_LV_4451-6_0_3_node_19 | 0.4 | n |  | TRUE
45 | bus_LV_4451-6_0_3_node_20 | 0.4 | n |  | TRUE
46 | bus_LV_4451-6_0_3_node_21 | 0.4 | n |  | TRUE
47 | bus_LV_4451-6_0_3_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_4451-6_0_3_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_4451-6_0_3_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_4451-6_0_3_node_22 | 0.4 | n |  | TRUE
51 | bus_LV_4451-6_0_3_node_23 | 0.4 | n |  | TRUE
52 | bus_LV_4451-6_0_3_node_24 | 0.4 | n |  | TRUE
53 | bus_LV_4451-6_0_3_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_4451-6_0_3_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_4451-6_0_3_node_27 | 0.4 | n |  | TRUE
56 | bus_LV_4451-6_0_3_node_26 | 0.4 | n |  | TRUE
57 | bus_LV_4451-6_0_3_node_28 | 0.4 | n |  | TRUE
58 | bus_LV_4451-6_0_3_node_30 | 0.4 | n |  | TRUE
59 | bus_LV_4451-6_0_3_node_31 | 0.4 | n |  | TRUE
60 | bus_LV_4451-6_0_3_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_4451-6_0_3_node_32 | 0.4 | n |  | TRUE
62 | bus_LV_4451-6_0_3_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_4451-6_0_3_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_4451-6_0_3_node_35 | 0.4 | n |  | TRUE
65 | bus_LV_4451-6_0_3_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_4451-6_0_3_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_4451-6_0_3_node_36 | 0.4 | n |  | TRUE
68 | bus_LV_4451-6_0_3_node_37 | 0.4 | n |  | TRUE
69 | bus_LV_4451-6_0_3_node_38 | 0.4 | n |  | TRUE
70 | bus_LV_4451-6_0_3_node_39 | 0.4 | n |  | TRUE
71 | bus_LV_4451-6_0_3_node_41 | 0.4 | n |  | TRUE
72 | bus_LV_4451-6_0_3_node_42 | 0.4 | n |  | TRUE
73 | bus_LV_4451-6_0_3_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_4451-6_0_3_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_4451-6_0_3_node_48 | 0.4 | n |  | TRUE
76 | bus_LV_4451-6_0_3_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_4451-6_0_3_node_61 | 0.4 | n |  | TRUE
78 | bus_MV_437_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4451-6_0_3_load_0 | 0 | 0.0041303 | 0.0010351 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4451-6_0_3_load_1 | 1 | 0.0019659 | 0.00049269 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4451-6_0_3_load_2 | 2 | 0.0028843 | 0.00072287 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4451-6_0_3_load_51 | 3 | 0.0036125 | 0.00090537 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4451-6_0_3_load_3 | 5 | 0.010313 | 0.0025848 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4451-6_0_3_load_82 | 10 | 0.00081967 | 0.00020543 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4451-6_0_3_load_69 | 14 | 0.0045618 | 0.0011433 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4451-6_0_3_load_68 | 16 | 0.0019492 | 0.00048851 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4451-6_0_3_load_80 | 18 | 0.00057897 | 0.0001451 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4451-6_0_3_load_72 | 21 | 0.0014833 | 0.00037175 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4451-6_0_3_load_74 | 24 | 0.0009596 | 0.0002405 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4451-6_0_3_load_79 | 27 | 0.0016943 | 0.00042463 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4451-6_0_3_load_78 | 28 | 0.0015806 | 0.00039613 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4451-6_0_3_load_11 | 29 | 0.0017017 | 0.00042648 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4451-6_0_3_load_12 | 30 | 0.0022586 | 0.00056606 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4451-6_0_3_load_14 | 32 | 0.0016999 | 0.00042604 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4451-6_0_3_load_15 | 33 | 0.0056408 | 0.0014137 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4451-6_0_3_load_49 | 35 | 0.0016931 | 0.00042433 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4451-6_0_3_load_70 | 36 | 0.00052923 | 0.00013264 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4451-6_0_3_load_81 | 38 | 0.0073939 | 0.0018531 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4451-6_0_3_load_47 | 39 | 0.0036707 | 0.00091997 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4451-6_0_3_load_71 | 40 | 0.0006654 | 0.00016676 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4451-6_0_3_load_83 | 41 | 0.0004665 | 0.00011692 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4451-6_0_3_load_17 | 42 | 0.0091915 | 0.0023036 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4451-6_0_3_load_18 | 43 | 0.0021724 | 0.00054444 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4451-6_0_3_load_19 | 44 | 0.0019146 | 0.00047984 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4451-6_0_3_load_20 | 45 | 0.010414 | 0.00261 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4451-6_0_3_load_21 | 46 | 0.0032426 | 0.00081267 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4451-6_0_3_load_25 | 47 | 0.0077608 | 0.001945 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4451-6_0_3_load_46 | 48 | 0.0019048 | 0.00047738 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4451-6_0_3_load_50 | 49 | 0.0025788 | 0.0006463 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4451-6_0_3_load_22 | 50 | 0.002293 | 0.00057468 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4451-6_0_3_load_23 | 51 | 0.0025426 | 0.00063723 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4451-6_0_3_load_24 | 52 | 0.00087695 | 0.00021978 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4451-6_0_3_load_45 | 54 | 0.0032513 | 0.00081486 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4451-6_0_3_load_27 | 55 | 0.00093173 | 0.00023351 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4451-6_0_3_load_26 | 56 | 0.001143 | 0.00028645 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4451-6_0_3_load_30 | 58 | 0.0016888 | 0.00042326 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4451-6_0_3_load_59 | 62 | 0.0024985 | 0.00062618 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4451-6_0_3_load_53 | 63 | 0.010505 | 0.0026328 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4451-6_0_3_load_35 | 64 | 0.014949 | 0.0037466 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4451-6_0_3_load_57 | 65 | 0.014205 | 0.00356 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4451-6_0_3_load_58 | 66 | 0.0014936 | 0.00037434 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4451-6_0_3_load_36 | 67 | 0.0022736 | 0.00056983 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4451-6_0_3_load_37 | 68 | 0.041957 | 0.010515 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4451-6_0_3_load_39 | 70 | 0.02043 | 0.0051202 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4451-6_0_3_load_41 | 71 | 0.0068511 | 0.001717 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4451-6_0_3_load_42 | 72 | 0.0024436 | 0.00061243 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4451-6_0_3_load_56 | 74 | 0.0059638 | 0.0014947 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4451-6_0_3_load_48 | 75 | 0.0032587 | 0.0008167 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4451-6_0_3_load_60 | 76 | 0.0018785 | 0.0004708 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4451-6_0_3_load_61 | 77 | 0.0022757 | 0.00057035 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4451-6_0_3_line_0 |  | 0 | 1 | 0.014113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4451-6_0_3_line_1 |  | 1 | 2 | 0.018044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4451-6_0_3_line_2 |  | 2 | 3 | 0.003392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4451-6_0_3_line_3 |  | 3 | 4 | 0.016815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4451-6_0_3_line_4 |  | 4 | 49 | 0.036912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4451-6_0_3_line_5 |  | 4 | 46 | 0.016065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4451-6_0_3_line_6 |  | 5 | 6 | 0.094402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4451-6_0_3_line_7 |  | 6 | 7 | 0.17113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4451-6_0_3_line_8 |  | 7 | 13 | 0.017981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4451-6_0_3_line_9 |  | 7 | 14 | 0.026164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4451-6_0_3_line_10 |  | 8 | 9 | 0.12924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4451-6_0_3_line_11 |  | 8 | 10 | 0.11532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4451-6_0_3_line_12 |  | 9 | 17 | 0.034771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4451-6_0_3_line_13 |  | 9 | 18 | 0.034968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4451-6_0_3_line_14 |  | 11 | 12 | 0.09425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4451-6_0_3_line_15 |  | 11 | 13 | 0.048349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4451-6_0_3_line_16 |  | 12 | 19 | 0.041386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4451-6_0_3_line_17 |  | 14 | 15 | 0.044194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4451-6_0_3_line_18 |  | 15 | 16 | 0.0067658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4451-6_0_3_line_19 |  | 17 | 28 | 0.03323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4451-6_0_3_line_20 |  | 19 | 38 | 0.01849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4451-6_0_3_line_21 |  | 19 | 69 | 0.064707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_4451-6_0_3_line_22 |  | 20 | 21 | 0.019173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4451-6_0_3_line_23 |  | 20 | 22 | 0.016492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4451-6_0_3_line_24 |  | 21 | 23 | 0.0079029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4451-6_0_3_line_25 |  | 22 | 37 | 0.004775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4451-6_0_3_line_26 |  | 22 | 76 | 0.015544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4451-6_0_3_line_27 |  | 23 | 24 | 0.013287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4451-6_0_3_line_28 |  | 24 | 25 | 0.0014534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4451-6_0_3_line_29 |  | 25 | 26 | 0.026339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4451-6_0_3_line_30 |  | 26 | 27 | 0.014817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4451-6_0_3_line_31 |  | 27 | 28 | 0.0024389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4451-6_0_3_line_32 |  | 29 | 30 | 0.017553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4451-6_0_3_line_33 |  | 29 | 31 | 0.061451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4451-6_0_3_line_34 |  | 30 | 32 | 0.019249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4451-6_0_3_line_35 |  | 31 | 33 | 0.021313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4451-6_0_3_line_36 |  | 31 | 34 | 0.011189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4451-6_0_3_line_37 |  | 32 | 35 | 0.023674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4451-6_0_3_line_38 |  | 33 | 36 | 0.00041548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4451-6_0_3_line_39 |  | 34 | 37 | 0.033151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4451-6_0_3_line_40 |  | 34 | 38 | 0.027414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4451-6_0_3_line_41 |  | 35 | 39 | 0.022138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4451-6_0_3_line_42 |  | 36 | 40 | 0.025908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4451-6_0_3_line_43 |  | 37 | 41 | 0.018758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4451-6_0_3_line_44 |  | 39 | 75 | 0.0081808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4451-6_0_3_line_45 |  | 42 | 43 | 0.037987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4451-6_0_3_line_46 |  | 42 | 44 | 0.0047804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4451-6_0_3_line_47 |  | 43 | 45 | 0.033103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4451-6_0_3_line_48 |  | 44 | 46 | 0.028377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4451-6_0_3_line_49 |  | 45 | 47 | 0.023711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4451-6_0_3_line_50 |  | 47 | 48 | 0.012415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4451-6_0_3_line_51 |  | 49 | 75 | 0.021171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4451-6_0_3_line_52 |  | 50 | 51 | 0.028343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4451-6_0_3_line_53 |  | 51 | 52 | 0.023142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4451-6_0_3_line_54 |  | 52 | 53 | 0.013868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4451-6_0_3_line_55 |  | 53 | 54 | 0.047952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4451-6_0_3_line_56 |  | 53 | 55 | 0.055888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4451-6_0_3_line_57 |  | 55 | 56 | 0.032768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4451-6_0_3_line_58 |  | 56 | 57 | 0.033151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4451-6_0_3_line_59 |  | 57 | 58 | 0.068934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4451-6_0_3_line_60 |  | 57 | 59 | 0.19557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4451-6_0_3_line_61 |  | 58 | 60 | 0.046629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4451-6_0_3_line_62 |  | 59 | 61 | 0.15505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4451-6_0_3_line_63 |  | 59 | 62 | 0.12663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4451-6_0_3_line_64 |  | 60 | 64 | 0.028582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4451-6_0_3_line_65 |  | 61 | 63 | 0.028198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4451-6_0_3_line_66 |  | 62 | 65 | 0.0056004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4451-6_0_3_line_67 |  | 64 | 66 | 0.019708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4451-6_0_3_line_68 |  | 65 | 73 | 0.026281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4451-6_0_3_line_69 |  | 67 | 68 | 0.12319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4451-6_0_3_line_70 |  | 67 | 69 | 0.082069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_4451-6_0_3_line_71 |  | 68 | 70 | 0.057022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4451-6_0_3_line_72 |  | 69 | 71 | 0.0075546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4451-6_0_3_line_73 |  | 70 | 72 | 0.035268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4451-6_0_3_line_74 |  | 71 | 73 | 0.035522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4451-6_0_3_line_75 |  | 73 | 74 | 0.092065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4451-6_0_3_line_76 |  | 76 | 77 | 0.0049047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4451-6_0_3_trafo_36 | 0.63 MVA 20/0.4 kV | 78 | 67 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2742910.661 | 1272472.7071 | 2742897.9266 | 1272478.7902
1 | 2742881.6446 | 1272486.5679 | 2742897.9266 | 1272478.7902
2 | 2742881.6446 | 1272486.5679 | 2742878.5839 | 1272488.03
3 | 2742863.2142 | 1272494.8468 | 2742875.7393 | 1272489.3888 | 2742878.5839 | 1272488.03
4 | 2742863.2142 | 1272494.8468 | 2742843.667 | 1272507.2086 | 2742831.5986 | 1272513.868
5 | 2742863.2142 | 1272494.8468 | 2742857.0946 | 1272479.9931
6 | 2742332.3753 | 1272718.9528 | 2742332.4764 | 1272740.0208 | 2742336.4132 | 1272771.4472 | 2742340.7362 | 1272785.3098 | 2742341.7077 | 1272788.7033 | 2742343.5308 | 1272791.728 | 2742346.09 | 1272794.1811 | 2742349.1941 | 1272795.8798 | 2742352.4851 | 1272796.6933 | 2742355.8792 | 1272796.664 | 2742361.4171 | 1272793.8503
7 | 2742332.3753 | 1272718.9528 | 2742376.8517 | 1272694.9231 | 2742386.6316 | 1272705.5919 | 2742396.7542 | 1272698.3175 | 2742437.7636 | 1272674.238 | 2742468.4321 | 1272656.5045 | 2742477.7659 | 1272651.369
8 | 2742493.5513 | 1272642.6745 | 2742477.7659 | 1272651.369
9 | 2742477.7659 | 1272651.369 | 2742481.5506 | 1272658.2228 | 2742483.5244 | 1272661.8629 | 2742490.4501 | 1272674.2526
10 | 2742466.3336 | 1272807.8837 | 2742496.0011 | 1272789.203 | 2742514.5381 | 1272776.8491 | 2742527.4257 | 1272768.8076 | 2742544.8416 | 1272758.64 | 2742554.7418 | 1272753.4182 | 2742575.1716 | 1272738.4075
11 | 2742466.3336 | 1272807.8837 | 2742456.9372 | 1272814.9974 | 2742447.3679 | 1272823.3528 | 2742435.5709 | 1272834.2235 | 2742416.0503 | 1272851.1808 | 2742403.2033 | 1272858.178 | 2742394.4174 | 1272862.7596 | 2742372.807 | 1272874.0755
12 | 2742605.7357 | 1272721.8845 | 2742597.7542 | 1272725.8624 | 2742588.2289 | 1272729.892 | 2742575.1716 | 1272738.4075
13 | 2742575.1716 | 1272738.4075 | 2742562.0117 | 1272706.01
14 | 2742523.0773 | 1272614.0027 | 2742543.7289 | 1272602.2895 | 2742558.4832 | 1272593.9261 | 2742580.5388 | 1272581.4128 | 2742584.0633 | 1272579.4181 | 2742594.3873 | 1272573.7951 | 2742598.7487 | 1272571.4202 | 2742605.7598 | 1272568.9982
15 | 2742493.5513 | 1272642.6745 | 2742490.2196 | 1272632.6396 | 2742512.2749 | 1272620.126 | 2742523.0773 | 1272614.0027
16 | 2742645.6947 | 1272559.8647 | 2742641.4198 | 1272562.7087 | 2742614.4179 | 1272565.9932 | 2742605.7598 | 1272568.9982
17 | 2742512.3957 | 1272712.6106 | 2742497.6298 | 1272686.8951 | 2742496.6081 | 1272685.2688 | 2742490.4501 | 1272674.2526
18 | 2742512.3957 | 1272712.6106 | 2742518.438 | 1272709.5666
19 | 2742605.7357 | 1272721.8845 | 2742591.3898 | 1272691.9108
20 | 2742645.6947 | 1272559.8647 | 2742653.1776 | 1272565.0062 | 2742658.8082 | 1272572.5467
21 | 2742624.4257 | 1272499.0677 | 2742629.5502 | 1272512.7496 | 2742634.2103 | 1272525.4083 | 2742637.4543 | 1272533.4614 | 2742641.2023 | 1272542.7612 | 2742642.5935 | 1272546.2205 | 2742645.2818 | 1272552.6697 | 2742645.6947 | 1272559.8647
22 | 2742635.645 | 1272631.9388 | 2742629.8448 | 1272637.8046 | 2742621.3657 | 1272644.6919
23 | 2742635.645 | 1272631.9388 | 2742647.2459 | 1272620.185
24 | 2742615.2315 | 1272649.6746 | 2742621.3657 | 1272644.6919
25 | 2742650.6087 | 1272616.785 | 2742647.2459 | 1272620.185
26 | 2742647.2459 | 1272620.185 | 2742654.9006 | 1272633.7137
27 | 2742615.2315 | 1272649.6746 | 2742604.923 | 1272658.0575
28 | 2742603.7954 | 1272658.9745 | 2742604.923 | 1272658.0575
29 | 2742603.7954 | 1272658.9745 | 2742583.9401 | 1272676.3458
30 | 2742583.9401 | 1272676.3458 | 2742590.3369 | 1272689.7108
31 | 2742591.3898 | 1272691.9108 | 2742590.3369 | 1272689.7108
32 | 2742749.2708 | 1272554.8182 | 2742733.6035 | 1272556.1185 | 2742732.2081 | 1272557.3049
33 | 2742685.9522 | 1272597.7532 | 2742712.4766 | 1272574.0815 | 2742732.2081 | 1272557.3049
34 | 2742749.2708 | 1272554.8182 | 2742749.2708 | 1272554.8182 | 2742762.1086 | 1272556.33 | 2742767.5629 | 1272553.1323
35 | 2742685.9522 | 1272597.7532 | 2742692.1754 | 1272604.2656 | 2742701.0712 | 1272612.7675
36 | 2742675.2104 | 1272594.5126 | 2742685.9522 | 1272597.7532
37 | 2742787.8055 | 1272540.8696 | 2742782.7324 | 1272544.2387 | 2742767.5629 | 1272553.1323
38 | 2742701.3715 | 1272613.0546 | 2742701.0712 | 1272612.7675
39 | 2742650.6087 | 1272616.785 | 2742656.4245 | 1272610.8974 | 2742664.311 | 1272604.0143 | 2742675.2104 | 1272594.5126
40 | 2742675.2104 | 1272594.5126 | 2742658.8082 | 1272572.5467
41 | 2742806.2473 | 1272528.6223 | 2742787.8055 | 1272540.8696
42 | 2742701.3715 | 1272613.0546 | 2742720.1016 | 1272630.9551
43 | 2742650.6087 | 1272616.785 | 2742637.1483 | 1272603.7209
44 | 2742806.2473 | 1272528.6223 | 2742813.0622 | 1272524.0964 | 2742813.0622 | 1272524.0964
45 | 2742844.1721 | 1272449.4627 | 2742840.1397 | 1272440.6341 | 2742815.1254 | 1272453.8286
46 | 2742846.1581 | 1272453.811 | 2742844.1721 | 1272449.4627
47 | 2742785.8463 | 1272469.2727 | 2742815.1254 | 1272453.8286
48 | 2742846.1581 | 1272453.811 | 2742847.6857 | 1272457.1555 | 2742857.0946 | 1272479.9931
49 | 2742764.874 | 1272480.3351 | 2742785.8463 | 1272469.2727
50 | 2742753.893 | 1272486.1273 | 2742764.874 | 1272480.3351
51 | 2742813.0622 | 1272524.0964 | 2742831.5986 | 1272513.868
52 | 2742373.1567 | 1272456.1346 | 2742373.831 | 1272455.321 | 2742379.2375 | 1272448.6113 | 2742378.9846 | 1272442.5658 | 2742375.5117 | 1272434.9411 | 2742372.9239 | 1272431.5825
53 | 2742362.4275 | 1272476.3672 | 2742362.4275 | 1272476.3672 | 2742365.4611 | 1272467.5871 | 2742369.2583 | 1272460.8385 | 2742373.1567 | 1272456.1346
54 | 2742366.5483 | 1272489.2572 | 2742364.9873 | 1272486.5947 | 2742362.6822 | 1272482.0234 | 2742362.4275 | 1272476.3672
55 | 2742366.5483 | 1272489.2572 | 2742327.527 | 1272511.0496 | 2742324.7677 | 1272512.7811
56 | 2742366.5483 | 1272489.2572 | 2742400.3153 | 1272469.7519 | 2742415.0266 | 1272461.4489
57 | 2742415.0266 | 1272461.4489 | 2742443.5628 | 1272445.3431
58 | 2742471.7485 | 1272427.8996 | 2742447.7495 | 1272442.9802 | 2742443.5628 | 1272445.3431
59 | 2742471.7485 | 1272427.8996 | 2742461.0653 | 1272418.7882 | 2742437.3896 | 1272396.4836 | 2742421.7402 | 1272380.5046
60 | 2742471.7485 | 1272427.8996 | 2742475.9703 | 1272432.862 | 2742511.8858 | 1272412.2858 | 2742641.1834 | 1272340.9582
61 | 2742396.2801 | 1272343.5836 | 2742395.5408 | 1272348.3372 | 2742398.4298 | 1272354.9023 | 2742405.133 | 1272361.5039 | 2742420.8444 | 1272379.5899 | 2742421.7402 | 1272380.5046
62 | 2742641.1834 | 1272340.9582 | 2742655.6919 | 1272333.1453 | 2742658.8855 | 1272338.9282 | 2742738.4865 | 1272293.6619 | 2742745.0149 | 1272290.0605 | 2742750.596 | 1272299.7941 | 2742754.9858 | 1272307.4523 | 2742766.2733 | 1272301.219
63 | 2742641.1834 | 1272340.9582 | 2742644.5693 | 1272346.8793 | 2742647.0327 | 1272351.4322 | 2742648.256 | 1272356.5447 | 2742647.5976 | 1272360.4327 | 2742644.959 | 1272363.4386 | 2742641.8842 | 1272366.1226 | 2742635.2649 | 1272368.5096 | 2742611.6089 | 1272375.2895 | 2742601.5856 | 1272380.9086 | 2742594.524 | 1272388.8349 | 2742591.5689 | 1272399.3297 | 2742590.9922 | 1272409.804 | 2742593.4359 | 1272419.5283 | 2742598.5762 | 1272430.5707
64 | 2742396.2801 | 1272343.5836 | 2742402.9072 | 1272336.503 | 2742417.3738 | 1272324.3662
65 | 2742766.2733 | 1272301.219 | 2742780.2302 | 1272325.7205
66 | 2742598.5762 | 1272430.5707 | 2742600.9396 | 1272435.6479
67 | 2742432.5608 | 1272311.8108 | 2742430.1492 | 1272313.6482 | 2742417.3738 | 1272324.3662
68 | 2742603.5435 | 1272461.7815 | 2742602.2061 | 1272452.9848 | 2742600.9396 | 1272435.6479
69 | 2742795.1522 | 1272426.5542 | 2742795.1522 | 1272426.5542 | 2742789.1333 | 1272432.4256 | 2742782.9513 | 1272440.6845 | 2742775.6532 | 1272448.4269 | 2742766.5581 | 1272454.2462 | 2742752.6158 | 1272462.295 | 2742694.014 | 1272494.6234
70 | 2742624.4257 | 1272499.0677 | 2742627.0776 | 1272497.3745 | 2742631.3628 | 1272495.6652 | 2742635.7234 | 1272497.0608 | 2742640.2571 | 1272503.7437 | 2742645.5883 | 1272509.5005 | 2742652.6168 | 1272512.8959 | 2742661.6641 | 1272512.4696 | 2742694.014 | 1272494.6234
71 | 2742795.1522 | 1272426.5542 | 2742806.5713 | 1272422.3372 | 2742815.1783 | 1272420.8327 | 2742824.8866 | 1272417.0415 | 2742830.8279 | 1272411.5797 | 2742837.2503 | 1272404.5836 | 2742843.5375 | 1272399.4416
72 | 2742624.4257 | 1272499.0677 | 2742621.4817 | 1272492.1103
73 | 2742843.5375 | 1272399.4416 | 2742843.5375 | 1272399.4416 | 2742850.7889 | 1272396.1248 | 2742866.8948 | 1272392.889 | 2742876.2394 | 1272387.3428
74 | 2742603.5435 | 1272461.7815 | 2742607.7206 | 1272470.1463 | 2742614.8837 | 1272478.2497 | 2742619.7564 | 1272488.0327 | 2742621.4817 | 1272492.1103
75 | 2742603.5435 | 1272461.7815 | 2742620.1298 | 1272461.6931 | 2742646.2353 | 1272451.0018 | 2742629.5956 | 1272406.6109
76 | 2742654.9006 | 1272633.7137 | 2742657.3159 | 1272637.9825

## bus_geodata
| x | y | coords
0 | 2742910.661 | 1272472.7071
1 | 2742897.9266 | 1272478.7902
2 | 2742881.6446 | 1272486.5679
3 | 2742878.5839 | 1272488.03
4 | 2742863.2142 | 1272494.8468
5 | 2742361.4171 | 1272793.8503
6 | 2742332.3753 | 1272718.9528
7 | 2742477.7659 | 1272651.369
8 | 2742466.3336 | 1272807.8837
9 | 2742575.1716 | 1272738.4075
10 | 2742372.807 | 1272874.0755
11 | 2742523.0774 | 1272614.0027
12 | 2742605.7598 | 1272568.9982
13 | 2742493.5513 | 1272642.6745
14 | 2742490.4501 | 1272674.2526
15 | 2742512.3957 | 1272712.6106
16 | 2742518.438 | 1272709.5666
17 | 2742605.7357 | 1272721.8845
18 | 2742562.0117 | 1272706.01
19 | 2742645.6947 | 1272559.8647
20 | 2742635.645 | 1272631.9388
21 | 2742621.3657 | 1272644.6919
22 | 2742647.2459 | 1272620.185
23 | 2742615.2315 | 1272649.6746
24 | 2742604.923 | 1272658.0575
25 | 2742603.7954 | 1272658.9745
26 | 2742583.9401 | 1272676.3458
27 | 2742590.3369 | 1272689.7108
28 | 2742591.3898 | 1272691.9108
29 | 2742732.2081 | 1272557.3049
30 | 2742749.2708 | 1272554.8182
31 | 2742685.9522 | 1272597.7532
32 | 2742767.5629 | 1272553.1323
33 | 2742701.0712 | 1272612.7675
34 | 2742675.2104 | 1272594.5126
35 | 2742787.8055 | 1272540.8696
36 | 2742701.3715 | 1272613.0546
37 | 2742650.6087 | 1272616.785
38 | 2742658.8082 | 1272572.5467
39 | 2742806.2473 | 1272528.6223
40 | 2742720.1016 | 1272630.9551
41 | 2742637.1483 | 1272603.7209
42 | 2742844.1721 | 1272449.4627
43 | 2742815.1254 | 1272453.8286
44 | 2742846.1581 | 1272453.811
45 | 2742785.8463 | 1272469.2727
46 | 2742857.0946 | 1272479.9931
47 | 2742764.874 | 1272480.3351
48 | 2742753.893 | 1272486.1273
49 | 2742831.5986 | 1272513.868
50 | 2742372.9239 | 1272431.5825
51 | 2742373.1567 | 1272456.1346
52 | 2742362.4275 | 1272476.3672
53 | 2742366.5483 | 1272489.2572
54 | 2742324.7677 | 1272512.7811
55 | 2742415.0266 | 1272461.4489
56 | 2742443.5628 | 1272445.3431
57 | 2742471.7485 | 1272427.8996
58 | 2742421.7402 | 1272380.5046
59 | 2742641.1834 | 1272340.9582
60 | 2742396.2801 | 1272343.5836
61 | 2742766.2733 | 1272301.219
62 | 2742598.5762 | 1272430.5707
63 | 2742780.2302 | 1272325.7205
64 | 2742417.3738 | 1272324.3662
65 | 2742600.9396 | 1272435.6479
66 | 2742432.5608 | 1272311.8108
67 | 2742694.014 | 1272494.6234
68 | 2742795.1522 | 1272426.5542
69 | 2742624.4257 | 1272499.0677
70 | 2742843.5375 | 1272399.4416
71 | 2742621.4817 | 1272492.1103
72 | 2742876.2394 | 1272387.3428
73 | 2742603.5435 | 1272461.7815
74 | 2742629.5956 | 1272406.6109
75 | 2742813.0622 | 1272524.0964
76 | 2742654.9006 | 1272633.7137
77 | 2742657.3159 | 1272637.9825
78 | 2742624.4257 | 1272499.0677

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1