## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4551-12_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4551-12_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4551-12_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4551-12_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4551-12_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4551-12_0_6_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_4551-12_0_6_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_4551-12_0_6_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_4551-12_0_6_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_4551-12_0_6_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_4551-12_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4551-12_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4551-12_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4551-12_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4551-12_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4551-12_0_6_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_4551-12_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4551-12_0_6_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_4551-12_0_6_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_4551-12_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4551-12_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_4551-12_0_6_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_4551-12_0_6_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_4551-12_0_6_node_93 | 0.4 | n |  | TRUE
24 | bus_LV_4551-12_0_6_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_4551-12_0_6_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_4551-12_0_6_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_4551-12_0_6_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_4551-12_0_6_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_4551-12_0_6_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_4551-12_0_6_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_4551-12_0_6_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_4551-12_0_6_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_4551-12_0_6_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_4551-12_0_6_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_4551-12_0_6_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_4551-12_0_6_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_4551-12_0_6_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_4551-12_0_6_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_4551-12_0_6_node_68 | 0.4 | n |  | TRUE
40 | bus_LV_4551-12_0_6_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_4551-12_0_6_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_4551-12_0_6_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_4551-12_0_6_node_69 | 0.4 | n |  | TRUE
44 | bus_LV_4551-12_0_6_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_4551-12_0_6_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_4551-12_0_6_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_4551-12_0_6_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_4551-12_0_6_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_4551-12_0_6_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_4551-12_0_6_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_4551-12_0_6_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_4551-12_0_6_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_4551-12_0_6_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_4551-12_0_6_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_4551-12_0_6_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_4551-12_0_6_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_4551-12_0_6_node_76 | 0.4 | n |  | TRUE
58 | bus_LV_4551-12_0_6_node_77 | 0.4 | n |  | TRUE
59 | bus_LV_4551-12_0_6_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_4551-12_0_6_node_85 | 0.4 | n |  | TRUE
61 | bus_LV_4551-12_0_6_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_4551-12_0_6_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_4551-12_0_6_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_4551-12_0_6_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_4551-12_0_6_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_4551-12_0_6_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_4551-12_0_6_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_4551-12_0_6_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_4551-12_0_6_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_4551-12_0_6_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_4551-12_0_6_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_4551-12_0_6_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_4551-12_0_6_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_4551-12_0_6_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_4551-12_0_6_node_88 | 0.4 | n |  | TRUE
76 | bus_LV_4551-12_0_6_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_4551-12_0_6_node_89 | 0.4 | n |  | TRUE
78 | bus_LV_4551-12_0_6_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_4551-12_0_6_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_4551-12_0_6_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_4551-12_0_6_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_4551-12_0_6_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_4551-12_0_6_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_4551-12_0_6_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_4551-12_0_6_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_4551-12_0_6_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_4551-12_0_6_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_4551-12_0_6_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_4551-12_0_6_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_4551-12_0_6_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_4551-12_0_6_node_92 | 0.4 | n |  | TRUE
92 | bus_MV_34_1_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4551-12_0_6_load_0 | 0 | 0.00088875 | 0.00022274 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4551-12_0_6_load_1 | 1 | 0.0029048 | 0.00072801 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4551-12_0_6_load_2 | 2 | 0.0014783 | 0.0003705 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4551-12_0_6_load_4 | 4 | 0.0018414 | 0.00046149 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4551-12_0_6_load_20 | 5 | 0.0018664 | 0.00046776 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4551-12_0_6_load_18 | 6 | 0.0020828 | 0.000522 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4551-12_0_6_load_10 | 7 | 0.0026127 | 0.0006548 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4551-12_0_6_load_19 | 8 | 0.0023524 | 0.00058957 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4551-12_0_6_load_11 | 9 | 0.0022493 | 0.00056373 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4551-12_0_6_load_5 | 10 | 0.00099013 | 0.00024815 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4551-12_0_6_load_6 | 11 | 0.0013805 | 0.00034598 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4551-12_0_6_load_8 | 13 | 0.001071 | 0.00026841 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4551-12_0_6_load_9 | 14 | 0.0014719 | 0.00036889 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4551-12_0_6_load_12 | 16 | 0.0015499 | 0.00038845 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4551-12_0_6_load_16 | 17 | 0.0013842 | 0.00034692 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4551-12_0_6_load_17 | 18 | 0.0019837 | 0.00049717 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4551-12_0_6_load_29 | 22 | 0.0020742 | 0.00051985 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4551-12_0_6_load_93 | 23 | 0.0028227 | 0.00070742 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4551-12_0_6_load_30 | 24 | 0.0023545 | 0.00059009 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4551-12_0_6_load_42 | 26 | 0.0067206 | 0.0016843 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4551-12_0_6_load_34 | 27 | 0.0047671 | 0.0011947 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4551-12_0_6_load_33 | 28 | 0.0038908 | 0.00097513 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4551-12_0_6_load_21 | 29 | 0.0012999 | 0.00032579 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4551-12_0_6_load_22 | 30 | 0.0031072 | 0.00077874 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4551-12_0_6_load_23 | 31 | 0.0015116 | 0.00037885 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4551-12_0_6_load_24 | 32 | 0.0036381 | 0.00091181 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4551-12_0_6_load_25 | 33 | 0.0019055 | 0.00047757 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4551-12_0_6_load_45 | 36 | 0.0021599 | 0.00054132 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4551-12_0_6_load_68 | 39 | 0.017456 | 0.0043749 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4551-12_0_6_load_66 | 41 | 0.012823 | 0.0032137 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4551-12_0_6_load_44 | 42 | 0.0023399 | 0.00058643 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4551-12_0_6_load_69 | 43 | 0.070418 | 0.017649 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4551-12_0_6_load_31 | 45 | 0.0025376 | 0.00063597 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4551-12_0_6_load_37 | 48 | 0.0023918 | 0.00059944 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4551-12_0_6_load_41 | 49 | 0.0024037 | 0.00060241 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4551-12_0_6_load_38 | 50 | 0.0053887 | 0.0013505 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4551-12_0_6_load_47 | 51 | 0.0021751 | 0.00054512 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4551-12_0_6_load_39 | 52 | 0.014121 | 0.003539 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4551-12_0_6_load_40 | 53 | 0.0026169 | 0.00065586 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4551-12_0_6_load_48 | 54 | 0.0074627 | 0.0018703 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4551-12_0_6_load_51 | 56 | 0.010599 | 0.0026564 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4551-12_0_6_load_77 | 58 | 0.024963 | 0.0062563 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4551-12_0_6_load_63 | 59 | 0.010849 | 0.0027189 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4551-12_0_6_load_85 | 60 | 0.050666 | 0.012698 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4551-12_0_6_load_58 | 61 | 0.018075 | 0.0045299 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4551-12_0_6_load_53 | 62 | 0.0039175 | 0.00098181 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4551-12_0_6_load_54 | 63 | 0.0029526 | 0.00074 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4551-12_0_6_load_56 | 65 | 0.0037256 | 0.00093373 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4551-12_0_6_load_57 | 66 | 0.005237 | 0.0013125 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4551-12_0_6_load_59 | 67 | 0.0026579 | 0.00066612 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4551-12_0_6_load_61 | 68 | 0.056675 | 0.014204 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4551-12_0_6_load_70 | 69 | 0.0035607 | 0.00089239 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4551-12_0_6_load_60 | 70 | 0.010925 | 0.0027382 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4551-12_0_6_load_71 | 71 | 0.0023375 | 0.00058583 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4551-12_0_6_load_64 | 73 | 0.0093759 | 0.0023498 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4551-12_0_6_load_65 | 74 | 0.0084287 | 0.0021124 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4551-12_0_6_load_74 | 76 | 0.0020579 | 0.00051577 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4551-12_0_6_load_72 | 78 | 0.010427 | 0.0026133 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4551-12_0_6_load_78 | 79 | 0.0022679 | 0.00056838 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4551-12_0_6_load_79 | 80 | 0.0040505 | 0.0010152 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4551-12_0_6_load_80 | 81 | 0.0025337 | 0.000635 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4551-12_0_6_load_73 | 82 | 0.0028695 | 0.00071915 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4551-12_0_6_load_75 | 83 | 0.0032691 | 0.00081932 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4551-12_0_6_load_84 | 85 | 0.0050728 | 0.0012714 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4551-12_0_6_load_86 | 87 | 0.0075232 | 0.0018855 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4551-12_0_6_load_81 | 88 | 0.002164 | 0.00054236 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4551-12_0_6_load_90 | 89 | 0.0040035 | 0.0010034 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4551-12_0_6_load_91 | 90 | 0.0068305 | 0.0017119 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4551-12_0_6_load_92 | 91 | 0.0020331 | 0.00050955 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4551-12_0_6_line_0 |  | 0 | 1 | 0.0092605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4551-12_0_6_line_1 |  | 0 | 2 | 0.0030254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4551-12_0_6_line_2 |  | 1 | 3 | 0.014033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4551-12_0_6_line_3 |  | 2 | 4 | 0.027268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4551-12_0_6_line_4 |  | 3 | 5 | 0.0092457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4551-12_0_6_line_5 |  | 3 | 6 | 0.024215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_4551-12_0_6_line_6 |  | 4 | 7 | 0.0079707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4551-12_0_6_line_7 |  | 6 | 8 | 0.014707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_4551-12_0_6_line_8 |  | 7 | 9 | 0.029002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4551-12_0_6_line_9 |  | 8 | 17 | 0.0065197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_4551-12_0_6_line_10 |  | 9 | 19 | 0.027431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4551-12_0_6_line_11 |  | 10 | 11 | 0.020259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4551-12_0_6_line_12 |  | 10 | 12 | 0.039273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4551-12_0_6_line_13 |  | 11 | 13 | 0.01808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4551-12_0_6_line_14 |  | 12 | 14 | 0.019126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4551-12_0_6_line_15 |  | 13 | 15 | 0.041315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4551-12_0_6_line_16 |  | 14 | 16 | 0.019789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4551-12_0_6_line_17 |  | 15 | 17 | 0.028594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_4551-12_0_6_line_18 |  | 15 | 18 | 0.053756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_4551-12_0_6_line_19 |  | 18 | 25 | 0.048751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_4551-12_0_6_line_20 |  | 19 | 20 | 0.052287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4551-12_0_6_line_21 |  | 20 | 21 | 0.048289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4551-12_0_6_line_22 |  | 20 | 22 | 0.045054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4551-12_0_6_line_23 |  | 21 | 23 | 0.053802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4551-12_0_6_line_24 |  | 22 | 24 | 0.042164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4551-12_0_6_line_25 |  | 24 | 45 | 0.0028648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4551-12_0_6_line_26 |  | 25 | 26 | 0.012855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_4551-12_0_6_line_27 |  | 26 | 53 | 0.020437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_4551-12_0_6_line_28 |  | 27 | 28 | 0.034397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4551-12_0_6_line_29 |  | 28 | 46 | 0.01029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4551-12_0_6_line_30 |  | 29 | 30 | 0.0207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4551-12_0_6_line_31 |  | 29 | 31 | 0.015679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4551-12_0_6_line_32 |  | 30 | 32 | 0.0084262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4551-12_0_6_line_33 |  | 31 | 33 | 0.00033329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4551-12_0_6_line_34 |  | 32 | 34 | 0.015628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4551-12_0_6_line_35 |  | 34 | 35 | 0.007181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4551-12_0_6_line_36 |  | 35 | 36 | 0.015005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_4551-12_0_6_line_37 |  | 35 | 37 | 0.036652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_4551-12_0_6_line_38 |  | 36 | 42 | 0.011592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_4551-12_0_6_line_39 |  | 37 | 43 | 0.053818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4551-12_0_6_line_40 |  | 37 | 41 | 0.035421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_4551-12_0_6_line_41 |  | 38 | 39 | 0.026777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4551-12_0_6_line_42 |  | 38 | 40 | 0.10906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_4551-12_0_6_line_43 |  | 38 | 41 | 0.0038391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_4551-12_0_6_line_44 |  | 40 | 44 | 0.031162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_4551-12_0_6_line_45 |  | 42 | 48 | 0.011792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_4551-12_0_6_line_46 |  | 43 | 79 | 0.0035312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4551-12_0_6_line_47 |  | 44 | 54 | 0.028057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_4551-12_0_6_line_48 |  | 46 | 47 | 0.029722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_4551-12_0_6_line_49 |  | 46 | 48 | 0.039465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_4551-12_0_6_line_50 |  | 47 | 49 | 0.046471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4551-12_0_6_line_51 |  | 47 | 50 | 0.037371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_4551-12_0_6_line_52 |  | 49 | 51 | 0.0091712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4551-12_0_6_line_53 |  | 50 | 52 | 0.038166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_4551-12_0_6_line_54 |  | 52 | 53 | 0.0099575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_4551-12_0_6_line_55 |  | 54 | 55 | 0.039794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_4551-12_0_6_line_56 |  | 55 | 56 | 0.052659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_4551-12_0_6_line_57 |  | 56 | 57 | 0.0072688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_4551-12_0_6_line_58 |  | 57 | 58 | 0.030324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4551-12_0_6_line_59 |  | 57 | 59 | 0.011328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_4551-12_0_6_line_60 |  | 58 | 87 | 0.019685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4551-12_0_6_line_61 |  | 59 | 72 | 0.043142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_4551-12_0_6_line_62 |  | 60 | 61 | 0.04528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4551-12_0_6_line_63 |  | 61 | 64 | 0.013645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_4551-12_0_6_line_64 |  | 62 | 63 | 0.023926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4551-12_0_6_line_65 |  | 62 | 64 | 0.011487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4551-12_0_6_line_66 |  | 63 | 65 | 0.014079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4551-12_0_6_line_67 |  | 64 | 66 | 0.025233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_4551-12_0_6_line_68 |  | 65 | 67 | 0.0066246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4551-12_0_6_line_69 |  | 66 | 68 | 0.029397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_4551-12_0_6_line_70 |  | 67 | 69 | 0.017526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4551-12_0_6_line_71 |  | 68 | 70 | 0.014733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_4551-12_0_6_line_72 |  | 69 | 71 | 0.0034864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4551-12_0_6_line_73 |  | 70 | 72 | 0.037173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_4551-12_0_6_line_74 |  | 71 | 80 | 0.022599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4551-12_0_6_line_75 |  | 72 | 73 | 0.040239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4551-12_0_6_line_76 |  | 72 | 74 | 0.037111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4551-12_0_6_line_77 |  | 73 | 75 | 0.034147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4551-12_0_6_line_78 |  | 74 | 76 | 0.0073891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4551-12_0_6_line_79 |  | 75 | 77 | 0.022106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4551-12_0_6_line_80 |  | 76 | 78 | 0.016387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4551-12_0_6_line_81 |  | 77 | 90 | 0.021416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4551-12_0_6_line_82 |  | 78 | 82 | 0.027148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4551-12_0_6_line_83 |  | 80 | 81 | 0.0015131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4551-12_0_6_line_84 |  | 82 | 83 | 0.0018029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4551-12_0_6_line_85 |  | 83 | 84 | 0.020692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4551-12_0_6_line_86 |  | 84 | 85 | 0.033039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4551-12_0_6_line_87 |  | 84 | 86 | 0.024617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4551-12_0_6_line_88 |  | 85 | 89 | 0.043025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4551-12_0_6_line_89 |  | 86 | 88 | 0.050408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4551-12_0_6_line_90 |  | 90 | 91 | 0.028482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4551-12_0_6_trafo_58 | 0.63 MVA 20/0.4 kV | 92 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2710688.6299 | 1260774.0608 | 2710693.7929 | 1260781.7485
1 | 2710688.6299 | 1260774.0608 | 2710686.9432 | 1260771.5492
2 | 2710701.9783 | 1260793.1379 | 2710698.9301 | 1260789.2665 | 2710696.3978 | 1260785.6271 | 2710693.7929 | 1260781.7485
3 | 2710671.7404 | 1260748.9125 | 2710686.9432 | 1260771.5492
4 | 2710701.9783 | 1260793.1379 | 2710697.6966 | 1260798.3845 | 2710695.8754 | 1260800.0586
5 | 2710701.9783 | 1260793.1379 | 2710711.2668 | 1260792.6224 | 2710715.8499 | 1260793.0196 | 2710720.2102 | 1260794.0354 | 2710725.8455 | 1260795.5481
6 | 2710671.7404 | 1260748.9125 | 2710667.7392 | 1260742.9547 | 2710667.2449 | 1260742.3334
7 | 2710740.0496 | 1260799.3611 | 2710725.8455 | 1260795.5481
8 | 2710649.1883 | 1260719.6384 | 2710667.2449 | 1260742.3334
9 | 2710740.0496 | 1260799.3611 | 2710746.3464 | 1260801.0514
10 | 2710632.1095 | 1260698.1725 | 2710649.1883 | 1260719.6384
11 | 2710766.4013 | 1260729.1708 | 2710768.3244 | 1260749.3381
12 | 2710762.6732 | 1260690.075 | 2710766.4013 | 1260729.1708
13 | 2710768.3244 | 1260749.3381 | 2710770.0407 | 1260767.3361
14 | 2710762.6732 | 1260690.075 | 2710743.5841 | 1260691.2589
15 | 2710773.9626 | 1260808.4649 | 2710770.0407 | 1260767.3361
16 | 2710723.8334 | 1260692.4838 | 2710743.5841 | 1260691.2589
17 | 2710773.9626 | 1260808.4649 | 2710746.3464 | 1260801.0514
18 | 2710773.9626 | 1260808.4649 | 2710757.4404 | 1260859.6186
19 | 2710743.1862 | 1260906.2386 | 2710755.4223 | 1260865.8666 | 2710757.4404 | 1260859.6186
20 | 2710579.6926 | 1260696.5023 | 2710632.1095 | 1260698.1725
21 | 2710579.6926 | 1260696.5023 | 2710551.1149 | 1260695.3896 | 2710531.5062 | 1260698.3591
22 | 2710579.6926 | 1260696.5023 | 2710602.1127 | 1260735.5822
23 | 2710531.5062 | 1260698.3591 | 2710541.4466 | 1260726.2797 | 2710552.7529 | 1260747.6646
24 | 2710602.1127 | 1260735.5822 | 2710623.0946 | 1260772.1552
25 | 2710624.5202 | 1260774.6401 | 2710623.0946 | 1260772.1552
26 | 2710743.1862 | 1260906.2386 | 2710731.2176 | 1260901.5472
27 | 2710712.1904 | 1260894.0889 | 2710731.2176 | 1260901.5472
28 | 2710617.4757 | 1260843.5439 | 2710621.5944 | 1260842.7767 | 2710646.0115 | 1260836.5946 | 2710650.5534 | 1260834.4564
29 | 2710608.0676 | 1260847.4388 | 2710611.2561 | 1260845.419 | 2710615.3012 | 1260843.9489 | 2710617.4757 | 1260843.5439
30 | 2710506.0338 | 1260819.2202 | 2710514.4751 | 1260838.1209
31 | 2710506.0338 | 1260819.2202 | 2710499.6399 | 1260804.9037
32 | 2710517.9112 | 1260845.8147 | 2710514.4751 | 1260838.1209
33 | 2710499.504 | 1260804.5994 | 2710499.6399 | 1260804.9037
34 | 2710524.284 | 1260860.0839 | 2710517.9112 | 1260845.8147
35 | 2710524.284 | 1260860.0839 | 2710531.3707 | 1260858.8041
36 | 2710531.3707 | 1260858.8041 | 2710546.1353 | 1260856.1298
37 | 2710531.3707 | 1260858.8041 | 2710535.7836 | 1260873.1321 | 2710539.1862 | 1260885.4617 | 2710540.9608 | 1260894.1578
38 | 2710557.5414 | 1260854.0638 | 2710546.1353 | 1260856.1298
39 | 2710540.9608 | 1260894.1578 | 2710544.2018 | 1260893.7624 | 2710546.6575 | 1260892.2292 | 2710550.6214 | 1260889.8568 | 2710563.5922 | 1260889.5323 | 2710567.575 | 1260889.7736 | 2710571.5355 | 1260888.7912 | 2710578.2858 | 1260885.7481 | 2710588.8056 | 1260883.8765 | 2710592.6743 | 1260884.3984
40 | 2710540.9608 | 1260894.1578 | 2710525.1492 | 1260896.0529 | 2710519.5266 | 1260895.6253 | 2710514.5438 | 1260894.4423 | 2710510.8507 | 1260892.0046 | 2710508.5289 | 1260888.7918 | 2710508.184 | 1260888.8343
41 | 2710513.9093 | 1260912.2567 | 2710514.8572 | 1260909.5277 | 2710514.985 | 1260907.128 | 2710514.0308 | 1260904.141 | 2710512.572 | 1260902.7459 | 2710509.2494 | 1260900.2483 | 2710507.1698 | 1260897.3848 | 2710505.4826 | 1260894.4953 | 2710504.3737 | 1260889.3035
42 | 2710484.7185 | 1260960.9418 | 2710484.7398 | 1260957.784 | 2710480.8371 | 1260957.2885 | 2710477.9389 | 1260955.8776 | 2710475.3323 | 1260952.982 | 2710474.2195 | 1260949.2025 | 2710474.9916 | 1260933.7037 | 2710474.6335 | 1260912.9349 | 2710473.1683 | 1260897.361 | 2710472.1406 | 1260891.0475 | 2710477.0371 | 1260890.3939 | 2710482.0032 | 1260891.6655 | 2710486.0532 | 1260891.5411 | 2710504.3737 | 1260889.3035
43 | 2710504.3737 | 1260889.3035 | 2710508.184 | 1260888.8343
44 | 2710467.5676 | 1260975.2226 | 2710468.4559 | 1260960.3599 | 2710484.7185 | 1260960.9418
45 | 2710557.5414 | 1260854.0638 | 2710569.1449 | 1260851.962
46 | 2710596.1739 | 1260884.8706 | 2710592.6743 | 1260884.3984
47 | 2710467.5676 | 1260975.2226 | 2710466.2075 | 1261003.2465
48 | 2710608.0676 | 1260847.4388 | 2710609.9473 | 1260850.9103 | 2710613.1528 | 1260854.0284 | 2710621.063 | 1260857.4792 | 2710632.5923 | 1260862.8883
49 | 2710608.0676 | 1260847.4388 | 2710604.1838 | 1260846.7323 | 2710599.2946 | 1260846.5852 | 2710587.3538 | 1260848.6638 | 2710569.1449 | 1260851.962
50 | 2710632.5923 | 1260862.8883 | 2710640.0347 | 1260901.805 | 2710636.2606 | 1260907.5204
51 | 2710632.5923 | 1260862.8883 | 2710667.3859 | 1260876.5266
52 | 2710631.2068 | 1260915.1735 | 2710636.2606 | 1260907.5204
53 | 2710667.3859 | 1260876.5266 | 2710702.9196 | 1260890.455
54 | 2710712.1904 | 1260894.0889 | 2710702.9196 | 1260890.455
55 | 2710464.4017 | 1261042.9989 | 2710464.7976 | 1261032.2972 | 2710466.2075 | 1261003.2465
56 | 2710464.4017 | 1261042.9989 | 2710515.4425 | 1261055.9527
57 | 2710522.488 | 1261057.7407 | 2710515.4425 | 1261055.9527
58 | 2710522.488 | 1261057.7407 | 2710520.6709 | 1261088.0103
59 | 2710522.488 | 1261057.7407 | 2710533.5549 | 1261060.1586
60 | 2710506.2672 | 1261101.4283 | 2710520.6709 | 1261088.0103 | 2710520.6709 | 1261088.0103
61 | 2710575.7029 | 1261069.3672 | 2710533.5549 | 1261060.1586
62 | 2710538.7743 | 1260962.1707 | 2710575.6422 | 1260963.0089 | 2710584.003 | 1260963.8434
63 | 2710597.5805 | 1260965.1986 | 2710584.003 | 1260963.8434
64 | 2710608.6722 | 1260968.1849 | 2710631.7758 | 1260974.4055
65 | 2710597.5805 | 1260965.1986 | 2710608.6722 | 1260968.1849
66 | 2710631.7758 | 1260974.4055 | 2710645.3705 | 1260978.0658
67 | 2710597.5805 | 1260965.1986 | 2710591.1796 | 1260989.6064
68 | 2710645.3705 | 1260978.0658 | 2710651.7672 | 1260979.7881
69 | 2710591.1796 | 1260989.6064 | 2710586.2013 | 1261008.5894 | 2710584.5379 | 1261018.219
70 | 2710651.7672 | 1260979.7881 | 2710668.6905 | 1260984.3446
71 | 2710582.0302 | 1261032.7369 | 2710584.5379 | 1261018.219
72 | 2710668.6905 | 1260984.3446 | 2710672.057 | 1260985.251
73 | 2710575.7029 | 1261069.3672 | 2710582.0302 | 1261032.7369
74 | 2710672.057 | 1260985.251 | 2710689.8641 | 1260990.0455 | 2710693.8766 | 1260991.133
75 | 2710575.7029 | 1261069.3672 | 2710568.7586 | 1261109.0026
76 | 2710575.7029 | 1261069.3672 | 2710612.081 | 1261076.7053
77 | 2710562.9884 | 1261142.6586 | 2710564.9189 | 1261130.918 | 2710568.7586 | 1261109.0026
78 | 2710612.081 | 1261076.7053 | 2710619.3241 | 1261078.1664
79 | 2710562.9884 | 1261142.6586 | 2710559.2118 | 1261164.4399
80 | 2710635.388 | 1261081.4068 | 2710619.3241 | 1261078.1664
81 | 2710559.2118 | 1261164.4399 | 2710580.475 | 1261166.9909
82 | 2710635.388 | 1261081.4068 | 2710661.9997 | 1261086.7749
83 | 2710695.337 | 1260991.5289 | 2710693.8766 | 1260991.133
84 | 2710661.9997 | 1261086.7749 | 2710663.767 | 1261087.1314
85 | 2710684.0501 | 1261091.2229 | 2710663.767 | 1261087.1314
86 | 2710684.0501 | 1261091.2229 | 2710679.7104 | 1261123.9753
87 | 2710684.0501 | 1261091.2229 | 2710708.2848 | 1261095.9359
88 | 2710679.7104 | 1261123.9753 | 2710674.0588 | 1261166.6278
89 | 2710708.2848 | 1261095.9359 | 2710720.2432 | 1261046.9669
90 | 2710580.475 | 1261166.9909 | 2710608.7542 | 1261170.3835

## bus_geodata
| x | y | coords
0 | 2710688.6299 | 1260774.0608
1 | 2710693.7929 | 1260781.7485
2 | 2710686.9432 | 1260771.5492
3 | 2710701.9783 | 1260793.1379
4 | 2710671.7404 | 1260748.9125
5 | 2710695.8754 | 1260800.0586
6 | 2710725.8455 | 1260795.5481
7 | 2710667.2449 | 1260742.3334
8 | 2710740.0496 | 1260799.3611
9 | 2710649.1883 | 1260719.6384
10 | 2710766.4013 | 1260729.1708
11 | 2710768.3244 | 1260749.3381
12 | 2710762.6732 | 1260690.075
13 | 2710770.0407 | 1260767.3361
14 | 2710743.5841 | 1260691.2589
15 | 2710773.9626 | 1260808.4649
16 | 2710723.8334 | 1260692.4838
17 | 2710746.3464 | 1260801.0515
18 | 2710757.4404 | 1260859.6186
19 | 2710632.1095 | 1260698.1725
20 | 2710579.6926 | 1260696.5023
21 | 2710531.5062 | 1260698.3591
22 | 2710602.1127 | 1260735.5822
23 | 2710552.7529 | 1260747.6646
24 | 2710623.0946 | 1260772.1552
25 | 2710743.1862 | 1260906.2386
26 | 2710731.2176 | 1260901.5472
27 | 2710650.5534 | 1260834.4564
28 | 2710617.4757 | 1260843.5439
29 | 2710506.0338 | 1260819.2202
30 | 2710514.4751 | 1260838.1209
31 | 2710499.6399 | 1260804.9037
32 | 2710517.9112 | 1260845.8147
33 | 2710499.504 | 1260804.5994
34 | 2710524.284 | 1260860.0839
35 | 2710531.3707 | 1260858.8041
36 | 2710546.1353 | 1260856.1298
37 | 2710540.9608 | 1260894.1578
38 | 2710504.3737 | 1260889.3035
39 | 2710513.9093 | 1260912.2567
40 | 2710484.7185 | 1260960.9418
41 | 2710508.184 | 1260888.8343
42 | 2710557.5414 | 1260854.0638
43 | 2710592.6743 | 1260884.3984
44 | 2710467.5676 | 1260975.2226
45 | 2710624.5202 | 1260774.6401
46 | 2710608.0676 | 1260847.4388
47 | 2710632.5923 | 1260862.8883
48 | 2710569.1449 | 1260851.962
49 | 2710636.2606 | 1260907.5204
50 | 2710667.3859 | 1260876.5266
51 | 2710631.2068 | 1260915.1735
52 | 2710702.9196 | 1260890.455
53 | 2710712.1904 | 1260894.0889
54 | 2710466.2075 | 1261003.2465
55 | 2710464.4017 | 1261042.9989
56 | 2710515.4425 | 1261055.9527
57 | 2710522.488 | 1261057.7407
58 | 2710520.6709 | 1261088.0103
59 | 2710533.5549 | 1261060.1586
60 | 2710538.7743 | 1260962.1707
61 | 2710584.003 | 1260963.8434
62 | 2710608.6722 | 1260968.1849
63 | 2710631.7758 | 1260974.4055
64 | 2710597.5805 | 1260965.1986
65 | 2710645.3705 | 1260978.0658
66 | 2710591.1796 | 1260989.6064
67 | 2710651.7672 | 1260979.7881
68 | 2710584.5379 | 1261018.219
69 | 2710668.6905 | 1260984.3446
70 | 2710582.0302 | 1261032.7369
71 | 2710672.057 | 1260985.251
72 | 2710575.7029 | 1261069.3672
73 | 2710568.7586 | 1261109.0026
74 | 2710612.081 | 1261076.7053
75 | 2710562.9884 | 1261142.6586
76 | 2710619.3241 | 1261078.1664
77 | 2710559.2118 | 1261164.4399
78 | 2710635.388 | 1261081.4068
79 | 2710596.1739 | 1260884.8706
80 | 2710693.8766 | 1260991.133
81 | 2710695.337 | 1260991.5289
82 | 2710661.9997 | 1261086.7749
83 | 2710663.767 | 1261087.1314
84 | 2710684.0501 | 1261091.2229
85 | 2710679.7104 | 1261123.9753
86 | 2710708.2848 | 1261095.9359
87 | 2710506.2672 | 1261101.4283
88 | 2710720.2432 | 1261046.9669
89 | 2710674.0588 | 1261166.6278
90 | 2710580.475 | 1261166.9909
91 | 2710608.7542 | 1261170.3835
92 | 2710597.5805 | 1260965.1986

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1