## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4551-16_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4551-16_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4551-16_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4551-16_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4551-16_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4551-16_0_4_node_55 | 0.4 | n |  | TRUE
6 | bus_LV_4551-16_0_4_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_4551-16_0_4_node_85 | 0.4 | n |  | TRUE
8 | bus_LV_4551-16_0_4_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_4551-16_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_4551-16_0_4_node_82 | 0.4 | n |  | TRUE
11 | bus_LV_4551-16_0_4_node_84 | 0.4 | n |  | TRUE
12 | bus_LV_4551-16_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_4551-16_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4551-16_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_4551-16_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4551-16_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_4551-16_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4551-16_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4551-16_0_4_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_4551-16_0_4_node_53 | 0.4 | n |  | TRUE
21 | bus_LV_4551-16_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_4551-16_0_4_node_78 | 0.4 | n |  | TRUE
23 | bus_LV_4551-16_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_4551-16_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_4551-16_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_4551-16_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_4551-16_0_4_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_4551-16_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_4551-16_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_4551-16_0_4_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_4551-16_0_4_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_4551-16_0_4_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_4551-16_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_4551-16_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_4551-16_0_4_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_4551-16_0_4_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_4551-16_0_4_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_4551-16_0_4_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_4551-16_0_4_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_4551-16_0_4_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_4551-16_0_4_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_4551-16_0_4_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_4551-16_0_4_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_4551-16_0_4_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_4551-16_0_4_node_77 | 0.4 | n |  | TRUE
46 | bus_LV_4551-16_0_4_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_4551-16_0_4_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_4551-16_0_4_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_4551-16_0_4_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_4551-16_0_4_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_4551-16_0_4_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_4551-16_0_4_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_4551-16_0_4_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_4551-16_0_4_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_4551-16_0_4_node_81 | 0.4 | n |  | TRUE
56 | bus_LV_4551-16_0_4_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_4551-16_0_4_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_4551-16_0_4_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_4551-16_0_4_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_4551-16_0_4_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_4551-16_0_4_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_4551-16_0_4_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_4551-16_0_4_node_36 | 0.4 | n |  | TRUE
64 | bus_LV_4551-16_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_4551-16_0_4_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_4551-16_0_4_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_4551-16_0_4_node_38 | 0.4 | n |  | TRUE
68 | bus_LV_4551-16_0_4_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_4551-16_0_4_node_40 | 0.4 | n |  | TRUE
70 | bus_LV_4551-16_0_4_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_4551-16_0_4_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_4551-16_0_4_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_4551-16_0_4_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_4551-16_0_4_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_4551-16_0_4_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_4551-16_0_4_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_4551-16_0_4_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_4551-16_0_4_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_4551-16_0_4_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_4551-16_0_4_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_4551-16_0_4_node_80 | 0.4 | n |  | TRUE
82 | bus_MV_34_1_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4551-16_0_4_load_0 | 0 | 0.0040462 | 0.0010141 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4551-16_0_4_load_1 | 1 | 0.03856 | 0.0096641 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4551-16_0_4_load_2 | 2 | 0.0060398 | 0.0015137 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4551-16_0_4_load_4 | 4 | 0.0031807 | 0.00079716 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4551-16_0_4_load_55 | 5 | 0.069335 | 0.017377 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4551-16_0_4_load_13 | 6 | 0.051683 | 0.012953 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4551-16_0_4_load_85 | 7 | 0.023237 | 0.0058238 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4551-16_0_4_load_73 | 8 | 0.0044204 | 0.0011078 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4551-16_0_4_load_12 | 9 | 0.024269 | 0.0060824 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4551-16_0_4_load_82 | 10 | 0.00297 | 0.00074435 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4551-16_0_4_load_5 | 12 | 0.015071 | 0.0037771 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4551-16_0_4_load_10 | 17 | 0.0031938 | 0.00080045 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4551-16_0_4_load_11 | 18 | 0.0060225 | 0.0015094 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4551-16_0_4_load_54 | 19 | 0.0011303 | 0.00028328 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4551-16_0_4_load_53 | 20 | 0.0015068 | 0.00037763 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4551-16_0_4_load_78 | 22 | 0.031689 | 0.0079421 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4551-16_0_4_load_17 | 25 | 0.057375 | 0.01438 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4551-16_0_4_load_21 | 28 | 0.0061083 | 0.0015309 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4551-16_0_4_load_68 | 30 | 0.016907 | 0.0042373 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4551-16_0_4_load_22 | 33 | 0.0049485 | 0.0012402 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4551-16_0_4_load_62 | 35 | 0.013635 | 0.0034172 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4551-16_0_4_load_52 | 36 | 0.016907 | 0.0042373 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4551-16_0_4_load_75 | 39 | 0.0010405 | 0.00026077 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4551-16_0_4_load_64 | 42 | 0.0068237 | 0.0017102 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4551-16_0_4_load_77 | 45 | 0.014123 | 0.0035396 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4551-16_0_4_load_47 | 47 | 0.021992 | 0.0055116 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4551-16_0_4_load_51 | 48 | 0.0070854 | 0.0017758 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4551-16_0_4_load_27 | 49 | 0.0018615 | 0.00046653 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4551-16_0_4_load_28 | 50 | 0.00093196 | 0.00023357 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4551-16_0_4_load_29 | 51 | 0.0037936 | 0.00095078 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4551-16_0_4_load_30 | 52 | 0.00034872 | 8.7397e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4551-16_0_4_load_31 | 53 | 0.0024657 | 0.00061796 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4551-16_0_4_load_81 | 55 | 0.0015385 | 0.00038558 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4551-16_0_4_load_32 | 57 | 0.0039292 | 0.00098475 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4551-16_0_4_load_33 | 58 | 0.00042694 | 0.000107 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4551-16_0_4_load_35 | 60 | 0.0014569 | 0.00036512 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4551-16_0_4_load_37 | 61 | 0.0062384 | 0.0015635 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4551-16_0_4_load_36 | 63 | 0.00069912 | 0.00017522 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4551-16_0_4_load_41 | 65 | 0.0033199 | 0.00083205 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4551-16_0_4_load_38 | 67 | 0.0012343 | 0.00030935 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4551-16_0_4_load_60 | 68 | 0.0014381 | 0.00036042 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4551-16_0_4_load_63 | 72 | 0.00045816 | 0.00011482 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4551-16_0_4_load_76 | 73 | 0.0017297 | 0.00043351 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4551-16_0_4_load_70 | 74 | 0.0013358 | 0.00033479 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4551-16_0_4_load_69 | 75 | 0.0025327 | 0.00063476 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4551-16_0_4_load_79 | 78 | 0.0002422 | 6.07e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4551-16_0_4_load_61 | 79 | 0.0058989 | 0.0014784 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4551-16_0_4_load_86 | 80 | 0.013488 | 0.0033805 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4551-16_0_4_load_80 | 81 | 0.00028149 | 7.0548e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4551-16_0_4_line_0 |  | 0 | 1 | 0.052346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4551-16_0_4_line_1 |  | 0 | 2 | 0.012431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4551-16_0_4_line_2 |  | 1 | 3 | 0.021173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4551-16_0_4_line_3 |  | 2 | 4 | 0.031841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4551-16_0_4_line_4 |  | 3 | 5 | 0.044211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_4551-16_0_4_line_5 |  | 3 | 6 | 0.035785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_4551-16_0_4_line_6 |  | 4 | 7 | 0.081911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4551-16_0_4_line_7 |  | 5 | 8 | 0.0013864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_4551-16_0_4_line_8 |  | 6 | 9 | 0.0029628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_4551-16_0_4_line_9 |  | 7 | 11 | 0.008548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4551-16_0_4_line_10 |  | 9 | 26 | 0.0218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_4551-16_0_4_line_11 |  | 10 | 11 | 0.018711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4551-16_0_4_line_12 |  | 12 | 13 | 0.017376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4551-16_0_4_line_13 |  | 13 | 17 | 0.003338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4551-16_0_4_line_14 |  | 13 | 18 | 0.018606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4551-16_0_4_line_15 |  | 14 | 15 | 0.003198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4551-16_0_4_line_16 |  | 14 | 16 | 0.006934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4551-16_0_4_line_17 |  | 15 | 19 | 0.028498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4551-16_0_4_line_18 |  | 15 | 20 | 0.005314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4551-16_0_4_line_19 |  | 16 | 21 | 0.013662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_4551-16_0_4_line_20 |  | 16 | 22 | 0.026238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_4551-16_0_4_line_21 |  | 17 | 19 | 0.02554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4551-16_0_4_line_22 |  | 18 | 23 | 0.018352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4551-16_0_4_line_23 |  | 21 | 25 | 0.035696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_4551-16_0_4_line_24 |  | 22 | 27 | 0.02633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_4551-16_0_4_line_25 |  | 23 | 28 | 0.020707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4551-16_0_4_line_26 |  | 24 | 25 | 0.033375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_4551-16_0_4_line_27 |  | 24 | 26 | 0.045787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_4551-16_0_4_line_28 |  | 27 | 31 | 0.034125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_4551-16_0_4_line_29 |  | 27 | 29 | 0.004576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_4551-16_0_4_line_30 |  | 28 | 33 | 0.019059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4551-16_0_4_line_31 |  | 29 | 30 | 0.008611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_4551-16_0_4_line_32 |  | 30 | 32 | 0.019721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_4551-16_0_4_line_33 |  | 31 | 47 | 0.026612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4551-16_0_4_line_34 |  | 32 | 42 | 0.028224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_4551-16_0_4_line_35 |  | 32 | 44 | 0.0097038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4551-16_0_4_line_36 |  | 34 | 35 | 0.050961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4551-16_0_4_line_37 |  | 34 | 36 | 0.041884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4551-16_0_4_line_38 |  | 35 | 48 | 0.022301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4551-16_0_4_line_39 |  | 36 | 46 | 0.044108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4551-16_0_4_line_40 |  | 37 | 38 | 0.020457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_4551-16_0_4_line_41 |  | 37 | 39 | 0.055304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_4551-16_0_4_line_42 |  | 38 | 43 | 0.01099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_4551-16_0_4_line_43 |  | 39 | 73 | 0.026398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_4551-16_0_4_line_44 |  | 40 | 41 | 0.01849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_4551-16_0_4_line_45 |  | 40 | 42 | 0.028998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_4551-16_0_4_line_46 |  | 41 | 43 | 0.006156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_4551-16_0_4_line_47 |  | 43 | 80 | 0.015747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4551-16_0_4_line_48 |  | 44 | 45 | 0.030885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4551-16_0_4_line_49 |  | 46 | 47 | 0.025646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4551-16_0_4_line_50 |  | 49 | 50 | 0.038339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4551-16_0_4_line_51 |  | 49 | 51 | 0.0078181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4551-16_0_4_line_52 |  | 50 | 52 | 0.047506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4551-16_0_4_line_53 |  | 51 | 53 | 0.076469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4551-16_0_4_line_54 |  | 52 | 54 | 0.016662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4551-16_0_4_line_55 |  | 54 | 55 | 0.039391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4551-16_0_4_line_56 |  | 54 | 56 | 0.015198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4551-16_0_4_line_57 |  | 55 | 77 | 0.025167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4551-16_0_4_line_58 |  | 56 | 74 | 0.043446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4551-16_0_4_line_59 |  | 57 | 58 | 0.019665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4551-16_0_4_line_60 |  | 57 | 59 | 0.076592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4551-16_0_4_line_61 |  | 58 | 60 | 0.012933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4551-16_0_4_line_62 |  | 59 | 61 | 0.014013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4551-16_0_4_line_63 |  | 60 | 62 | 0.024665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4551-16_0_4_line_64 |  | 62 | 65 | 0.0455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_4551-16_0_4_line_65 |  | 62 | 66 | 0.056841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_4551-16_0_4_line_66 |  | 62 | 67 | 0.038706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4551-16_0_4_line_67 |  | 63 | 64 | 0.0015323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4551-16_0_4_line_68 |  | 64 | 68 | 0.0073009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4551-16_0_4_line_69 |  | 65 | 72 | 0.026374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4551-16_0_4_line_70 |  | 66 | 73 | 0.0046836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_4551-16_0_4_line_71 |  | 67 | 69 | 0.081265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4551-16_0_4_line_72 |  | 68 | 75 | 0.043537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4551-16_0_4_line_73 |  | 69 | 70 | 0.039036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4551-16_0_4_line_74 |  | 69 | 71 | 0.052974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4551-16_0_4_line_75 |  | 70 | 75 | 0.015672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4551-16_0_4_line_76 |  | 70 | 76 | 0.014093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4551-16_0_4_line_77 |  | 71 | 74 | 0.029459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4551-16_0_4_line_78 |  | 76 | 79 | 0.034995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4551-16_0_4_line_79 |  | 77 | 78 | 0.027161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4551-16_0_4_line_80 |  | 78 | 81 | 0.0093555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4551-16_0_4_trafo_73 | 0.63 MVA 20/0.4 kV | 82 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2710178.3883 | 1261716.9119 | 2710230.7015 | 1261715.0485
1 | 2710178.3883 | 1261716.9119 | 2710165.965 | 1261717.3545
2 | 2710251.8608 | 1261714.2948 | 2710230.7015 | 1261715.0485
3 | 2710165.965 | 1261717.3545 | 2710134.1438 | 1261718.488
4 | 2710251.8608 | 1261714.2948 | 2710295.5712 | 1261707.6585
5 | 2710251.8608 | 1261714.2948 | 2710239.9066 | 1261680.5652
6 | 2710134.1438 | 1261718.488 | 2710096.3377 | 1261791.1527
7 | 2710296.9418 | 1261707.45 | 2710296.7398 | 1261707.4811 | 2710295.5712 | 1261707.6585
8 | 2710238.9169 | 1261677.7726 | 2710239.9066 | 1261680.5652
9 | 2710087.7702 | 1261791.4824 | 2710096.3377 | 1261791.1527
10 | 2710231.6344 | 1261657.2248 | 2710238.9169 | 1261677.7726
11 | 2710087.7702 | 1261791.4824 | 2710088.2337 | 1261810.1878
12 | 2710302.9839 | 1261523.1071 | 2710300.1788 | 1261537.7228 | 2710299.3666 | 1261540.0806
13 | 2710299.6511 | 1261522.7891 | 2710302.9839 | 1261523.1071
14 | 2710302.9839 | 1261523.1071 | 2710321.5067 | 1261524.8633
15 | 2710281.9136 | 1261574.2801 | 2710279.3879 | 1261572.3091
16 | 2710281.9136 | 1261574.2801 | 2710280.9205 | 1261576.608 | 2710280.6321 | 1261579.1381 | 2710280.9522 | 1261580.9679
17 | 2710279.3879 | 1261572.3091 | 2710288.463 | 1261558.5221 | 2710292.5881 | 1261547.2621
18 | 2710279.3879 | 1261572.3091 | 2710275.1904 | 1261569.0503
19 | 2710280.9522 | 1261580.9679 | 2710275.5271 | 1261584.9368 | 2710280.9789 | 1261589.2309
20 | 2710280.9522 | 1261580.9679 | 2710281.1914 | 1261582.2845 | 2710283.1336 | 1261585.2344 | 2710299.5989 | 1261598.8531
21 | 2710299.6511 | 1261522.7891 | 2710297.1586 | 1261534.7862 | 2710292.5881 | 1261547.2621
22 | 2710337.7598 | 1261518.5962 | 2710327.5179 | 1261525.4332 | 2710321.5067 | 1261524.8633
23 | 2710280.9789 | 1261589.2309 | 2710247.6601 | 1261602.0405
24 | 2710319.8879 | 1261615.6344 | 2710299.5989 | 1261598.8531
25 | 2710337.7598 | 1261518.5962 | 2710341.6578 | 1261498.2598
26 | 2710216.5078 | 1261614.0172 | 2710247.6601 | 1261602.0405
27 | 2710216.5078 | 1261614.0172 | 2710218.3695 | 1261620.88 | 2710231.6344 | 1261657.2248
28 | 2710344.0567 | 1261591.4757 | 2710319.8879 | 1261615.6344
29 | 2710317.248 | 1261619.3773 | 2710319.8879 | 1261615.6344
30 | 2710345.2457 | 1261479.5412 | 2710341.6578 | 1261498.2598
31 | 2710317.248 | 1261619.3773 | 2710323.8771 | 1261624.8731
32 | 2710339.161 | 1261637.3346 | 2710332.6037 | 1261632.1078 | 2710323.8771 | 1261624.8731
33 | 2710344.0567 | 1261591.4757 | 2710370.6164 | 1261589.8027
34 | 2710339.161 | 1261637.3346 | 2710361.2409 | 1261654.9153
35 | 2710339.161 | 1261637.3346 | 2710342.1391 | 1261634.0429 | 2710345.6713 | 1261630.1388
36 | 2710405.7515 | 1261502.7289 | 2710373.6559 | 1261523.9259 | 2710366.4659 | 1261534.1486
37 | 2710405.7515 | 1261502.7289 | 2710401.1049 | 1261544.3545
38 | 2710358.0452 | 1261553.5734 | 2710357.4591 | 1261546.9544 | 2710366.4659 | 1261534.1486
39 | 2710396.2115 | 1261588.1904 | 2710401.1049 | 1261544.3545
40 | 2710400.1461 | 1261687.0259 | 2710401.7372 | 1261683.7528 | 2710402.1437 | 1261680.1462 | 2710401.5297 | 1261677.5102 | 2710406.6382 | 1261676.7716 | 2710411.9077 | 1261677.5039
41 | 2710411.9077 | 1261677.5039 | 2710412.8926 | 1261677.6335 | 2710415.1492 | 1261679.4772 | 2710440.1157 | 1261699.7605 | 2710455.0408 | 1261711.8853
42 | 2710400.1461 | 1261687.0259 | 2710397.5283 | 1261689.5903 | 2710394.1983 | 1261691.1406 | 2710390.5367 | 1261691.4837
43 | 2710455.0408 | 1261711.8853 | 2710475.5297 | 1261728.5302
44 | 2710383.926 | 1261672.9779 | 2710381.7226 | 1261675.9504 | 2710380.6615 | 1261679.5003 | 2710380.864 | 1261683.185 | 2710382.3077 | 1261686.5926 | 2710384.8269 | 1261689.3086
45 | 2710383.926 | 1261672.9779 | 2710361.2409 | 1261654.9153
46 | 2710390.5367 | 1261691.4837 | 2710387.5272 | 1261690.8047 | 2710384.8269 | 1261689.3086
47 | 2710390.5367 | 1261691.4837 | 2710392.1358 | 1261707.1491
48 | 2710345.6713 | 1261630.1388 | 2710362.9352 | 1261642.7827 | 2710372.4138 | 1261642.4048
49 | 2710396.2115 | 1261588.1904 | 2710370.6164 | 1261589.8027
50 | 2710618.6863 | 1261957.1244 | 2710583.3633 | 1261972.0286
51 | 2710576.1602 | 1261975.0679 | 2710583.3633 | 1261972.0286
52 | 2710618.6863 | 1261957.1244 | 2710662.4559 | 1261938.6563
53 | 2710505.908 | 1262005.2612 | 2710531.6869 | 1261993.8329 | 2710576.1602 | 1261975.0679
54 | 2710677.8073 | 1261932.179 | 2710662.4559 | 1261938.6563
55 | 2710677.8073 | 1261932.179 | 2710707.7176 | 1261957.8112
56 | 2710677.8073 | 1261932.179 | 2710691.3087 | 1261925.1256
57 | 2710726.8274 | 1261974.1878 | 2710707.7176 | 1261957.8112
58 | 2710691.3087 | 1261925.1256 | 2710657.5218 | 1261897.8124
59 | 2710467.8497 | 1261786.5945 | 2710449.3844 | 1261793.3564
60 | 2710377.4631 | 1261819.6935 | 2710449.3844 | 1261793.3564
61 | 2710479.9939 | 1261782.1473 | 2710467.8497 | 1261786.5945
62 | 2710364.2315 | 1261824.4173 | 2710377.4631 | 1261819.6935
63 | 2710500.7831 | 1261769.5975 | 2710490.5824 | 1261778.2699 | 2710479.9939 | 1261782.1473
64 | 2710500.7831 | 1261769.5975 | 2710465.7524 | 1261740.5617
65 | 2710479.165 | 1261731.4834 | 2710510.9015 | 1261757.2648 | 2710504.6854 | 1261764.8441 | 2710500.7831 | 1261769.5975
66 | 2710500.7831 | 1261769.5975 | 2710530.6453 | 1261794.2231
67 | 2710496.4875 | 1261888.1072 | 2710495.0827 | 1261888.7191
68 | 2710496.4875 | 1261888.1072 | 2710503.181 | 1261885.1916
69 | 2710465.7524 | 1261740.5617 | 2710451.4375 | 1261728.6966 | 2710445.4188 | 1261723.7645
70 | 2710479.165 | 1261731.4834 | 2710475.5297 | 1261728.5302
71 | 2710593.3421 | 1261845.9256 | 2710530.6453 | 1261794.2231
72 | 2710503.181 | 1261885.1916 | 2710543.0951 | 1261867.8049
73 | 2710593.3421 | 1261845.9256 | 2710557.4632 | 1261861.5461
74 | 2710593.3421 | 1261845.9256 | 2710634.6122 | 1261879.2925
75 | 2710557.4632 | 1261861.5461 | 2710543.0951 | 1261867.8049
76 | 2710557.4632 | 1261861.5461 | 2710562.9403 | 1261874.5373
77 | 2710634.6122 | 1261879.2925 | 2710657.5218 | 1261897.8124
78 | 2710562.9403 | 1261874.5373 | 2710530.8106 | 1261888.407
79 | 2710726.8274 | 1261974.1878 | 2710732.4675 | 1261985.6921 | 2710718.1532 | 1261986.6816
80 | 2710718.1532 | 1261986.6816 | 2710708.82 | 1261987.3268

## bus_geodata
| x | y | coords
0 | 2710178.3883 | 1261716.9119
1 | 2710230.7015 | 1261715.0485
2 | 2710165.965 | 1261717.3545
3 | 2710251.8608 | 1261714.2948
4 | 2710134.1438 | 1261718.488
5 | 2710295.5712 | 1261707.6585
6 | 2710239.9066 | 1261680.5652
7 | 2710096.3377 | 1261791.1527
8 | 2710296.9418 | 1261707.45
9 | 2710238.9169 | 1261677.7726
10 | 2710088.2337 | 1261810.1878
11 | 2710087.7702 | 1261791.4824
12 | 2710299.3666 | 1261540.0806
13 | 2710302.9839 | 1261523.1071
14 | 2710281.9136 | 1261574.2801
15 | 2710279.3879 | 1261572.3091
16 | 2710280.9522 | 1261580.9679
17 | 2710299.6511 | 1261522.7891
18 | 2710321.5067 | 1261524.8633
19 | 2710292.5881 | 1261547.2621
20 | 2710275.1904 | 1261569.0503
21 | 2710280.9789 | 1261589.2309
22 | 2710299.5989 | 1261598.8531
23 | 2710337.7598 | 1261518.5962
24 | 2710216.5078 | 1261614.0172
25 | 2710247.6601 | 1261602.0405
26 | 2710231.6344 | 1261657.2248
27 | 2710319.8879 | 1261615.6344
28 | 2710341.6578 | 1261498.2598
29 | 2710317.248 | 1261619.3773
30 | 2710323.8771 | 1261624.8731
31 | 2710344.0567 | 1261591.4757
32 | 2710339.161 | 1261637.3346
33 | 2710345.2457 | 1261479.5412
34 | 2710405.7515 | 1261502.7289
35 | 2710366.4659 | 1261534.1486
36 | 2710401.1049 | 1261544.3545
37 | 2710411.9077 | 1261677.5039
38 | 2710400.1461 | 1261687.0259
39 | 2710455.0408 | 1261711.8853
40 | 2710383.926 | 1261672.9779
41 | 2710384.8269 | 1261689.3086
42 | 2710361.2409 | 1261654.9153
43 | 2710390.5367 | 1261691.4837
44 | 2710345.6713 | 1261630.1388
45 | 2710372.4138 | 1261642.4048
46 | 2710396.2115 | 1261588.1904
47 | 2710370.6164 | 1261589.8027
48 | 2710358.0452 | 1261553.5734
49 | 2710583.3633 | 1261972.0286
50 | 2710618.6863 | 1261957.1244
51 | 2710576.1602 | 1261975.0679
52 | 2710662.4559 | 1261938.6563
53 | 2710505.908 | 1262005.2612
54 | 2710677.8073 | 1261932.179
55 | 2710707.7176 | 1261957.8112
56 | 2710691.3087 | 1261925.1256
57 | 2710449.3844 | 1261793.3564
58 | 2710467.8497 | 1261786.5945
59 | 2710377.4631 | 1261819.6935
60 | 2710479.9939 | 1261782.1473
61 | 2710364.2315 | 1261824.4173
62 | 2710500.7831 | 1261769.5975
63 | 2710495.0827 | 1261888.7191
64 | 2710496.4875 | 1261888.1072
65 | 2710465.7524 | 1261740.5617
66 | 2710479.165 | 1261731.4834
67 | 2710530.6453 | 1261794.2231
68 | 2710503.181 | 1261885.1916
69 | 2710593.3421 | 1261845.9256
70 | 2710557.4632 | 1261861.5461
71 | 2710634.6122 | 1261879.2925
72 | 2710445.4188 | 1261723.7645
73 | 2710475.5297 | 1261728.5302
74 | 2710657.5218 | 1261897.8124
75 | 2710543.0951 | 1261867.8049
76 | 2710562.9403 | 1261874.5373
77 | 2710726.8274 | 1261974.1878
78 | 2710718.1532 | 1261986.6816
79 | 2710530.8106 | 1261888.407
80 | 2710392.1358 | 1261707.1491
81 | 2710708.82 | 1261987.3268
82 | 2710251.8608 | 1261714.2948

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1