## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4551-3_1_3_node_81 | 0.4 | n |  | TRUE
1 | bus_LV_4551-3_1_3_node_199 | 0.4 | n |  | TRUE
2 | bus_LV_4551-3_1_3_node_83 | 0.4 | n |  | TRUE
3 | bus_LV_4551-3_1_3_node_84 | 0.4 | n |  | TRUE
4 | bus_LV_4551-3_1_3_node_85 | 0.4 | n |  | TRUE
5 | bus_LV_4551-3_1_3_node_87 | 0.4 | n |  | TRUE
6 | bus_LV_4551-3_1_3_node_88 | 0.4 | n |  | TRUE
7 | bus_LV_4551-3_1_3_node_89 | 0.4 | n |  | TRUE
8 | bus_LV_4551-3_1_3_node_90 | 0.4 | n |  | TRUE
9 | bus_LV_4551-3_1_3_node_91 | 0.4 | n |  | TRUE
10 | bus_LV_4551-3_1_3_node_264 | 0.4 | n |  | TRUE
11 | bus_LV_4551-3_1_3_node_238 | 0.4 | n |  | TRUE
12 | bus_LV_4551-3_1_3_node_191 | 0.4 | n |  | TRUE
13 | bus_LV_4551-3_1_3_node_192 | 0.4 | n |  | TRUE
14 | bus_LV_4551-3_1_3_node_193 | 0.4 | n |  | TRUE
15 | bus_LV_4551-3_1_3_node_194 | 0.4 | n |  | TRUE
16 | bus_LV_4551-3_1_3_node_281 | 0.4 | n |  | TRUE
17 | bus_LV_4551-3_1_3_node_200 | 0.4 | n |  | TRUE
18 | bus_LV_4551-3_1_3_node_227 | 0.4 | n |  | TRUE
19 | bus_LV_4551-3_1_3_node_201 | 0.4 | n |  | TRUE
20 | bus_LV_4551-3_1_3_node_202 | 0.4 | n |  | TRUE
21 | bus_LV_4551-3_1_3_node_203 | 0.4 | n |  | TRUE
22 | bus_LV_4551-3_1_3_node_204 | 0.4 | n |  | TRUE
23 | bus_LV_4551-3_1_3_node_205 | 0.4 | n |  | TRUE
24 | bus_LV_4551-3_1_3_node_206 | 0.4 | n |  | TRUE
25 | bus_LV_4551-3_1_3_node_221 | 0.4 | n |  | TRUE
26 | bus_LV_4551-3_1_3_node_231 | 0.4 | n |  | TRUE
27 | bus_LV_4551-3_1_3_node_207 | 0.4 | n |  | TRUE
28 | bus_LV_4551-3_1_3_node_208 | 0.4 | n |  | TRUE
29 | bus_LV_4551-3_1_3_node_209 | 0.4 | n |  | TRUE
30 | bus_LV_4551-3_1_3_node_210 | 0.4 | n |  | TRUE
31 | bus_LV_4551-3_1_3_node_211 | 0.4 | n |  | TRUE
32 | bus_LV_4551-3_1_3_node_212 | 0.4 | n |  | TRUE
33 | bus_LV_4551-3_1_3_node_232 | 0.4 | n |  | TRUE
34 | bus_LV_4551-3_1_3_node_228 | 0.4 | n |  | TRUE
35 | bus_LV_4551-3_1_3_node_214 | 0.4 | n |  | TRUE
36 | bus_LV_4551-3_1_3_node_213 | 0.4 | n |  | TRUE
37 | bus_LV_4551-3_1_3_node_215 | 0.4 | n |  | TRUE
38 | bus_LV_4551-3_1_3_node_216 | 0.4 | n |  | TRUE
39 | bus_LV_4551-3_1_3_node_217 | 0.4 | n |  | TRUE
40 | bus_LV_4551-3_1_3_node_218 | 0.4 | n |  | TRUE
41 | bus_LV_4551-3_1_3_node_219 | 0.4 | n |  | TRUE
42 | bus_LV_4551-3_1_3_node_230 | 0.4 | n |  | TRUE
43 | bus_LV_4551-3_1_3_node_220 | 0.4 | n |  | TRUE
44 | bus_LV_4551-3_1_3_node_222 | 0.4 | n |  | TRUE
45 | bus_LV_4551-3_1_3_node_223 | 0.4 | n |  | TRUE
46 | bus_LV_4551-3_1_3_node_236 | 0.4 | n |  | TRUE
47 | bus_LV_4551-3_1_3_node_224 | 0.4 | n |  | TRUE
48 | bus_LV_4551-3_1_3_node_225 | 0.4 | n |  | TRUE
49 | bus_LV_4551-3_1_3_node_226 | 0.4 | n |  | TRUE
50 | bus_LV_4551-3_1_3_node_237 | 0.4 | n |  | TRUE
51 | bus_LV_4551-3_1_3_node_229 | 0.4 | n |  | TRUE
52 | bus_LV_4551-3_1_3_node_233 | 0.4 | n |  | TRUE
53 | bus_LV_4551-3_1_3_node_234 | 0.4 | n |  | TRUE
54 | bus_LV_4551-3_1_3_node_235 | 0.4 | n |  | TRUE
55 | bus_LV_4551-3_1_3_node_272 | 0.4 | n |  | TRUE
56 | bus_LV_4551-3_1_3_node_282 | 0.4 | n |  | TRUE
57 | bus_LV_4551-3_1_3_node_239 | 0.4 | n |  | TRUE
58 | bus_LV_4551-3_1_3_node_240 | 0.4 | n |  | TRUE
59 | bus_LV_4551-3_1_3_node_241 | 0.4 | n |  | TRUE
60 | bus_LV_4551-3_1_3_node_265 | 0.4 | n |  | TRUE
61 | bus_LV_4551-3_1_3_node_243 | 0.4 | n |  | TRUE
62 | bus_LV_4551-3_1_3_node_244 | 0.4 | n |  | TRUE
63 | bus_LV_4551-3_1_3_node_259 | 0.4 | n |  | TRUE
64 | bus_LV_4551-3_1_3_node_245 | 0.4 | n |  | TRUE
65 | bus_LV_4551-3_1_3_node_246 | 0.4 | n |  | TRUE
66 | bus_LV_4551-3_1_3_node_247 | 0.4 | n |  | TRUE
67 | bus_LV_4551-3_1_3_node_249 | 0.4 | n |  | TRUE
68 | bus_LV_4551-3_1_3_node_250 | 0.4 | n |  | TRUE
69 | bus_LV_4551-3_1_3_node_256 | 0.4 | n |  | TRUE
70 | bus_LV_4551-3_1_3_node_253 | 0.4 | n |  | TRUE
71 | bus_LV_4551-3_1_3_node_251 | 0.4 | n |  | TRUE
72 | bus_LV_4551-3_1_3_node_260 | 0.4 | n |  | TRUE
73 | bus_LV_4551-3_1_3_node_258 | 0.4 | n |  | TRUE
74 | bus_LV_4551-3_1_3_node_255 | 0.4 | n |  | TRUE
75 | bus_LV_4551-3_1_3_node_257 | 0.4 | n |  | TRUE
76 | bus_LV_4551-3_1_3_node_261 | 0.4 | n |  | TRUE
77 | bus_LV_4551-3_1_3_node_262 | 0.4 | n |  | TRUE
78 | bus_LV_4551-3_1_3_node_266 | 0.4 | n |  | TRUE
79 | bus_LV_4551-3_1_3_node_268 | 0.4 | n |  | TRUE
80 | bus_LV_4551-3_1_3_node_269 | 0.4 | n |  | TRUE
81 | bus_LV_4551-3_1_3_node_270 | 0.4 | n |  | TRUE
82 | bus_LV_4551-3_1_3_node_271 | 0.4 | n |  | TRUE
83 | bus_LV_4551-3_1_3_node_273 | 0.4 | n |  | TRUE
84 | bus_LV_4551-3_1_3_node_297 | 0.4 | n |  | TRUE
85 | bus_LV_4551-3_1_3_node_293 | 0.4 | n |  | TRUE
86 | bus_LV_4551-3_1_3_node_291 | 0.4 | n |  | TRUE
87 | bus_LV_4551-3_1_3_node_274 | 0.4 | n |  | TRUE
88 | bus_LV_4551-3_1_3_node_275 | 0.4 | n |  | TRUE
89 | bus_LV_4551-3_1_3_node_276 | 0.4 | n |  | TRUE
90 | bus_LV_4551-3_1_3_node_277 | 0.4 | n |  | TRUE
91 | bus_LV_4551-3_1_3_node_278 | 0.4 | n |  | TRUE
92 | bus_LV_4551-3_1_3_node_279 | 0.4 | n |  | TRUE
93 | bus_LV_4551-3_1_3_node_280 | 0.4 | n |  | TRUE
94 | bus_LV_4551-3_1_3_node_289 | 0.4 | n |  | TRUE
95 | bus_LV_4551-3_1_3_node_288 | 0.4 | n |  | TRUE
96 | bus_LV_4551-3_1_3_node_287 | 0.4 | n |  | TRUE
97 | bus_LV_4551-3_1_3_node_283 | 0.4 | n |  | TRUE
98 | bus_LV_4551-3_1_3_node_284 | 0.4 | n |  | TRUE
99 | bus_LV_4551-3_1_3_node_285 | 0.4 | n |  | TRUE
100 | bus_LV_4551-3_1_3_node_286 | 0.4 | n |  | TRUE
101 | bus_LV_4551-3_1_3_node_290 | 0.4 | n |  | TRUE
102 | bus_LV_4551-3_1_3_node_296 | 0.4 | n |  | TRUE
103 | bus_LV_4551-3_1_3_node_295 | 0.4 | n |  | TRUE
104 | bus_LV_4551-3_1_3_node_292 | 0.4 | n |  | TRUE
105 | bus_LV_4551-3_1_3_node_294 | 0.4 | n |  | TRUE
106 | bus_MV_34_1_node_81 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4551-3_1_3_load_81 | 0 | 0.042779 | 0.010721 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4551-3_1_3_load_84 | 3 | 0.00084235 | 0.00021111 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4551-3_1_3_load_85 | 4 | 0.0069426 | 0.00174 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4551-3_1_3_load_87 | 5 | 0.0006816 | 0.00017083 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4551-3_1_3_load_89 | 7 | 0.00089955 | 0.00022545 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4551-3_1_3_load_90 | 8 | 0.00049773 | 0.00012474 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4551-3_1_3_load_91 | 9 | 0.0033279 | 0.00083405 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4551-3_1_3_load_191 | 12 | 0.00059555 | 0.00014926 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4551-3_1_3_load_192 | 13 | 0.0035737 | 0.00089564 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4551-3_1_3_load_281 | 16 | 0.0031649 | 0.0007932 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4551-3_1_3_load_200 | 17 | 0.0016852 | 0.00042235 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4551-3_1_3_load_227 | 18 | 0.0026163 | 0.00065571 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4551-3_1_3_load_201 | 19 | 0.0027498 | 0.00068917 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4551-3_1_3_load_202 | 20 | 0.0012228 | 0.00030647 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4551-3_1_3_load_204 | 22 | 0.0026152 | 0.00065543 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4551-3_1_3_load_205 | 23 | 0.0013058 | 0.00032725 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4551-3_1_3_load_206 | 24 | 0.0045422 | 0.0011384 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4551-3_1_3_load_221 | 25 | 0.0016911 | 0.00042384 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4551-3_1_3_load_231 | 26 | 0.0099081 | 0.0024832 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4551-3_1_3_load_207 | 27 | 0.0020647 | 0.00051746 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4551-3_1_3_load_208 | 28 | 0.0012469 | 0.0003125 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4551-3_1_3_load_210 | 30 | 0.0016348 | 0.00040973 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4551-3_1_3_load_212 | 32 | 0.0011539 | 0.0002892 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4551-3_1_3_load_232 | 33 | 0.0019447 | 0.00048738 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4551-3_1_3_load_228 | 34 | 0.0033635 | 0.00084296 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4551-3_1_3_load_214 | 35 | 0.0025436 | 0.00063749 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4551-3_1_3_load_213 | 36 | 0.0026028 | 0.00065233 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4551-3_1_3_load_215 | 37 | 0.0012208 | 0.00030597 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4551-3_1_3_load_216 | 38 | 0.0043877 | 0.0010997 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4551-3_1_3_load_217 | 39 | 0.0031983 | 0.00080157 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4551-3_1_3_load_218 | 40 | 0.0051764 | 0.0012973 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4551-3_1_3_load_219 | 41 | 0.001719 | 0.00043082 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4551-3_1_3_load_230 | 42 | 0.0027796 | 0.00069664 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4551-3_1_3_load_220 | 43 | 0.0059503 | 0.0014913 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4551-3_1_3_load_222 | 44 | 0.0041856 | 0.001049 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4551-3_1_3_load_223 | 45 | 0.00060963 | 0.00015279 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4551-3_1_3_load_224 | 47 | 0.0024624 | 0.00061713 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4551-3_1_3_load_225 | 48 | 0.0037801 | 0.00094738 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4551-3_1_3_load_226 | 49 | 0.002302 | 0.00057693 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4551-3_1_3_load_229 | 51 | 0.003411 | 0.00085487 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4551-3_1_3_load_233 | 52 | 0.013043 | 0.0032688 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4551-3_1_3_load_234 | 53 | 0.0011774 | 0.00029509 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4551-3_1_3_load_235 | 54 | 0.0010604 | 0.00026576 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4551-3_1_3_load_239 | 57 | 0.00062306 | 0.00015615 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4551-3_1_3_load_240 | 58 | 0.0013592 | 0.00034064 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4551-3_1_3_load_265 | 60 | 0.0039148 | 0.00098114 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4551-3_1_3_load_244 | 62 | 0.00070804 | 0.00017745 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4551-3_1_3_load_259 | 63 | 0.00057145 | 0.00014322 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4551-3_1_3_load_245 | 64 | 0.004134 | 0.0010361 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4551-3_1_3_load_246 | 65 | 0.0028397 | 0.00071168 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4551-3_1_3_load_250 | 68 | 0.0030563 | 0.00076597 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4551-3_1_3_load_253 | 70 | 0.00044592 | 0.00011176 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4551-3_1_3_load_251 | 71 | 0.0039706 | 0.00099513 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4551-3_1_3_load_255 | 74 | 0.0018502 | 0.00046371 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4551-3_1_3_load_257 | 75 | 0.00024679 | 6.1852e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4551-3_1_3_load_262 | 77 | 0.00061745 | 0.00015475 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4551-3_1_3_load_266 | 78 | 0.0021862 | 0.00054791 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4551-3_1_3_load_268 | 79 | 0.0012946 | 0.00032446 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4551-3_1_3_load_270 | 81 | 0.0038833 | 0.00097324 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4551-3_1_3_load_271 | 82 | 0.0013164 | 0.00032992 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4551-3_1_3_load_273 | 83 | 0.0023321 | 0.00058447 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4551-3_1_3_load_293 | 85 | 0.0015047 | 0.00037712 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4551-3_1_3_load_291 | 86 | 0.0015821 | 0.00039652 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4551-3_1_3_load_275 | 88 | 0.0013986 | 0.00035053 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4551-3_1_3_load_276 | 89 | 0.001901 | 0.00047645 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4551-3_1_3_load_277 | 90 | 0.0014049 | 0.00035209 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4551-3_1_3_load_278 | 91 | 0.0014059 | 0.00035236 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4551-3_1_3_load_289 | 94 | 0.0024124 | 0.00060461 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4551-3_1_3_load_288 | 95 | 0.0026382 | 0.0006612 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4551-3_1_3_load_287 | 96 | 0.010063 | 0.0025221 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4551-3_1_3_load_283 | 97 | 0.0038224 | 0.00095799 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4551-3_1_3_load_286 | 100 | 0.0081629 | 0.0020458 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4551-3_1_3_load_296 | 102 | 0.0070673 | 0.0017712 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4551-3_1_3_load_295 | 103 | 0.0099566 | 0.0024954 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4551-3_1_3_load_294 | 105 | 0.001539 | 0.00038571 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 103 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4551-3_1_3_line_0 |  | 0 | 1 | 0.081487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4551-3_1_3_line_1 |  | 1 | 17 | 0.010077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_4551-3_1_3_line_2 |  | 1 | 4 | 0.032718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4551-3_1_3_line_3 |  | 2 | 3 | 0.0076351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4551-3_1_3_line_4 |  | 2 | 4 | 0.020722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4551-3_1_3_line_5 |  | 5 | 6 | 0.019425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4551-3_1_3_line_6 |  | 5 | 7 | 0.0053156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4551-3_1_3_line_7 |  | 6 | 8 | 0.043581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4551-3_1_3_line_8 |  | 6 | 9 | 0.037332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4551-3_1_3_line_9 |  | 6 | 10 | 0.066269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4551-3_1_3_line_10 |  | 8 | 11 | 0.10374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4551-3_1_3_line_11 |  | 10 | 78 | 0.032806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4551-3_1_3_line_12 |  | 10 | 76 | 0.00806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4551-3_1_3_line_13 |  | 11 | 24 | 0.032299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_4551-3_1_3_line_14 |  | 12 | 13 | 0.034614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4551-3_1_3_line_15 |  | 12 | 14 | 0.019799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4551-3_1_3_line_16 |  | 14 | 15 | 0.053815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4551-3_1_3_line_17 |  | 15 | 16 | 0.029701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4551-3_1_3_line_18 |  | 16 | 46 | 0.021574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4551-3_1_3_line_19 |  | 17 | 18 | 0.046624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_4551-3_1_3_line_20 |  | 18 | 49 | 0.023976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_4551-3_1_3_line_21 |  | 19 | 20 | 0.025652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4551-3_1_3_line_22 |  | 19 | 21 | 0.047278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4551-3_1_3_line_23 |  | 21 | 22 | 0.015544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4551-3_1_3_line_24 |  | 21 | 23 | 0.048814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_4551-3_1_3_line_25 |  | 21 | 24 | 0.036761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_4551-3_1_3_line_26 |  | 22 | 25 | 0.018158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_4551-3_1_3_line_27 |  | 23 | 26 | 0.014159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_4551-3_1_3_line_28 |  | 25 | 43 | 0.001947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_4551-3_1_3_line_29 |  | 26 | 40 | 0.010241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_4551-3_1_3_line_30 |  | 27 | 28 | 0.0020181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_4551-3_1_3_line_31 |  | 27 | 29 | 0.033599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_4551-3_1_3_line_32 |  | 28 | 30 | 0.0073179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_4551-3_1_3_line_33 |  | 29 | 31 | 0.025812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_4551-3_1_3_line_34 |  | 29 | 32 | 0.020323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4551-3_1_3_line_35 |  | 30 | 33 | 0.019693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_4551-3_1_3_line_36 |  | 31 | 34 | 0.023769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_4551-3_1_3_line_37 |  | 32 | 35 | 0.016268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4551-3_1_3_line_38 |  | 33 | 50 | 0.036928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_4551-3_1_3_line_39 |  | 34 | 51 | 0.01023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_4551-3_1_3_line_40 |  | 35 | 36 | 0.0036773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4551-3_1_3_line_41 |  | 37 | 38 | 0.011351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_4551-3_1_3_line_42 |  | 37 | 39 | 0.0098133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_4551-3_1_3_line_43 |  | 38 | 40 | 0.0071325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_4551-3_1_3_line_44 |  | 39 | 41 | 0.017131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_4551-3_1_3_line_45 |  | 41 | 42 | 0.0074005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_4551-3_1_3_line_46 |  | 42 | 51 | 0.022382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_4551-3_1_3_line_47 |  | 43 | 44 | 0.043853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_4551-3_1_3_line_48 |  | 44 | 45 | 0.017744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_4551-3_1_3_line_49 |  | 45 | 46 | 0.028622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_4551-3_1_3_line_50 |  | 46 | 56 | 0.038464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_4551-3_1_3_line_51 |  | 47 | 48 | 0.022669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4551-3_1_3_line_52 |  | 47 | 49 | 0.0011105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_4551-3_1_3_line_53 |  | 48 | 50 | 0.074772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_4551-3_1_3_line_54 |  | 52 | 53 | 0.021571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4551-3_1_3_line_55 |  | 53 | 54 | 0.045818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4551-3_1_3_line_56 |  | 54 | 55 | 0.013214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4551-3_1_3_line_57 |  | 55 | 85 | 0.0088634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4551-3_1_3_line_58 |  | 55 | 86 | 0.020667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4551-3_1_3_line_59 |  | 56 | 96 | 0.021975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4551-3_1_3_line_60 |  | 56 | 97 | 0.020349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_4551-3_1_3_line_61 |  | 57 | 58 | 0.0018428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4551-3_1_3_line_62 |  | 57 | 59 | 0.026596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4551-3_1_3_line_63 |  | 57 | 60 | 0.048368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4551-3_1_3_line_64 |  | 59 | 61 | 0.023339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4551-3_1_3_line_65 |  | 59 | 62 | 0.015685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4551-3_1_3_line_66 |  | 61 | 63 | 0.013233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4551-3_1_3_line_67 |  | 63 | 73 | 0.026575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4551-3_1_3_line_68 |  | 64 | 65 | 0.001441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4551-3_1_3_line_69 |  | 64 | 66 | 0.042377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4551-3_1_3_line_70 |  | 66 | 67 | 0.03229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4551-3_1_3_line_71 |  | 66 | 68 | 0.024136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4551-3_1_3_line_72 |  | 66 | 69 | 0.054404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4551-3_1_3_line_73 |  | 67 | 70 | 0.023982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4551-3_1_3_line_74 |  | 67 | 71 | 0.026412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4551-3_1_3_line_75 |  | 68 | 72 | 0.012144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4551-3_1_3_line_76 |  | 69 | 74 | 0.020588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4551-3_1_3_line_77 |  | 70 | 73 | 0.017456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4551-3_1_3_line_78 |  | 72 | 76 | 0.031543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4551-3_1_3_line_79 |  | 73 | 75 | 0.02842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4551-3_1_3_line_80 |  | 76 | 77 | 0.012771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4551-3_1_3_line_81 |  | 79 | 80 | 0.0031458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4551-3_1_3_line_82 |  | 80 | 81 | 0.035037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4551-3_1_3_line_83 |  | 80 | 82 | 0.03278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4551-3_1_3_line_84 |  | 81 | 83 | 0.033398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4551-3_1_3_line_85 |  | 82 | 84 | 0.019103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4551-3_1_3_line_86 |  | 83 | 87 | 0.024319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4551-3_1_3_line_87 |  | 84 | 85 | 0.03227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4551-3_1_3_line_88 |  | 86 | 104 | 0.01303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4551-3_1_3_line_89 |  | 87 | 88 | 0.014163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4551-3_1_3_line_90 |  | 87 | 89 | 0.017262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4551-3_1_3_line_91 |  | 88 | 90 | 0.015282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4551-3_1_3_line_92 |  | 90 | 91 | 0.027713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4551-3_1_3_line_93 |  | 91 | 92 | 0.013012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4551-3_1_3_line_94 |  | 92 | 93 | 0.027524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4551-3_1_3_line_95 |  | 93 | 94 | 0.026666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4551-3_1_3_line_96 |  | 93 | 95 | 0.018607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4551-3_1_3_line_97 |  | 95 | 99 | 0.032507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4551-3_1_3_line_98 |  | 97 | 98 | 0.018075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_4551-3_1_3_line_99 |  | 98 | 99 | 0.014513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_4551-3_1_3_line_100 |  | 98 | 100 | 0.027549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
101 | LV_4551-3_1_3_line_101 |  | 99 | 101 | 0.027605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_4551-3_1_3_line_102 |  | 100 | 102 | 0.0016629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4551-3_1_3_line_103 |  | 101 | 103 | 0.021833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
104 | LV_4551-3_1_3_line_104 |  | 104 | 105 | 0.022409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4551-3_1_3_trafo_295 | 0.63 MVA 20/0.4 kV | 106 | 103 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2710105.924 | 1259840.4972 | 2710122.7431 | 1259760.765
1 | 2710122.7431 | 1259760.765 | 2710121.9345 | 1259758.0365 | 2710119.303 | 1259752.7942 | 2710118.636 | 1259751.603
2 | 2710122.7431 | 1259760.765 | 2710118.605 | 1259763.557 | 2710101.897 | 1259773.7658 | 2710094.6538 | 1259777.494
3 | 2710076.2296 | 1259786.9773 | 2710072.1071 | 1259780.5508
4 | 2710076.2296 | 1259786.9773 | 2710094.6538 | 1259777.494
5 | 2710630.9337 | 1259737.7464 | 2710650.2734 | 1259739.5664
6 | 2710655.5656 | 1259740.0645 | 2710650.2734 | 1259739.5664
7 | 2710617.9162 | 1259696.9129 | 2710617.0832 | 1259700.3336 | 2710618.8295 | 1259709.3517 | 2710624.3262 | 1259723.0104 | 2710627.8376 | 1259729.9597 | 2710630.9337 | 1259737.7464
8 | 2710630.9337 | 1259737.7464 | 2710593.6778 | 1259740.1321
9 | 2710620.4665 | 1259803.184 | 2710630.9337 | 1259737.7464
10 | 2710522.3645 | 1259737.3063 | 2710617.9162 | 1259696.9129
11 | 2710620.4665 | 1259803.184 | 2710652.8246 | 1259808.589
12 | 2710620.4665 | 1259803.184 | 2710618.2633 | 1259810.9383
13 | 2710522.3645 | 1259737.3063 | 2710509.3036 | 1259730.223 | 2710493.2044 | 1259723.5137
14 | 2710365.6395 | 1259941.7096 | 2710365.0607 | 1259943.3783 | 2710354.9507 | 1259974.6314
15 | 2710372.1279 | 1259923.004 | 2710365.6395 | 1259941.7096
16 | 2710372.1279 | 1259923.004 | 2710387.6625 | 1259871.4723
17 | 2710387.6625 | 1259871.4723 | 2710398.7277 | 1259843.9092
18 | 2710406.765 | 1259823.8884 | 2710398.7277 | 1259843.9092
19 | 2710117.956 | 1259710.3737 | 2710108.0494 | 1259727.986 | 2710107.9134 | 1259732.454 | 2710118.636 | 1259751.603
20 | 2710117.956 | 1259710.3737 | 2710128.3534 | 1259691.8889 | 2710129.6522 | 1259689.4451
21 | 2710471.7325 | 1259664.1087 | 2710478.5619 | 1259639.3827
22 | 2710459.1455 | 1259709.6803 | 2710471.7325 | 1259664.1087
23 | 2710459.1455 | 1259709.6803 | 2710451.1936 | 1259723.0367
24 | 2710459.1455 | 1259709.6803 | 2710415.6012 | 1259687.6192
25 | 2710459.1455 | 1259709.6803 | 2710490.8934 | 1259722.5505 | 2710493.2044 | 1259723.5137
26 | 2710451.1936 | 1259723.0367 | 2710446.9336 | 1259730.1919 | 2710442.6681 | 1259739.0492
27 | 2710415.6012 | 1259687.6192 | 2710402.9708 | 1259681.2202
28 | 2710441.8234 | 1259740.8033 | 2710442.6681 | 1259739.0492
29 | 2710393.9748 | 1259676.3378 | 2710397.6355 | 1259678.5172 | 2710402.9708 | 1259681.2202
30 | 2710239.349 | 1259618.5558 | 2710237.331 | 1259618.5791
31 | 2710272.9264 | 1259618.9416 | 2710262.4138 | 1259618.2897 | 2710239.349 | 1259618.5558
32 | 2710237.331 | 1259618.5791 | 2710232.2053 | 1259618.6383 | 2710230.0493 | 1259618.243
33 | 2710298.1823 | 1259624.6171 | 2710272.9264 | 1259618.9416
34 | 2710272.9264 | 1259618.9416 | 2710278.7869 | 1259599.4819
35 | 2710230.0493 | 1259618.243 | 2710210.679 | 1259614.6917
36 | 2710298.1823 | 1259624.6171 | 2710320.5599 | 1259632.6299 | 2710320.5599 | 1259632.6299
37 | 2710278.7869 | 1259599.4819 | 2710283.4781 | 1259583.9048
38 | 2710175.9033 | 1259602.4205 | 2710207.0877 | 1259614.0332 | 2710210.679 | 1259614.6917
39 | 2710320.5599 | 1259632.6299 | 2710329.3502 | 1259637.8632
40 | 2710284.5385 | 1259580.3837 | 2710283.4781 | 1259583.9048
41 | 2710378.0926 | 1259666.8822 | 2710387.8463 | 1259672.6891
42 | 2710378.0926 | 1259666.8822 | 2710369.6605 | 1259661.8621
43 | 2710393.9748 | 1259676.3378 | 2710387.8463 | 1259672.6891
44 | 2710354.9411 | 1259653.0989 | 2710369.6605 | 1259661.8621
45 | 2710354.9411 | 1259653.0989 | 2710348.5823 | 1259649.3131
46 | 2710329.3502 | 1259637.8632 | 2710348.5823 | 1259649.3131
47 | 2710441.8234 | 1259740.8033 | 2710431.6157 | 1259761.9997 | 2710424.0416 | 1259780.8623
48 | 2710424.0416 | 1259780.8623 | 2710417.43 | 1259797.328
49 | 2710406.765 | 1259823.8884 | 2710417.43 | 1259797.328
50 | 2710370.3955 | 1259811.0546 | 2710406.765 | 1259823.8884
51 | 2710130.1734 | 1259688.4645 | 2710140.8122 | 1259668.4468
52 | 2710130.1734 | 1259688.4645 | 2710129.6522 | 1259689.4451
53 | 2710175.9033 | 1259602.4205 | 2710140.8122 | 1259668.4468
54 | 2710276.8564 | 1259683.1695 | 2710274.1772 | 1259690.5255 | 2710268.9717 | 1259703.244
55 | 2710268.9717 | 1259703.244 | 2710263.3319 | 1259717.0236 | 2710262.7585 | 1259723.5184 | 2710256.5547 | 1259742.4744 | 2710254.0284 | 1259746.1546
56 | 2710248.2227 | 1259757.91 | 2710250.7735 | 1259750.8961 | 2710254.0284 | 1259746.1546
57 | 2710248.2227 | 1259757.91 | 2710245.1953 | 1259766.2404
58 | 2710248.2227 | 1259757.91 | 2710267.7378 | 1259764.7124
59 | 2710370.3955 | 1259811.0546 | 2710377.402 | 1259790.2269
60 | 2710370.3955 | 1259811.0546 | 2710369.3491 | 1259814.2044 | 2710353.2895 | 1259808.5369
61 | 2710658.0192 | 1259977.1205 | 2710659.814 | 1259977.5385
62 | 2710632.1162 | 1259971.0886 | 2710658.0192 | 1259977.1205
63 | 2710658.0192 | 1259977.1205 | 2710641.5818 | 1260022.6101
64 | 2710635.4283 | 1259947.9864 | 2710632.1162 | 1259971.0886
65 | 2710632.1162 | 1259971.0886 | 2710616.5642 | 1259969.0527
66 | 2710635.4283 | 1259947.9864 | 2710637.1149 | 1259934.8613
67 | 2710640.502 | 1259908.5034 | 2710637.1149 | 1259934.8613
68 | 2710645.6934 | 1259876.1339 | 2710647.1223 | 1259876.3208
69 | 2710603.6744 | 1259870.6384 | 2710645.6934 | 1259876.1339
70 | 2710603.6744 | 1259870.6384 | 2710599.4795 | 1259902.6538
71 | 2710603.6744 | 1259870.6384 | 2710606.8152 | 1259846.7073
72 | 2710603.6744 | 1259870.6384 | 2710549.6591 | 1259864.1458
73 | 2710599.4795 | 1259902.6538 | 2710623.2213 | 1259906.0392
74 | 2710599.4795 | 1259902.6538 | 2710597.2324 | 1259928.9696
75 | 2710614.15 | 1259842.2101 | 2710607.5254 | 1259841.2966 | 2710606.8152 | 1259846.7073
76 | 2710549.6591 | 1259864.1458 | 2710547.0813 | 1259884.5716
77 | 2710640.502 | 1259908.5034 | 2710623.2213 | 1259906.0392
78 | 2710614.15 | 1259842.2101 | 2710618.2633 | 1259810.9383
79 | 2710640.502 | 1259908.5034 | 2710668.7227 | 1259911.864
80 | 2710618.2633 | 1259810.9383 | 2710605.6562 | 1259808.8961
81 | 2710212.473 | 1259843.6389 | 2710209.7991 | 1259841.9817
82 | 2710212.473 | 1259843.6389 | 2710240.605 | 1259864.5233
83 | 2710212.473 | 1259843.6389 | 2710215.7806 | 1259836.8725 | 2710220.0566 | 1259829.5126 | 2710226.6488 | 1259814.1288
84 | 2710240.605 | 1259864.5233 | 2710253.2072 | 1259873.8788 | 2710267.4665 | 1259884.3699
85 | 2710234.173 | 1259796.5699 | 2710226.6488 | 1259814.1288
86 | 2710289.1405 | 1259895.1331 | 2710272.2975 | 1259887.9242 | 2710267.4665 | 1259884.3699
87 | 2710234.173 | 1259796.5699 | 2710245.1953 | 1259766.2404
88 | 2710280.0416 | 1259769.0012 | 2710267.7378 | 1259764.7124
89 | 2710289.1405 | 1259895.1331 | 2710295.5336 | 1259882.4949
90 | 2710289.1405 | 1259895.1331 | 2710305.416 | 1259900.8855
91 | 2710295.5336 | 1259882.4949 | 2710302.4316 | 1259868.8586 | 2710302.4316 | 1259868.8586
92 | 2710302.4316 | 1259868.8586 | 2710318.5048 | 1259874.096 | 2710321.9184 | 1259863.8409
93 | 2710326.0281 | 1259851.4949 | 2710321.9184 | 1259863.8409
94 | 2710326.0281 | 1259851.4949 | 2710315.1263 | 1259847.8886 | 2710302.0637 | 1259838.4704
95 | 2710302.0637 | 1259838.4704 | 2710291.8131 | 1259831.0731 | 2710280.8526 | 1259822.3222
96 | 2710302.0637 | 1259838.4704 | 2710308.0241 | 1259820.8444
97 | 2710322.5241 | 1259797.6729 | 2710313.4834 | 1259822.8034 | 2710308.0241 | 1259820.8444
98 | 2710336.245 | 1259802.5217 | 2710353.2895 | 1259808.5369
99 | 2710322.5241 | 1259797.6729 | 2710336.245 | 1259802.5217
100 | 2710336.245 | 1259802.5217 | 2710345.5522 | 1259776.592
101 | 2710310.5134 | 1259781.5687 | 2710308.7786 | 1259786.4627 | 2710324.3844 | 1259792.1139 | 2710322.5241 | 1259797.6729
102 | 2710346.114 | 1259775.0269 | 2710345.5522 | 1259776.592
103 | 2710310.5134 | 1259781.5687 | 2710317.8938 | 1259761.0214
104 | 2710280.0416 | 1259769.0012 | 2710287.4976 | 1259747.8695

## bus_geodata
| x | y | coords
0 | 2710105.924 | 1259840.4972
1 | 2710122.7431 | 1259760.765
2 | 2710076.2296 | 1259786.9773
3 | 2710072.1071 | 1259780.5508
4 | 2710094.6538 | 1259777.494
5 | 2710650.2734 | 1259739.5664
6 | 2710630.9337 | 1259737.7464
7 | 2710655.5656 | 1259740.0645
8 | 2710617.9162 | 1259696.9129
9 | 2710593.6778 | 1259740.1321
10 | 2710620.4665 | 1259803.184
11 | 2710522.3645 | 1259737.3063
12 | 2710365.6395 | 1259941.7096
13 | 2710354.9507 | 1259974.6314
14 | 2710372.1279 | 1259923.004
15 | 2710387.6625 | 1259871.4723
16 | 2710398.7277 | 1259843.9092
17 | 2710118.636 | 1259751.603
18 | 2710117.956 | 1259710.3737
19 | 2710471.7325 | 1259664.1087
20 | 2710478.5619 | 1259639.3827
21 | 2710459.1455 | 1259709.6803
22 | 2710451.1936 | 1259723.0367
23 | 2710415.6012 | 1259687.6192
24 | 2710493.2044 | 1259723.5137
25 | 2710442.6681 | 1259739.0492
26 | 2710402.9708 | 1259681.2202
27 | 2710239.349 | 1259618.5558
28 | 2710237.331 | 1259618.5791
29 | 2710272.9264 | 1259618.9416
30 | 2710230.0493 | 1259618.243
31 | 2710298.1823 | 1259624.6171
32 | 2710278.7869 | 1259599.4819
33 | 2710210.679 | 1259614.6917
34 | 2710320.5599 | 1259632.6299
35 | 2710283.4781 | 1259583.9048
36 | 2710284.5385 | 1259580.3837
37 | 2710378.0926 | 1259666.8822
38 | 2710387.8463 | 1259672.6891
39 | 2710369.6605 | 1259661.8621
40 | 2710393.9748 | 1259676.3378
41 | 2710354.9411 | 1259653.0989
42 | 2710348.5823 | 1259649.3131
43 | 2710441.8234 | 1259740.8033
44 | 2710424.0416 | 1259780.8623
45 | 2710417.43 | 1259797.328
46 | 2710406.765 | 1259823.8884
47 | 2710130.1734 | 1259688.4645
48 | 2710140.8122 | 1259668.4468
49 | 2710129.6522 | 1259689.4451
50 | 2710175.9033 | 1259602.4205
51 | 2710329.3502 | 1259637.8632
52 | 2710276.8564 | 1259683.1695
53 | 2710268.9717 | 1259703.244
54 | 2710254.0284 | 1259746.1546
55 | 2710248.2227 | 1259757.91
56 | 2710370.3955 | 1259811.0546
57 | 2710658.0192 | 1259977.1205
58 | 2710659.814 | 1259977.5385
59 | 2710632.1162 | 1259971.0886
60 | 2710641.5818 | 1260022.6101
61 | 2710635.4283 | 1259947.9864
62 | 2710616.5642 | 1259969.0527
63 | 2710637.1149 | 1259934.8613
64 | 2710645.6934 | 1259876.1339
65 | 2710647.1223 | 1259876.3208
66 | 2710603.6744 | 1259870.6384
67 | 2710599.4795 | 1259902.6538
68 | 2710606.8152 | 1259846.7073
69 | 2710549.6591 | 1259864.1458
70 | 2710623.2213 | 1259906.0392
71 | 2710597.2324 | 1259928.9696
72 | 2710614.1501 | 1259842.2101
73 | 2710640.502 | 1259908.5034
74 | 2710547.0813 | 1259884.5716
75 | 2710668.7227 | 1259911.864
76 | 2710618.2633 | 1259810.9383
77 | 2710605.6562 | 1259808.8961
78 | 2710652.8247 | 1259808.589
79 | 2710209.7991 | 1259841.9817
80 | 2710212.473 | 1259843.6389
81 | 2710240.605 | 1259864.5233
82 | 2710226.6488 | 1259814.1288
83 | 2710267.4665 | 1259884.3699
84 | 2710234.173 | 1259796.5699
85 | 2710245.1953 | 1259766.2404
86 | 2710267.7378 | 1259764.7124
87 | 2710289.1405 | 1259895.1331
88 | 2710295.5336 | 1259882.4949
89 | 2710305.416 | 1259900.8855
90 | 2710302.4316 | 1259868.8586
91 | 2710321.9184 | 1259863.8409
92 | 2710326.0281 | 1259851.4949
93 | 2710302.0637 | 1259838.4704
94 | 2710280.8526 | 1259822.3222
95 | 2710308.0241 | 1259820.8444
96 | 2710377.402 | 1259790.2269
97 | 2710353.2895 | 1259808.5369
98 | 2710336.245 | 1259802.5217
99 | 2710322.5241 | 1259797.6729
100 | 2710345.5522 | 1259776.592
101 | 2710310.5134 | 1259781.5687
102 | 2710346.114 | 1259775.0269
103 | 2710317.8938 | 1259761.0214
104 | 2710280.0416 | 1259769.0012
105 | 2710287.4976 | 1259747.8695
106 | 2710310.5134 | 1259781.5687

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1