## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4621-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4621-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4621-1_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4621-1_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4621-1_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_4621-1_0_5_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_4621-1_0_5_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_4621-1_0_5_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_4621-1_0_5_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_4621-1_0_5_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_4621-1_0_5_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_4621-1_0_5_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_4621-1_0_5_node_48 | 0.4 | n |  | TRUE
13 | bus_LV_4621-1_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4621-1_0_5_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_4621-1_0_5_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_4621-1_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_4621-1_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4621-1_0_5_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_4621-1_0_5_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_4621-1_0_5_node_61 | 0.4 | n |  | TRUE
21 | bus_LV_4621-1_0_5_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_4621-1_0_5_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_4621-1_0_5_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_4621-1_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_4621-1_0_5_node_59 | 0.4 | n |  | TRUE
26 | bus_LV_4621-1_0_5_node_60 | 0.4 | n |  | TRUE
27 | bus_LV_4621-1_0_5_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_4621-1_0_5_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_4621-1_0_5_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_4621-1_0_5_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_4621-1_0_5_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_4621-1_0_5_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_4621-1_0_5_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_4621-1_0_5_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_4621-1_0_5_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_4621-1_0_5_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_4621-1_0_5_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_4621-1_0_5_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_4621-1_0_5_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_4621-1_0_5_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_4621-1_0_5_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_4621-1_0_5_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_4621-1_0_5_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_4621-1_0_5_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_4621-1_0_5_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_4621-1_0_5_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_4621-1_0_5_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_4621-1_0_5_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_4621-1_0_5_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_4621-1_0_5_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_4621-1_0_5_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_4621-1_0_5_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_4621-1_0_5_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_4621-1_0_5_node_21 | 0.4 | n |  | TRUE
55 | bus_LV_4621-1_0_5_node_22 | 0.4 | n |  | TRUE
56 | bus_LV_4621-1_0_5_node_23 | 0.4 | n |  | TRUE
57 | bus_LV_4621-1_0_5_node_24 | 0.4 | n |  | TRUE
58 | bus_LV_4621-1_0_5_node_25 | 0.4 | n |  | TRUE
59 | bus_LV_4621-1_0_5_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_4621-1_0_5_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_4621-1_0_5_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_4621-1_0_5_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_4621-1_0_5_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_4621-1_0_5_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_4621-1_0_5_node_52 | 0.4 | n |  | TRUE
66 | bus_MV_374_0_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4621-1_0_5_load_0 | 0 | 0.031267 | 0.0078361 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4621-1_0_5_load_3 | 3 | 0.044369 | 0.01112 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4621-1_0_5_load_19 | 5 | 0.036014 | 0.009026 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4621-1_0_5_load_56 | 10 | 0.00019096 | 4.786e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4621-1_0_5_load_48 | 12 | 0.065422 | 0.016396 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4621-1_0_5_load_37 | 14 | 0.00047552 | 0.00011918 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4621-1_0_5_load_36 | 15 | 0.00026843 | 6.7275e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4621-1_0_5_load_26 | 18 | 0.051554 | 0.012921 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4621-1_0_5_load_61 | 20 | 0.0048538 | 0.0012165 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4621-1_0_5_load_57 | 23 | 0.062736 | 0.015723 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4621-1_0_5_load_59 | 25 | 0.00021011 | 5.2658e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4621-1_0_5_load_63 | 28 | 0.00018649 | 4.6738e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4621-1_0_5_load_65 | 30 | 0.026648 | 0.0066785 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4621-1_0_5_load_38 | 32 | 0.063261 | 0.015855 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4621-1_0_5_load_58 | 34 | 0.060289 | 0.01511 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4621-1_0_5_load_69 | 35 | 0.026601 | 0.0066667 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4621-1_0_5_load_46 | 36 | 0.00020362 | 5.1032e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4621-1_0_5_load_42 | 38 | 0.00017058 | 4.2751e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4621-1_0_5_load_62 | 41 | 0.0010218 | 0.00025608 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4621-1_0_5_load_32 | 43 | 0.0018003 | 0.00045121 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4621-1_0_5_load_29 | 44 | 0.00051005 | 0.00012783 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4621-1_0_5_load_47 | 45 | 0.0011445 | 0.00028685 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4621-1_0_5_load_43 | 46 | 0.00040161 | 0.00010065 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4621-1_0_5_load_51 | 50 | 0.00022022 | 5.5193e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4621-1_0_5_load_67 | 51 | 0.00018714 | 4.6902e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4621-1_0_5_load_68 | 52 | 0.00018522 | 4.6421e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4621-1_0_5_load_66 | 53 | 0.025058 | 0.0062802 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4621-1_0_5_load_21 | 54 | 0.0019707 | 0.00049391 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4621-1_0_5_load_22 | 55 | 0.0001604 | 4.0199e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4621-1_0_5_load_23 | 56 | 0.00015965 | 4.0013e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4621-1_0_5_load_24 | 57 | 0.00018164 | 4.5522e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4621-1_0_5_load_25 | 58 | 0.00018534 | 4.6451e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4621-1_0_5_load_54 | 59 | 0.00019457 | 4.8763e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4621-1_0_5_load_55 | 60 | 0.00028702 | 7.1935e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4621-1_0_5_load_53 | 61 | 0.001127 | 0.00028246 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4621-1_0_5_load_45 | 62 | 0.00018865 | 4.7281e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4621-1_0_5_load_49 | 64 | 0.00032115 | 8.0489e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4621-1_0_5_load_52 | 65 | 0.00021479 | 5.3831e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4621-1_0_5_line_0 |  | 0 | 1 | 0.012571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_4621-1_0_5_line_1 |  | 0 | 2 | 0.014429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_4621-1_0_5_line_2 |  | 1 | 3 | 0.001514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_4621-1_0_5_line_3 |  | 1 | 4 | 0.056923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4621-1_0_5_line_4 |  | 2 | 5 | 0.00117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4621-1_0_5_line_5 |  | 2 | 6 | 0.010615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_4621-1_0_5_line_6 |  | 3 | 7 | 0.007908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_4621-1_0_5_line_7 |  | 4 | 11 | 0.28119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4621-1_0_5_line_8 |  | 4 | 12 | 0.028902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4621-1_0_5_line_9 |  | 6 | 35 | 0.001169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4621-1_0_5_line_10 |  | 6 | 29 | 0.009797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_4621-1_0_5_line_11 |  | 7 | 22 | 0.049083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4621-1_0_5_line_12 |  | 7 | 33 | 0.035364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_4621-1_0_5_line_13 |  | 8 | 9 | 0.039387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4621-1_0_5_line_14 |  | 8 | 10 | 0.03105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4621-1_0_5_line_15 |  | 9 | 25 | 0.013031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4621-1_0_5_line_16 |  | 9 | 26 | 0.010526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4621-1_0_5_line_17 |  | 10 | 36 | 0.013608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4621-1_0_5_line_18 |  | 11 | 45 | 0.086025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4621-1_0_5_line_19 |  | 13 | 14 | 0.018162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4621-1_0_5_line_20 |  | 13 | 15 | 0.0021824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4621-1_0_5_line_21 |  | 14 | 46 | 0.0045024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4621-1_0_5_line_22 |  | 15 | 40 | 0.0045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4621-1_0_5_line_23 |  | 16 | 17 | 0.00406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4621-1_0_5_line_24 |  | 16 | 18 | 0.016809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4621-1_0_5_line_25 |  | 17 | 24 | 0.023945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4621-1_0_5_line_26 |  | 19 | 20 | 0.003466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4621-1_0_5_line_27 |  | 19 | 21 | 0.028549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4621-1_0_5_line_28 |  | 21 | 49 | 0.023194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4621-1_0_5_line_29 |  | 21 | 50 | 0.02449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4621-1_0_5_line_30 |  | 22 | 23 | 0.005375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4621-1_0_5_line_31 |  | 24 | 29 | 0.010204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_4621-1_0_5_line_32 |  | 24 | 30 | 0.00119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4621-1_0_5_line_33 |  | 24 | 31 | 0.059338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4621-1_0_5_line_34 |  | 26 | 51 | 0.002286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4621-1_0_5_line_35 |  | 26 | 52 | 0.002117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4621-1_0_5_line_36 |  | 26 | 27 | 0.029257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4621-1_0_5_line_37 |  | 27 | 28 | 0.001422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4621-1_0_5_line_38 |  | 29 | 53 | 0.001159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4621-1_0_5_line_39 |  | 31 | 32 | 0.017333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4621-1_0_5_line_40 |  | 32 | 47 | 0.018599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4621-1_0_5_line_41 |  | 33 | 34 | 0.00108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4621-1_0_5_line_42 |  | 36 | 63 | 0.0044353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4621-1_0_5_line_43 |  | 37 | 38 | 0.0047129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4621-1_0_5_line_44 |  | 37 | 39 | 0.28094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4621-1_0_5_line_45 |  | 37 | 40 | 0.066737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4621-1_0_5_line_46 |  | 39 | 41 | 0.006387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4621-1_0_5_line_47 |  | 39 | 42 | 0.048872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4621-1_0_5_line_48 |  | 42 | 43 | 0.019656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4621-1_0_5_line_49 |  | 42 | 44 | 0.008899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4621-1_0_5_line_50 |  | 46 | 63 | 0.011096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4621-1_0_5_line_51 |  | 47 | 48 | 0.046038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4621-1_0_5_line_52 |  | 48 | 64 | 0.021884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4621-1_0_5_line_53 |  | 49 | 64 | 0.0042402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4621-1_0_5_line_54 |  | 50 | 65 | 0.023059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4621-1_0_5_line_55 |  | 54 | 55 | 0.0010599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4621-1_0_5_line_56 |  | 54 | 56 | 0.012103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4621-1_0_5_line_57 |  | 55 | 57 | 0.012779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4621-1_0_5_line_58 |  | 56 | 58 | 0.014238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4621-1_0_5_line_59 |  | 57 | 59 | 0.013842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4621-1_0_5_line_60 |  | 58 | 60 | 0.0072931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4621-1_0_5_line_61 |  | 59 | 61 | 0.0028431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4621-1_0_5_line_62 |  | 60 | 62 | 0.0065959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4621-1_0_5_line_63 |  | 61 | 65 | 0.011896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4621-1_0_5_line_64 |  | 62 | 63 | 0.027118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4621-1_0_5_trafo_17 | 0.63 MVA 20/0.4 kV | 66 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2707416.5267 | 1271218.5952 | 2707417.4546 | 1271211.8506 | 2707414.2804 | 1271211.3813 | 2707411.761 | 1271210.963
1 | 2707397.5127 | 1271208.6852 | 2707405.7061 | 1271209.9575 | 2707411.761 | 1271210.963
2 | 2707416.5267 | 1271218.5952 | 2707416.1699 | 1271220.0665
3 | 2707416.5267 | 1271218.5952 | 2707430.3103 | 1271221.5373 | 2707443.3626 | 1271224.1437 | 2707447.1208 | 1271223.9452 | 2707451.5092 | 1271218.4758 | 2707454.2284 | 1271215.4226 | 2707456.5682 | 1271212.129 | 2707458.5976 | 1271208.9409 | 2707460.6351 | 1271202.4167
4 | 2707397.7143 | 1271207.5323 | 2707397.5127 | 1271208.6852
5 | 2707387.002 | 1271206.9926 | 2707397.5127 | 1271208.6852
6 | 2707414.3059 | 1271227.7517 | 2707416.1699 | 1271220.0665
7 | 2707460.6351 | 1271202.4167 | 2707461.5621 | 1271199.4421 | 2707487.8226 | 1271203.5346 | 2707498.068 | 1271204.9223 | 2707519.7472 | 1271208.1308 | 2707608.225 | 1271220.1081 | 2707630.5803 | 1271223.7854 | 2707631.9998 | 1271218.5622 | 2707636.2493 | 1271203.393 | 2707653.6522 | 1271183.2259 | 2707660.408 | 1271175.0308 | 2707684.4651 | 1271158.8551 | 2707703.5439 | 1271153.2426
8 | 2707460.6351 | 1271202.4167 | 2707441.9991 | 1271198.6077 | 2707435.0361 | 1271197.1241 | 2707432.3121 | 1271196.6728
9 | 2707387.196 | 1271205.8395 | 2707387.002 | 1271206.9926
10 | 2707377.3016 | 1271205.426 | 2707387.002 | 1271206.9926
11 | 2707419.9641 | 1271242.6343 | 2707421.7869 | 1271235.5056 | 2707435.6124 | 1271237.7924 | 2707436.0786 | 1271236.155 | 2707436.5524 | 1271234.5178 | 2707436.8336 | 1271233.5331 | 2707427.9384 | 1271230.7244 | 2707422.5955 | 1271229.5262 | 2707414.3059 | 1271227.7517
12 | 2707389.805 | 1271236.9586 | 2707394.1688 | 1271222.9146 | 2707401.8982 | 1271224.4565 | 2707414.3059 | 1271227.7517
13 | 2707473.8852 | 1271292.4921 | 2707476.4296 | 1271281.6845 | 2707490.772 | 1271284.915 | 2707499.6268 | 1271287.4562 | 2707500.5032 | 1271287.6723 | 2707502.405 | 1271288.1852 | 2707503.85 | 1271288.5785
14 | 2707503.85 | 1271288.5785 | 2707504.6309 | 1271298.1677 | 2707501.9684 | 1271319.431
15 | 2707480.0195 | 1271298.5757 | 2707480.5028 | 1271297.6504 | 2707481.0051 | 1271296.9256 | 2707481.4854 | 1271296.167 | 2707481.7673 | 1271295.149 | 2707481.6564 | 1271294.2128 | 2707480.9764 | 1271293.5443 | 2707479.9469 | 1271293.0585 | 2707478.3899 | 1271293.0301 | 2707476.8539 | 1271293.0911 | 2707475.2166 | 1271292.9278 | 2707473.8852 | 1271292.4921
16 | 2707467.6316 | 1271296.682 | 2707467.9841 | 1271295.087 | 2707468.3288 | 1271293.5141 | 2707468.7552 | 1271291.5869 | 2707472.3884 | 1271292.4649 | 2707472.8588 | 1271292.251 | 2707473.8852 | 1271292.4921
17 | 2707500.2775 | 1271332.934 | 2707501.9684 | 1271319.431
18 | 2707703.5439 | 1271153.2426 | 2707715.3703 | 1271148.8099 | 2707729.2164 | 1271146.2713 | 2707739.058 | 1271138.4551 | 2707744.6521 | 1271127.9591 | 2707753.5135 | 1271094.2478
19 | 2707533.2978 | 1271340.7046 | 2707524.8543 | 1271340.3728 | 2707515.2123 | 1271339.2071
20 | 2707533.2978 | 1271340.7046 | 2707535.3795 | 1271341.36
21 | 2707510.7424 | 1271338.6667 | 2707515.2123 | 1271339.2071
22 | 2707539.6718 | 1271342.7113 | 2707535.3795 | 1271341.36
23 | 2707356.6459 | 1271186.901 | 2707352.5911 | 1271187.272
24 | 2707352.5911 | 1271187.272 | 2707345.1688 | 1271188.2825 | 2707336.3201 | 1271191.2034
25 | 2707356.6459 | 1271186.901 | 2707357.6481 | 1271191.3675 | 2707358.5174 | 1271197.3552 | 2707359.1539 | 1271202.4824 | 2707367.1959 | 1271203.8075
26 | 2707389.2238 | 1271309.4114 | 2707392.6269 | 1271310.1184
27 | 2707376.7912 | 1271329.414 | 2707377.9976 | 1271322.2408 | 2707377.8986 | 1271314.8659 | 2707383.8702 | 1271312.9394 | 2707386.9102 | 1271313.3395 | 2707389.2238 | 1271309.4114
28 | 2707376.7912 | 1271329.414 | 2707367.8187 | 1271329.2063 | 2707353.7737 | 1271326.582
29 | 2707376.7912 | 1271329.414 | 2707380.631 | 1271330.9296 | 2707382.8904 | 1271336.1864 | 2707385.2673 | 1271346.9724 | 2707387.3703 | 1271349.8882
30 | 2707419.9641 | 1271242.6343 | 2707414.6539 | 1271241.7035
31 | 2707367.1959 | 1271203.8075 | 2707377.3016 | 1271205.426
32 | 2707367.1959 | 1271203.8075 | 2707367.3828 | 1271202.6321
33 | 2707349.0408 | 1271247.1821 | 2707349.1041 | 1271243.7024 | 2707349.0764 | 1271241.0885 | 2707349.0384 | 1271237.3846 | 2707348.9841 | 1271232.1012 | 2707349.4045 | 1271223.8794 | 2707350.5329 | 1271218.5175 | 2707354.0677 | 1271201.6448 | 2707359.1539 | 1271202.4824 | 2707367.1959 | 1271203.8075
34 | 2707465.3988 | 1271296.1631 | 2707467.6316 | 1271296.682
35 | 2707469.6994 | 1271297.1645 | 2707467.6316 | 1271296.682
36 | 2707445.3658 | 1271286.0343 | 2707448.0104 | 1271286.6607 | 2707452.3857 | 1271287.6968 | 2707453.8165 | 1271288.0453 | 2707456.8207 | 1271288.7561 | 2707458.7985 | 1271289.2259 | 2707461.4806 | 1271289.8641 | 2707463.0014 | 1271290.2254 | 2707464.5671 | 1271290.5987 | 2707466.1553 | 1271290.9835 | 2707468.7552 | 1271291.5869 | 2707468.3288 | 1271293.5141 | 2707467.9841 | 1271295.087 | 2707467.6316 | 1271296.682
37 | 2707445.0396 | 1271287.4184 | 2707445.3658 | 1271286.0343
38 | 2707377.503 | 1271204.2842 | 2707377.3016 | 1271205.426
39 | 2707349.0408 | 1271247.1821 | 2707349.4769 | 1271264.5093
40 | 2707350.0653 | 1271283.0988 | 2707349.7352 | 1271274.7744 | 2707349.4769 | 1271264.5093
41 | 2707389.805 | 1271236.9586 | 2707390.8294 | 1271237.3109
42 | 2707499.7265 | 1271337.335 | 2707500.2775 | 1271332.934
43 | 2707576.5785 | 1271328.6266 | 2707576.6834 | 1271323.9149
44 | 2707576.5785 | 1271328.6266 | 2707576.3682 | 1271351.3093 | 2707575.1699 | 1271356.3697 | 2707578.9757 | 1271358.0961 | 2707601.7443 | 1271360.5352 | 2707621.6052 | 1271362.7435 | 2707634.2659 | 1271364.5202 | 2707648.6169 | 1271368.5074 | 2707670.2897 | 1271375.3307 | 2707669.1045 | 1271442.3456 | 2707674.5042 | 1271442.9 | 2707675.1158 | 1271458.0356 | 2707675.2208 | 1271459.2941 | 2707675.3202 | 1271460.4414 | 2707675.4723 | 1271462.0011 | 2707675.5423 | 1271462.703 | 2707661.7236 | 1271464.1968 | 2707653.5053 | 1271465.1367 | 2707621.6736 | 1271470.3834 | 2707619.3525 | 1271470.1743 | 2707612.8996 | 1271471.2688
45 | 2707539.6718 | 1271342.7113 | 2707543.3321 | 1271344.1681 | 2707554.9833 | 1271351.3866 | 2707563.6183 | 1271355.6587 | 2707565.9254 | 1271355.812 | 2707575.1699 | 1271356.3697 | 2707576.3682 | 1271351.3093 | 2707576.5785 | 1271328.6266
46 | 2707613.8754 | 1271477.581 | 2707612.8996 | 1271471.2688
47 | 2707575.0312 | 1271487.7934 | 2707583.9561 | 1271475.7454 | 2707595.763 | 1271469.8664 | 2707612.2865 | 1271467.343 | 2707612.8996 | 1271471.2688
48 | 2707575.0312 | 1271487.7934 | 2707580.8571 | 1271491.7919 | 2707585.0051 | 1271492.9017 | 2707593.2148 | 1271494.0974
49 | 2707575.0312 | 1271487.7934 | 2707571.1568 | 1271495.8047
50 | 2707499.7265 | 1271337.335 | 2707510.7424 | 1271338.6667
51 | 2707350.0653 | 1271283.0988 | 2707343.4452 | 1271291.3079 | 2707338.276 | 1271299.9993 | 2707332.7023 | 1271312.7314 | 2707329.4968 | 1271320.6022 | 2707328.1393 | 1271323.2577
52 | 2707328.1393 | 1271323.2577 | 2707331.785 | 1271325.1033 | 2707349.5431 | 1271326.2975
53 | 2707353.7737 | 1271326.582 | 2707349.5431 | 1271326.2975
54 | 2707387.3703 | 1271349.8882 | 2707388.4451 | 1271351.3784 | 2707391.6364 | 1271353.3827 | 2707393.56 | 1271353.9403 | 2707397.479 | 1271354.412 | 2707408.9287 | 1271355.5219
55 | 2707451.1988 | 1271359.0577 | 2707450.1422 | 1271358.9743
56 | 2707451.1988 | 1271359.0577 | 2707463.2647 | 1271360.0095
57 | 2707437.403 | 1271357.9694 | 2707450.1422 | 1271358.9743
58 | 2707463.2647 | 1271360.0095 | 2707464.4301 | 1271360.1015 | 2707472.5095 | 1271360.5933 | 2707477.4739 | 1271360.9138
59 | 2707423.6043 | 1271356.8808 | 2707437.403 | 1271357.9694
60 | 2707477.4739 | 1271360.9138 | 2707484.7518 | 1271361.3835
61 | 2707423.6043 | 1271356.8808 | 2707420.77 | 1271356.6572
62 | 2707487.9493 | 1271355.6144 | 2707484.7518 | 1271361.3835 | 2707484.7518 | 1271361.3835
63 | 2707408.9287 | 1271355.5219 | 2707420.0791 | 1271356.6027 | 2707420.77 | 1271356.6572
64 | 2707499.7265 | 1271337.335 | 2707497.4527 | 1271354.7644 | 2707487.9493 | 1271355.6144 | 2707487.9493 | 1271355.6144

## bus_geodata
| x | y | coords
0 | 2707411.761 | 1271210.963
1 | 2707416.5267 | 1271218.5952
2 | 2707397.5127 | 1271208.6852
3 | 2707416.1699 | 1271220.0665
4 | 2707460.6351 | 1271202.4167
5 | 2707397.7143 | 1271207.5323
6 | 2707387.002 | 1271206.9926
7 | 2707414.3059 | 1271227.7517
8 | 2707503.85 | 1271288.5785
9 | 2707473.8852 | 1271292.4921
10 | 2707501.9684 | 1271319.431
11 | 2707703.5439 | 1271153.2426
12 | 2707432.3121 | 1271196.6728
13 | 2707533.2978 | 1271340.7046
14 | 2707515.2123 | 1271339.2071
15 | 2707535.3795 | 1271341.36
16 | 2707352.5911 | 1271187.272
17 | 2707356.6459 | 1271186.901
18 | 2707336.3201 | 1271191.2034
19 | 2707389.2238 | 1271309.4114
20 | 2707392.6269 | 1271310.1184
21 | 2707376.7912 | 1271329.414
22 | 2707419.9641 | 1271242.6343
23 | 2707414.6539 | 1271241.7035
24 | 2707367.1959 | 1271203.8075
25 | 2707480.0195 | 1271298.5757
26 | 2707467.6316 | 1271296.682
27 | 2707445.3658 | 1271286.0343
28 | 2707445.0396 | 1271287.4184
29 | 2707377.3016 | 1271205.426
30 | 2707367.3828 | 1271202.6321
31 | 2707349.0408 | 1271247.1821
32 | 2707349.4769 | 1271264.5093
33 | 2707389.805 | 1271236.9586
34 | 2707390.8294 | 1271237.3109
35 | 2707387.196 | 1271205.8395
36 | 2707500.2775 | 1271332.934
37 | 2707576.5785 | 1271328.6266
38 | 2707576.6834 | 1271323.9149
39 | 2707612.8996 | 1271471.2688
40 | 2707539.6718 | 1271342.7113
41 | 2707613.8754 | 1271477.581
42 | 2707575.0312 | 1271487.7934
43 | 2707593.2148 | 1271494.0974
44 | 2707571.1568 | 1271495.8047
45 | 2707753.5135 | 1271094.2478
46 | 2707510.7424 | 1271338.6667
47 | 2707350.0653 | 1271283.0988
48 | 2707328.1393 | 1271323.2577
49 | 2707353.7737 | 1271326.582
50 | 2707387.3703 | 1271349.8882
51 | 2707465.3988 | 1271296.1631
52 | 2707469.6994 | 1271297.1645
53 | 2707377.503 | 1271204.2842
54 | 2707451.1988 | 1271359.0577
55 | 2707450.1422 | 1271358.9743
56 | 2707463.2647 | 1271360.0095
57 | 2707437.403 | 1271357.9694
58 | 2707477.4739 | 1271360.9138
59 | 2707423.6043 | 1271356.8808
60 | 2707484.7518 | 1271361.3835
61 | 2707420.77 | 1271356.6572
62 | 2707487.9493 | 1271355.6144
63 | 2707499.7265 | 1271337.335
64 | 2707349.5431 | 1271326.2975
65 | 2707408.9287 | 1271355.5219
66 | 2707390.8294 | 1271237.3109

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1