## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4651-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4651-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4651-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4651-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4651-1_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4651-1_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4651-1_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4651-1_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_4651-1_0_4_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_4651-1_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4651-1_0_4_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_4651-1_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4651-1_0_4_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_4651-1_0_4_node_77 | 0.4 | n |  | TRUE
14 | bus_LV_4651-1_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4651-1_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_4651-1_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4651-1_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_4651-1_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_4651-1_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_4651-1_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_4651-1_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_4651-1_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_4651-1_0_4_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_4651-1_0_4_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_4651-1_0_4_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_4651-1_0_4_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_4651-1_0_4_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_4651-1_0_4_node_65 | 0.4 | n |  | TRUE
29 | bus_LV_4651-1_0_4_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_4651-1_0_4_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_4651-1_0_4_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_4651-1_0_4_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_4651-1_0_4_node_70 | 0.4 | n |  | TRUE
34 | bus_LV_4651-1_0_4_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_4651-1_0_4_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_4651-1_0_4_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_4651-1_0_4_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_4651-1_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_4651-1_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_4651-1_0_4_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_4651-1_0_4_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_4651-1_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_4651-1_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_4651-1_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_4651-1_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_4651-1_0_4_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_4651-1_0_4_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_4651-1_0_4_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_4651-1_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_4651-1_0_4_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_4651-1_0_4_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_4651-1_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_4651-1_0_4_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_4651-1_0_4_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_4651-1_0_4_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_4651-1_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_4651-1_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_4651-1_0_4_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_4651-1_0_4_node_75 | 0.4 | n |  | TRUE
60 | bus_LV_4651-1_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_4651-1_0_4_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_4651-1_0_4_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_4651-1_0_4_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_4651-1_0_4_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_4651-1_0_4_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_4651-1_0_4_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_4651-1_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_4651-1_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_4651-1_0_4_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_4651-1_0_4_node_78 | 0.4 | n |  | TRUE
71 | bus_LV_4651-1_0_4_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_4651-1_0_4_node_76 | 0.4 | n |  | TRUE
73 | bus_LV_4651-1_0_4_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_4651-1_0_4_node_74 | 0.4 | n |  | TRUE
75 | bus_MV_441_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4651-1_0_4_load_0 | 0 | 0.0016582 | 0.00041559 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4651-1_0_4_load_1 | 1 | 0.02627 | 0.006584 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4651-1_0_4_load_2 | 2 | 0.0015456 | 0.00038738 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4651-1_0_4_load_3 | 3 | 0.04531 | 0.011356 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4651-1_0_4_load_4 | 4 | 0.0014213 | 0.00035621 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4651-1_0_4_load_6 | 6 | 0.0035541 | 0.00089074 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4651-1_0_4_load_9 | 7 | 0.0018016 | 0.00045153 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4651-1_0_4_load_31 | 8 | 0.022139 | 0.0055486 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4651-1_0_4_load_8 | 11 | 0.001069 | 0.00026792 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4651-1_0_4_load_45 | 12 | 0.0010703 | 0.00026823 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4651-1_0_4_load_77 | 13 | 0.0024327 | 0.00060968 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4651-1_0_4_load_10 | 14 | 0.016825 | 0.0042168 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4651-1_0_4_load_11 | 15 | 0.0039004 | 0.00097752 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4651-1_0_4_load_13 | 17 | 0.0046096 | 0.0011553 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4651-1_0_4_load_15 | 19 | 0.0059207 | 0.0014839 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4651-1_0_4_load_18 | 21 | 0.0013396 | 0.00033573 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4651-1_0_4_load_19 | 22 | 0.02574 | 0.006451 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4651-1_0_4_load_39 | 24 | 0.0016322 | 0.00040907 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4651-1_0_4_load_46 | 25 | 0.0015491 | 0.00038824 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4651-1_0_4_load_44 | 26 | 0.0059238 | 0.0014846 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4651-1_0_4_load_55 | 27 | 0.0014786 | 0.00037057 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4651-1_0_4_load_65 | 28 | 0.0013399 | 0.0003358 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4651-1_0_4_load_54 | 29 | 0.0014321 | 0.00035891 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4651-1_0_4_load_63 | 30 | 0.0078468 | 0.0019666 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4651-1_0_4_load_64 | 31 | 0.0033123 | 0.00083015 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4651-1_0_4_load_66 | 32 | 0.0019912 | 0.00049905 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4651-1_0_4_load_70 | 33 | 0.0045024 | 0.0011284 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4651-1_0_4_load_49 | 35 | 0.012464 | 0.0031237 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4651-1_0_4_load_73 | 36 | 0.0039916 | 0.0010004 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4651-1_0_4_load_47 | 37 | 0.0022645 | 0.00056753 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4651-1_0_4_load_20 | 38 | 0.0052352 | 0.0013121 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4651-1_0_4_load_21 | 39 | 0.0021017 | 0.00052673 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4651-1_0_4_load_22 | 40 | 0.0026234 | 0.00065748 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4651-1_0_4_load_23 | 41 | 0.0022987 | 0.0005761 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4651-1_0_4_load_32 | 43 | 0.0084018 | 0.0021057 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4651-1_0_4_load_28 | 44 | 0.013103 | 0.003284 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4651-1_0_4_load_34 | 45 | 0.022759 | 0.0057039 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4651-1_0_4_load_27 | 46 | 0.0017294 | 0.00043342 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4651-1_0_4_load_41 | 47 | 0.001806 | 0.00045261 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4651-1_0_4_load_35 | 49 | 0.0011384 | 0.0002853 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4651-1_0_4_load_30 | 50 | 0.00238 | 0.00059649 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4651-1_0_4_load_33 | 51 | 0.00080193 | 0.00020098 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4651-1_0_4_load_42 | 52 | 0.015981 | 0.0040053 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4651-1_0_4_load_50 | 53 | 0.0013588 | 0.00034056 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4651-1_0_4_load_36 | 54 | 0.001158 | 0.00029023 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4651-1_0_4_load_38 | 55 | 0.0026776 | 0.00067106 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4651-1_0_4_load_40 | 56 | 0.0014271 | 0.00035767 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4651-1_0_4_load_52 | 57 | 0.0016125 | 0.00040412 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4651-1_0_4_load_53 | 58 | 0.0013084 | 0.00032792 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4651-1_0_4_load_75 | 59 | 0.0024315 | 0.00060938 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4651-1_0_4_load_71 | 61 | 0.0060043 | 0.0015048 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4651-1_0_4_load_56 | 63 | 0.0030306 | 0.00075954 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4651-1_0_4_load_57 | 64 | 0.0041114 | 0.0010304 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4651-1_0_4_load_58 | 65 | 0.0021482 | 0.00053838 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4651-1_0_4_load_59 | 66 | 0.0017059 | 0.00042754 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4651-1_0_4_load_60 | 67 | 0.001548 | 0.00038796 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4651-1_0_4_load_62 | 69 | 0.0044402 | 0.0011128 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4651-1_0_4_load_69 | 71 | 0.014096 | 0.0035329 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4651-1_0_4_load_76 | 72 | 0.0056936 | 0.0014269 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4651-1_0_4_load_68 | 73 | 0.010034 | 0.0025146 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4651-1_0_4_load_74 | 74 | 0.002423 | 0.00060726 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4651-1_0_4_line_0 |  | 0 | 1 | 0.010527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_4651-1_0_4_line_1 |  | 0 | 2 | 0.00055918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_4651-1_0_4_line_2 |  | 1 | 3 | 0.0031165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_4651-1_0_4_line_3 |  | 2 | 4 | 0.014113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_4651-1_0_4_line_4 |  | 3 | 5 | 0.021295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4651-1_0_4_line_5 |  | 4 | 6 | 0.0029204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_4651-1_0_4_line_6 |  | 5 | 7 | 0.0060333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4651-1_0_4_line_7 |  | 5 | 8 | 0.0059505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4651-1_0_4_line_8 |  | 6 | 9 | 0.013397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_4651-1_0_4_line_9 |  | 8 | 10 | 0.005322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4651-1_0_4_line_10 |  | 9 | 11 | 0.0013905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_4651-1_0_4_line_11 |  | 10 | 46 | 0.020594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4651-1_0_4_line_12 |  | 11 | 12 | 0.011556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_4651-1_0_4_line_13 |  | 12 | 13 | 0.01832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_4651-1_0_4_line_14 |  | 13 | 59 | 0.0086313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_4651-1_0_4_line_15 |  | 14 | 15 | 0.011998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4651-1_0_4_line_16 |  | 14 | 16 | 0.006853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4651-1_0_4_line_17 |  | 15 | 17 | 0.016237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4651-1_0_4_line_18 |  | 16 | 18 | 0.013184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4651-1_0_4_line_19 |  | 16 | 19 | 0.042187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4651-1_0_4_line_20 |  | 17 | 20 | 0.02408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4651-1_0_4_line_21 |  | 18 | 21 | 0.022198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4651-1_0_4_line_22 |  | 19 | 22 | 0.0015879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4651-1_0_4_line_23 |  | 19 | 23 | 0.11596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4651-1_0_4_line_24 |  | 20 | 24 | 0.0050283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4651-1_0_4_line_25 |  | 21 | 25 | 0.013715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4651-1_0_4_line_26 |  | 22 | 26 | 0.017682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4651-1_0_4_line_27 |  | 23 | 33 | 0.027436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4651-1_0_4_line_28 |  | 23 | 32 | 0.019795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4651-1_0_4_line_29 |  | 24 | 34 | 0.017841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4651-1_0_4_line_30 |  | 25 | 37 | 0.018215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4651-1_0_4_line_31 |  | 27 | 28 | 0.00039615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4651-1_0_4_line_32 |  | 27 | 29 | 0.015763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4651-1_0_4_line_33 |  | 28 | 30 | 0.024744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4651-1_0_4_line_34 |  | 29 | 58 | 0.027448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4651-1_0_4_line_35 |  | 30 | 31 | 0.028536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4651-1_0_4_line_36 |  | 31 | 32 | 0.025058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4651-1_0_4_line_37 |  | 34 | 49 | 0.0091294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4651-1_0_4_line_38 |  | 35 | 36 | 0.0038509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4651-1_0_4_line_39 |  | 36 | 62 | 0.014607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4651-1_0_4_line_40 |  | 37 | 60 | 0.012343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4651-1_0_4_line_41 |  | 38 | 39 | 0.0043775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4651-1_0_4_line_42 |  | 38 | 40 | 0.0064353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4651-1_0_4_line_43 |  | 39 | 41 | 0.009991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4651-1_0_4_line_44 |  | 41 | 42 | 0.022557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4651-1_0_4_line_45 |  | 42 | 43 | 0.0073725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4651-1_0_4_line_46 |  | 42 | 44 | 0.0029129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4651-1_0_4_line_47 |  | 43 | 45 | 0.0046699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4651-1_0_4_line_48 |  | 44 | 46 | 0.0061381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4651-1_0_4_line_49 |  | 45 | 52 | 0.0039715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4651-1_0_4_line_50 |  | 47 | 48 | 0.0089535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4651-1_0_4_line_51 |  | 48 | 53 | 0.013554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4651-1_0_4_line_52 |  | 48 | 51 | 0.017584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4651-1_0_4_line_53 |  | 49 | 54 | 0.0063903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4651-1_0_4_line_54 |  | 50 | 51 | 0.010921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4651-1_0_4_line_55 |  | 53 | 56 | 0.0029297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4651-1_0_4_line_56 |  | 54 | 55 | 0.0085209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4651-1_0_4_line_57 |  | 55 | 56 | 0.015368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4651-1_0_4_line_58 |  | 57 | 58 | 0.017311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4651-1_0_4_line_59 |  | 59 | 60 | 0.0089702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_4651-1_0_4_line_60 |  | 60 | 61 | 0.0089475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4651-1_0_4_line_61 |  | 61 | 62 | 0.02304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4651-1_0_4_line_62 |  | 62 | 74 | 0.031896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4651-1_0_4_line_63 |  | 63 | 64 | 0.02091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4651-1_0_4_line_64 |  | 63 | 65 | 0.016206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4651-1_0_4_line_65 |  | 64 | 66 | 0.022363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4651-1_0_4_line_66 |  | 65 | 67 | 0.0013133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4651-1_0_4_line_67 |  | 66 | 68 | 0.035172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4651-1_0_4_line_68 |  | 67 | 69 | 0.023498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4651-1_0_4_line_69 |  | 68 | 70 | 0.013768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4651-1_0_4_line_70 |  | 69 | 71 | 0.025155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4651-1_0_4_line_71 |  | 70 | 72 | 0.017557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4651-1_0_4_line_72 |  | 71 | 73 | 0.0036046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4651-1_0_4_line_73 |  | 72 | 74 | 0.017445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4651-1_0_4_trafo_45 | 0.63 MVA 20/0.4 kV | 75 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2727311.1777 | 1280617.4765 | 2727306.3072 | 1280620.0147 | 2727301.8996 | 1280622.3218 | 2727301.8468 | 1280622.3492
1 | 2727311.1777 | 1280617.4765 | 2727311.6736 | 1280617.2181
2 | 2727299.0806 | 1280623.7846 | 2727301.8468 | 1280622.3492
3 | 2727324.1887 | 1280610.696 | 2727311.6736 | 1280617.2181
4 | 2727308.6471 | 1280642.8096 | 2727299.0806 | 1280623.7846
5 | 2727324.1887 | 1280610.696 | 2727326.7786 | 1280609.3463 | 2727326.7786 | 1280609.3463
6 | 2727308.6471 | 1280642.8096 | 2727312.5841 | 1280638.2379
7 | 2727308.6471 | 1280642.8096 | 2727307.3027 | 1280646.9624 | 2727307.3098 | 1280648.5479
8 | 2727333.0746 | 1280621.1715 | 2727326.7786 | 1280609.3463
9 | 2727307.3337 | 1280653.8698 | 2727307.3098 | 1280648.5479
10 | 2727333.0746 | 1280621.1715 | 2727334.3118 | 1280620.5369
11 | 2727307.3337 | 1280653.8698 | 2727307.0995 | 1280658.1022 | 2727304.8698 | 1280667.0628 | 2727301.4441 | 1280673.3061
12 | 2727334.3118 | 1280620.5369 | 2727344.5939 | 1280615.2623
13 | 2727360.8944 | 1280606.9005 | 2727344.5939 | 1280615.2623
14 | 2727368.5741 | 1280602.9609 | 2727360.8944 | 1280606.9005
15 | 2727420.508 | 1280674.3781 | 2727419.2227 | 1280665.9538 | 2727418.6978 | 1280662.5179
16 | 2727417.6629 | 1280655.7435 | 2727418.6978 | 1280662.5179
17 | 2727420.508 | 1280674.3781 | 2727420.8809 | 1280676.8224 | 2727422.9593 | 1280690.4293
18 | 2727417.6629 | 1280655.7435 | 2727415.6682 | 1280642.7099
19 | 2727417.6629 | 1280655.7435 | 2727441.9624 | 1280646.6375 | 2727447.8576 | 1280647.4546 | 2727453.187 | 1280656.2523
20 | 2727403.3157 | 1280700.0656 | 2727423.395 | 1280693.2817 | 2727422.9593 | 1280690.4293
21 | 2727415.6682 | 1280642.7099 | 2727397.3301 | 1280642.2799 | 2727395.666 | 1280638.8024
22 | 2727454.0097 | 1280657.6105 | 2727453.187 | 1280656.2523
23 | 2727453.187 | 1280656.2523 | 2727522.3205 | 1280563.16
24 | 2727403.3157 | 1280700.0656 | 2727398.5234 | 1280701.5882
25 | 2727395.666 | 1280638.8024 | 2727389.7459 | 1280626.431
26 | 2727464.098 | 1280671.9635 | 2727461.0675 | 1280669.2613 | 2727454.0097 | 1280657.6105
27 | 2727522.3205 | 1280563.16 | 2727518.4092 | 1280536.0042
28 | 2727522.3205 | 1280563.16 | 2727539.2681 | 1280561.5472 | 2727541.9897 | 1280561.0294
29 | 2727381.5205 | 1280706.9903 | 2727398.5234 | 1280701.5882
30 | 2727381.8832 | 1280610.0002 | 2727389.7459 | 1280626.431
31 | 2727619.3357 | 1280546.3138 | 2727618.9465 | 1280546.3879
32 | 2727619.3357 | 1280546.3138 | 2727634.8208 | 1280543.3677
33 | 2727594.6385 | 1280551.0126 | 2727618.9465 | 1280546.3879
34 | 2727661.7847 | 1280538.2377 | 2727634.8208 | 1280543.3677
35 | 2727594.6385 | 1280551.0126 | 2727566.6057 | 1280556.346
36 | 2727566.6057 | 1280556.346 | 2727541.9897 | 1280561.0294
37 | 2727381.5205 | 1280706.9903 | 2727378.5204 | 1280698.368
38 | 2727411.2907 | 1280600.8254 | 2727412.6065 | 1280604.4445
39 | 2727406.2998 | 1280587.0977 | 2727411.2907 | 1280600.8254
40 | 2727376.5554 | 1280598.8666 | 2727381.8832 | 1280610.0002
41 | 2727310.8517 | 1280712.4208 | 2727308.9276 | 1280708.4888
42 | 2727313.6803 | 1280718.2011 | 2727310.8517 | 1280712.4208
43 | 2727304.5361 | 1280699.5147 | 2727308.9276 | 1280708.4888
44 | 2727294.6213 | 1280679.2535 | 2727304.5361 | 1280699.5147
45 | 2727294.6213 | 1280679.2535 | 2727288.0435 | 1280682.583
46 | 2727294.6213 | 1280679.2535 | 2727296.8171 | 1280677.3394
47 | 2727288.0435 | 1280682.583 | 2727283.8769 | 1280684.692
48 | 2727301.4441 | 1280673.3061 | 2727301.4441 | 1280673.3061 | 2727296.8171 | 1280677.3394
49 | 2727283.8769 | 1280684.692 | 2727280.3335 | 1280686.4855
50 | 2727340.0376 | 1280695.6389 | 2727344.3379 | 1280703.4921
51 | 2727340.0376 | 1280695.6389 | 2727352.066 | 1280689.3926 | 2727352.066 | 1280689.3926
52 | 2727340.0376 | 1280695.6389 | 2727336.3368 | 1280688.8857 | 2727330.903 | 1280680.6306
53 | 2727376.4204 | 1280692.3326 | 2727376.4204 | 1280692.3326 | 2727378.5204 | 1280698.368
54 | 2727324.8984 | 1280671.5083 | 2727330.903 | 1280680.6306
55 | 2727354.9925 | 1280689.2547 | 2727352.066 | 1280689.3926
56 | 2727376.4204 | 1280692.3326 | 2727369.3477 | 1280687.5805
57 | 2727354.9925 | 1280689.2547 | 2727361.1287 | 1280688.9656 | 2727367.3041 | 1280686.2075 | 2727369.3477 | 1280687.5805
58 | 2727678.7911 | 1280535.0021 | 2727661.7847 | 1280538.2377
59 | 2727376.5554 | 1280598.8666 | 2727368.5741 | 1280602.9609
60 | 2727376.5554 | 1280598.8666 | 2727384.8754 | 1280595.5747
61 | 2727406.2998 | 1280587.0977 | 2727384.8754 | 1280595.5747
62 | 2727406.2998 | 1280587.0977 | 2727396.6942 | 1280556.6828
63 | 2727322.3072 | 1280536.1024 | 2727341.1753 | 1280527.0898
64 | 2727322.3072 | 1280536.1024 | 2727307.6839 | 1280543.0875
65 | 2727341.1753 | 1280527.0898 | 2727361.3548 | 1280517.4508
66 | 2727307.6839 | 1280543.0875 | 2727306.4988 | 1280543.6535
67 | 2727394.9291 | 1280508.3643 | 2727389.8374 | 1280508.599 | 2727377.8745 | 1280510.409 | 2727369.9368 | 1280513.3515 | 2727361.3548 | 1280517.4508
68 | 2727285.2952 | 1280553.7817 | 2727306.4988 | 1280543.6535
69 | 2727394.9291 | 1280508.3643 | 2727396.218 | 1280522.0721
70 | 2727285.2952 | 1280553.7817 | 2727262.5964 | 1280564.6241
71 | 2727396.218 | 1280522.0721 | 2727394.6996 | 1280529.402 | 2727393.9089 | 1280536.781 | 2727394.2762 | 1280539.4059
72 | 2727259.3439 | 1280566.1777 | 2727262.5964 | 1280564.6241
73 | 2727394.2762 | 1280539.4059 | 2727396.6942 | 1280556.6828

## bus_geodata
| x | y | coords
0 | 2727311.1777 | 1280617.4765
1 | 2727301.8468 | 1280622.3492
2 | 2727311.6736 | 1280617.2181
3 | 2727299.0806 | 1280623.7846
4 | 2727324.1887 | 1280610.696
5 | 2727308.6471 | 1280642.8096
6 | 2727326.7786 | 1280609.3463
7 | 2727312.584 | 1280638.2379
8 | 2727307.3098 | 1280648.5479
9 | 2727333.0746 | 1280621.1715
10 | 2727307.3337 | 1280653.8698
11 | 2727334.3118 | 1280620.5369
12 | 2727344.5939 | 1280615.2623
13 | 2727360.8944 | 1280606.9005
14 | 2727418.6978 | 1280662.5179
15 | 2727420.508 | 1280674.3781
16 | 2727417.6629 | 1280655.7435
17 | 2727422.9593 | 1280690.4293
18 | 2727415.6682 | 1280642.7099
19 | 2727453.187 | 1280656.2523
20 | 2727403.3157 | 1280700.0656
21 | 2727395.666 | 1280638.8024
22 | 2727454.0097 | 1280657.6105
23 | 2727522.3205 | 1280563.16
24 | 2727398.5234 | 1280701.5882
25 | 2727389.7459 | 1280626.431
26 | 2727464.098 | 1280671.9635
27 | 2727619.3357 | 1280546.3138
28 | 2727618.9465 | 1280546.3879
29 | 2727634.8208 | 1280543.3677
30 | 2727594.6385 | 1280551.0126
31 | 2727566.6057 | 1280556.346
32 | 2727541.9897 | 1280561.0294
33 | 2727518.4092 | 1280536.0042
34 | 2727381.5205 | 1280706.9903
35 | 2727412.6065 | 1280604.4445
36 | 2727411.2907 | 1280600.8254
37 | 2727381.8832 | 1280610.0002
38 | 2727310.8517 | 1280712.4208
39 | 2727308.9276 | 1280708.4888
40 | 2727313.6803 | 1280718.2011
41 | 2727304.5361 | 1280699.5147
42 | 2727294.6213 | 1280679.2535
43 | 2727288.0435 | 1280682.583
44 | 2727296.8171 | 1280677.3394
45 | 2727283.8769 | 1280684.692
46 | 2727301.4441 | 1280673.3061
47 | 2727344.3379 | 1280703.4921
48 | 2727340.0376 | 1280695.6389
49 | 2727378.5204 | 1280698.368
50 | 2727324.8984 | 1280671.5083
51 | 2727330.903 | 1280680.6306
52 | 2727280.3335 | 1280686.4855
53 | 2727352.066 | 1280689.3926
54 | 2727376.4204 | 1280692.3326
55 | 2727369.3477 | 1280687.5805
56 | 2727354.9925 | 1280689.2547
57 | 2727678.7911 | 1280535.0021
58 | 2727661.7847 | 1280538.2377
59 | 2727368.5741 | 1280602.9609
60 | 2727376.5554 | 1280598.8666
61 | 2727384.8754 | 1280595.5747
62 | 2727406.2998 | 1280587.0977
63 | 2727322.3072 | 1280536.1024
64 | 2727341.1753 | 1280527.0898
65 | 2727307.6839 | 1280543.0875
66 | 2727361.3548 | 1280517.4508
67 | 2727306.4988 | 1280543.6535
68 | 2727394.9291 | 1280508.3643
69 | 2727285.2952 | 1280553.7817
70 | 2727396.218 | 1280522.0721
71 | 2727262.5964 | 1280564.6241
72 | 2727394.2762 | 1280539.4059
73 | 2727259.3439 | 1280566.1777
74 | 2727396.6942 | 1280556.6828
75 | 2727344.5939 | 1280615.2623

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1