## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4721-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4721-6_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4721-6_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_4721-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4721-6_0_4_node_136 | 0.4 | n |  | TRUE
5 | bus_LV_4721-6_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_4721-6_0_4_node_135 | 0.4 | n |  | TRUE
7 | bus_LV_4721-6_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4721-6_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4721-6_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_4721-6_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_4721-6_0_4_node_174 | 0.4 | n |  | TRUE
12 | bus_LV_4721-6_0_4_node_152 | 0.4 | n |  | TRUE
13 | bus_LV_4721-6_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_4721-6_0_4_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_4721-6_0_4_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_4721-6_0_4_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_4721-6_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_4721-6_0_4_node_160 | 0.4 | n |  | TRUE
19 | bus_LV_4721-6_0_4_node_164 | 0.4 | n |  | TRUE
20 | bus_LV_4721-6_0_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_4721-6_0_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_4721-6_0_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_4721-6_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_4721-6_0_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_4721-6_0_4_node_157 | 0.4 | n |  | TRUE
26 | bus_LV_4721-6_0_4_node_159 | 0.4 | n |  | TRUE
27 | bus_LV_4721-6_0_4_node_156 | 0.4 | n |  | TRUE
28 | bus_LV_4721-6_0_4_node_129 | 0.4 | n |  | TRUE
29 | bus_LV_4721-6_0_4_node_130 | 0.4 | n |  | TRUE
30 | bus_LV_4721-6_0_4_node_131 | 0.4 | n |  | TRUE
31 | bus_LV_4721-6_0_4_node_132 | 0.4 | n |  | TRUE
32 | bus_LV_4721-6_0_4_node_133 | 0.4 | n |  | TRUE
33 | bus_LV_4721-6_0_4_node_177 | 0.4 | n |  | TRUE
34 | bus_LV_4721-6_0_4_node_134 | 0.4 | n |  | TRUE
35 | bus_LV_4721-6_0_4_node_137 | 0.4 | n |  | TRUE
36 | bus_LV_4721-6_0_4_node_153 | 0.4 | n |  | TRUE
37 | bus_LV_4721-6_0_4_node_176 | 0.4 | n |  | TRUE
38 | bus_LV_4721-6_0_4_node_138 | 0.4 | n |  | TRUE
39 | bus_LV_4721-6_0_4_node_139 | 0.4 | n |  | TRUE
40 | bus_LV_4721-6_0_4_node_140 | 0.4 | n |  | TRUE
41 | bus_LV_4721-6_0_4_node_202 | 0.4 | n |  | TRUE
42 | bus_LV_4721-6_0_4_node_142 | 0.4 | n |  | TRUE
43 | bus_LV_4721-6_0_4_node_143 | 0.4 | n |  | TRUE
44 | bus_LV_4721-6_0_4_node_144 | 0.4 | n |  | TRUE
45 | bus_LV_4721-6_0_4_node_145 | 0.4 | n |  | TRUE
46 | bus_LV_4721-6_0_4_node_146 | 0.4 | n |  | TRUE
47 | bus_LV_4721-6_0_4_node_147 | 0.4 | n |  | TRUE
48 | bus_LV_4721-6_0_4_node_148 | 0.4 | n |  | TRUE
49 | bus_LV_4721-6_0_4_node_149 | 0.4 | n |  | TRUE
50 | bus_LV_4721-6_0_4_node_150 | 0.4 | n |  | TRUE
51 | bus_LV_4721-6_0_4_node_151 | 0.4 | n |  | TRUE
52 | bus_LV_4721-6_0_4_node_155 | 0.4 | n |  | TRUE
53 | bus_LV_4721-6_0_4_node_161 | 0.4 | n |  | TRUE
54 | bus_LV_4721-6_0_4_node_158 | 0.4 | n |  | TRUE
55 | bus_LV_4721-6_0_4_node_162 | 0.4 | n |  | TRUE
56 | bus_LV_4721-6_0_4_node_163 | 0.4 | n |  | TRUE
57 | bus_LV_4721-6_0_4_node_170 | 0.4 | n |  | TRUE
58 | bus_LV_4721-6_0_4_node_167 | 0.4 | n |  | TRUE
59 | bus_LV_4721-6_0_4_node_165 | 0.4 | n |  | TRUE
60 | bus_LV_4721-6_0_4_node_166 | 0.4 | n |  | TRUE
61 | bus_LV_4721-6_0_4_node_169 | 0.4 | n |  | TRUE
62 | bus_LV_4721-6_0_4_node_168 | 0.4 | n |  | TRUE
63 | bus_LV_4721-6_0_4_node_171 | 0.4 | n |  | TRUE
64 | bus_LV_4721-6_0_4_node_172 | 0.4 | n |  | TRUE
65 | bus_LV_4721-6_0_4_node_178 | 0.4 | n |  | TRUE
66 | bus_LV_4721-6_0_4_node_180 | 0.4 | n |  | TRUE
67 | bus_LV_4721-6_0_4_node_186 | 0.4 | n |  | TRUE
68 | bus_LV_4721-6_0_4_node_173 | 0.4 | n |  | TRUE
69 | bus_LV_4721-6_0_4_node_175 | 0.4 | n |  | TRUE
70 | bus_LV_4721-6_0_4_node_179 | 0.4 | n |  | TRUE
71 | bus_LV_4721-6_0_4_node_181 | 0.4 | n |  | TRUE
72 | bus_LV_4721-6_0_4_node_182 | 0.4 | n |  | TRUE
73 | bus_LV_4721-6_0_4_node_184 | 0.4 | n |  | TRUE
74 | bus_LV_4721-6_0_4_node_187 | 0.4 | n |  | TRUE
75 | bus_LV_4721-6_0_4_node_185 | 0.4 | n |  | TRUE
76 | bus_LV_4721-6_0_4_node_198 | 0.4 | n |  | TRUE
77 | bus_LV_4721-6_0_4_node_197 | 0.4 | n |  | TRUE
78 | bus_LV_4721-6_0_4_node_188 | 0.4 | n |  | TRUE
79 | bus_LV_4721-6_0_4_node_189 | 0.4 | n |  | TRUE
80 | bus_LV_4721-6_0_4_node_196 | 0.4 | n |  | TRUE
81 | bus_LV_4721-6_0_4_node_191 | 0.4 | n |  | TRUE
82 | bus_LV_4721-6_0_4_node_192 | 0.4 | n |  | TRUE
83 | bus_LV_4721-6_0_4_node_193 | 0.4 | n |  | TRUE
84 | bus_LV_4721-6_0_4_node_194 | 0.4 | n |  | TRUE
85 | bus_LV_4721-6_0_4_node_195 | 0.4 | n |  | TRUE
86 | bus_LV_4721-6_0_4_node_199 | 0.4 | n |  | TRUE
87 | bus_LV_4721-6_0_4_node_201 | 0.4 | n |  | TRUE
88 | bus_MV_35_1_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4721-6_0_4_load_0 | 0 | 0.0050603 | 0.0012682 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4721-6_0_4_load_4 | 2 | 0.0078962 | 0.001979 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4721-6_0_4_load_5 | 7 | 0.014398 | 0.0036084 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4721-6_0_4_load_6 | 8 | 0.014257 | 0.003573 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4721-6_0_4_load_8 | 9 | 0.0081254 | 0.0020364 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4721-6_0_4_load_9 | 10 | 0.0032131 | 0.00080528 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4721-6_0_4_load_152 | 12 | 0.0042313 | 0.0010605 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4721-6_0_4_load_15 | 13 | 0.0038908 | 0.00097512 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4721-6_0_4_load_16 | 14 | 0.001594 | 0.00039948 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4721-6_0_4_load_17 | 15 | 0.0018695 | 0.00046855 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4721-6_0_4_load_18 | 16 | 0.0015903 | 0.00039857 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4721-6_0_4_load_19 | 17 | 0.0025916 | 0.00064952 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4721-6_0_4_load_160 | 18 | 0.0022695 | 0.00056879 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4721-6_0_4_load_164 | 19 | 0.0021467 | 0.00053802 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4721-6_0_4_load_20 | 20 | 0.00029852 | 7.4816e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4721-6_0_4_load_21 | 21 | 0.00060367 | 0.00015129 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4721-6_0_4_load_22 | 22 | 0.00030179 | 7.5635e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4721-6_0_4_load_157 | 25 | 0.0044561 | 0.0011168 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4721-6_0_4_load_159 | 26 | 0.0027245 | 0.00068283 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4721-6_0_4_load_156 | 27 | 0.0020124 | 0.00050436 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4721-6_0_4_load_129 | 28 | 0.0042722 | 0.0010707 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4721-6_0_4_load_130 | 29 | 0.0017249 | 0.00043229 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4721-6_0_4_load_132 | 31 | 0.0024582 | 0.00061609 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4721-6_0_4_load_133 | 32 | 0.001034 | 0.00025914 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4721-6_0_4_load_177 | 33 | 0.004514 | 0.0011313 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4721-6_0_4_load_134 | 34 | 0.0083888 | 0.0021024 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4721-6_0_4_load_137 | 35 | 0.0086188 | 0.0021601 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4721-6_0_4_load_153 | 36 | 0.0041257 | 0.001034 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4721-6_0_4_load_176 | 37 | 0.0077198 | 0.0019348 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4721-6_0_4_load_138 | 38 | 0.0032052 | 0.0008033 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4721-6_0_4_load_139 | 39 | 0.00084433 | 0.00021161 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4721-6_0_4_load_140 | 40 | 0.011704 | 0.0029334 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4721-6_0_4_load_202 | 41 | 0.029594 | 0.0074168 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4721-6_0_4_load_142 | 42 | 0.0073061 | 0.0018311 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4721-6_0_4_load_143 | 43 | 0.0045825 | 0.0011485 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4721-6_0_4_load_144 | 44 | 0.0017065 | 0.00042768 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4721-6_0_4_load_145 | 45 | 0.0048921 | 0.0012261 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4721-6_0_4_load_146 | 46 | 0.00095056 | 0.00023823 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4721-6_0_4_load_147 | 47 | 0.0042504 | 0.0010653 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4721-6_0_4_load_148 | 48 | 0.0018257 | 0.00045756 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4721-6_0_4_load_149 | 49 | 0.0072929 | 0.0018278 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4721-6_0_4_load_150 | 50 | 0.0017387 | 0.00043575 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4721-6_0_4_load_151 | 51 | 0.0053132 | 0.0013316 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4721-6_0_4_load_155 | 52 | 0.0019597 | 0.00049116 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4721-6_0_4_load_161 | 53 | 0.0054366 | 0.0013626 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4721-6_0_4_load_158 | 54 | 0.0030561 | 0.00076593 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4721-6_0_4_load_162 | 55 | 0.001699 | 0.00042582 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4721-6_0_4_load_170 | 57 | 0.0027228 | 0.00068239 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4721-6_0_4_load_167 | 58 | 0.0022634 | 0.00056727 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4721-6_0_4_load_165 | 59 | 0.0019196 | 0.00048109 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4721-6_0_4_load_166 | 60 | 0.0021638 | 0.0005423 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4721-6_0_4_load_168 | 62 | 0.0021254 | 0.00053268 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4721-6_0_4_load_171 | 63 | 0.0015752 | 0.00039479 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4721-6_0_4_load_172 | 64 | 0.0019223 | 0.00048178 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4721-6_0_4_load_178 | 65 | 0.0017752 | 0.0004449 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4721-6_0_4_load_180 | 66 | 0.0019372 | 0.0004855 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4721-6_0_4_load_186 | 67 | 0.0046174 | 0.0011572 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4721-6_0_4_load_173 | 68 | 0.0034768 | 0.00087136 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4721-6_0_4_load_175 | 69 | 0.014147 | 0.0035457 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4721-6_0_4_load_179 | 70 | 0.0019307 | 0.00048387 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4721-6_0_4_load_181 | 71 | 0.0015915 | 0.00039886 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4721-6_0_4_load_182 | 72 | 0.0029873 | 0.00074869 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4721-6_0_4_load_184 | 73 | 0.00371 | 0.00092981 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4721-6_0_4_load_198 | 76 | 0.0022985 | 0.00057605 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4721-6_0_4_load_197 | 77 | 0.0031254 | 0.0007833 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4721-6_0_4_load_188 | 78 | 0.0019373 | 0.00048554 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4721-6_0_4_load_189 | 79 | 0.0030022 | 0.00075242 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4721-6_0_4_load_196 | 80 | 0.0015268 | 0.00038265 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4721-6_0_4_load_191 | 81 | 0.0021861 | 0.00054788 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4721-6_0_4_load_192 | 82 | 0.0020363 | 0.00051034 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4721-6_0_4_load_193 | 83 | 0.0024266 | 0.00060817 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4721-6_0_4_load_194 | 84 | 0.0014376 | 0.00036031 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4721-6_0_4_load_195 | 85 | 0.0050208 | 0.0012583 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4721-6_0_4_load_199 | 86 | 0.0014106 | 0.00035352 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4721-6_0_4_load_201 | 87 | 0.0019047 | 0.00047737 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4721-6_0_4_line_0 |  | 0 | 1 | 0.026465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4721-6_0_4_line_1 |  | 1 | 2 | 0.005146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4721-6_0_4_line_2 |  | 2 | 6 | 0.050869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4721-6_0_4_line_3 |  | 3 | 4 | 0.034702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4721-6_0_4_line_4 |  | 3 | 5 | 0.023787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4721-6_0_4_line_5 |  | 4 | 36 | 0.0022163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4721-6_0_4_line_6 |  | 5 | 10 | 0.004754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4721-6_0_4_line_7 |  | 5 | 7 | 0.015994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4721-6_0_4_line_8 |  | 6 | 35 | 0.018176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_4721-6_0_4_line_9 |  | 6 | 31 | 0.019118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4721-6_0_4_line_10 |  | 6 | 34 | 0.02332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4721-6_0_4_line_11 |  | 7 | 8 | 0.0072664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4721-6_0_4_line_12 |  | 8 | 9 | 0.014373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4721-6_0_4_line_13 |  | 9 | 11 | 0.014884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4721-6_0_4_line_14 |  | 10 | 12 | 0.010768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4721-6_0_4_line_15 |  | 11 | 37 | 0.024818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_4721-6_0_4_line_16 |  | 11 | 54 | 0.0088042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4721-6_0_4_line_17 |  | 11 | 68 | 0.032368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_4721-6_0_4_line_18 |  | 12 | 51 | 0.026629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4721-6_0_4_line_19 |  | 13 | 14 | 0.001767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4721-6_0_4_line_20 |  | 13 | 15 | 0.017703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4721-6_0_4_line_21 |  | 14 | 16 | 0.033109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4721-6_0_4_line_22 |  | 15 | 17 | 0.010146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4721-6_0_4_line_23 |  | 16 | 18 | 0.014002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4721-6_0_4_line_24 |  | 17 | 19 | 0.00021794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4721-6_0_4_line_25 |  | 19 | 59 | 0.0089512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4721-6_0_4_line_26 |  | 20 | 21 | 0.013516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4721-6_0_4_line_27 |  | 20 | 22 | 0.016235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4721-6_0_4_line_28 |  | 21 | 23 | 0.061957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4721-6_0_4_line_29 |  | 22 | 24 | 0.024611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4721-6_0_4_line_30 |  | 23 | 25 | 0.015484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4721-6_0_4_line_31 |  | 23 | 26 | 0.019665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4721-6_0_4_line_32 |  | 24 | 27 | 0.047338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4721-6_0_4_line_33 |  | 25 | 53 | 0.0071583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4721-6_0_4_line_34 |  | 26 | 33 | 0.025042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4721-6_0_4_line_35 |  | 27 | 52 | 0.0051846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4721-6_0_4_line_36 |  | 28 | 29 | 0.0096689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4721-6_0_4_line_37 |  | 28 | 30 | 0.0085733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4721-6_0_4_line_38 |  | 29 | 31 | 0.02354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4721-6_0_4_line_39 |  | 30 | 32 | 0.030933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4721-6_0_4_line_40 |  | 32 | 33 | 0.0021177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4721-6_0_4_line_41 |  | 35 | 37 | 0.0029759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_4721-6_0_4_line_42 |  | 38 | 39 | 0.0021641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4721-6_0_4_line_43 |  | 38 | 40 | 0.008915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4721-6_0_4_line_44 |  | 38 | 41 | 0.086188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4721-6_0_4_line_45 |  | 40 | 42 | 0.0096181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4721-6_0_4_line_46 |  | 41 | 87 | 0.027845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4721-6_0_4_line_47 |  | 42 | 43 | 0.012148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4721-6_0_4_line_48 |  | 43 | 44 | 0.0089967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4721-6_0_4_line_49 |  | 44 | 45 | 0.013432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4721-6_0_4_line_50 |  | 45 | 46 | 0.0097894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4721-6_0_4_line_51 |  | 46 | 47 | 0.0032017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4721-6_0_4_line_52 |  | 47 | 48 | 0.012547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4721-6_0_4_line_53 |  | 48 | 49 | 0.017443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4721-6_0_4_line_54 |  | 49 | 50 | 0.00065668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4721-6_0_4_line_55 |  | 50 | 51 | 0.002275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4721-6_0_4_line_56 |  | 53 | 55 | 0.021513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4721-6_0_4_line_57 |  | 55 | 56 | 0.010824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4721-6_0_4_line_58 |  | 56 | 57 | 0.01415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4721-6_0_4_line_59 |  | 56 | 58 | 0.010215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4721-6_0_4_line_60 |  | 57 | 65 | 0.027303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4721-6_0_4_line_61 |  | 58 | 62 | 0.010351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4721-6_0_4_line_62 |  | 59 | 60 | 0.016353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4721-6_0_4_line_63 |  | 60 | 61 | 0.014959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4721-6_0_4_line_64 |  | 61 | 63 | 0.036227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4721-6_0_4_line_65 |  | 61 | 64 | 0.016693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4721-6_0_4_line_66 |  | 61 | 62 | 0.023663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4721-6_0_4_line_67 |  | 63 | 66 | 0.014393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4721-6_0_4_line_68 |  | 64 | 67 | 0.0075369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4721-6_0_4_line_69 |  | 65 | 70 | 0.012642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4721-6_0_4_line_70 |  | 67 | 74 | 0.04511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4721-6_0_4_line_71 |  | 68 | 69 | 0.017746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4721-6_0_4_line_72 |  | 71 | 72 | 0.009344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4721-6_0_4_line_73 |  | 72 | 73 | 0.020102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4721-6_0_4_line_74 |  | 73 | 74 | 0.013744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4721-6_0_4_line_75 |  | 74 | 78 | 0.014624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4721-6_0_4_line_76 |  | 74 | 79 | 0.018327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4721-6_0_4_line_77 |  | 75 | 76 | 0.031891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4721-6_0_4_line_78 |  | 75 | 77 | 0.019147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4721-6_0_4_line_79 |  | 76 | 86 | 0.026064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4721-6_0_4_line_80 |  | 77 | 79 | 0.00010278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4721-6_0_4_line_81 |  | 78 | 80 | 0.019591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4721-6_0_4_line_82 |  | 80 | 85 | 0.0096062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4721-6_0_4_line_83 |  | 81 | 82 | 0.015269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4721-6_0_4_line_84 |  | 82 | 83 | 0.0095016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4721-6_0_4_line_85 |  | 83 | 84 | 0.012968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4721-6_0_4_line_86 |  | 84 | 85 | 0.020771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4721-6_0_4_trafo_173 | 0.63 MVA 20/0.4 kV | 88 | 68 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2712955.8025 | 1256869.5053 | 2712977.267 | 1256854.024
1 | 2712955.8025 | 1256869.5053 | 2712959.0025 | 1256873.5355
2 | 2712990.6346 | 1256913.3738 | 2712959.0025 | 1256873.5355
3 | 2713034.4494 | 1256892.9039 | 2713046.707 | 1256882.2178 | 2713060.9472 | 1256870.4131
4 | 2713034.4494 | 1256892.9039 | 2713050.5727 | 1256910.4377
5 | 2713060.9472 | 1256870.4131 | 2713062.6713 | 1256869.0205
6 | 2713050.5727 | 1256910.4377 | 2713053.8537 | 1256913.8781
7 | 2713050.5727 | 1256910.4377 | 2713040.4808 | 1256922.8463
8 | 2712990.6346 | 1256913.3738 | 2713001.9235 | 1256927.6192
9 | 2712990.6346 | 1256913.3738 | 2712973.9365 | 1256922.683
10 | 2712990.6346 | 1256913.3738 | 2713012.3429 | 1256904.8553
11 | 2713040.4808 | 1256922.8463 | 2713035.8959 | 1256928.4837
12 | 2713026.8273 | 1256939.6342 | 2713035.8959 | 1256928.4837
13 | 2713016.8053 | 1256950.627 | 2713024.4339 | 1256942.577 | 2713026.8273 | 1256939.6342
14 | 2713061.2853 | 1256921.6709 | 2713053.8537 | 1256913.8781
15 | 2713016.8053 | 1256950.627 | 2713016.0539 | 1256946.9207 | 2713014.4095 | 1256943.3752 | 2713003.7717 | 1256929.9515
16 | 2713016.8053 | 1256950.627 | 2713015.4118 | 1256957.2394 | 2713014.3725 | 1256959.0025
17 | 2713016.8053 | 1256950.627 | 2713042.0232 | 1256970.9184
18 | 2713079.5357 | 1256941.0622 | 2713066.2788 | 1256926.9071 | 2713061.2853 | 1256921.6709
19 | 2712987.8813 | 1257124.0518 | 2712989.2766 | 1257125.1361
20 | 2712973.9033 | 1257113.1893 | 2712987.8813 | 1257124.0518
21 | 2713004.9927 | 1257146.8899 | 2713009.5646 | 1257141.695 | 2712992.4336 | 1257127.5894 | 2712989.2766 | 1257125.1361
22 | 2712973.9033 | 1257113.1893 | 2712965.8916 | 1257106.9634
23 | 2713016.0014 | 1257155.5416 | 2713004.9927 | 1257146.8899 | 2713004.9927 | 1257146.8899
24 | 2712965.7195 | 1257106.8297 | 2712965.8916 | 1257106.9634
25 | 2712958.6515 | 1257101.3371 | 2712965.7195 | 1257106.8297
26 | 2713048.5369 | 1257047.8304 | 2713037.2973 | 1257040.3235
27 | 2713048.5369 | 1257047.8304 | 2713062.0372 | 1257056.8471
28 | 2712990.0224 | 1257000.3134 | 2713034.3552 | 1257038.3586 | 2713037.2973 | 1257040.3235
29 | 2713082.5035 | 1257070.5164 | 2713062.0372 | 1257056.8471
30 | 2712990.0224 | 1257000.3134 | 2712981.4534 | 1257013.2096
31 | 2712990.0224 | 1257000.3134 | 2712976.7251 | 1256985.8262
32 | 2713082.5035 | 1257070.5164 | 2713055.7205 | 1257109.549
33 | 2712981.4534 | 1257013.2096 | 2712977.4918 | 1257019.1718
34 | 2712976.7251 | 1256985.8262 | 2712959.7914 | 1256967.3772
35 | 2713059.6942 | 1257112.8791 | 2713055.7205 | 1257109.549 | 2713055.7205 | 1257109.549
36 | 2712953.376 | 1256934.1455 | 2712944.9308 | 1256938.8537
37 | 2712937.4425 | 1256943.0284 | 2712944.9308 | 1256938.8537
38 | 2712953.376 | 1256934.1455 | 2712973.9365 | 1256922.683
39 | 2712937.4425 | 1256943.0284 | 2712958.3594 | 1256965.817
40 | 2712958.3594 | 1256965.817 | 2712959.7914 | 1256967.3772
41 | 2713001.9235 | 1256927.6192 | 2713003.7717 | 1256929.9515
42 | 2713147.2252 | 1257013.3377 | 2713148.7046 | 1257014.9173
43 | 2713147.2252 | 1257013.3377 | 2713141.1312 | 1257006.8308
44 | 2713147.2252 | 1257013.3377 | 2713209.5138 | 1256953.7684
45 | 2713134.5566 | 1256999.8107 | 2713141.1312 | 1257006.8308
46 | 2713190.7429 | 1256933.201 | 2713209.5138 | 1256953.7684
47 | 2713134.5566 | 1256999.8107 | 2713126.2523 | 1256990.9439
48 | 2713120.1024 | 1256984.3773 | 2713126.2523 | 1256990.9439
49 | 2713110.9207 | 1256974.5735 | 2713120.1024 | 1256984.3773
50 | 2713110.9207 | 1256974.5735 | 2713104.2289 | 1256967.4284
51 | 2713102.0403 | 1256965.0915 | 2713104.2289 | 1256967.4284
52 | 2713102.0403 | 1256965.0915 | 2713093.4636 | 1256955.9338
53 | 2713081.5398 | 1256943.202 | 2713093.4636 | 1256955.9338
54 | 2713081.5398 | 1256943.202 | 2713081.0909 | 1256942.7227
55 | 2713081.0909 | 1256942.7227 | 2713079.5357 | 1256941.0622
56 | 2712965.5861 | 1257037.0896 | 2712977.4918 | 1257019.1718
57 | 2712959.5958 | 1257046.1049 | 2712965.5861 | 1257037.0896
58 | 2712959.5958 | 1257046.1049 | 2712947.2181 | 1257039.248
59 | 2712959.5958 | 1257046.1049 | 2712953.6674 | 1257054.4238
60 | 2712947.2181 | 1257039.248 | 2712923.3346 | 1257026.0173
61 | 2712947.6598 | 1257062.8536 | 2712953.6674 | 1257054.4238
62 | 2712958.6515 | 1257101.3371 | 2712945.7391 | 1257091.3027
63 | 2712933.9271 | 1257082.1235 | 2712945.7391 | 1257091.3027
64 | 2712933.9271 | 1257082.1235 | 2712905.3294 | 1257059.8838
65 | 2712933.9271 | 1257082.1235 | 2712932.0346 | 1257084.8564 | 2712924.4167 | 1257095.8427
66 | 2712933.9271 | 1257082.1235 | 2712947.6598 | 1257062.8536
67 | 2712892.9032 | 1257052.8548 | 2712900.43 | 1257056.0737 | 2712905.3294 | 1257059.8838
68 | 2712924.4167 | 1257095.8427 | 2712920.1221 | 1257102.0364
69 | 2712912.2762 | 1257019.8912 | 2712923.3346 | 1257026.0173
70 | 2712894.4178 | 1257139.1071 | 2712896.0311 | 1257136.7803 | 2712920.1221 | 1257102.0364
71 | 2713055.8494 | 1256982.0435 | 2713042.0232 | 1256970.9184
72 | 2712858.0243 | 1257115.954 | 2712866.0939 | 1257120.6647
73 | 2712883.3451 | 1257130.9656 | 2712881.8251 | 1257129.848 | 2712866.0939 | 1257120.6647
74 | 2712894.4178 | 1257139.1071 | 2712883.3451 | 1257130.9656
75 | 2712894.4178 | 1257139.1071 | 2712906.1993 | 1257147.77
76 | 2712894.4178 | 1257139.1071 | 2712891.4649 | 1257142.8651 | 2712883.0891 | 1257153.5133
77 | 2712871.1891 | 1257168.6447 | 2712890.7394 | 1257193.841
78 | 2712871.1891 | 1257168.6447 | 2712872.6346 | 1257166.8041 | 2712883.0255 | 1257153.5941
79 | 2712890.7394 | 1257193.841 | 2712898.4187 | 1257203.7381 | 2712905.959 | 1257214.9804
80 | 2712883.0891 | 1257153.5133 | 2712883.0255 | 1257153.5941
81 | 2712906.1993 | 1257147.77 | 2712921.9831 | 1257159.3758
82 | 2712929.7223 | 1257165.0664 | 2712921.9831 | 1257159.3758
83 | 2712973.358 | 1257204.0124 | 2712962.0454 | 1257193.7576
84 | 2712955.0056 | 1257187.3761 | 2712962.0454 | 1257193.7576
85 | 2712955.0056 | 1257187.3761 | 2712945.3973 | 1257178.6663
86 | 2712929.7223 | 1257165.0664 | 2712933.2817 | 1257167.6836 | 2712945.3973 | 1257178.6663

## bus_geodata
| x | y | coords
0 | 2712977.267 | 1256854.024
1 | 2712955.8025 | 1256869.5053
2 | 2712959.0025 | 1256873.5355
3 | 2713034.4494 | 1256892.9039
4 | 2713060.9472 | 1256870.4131
5 | 2713050.5727 | 1256910.4377
6 | 2712990.6346 | 1256913.3738
7 | 2713040.4808 | 1256922.8463
8 | 2713035.8959 | 1256928.4837
9 | 2713026.8273 | 1256939.6342
10 | 2713053.8537 | 1256913.8781
11 | 2713016.8053 | 1256950.627
12 | 2713061.2853 | 1256921.6709
13 | 2712987.8813 | 1257124.0518
14 | 2712989.2766 | 1257125.1361
15 | 2712973.9033 | 1257113.1893
16 | 2713004.9927 | 1257146.8899
17 | 2712965.8916 | 1257106.9634
18 | 2713016.0014 | 1257155.5416
19 | 2712965.7195 | 1257106.8297
20 | 2713048.5369 | 1257047.8304
21 | 2713037.2973 | 1257040.3235
22 | 2713062.0372 | 1257056.8471
23 | 2712990.0224 | 1257000.3134
24 | 2713082.5035 | 1257070.5164
25 | 2712981.4534 | 1257013.2096
26 | 2712976.7251 | 1256985.8262
27 | 2713055.7205 | 1257109.549
28 | 2712944.9308 | 1256938.8537
29 | 2712953.376 | 1256934.1455
30 | 2712937.4425 | 1256943.0284
31 | 2712973.9365 | 1256922.683
32 | 2712958.3594 | 1256965.817
33 | 2712959.7914 | 1256967.3772
34 | 2713012.3429 | 1256904.8553
35 | 2713001.9235 | 1256927.6192
36 | 2713062.6713 | 1256869.0205
37 | 2713003.7717 | 1256929.9515
38 | 2713147.2252 | 1257013.3377
39 | 2713148.7046 | 1257014.9173
40 | 2713141.1312 | 1257006.8308
41 | 2713209.5138 | 1256953.7684
42 | 2713134.5566 | 1256999.8107
43 | 2713126.2523 | 1256990.9439
44 | 2713120.1024 | 1256984.3773
45 | 2713110.9207 | 1256974.5735
46 | 2713104.2289 | 1256967.4284
47 | 2713102.0403 | 1256965.0915
48 | 2713093.4636 | 1256955.9338
49 | 2713081.5398 | 1256943.202
50 | 2713081.0909 | 1256942.7227
51 | 2713079.5357 | 1256941.0622
52 | 2713059.6942 | 1257112.8791
53 | 2712977.4918 | 1257019.1718
54 | 2713014.3725 | 1256959.0025
55 | 2712965.5861 | 1257037.0896
56 | 2712959.5958 | 1257046.1049
57 | 2712947.2181 | 1257039.248
58 | 2712953.6674 | 1257054.4238
59 | 2712958.6515 | 1257101.3371
60 | 2712945.7391 | 1257091.3027
61 | 2712933.9271 | 1257082.1235
62 | 2712947.6598 | 1257062.8536
63 | 2712905.3294 | 1257059.8838
64 | 2712924.4167 | 1257095.8427
65 | 2712923.3346 | 1257026.0173
66 | 2712892.9032 | 1257052.8548
67 | 2712920.1221 | 1257102.0364
68 | 2713042.0232 | 1256970.9184
69 | 2713055.8494 | 1256982.0435
70 | 2712912.2762 | 1257019.8912
71 | 2712858.0243 | 1257115.954
72 | 2712866.0939 | 1257120.6647
73 | 2712883.3451 | 1257130.9656
74 | 2712894.4178 | 1257139.1071
75 | 2712871.1891 | 1257168.6447
76 | 2712890.7394 | 1257193.841
77 | 2712883.0255 | 1257153.5941
78 | 2712906.1993 | 1257147.77
79 | 2712883.0891 | 1257153.5133
80 | 2712921.9831 | 1257159.3758
81 | 2712973.358 | 1257204.0124
82 | 2712962.0454 | 1257193.7576
83 | 2712955.0056 | 1257187.3761
84 | 2712945.3973 | 1257178.6663
85 | 2712929.7223 | 1257165.0664
86 | 2712905.959 | 1257214.9804
87 | 2713190.7429 | 1256933.201
88 | 2713055.8494 | 1256982.0435

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1