## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4781-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4781-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4781-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4781-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4781-4_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4781-4_0_3_node_59 | 0.4 | n |  | TRUE
6 | bus_LV_4781-4_0_3_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_4781-4_0_3_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_4781-4_0_3_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_4781-4_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4781-4_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4781-4_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4781-4_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4781-4_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4781-4_0_3_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_4781-4_0_3_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_4781-4_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4781-4_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4781-4_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4781-4_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_4781-4_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_4781-4_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_4781-4_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_4781-4_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_4781-4_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_4781-4_0_3_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_4781-4_0_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_4781-4_0_3_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_4781-4_0_3_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_4781-4_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_4781-4_0_3_node_61 | 0.4 | n |  | TRUE
31 | bus_LV_4781-4_0_3_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_4781-4_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_4781-4_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_4781-4_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_4781-4_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_4781-4_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_4781-4_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_4781-4_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_4781-4_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_4781-4_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_4781-4_0_3_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_4781-4_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_4781-4_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_4781-4_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_4781-4_0_3_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_4781-4_0_3_node_163 | 0.4 | n |  | TRUE
47 | bus_LV_4781-4_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_4781-4_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_4781-4_0_3_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_4781-4_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_4781-4_0_3_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_4781-4_0_3_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_4781-4_0_3_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_4781-4_0_3_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_4781-4_0_3_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_4781-4_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_4781-4_0_3_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_4781-4_0_3_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_4781-4_0_3_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_4781-4_0_3_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_4781-4_0_3_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_4781-4_0_3_node_166 | 0.4 | n |  | TRUE
63 | bus_LV_4781-4_0_3_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_4781-4_0_3_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_4781-4_0_3_node_198 | 0.4 | n |  | TRUE
66 | bus_LV_4781-4_0_3_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_4781-4_0_3_node_76 | 0.4 | n |  | TRUE
68 | bus_MV_440_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4781-4_0_3_load_0 | 0 | 0.00088694 | 0.00022229 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4781-4_0_3_load_1 | 1 | 0.00033359 | 8.3606e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4781-4_0_3_load_2 | 2 | 0.0015077 | 0.00037787 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4781-4_0_3_load_3 | 3 | 0.00033359 | 8.3606e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4781-4_0_3_load_20 | 6 | 0.0028435 | 0.00071265 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4781-4_0_3_load_21 | 7 | 0.0019392 | 0.00048601 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4781-4_0_3_load_5 | 9 | 0.0022841 | 0.00057245 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4781-4_0_3_load_6 | 10 | 0.0014917 | 0.00037385 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4781-4_0_3_load_7 | 11 | 0.0025386 | 0.00063624 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4781-4_0_3_load_8 | 12 | 0.001398 | 0.00035036 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4781-4_0_3_load_9 | 13 | 0.0012936 | 0.0003242 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4781-4_0_3_load_42 | 14 | 0.001271 | 0.00031854 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4781-4_0_3_load_55 | 15 | 0.0016663 | 0.00041761 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4781-4_0_3_load_10 | 16 | 0.0091176 | 0.0022851 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4781-4_0_3_load_11 | 17 | 0.00045412 | 0.00011381 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4781-4_0_3_load_12 | 18 | 0.0030109 | 0.00075461 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4781-4_0_3_load_14 | 19 | 0.0032794 | 0.00082189 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4781-4_0_3_load_15 | 20 | 0.087904 | 0.022031 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4781-4_0_3_load_16 | 21 | 0.0017981 | 0.00045065 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4781-4_0_3_load_17 | 22 | 0.022021 | 0.0055191 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4781-4_0_3_load_48 | 25 | 0.0019689 | 0.00049345 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4781-4_0_3_load_25 | 26 | 0.0020209 | 0.00050647 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4781-4_0_3_load_41 | 28 | 0.0014682 | 0.00036797 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4781-4_0_3_load_23 | 29 | 0.0016048 | 0.00040219 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4781-4_0_3_load_61 | 30 | 0.00048892 | 0.00012254 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4781-4_0_3_load_34 | 31 | 0.0012935 | 0.00032418 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4781-4_0_3_load_24 | 32 | 0.0020503 | 0.00051387 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4781-4_0_3_load_26 | 33 | 0.0026567 | 0.00066584 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4781-4_0_3_load_27 | 34 | 0.0038418 | 0.00096285 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4781-4_0_3_load_29 | 36 | 0.0018206 | 0.00045629 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4781-4_0_3_load_31 | 37 | 0.0032419 | 0.00081249 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4781-4_0_3_load_32 | 38 | 0.0055427 | 0.0013891 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4781-4_0_3_load_33 | 39 | 0.0034472 | 0.00086396 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4781-4_0_3_load_35 | 40 | 0.0023394 | 0.0005863 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4781-4_0_3_load_57 | 41 | 0.0041625 | 0.0010432 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4781-4_0_3_load_36 | 42 | 0.0013798 | 0.0003458 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4781-4_0_3_load_37 | 43 | 0.00050317 | 0.00012611 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4781-4_0_3_load_39 | 44 | 0.00046719 | 0.00011709 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4781-4_0_3_load_58 | 45 | 0.0022878 | 0.00057338 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4781-4_0_3_load_163 | 46 | 0.0067395 | 0.0016891 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4781-4_0_3_load_43 | 47 | 0.0019058 | 0.00047763 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4781-4_0_3_load_44 | 48 | 0.00027936 | 7.0014e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4781-4_0_3_load_45 | 49 | 0.0019992 | 0.00050106 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4781-4_0_3_load_47 | 51 | 0.0041448 | 0.0010388 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4781-4_0_3_load_82 | 52 | 0.001049 | 0.0002629 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4781-4_0_3_load_49 | 53 | 0.00029522 | 7.3989e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4781-4_0_3_load_50 | 54 | 0.00096826 | 0.00024267 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4781-4_0_3_load_54 | 57 | 0.0004122 | 0.00010331 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4781-4_0_3_load_56 | 58 | 0.0016657 | 0.00041745 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4781-4_0_3_load_73 | 59 | 0.0043987 | 0.0011024 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4781-4_0_3_load_67 | 60 | 0.0021397 | 0.00053625 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4781-4_0_3_load_74 | 61 | 0.00051463 | 0.00012898 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4781-4_0_3_load_68 | 63 | 0.0028418 | 0.00071222 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4781-4_0_3_load_75 | 64 | 0.0013604 | 0.00034095 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4781-4_0_3_load_198 | 65 | 0.041088 | 0.010298 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4781-4_0_3_load_72 | 66 | 0.0032362 | 0.00081107 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4781-4_0_3_load_76 | 67 | 0.0033976 | 0.00085152 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4781-4_0_3_line_0 |  | 0 | 1 | 0.00017466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4781-4_0_3_line_1 |  | 0 | 2 | 0.023181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4781-4_0_3_line_2 |  | 1 | 3 | 0.0094792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4781-4_0_3_line_3 |  | 2 | 4 | 0.022834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4781-4_0_3_line_4 |  | 3 | 5 | 0.011898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4781-4_0_3_line_5 |  | 4 | 6 | 0.015483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4781-4_0_3_line_6 |  | 4 | 7 | 0.038066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4781-4_0_3_line_7 |  | 4 | 8 | 0.036806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4781-4_0_3_line_8 |  | 5 | 61 | 0.039963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4781-4_0_3_line_9 |  | 5 | 45 | 0.029648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4781-4_0_3_line_10 |  | 6 | 29 | 0.033385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4781-4_0_3_line_11 |  | 7 | 30 | 0.020276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4781-4_0_3_line_12 |  | 8 | 31 | 0.0095214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4781-4_0_3_line_13 |  | 8 | 19 | 0.015704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4781-4_0_3_line_14 |  | 9 | 10 | 0.0021271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4781-4_0_3_line_15 |  | 9 | 11 | 0.023398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4781-4_0_3_line_16 |  | 10 | 12 | 0.026253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4781-4_0_3_line_17 |  | 11 | 13 | 0.003315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4781-4_0_3_line_18 |  | 12 | 14 | 0.00018398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4781-4_0_3_line_19 |  | 13 | 15 | 0.026777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4781-4_0_3_line_20 |  | 14 | 47 | 0.02573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4781-4_0_3_line_21 |  | 15 | 58 | 0.0078784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4781-4_0_3_line_22 |  | 16 | 17 | 0.037116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4781-4_0_3_line_23 |  | 16 | 18 | 0.0013603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4781-4_0_3_line_24 |  | 18 | 19 | 0.01138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4781-4_0_3_line_25 |  | 20 | 21 | 0.055993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4781-4_0_3_line_26 |  | 20 | 22 | 0.019782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_4781-4_0_3_line_27 |  | 21 | 23 | 0.0029214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4781-4_0_3_line_28 |  | 22 | 24 | 0.0047978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4781-4_0_3_line_29 |  | 23 | 25 | 0.045822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4781-4_0_3_line_30 |  | 23 | 26 | 0.013649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4781-4_0_3_line_31 |  | 24 | 27 | 0.23438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4781-4_0_3_line_32 |  | 24 | 28 | 0.092001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4781-4_0_3_line_33 |  | 25 | 47 | 0.025126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4781-4_0_3_line_34 |  | 26 | 32 | 0.007267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4781-4_0_3_line_35 |  | 27 | 62 | 0.031351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4781-4_0_3_line_36 |  | 27 | 46 | 0.067207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4781-4_0_3_line_37 |  | 28 | 36 | 0.023676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4781-4_0_3_line_38 |  | 29 | 32 | 0.0034133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4781-4_0_3_line_39 |  | 30 | 56 | 0.14016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4781-4_0_3_line_40 |  | 31 | 38 | 0.028648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4781-4_0_3_line_41 |  | 33 | 34 | 0.026706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4781-4_0_3_line_42 |  | 33 | 35 | 0.021332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4781-4_0_3_line_43 |  | 34 | 36 | 0.025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4781-4_0_3_line_44 |  | 35 | 37 | 0.017492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4781-4_0_3_line_45 |  | 38 | 39 | 0.0037086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4781-4_0_3_line_46 |  | 39 | 40 | 0.022174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4781-4_0_3_line_47 |  | 40 | 41 | 0.003241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4781-4_0_3_line_48 |  | 41 | 60 | 0.024205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4781-4_0_3_line_49 |  | 42 | 43 | 0.0014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4781-4_0_3_line_50 |  | 43 | 44 | 0.029357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4781-4_0_3_line_51 |  | 44 | 45 | 0.13146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4781-4_0_3_line_52 |  | 48 | 49 | 0.060193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4781-4_0_3_line_53 |  | 48 | 50 | 0.015339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4781-4_0_3_line_54 |  | 50 | 51 | 0.085397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4781-4_0_3_line_55 |  | 51 | 52 | 0.036073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4781-4_0_3_line_56 |  | 52 | 57 | 0.0073511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4781-4_0_3_line_57 |  | 53 | 54 | 0.0061735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4781-4_0_3_line_58 |  | 53 | 55 | 0.012907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4781-4_0_3_line_59 |  | 54 | 56 | 0.10382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4781-4_0_3_line_60 |  | 55 | 57 | 0.004785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4781-4_0_3_line_61 |  | 58 | 59 | 0.016968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4781-4_0_3_line_62 |  | 59 | 66 | 0.0046641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4781-4_0_3_line_63 |  | 60 | 63 | 0.004578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4781-4_0_3_line_64 |  | 62 | 65 | 0.016738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4781-4_0_3_line_65 |  | 63 | 64 | 0.026025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4781-4_0_3_line_66 |  | 64 | 67 | 0.0012467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4781-4_0_3_trafo_17 | 0.63 MVA 20/0.4 kV | 68 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2714821.7956 | 1262501.4066 | 2714821.9449 | 1262501.3159
1 | 2714821.7956 | 1262501.4066 | 2714801.9885 | 1262513.4502
2 | 2714821.9449 | 1262501.3159 | 2714830.0443 | 1262496.391
3 | 2714782.479 | 1262525.3153 | 2714785.3464 | 1262523.5694 | 2714801.9885 | 1262513.4502
4 | 2714841.0047 | 1262491.7888 | 2714830.7885 | 1262495.9385 | 2714830.0443 | 1262496.391
5 | 2714782.479 | 1262525.3153 | 2714779.1491 | 1262527.5971 | 2714769.7081 | 1262534.0692
6 | 2714782.479 | 1262525.3153 | 2714812.2886 | 1262548.9879
7 | 2714782.479 | 1262525.3153 | 2714752.8763 | 1262503.3218
8 | 2714841.0047 | 1262491.7888 | 2714874.2825 | 1262513.9168
9 | 2714841.0047 | 1262491.7888 | 2714868.9061 | 1262481.7617
10 | 2714769.7081 | 1262534.0692 | 2714742.1724 | 1262552.9459
11 | 2714828.1671 | 1262561.5975 | 2714812.2886 | 1262548.9879
12 | 2714752.8763 | 1262503.3218 | 2714745.2046 | 1262497.6825
13 | 2714752.8763 | 1262503.3218 | 2714762.717 | 1262491.0833
14 | 2714621.0734 | 1262492.855 | 2714622.8814 | 1262493.9755
15 | 2714621.0734 | 1262492.855 | 2714616.8168 | 1262490.2168 | 2714601.0351 | 1262480.7761
16 | 2714644.882 | 1262508.258 | 2714640.6372 | 1262504.9801 | 2714622.8814 | 1262493.9755
17 | 2714598.1903 | 1262479.0743 | 2714601.0351 | 1262480.7761
18 | 2714645.0276 | 1262508.3705 | 2714644.882 | 1262508.258
19 | 2714573.5407 | 1262469.7821 | 2714586.5948 | 1262472.1378 | 2714598.1903 | 1262479.0743
20 | 2714645.0276 | 1262508.3705 | 2714662.042 | 1262521.5094 | 2714665.4551 | 1262524.0137
21 | 2714565.7875 | 1262468.383 | 2714573.5407 | 1262469.7821
22 | 2714770.7006 | 1262481.1543 | 2714788.4991 | 1262459.0189 | 2714793.7908 | 1262452.0977
23 | 2714769.8483 | 1262482.2144 | 2714770.7006 | 1262481.1543
24 | 2714762.717 | 1262491.0833 | 2714769.8483 | 1262482.2144
25 | 2714719.7184 | 1262568.3858 | 2714673.9592 | 1262600.6552
26 | 2714657.7924 | 1262612.056 | 2714673.9592 | 1262600.6552
27 | 2714722.1059 | 1262566.7022 | 2714719.7184 | 1262568.3858
28 | 2714653.8715 | 1262614.821 | 2714657.7924 | 1262612.056
29 | 2714722.1059 | 1262566.7022 | 2714705.4771 | 1262553.3792 | 2714685.7126 | 1262538.8774
30 | 2714722.1059 | 1262566.7022 | 2714733.3634 | 1262558.9848
31 | 2714653.8715 | 1262614.821 | 2714632.5832 | 1262629.2098 | 2714546.5906 | 1262686.5825 | 2714459.3835 | 1262746.4463
32 | 2714653.8715 | 1262614.821 | 2714640.321 | 1262590.8153 | 2714626.9829 | 1262565.5681 | 2714617.843 | 1262552.7021 | 2714606.6573 | 1262542.3541 | 2714602.1553 | 1262540.5217
33 | 2714685.7126 | 1262538.8774 | 2714665.4551 | 1262524.0137
34 | 2714739.3572 | 1262554.8759 | 2714733.3634 | 1262558.9848
35 | 2714459.3835 | 1262746.4463 | 2714472.8962 | 1262774.7547
36 | 2714459.3835 | 1262746.4463 | 2714421.8574 | 1262772.8988 | 2714404.2281 | 1262784.8441
37 | 2714580.2257 | 1262531.5959 | 2714602.1553 | 1262540.5217
38 | 2714739.3572 | 1262554.8759 | 2714742.1724 | 1262552.9459
39 | 2714937.9749 | 1262648.6977 | 2714849.1434 | 1262578.2554 | 2714828.1671 | 1262561.5975
40 | 2714745.2046 | 1262497.6825 | 2714722.1219 | 1262480.7152
41 | 2714557.093 | 1262522.117 | 2714532.4863 | 1262511.738
42 | 2714512.831 | 1262503.4475 | 2714532.4863 | 1262511.738
43 | 2714580.2257 | 1262531.5959 | 2714561.386 | 1262523.9278 | 2714557.093 | 1262522.117
44 | 2714512.831 | 1262503.4475 | 2714496.6174 | 1262496.8846
45 | 2714719.1338 | 1262478.5187 | 2714722.1219 | 1262480.7152
46 | 2714719.1338 | 1262478.5187 | 2714701.2674 | 1262465.3857
47 | 2714698.656 | 1262463.4661 | 2714701.2674 | 1262465.3857
48 | 2714698.656 | 1262463.4661 | 2714679.1528 | 1262449.1299
49 | 2715022.1537 | 1262435.8068 | 2715023.4115 | 1262435.192
50 | 2714995.7151 | 1262448.5616 | 2714999.3822 | 1262446.938 | 2715022.1537 | 1262435.8068
51 | 2714995.7151 | 1262448.5616 | 2714976.0918 | 1262457.2498 | 2714959.606 | 1262462.1558 | 2714869.1286 | 1262481.6817 | 2714868.9061 | 1262481.7617
52 | 2715132.3171 | 1262819.3243 | 2715100.7767 | 1262870.592
53 | 2715140.3544 | 1262806.26 | 2715132.3171 | 1262819.3243
54 | 2715140.3544 | 1262806.26 | 2715117.5266 | 1262789.7902 | 2715086.2031 | 1262765.3594 | 2715072.4508 | 1262754.4987
55 | 2715072.4508 | 1262754.4987 | 2715044.1417 | 1262732.142
56 | 2715038.3727 | 1262727.586 | 2715044.1417 | 1262732.142
57 | 2715024.4228 | 1262716.7047 | 2715019.5466 | 1262712.9185
58 | 2715034.6175 | 1262724.6204 | 2715024.4228 | 1262716.7047
59 | 2714937.9749 | 1262648.6977 | 2714959.7532 | 1262666.492 | 2715019.5466 | 1262712.9185
60 | 2715034.6175 | 1262724.6204 | 2715038.3727 | 1262727.586
61 | 2714565.7875 | 1262468.383 | 2714555.3178 | 1262466.4937 | 2714549.2209 | 1262464.793
62 | 2714544.7283 | 1262463.5399 | 2714549.2209 | 1262464.793
63 | 2714675.4641 | 1262446.4185 | 2714679.1528 | 1262449.1299
64 | 2714472.8962 | 1262774.7547 | 2714458.4588 | 1262783.2938
65 | 2714675.4641 | 1262446.4185 | 2714674.4033 | 1262445.6387 | 2714654.6044 | 1262430.8566
66 | 2714654.6044 | 1262430.8566 | 2714653.6054 | 1262430.1108

## bus_geodata
| x | y | coords
0 | 2714821.7956 | 1262501.4066
1 | 2714821.9449 | 1262501.3159
2 | 2714801.9885 | 1262513.4502
3 | 2714830.0443 | 1262496.391
4 | 2714782.479 | 1262525.3153
5 | 2714841.0047 | 1262491.7888
6 | 2714769.7081 | 1262534.0692
7 | 2714812.2886 | 1262548.9879
8 | 2714752.8763 | 1262503.3218
9 | 2714621.0734 | 1262492.855
10 | 2714622.8814 | 1262493.9755
11 | 2714601.0351 | 1262480.7761
12 | 2714644.882 | 1262508.258
13 | 2714598.1903 | 1262479.0743
14 | 2714645.0276 | 1262508.3705
15 | 2714573.5407 | 1262469.7821
16 | 2714770.7006 | 1262481.1543
17 | 2714793.7908 | 1262452.0977
18 | 2714769.8483 | 1262482.2144
19 | 2714762.717 | 1262491.0833
20 | 2714673.9592 | 1262600.6552
21 | 2714719.7184 | 1262568.3858
22 | 2714657.7924 | 1262612.056
23 | 2714722.1059 | 1262566.7022
24 | 2714653.8715 | 1262614.821
25 | 2714685.7126 | 1262538.8774
26 | 2714733.3634 | 1262558.9848
27 | 2714459.3835 | 1262746.4463
28 | 2714602.1553 | 1262540.5217
29 | 2714742.1724 | 1262552.9459
30 | 2714828.1671 | 1262561.5975
31 | 2714745.2046 | 1262497.6825
32 | 2714739.3572 | 1262554.8759
33 | 2714532.4863 | 1262511.738
34 | 2714557.093 | 1262522.117
35 | 2714512.831 | 1262503.4475
36 | 2714580.2257 | 1262531.5959
37 | 2714496.6174 | 1262496.8846
38 | 2714722.1219 | 1262480.7152
39 | 2714719.1338 | 1262478.5187
40 | 2714701.2674 | 1262465.3857
41 | 2714698.656 | 1262463.4661
42 | 2715023.4115 | 1262435.192
43 | 2715022.1537 | 1262435.8068
44 | 2714995.7151 | 1262448.5616
45 | 2714868.9061 | 1262481.7617
46 | 2714404.2281 | 1262784.8441
47 | 2714665.4551 | 1262524.0137
48 | 2715132.3171 | 1262819.3243
49 | 2715100.7767 | 1262870.592
50 | 2715140.3544 | 1262806.26
51 | 2715072.4508 | 1262754.4987
52 | 2715044.1417 | 1262732.142
53 | 2715024.4228 | 1262716.7047
54 | 2715019.5466 | 1262712.9185
55 | 2715034.6175 | 1262724.6204
56 | 2714937.9749 | 1262648.6977
57 | 2715038.3727 | 1262727.586
58 | 2714565.7875 | 1262468.383
59 | 2714549.2209 | 1262464.793
60 | 2714679.1528 | 1262449.1299
61 | 2714874.2825 | 1262513.9168
62 | 2714472.8962 | 1262774.7547
63 | 2714675.4641 | 1262446.4185
64 | 2714654.6044 | 1262430.8566
65 | 2714458.4588 | 1262783.2938
66 | 2714544.7283 | 1262463.5399
67 | 2714653.6054 | 1262430.1108
68 | 2714653.8715 | 1262614.821

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1