## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4781-8_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4781-8_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4781-8_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4781-8_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4781-8_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4781-8_0_5_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_4781-8_0_5_node_99 | 0.4 | n |  | TRUE
7 | bus_LV_4781-8_0_5_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_4781-8_0_5_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_4781-8_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4781-8_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4781-8_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4781-8_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4781-8_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4781-8_0_5_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_4781-8_0_5_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_4781-8_0_5_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_4781-8_0_5_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_4781-8_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_4781-8_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_4781-8_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4781-8_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4781-8_0_5_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_4781-8_0_5_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_4781-8_0_5_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_4781-8_0_5_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_4781-8_0_5_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_4781-8_0_5_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_4781-8_0_5_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_4781-8_0_5_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_4781-8_0_5_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_4781-8_0_5_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_4781-8_0_5_node_68 | 0.4 | n |  | TRUE
33 | bus_LV_4781-8_0_5_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_4781-8_0_5_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_4781-8_0_5_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_4781-8_0_5_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_4781-8_0_5_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_4781-8_0_5_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_4781-8_0_5_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_4781-8_0_5_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_4781-8_0_5_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_4781-8_0_5_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_4781-8_0_5_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_4781-8_0_5_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_4781-8_0_5_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_4781-8_0_5_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_4781-8_0_5_node_71 | 0.4 | n |  | TRUE
48 | bus_LV_4781-8_0_5_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_4781-8_0_5_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_4781-8_0_5_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_4781-8_0_5_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_4781-8_0_5_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_4781-8_0_5_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_4781-8_0_5_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_4781-8_0_5_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_4781-8_0_5_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_4781-8_0_5_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_4781-8_0_5_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_4781-8_0_5_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_4781-8_0_5_node_93 | 0.4 | n |  | TRUE
61 | bus_LV_4781-8_0_5_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_4781-8_0_5_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_4781-8_0_5_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_4781-8_0_5_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_4781-8_0_5_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_4781-8_0_5_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_4781-8_0_5_node_92 | 0.4 | n |  | TRUE
68 | bus_LV_4781-8_0_5_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_4781-8_0_5_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_4781-8_0_5_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_4781-8_0_5_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_4781-8_0_5_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_4781-8_0_5_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_4781-8_0_5_node_96 | 0.4 | n |  | TRUE
75 | bus_LV_4781-8_0_5_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_4781-8_0_5_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_4781-8_0_5_node_98 | 0.4 | n |  | TRUE
78 | bus_LV_4781-8_0_5_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_4781-8_0_5_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_4781-8_0_5_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_4781-8_0_5_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_4781-8_0_5_node_91 | 0.4 | n |  | TRUE
83 | bus_LV_4781-8_0_5_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_4781-8_0_5_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_4781-8_0_5_node_95 | 0.4 | n |  | TRUE
86 | bus_LV_4781-8_0_5_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_4781-8_0_5_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_4781-8_0_5_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_4781-8_0_5_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_4781-8_0_5_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_4781-8_0_5_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_4781-8_0_5_node_85 | 0.4 | n |  | TRUE
93 | bus_LV_4781-8_0_5_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_4781-8_0_5_node_90 | 0.4 | n |  | TRUE
95 | bus_MV_440_0_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4781-8_0_5_load_0 | 0 | 0.0075756 | 0.0018986 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4781-8_0_5_load_1 | 1 | 0.001422 | 0.00035638 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4781-8_0_5_load_3 | 3 | 0.0020387 | 0.00051094 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4781-8_0_5_load_4 | 4 | 0.0017513 | 0.00043892 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4781-8_0_5_load_99 | 6 | 0.0017499 | 0.00043857 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4781-8_0_5_load_44 | 7 | 0.0049743 | 0.0012467 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4781-8_0_5_load_45 | 8 | 0.001261 | 0.00031603 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4781-8_0_5_load_5 | 9 | 0.00076924 | 0.00019279 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4781-8_0_5_load_6 | 10 | 0.0073317 | 0.0018375 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4781-8_0_5_load_7 | 11 | 0.0017601 | 0.00044113 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4781-8_0_5_load_8 | 12 | 0.00075788 | 0.00018994 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4781-8_0_5_load_9 | 13 | 0.0055667 | 0.0013951 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4781-8_0_5_load_33 | 14 | 0.0034581 | 0.00086669 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4781-8_0_5_load_15 | 15 | 0.00069819 | 0.00017498 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4781-8_0_5_load_31 | 16 | 0.00092413 | 0.00023161 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4781-8_0_5_load_16 | 17 | 0.0019834 | 0.0004971 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4781-8_0_5_load_10 | 18 | 0.0015763 | 0.00039506 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4781-8_0_5_load_13 | 21 | 0.00039952 | 0.00010013 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4781-8_0_5_load_22 | 22 | 0.002876 | 0.00072079 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4781-8_0_5_load_20 | 23 | 0.00039795 | 9.9737e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4781-8_0_5_load_38 | 24 | 0.0005914 | 0.00014822 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4781-8_0_5_load_43 | 26 | 0.0043977 | 0.0011022 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4781-8_0_5_load_17 | 27 | 0.0020558 | 0.00051522 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4781-8_0_5_load_18 | 28 | 0.0014579 | 0.00036538 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4781-8_0_5_load_36 | 30 | 0.001152 | 0.00028872 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4781-8_0_5_load_37 | 31 | 0.0084815 | 0.0021257 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4781-8_0_5_load_35 | 33 | 0.0016104 | 0.00040359 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4781-8_0_5_load_23 | 34 | 0.0011527 | 0.00028889 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4781-8_0_5_load_24 | 35 | 0.00065704 | 0.00016467 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4781-8_0_5_load_46 | 36 | 0.0015134 | 0.00037929 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4781-8_0_5_load_25 | 38 | 0.0009077 | 0.00022749 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4781-8_0_5_load_28 | 40 | 0.0010819 | 0.00027114 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4781-8_0_5_load_29 | 41 | 0.0012938 | 0.00032426 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4781-8_0_5_load_34 | 42 | 0.0034594 | 0.00086701 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4781-8_0_5_load_62 | 43 | 0.00072273 | 0.00018113 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4781-8_0_5_load_32 | 44 | 0.0044303 | 0.0011103 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4781-8_0_5_load_60 | 45 | 0.0040978 | 0.001027 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4781-8_0_5_load_30 | 46 | 0.0017584 | 0.0004407 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4781-8_0_5_load_71 | 47 | 0.0011024 | 0.00027628 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4781-8_0_5_load_53 | 49 | 0.00038885 | 9.7456e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4781-8_0_5_load_41 | 50 | 0.0021696 | 0.00054375 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4781-8_0_5_load_42 | 51 | 0.005586 | 0.0014 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4781-8_0_5_load_54 | 52 | 0.00038859 | 9.7391e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4781-8_0_5_load_59 | 53 | 0.00068628 | 0.000172 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4781-8_0_5_load_48 | 54 | 0.0013808 | 0.00034605 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4781-8_0_5_load_49 | 55 | 0.0013844 | 0.00034696 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4781-8_0_5_load_50 | 56 | 0.00067539 | 0.00016927 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4781-8_0_5_load_51 | 57 | 0.0016262 | 0.00040756 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4781-8_0_5_load_52 | 58 | 0.0030111 | 0.00075465 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4781-8_0_5_load_93 | 60 | 0.0040502 | 0.0010151 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4781-8_0_5_load_61 | 61 | 0.00062444 | 0.0001565 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4781-8_0_5_load_79 | 62 | 0.0034023 | 0.00085269 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4781-8_0_5_load_57 | 63 | 0.0016104 | 0.00040359 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4781-8_0_5_load_55 | 64 | 0.0006864 | 0.00017203 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4781-8_0_5_load_56 | 65 | 0.00097438 | 0.0002442 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4781-8_0_5_load_58 | 66 | 0.00068674 | 0.00017211 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4781-8_0_5_load_92 | 67 | 0.00068685 | 0.00017214 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4781-8_0_5_load_64 | 68 | 0.0031161 | 0.00078098 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4781-8_0_5_load_65 | 69 | 0.0011361 | 0.00028474 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4781-8_0_5_load_67 | 70 | 0.00078543 | 0.00019685 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4781-8_0_5_load_69 | 71 | 0.0090562 | 0.0022697 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4781-8_0_5_load_70 | 72 | 0.0013727 | 0.00034404 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4781-8_0_5_load_76 | 75 | 0.025704 | 0.0064421 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4781-8_0_5_load_72 | 76 | 0.0090748 | 0.0022744 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4781-8_0_5_load_98 | 77 | 0.011 | 0.0027569 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4781-8_0_5_load_73 | 78 | 0.020414 | 0.0051162 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4781-8_0_5_load_77 | 81 | 0.0043676 | 0.0010946 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4781-8_0_5_load_91 | 82 | 0.0027566 | 0.00069088 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4781-8_0_5_load_87 | 83 | 0.012389 | 0.0031049 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4781-8_0_5_load_78 | 84 | 0.0025713 | 0.00064442 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4781-8_0_5_load_95 | 85 | 0.0090375 | 0.002265 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4781-8_0_5_load_94 | 86 | 0.00082963 | 0.00020792 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4781-8_0_5_load_86 | 87 | 0.0029025 | 0.00072743 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4781-8_0_5_load_81 | 89 | 0.0038485 | 0.00096452 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4781-8_0_5_load_82 | 90 | 0.0054981 | 0.001378 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4781-8_0_5_load_85 | 92 | 0.014358 | 0.0035984 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4781-8_0_5_load_89 | 93 | 0.013588 | 0.0034054 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4781-8_0_5_load_90 | 94 | 0.022502 | 0.0056397 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 78 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4781-8_0_5_line_0 |  | 0 | 1 | 0.023888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4781-8_0_5_line_1 |  | 0 | 2 | 0.038198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4781-8_0_5_line_2 |  | 1 | 3 | 0.020818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4781-8_0_5_line_3 |  | 2 | 4 | 0.029492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4781-8_0_5_line_4 |  | 3 | 5 | 0.0109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4781-8_0_5_line_5 |  | 4 | 6 | 0.00060029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4781-8_0_5_line_6 |  | 5 | 7 | 0.018747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4781-8_0_5_line_7 |  | 5 | 8 | 0.012896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4781-8_0_5_line_8 |  | 7 | 26 | 0.0020324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4781-8_0_5_line_9 |  | 8 | 22 | 0.024275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4781-8_0_5_line_10 |  | 9 | 10 | 0.0017749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_4781-8_0_5_line_11 |  | 9 | 11 | 0.025225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_4781-8_0_5_line_12 |  | 10 | 12 | 0.018744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_4781-8_0_5_line_13 |  | 11 | 13 | 0.02847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_4781-8_0_5_line_14 |  | 12 | 14 | 0.023094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_4781-8_0_5_line_15 |  | 13 | 15 | 0.025455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_4781-8_0_5_line_16 |  | 14 | 16 | 0.00405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_4781-8_0_5_line_17 |  | 15 | 17 | 0.0080976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_4781-8_0_5_line_18 |  | 16 | 46 | 0.027509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_4781-8_0_5_line_19 |  | 17 | 27 | 0.0022474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_4781-8_0_5_line_20 |  | 18 | 19 | 0.020196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4781-8_0_5_line_21 |  | 19 | 20 | 0.017353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4781-8_0_5_line_22 |  | 19 | 21 | 0.0081311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4781-8_0_5_line_23 |  | 20 | 22 | 0.032165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4781-8_0_5_line_24 |  | 20 | 23 | 0.033442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4781-8_0_5_line_25 |  | 21 | 24 | 0.021173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4781-8_0_5_line_26 |  | 23 | 25 | 0.0072899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4781-8_0_5_line_27 |  | 25 | 34 | 0.010441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_4781-8_0_5_line_28 |  | 25 | 35 | 0.023183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_4781-8_0_5_line_29 |  | 26 | 50 | 0.01398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4781-8_0_5_line_30 |  | 27 | 28 | 0.016354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_4781-8_0_5_line_31 |  | 28 | 29 | 0.0017532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_4781-8_0_5_line_32 |  | 29 | 30 | 0.020282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_4781-8_0_5_line_33 |  | 30 | 33 | 0.0020095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_4781-8_0_5_line_34 |  | 31 | 32 | 0.026216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4781-8_0_5_line_35 |  | 32 | 47 | 0.012932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_4781-8_0_5_line_36 |  | 32 | 48 | 0.041263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_4781-8_0_5_line_37 |  | 33 | 34 | 0.019152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_4781-8_0_5_line_38 |  | 35 | 36 | 0.025084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_4781-8_0_5_line_39 |  | 36 | 37 | 0.025817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_4781-8_0_5_line_40 |  | 37 | 52 | 0.031465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_4781-8_0_5_line_41 |  | 37 | 49 | 0.013227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4781-8_0_5_line_42 |  | 38 | 39 | 0.047975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4781-8_0_5_line_43 |  | 39 | 40 | 0.0055436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_4781-8_0_5_line_44 |  | 39 | 41 | 0.01998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_4781-8_0_5_line_45 |  | 40 | 42 | 0.023463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_4781-8_0_5_line_46 |  | 41 | 43 | 0.020371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_4781-8_0_5_line_47 |  | 42 | 44 | 0.036202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_4781-8_0_5_line_48 |  | 43 | 45 | 0.023346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_4781-8_0_5_line_49 |  | 44 | 46 | 0.0013055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_4781-8_0_5_line_50 |  | 45 | 61 | 0.0025424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_4781-8_0_5_line_51 |  | 47 | 67 | 0.013328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_4781-8_0_5_line_52 |  | 48 | 71 | 0.0057456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_4781-8_0_5_line_53 |  | 48 | 68 | 0.010313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4781-8_0_5_line_54 |  | 50 | 51 | 0.0085365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4781-8_0_5_line_55 |  | 52 | 53 | 0.021349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_4781-8_0_5_line_56 |  | 53 | 63 | 0.0094679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_4781-8_0_5_line_57 |  | 54 | 55 | 0.0030508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_4781-8_0_5_line_58 |  | 54 | 56 | 0.031872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_4781-8_0_5_line_59 |  | 55 | 57 | 0.046467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_4781-8_0_5_line_60 |  | 56 | 58 | 0.0094202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_4781-8_0_5_line_61 |  | 57 | 59 | 0.0377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_4781-8_0_5_line_62 |  | 58 | 60 | 0.010165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_4781-8_0_5_line_63 |  | 59 | 61 | 0.017692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_4781-8_0_5_line_64 |  | 60 | 62 | 0.020868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_4781-8_0_5_line_65 |  | 62 | 84 | 0.027932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_4781-8_0_5_line_66 |  | 63 | 64 | 0.011586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_4781-8_0_5_line_67 |  | 64 | 65 | 0.015024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_4781-8_0_5_line_68 |  | 65 | 66 | 0.0058571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_4781-8_0_5_line_69 |  | 66 | 67 | 0.0073349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_4781-8_0_5_line_70 |  | 68 | 69 | 0.0080535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4781-8_0_5_line_71 |  | 69 | 70 | 0.013973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4781-8_0_5_line_72 |  | 70 | 72 | 0.013486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4781-8_0_5_line_73 |  | 71 | 73 | 0.016414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_4781-8_0_5_line_74 |  | 72 | 74 | 0.033789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4781-8_0_5_line_75 |  | 73 | 75 | 0.054165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4781-8_0_5_line_76 |  | 73 | 76 | 0.014971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_4781-8_0_5_line_77 |  | 74 | 77 | 0.035682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4781-8_0_5_line_78 |  | 76 | 78 | 0.0080927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_4781-8_0_5_line_79 |  | 79 | 80 | 0.00927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_4781-8_0_5_line_80 |  | 79 | 81 | 0.028586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_4781-8_0_5_line_81 |  | 80 | 82 | 0.0102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4781-8_0_5_line_82 |  | 80 | 83 | 0.023143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_4781-8_0_5_line_83 |  | 81 | 84 | 0.026955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_4781-8_0_5_line_84 |  | 82 | 87 | 0.031417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4781-8_0_5_line_85 |  | 83 | 88 | 0.030063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_4781-8_0_5_line_86 |  | 85 | 86 | 0.050879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4781-8_0_5_line_87 |  | 86 | 94 | 0.05528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4781-8_0_5_line_88 |  | 87 | 91 | 0.018748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4781-8_0_5_line_89 |  | 88 | 94 | 0.020887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4781-8_0_5_line_90 |  | 88 | 93 | 0.013749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4781-8_0_5_line_91 |  | 89 | 90 | 0.020792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4781-8_0_5_line_92 |  | 89 | 91 | 0.0081316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4781-8_0_5_line_93 |  | 91 | 92 | 0.033008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4781-8_0_5_trafo_73 | 0.63 MVA 20/0.4 kV | 95 | 78 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2713987.1202 | 1262394.7597 | 2713963.379 | 1262397.4035
1 | 2714025.0053 | 1262389.8917 | 2713992.6926 | 1262394.1392 | 2713987.1202 | 1262394.7597
2 | 2713942.6046 | 1262398.7257 | 2713961.9634 | 1262397.5612 | 2713963.379 | 1262397.4035
3 | 2714025.0053 | 1262389.8917 | 2714025.3256 | 1262364.309 | 2714026.0662 | 1262360.4722
4 | 2713931.7247 | 1262399.3802 | 2713942.6046 | 1262398.7257
5 | 2714026.18 | 1262359.8827 | 2714026.0662 | 1262360.4722
6 | 2713931.7247 | 1262399.3802 | 2713934.3966 | 1262417.9361
7 | 2713931.7247 | 1262399.3802 | 2713918.8386 | 1262399.88
8 | 2713934.3966 | 1262417.9361 | 2713934.6863 | 1262419.9477
9 | 2713918.8386 | 1262399.88 | 2713915.8273 | 1262399.9968 | 2713894.5684 | 1262400.2996
10 | 2714012.9918 | 1262273.3999 | 2714014.4441 | 1262272.3795
11 | 2714012.9918 | 1262273.3999 | 2713992.3513 | 1262287.901
12 | 2714029.7817 | 1262261.604 | 2714014.4441 | 1262272.3795
13 | 2713969.1788 | 1262304.4413 | 2713985.2558 | 1262292.886 | 2713992.3513 | 1262287.901
14 | 2714029.7817 | 1262261.604 | 2714048.6784 | 1262248.328
15 | 2713948.509 | 1262319.2976 | 2713969.1788 | 1262304.4413
16 | 2714051.9923 | 1262245.9998 | 2714048.6784 | 1262248.328
17 | 2713941.9337 | 1262324.0236 | 2713948.509 | 1262319.2976
18 | 2714051.9923 | 1262245.9998 | 2714062.3006 | 1262238.7576 | 2714074.6646 | 1262230.4222
19 | 2713941.9337 | 1262324.0236 | 2713940.1088 | 1262325.3352
20 | 2713845.0023 | 1262400.9563 | 2713841.9015 | 1262420.9126
21 | 2713862.4063 | 1262400.7578 | 2713845.0023 | 1262400.9563
22 | 2713845.0023 | 1262400.9563 | 2713836.8726 | 1262401.1087
23 | 2713862.4063 | 1262400.7578 | 2713894.5684 | 1262400.2996
24 | 2713862.4063 | 1262400.7578 | 2713862.3899 | 1262397.31 | 2713862.9582 | 1262393.6289 | 2713865.0567 | 1262389.5324 | 2713868.0024 | 1262385.6635 | 2713880.9642 | 1262374.9696
25 | 2713815.7029 | 1262401.5055 | 2713836.8726 | 1262401.1087
26 | 2713886.5873 | 1262370.3303 | 2713880.9642 | 1262374.9696
27 | 2713886.5873 | 1262370.3303 | 2713894.399 | 1262363.4022
28 | 2713886.5873 | 1262370.3303 | 2713864.257 | 1262364.0989
29 | 2713934.9347 | 1262433.9197 | 2713934.7885 | 1262420.6577 | 2713934.6863 | 1262419.9477
30 | 2713926.8287 | 1262334.8803 | 2713940.1088 | 1262325.3352
31 | 2713925.405 | 1262335.9035 | 2713926.8287 | 1262334.8803
32 | 2713925.405 | 1262335.9035 | 2713910.2313 | 1262349.3608
33 | 2713910.2313 | 1262349.3608 | 2713908.7279 | 1262350.6942
34 | 2713887.5665 | 1262272.1975 | 2713886.8449 | 1262287.3523 | 2713893.7134 | 1262296.0004
35 | 2713887.5665 | 1262272.1975 | 2713875.9372 | 1262266.5408
36 | 2713887.5665 | 1262272.1975 | 2713894.0221 | 1262263.7367 | 2713916.6599 | 1262243.0325
37 | 2713908.7279 | 1262350.6942 | 2713894.399 | 1262363.4022
38 | 2713864.257 | 1262364.0989 | 2713840.0961 | 1262357.3566
39 | 2713815.2295 | 1262350.4174 | 2713840.0961 | 1262357.3566
40 | 2713815.2295 | 1262350.4174 | 2713830.2469 | 1262322.7674
41 | 2713815.2295 | 1262350.4174 | 2713802.8993 | 1262345.6295
42 | 2714129.0944 | 1262192.2167 | 2714135.3479 | 1262201.2675 | 2714131.3945 | 1262217.8945 | 2714130.2701 | 1262237.7456
43 | 2714129.0944 | 1262192.2167 | 2714124.6273 | 1262195.4995
44 | 2714129.0944 | 1262192.2167 | 2714144.9638 | 1262180.0772
45 | 2714124.6273 | 1262195.4995 | 2714105.7204 | 1262209.3934
46 | 2714144.9638 | 1262180.0772 | 2714145.8689 | 1262179.3848 | 2714159.3067 | 1262165.6278
47 | 2714105.7204 | 1262209.3934 | 2714104.2038 | 1262210.5079 | 2714075.7471 | 1262229.6925
48 | 2714173.0023 | 1262146.8541 | 2714164.3666 | 1262160.4476 | 2714159.3067 | 1262165.6278
49 | 2714075.7471 | 1262229.6925 | 2714074.6646 | 1262230.4222
50 | 2714173.0023 | 1262146.8541 | 2714174.3656 | 1262144.7081
51 | 2713863.9515 | 1262260.7107 | 2713875.9372 | 1262266.5408
52 | 2713916.6599 | 1262243.0325 | 2713921.1317 | 1262239.425
53 | 2713916.6599 | 1262243.0325 | 2713908.1424 | 1262237.2169
54 | 2713934.9347 | 1262433.9197 | 2713935.0287 | 1262442.4557
55 | 2713830.2469 | 1262322.7674 | 2713840.4363 | 1262304.0067
56 | 2713840.4363 | 1262304.0067 | 2713844.9551 | 1262295.6868
57 | 2714116.9891 | 1262137.5622 | 2714118.5406 | 1262134.9354
58 | 2714116.9891 | 1262137.5622 | 2714109.3023 | 1262150.5766 | 2714095.6516 | 1262160.2958
59 | 2714118.5406 | 1262134.9354 | 2714131.4283 | 1262113.1155 | 2714141.7266 | 1262108.2322 | 2714150.7333 | 1262111.9086
60 | 2714087.9777 | 1262165.7595 | 2714095.6516 | 1262160.2958
61 | 2714183.8523 | 1262129.775 | 2714159.171 | 1262115.3528 | 2714150.7333 | 1262111.9086
62 | 2714087.9777 | 1262165.7595 | 2714079.6972 | 1262171.6551
63 | 2714183.8523 | 1262129.775 | 2714174.3656 | 1262144.7081
64 | 2714062.6975 | 1262183.7588 | 2714079.6972 | 1262171.6551
65 | 2714062.6975 | 1262183.7588 | 2714039.9438 | 1262199.9593
66 | 2713850.4847 | 1262285.5058 | 2713844.9551 | 1262295.6868
67 | 2713850.4847 | 1262285.5058 | 2713857.6553 | 1262272.3032
68 | 2713860.4508 | 1262267.1563 | 2713857.6553 | 1262272.3032
69 | 2713860.4508 | 1262267.1563 | 2713863.9515 | 1262260.7107 | 2713863.9515 | 1262260.7107
70 | 2713908.1424 | 1262237.2169 | 2713901.4914 | 1262232.6758
71 | 2713889.9518 | 1262224.7968 | 2713901.4914 | 1262232.6758
72 | 2713878.8145 | 1262217.1925 | 2713889.9518 | 1262224.7968
73 | 2713933.9067 | 1262229.1193 | 2713921.1317 | 1262239.425
74 | 2713878.8145 | 1262217.1925 | 2713860.8116 | 1262188.599
75 | 2713933.9067 | 1262229.1193 | 2713911.0883 | 1262206.0154 | 2713914.6053 | 1262184.6102
76 | 2713933.9067 | 1262229.1193 | 2713945.5595 | 1262219.7201
77 | 2713860.8116 | 1262188.599 | 2713829.4463 | 1262171.5861
78 | 2713945.5595 | 1262219.7201 | 2713951.8585 | 1262214.6393
79 | 2713994.88 | 1262178.7615 | 2714001.2279 | 1262171.9891
80 | 2713994.88 | 1262178.7615 | 2714003.7923 | 1262187.8967 | 2714016.5967 | 1262197.1935
81 | 2714001.2279 | 1262171.9891 | 2714008.2025 | 1262164.5466
82 | 2714001.2279 | 1262171.9891 | 2713984.7575 | 1262155.7304
83 | 2714016.5967 | 1262197.1935 | 2714024.8769 | 1262203.2053 | 2714030.1246 | 1262205.0191 | 2714035.1987 | 1262203.3377 | 2714039.9438 | 1262199.9593
84 | 2714008.2025 | 1262164.5466 | 2714028.8974 | 1262142.4635 | 2714029.6781 | 1262141.6154
85 | 2713970.0024 | 1262130.7406 | 2713973.8356 | 1262144.949 | 2713984.7575 | 1262155.7304
86 | 2713914.1286 | 1262090.479 | 2713889.8365 | 1262135.1841
87 | 2713949.2002 | 1262133.2086 | 2713914.1286 | 1262090.479
88 | 2714042.3757 | 1262127.8218 | 2714029.6781 | 1262141.6154
89 | 2713949.2002 | 1262133.2086 | 2713970.0024 | 1262130.7406
90 | 2713970.0024 | 1262130.7406 | 2713979.1248 | 1262120.454
91 | 2714047.8834 | 1262121.8395 | 2714059.4873 | 1262109.2356 | 2714061.4447 | 1262106.1426
92 | 2714042.3757 | 1262127.8218 | 2714047.8834 | 1262121.8395
93 | 2714042.3757 | 1262127.8218 | 2714011.9789 | 1262114.9552

## bus_geodata
| x | y | coords
0 | 2713987.1202 | 1262394.7597
1 | 2713963.379 | 1262397.4035
2 | 2714025.0053 | 1262389.8917
3 | 2713942.6046 | 1262398.7257
4 | 2714026.0662 | 1262360.4722
5 | 2713931.7247 | 1262399.3802
6 | 2714026.18 | 1262359.8827
7 | 2713934.3966 | 1262417.9361
8 | 2713918.8386 | 1262399.88
9 | 2714012.9918 | 1262273.3999
10 | 2714014.4441 | 1262272.3795
11 | 2713992.3513 | 1262287.901
12 | 2714029.7817 | 1262261.604
13 | 2713969.1788 | 1262304.4413
14 | 2714048.6784 | 1262248.328
15 | 2713948.509 | 1262319.2976
16 | 2714051.9923 | 1262245.9998
17 | 2713941.9337 | 1262324.0236
18 | 2713841.9015 | 1262420.9126
19 | 2713845.0023 | 1262400.9563
20 | 2713862.4063 | 1262400.7578
21 | 2713836.8726 | 1262401.1087
22 | 2713894.5684 | 1262400.2996
23 | 2713880.9642 | 1262374.9696
24 | 2713815.7029 | 1262401.5055
25 | 2713886.5873 | 1262370.3303
26 | 2713934.6863 | 1262419.9477
27 | 2713940.1088 | 1262325.3352
28 | 2713926.8287 | 1262334.8803
29 | 2713925.405 | 1262335.9035
30 | 2713910.2313 | 1262349.3608
31 | 2713893.7134 | 1262296.0004
32 | 2713887.5665 | 1262272.1975
33 | 2713908.7279 | 1262350.6942
34 | 2713894.399 | 1262363.4022
35 | 2713864.257 | 1262364.0989
36 | 2713840.0961 | 1262357.3566
37 | 2713815.2295 | 1262350.4174
38 | 2714130.2701 | 1262237.7456
39 | 2714129.0944 | 1262192.2167
40 | 2714124.6273 | 1262195.4995
41 | 2714144.9638 | 1262180.0772
42 | 2714105.7204 | 1262209.3934
43 | 2714159.3067 | 1262165.6278
44 | 2714075.7471 | 1262229.6925
45 | 2714173.0023 | 1262146.8541
46 | 2714074.6646 | 1262230.4222
47 | 2713875.9372 | 1262266.5408
48 | 2713916.6599 | 1262243.0325
49 | 2713802.8993 | 1262345.6295
50 | 2713934.9347 | 1262433.9197
51 | 2713935.0287 | 1262442.4557
52 | 2713830.2469 | 1262322.7674
53 | 2713840.4363 | 1262304.0067
54 | 2714116.9891 | 1262137.5622
55 | 2714118.5406 | 1262134.9354
56 | 2714095.6516 | 1262160.2958
57 | 2714150.7333 | 1262111.9086
58 | 2714087.9777 | 1262165.7595
59 | 2714183.8523 | 1262129.775
60 | 2714079.6972 | 1262171.6551
61 | 2714174.3656 | 1262144.7081
62 | 2714062.6975 | 1262183.7588
63 | 2713844.9551 | 1262295.6868
64 | 2713850.4847 | 1262285.5058
65 | 2713857.6553 | 1262272.3032
66 | 2713860.4508 | 1262267.1563
67 | 2713863.9515 | 1262260.7107
68 | 2713908.1424 | 1262237.2169
69 | 2713901.4914 | 1262232.6758
70 | 2713889.9518 | 1262224.7968
71 | 2713921.1317 | 1262239.425
72 | 2713878.8145 | 1262217.1925
73 | 2713933.9067 | 1262229.1193
74 | 2713860.8116 | 1262188.599
75 | 2713914.6053 | 1262184.6102
76 | 2713945.5595 | 1262219.7201
77 | 2713829.4463 | 1262171.5861
78 | 2713951.8585 | 1262214.6393
79 | 2713994.88 | 1262178.7615
80 | 2714001.2279 | 1262171.9891
81 | 2714016.5967 | 1262197.1935
82 | 2714008.2025 | 1262164.5466
83 | 2713984.7575 | 1262155.7304
84 | 2714039.9438 | 1262199.9593
85 | 2713889.8365 | 1262135.1841
86 | 2713914.1286 | 1262090.479
87 | 2714029.6781 | 1262141.6154
88 | 2713970.0024 | 1262130.7406
89 | 2714047.8834 | 1262121.8395
90 | 2714061.4447 | 1262106.1426
91 | 2714042.3757 | 1262127.8218
92 | 2714011.9789 | 1262114.9552
93 | 2713979.1248 | 1262120.454
94 | 2713949.2002 | 1262133.2086
95 | 2713933.9067 | 1262229.1193

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1