## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4831-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4831-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4831-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4831-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4831-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4831-2_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4831-2_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_4831-2_0_4_node_73 | 0.4 | n |  | TRUE
8 | bus_LV_4831-2_0_4_node_76 | 0.4 | n |  | TRUE
9 | bus_LV_4831-2_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4831-2_0_4_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_4831-2_0_4_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_4831-2_0_4_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_4831-2_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4831-2_0_4_node_45 | 0.4 | n |  | TRUE
15 | bus_LV_4831-2_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4831-2_0_4_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_4831-2_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4831-2_0_4_node_54 | 0.4 | n |  | TRUE
19 | bus_LV_4831-2_0_4_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_4831-2_0_4_node_100 | 0.4 | n |  | TRUE
21 | bus_LV_4831-2_0_4_node_74 | 0.4 | n |  | TRUE
22 | bus_LV_4831-2_0_4_node_77 | 0.4 | n |  | TRUE
23 | bus_LV_4831-2_0_4_node_61 | 0.4 | n |  | TRUE
24 | bus_LV_4831-2_0_4_node_60 | 0.4 | n |  | TRUE
25 | bus_LV_4831-2_0_4_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_4831-2_0_4_node_104 | 0.4 | n |  | TRUE
27 | bus_LV_4831-2_0_4_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_4831-2_0_4_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_4831-2_0_4_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_4831-2_0_4_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_4831-2_0_4_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_4831-2_0_4_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_4831-2_0_4_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_4831-2_0_4_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_4831-2_0_4_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_4831-2_0_4_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_4831-2_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_4831-2_0_4_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_4831-2_0_4_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_4831-2_0_4_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_4831-2_0_4_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_4831-2_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_4831-2_0_4_node_19 | 0.4 | n |  | TRUE
44 | bus_LV_4831-2_0_4_node_70 | 0.4 | n |  | TRUE
45 | bus_LV_4831-2_0_4_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_4831-2_0_4_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_4831-2_0_4_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_4831-2_0_4_node_92 | 0.4 | n |  | TRUE
49 | bus_LV_4831-2_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_4831-2_0_4_node_23 | 0.4 | n |  | TRUE
51 | bus_LV_4831-2_0_4_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_4831-2_0_4_node_25 | 0.4 | n |  | TRUE
53 | bus_LV_4831-2_0_4_node_26 | 0.4 | n |  | TRUE
54 | bus_LV_4831-2_0_4_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_4831-2_0_4_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_4831-2_0_4_node_29 | 0.4 | n |  | TRUE
57 | bus_LV_4831-2_0_4_node_85 | 0.4 | n |  | TRUE
58 | bus_LV_4831-2_0_4_node_30 | 0.4 | n |  | TRUE
59 | bus_LV_4831-2_0_4_node_83 | 0.4 | n |  | TRUE
60 | bus_LV_4831-2_0_4_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_4831-2_0_4_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_4831-2_0_4_node_32 | 0.4 | n |  | TRUE
63 | bus_LV_4831-2_0_4_node_91 | 0.4 | n |  | TRUE
64 | bus_LV_4831-2_0_4_node_90 | 0.4 | n |  | TRUE
65 | bus_LV_4831-2_0_4_node_97 | 0.4 | n |  | TRUE
66 | bus_LV_4831-2_0_4_node_89 | 0.4 | n |  | TRUE
67 | bus_LV_4831-2_0_4_node_95 | 0.4 | n |  | TRUE
68 | bus_LV_4831-2_0_4_node_86 | 0.4 | n |  | TRUE
69 | bus_LV_4831-2_0_4_node_37 | 0.4 | n |  | TRUE
70 | bus_LV_4831-2_0_4_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_4831-2_0_4_node_39 | 0.4 | n |  | TRUE
72 | bus_LV_4831-2_0_4_node_36 | 0.4 | n |  | TRUE
73 | bus_LV_4831-2_0_4_node_40 | 0.4 | n |  | TRUE
74 | bus_LV_4831-2_0_4_node_78 | 0.4 | n |  | TRUE
75 | bus_LV_4831-2_0_4_node_48 | 0.4 | n |  | TRUE
76 | bus_LV_4831-2_0_4_node_49 | 0.4 | n |  | TRUE
77 | bus_LV_4831-2_0_4_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_4831-2_0_4_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_4831-2_0_4_node_103 | 0.4 | n |  | TRUE
80 | bus_LV_4831-2_0_4_node_52 | 0.4 | n |  | TRUE
81 | bus_LV_4831-2_0_4_node_99 | 0.4 | n |  | TRUE
82 | bus_LV_4831-2_0_4_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_4831-2_0_4_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_4831-2_0_4_node_62 | 0.4 | n |  | TRUE
85 | bus_LV_4831-2_0_4_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_4831-2_0_4_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_4831-2_0_4_node_96 | 0.4 | n |  | TRUE
88 | bus_LV_4831-2_0_4_node_94 | 0.4 | n |  | TRUE
89 | bus_LV_4831-2_0_4_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_4831-2_0_4_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_4831-2_0_4_node_102 | 0.4 | n |  | TRUE
92 | bus_LV_4831-2_0_4_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_4831-2_0_4_node_101 | 0.4 | n |  | TRUE
94 | bus_LV_4831-2_0_4_node_93 | 0.4 | n |  | TRUE
95 | bus_MV_439_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4831-2_0_4_load_0 | 0 | 0.027903 | 0.0069931 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4831-2_0_4_load_1 | 1 | 0.03261 | 0.0081727 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4831-2_0_4_load_3 | 3 | 0.0028737 | 0.00072022 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4831-2_0_4_load_4 | 4 | 0.024117 | 0.0060444 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4831-2_0_4_load_5 | 5 | 0.063733 | 0.015973 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4831-2_0_4_load_73 | 7 | 0.019551 | 0.0048999 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4831-2_0_4_load_76 | 8 | 0.030331 | 0.0076017 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4831-2_0_4_load_42 | 10 | 0.0035335 | 0.00088559 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4831-2_0_4_load_43 | 11 | 0.019308 | 0.004839 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4831-2_0_4_load_41 | 12 | 0.0018148 | 0.00045484 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4831-2_0_4_load_45 | 14 | 0.0056995 | 0.0014284 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4831-2_0_4_load_57 | 16 | 0.012513 | 0.0031361 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4831-2_0_4_load_100 | 20 | 0.0021653 | 0.00054268 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4831-2_0_4_load_74 | 21 | 0.010761 | 0.0026969 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4831-2_0_4_load_77 | 22 | 0.039442 | 0.0098851 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4831-2_0_4_load_60 | 24 | 0.010179 | 0.002551 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4831-2_0_4_load_104 | 26 | 0.0032637 | 0.00081797 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4831-2_0_4_load_58 | 27 | 0.0016336 | 0.00040943 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4831-2_0_4_load_64 | 28 | 0.0096485 | 0.0024181 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4831-2_0_4_load_59 | 29 | 0.0013151 | 0.0003296 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4831-2_0_4_load_12 | 30 | 0.0023512 | 0.00058926 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4831-2_0_4_load_13 | 31 | 0.00027403 | 6.8677e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4831-2_0_4_load_16 | 34 | 0.00040408 | 0.00010127 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4831-2_0_4_load_20 | 36 | 0.0017172 | 0.00043037 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4831-2_0_4_load_21 | 37 | 0.0011894 | 0.00029809 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4831-2_0_4_load_18 | 38 | 0.00081152 | 0.00020339 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4831-2_0_4_load_53 | 39 | 0.0004619 | 0.00011576 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4831-2_0_4_load_50 | 40 | 0.002351 | 0.00058923 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4831-2_0_4_load_22 | 41 | 0.003808 | 0.00095439 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4831-2_0_4_load_19 | 43 | 0.00029328 | 7.3503e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4831-2_0_4_load_70 | 44 | 0.0070361 | 0.0017634 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4831-2_0_4_load_51 | 45 | 0.0012063 | 0.00030234 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4831-2_0_4_load_46 | 47 | 0.00081151 | 0.00020338 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4831-2_0_4_load_92 | 48 | 0.010513 | 0.0026347 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4831-2_0_4_load_23 | 50 | 0.00032176 | 8.0641e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4831-2_0_4_load_24 | 51 | 0.0022965 | 0.00057556 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4831-2_0_4_load_25 | 52 | 0.00034357 | 8.6107e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4831-2_0_4_load_27 | 54 | 0.0048432 | 0.0012138 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4831-2_0_4_load_28 | 55 | 0.0013692 | 0.00034314 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4831-2_0_4_load_29 | 56 | 0.005411 | 0.0013561 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4831-2_0_4_load_85 | 57 | 0.0039191 | 0.00098222 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4831-2_0_4_load_30 | 58 | 0.002763 | 0.00069246 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4831-2_0_4_load_83 | 59 | 0.0016808 | 0.00042126 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4831-2_0_4_load_34 | 60 | 0.0064286 | 0.0016112 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4831-2_0_4_load_91 | 63 | 0.0011164 | 0.0002798 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4831-2_0_4_load_90 | 64 | 0.0013817 | 0.00034627 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4831-2_0_4_load_97 | 65 | 0.00079169 | 0.00019842 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4831-2_0_4_load_89 | 66 | 0.0021548 | 0.00054004 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4831-2_0_4_load_95 | 67 | 0.00046527 | 0.00011661 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4831-2_0_4_load_86 | 68 | 0.0031827 | 0.00079765 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4831-2_0_4_load_39 | 71 | 0.0037784 | 0.00094695 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4831-2_0_4_load_36 | 72 | 0.0048112 | 0.0012058 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4831-2_0_4_load_40 | 73 | 0.0024707 | 0.00061922 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4831-2_0_4_load_78 | 74 | 0.0032416 | 0.00081243 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4831-2_0_4_load_48 | 75 | 0.0016069 | 0.00040272 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4831-2_0_4_load_79 | 78 | 0.0086488 | 0.0021676 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4831-2_0_4_load_103 | 79 | 0.0031287 | 0.00078412 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4831-2_0_4_load_52 | 80 | 0.010198 | 0.0025557 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4831-2_0_4_load_99 | 81 | 0.0031138 | 0.00078039 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4831-2_0_4_load_68 | 82 | 0.0032762 | 0.00082109 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4831-2_0_4_load_62 | 84 | 0.0072286 | 0.0018117 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4831-2_0_4_load_69 | 85 | 0.007922 | 0.0019855 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4831-2_0_4_load_65 | 86 | 0.007874 | 0.0019734 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4831-2_0_4_load_96 | 87 | 0.00032688 | 8.1925e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4831-2_0_4_load_94 | 88 | 0.00087535 | 0.00021938 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4831-2_0_4_load_75 | 89 | 0.065271 | 0.016358 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4831-2_0_4_load_82 | 90 | 0.0028911 | 0.00072458 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4831-2_0_4_load_102 | 91 | 0.0074068 | 0.0018563 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4831-2_0_4_load_81 | 92 | 0.0016807 | 0.00042123 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4831-2_0_4_load_101 | 93 | 0.0036427 | 0.00091294 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4831-2_0_4_load_93 | 94 | 0.00065282 | 0.00016361 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 89 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4831-2_0_4_line_0 |  | 0 | 1 | 0.0076501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4831-2_0_4_line_1 |  | 0 | 2 | 0.026432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4831-2_0_4_line_2 |  | 1 | 3 | 0.040809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4831-2_0_4_line_3 |  | 2 | 4 | 0.011552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_4831-2_0_4_line_4 |  | 2 | 5 | 0.016876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_4831-2_0_4_line_5 |  | 3 | 6 | 0.041734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4831-2_0_4_line_6 |  | 4 | 7 | 0.0017158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_4831-2_0_4_line_7 |  | 5 | 8 | 0.020687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_4831-2_0_4_line_8 |  | 6 | 15 | 0.018491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4831-2_0_4_line_9 |  | 7 | 21 | 0.020006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_4831-2_0_4_line_10 |  | 8 | 11 | 0.011683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_4831-2_0_4_line_11 |  | 9 | 10 | 0.038596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_4831-2_0_4_line_12 |  | 9 | 11 | 0.011989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_4831-2_0_4_line_13 |  | 9 | 12 | 0.0085337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4831-2_0_4_line_14 |  | 10 | 22 | 0.0070848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_4831-2_0_4_line_15 |  | 12 | 13 | 0.0047175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4831-2_0_4_line_16 |  | 13 | 14 | 0.039271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4831-2_0_4_line_17 |  | 15 | 16 | 0.0091985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4831-2_0_4_line_18 |  | 16 | 27 | 0.02143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4831-2_0_4_line_19 |  | 17 | 18 | 0.055095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4831-2_0_4_line_20 |  | 17 | 19 | 0.012759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4831-2_0_4_line_21 |  | 17 | 20 | 0.021375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4831-2_0_4_line_22 |  | 18 | 23 | 0.034433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4831-2_0_4_line_23 |  | 18 | 24 | 0.02685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4831-2_0_4_line_24 |  | 19 | 28 | 0.014462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4831-2_0_4_line_25 |  | 20 | 29 | 1.9657e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4831-2_0_4_line_26 |  | 21 | 89 | 0.013588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_4831-2_0_4_line_27 |  | 22 | 74 | 0.014947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_4831-2_0_4_line_28 |  | 23 | 84 | 0.015352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4831-2_0_4_line_29 |  | 23 | 25 | 0.024626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4831-2_0_4_line_30 |  | 25 | 26 | 0.017472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4831-2_0_4_line_31 |  | 27 | 29 | 0.0082003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4831-2_0_4_line_32 |  | 30 | 31 | 0.010149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4831-2_0_4_line_33 |  | 30 | 32 | 0.02274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4831-2_0_4_line_34 |  | 31 | 33 | 0.056143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4831-2_0_4_line_35 |  | 32 | 34 | 0.022301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4831-2_0_4_line_36 |  | 32 | 35 | 0.033727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4831-2_0_4_line_37 |  | 33 | 36 | 0.020168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4831-2_0_4_line_38 |  | 33 | 37 | 0.0062285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4831-2_0_4_line_39 |  | 34 | 38 | 0.0010227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4831-2_0_4_line_40 |  | 35 | 39 | 0.024329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4831-2_0_4_line_41 |  | 35 | 40 | 0.030906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4831-2_0_4_line_42 |  | 36 | 41 | 0.026738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4831-2_0_4_line_43 |  | 37 | 42 | 0.027762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4831-2_0_4_line_44 |  | 38 | 43 | 0.035047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4831-2_0_4_line_45 |  | 39 | 44 | 0.02746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4831-2_0_4_line_46 |  | 40 | 45 | 0.0067192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4831-2_0_4_line_47 |  | 42 | 48 | 0.009629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4831-2_0_4_line_48 |  | 42 | 49 | 0.036247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4831-2_0_4_line_49 |  | 43 | 46 | 0.0029792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4831-2_0_4_line_50 |  | 44 | 83 | 0.021142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4831-2_0_4_line_51 |  | 45 | 80 | 0.012263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4831-2_0_4_line_52 |  | 46 | 47 | 0.019975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4831-2_0_4_line_53 |  | 47 | 75 | 0.019394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4831-2_0_4_line_54 |  | 48 | 67 | 0.020482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4831-2_0_4_line_55 |  | 49 | 62 | 0.036252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4831-2_0_4_line_56 |  | 49 | 58 | 0.0040397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4831-2_0_4_line_57 |  | 50 | 51 | 0.020365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_4831-2_0_4_line_58 |  | 50 | 52 | 0.010579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_4831-2_0_4_line_59 |  | 51 | 53 | 0.027354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_4831-2_0_4_line_60 |  | 52 | 54 | 0.021596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_4831-2_0_4_line_61 |  | 53 | 55 | 0.012542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_4831-2_0_4_line_62 |  | 53 | 56 | 0.0089839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4831-2_0_4_line_63 |  | 54 | 57 | 0.006509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_4831-2_0_4_line_64 |  | 55 | 58 | 0.032698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_4831-2_0_4_line_65 |  | 57 | 59 | 0.01788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_4831-2_0_4_line_66 |  | 59 | 92 | 0.0092158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_4831-2_0_4_line_67 |  | 60 | 61 | 0.016827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4831-2_0_4_line_68 |  | 61 | 68 | 0.028818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4831-2_0_4_line_69 |  | 61 | 69 | 0.010442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4831-2_0_4_line_70 |  | 62 | 63 | 0.012618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4831-2_0_4_line_71 |  | 62 | 64 | 0.020268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4831-2_0_4_line_72 |  | 63 | 65 | 0.011104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4831-2_0_4_line_73 |  | 64 | 66 | 0.028211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4831-2_0_4_line_74 |  | 66 | 73 | 0.029961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4831-2_0_4_line_75 |  | 67 | 94 | 0.0067985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4831-2_0_4_line_76 |  | 68 | 70 | 0.020181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4831-2_0_4_line_77 |  | 69 | 71 | 0.0093189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4831-2_0_4_line_78 |  | 69 | 72 | 0.033453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4831-2_0_4_line_79 |  | 70 | 90 | 0.012254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_4831-2_0_4_line_80 |  | 70 | 77 | 0.011263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_4831-2_0_4_line_81 |  | 74 | 78 | 0.022906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_4831-2_0_4_line_82 |  | 76 | 77 | 0.006426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_4831-2_0_4_line_83 |  | 76 | 78 | 0.015071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_4831-2_0_4_line_84 |  | 77 | 79 | 0.013413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4831-2_0_4_line_85 |  | 79 | 91 | 0.0069709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4831-2_0_4_line_86 |  | 80 | 81 | 0.00034599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4831-2_0_4_line_87 |  | 81 | 82 | 0.00018008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4831-2_0_4_line_88 |  | 83 | 85 | 0.011834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4831-2_0_4_line_89 |  | 83 | 86 | 0.034593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4831-2_0_4_line_90 |  | 87 | 88 | 0.0095683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4831-2_0_4_line_91 |  | 88 | 94 | 0.029337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4831-2_0_4_line_92 |  | 90 | 92 | 0.0049295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_4831-2_0_4_line_93 |  | 91 | 93 | 0.010899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4831-2_0_4_trafo_75 | 0.63 MVA 20/0.4 kV | 95 | 89 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2717634.5208 | 1273615.0378 | 2717628.9571 | 1273609.7872
1 | 2717656.2917 | 1273629.9631 | 2717649.2819 | 1273625.7974 | 2717642.1345 | 1273620.9839 | 2717634.5208 | 1273615.0378
2 | 2717628.9571 | 1273609.7872 | 2717627.0568 | 1273607.9938 | 2717600.9089 | 1273580.1504
3 | 2717656.2917 | 1273629.9631 | 2717651.2044 | 1273639.9042 | 2717651.0868 | 1273640.2705
4 | 2717656.2917 | 1273629.9631 | 2717657.1391 | 1273630.4693 | 2717667.2199 | 1273635.2858 | 2717671.565 | 1273637.1214
5 | 2717572.3393 | 1273549.7283 | 2717600.9089 | 1273580.1504
6 | 2717651.0868 | 1273640.2705 | 2717650.5627 | 1273641.9043 | 2717650.5627 | 1273641.9043
7 | 2717671.565 | 1273637.1214 | 2717677.4981 | 1273639.6279 | 2717690.9061 | 1273644.4423
8 | 2717572.3393 | 1273549.7283 | 2717570.1395 | 1273547.6382 | 2717568.1884 | 1273546.2758 | 2717565.939 | 1273545.5415 | 2717563.9779 | 1273545.8138 | 2717562.0517 | 1273546.9765 | 2717559.7299 | 1273548.743 | 2717557.2484 | 1273551.3515
9 | 2717650.5627 | 1273641.9043 | 2717650.7236 | 1273644.0206 | 2717652.0039 | 1273645.4474 | 2717656.6824 | 1273648.4656 | 2717658.3527 | 1273650.7009 | 2717658.7146 | 1273652.9213 | 2717658.0809 | 1273654.5212 | 2717656.3445 | 1273657.7177
10 | 2717701.9016 | 1273648.3903 | 2717690.9061 | 1273644.4423
11 | 2717713.022 | 1273652.8705 | 2717697.2712 | 1273688.1062
12 | 2717713.022 | 1273652.8705 | 2717702.5538 | 1273648.6245 | 2717701.9016 | 1273648.3903
13 | 2717713.022 | 1273652.8705 | 2717720.931 | 1273656.0755
14 | 2717694.3799 | 1273694.5742 | 2717697.2712 | 1273688.1062
15 | 2717723.0907 | 1273651.8814 | 2717720.931 | 1273656.0755
16 | 2717723.0907 | 1273651.8814 | 2717736.1645 | 1273659.3601 | 2717741.3992 | 1273662.7676 | 2717756.0239 | 1273673.1985
17 | 2717557.2484 | 1273551.3515 | 2717553.6155 | 1273555.8722 | 2717551.6774 | 1273558.6646
18 | 2717551.6774 | 1273558.6646 | 2717549.999 | 1273561.0828 | 2717541.6217 | 1273573.8165 | 2717539.8511 | 1273576.5343
19 | 2717489.5208 | 1273567.2846 | 2717494.4845 | 1273569.5855 | 2717504.8664 | 1273574.3965 | 2717513.1317 | 1273578.2312 | 2717521.9336 | 1273582.3101 | 2717524.8431 | 1273583.8917 | 2717528.8299 | 1273586.1398 | 2717522.5607 | 1273595.7571
20 | 2717522.5607 | 1273595.7571 | 2717515.5633 | 1273606.4387
21 | 2717522.5607 | 1273595.7571 | 2717525.8864 | 1273597.9698 | 2717535.3739 | 1273583.4068
22 | 2717457.8604 | 1273553.7534 | 2717464.673 | 1273556.5025 | 2717489.5208 | 1273567.2846
23 | 2717489.5208 | 1273567.2846 | 2717492.9277 | 1273556.7316 | 2717502.2298 | 1273544.0091
24 | 2717515.5633 | 1273606.4387 | 2717507.6918 | 1273618.5705
25 | 2717535.3739 | 1273583.4068 | 2717535.375 | 1273583.4051
26 | 2717656.3445 | 1273657.7177 | 2717649.8584 | 1273669.6575
27 | 2717694.3799 | 1273694.5742 | 2717688.2803 | 1273708.2195
28 | 2717457.8604 | 1273553.7534 | 2717463.621 | 1273539.5231
29 | 2717457.8604 | 1273553.7534 | 2717464.673 | 1273556.5025 | 2717458.0519 | 1273572.4632
30 | 2717473.5889 | 1273580.5464 | 2717458.0519 | 1273572.4632
31 | 2717535.375 | 1273583.4051 | 2717539.8511 | 1273576.5343
32 | 2717531.7747 | 1273773.5167 | 2717529.2623 | 1273783.3493
33 | 2717537.4044 | 1273751.484 | 2717531.7747 | 1273773.5167
34 | 2717524.966 | 1273838.1936 | 2717521.2523 | 1273814.6982 | 2717529.2623 | 1273783.3493
35 | 2717537.4044 | 1273751.484 | 2717542.8778 | 1273753.1056 | 2717555.3392 | 1273751.6858 | 2717559.2524 | 1273750.6401
36 | 2717525.3207 | 1273719.9813 | 2717537.4044 | 1273751.484
37 | 2717524.966 | 1273838.1936 | 2717544.6904 | 1273833.9855
38 | 2717524.966 | 1273838.1936 | 2717525.9198 | 1273844.3486
39 | 2717559.2524 | 1273750.6401 | 2717560.2404 | 1273750.3761
40 | 2717525.3207 | 1273719.9813 | 2717502.1966 | 1273712.4198
41 | 2717525.3207 | 1273719.9813 | 2717520.6965 | 1273689.4232
42 | 2717544.6904 | 1273833.9855 | 2717570.8401 | 1273828.4067
43 | 2717530.1709 | 1273871.7835 | 2717525.9198 | 1273844.3486
44 | 2717592.6804 | 1273737.5819 | 2717587.8308 | 1273738.5541 | 2717566.4551 | 1273748.7155 | 2717560.2404 | 1273750.3761
45 | 2717476.0967 | 1273703.8853 | 2717502.1966 | 1273712.4198
46 | 2717520.6965 | 1273689.4232 | 2717519.6911 | 1273682.7796 | 2717519.6911 | 1273682.7796
47 | 2717530.1709 | 1273871.7835 | 2717520.7081 | 1273873.5649
48 | 2717565.578 | 1273863.6589 | 2717550.2339 | 1273867.8349 | 2717530.1709 | 1273871.7835
49 | 2717595.6015 | 1273736.9964 | 2717592.6804 | 1273737.5819
50 | 2717456.002 | 1273697.3144 | 2717476.0967 | 1273703.8853
51 | 2717518.7309 | 1273670.5547 | 2717519.6911 | 1273682.7796
52 | 2717595.6015 | 1273736.9964 | 2717599.4747 | 1273717.4
53 | 2717616.3538 | 1273710.9526 | 2717612.7829 | 1273710.481 | 2717609.2392 | 1273710.9108 | 2717605.3365 | 1273711.9896 | 2717602.6344 | 1273713.5928 | 2717600.2671 | 1273715.7587 | 2717599.4747 | 1273717.4
54 | 2717500.5794 | 1273877.3543 | 2717520.7081 | 1273873.5649
55 | 2717565.578 | 1273863.6589 | 2717552.8965 | 1273885.5708 | 2717549.4102 | 1273895.9554
56 | 2717565.578 | 1273863.6589 | 2717569.0712 | 1273861.6299
57 | 2717604.0549 | 1273792.3903 | 2717603.5944 | 1273797.8558 | 2717603.5979 | 1273808.9994 | 2717604.2005 | 1273812.6872
58 | 2717605.3793 | 1273781.8989 | 2717604.3334 | 1273789.0847 | 2717604.0549 | 1273792.3903
59 | 2717608.6121 | 1273839.6829 | 2717604.2005 | 1273812.6872
60 | 2717622.0264 | 1273768.5962 | 2717622.0264 | 1273768.5962 | 2717609.0967 | 1273776.9017 | 2717605.3793 | 1273781.8989 | 2717605.3793 | 1273781.8989
61 | 2717608.6121 | 1273839.6829 | 2717597.4127 | 1273845.3297
62 | 2717608.6121 | 1273839.6829 | 2717616.6326 | 1273835.6354
63 | 2717628.2022 | 1273766.5403 | 2717622.0264 | 1273768.5962
64 | 2717569.0712 | 1273861.6299 | 2717595.3084 | 1273846.3907 | 2717597.4127 | 1273845.3297
65 | 2717628.2022 | 1273766.5403 | 2717638.2905 | 1273763.1819 | 2717645.5265 | 1273762.7681
66 | 2717654.7273 | 1273762.2419 | 2717645.5265 | 1273762.7681
67 | 2717667.3364 | 1273810.0481 | 2717652.3141 | 1273817.629
68 | 2717667.3364 | 1273810.0481 | 2717670.01 | 1273781.3544
69 | 2717667.3364 | 1273810.0481 | 2717677.805 | 1273809.7343
70 | 2717549.4102 | 1273895.9554 | 2717548.5952 | 1273908.5467
71 | 2717549.4102 | 1273895.9554 | 2717558.9727 | 1273896.9467 | 2717569.6198 | 1273897.3297
72 | 2717548.5952 | 1273908.5467 | 2717548.5626 | 1273909.0505 | 2717549.1771 | 1273919.6314
73 | 2717597.8121 | 1273898.3458 | 2717592.2608 | 1273898.1441 | 2717569.6198 | 1273897.3297
74 | 2717627.7536 | 1273899.4336 | 2717597.8121 | 1273898.3458
75 | 2717493.8983 | 1273878.612 | 2717500.5794 | 1273877.3543
76 | 2717671.8824 | 1273761.2607 | 2717670.01 | 1273781.3544
77 | 2717677.805 | 1273809.7343 | 2717687.1176 | 1273809.3919
78 | 2717677.805 | 1273809.7343 | 2717675.2978 | 1273828.7128 | 2717672.2734 | 1273842.6987
79 | 2717671.8824 | 1273761.2607 | 2717659.6488 | 1273761.9604
80 | 2717671.8824 | 1273761.2607 | 2717674.2158 | 1273750.2416
81 | 2717680.2638 | 1273729.6507 | 2717684.9703 | 1273715.6242 | 2717688.2803 | 1273708.2195
82 | 2717675.4697 | 1273743.9386 | 2717674.2158 | 1273750.2416
83 | 2717675.4697 | 1273743.9386 | 2717680.2638 | 1273729.6507
84 | 2717674.2158 | 1273750.2416 | 2717685.6548 | 1273754.0731 | 2717686.9383 | 1273754.489
85 | 2717693.5698 | 1273756.6379 | 2717686.9383 | 1273754.489
86 | 2717518.7038 | 1273670.2098 | 2717518.7309 | 1273670.5547
87 | 2717518.6897 | 1273670.0303 | 2717518.7038 | 1273670.2098
88 | 2717456.002 | 1273697.3144 | 2717445.1625 | 1273692.5651
89 | 2717456.002 | 1273697.3144 | 2717475.1155 | 1273668.4811
90 | 2717465.0673 | 1273884.0396 | 2717455.6642 | 1273885.8097
91 | 2717493.8983 | 1273878.612 | 2717465.0673 | 1273884.0396
92 | 2717654.7273 | 1273762.2419 | 2717659.6488 | 1273761.9604
93 | 2717703.9382 | 1273759.9978 | 2717693.5698 | 1273756.6379

## bus_geodata
| x | y | coords
0 | 2717634.5208 | 1273615.0378
1 | 2717628.9571 | 1273609.7872
2 | 2717656.2917 | 1273629.9631
3 | 2717600.9089 | 1273580.1504
4 | 2717651.0868 | 1273640.2705
5 | 2717671.565 | 1273637.1214
6 | 2717572.3393 | 1273549.7283
7 | 2717650.5627 | 1273641.9043
8 | 2717690.9061 | 1273644.4423
9 | 2717713.022 | 1273652.8705
10 | 2717697.2712 | 1273688.1062
11 | 2717701.9016 | 1273648.3903
12 | 2717720.931 | 1273656.0755
13 | 2717723.0907 | 1273651.8814
14 | 2717756.0239 | 1273673.1985
15 | 2717557.2484 | 1273551.3515
16 | 2717551.6774 | 1273558.6646
17 | 2717522.5607 | 1273595.7571
18 | 2717489.5208 | 1273567.2846
19 | 2717515.5633 | 1273606.4387
20 | 2717535.3739 | 1273583.4068
21 | 2717656.3445 | 1273657.7177
22 | 2717694.3799 | 1273694.5742
23 | 2717457.8604 | 1273553.7534
24 | 2717502.2298 | 1273544.0091
25 | 2717458.0519 | 1273572.4632
26 | 2717473.5889 | 1273580.5464
27 | 2717539.8511 | 1273576.5343
28 | 2717507.6918 | 1273618.5705
29 | 2717535.375 | 1273583.4051
30 | 2717531.7747 | 1273773.5167
31 | 2717529.2623 | 1273783.3493
32 | 2717537.4044 | 1273751.484
33 | 2717524.966 | 1273838.1936
34 | 2717559.2524 | 1273750.6401
35 | 2717525.3207 | 1273719.9813
36 | 2717544.6904 | 1273833.9855
37 | 2717525.9198 | 1273844.3486
38 | 2717560.2404 | 1273750.3761
39 | 2717502.1966 | 1273712.4198
40 | 2717520.6965 | 1273689.4232
41 | 2717570.8401 | 1273828.4067
42 | 2717530.1709 | 1273871.7835
43 | 2717592.6804 | 1273737.5819
44 | 2717476.0967 | 1273703.8853
45 | 2717519.6911 | 1273682.7796
46 | 2717595.6015 | 1273736.9964
47 | 2717599.4747 | 1273717.4
48 | 2717520.7081 | 1273873.5649
49 | 2717565.578 | 1273863.6589
50 | 2717604.0549 | 1273792.3903
51 | 2717604.2005 | 1273812.6872
52 | 2717605.3793 | 1273781.8989
53 | 2717608.6121 | 1273839.6829
54 | 2717622.0264 | 1273768.5962
55 | 2717597.4127 | 1273845.3297
56 | 2717616.6326 | 1273835.6354
57 | 2717628.2022 | 1273766.5403
58 | 2717569.0712 | 1273861.6299
59 | 2717645.5265 | 1273762.7681
60 | 2717652.3141 | 1273817.629
61 | 2717667.3364 | 1273810.0481
62 | 2717549.4102 | 1273895.9554
63 | 2717548.5952 | 1273908.5467
64 | 2717569.6198 | 1273897.3297
65 | 2717549.1771 | 1273919.6314
66 | 2717597.8121 | 1273898.3458
67 | 2717500.5794 | 1273877.3543
68 | 2717670.01 | 1273781.3544
69 | 2717677.805 | 1273809.7343
70 | 2717671.8824 | 1273761.2607
71 | 2717687.1176 | 1273809.3919
72 | 2717672.2734 | 1273842.6987
73 | 2717627.7536 | 1273899.4336
74 | 2717688.2803 | 1273708.2195
75 | 2717616.3538 | 1273710.9526
76 | 2717675.4697 | 1273743.9386
77 | 2717674.2158 | 1273750.2416
78 | 2717680.2638 | 1273729.6507
79 | 2717686.9383 | 1273754.489
80 | 2717518.7309 | 1273670.5547
81 | 2717518.7038 | 1273670.2098
82 | 2717518.6897 | 1273670.0303
83 | 2717456.002 | 1273697.3144
84 | 2717463.621 | 1273539.5231
85 | 2717445.1625 | 1273692.5651
86 | 2717475.1155 | 1273668.4811
87 | 2717455.6642 | 1273885.8097
88 | 2717465.0673 | 1273884.0395
89 | 2717649.8584 | 1273669.6575
90 | 2717659.6488 | 1273761.9604
91 | 2717693.5698 | 1273756.6379
92 | 2717654.7273 | 1273762.2419
93 | 2717703.9382 | 1273759.9978
94 | 2717493.8983 | 1273878.612
95 | 2717627.9838 | 1273684.093

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1