## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_494-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_494-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_494-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_494-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_494-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_494-3_0_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_494-3_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_494-3_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_494-3_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_494-3_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_494-3_0_3_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_494-3_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_494-3_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_494-3_0_3_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_494-3_0_3_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_494-3_0_3_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_494-3_0_3_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_494-3_0_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_494-3_0_3_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_494-3_0_3_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_494-3_0_3_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_494-3_0_3_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_494-3_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_494-3_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_494-3_0_3_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_494-3_0_3_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_494-3_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_494-3_0_3_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_494-3_0_3_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_494-3_0_3_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_494-3_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_494-3_0_3_node_12 | 0.4 | n |  | TRUE
32 | bus_LV_494-3_0_3_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_494-3_0_3_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_494-3_0_3_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_494-3_0_3_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_494-3_0_3_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_494-3_0_3_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_494-3_0_3_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_494-3_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_494-3_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_494-3_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_494-3_0_3_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_494-3_0_3_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_494-3_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_494-3_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_494-3_0_3_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_494-3_0_3_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_494-3_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_494-3_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_494-3_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_MV_325_0_node_150 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_494-3_0_3_load_0 | 0 | 0.02264 | 0.0056741 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_494-3_0_3_load_1 | 1 | 0.018291 | 0.0045842 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_494-3_0_3_load_2 | 2 | 0.0076003 | 0.0019048 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_494-3_0_3_load_3 | 3 | 0.017622 | 0.0044164 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_494-3_0_3_load_4 | 4 | 0.020358 | 0.0051022 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_494-3_0_3_load_9 | 5 | 0.010801 | 0.0027071 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_494-3_0_3_load_5 | 7 | 0.082255 | 0.020615 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_494-3_0_3_load_6 | 8 | 0.0091384 | 0.0022903 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_494-3_0_3_load_11 | 12 | 0.088229 | 0.022112 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_494-3_0_3_load_44 | 16 | 0.00079331 | 0.00019882 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_494-3_0_3_load_41 | 19 | 0.0020978 | 0.00052576 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_494-3_0_3_load_46 | 20 | 0.00064132 | 0.00016073 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_494-3_0_3_load_25 | 21 | 0.042661 | 0.010692 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_494-3_0_3_load_50 | 24 | 0.0003567 | 8.9397e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_494-3_0_3_load_48 | 25 | 0.0013356 | 0.00033474 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_494-3_0_3_load_38 | 27 | 0.002462 | 0.00061703 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_494-3_0_3_load_45 | 29 | 0.00032971 | 8.2632e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_494-3_0_3_load_26 | 30 | 0.02562 | 0.0064209 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_494-3_0_3_load_53 | 32 | 0.0010942 | 0.00027423 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_494-3_0_3_load_52 | 33 | 0.0011889 | 0.00029796 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_494-3_0_3_load_49 | 34 | 0.00074156 | 0.00018585 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_494-3_0_3_load_47 | 35 | 0.00057393 | 0.00014384 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_494-3_0_3_load_40 | 36 | 0.00052102 | 0.00013058 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_494-3_0_3_load_51 | 37 | 0.0030348 | 0.0007606 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_494-3_0_3_load_37 | 38 | 0.0013906 | 0.00034852 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_494-3_0_3_load_35 | 39 | 0.0019465 | 0.00048783 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_494-3_0_3_load_27 | 40 | 0.0010777 | 0.00027011 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_494-3_0_3_load_28 | 41 | 0.0041769 | 0.0010468 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_494-3_0_3_load_29 | 42 | 0.00116 | 0.00029073 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_494-3_0_3_load_31 | 44 | 0.00046525 | 0.0001166 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_494-3_0_3_load_33 | 45 | 0.00093448 | 0.0002342 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_494-3_0_3_load_32 | 46 | 0.0013616 | 0.00034125 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_494-3_0_3_load_34 | 47 | 0.0015912 | 0.00039878 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_494-3_0_3_load_39 | 48 | 0.0017268 | 0.00043277 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_494-3_0_3_load_42 | 49 | 0.00064388 | 0.00016137 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_494-3_0_3_load_43 | 50 | 0.00040371 | 0.00010118 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_494-3_0_3_line_0 |  | 0 | 1 | 0.0016129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_494-3_0_3_line_1 |  | 0 | 2 | 0.008033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_494-3_0_3_line_2 |  | 1 | 3 | 0.0034004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_494-3_0_3_line_3 |  | 2 | 4 | 0.0026175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_494-3_0_3_line_4 |  | 3 | 5 | 0.0065009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_494-3_0_3_line_5 |  | 5 | 6 | 0.027174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_494-3_0_3_line_6 |  | 6 | 7 | 0.020411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_494-3_0_3_line_7 |  | 7 | 8 | 0.040569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_494-3_0_3_line_8 |  | 8 | 9 | 0.011781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_494-3_0_3_line_9 |  | 9 | 10 | 0.006061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_494-3_0_3_line_10 |  | 10 | 30 | 0.017191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_494-3_0_3_line_11 |  | 10 | 31 | 0.057478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_494-3_0_3_line_12 |  | 11 | 12 | 0.030129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_494-3_0_3_line_13 |  | 12 | 31 | 0.060938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_494-3_0_3_line_14 |  | 13 | 14 | 0.27864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_494-3_0_3_line_15 |  | 13 | 15 | 0.13663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_494-3_0_3_line_16 |  | 13 | 16 | 0.035559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_494-3_0_3_line_17 |  | 14 | 17 | 0.42601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_494-3_0_3_line_18 |  | 14 | 18 | 0.15511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_494-3_0_3_line_19 |  | 14 | 19 | 0.020283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_494-3_0_3_line_20 |  | 15 | 21 | 0.078404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_494-3_0_3_line_21 |  | 17 | 20 | 0.065366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_494-3_0_3_line_22 |  | 18 | 26 | 1.9596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_494-3_0_3_line_23 |  | 18 | 27 | 0.02753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_494-3_0_3_line_24 |  | 19 | 36 | 0.014709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_494-3_0_3_line_25 |  | 20 | 22 | 0.12024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_494-3_0_3_line_26 |  | 21 | 31 | 0.036745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_494-3_0_3_line_27 |  | 22 | 23 | 0.21433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_494-3_0_3_line_28 |  | 23 | 24 | 0.055561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_494-3_0_3_line_29 |  | 23 | 25 | 0.036362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_494-3_0_3_line_30 |  | 24 | 37 | 0.02022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_494-3_0_3_line_31 |  | 25 | 35 | 0.010817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_494-3_0_3_line_32 |  | 26 | 28 | 0.29941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_494-3_0_3_line_33 |  | 26 | 29 | 0.12756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_494-3_0_3_line_34 |  | 27 | 38 | 0.032286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_494-3_0_3_line_35 |  | 28 | 39 | 0.2185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_494-3_0_3_line_36 |  | 32 | 33 | 0.035209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_494-3_0_3_line_37 |  | 33 | 37 | 0.017014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_494-3_0_3_line_38 |  | 34 | 35 | 0.012231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_494-3_0_3_line_39 |  | 36 | 49 | 0.0075976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_494-3_0_3_line_40 |  | 38 | 48 | 0.024752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_494-3_0_3_line_41 |  | 39 | 47 | 0.03555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_494-3_0_3_line_42 |  | 40 | 41 | 0.014971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_494-3_0_3_line_43 |  | 40 | 42 | 0.014748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_494-3_0_3_line_44 |  | 41 | 43 | 0.002549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_494-3_0_3_line_45 |  | 42 | 44 | 0.0049561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_494-3_0_3_line_46 |  | 43 | 45 | 0.012979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_494-3_0_3_line_47 |  | 43 | 46 | 0.028642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_494-3_0_3_line_48 |  | 45 | 47 | 0.0052759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_494-3_0_3_line_49 |  | 49 | 50 | 0.0070881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_494-3_0_3_trafo_10 | 0.63 MVA 20/0.4 kV | 51 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48
0 | 2571965.2525 | 1210560.2414 | 2571966.032 | 1210558.8294
1 | 2571965.2525 | 1210560.2414 | 2571961.3697 | 1210567.2736
2 | 2571966.032 | 1210558.8294 | 2571967.6757 | 1210555.8526
3 | 2571960.1045 | 1210569.565 | 2571961.3697 | 1210567.2736
4 | 2571967.6757 | 1210555.8526 | 2571970.8179 | 1210550.1616
5 | 2571983.9526 | 1210526.3726 | 2571970.8179 | 1210550.1616
6 | 2571983.9526 | 1210526.3726 | 2571966.5033 | 1210515.7836
7 | 2571966.5033 | 1210515.7836 | 2571937.7607 | 1210498.3413 | 2571932.8153 | 1210493.4609
8 | 2571924.43 | 1210485.1856 | 2571932.8153 | 1210493.4609
9 | 2571924.43 | 1210485.1856 | 2571928.2683 | 1210480.4871
10 | 2571928.2683 | 1210480.4871 | 2571913.7836 | 1210471.2278
11 | 2571961.6975 | 1210433.6696 | 2571928.2683 | 1210480.4871
12 | 2572020.2535 | 1210485.7676 | 2571994.0286 | 1210470.9339
13 | 2571961.6975 | 1210433.6696 | 2571975.8181 | 1210443.5085 | 2571968.9499 | 1210456.7484 | 2571994.0286 | 1210470.9339
14 | 2572043.5267 | 1210231.3477 | 2572067.022 | 1210195.1279 | 2572109.819 | 1210114.7483 | 2572164.1054 | 1209998.0503 | 2572175.9741 | 1209987.7778
15 | 2571962.5098 | 1210338.4452 | 2571960.6541 | 1210336.5307 | 2571985.4972 | 1210305.9185 | 2572018.6254 | 1210265.8732 | 2572043.5267 | 1210231.3477
16 | 2572043.5267 | 1210231.3477 | 2572011.0667 | 1210216.8291
17 | 2572175.9741 | 1209987.7778 | 2572187.6832 | 1209977.4728 | 2572200.6055 | 1209956.8341 | 2572211.1096 | 1209953.7499 | 2572222.4258 | 1209958.5664 | 2572256.4027 | 1209985.6008 | 2572386.6431 | 1210085.1174 | 2572464.2943 | 1210159.5771 | 2572501.2184 | 1210181.8521 | 2572504.0429 | 1210177.9925
18 | 2572127.2183 | 1209872.3633 | 2572172.4588 | 1209910.6063 | 2572193.8261 | 1209927.5604 | 2572191.6966 | 1209930.5053 | 2572190.6109 | 1209933.979 | 2572190.6582 | 1209937.6031 | 2572191.8447 | 1209941.0439 | 2572194.0395 | 1209943.9353 | 2572197.036 | 1209946.0002 | 2572175.9741 | 1209987.7778
19 | 2572175.9741 | 1209987.7778 | 2572157.9086 | 1209978.5565
20 | 2571962.5098 | 1210338.4452 | 2571991.8365 | 1210364.2216 | 2571977.9798 | 1210401.0615
21 | 2572504.0429 | 1210177.9925 | 2572534.5818 | 1210191.8036 | 2572564.5931 | 1210202.4665
22 | 2572127.2183 | 1209872.3633 | 2572172.4588 | 1209910.6063 | 2572172.7538 | 1209895.6965 | 2572144.3439 | 1209848.5474 | 2572138.5231 | 1209832.5545 | 2572124.1594 | 1209748.4411 | 2572141.3108 | 1209717.0874 | 2572164.4685 | 1209700.7142 | 2572208.869 | 1209690.7565 | 2572244.3241 | 1209687.3334 | 2572244.3564 | 1209694.2483 | 2572230.6511 | 1209728.0424 | 2572228.3711 | 1209763.8288 | 2572247.5562 | 1209778.8922 | 2572254.3186 | 1209824.075 | 2572266.549 | 1209764.173 | 2572283.5983 | 1209728.6958 | 2572300.3696 | 1209703.6591 | 2572325.4314 | 1209683.1642 | 2572338.643 | 1209668.9058 | 2572353.7392 | 1209636.6062 | 2572363.6937 | 1209627.9773 | 2572391.001 | 1209616.2661 | 2572409.5344 | 1209612.0777 | 2572421.5573 | 1209605.2959 | 2572442.8699 | 1209616.937 | 2572455.5389 | 1209624.9161 | 2572467.3988 | 1209633.7996 | 2572479.7407 | 1209658.1339 | 2572479.1081 | 1209697.1588 | 2572471.2016 | 1209749.2137 | 2572479.6652 | 1209817.4574 | 2572514.1895 | 1209875.8306 | 2572592.7992 | 1209948.6199 | 2572664.7221 | 1209984.0533 | 2572723.4533 | 1209990.2871 | 2572790.9735 | 1210022.1957 | 2572807.4534 | 1210021.2198 | 2572819.2495 | 1210008.1363 | 2572820.4767 | 1209993.9671 | 2572815.5707 | 1209984.7844 | 2572802.4018 | 1209958.6298 | 2572741.7997 | 1209900.797 | 2572659.929 | 1209829.3103 | 2572642.0237 | 1209783.2667 | 2572649.3926 | 1209736.2841 | 2572629.566 | 1209685.7246 | 2572608.1726 | 1209649.814 | 2572595.7824 | 1209616.5413
23 | 2572127.2183 | 1209872.3633 | 2572119.3424 | 1209884.8739 | 2572129.947 | 1209891.9457
24 | 2572144.9201 | 1209971.6669 | 2572147.68 | 1209973.3355 | 2572157.9086 | 1209978.5565
25 | 2572683.3912 | 1210219.567 | 2572645.7566 | 1210214.4483 | 2572598.3834 | 1210210.2863 | 2572567.7255 | 1210203.5794 | 2572564.5931 | 1210202.4665
26 | 2571961.6975 | 1210433.6696 | 2571970.1833 | 1210421.7895 | 2571977.9798 | 1210401.0615
27 | 2572683.3912 | 1210219.567 | 2572722.0331 | 1210227.2606 | 2572753.4135 | 1210237.467 | 2572803.573 | 1210259.3719 | 2572789.482 | 1210345.4183
28 | 2572789.482 | 1210345.4183 | 2572752.0433 | 1210367.9135 | 2572747.6922 | 1210378.9726
29 | 2572789.482 | 1210345.4183 | 2572781.2315 | 1210380.8316
30 | 2572747.6922 | 1210378.9726 | 2572740.2891 | 1210397.7888
31 | 2572790.9528 | 1210385.5754 | 2572781.2315 | 1210380.8316
32 | 2572595.7824 | 1209616.5413 | 2572640.6582 | 1209622.0266 | 2572695.4015 | 1209644.5321 | 2572715.8601 | 1209660.6917 | 2572731.4166 | 1209675.2508 | 2572745.9735 | 1209649.1805 | 2572762.0505 | 1209618.1227 | 2572798.0195 | 1209617.2353 | 2572844.4696 | 1209611.3308
33 | 2572595.7824 | 1209616.5413 | 2572576.8861 | 1209584.9217 | 2572562.9255 | 1209563.852 | 2572530.1918 | 1209539.6117 | 2572509.4096 | 1209526.2245
34 | 2572135.9992 | 1209916.7027 | 2572135.9992 | 1209916.7027 | 2572142.039 | 1209900.0094 | 2572129.947 | 1209891.9457
35 | 2572844.4696 | 1209611.3308 | 2573004.1617 | 1209760.4583
36 | 2572765.4297 | 1210429.6094 | 2572734.0598 | 1210413.6218
37 | 2572734.0598 | 1210413.6218 | 2572734.0598 | 1210413.6218 | 2572740.2891 | 1210397.7888
38 | 2572790.9528 | 1210385.5754 | 2572801.9447 | 1210390.9392
39 | 2572144.9201 | 1209971.6669 | 2572138.4185 | 1209967.736
40 | 2572135.9992 | 1209916.7027 | 2572145.5715 | 1209939.5292
41 | 2573033.459 | 1209780.258 | 2573025.0163 | 1209776.4242 | 2573005.9583 | 1209762.136 | 2573004.1617 | 1209760.4583
42 | 2573064.3424 | 1209797.9815 | 2573052.1555 | 1209789.2863
43 | 2573064.3424 | 1209797.9815 | 2573076.3476 | 1209806.5471
44 | 2573050.0805 | 1209787.8058 | 2573052.1555 | 1209789.2863
45 | 2573076.3476 | 1209806.5471 | 2573080.3821 | 1209809.4257
46 | 2573050.0805 | 1209787.8058 | 2573038.2628 | 1209782.4394
47 | 2573050.0805 | 1209787.8058 | 2573056.6461 | 1209772.4897 | 2573061.941 | 1209761.7462
48 | 2573033.459 | 1209780.258 | 2573038.2628 | 1209782.4394
49 | 2572132.3528 | 1209964.0687 | 2572138.4185 | 1209967.736

## bus_geodata
| x | y | coords
0 | 2571965.2525 | 1210560.2414
1 | 2571966.032 | 1210558.8294
2 | 2571961.3697 | 1210567.2736
3 | 2571967.6757 | 1210555.8526
4 | 2571960.1045 | 1210569.565
5 | 2571970.8179 | 1210550.1616
6 | 2571983.9526 | 1210526.3726
7 | 2571966.5033 | 1210515.7836
8 | 2571932.8153 | 1210493.4609
9 | 2571924.43 | 1210485.1856
10 | 2571928.2683 | 1210480.4871
11 | 2572020.2535 | 1210485.7676
12 | 2571994.0286 | 1210470.9339
13 | 2572043.5267 | 1210231.3477
14 | 2572175.9741 | 1209987.7778
15 | 2571962.5098 | 1210338.4452
16 | 2572011.0667 | 1210216.8291
17 | 2572504.0429 | 1210177.9925
18 | 2572127.2183 | 1209872.3633
19 | 2572157.9086 | 1209978.5565
20 | 2572564.5931 | 1210202.4665
21 | 2571977.9798 | 1210401.0615
22 | 2572683.3912 | 1210219.567
23 | 2572789.482 | 1210345.4183
24 | 2572747.6922 | 1210378.9726
25 | 2572781.2315 | 1210380.8316
26 | 2572595.7824 | 1209616.5413
27 | 2572129.947 | 1209891.9457
28 | 2572844.4696 | 1209611.3308
29 | 2572509.4096 | 1209526.2245
30 | 2571913.7836 | 1210471.2278
31 | 2571961.6975 | 1210433.6696
32 | 2572765.4297 | 1210429.6094
33 | 2572734.0598 | 1210413.6218
34 | 2572801.9447 | 1210390.9392
35 | 2572790.9528 | 1210385.5754
36 | 2572144.9201 | 1209971.6669
37 | 2572740.2891 | 1210397.7888
38 | 2572135.9992 | 1209916.7027
39 | 2573004.1617 | 1209760.4583
40 | 2573064.3424 | 1209797.9815
41 | 2573052.1555 | 1209789.2864
42 | 2573076.3476 | 1209806.5471
43 | 2573050.0805 | 1209787.8058
44 | 2573080.3821 | 1209809.4257
45 | 2573038.2628 | 1209782.4394
46 | 2573061.941 | 1209761.7462
47 | 2573033.459 | 1209780.258
48 | 2572145.5715 | 1209939.5292
49 | 2572138.4185 | 1209967.736
50 | 2572132.3528 | 1209964.0687
51 | 2571995.0649 | 1210471.52

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1