## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_533-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_533-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_533-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_533-4_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_533-4_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_533-4_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_533-4_0_5_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_533-4_0_5_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_533-4_0_5_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_533-4_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_533-4_0_5_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_533-4_0_5_node_104 | 0.4 | n |  | TRUE
12 | bus_LV_533-4_0_5_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_533-4_0_5_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_533-4_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_533-4_0_5_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_533-4_0_5_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_533-4_0_5_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_533-4_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_533-4_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_533-4_0_5_node_44 | 0.4 | n |  | TRUE
21 | bus_LV_533-4_0_5_node_82 | 0.4 | n |  | TRUE
22 | bus_LV_533-4_0_5_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_533-4_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_533-4_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_533-4_0_5_node_76 | 0.4 | n |  | TRUE
26 | bus_LV_533-4_0_5_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_533-4_0_5_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_533-4_0_5_node_98 | 0.4 | n |  | TRUE
29 | bus_LV_533-4_0_5_node_95 | 0.4 | n |  | TRUE
30 | bus_LV_533-4_0_5_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_533-4_0_5_node_105 | 0.4 | n |  | TRUE
32 | bus_LV_533-4_0_5_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_533-4_0_5_node_96 | 0.4 | n |  | TRUE
34 | bus_LV_533-4_0_5_node_97 | 0.4 | n |  | TRUE
35 | bus_LV_533-4_0_5_node_94 | 0.4 | n |  | TRUE
36 | bus_LV_533-4_0_5_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_533-4_0_5_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_533-4_0_5_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_533-4_0_5_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_533-4_0_5_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_533-4_0_5_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_533-4_0_5_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_533-4_0_5_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_533-4_0_5_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_533-4_0_5_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_533-4_0_5_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_533-4_0_5_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_533-4_0_5_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_533-4_0_5_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_533-4_0_5_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_533-4_0_5_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_533-4_0_5_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_533-4_0_5_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_533-4_0_5_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_533-4_0_5_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_533-4_0_5_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_533-4_0_5_node_79 | 0.4 | n |  | TRUE
58 | bus_LV_533-4_0_5_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_533-4_0_5_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_533-4_0_5_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_533-4_0_5_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_533-4_0_5_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_533-4_0_5_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_533-4_0_5_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_533-4_0_5_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_533-4_0_5_node_93 | 0.4 | n |  | TRUE
67 | bus_LV_533-4_0_5_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_533-4_0_5_node_88 | 0.4 | n |  | TRUE
69 | bus_LV_533-4_0_5_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_533-4_0_5_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_533-4_0_5_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_533-4_0_5_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_533-4_0_5_node_49 | 0.4 | n |  | TRUE
74 | bus_LV_533-4_0_5_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_533-4_0_5_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_533-4_0_5_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_533-4_0_5_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_533-4_0_5_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_533-4_0_5_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_533-4_0_5_node_87 | 0.4 | n |  | TRUE
81 | bus_LV_533-4_0_5_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_533-4_0_5_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_533-4_0_5_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_533-4_0_5_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_533-4_0_5_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_533-4_0_5_node_102 | 0.4 | n |  | TRUE
87 | bus_LV_533-4_0_5_node_101 | 0.4 | n |  | TRUE
88 | bus_LV_533-4_0_5_node_99 | 0.4 | n |  | TRUE
89 | bus_LV_533-4_0_5_node_100 | 0.4 | n |  | TRUE
90 | bus_LV_533-4_0_5_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_533-4_0_5_node_103 | 0.4 | n |  | TRUE
92 | bus_LV_533-4_0_5_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_533-4_0_5_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_533-4_0_5_node_81 | 0.4 | n |  | TRUE
95 | bus_LV_533-4_0_5_node_84 | 0.4 | n |  | TRUE
96 | bus_MV_386_1_node_239 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_533-4_0_5_load_0 | 0 | 0.012662 | 0.0031734 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_533-4_0_5_load_11 | 6 | 0.013696 | 0.0034325 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_533-4_0_5_load_18 | 7 | 0.0046401 | 0.0011629 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_533-4_0_5_load_56 | 8 | 0.012991 | 0.0032558 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_533-4_0_5_load_104 | 11 | 0.0032516 | 0.00081494 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_533-4_0_5_load_12 | 14 | 0.014419 | 0.0036138 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_533-4_0_5_load_57 | 15 | 0.005111 | 0.0012809 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_533-4_0_5_load_6 | 16 | 0.0068073 | 0.0017061 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_533-4_0_5_load_7 | 17 | 0.0063857 | 0.0016004 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_533-4_0_5_load_9 | 18 | 0.0066128 | 0.0016573 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_533-4_0_5_load_44 | 20 | 0.0075174 | 0.001884 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_533-4_0_5_load_82 | 21 | 0.010543 | 0.0026422 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_533-4_0_5_load_13 | 23 | 0.010222 | 0.002562 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_533-4_0_5_load_15 | 24 | 0.0082085 | 0.0020572 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_533-4_0_5_load_76 | 25 | 0.0093237 | 0.0023367 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_533-4_0_5_load_35 | 27 | 0.0089584 | 0.0022452 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_533-4_0_5_load_98 | 28 | 0.011055 | 0.0027706 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_533-4_0_5_load_95 | 29 | 0.0029073 | 0.00072863 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_533-4_0_5_load_105 | 31 | 0.053992 | 0.013532 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_533-4_0_5_load_97 | 34 | 0.01096 | 0.0027469 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_533-4_0_5_load_94 | 35 | 0.010515 | 0.0026353 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_533-4_0_5_load_21 | 36 | 0.01823 | 0.0045688 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_533-4_0_5_load_22 | 37 | 0.0013133 | 0.00032914 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_533-4_0_5_load_24 | 39 | 0.0023079 | 0.00057841 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_533-4_0_5_load_26 | 41 | 0.006257 | 0.0015682 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_533-4_0_5_load_58 | 42 | 0.00057701 | 0.00014461 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_533-4_0_5_load_39 | 43 | 0.0013153 | 0.00032965 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_533-4_0_5_load_52 | 45 | 0.0037593 | 0.00094218 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_533-4_0_5_load_36 | 46 | 0.0034598 | 0.00086711 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_533-4_0_5_load_37 | 47 | 0.0037394 | 0.00093719 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_533-4_0_5_load_60 | 49 | 0.0007698 | 0.00019293 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_533-4_0_5_load_27 | 51 | 0.0051038 | 0.0012791 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_533-4_0_5_load_31 | 54 | 0.0079185 | 0.0019846 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_533-4_0_5_load_32 | 55 | 0.0024521 | 0.00061454 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_533-4_0_5_load_33 | 56 | 0.0017554 | 0.00043994 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_533-4_0_5_load_79 | 57 | 0.0059804 | 0.0014988 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_533-4_0_5_load_69 | 58 | 0.00074061 | 0.00018561 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_533-4_0_5_load_34 | 59 | 0.011483 | 0.002878 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_533-4_0_5_load_68 | 60 | 0.0017158 | 0.00043003 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_533-4_0_5_load_77 | 61 | 0.0048959 | 0.001227 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_533-4_0_5_load_38 | 62 | 0.0024099 | 0.00060397 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_533-4_0_5_load_43 | 64 | 0.0063193 | 0.0015838 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_533-4_0_5_load_93 | 66 | 0.0019725 | 0.00049436 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_533-4_0_5_load_65 | 67 | 0.017454 | 0.0043744 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_533-4_0_5_load_88 | 68 | 0.00362 | 0.00090727 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_533-4_0_5_load_66 | 69 | 0.0051163 | 0.0012823 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_533-4_0_5_load_45 | 70 | 0.0019125 | 0.00047933 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_533-4_0_5_load_46 | 71 | 0.0014089 | 0.00035311 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_533-4_0_5_load_48 | 72 | 0.006544 | 0.0016401 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_533-4_0_5_load_49 | 73 | 0.0045011 | 0.0011281 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_533-4_0_5_load_50 | 74 | 0.0083579 | 0.0020947 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_533-4_0_5_load_54 | 75 | 0.0019821 | 0.00049675 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_533-4_0_5_load_61 | 76 | 0.0027193 | 0.00068152 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_533-4_0_5_load_64 | 79 | 0.0038121 | 0.0009554 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_533-4_0_5_load_87 | 80 | 0.00079338 | 0.00019884 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_533-4_0_5_load_74 | 81 | 0.00045935 | 0.00011512 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_533-4_0_5_load_85 | 82 | 0.0020423 | 0.00051185 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_533-4_0_5_load_75 | 83 | 0.0016691 | 0.00041832 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_533-4_0_5_load_102 | 86 | 0.0017461 | 0.00043762 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_533-4_0_5_load_101 | 87 | 0.0037079 | 0.00092928 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_533-4_0_5_load_99 | 88 | 0.0093952 | 0.0023547 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_533-4_0_5_load_100 | 89 | 0.0094994 | 0.0023808 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_533-4_0_5_load_103 | 91 | 0.0012564 | 0.00031489 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_533-4_0_5_load_78 | 92 | 0.001481 | 0.00037118 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_533-4_0_5_load_80 | 93 | 0.004749 | 0.0011902 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_533-4_0_5_load_84 | 95 | 0.0057389 | 0.0014383 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_533-4_0_5_line_0 |  | 0 | 1 | 0.011708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_533-4_0_5_line_1 |  | 0 | 2 | 0.0077922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_533-4_0_5_line_2 |  | 1 | 3 | 0.02769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_533-4_0_5_line_3 |  | 1 | 4 | 0.056061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_533-4_0_5_line_4 |  | 2 | 5 | 0.030961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_533-4_0_5_line_5 |  | 3 | 6 | 0.016483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_533-4_0_5_line_6 |  | 4 | 7 | 0.014711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_533-4_0_5_line_7 |  | 5 | 8 | 0.018258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_533-4_0_5_line_8 |  | 6 | 9 | 0.024083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_533-4_0_5_line_9 |  | 8 | 15 | 0.0089549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_533-4_0_5_line_10 |  | 9 | 19 | 0.019095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_533-4_0_5_line_11 |  | 9 | 16 | 0.012521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_533-4_0_5_line_12 |  | 10 | 11 | 0.03303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_533-4_0_5_line_13 |  | 10 | 12 | 0.034691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_533-4_0_5_line_14 |  | 11 | 31 | 0.0087411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_533-4_0_5_line_15 |  | 12 | 13 | 0.004734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_533-4_0_5_line_16 |  | 12 | 14 | 0.019634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_533-4_0_5_line_17 |  | 13 | 26 | 0.015963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_533-4_0_5_line_18 |  | 13 | 27 | 0.025739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_533-4_0_5_line_19 |  | 14 | 23 | 0.034868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_533-4_0_5_line_20 |  | 15 | 64 | 0.0053572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_533-4_0_5_line_21 |  | 17 | 18 | 0.023101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_533-4_0_5_line_22 |  | 18 | 20 | 0.0038789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_533-4_0_5_line_23 |  | 19 | 21 | 0.02093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_533-4_0_5_line_24 |  | 20 | 22 | 0.014388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_533-4_0_5_line_25 |  | 22 | 63 | 0.025207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_533-4_0_5_line_26 |  | 22 | 64 | 0.020961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_533-4_0_5_line_27 |  | 22 | 62 | 0.012801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_533-4_0_5_line_28 |  | 23 | 24 | 0.022163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_533-4_0_5_line_29 |  | 24 | 25 | 0.01095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_533-4_0_5_line_30 |  | 25 | 28 | 0.032605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_533-4_0_5_line_31 |  | 26 | 29 | 0.011443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_533-4_0_5_line_32 |  | 26 | 30 | 0.038141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_533-4_0_5_line_33 |  | 28 | 32 | 0.020662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_533-4_0_5_line_34 |  | 29 | 66 | 0.034445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_533-4_0_5_line_35 |  | 30 | 57 | 0.017579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_533-4_0_5_line_36 |  | 30 | 52 | 0.018875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_533-4_0_5_line_37 |  | 32 | 33 | 0.029779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_533-4_0_5_line_38 |  | 33 | 34 | 0.016813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_533-4_0_5_line_39 |  | 33 | 35 | 0.045392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_533-4_0_5_line_40 |  | 36 | 37 | 0.0014402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_533-4_0_5_line_41 |  | 36 | 38 | 0.021824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_533-4_0_5_line_42 |  | 37 | 39 | 0.023455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_533-4_0_5_line_43 |  | 38 | 40 | 0.013571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_533-4_0_5_line_44 |  | 38 | 41 | 0.021601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_533-4_0_5_line_45 |  | 39 | 42 | 0.0010261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_533-4_0_5_line_46 |  | 40 | 43 | 0.023341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_533-4_0_5_line_47 |  | 42 | 44 | 0.018714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_533-4_0_5_line_48 |  | 43 | 45 | 0.015303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_533-4_0_5_line_49 |  | 44 | 60 | 0.0035757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_533-4_0_5_line_50 |  | 44 | 73 | 0.031808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_533-4_0_5_line_51 |  | 45 | 65 | 0.019001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_533-4_0_5_line_52 |  | 46 | 47 | 0.02314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_533-4_0_5_line_53 |  | 47 | 62 | 0.0021905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_533-4_0_5_line_54 |  | 48 | 49 | 0.011259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_533-4_0_5_line_55 |  | 48 | 50 | 0.025848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_533-4_0_5_line_56 |  | 49 | 72 | 0.004122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_533-4_0_5_line_57 |  | 50 | 75 | 0.0093098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_533-4_0_5_line_58 |  | 50 | 74 | 0.028552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_533-4_0_5_line_59 |  | 51 | 52 | 0.018374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_533-4_0_5_line_60 |  | 51 | 53 | 0.020509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_533-4_0_5_line_61 |  | 52 | 54 | 0.028512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_533-4_0_5_line_62 |  | 53 | 55 | 0.035111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_533-4_0_5_line_63 |  | 53 | 56 | 0.0093046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_533-4_0_5_line_64 |  | 54 | 58 | 0.04257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_533-4_0_5_line_65 |  | 55 | 59 | 0.016964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_533-4_0_5_line_66 |  | 56 | 60 | 0.016167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_533-4_0_5_line_67 |  | 57 | 61 | 0.0092694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_533-4_0_5_line_68 |  | 61 | 92 | 0.0015837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_533-4_0_5_line_69 |  | 63 | 65 | 0.00606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_533-4_0_5_line_70 |  | 63 | 67 | 0.03354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_533-4_0_5_line_71 |  | 65 | 68 | 0.02989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_533-4_0_5_line_72 |  | 67 | 69 | 0.0019998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_533-4_0_5_line_73 |  | 68 | 78 | 0.018203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_533-4_0_5_line_74 |  | 70 | 71 | 0.024062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_533-4_0_5_line_75 |  | 71 | 72 | 0.015082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_533-4_0_5_line_76 |  | 75 | 76 | 0.014547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_533-4_0_5_line_77 |  | 76 | 77 | 0.023729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_533-4_0_5_line_78 |  | 77 | 78 | 0.020762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_533-4_0_5_line_79 |  | 77 | 79 | 0.0098806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_533-4_0_5_line_80 |  | 78 | 80 | 0.016555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_533-4_0_5_line_81 |  | 79 | 81 | 0.036352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_533-4_0_5_line_82 |  | 80 | 82 | 0.025232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_533-4_0_5_line_83 |  | 81 | 83 | 0.0060261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_533-4_0_5_line_84 |  | 82 | 95 | 0.0024711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_533-4_0_5_line_85 |  | 84 | 85 | 0.036708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_533-4_0_5_line_86 |  | 84 | 86 | 0.01475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_533-4_0_5_line_87 |  | 85 | 87 | 0.016691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_533-4_0_5_line_88 |  | 85 | 88 | 0.036317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_533-4_0_5_line_89 |  | 86 | 91 | 0.018699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_533-4_0_5_line_90 |  | 88 | 90 | 0.0091737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_533-4_0_5_line_91 |  | 89 | 90 | 0.020617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_533-4_0_5_line_92 |  | 90 | 94 | 0.06748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_533-4_0_5_line_93 |  | 92 | 93 | 0.02249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_533-4_0_5_line_94 |  | 93 | 94 | 0.046586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_533-4_0_5_trafo_14 | 0.63 MVA 20/0.4 kV | 96 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2607664.9297 | 1219956.7321 | 2607661.4828 | 1219958.551 | 2607657.6202 | 1219959.1131 | 2607653.7897 | 1219958.3411
1 | 2607647.9615 | 1219953.3419 | 2607650.4463 | 1219956.3468 | 2607653.7897 | 1219958.3411
2 | 2607664.9297 | 1219956.7321 | 2607672.0238 | 1219962.5779 | 2607679.9201 | 1219970.0256 | 2607687.2767 | 1219972.2807
3 | 2607664.9297 | 1219956.7321 | 2607667.452 | 1219954.0449 | 2607668.9813 | 1219950.7005 | 2607669.3729 | 1219947.0434 | 2607668.5733 | 1219943.4514 | 2607666.6729 | 1219940.2916 | 2607663.8611 | 1219937.9089 | 2607660.4411 | 1219936.5371 | 2607663.436 | 1219926.235 | 2607664.9334 | 1219912.2289 | 2607665.259 | 1219906.7706
4 | 2607624.6214 | 1219972.8234 | 2607628.5064 | 1219966.5915 | 2607632.8211 | 1219962.4723 | 2607638.638 | 1219958.4663 | 2607647.9615 | 1219953.3419
5 | 2607687.2767 | 1219972.2807 | 2607686.1152 | 1219978.7385 | 2607685.0688 | 1219988.6044
6 | 2607665.259 | 1219906.7706 | 2607666.1446 | 1219892.0862
7 | 2607624.6214 | 1219972.8234 | 2607622.7266 | 1219977.3014 | 2607619.1559 | 1219986.9579 | 2607618.5272 | 1219989.994
8 | 2607682.5287 | 1220012.5533 | 2607685.0688 | 1219988.6044
9 | 2607618.5272 | 1219989.994 | 2607616.7114 | 1219998.7629
10 | 2607682.5287 | 1220012.5533 | 2607683.5252 | 1220016.4791 | 2607683.9841 | 1220019.5814 | 2607685.5797 | 1220023.6636 | 2607688.142 | 1220025.3345 | 2607692.6262 | 1220025.1735
11 | 2607682.5287 | 1220012.5533 | 2607670.1443 | 1220014.3941
12 | 2607592.6121 | 1219954.2278 | 2607589.4413 | 1219923.7063 | 2607591.7854 | 1219923.6881
13 | 2607571.3549 | 1219964.6403 | 2607593.8031 | 1219966.3474 | 2607592.6121 | 1219954.2278
14 | 2607600.5263 | 1219923.6202 | 2607591.7854 | 1219923.6881
15 | 2607571.3549 | 1219964.6403 | 2607566.621 | 1219964.2786
16 | 2607571.3549 | 1219964.6403 | 2607571.3462 | 1219953.5117 | 2607571.3367 | 1219945.0066
17 | 2607566.621 | 1219964.2786 | 2607550.6592 | 1219963.0467
18 | 2607566.621 | 1219964.2786 | 2607562.5868 | 1219989.6999
19 | 2607571.3367 | 1219945.0066 | 2607571.3319 | 1219940.7154 | 2607571.3267 | 1219932.8109 | 2607575.1261 | 1219922.1762 | 2607574.7395 | 1219910.8032
20 | 2607615.6653 | 1220004.0161 | 2607615.7818 | 1220003.2519 | 2607616.7114 | 1219998.7629
21 | 2607653.0507 | 1220030.829 | 2607649.5459 | 1220031.8556 | 2607630.4464 | 1220028.1852
22 | 2607626.6371 | 1220027.4532 | 2607630.4464 | 1220028.1852
23 | 2607692.6262 | 1220025.1735 | 2607692.6765 | 1220033.2559 | 2607692.4914 | 1220046.1024
24 | 2607612.5073 | 1220024.7379 | 2607626.6371 | 1220027.4532
25 | 2607612.5073 | 1220024.7379 | 2607612.1768 | 1220028.0393 | 2607609.5728 | 1220041.3548 | 2607609.0767 | 1220049.6589
26 | 2607612.5073 | 1220024.7379 | 2607615.6653 | 1220004.0161
27 | 2607612.5073 | 1220024.7379 | 2607599.8439 | 1220022.864
28 | 2607574.7395 | 1219910.8032 | 2607574.6506 | 1219908.1898 | 2607573.2687 | 1219890.9782 | 2607572.9929 | 1219888.7134
29 | 2607572.9929 | 1219888.7134 | 2607571.6693 | 1219877.8435
30 | 2607567.7445 | 1219845.4758 | 2607570.4226 | 1219867.6057 | 2607571.6693 | 1219877.8435
31 | 2607550.6592 | 1219963.0467 | 2607551.3739 | 1219951.6261
32 | 2607512.437 | 1219961.5201 | 2607518.1803 | 1219961.6607 | 2607550.6592 | 1219963.0467
33 | 2607566.3262 | 1219824.8649 | 2607567.5766 | 1219844.0886 | 2607567.7445 | 1219845.4758
34 | 2607553.5253 | 1219917.2485 | 2607551.3739 | 1219951.6261
35 | 2607512.437 | 1219961.5201 | 2607514.8289 | 1219944.1046
36 | 2607493.5311 | 1219960.5515 | 2607512.437 | 1219961.5201
37 | 2607566.3262 | 1219824.8649 | 2607544.1621 | 1219826.0933 | 2607536.5895 | 1219826.4396
38 | 2607536.5895 | 1219826.4396 | 2607519.7938 | 1219827.2062
39 | 2607536.5895 | 1219826.4396 | 2607545.1481 | 1219871.0177
40 | 2607523.3319 | 1220034.841 | 2607521.9144 | 1220034.5867
41 | 2607544.8131 | 1220038.6938 | 2607523.3319 | 1220034.841
42 | 2607498.8275 | 1220030.4459 | 2607521.9144 | 1220034.5867
43 | 2607544.8131 | 1220038.6938 | 2607558.3501 | 1220037.2878
44 | 2607544.8131 | 1220038.6938 | 2607539.6566 | 1220059.6704
45 | 2607498.8275 | 1220030.4459 | 2607497.8175 | 1220030.2648
46 | 2607558.3501 | 1220037.2878 | 2607575.6413 | 1220043.0907 | 2607577.4844 | 1220047.8477
47 | 2607479.397 | 1220026.9609 | 2607497.8175 | 1220030.2648
48 | 2607590.1797 | 1220053.8597 | 2607578.7873 | 1220051.2104 | 2607577.4844 | 1220047.8477
49 | 2607479.397 | 1220026.9609 | 2607480.2671 | 1220023.4926
50 | 2607479.397 | 1220026.9609 | 2607475.2162 | 1220039.385 | 2607465.0571 | 1220055.0838
51 | 2607609.1145 | 1220055.718 | 2607594.0404 | 1220054.6761 | 2607590.1797 | 1220053.8597
52 | 2607597.677 | 1220022.5433 | 2607574.7861 | 1220019.156
53 | 2607599.8439 | 1220022.864 | 2607597.677 | 1220022.5433
54 | 2607528.9601 | 1220102.0881 | 2607518.0416 | 1220099.3392
55 | 2607528.9601 | 1220102.0881 | 2607554.1183 | 1220108.3232
56 | 2607514.0443 | 1220098.3329 | 2607518.0416 | 1220099.3392
57 | 2607554.1183 | 1220108.3232 | 2607562.9819 | 1220111.1706
58 | 2607554.1183 | 1220108.3232 | 2607558.0702 | 1220096.9328 | 2607562.0482 | 1220089.0221 | 2607568.4644 | 1220084.8723
59 | 2607493.5311 | 1219960.5515 | 2607491.8805 | 1219969.9548 | 2607490.2511 | 1219978.6301
60 | 2607486.4653 | 1219998.7869 | 2607490.2511 | 1219978.6301
61 | 2607493.5311 | 1219960.5515 | 2607465.0349 | 1219959.5933
62 | 2607486.4653 | 1219998.7869 | 2607521.1197 | 1220004.4295
63 | 2607486.4653 | 1219998.7869 | 2607484.2011 | 1220007.8118
64 | 2607465.0349 | 1219959.5933 | 2607465.0349 | 1219959.5933 | 2607440.5687 | 1219957.7174 | 2607423.6078 | 1219954.4501 | 2607422.8617 | 1219954.3075
65 | 2607521.1197 | 1220004.4295 | 2607537.8634 | 1220007.1558
66 | 2607480.2671 | 1220023.4926 | 2607484.2011 | 1220007.8118
67 | 2607516.0902 | 1219934.9214 | 2607514.8289 | 1219944.1046
68 | 2607516.0902 | 1219934.9214 | 2607516.3057 | 1219933.3524
69 | 2607609.1145 | 1220055.718 | 2607609.0767 | 1220049.6589
70 | 2607609.0767 | 1220049.6589 | 2607635.2744 | 1220055.8513 | 2607640.1252 | 1220060.3569
71 | 2607609.1145 | 1220055.718 | 2607609.4647 | 1220078.7316 | 2607609.114 | 1220085.5965
72 | 2607640.1252 | 1220060.3569 | 2607641.5905 | 1220061.7179
73 | 2607607.3315 | 1220103.6988 | 2607608.7412 | 1220092.8944 | 2607609.114 | 1220085.5965
74 | 2607476.0844 | 1220088.776 | 2607499.4185 | 1220094.6506
75 | 2607514.0443 | 1220098.3329 | 2607499.4185 | 1220094.6506
76 | 2607576.8321 | 1220115.62 | 2607562.9819 | 1220111.1706
77 | 2607599.4244 | 1220122.8776 | 2607576.8321 | 1220115.62
78 | 2607599.4244 | 1220122.8776 | 2607604.3086 | 1220112.3222 | 2607607.3315 | 1220103.6988
79 | 2607599.4244 | 1220122.8776 | 2607594.828 | 1220131.624
80 | 2607607.3315 | 1220103.6988 | 2607610.7431 | 1220105.6709 | 2607615.0797 | 1220108.1668 | 2607621.6744 | 1220111.9657
81 | 2607594.828 | 1220131.624 | 2607590.2753 | 1220140.2871 | 2607578.6843 | 1220162.8855 | 2607578.2443 | 1220163.9669
82 | 2607638.0924 | 1220130.912 | 2607623.9576 | 1220113.281 | 2607621.6744 | 1220111.9657
83 | 2607575.9733 | 1220169.5487 | 2607578.2443 | 1220163.9669
84 | 2607639.638 | 1220132.84 | 2607638.0924 | 1220130.912
85 | 2607414.9733 | 1219899.3968 | 2607412.2391 | 1219907.8316 | 2607411.2387 | 1219925.396 | 2607410.4402 | 1219933.0327 | 2607410.0122 | 1219935.567
86 | 2607410.0122 | 1219935.567 | 2607424.321 | 1219939.1467
87 | 2607414.9733 | 1219899.3968 | 2607431.4797 | 1219902.1743
88 | 2607414.9733 | 1219899.3968 | 2607422.609 | 1219878.5943 | 2607431.765 | 1219867.7957
89 | 2607442.7349 | 1219942.3668 | 2607426.3575 | 1219939.6561 | 2607424.321 | 1219939.1467
90 | 2607433.6877 | 1219859.1524 | 2607433.1555 | 1219866.1557 | 2607431.765 | 1219867.7957
91 | 2607435.2458 | 1219838.5981 | 2607433.6877 | 1219859.1524
92 | 2607433.6877 | 1219859.1524 | 2607494.6951 | 1219866.7881 | 2607500.8398 | 1219867.5517
93 | 2607516.3057 | 1219933.3524 | 2607518.3788 | 1219918.2583 | 2607517.447 | 1219911.0641
94 | 2607500.8398 | 1219867.5517 | 2607505.9428 | 1219882.311 | 2607517.447 | 1219911.0641 | 2607517.447 | 1219911.0641

## bus_geodata
| x | y | coords
0 | 2607653.7897 | 1219958.3411
1 | 2607664.9297 | 1219956.7321
2 | 2607647.9615 | 1219953.3419
3 | 2607687.2767 | 1219972.2807
4 | 2607665.259 | 1219906.7706
5 | 2607624.6214 | 1219972.8234
6 | 2607685.0688 | 1219988.6044
7 | 2607666.1446 | 1219892.0862
8 | 2607618.5272 | 1219989.994
9 | 2607682.5287 | 1220012.5533
10 | 2607592.6121 | 1219954.2278
11 | 2607591.7854 | 1219923.6881
12 | 2607571.3549 | 1219964.6403
13 | 2607566.621 | 1219964.2786
14 | 2607571.3367 | 1219945.0066
15 | 2607616.7114 | 1219998.7629
16 | 2607670.1443 | 1220014.3941
17 | 2607653.0507 | 1220030.829
18 | 2607630.4464 | 1220028.1852
19 | 2607692.6262 | 1220025.1735
20 | 2607626.6371 | 1220027.4532
21 | 2607692.4914 | 1220046.1024
22 | 2607612.5073 | 1220024.7379
23 | 2607574.7395 | 1219910.8032
24 | 2607572.9929 | 1219888.7134
25 | 2607571.6693 | 1219877.8435
26 | 2607550.6592 | 1219963.0467
27 | 2607562.5868 | 1219989.6999
28 | 2607567.7445 | 1219845.4758
29 | 2607551.3739 | 1219951.6261
30 | 2607512.437 | 1219961.5201
31 | 2607600.5263 | 1219923.6202
32 | 2607566.3262 | 1219824.8649
33 | 2607536.5895 | 1219826.4396
34 | 2607519.7938 | 1219827.2062
35 | 2607545.1481 | 1219871.0177
36 | 2607523.3319 | 1220034.841
37 | 2607521.9144 | 1220034.5867
38 | 2607544.8131 | 1220038.6938
39 | 2607498.8275 | 1220030.4459
40 | 2607558.3501 | 1220037.2878
41 | 2607539.6566 | 1220059.6704
42 | 2607497.8175 | 1220030.2648
43 | 2607577.4844 | 1220047.8477
44 | 2607479.397 | 1220026.9609
45 | 2607590.1797 | 1220053.8597
46 | 2607574.7861 | 1220019.156
47 | 2607597.677 | 1220022.5433
48 | 2607528.9601 | 1220102.0881
49 | 2607518.0416 | 1220099.3392
50 | 2607554.1183 | 1220108.3232
51 | 2607490.2511 | 1219978.6301
52 | 2607493.5311 | 1219960.5515
53 | 2607486.4653 | 1219998.7869
54 | 2607465.0349 | 1219959.5933
55 | 2607521.1197 | 1220004.4295
56 | 2607484.2011 | 1220007.8118
57 | 2607514.8289 | 1219944.1046
58 | 2607422.8617 | 1219954.3075
59 | 2607537.8634 | 1220007.1558
60 | 2607480.2671 | 1220023.4926
61 | 2607516.0902 | 1219934.9214
62 | 2607599.8439 | 1220022.864
63 | 2607609.0767 | 1220049.6589
64 | 2607615.6653 | 1220004.0161
65 | 2607609.1145 | 1220055.718
66 | 2607553.5253 | 1219917.2485
67 | 2607640.1252 | 1220060.3569
68 | 2607609.114 | 1220085.5965
69 | 2607641.5905 | 1220061.7179
70 | 2607476.0844 | 1220088.776
71 | 2607499.4185 | 1220094.6506
72 | 2607514.0443 | 1220098.3329
73 | 2607465.0571 | 1220055.0838
74 | 2607568.4644 | 1220084.8723
75 | 2607562.9819 | 1220111.1706
76 | 2607576.8321 | 1220115.62
77 | 2607599.4244 | 1220122.8776
78 | 2607607.3315 | 1220103.6988
79 | 2607594.828 | 1220131.624
80 | 2607621.6744 | 1220111.9657
81 | 2607578.2443 | 1220163.9669
82 | 2607638.0924 | 1220130.912
83 | 2607575.9733 | 1220169.5487
84 | 2607410.0122 | 1219935.567
85 | 2607414.9733 | 1219899.3968
86 | 2607424.321 | 1219939.1467
87 | 2607431.4797 | 1219902.1743
88 | 2607431.765 | 1219867.7957
89 | 2607435.2458 | 1219838.5981
90 | 2607433.6877 | 1219859.1524
91 | 2607442.7349 | 1219942.3668
92 | 2607516.3057 | 1219933.3524
93 | 2607517.447 | 1219911.0641
94 | 2607500.8398 | 1219867.5517
95 | 2607639.638 | 1220132.84
96 | 2607566.621 | 1219964.2786

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1