## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_538-11_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_538-11_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_538-11_0_1_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_538-11_0_1_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_538-11_0_1_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_538-11_0_1_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_538-11_0_1_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_538-11_0_1_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_538-11_0_1_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_538-11_0_1_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_538-11_0_1_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_538-11_0_1_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_538-11_0_1_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_538-11_0_1_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_538-11_0_1_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_538-11_0_1_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_538-11_0_1_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_538-11_0_1_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_538-11_0_1_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_538-11_0_1_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_538-11_0_1_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_538-11_0_1_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_538-11_0_1_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_538-11_0_1_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_538-11_0_1_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_538-11_0_1_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_538-11_0_1_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_538-11_0_1_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_538-11_0_1_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_538-11_0_1_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_538-11_0_1_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_538-11_0_1_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_538-11_0_1_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_538-11_0_1_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_538-11_0_1_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_538-11_0_1_node_248 | 0.4 | n |  | TRUE
36 | bus_LV_538-11_0_1_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_538-11_0_1_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_538-11_0_1_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_538-11_0_1_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_538-11_0_1_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_538-11_0_1_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_538-11_0_1_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_538-11_0_1_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_538-11_0_1_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_538-11_0_1_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_538-11_0_1_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_538-11_0_1_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_538-11_0_1_node_264 | 0.4 | n |  | TRUE
49 | bus_LV_538-11_0_1_node_263 | 0.4 | n |  | TRUE
50 | bus_LV_538-11_0_1_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_538-11_0_1_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_538-11_0_1_node_245 | 0.4 | n |  | TRUE
53 | bus_LV_538-11_0_1_node_246 | 0.4 | n |  | TRUE
54 | bus_LV_538-11_0_1_node_247 | 0.4 | n |  | TRUE
55 | bus_LV_538-11_0_1_node_249 | 0.4 | n |  | TRUE
56 | bus_LV_538-11_0_1_node_250 | 0.4 | n |  | TRUE
57 | bus_LV_538-11_0_1_node_253 | 0.4 | n |  | TRUE
58 | bus_LV_538-11_0_1_node_255 | 0.4 | n |  | TRUE
59 | bus_LV_538-11_0_1_node_256 | 0.4 | n |  | TRUE
60 | bus_LV_538-11_0_1_node_258 | 0.4 | n |  | TRUE
61 | bus_LV_538-11_0_1_node_259 | 0.4 | n |  | TRUE
62 | bus_LV_538-11_0_1_node_257 | 0.4 | n |  | TRUE
63 | bus_LV_538-11_0_1_node_262 | 0.4 | n |  | TRUE
64 | bus_LV_538-11_0_1_node_260 | 0.4 | n |  | TRUE
65 | bus_LV_538-11_0_1_node_358 | 0.4 | n |  | TRUE
66 | bus_LV_538-11_0_1_node_271 | 0.4 | n |  | TRUE
67 | bus_LV_538-11_0_1_node_261 | 0.4 | n |  | TRUE
68 | bus_LV_538-11_0_1_node_265 | 0.4 | n |  | TRUE
69 | bus_LV_538-11_0_1_node_266 | 0.4 | n |  | TRUE
70 | bus_LV_538-11_0_1_node_267 | 0.4 | n |  | TRUE
71 | bus_LV_538-11_0_1_node_268 | 0.4 | n |  | TRUE
72 | bus_LV_538-11_0_1_node_269 | 0.4 | n |  | TRUE
73 | bus_LV_538-11_0_1_node_270 | 0.4 | n |  | TRUE
74 | bus_LV_538-11_0_1_node_272 | 0.4 | n |  | TRUE
75 | bus_LV_538-11_0_1_node_273 | 0.4 | n |  | TRUE
76 | bus_LV_538-11_0_1_node_277 | 0.4 | n |  | TRUE
77 | bus_LV_538-11_0_1_node_275 | 0.4 | n |  | TRUE
78 | bus_LV_538-11_0_1_node_276 | 0.4 | n |  | TRUE
79 | bus_LV_538-11_0_1_node_278 | 0.4 | n |  | TRUE
80 | bus_LV_538-11_0_1_node_279 | 0.4 | n |  | TRUE
81 | bus_LV_538-11_0_1_node_280 | 0.4 | n |  | TRUE
82 | bus_MV_387_0_node_97 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_538-11_0_1_load_0 | 0 | 0.003444 | 0.00086314 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_538-11_0_1_load_1 | 1 | 0.0057081 | 0.0014306 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_538-11_0_1_load_5 | 5 | 0.00035605 | 8.9235e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_538-11_0_1_load_6 | 6 | 0.0015779 | 0.00039545 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_538-11_0_1_load_8 | 7 | 0.00046902 | 0.00011755 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_538-11_0_1_load_9 | 8 | 0.00034255 | 8.585e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_538-11_0_1_load_10 | 9 | 0.00018682 | 4.6822e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_538-11_0_1_load_7 | 11 | 0.0021897 | 0.0005488 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_538-11_0_1_load_11 | 12 | 0.0013697 | 0.00034327 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_538-11_0_1_load_13 | 15 | 0.0010453 | 0.00026198 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_538-11_0_1_load_14 | 16 | 0.0026893 | 0.00067401 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_538-11_0_1_load_20 | 18 | 0.0013732 | 0.00034415 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_538-11_0_1_load_16 | 19 | 0.00084251 | 0.00021115 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_538-11_0_1_load_17 | 20 | 0.00081028 | 0.00020308 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_538-11_0_1_load_19 | 22 | 0.00090124 | 0.00022587 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_538-11_0_1_load_30 | 23 | 0.00030995 | 7.7682e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_538-11_0_1_load_31 | 24 | 0.0024666 | 0.00061818 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_538-11_0_1_load_41 | 25 | 0.0022864 | 0.00057302 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_538-11_0_1_load_22 | 27 | 0.0030136 | 0.00075529 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_538-11_0_1_load_23 | 28 | 0.0026826 | 0.00067231 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_538-11_0_1_load_29 | 33 | 0.0009507 | 0.00023827 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_538-11_0_1_load_34 | 34 | 0.00044806 | 0.00011229 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_538-11_0_1_load_49 | 36 | 0.00064927 | 0.00016272 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_538-11_0_1_load_32 | 38 | 0.00049575 | 0.00012425 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_538-11_0_1_load_33 | 39 | 0.00015942 | 3.9954e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_538-11_0_1_load_35 | 40 | 0.0013255 | 0.0003322 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_538-11_0_1_load_36 | 41 | 0.0012382 | 0.00031032 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_538-11_0_1_load_38 | 42 | 0.0013041 | 0.00032683 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_538-11_0_1_load_40 | 44 | 0.001174 | 0.00029422 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_538-11_0_1_load_42 | 45 | 0.0021722 | 0.00054442 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_538-11_0_1_load_43 | 46 | 0.0026759 | 0.00067064 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_538-11_0_1_load_44 | 47 | 0.0012906 | 0.00032344 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_538-11_0_1_load_264 | 48 | 0.0010466 | 0.0002623 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_538-11_0_1_load_263 | 49 | 0.0014537 | 0.00036433 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_538-11_0_1_load_47 | 50 | 0.0015061 | 0.00037745 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_538-11_0_1_load_48 | 51 | 0.00014518 | 3.6386e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_538-11_0_1_load_245 | 52 | 0.0033075 | 0.00082894 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_538-11_0_1_load_246 | 53 | 0.0028035 | 0.00070262 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_538-11_0_1_load_247 | 54 | 0.0012228 | 0.00030647 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_538-11_0_1_load_249 | 55 | 0.0011779 | 0.0002952 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_538-11_0_1_load_250 | 56 | 0.0025022 | 0.00062712 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_538-11_0_1_load_253 | 57 | 0.0043896 | 0.0011001 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_538-11_0_1_load_256 | 59 | 0.0011376 | 0.0002851 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_538-11_0_1_load_259 | 61 | 0.0011376 | 0.0002851 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_538-11_0_1_load_260 | 64 | 0.0041512 | 0.0010404 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_538-11_0_1_load_358 | 65 | 0.003388 | 0.00084911 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_538-11_0_1_load_271 | 66 | 0.001137 | 0.00028496 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_538-11_0_1_load_261 | 67 | 0.0018169 | 0.00045536 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_538-11_0_1_load_265 | 68 | 0.00052351 | 0.0001312 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_538-11_0_1_load_266 | 69 | 0.00062255 | 0.00015603 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_538-11_0_1_load_267 | 70 | 0.0012395 | 0.00031064 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_538-11_0_1_load_268 | 71 | 0.00075794 | 0.00018996 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_538-11_0_1_load_270 | 73 | 0.0015032 | 0.00037674 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_538-11_0_1_load_273 | 75 | 0.002251 | 0.00056415 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_538-11_0_1_load_277 | 76 | 0.0019326 | 0.00048436 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_538-11_0_1_load_275 | 77 | 0.0013494 | 0.00033819 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_538-11_0_1_load_278 | 79 | 0.001571 | 0.00039373 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_538-11_0_1_load_279 | 80 | 0.0014744 | 0.00036951 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_538-11_0_1_load_280 | 81 | 0.0011376 | 0.0002851 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_538-11_0_1_line_0 |  | 0 | 1 | 0.0085223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_538-11_0_1_line_1 |  | 1 | 2 | 0.031459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_538-11_0_1_line_2 |  | 2 | 6 | 0.0167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_538-11_0_1_line_3 |  | 3 | 4 | 0.037266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_538-11_0_1_line_4 |  | 3 | 5 | 0.011407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_538-11_0_1_line_5 |  | 4 | 7 | 0.034033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_538-11_0_1_line_6 |  | 4 | 8 | 0.013564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_538-11_0_1_line_7 |  | 5 | 9 | 0.021819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_538-11_0_1_line_8 |  | 6 | 10 | 0.020934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_538-11_0_1_line_9 |  | 8 | 10 | 0.04346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_538-11_0_1_line_10 |  | 9 | 13 | 0.032774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_538-11_0_1_line_11 |  | 10 | 19 | 0.017519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_538-11_0_1_line_12 |  | 10 | 20 | 0.015875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_538-11_0_1_line_13 |  | 11 | 12 | 0.012723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_538-11_0_1_line_14 |  | 12 | 14 | 0.019636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_538-11_0_1_line_15 |  | 13 | 30 | 0.066741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_538-11_0_1_line_16 |  | 13 | 27 | 0.037637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_538-11_0_1_line_17 |  | 14 | 15 | 0.018336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_538-11_0_1_line_18 |  | 14 | 16 | 0.016262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_538-11_0_1_line_19 |  | 15 | 17 | 0.029807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_538-11_0_1_line_20 |  | 16 | 18 | 0.032178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_538-11_0_1_line_21 |  | 17 | 25 | 0.017786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_538-11_0_1_line_22 |  | 17 | 26 | 0.012064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_538-11_0_1_line_23 |  | 18 | 22 | 0.0036222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_538-11_0_1_line_24 |  | 19 | 21 | 0.025246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_538-11_0_1_line_25 |  | 20 | 22 | 0.017226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_538-11_0_1_line_26 |  | 21 | 23 | 0.025443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_538-11_0_1_line_27 |  | 21 | 24 | 0.0021826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_538-11_0_1_line_28 |  | 24 | 38 | 0.0050532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_538-11_0_1_line_29 |  | 26 | 43 | 0.04413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_538-11_0_1_line_30 |  | 26 | 40 | 0.017696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_538-11_0_1_line_31 |  | 28 | 29 | 0.048779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_538-11_0_1_line_32 |  | 29 | 31 | 0.073487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_538-11_0_1_line_33 |  | 30 | 32 | 0.013878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_538-11_0_1_line_34 |  | 30 | 33 | 0.051766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_538-11_0_1_line_35 |  | 31 | 34 | 0.036488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_538-11_0_1_line_36 |  | 31 | 35 | 0.13655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_538-11_0_1_line_37 |  | 32 | 36 | 0.016193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_538-11_0_1_line_38 |  | 32 | 37 | 0.022422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_538-11_0_1_line_39 |  | 34 | 39 | 0.014392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_538-11_0_1_line_40 |  | 35 | 53 | 0.057763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_538-11_0_1_line_41 |  | 37 | 51 | 0.07245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_538-11_0_1_line_42 |  | 38 | 39 | 0.0069412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_538-11_0_1_line_43 |  | 40 | 41 | 0.016711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_538-11_0_1_line_44 |  | 41 | 42 | 0.014258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_538-11_0_1_line_45 |  | 42 | 44 | 0.016629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_538-11_0_1_line_46 |  | 43 | 45 | 0.019112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_538-11_0_1_line_47 |  | 43 | 46 | 0.018904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_538-11_0_1_line_48 |  | 44 | 47 | 0.014104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_538-11_0_1_line_49 |  | 45 | 48 | 0.011156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_538-11_0_1_line_50 |  | 46 | 49 | 0.038363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_538-11_0_1_line_51 |  | 49 | 63 | 0.06989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_538-11_0_1_line_52 |  | 50 | 51 | 0.016209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_538-11_0_1_line_53 |  | 52 | 53 | 0.066051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_538-11_0_1_line_54 |  | 52 | 54 | 0.034799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_538-11_0_1_line_55 |  | 54 | 55 | 0.013519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_538-11_0_1_line_56 |  | 56 | 57 | 0.027672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_538-11_0_1_line_57 |  | 57 | 58 | 0.091304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_538-11_0_1_line_58 |  | 58 | 59 | 0.12163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_538-11_0_1_line_59 |  | 58 | 60 | 0.084698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_538-11_0_1_line_60 |  | 59 | 61 | 0.0032999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_538-11_0_1_line_61 |  | 60 | 65 | 0.16151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_538-11_0_1_line_62 |  | 60 | 62 | 0.2074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_538-11_0_1_line_63 |  | 61 | 66 | 0.022878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_538-11_0_1_line_64 |  | 62 | 63 | 0.056616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_538-11_0_1_line_65 |  | 62 | 64 | 0.029677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_538-11_0_1_line_66 |  | 64 | 67 | 0.026761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_538-11_0_1_line_67 |  | 66 | 72 | 0.0026424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_538-11_0_1_line_68 |  | 68 | 69 | 0.0026896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_538-11_0_1_line_69 |  | 68 | 70 | 0.021322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_538-11_0_1_line_70 |  | 69 | 71 | 0.018946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_538-11_0_1_line_71 |  | 70 | 72 | 0.014601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_538-11_0_1_line_72 |  | 71 | 73 | 0.024207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_538-11_0_1_line_73 |  | 72 | 74 | 0.010228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_538-11_0_1_line_74 |  | 73 | 75 | 0.019095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_538-11_0_1_line_75 |  | 74 | 76 | 0.026547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_538-11_0_1_line_76 |  | 74 | 77 | 0.012182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_538-11_0_1_line_77 |  | 76 | 81 | 0.0051055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_538-11_0_1_line_78 |  | 77 | 78 | 0.047186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_538-11_0_1_line_79 |  | 78 | 79 | 0.025142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_538-11_0_1_line_80 |  | 78 | 80 | 0.023194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_538-11_0_1_trafo_44 | 0.63 MVA 20/0.4 kV | 82 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2604530.3218 | 1213619.8161 | 2604536.438 | 1213613.8814
1 | 2604559.0156 | 1213591.9739 | 2604536.438 | 1213613.8814
2 | 2604559.0156 | 1213591.9739 | 2604571.5418 | 1213603.0193
3 | 2604505.207 | 1213658.1041 | 2604541.7003 | 1213650.0602
4 | 2604505.207 | 1213658.1041 | 2604498.6604 | 1213667.445
5 | 2604541.7003 | 1213650.0602 | 2604563.5232 | 1213676.1752
6 | 2604541.7003 | 1213650.0602 | 2604548.4915 | 1213648.5755 | 2604553.6092 | 1213644.3878
7 | 2604498.6604 | 1213667.445 | 2604486.1379 | 1213685.3123
8 | 2604587.2435 | 1213616.8648 | 2604571.5418 | 1213603.0193
9 | 2604587.2435 | 1213616.8648 | 2604553.6092 | 1213644.3878
10 | 2604467.328 | 1213712.1508 | 2604486.1379 | 1213685.3123
11 | 2604587.2435 | 1213616.8648 | 2604596.9618 | 1213631.4413
12 | 2604587.2435 | 1213616.8648 | 2604597.8852 | 1213605.0843
13 | 2604584.5234 | 1213567.6935 | 2604593.1671 | 1213558.3578
14 | 2604606.5073 | 1213543.9497 | 2604593.1671 | 1213558.3578
15 | 2604416.5458 | 1213755.4934 | 2604443.3411 | 1213734.8347 | 2604467.328 | 1213712.1508
16 | 2604467.328 | 1213712.1508 | 2604499.9641 | 1213730.8971
17 | 2604606.5073 | 1213543.9497 | 2604600.7398 | 1213526.5445
18 | 2604606.5073 | 1213543.9497 | 2604612.2209 | 1213559.1744
19 | 2604592.2022 | 1213498.0019 | 2604595.777 | 1213511.5678 | 2604600.7398 | 1213526.5445
20 | 2604612.2209 | 1213559.1744 | 2604617.1116 | 1213572.2069 | 2604615.6081 | 1213581.7 | 2604611.2559 | 1213589.1713
21 | 2604592.2022 | 1213498.0019 | 2604574.6096 | 1213500.6194
22 | 2604592.2022 | 1213498.0019 | 2604593.4798 | 1213486.0073
23 | 2604609.4327 | 1213592.3012 | 2604611.2559 | 1213589.1713
24 | 2604610.9667 | 1213652.4472 | 2604596.9618 | 1213631.4413
25 | 2604597.8852 | 1213605.0843 | 2604609.4327 | 1213592.3012 | 2604609.4327 | 1213592.3012
26 | 2604610.9667 | 1213652.4472 | 2604597.4916 | 1213674.049
27 | 2604610.9667 | 1213652.4472 | 2604612.1775 | 1213654.2631
28 | 2604612.1775 | 1213654.2631 | 2604614.9808 | 1213658.4674
29 | 2604610.0156 | 1213445.2637 | 2604593.9082 | 1213482.0054 | 2604593.4798 | 1213486.0073
30 | 2604593.4798 | 1213486.0073 | 2604610.921 | 1213489.0018
31 | 2604607.7798 | 1213767.9651 | 2604565.4456 | 1213743.7319
32 | 2604607.7798 | 1213767.9651 | 2604647.6329 | 1213706.1609
33 | 2604416.5458 | 1213755.4934 | 2604413.5669 | 1213757.7925 | 2604405.6558 | 1213764.1347
34 | 2604416.5458 | 1213755.4934 | 2604405.8862 | 1213750.1604 | 2604397.3719 | 1213740.0819 | 2604390.0911 | 1213725.5351 | 2604385.8343 | 1213716.0613
35 | 2604647.6329 | 1213706.1609 | 2604641.7829 | 1213698.6633 | 2604626.816 | 1213676.2171
36 | 2604647.6329 | 1213706.1609 | 2604775.7549 | 1213754.3877
37 | 2604405.6558 | 1213764.1347 | 2604392.1887 | 1213755.0865
38 | 2604405.6558 | 1213764.1347 | 2604388.1238 | 1213778.1743
39 | 2604618.8316 | 1213664.2425 | 2604626.816 | 1213676.2171
40 | 2604775.7549 | 1213754.3877 | 2604829.6231 | 1213775.2378
41 | 2604388.1238 | 1213778.1743 | 2604324.5795 | 1213743.3726
42 | 2604618.8316 | 1213664.2425 | 2604614.9808 | 1213658.4674
43 | 2604610.921 | 1213489.0018 | 2604627.391 | 1213491.8296
44 | 2604627.391 | 1213491.8296 | 2604641.4435 | 1213494.2424
45 | 2604641.4435 | 1213494.2424 | 2604657.8325 | 1213497.0562
46 | 2604610.0156 | 1213445.2637 | 2604628.4136 | 1213450.4372
47 | 2604610.0156 | 1213445.2637 | 2604619.4928 | 1213428.9069
48 | 2604657.8325 | 1213497.0562 | 2604671.7326 | 1213499.4428
49 | 2604639.1531 | 1213453.4572 | 2604628.4136 | 1213450.4372
50 | 2604640.4982 | 1213396.8377 | 2604625.5841 | 1213418.3939 | 2604619.4928 | 1213428.9069
51 | 2604680.8413 | 1213339.7701 | 2604658.3799 | 1213370.9925 | 2604640.4982 | 1213396.8377
52 | 2604310.3828 | 1213735.5515 | 2604318.2845 | 1213739.9249 | 2604324.5795 | 1213743.3726
53 | 2604891.2206 | 1213799.0795 | 2604829.6231 | 1213775.2378
54 | 2604891.2206 | 1213799.0795 | 2604923.6734 | 1213811.6406
55 | 2604936.2814 | 1213816.5206 | 2604923.6734 | 1213811.6406
56 | 2604897.6405 | 1213515.5658 | 2604885.3432 | 1213540.3553
57 | 2604944.0248 | 1213437.045 | 2604909.9687 | 1213490.714 | 2604897.6405 | 1213515.5658
58 | 2604944.0248 | 1213437.045 | 2604990.7826 | 1213473.7485 | 2605024.074 | 1213500.302 | 2605039.3158 | 1213512.6338
59 | 2604924.9216 | 1213381.8319 | 2604902.5111 | 1213405.1934 | 2604944.0248 | 1213437.045
60 | 2605041.8812 | 1213514.7093 | 2605039.3158 | 1213512.6338
61 | 2605051.7743 | 1213482.2372 | 2605017.7309 | 1213455.6717 | 2604960.5818 | 1213410.6772 | 2604924.9216 | 1213381.8319
62 | 2604734.1401 | 1213358.4442 | 2604797.5034 | 1213376.2708 | 2604897.4475 | 1213401.9542 | 2604902.5111 | 1213405.1934 | 2604924.9216 | 1213381.8319
63 | 2605059.6673 | 1213529.0996 | 2605041.8812 | 1213514.7093
64 | 2604734.1401 | 1213358.4442 | 2604709.9869 | 1213347.875 | 2604680.8413 | 1213339.7701
65 | 2604734.1401 | 1213358.4442 | 2604719.3925 | 1213384.198
66 | 2604719.3925 | 1213384.198 | 2604709.7556 | 1213401.0268 | 2604707.5701 | 1213408.0632
67 | 2605061.7216 | 1213530.7616 | 2605059.6673 | 1213529.0996
68 | 2605074.7503 | 1213497.2844 | 2605075.7258 | 1213494.778
69 | 2605074.7503 | 1213497.2844 | 2605067.0172 | 1213517.1545
70 | 2605082.5971 | 1213477.1223 | 2605075.7258 | 1213494.778
71 | 2605061.7216 | 1213530.7616 | 2605067.0172 | 1213517.1545
72 | 2605091.2857 | 1213454.5289 | 2605085.303 | 1213470.1697 | 2605082.5971 | 1213477.1223
73 | 2605061.7216 | 1213530.7616 | 2605069.7673 | 1213537.1052
74 | 2605098.1077 | 1213436.6939 | 2605091.2857 | 1213454.5289
75 | 2605069.7673 | 1213537.1052 | 2605052.7931 | 1213557.516
76 | 2605069.7673 | 1213537.1052 | 2605079.3346 | 1213544.6456
77 | 2605052.7931 | 1213557.516 | 2605049.5285 | 1213561.4415
78 | 2605116.3943 | 1213573.854 | 2605079.3346 | 1213544.6456
79 | 2605116.3943 | 1213573.854 | 2605136.3735 | 1213589.1164
80 | 2605116.3943 | 1213573.854 | 2605111.3925 | 1213578.7414 | 2605098.1056 | 1213588.0108

## bus_geodata
| x | y | coords
0 | 2604530.3218 | 1213619.8161
1 | 2604536.438 | 1213613.8814
2 | 2604559.0156 | 1213591.9739
3 | 2604505.207 | 1213658.1041
4 | 2604541.7003 | 1213650.0602
5 | 2604498.6604 | 1213667.445
6 | 2604571.5418 | 1213603.0193
7 | 2604563.5232 | 1213676.1752
8 | 2604553.6092 | 1213644.3878
9 | 2604486.1379 | 1213685.3123
10 | 2604587.2435 | 1213616.8648
11 | 2604584.5234 | 1213567.6935
12 | 2604593.1671 | 1213558.3578
13 | 2604467.328 | 1213712.1508
14 | 2604606.5073 | 1213543.9497
15 | 2604600.7398 | 1213526.5445
16 | 2604612.2209 | 1213559.1744
17 | 2604592.2022 | 1213498.0019
18 | 2604611.2559 | 1213589.1713
19 | 2604596.9618 | 1213631.4413
20 | 2604597.8852 | 1213605.0843
21 | 2604610.9667 | 1213652.4472
22 | 2604609.4327 | 1213592.3012
23 | 2604597.4916 | 1213674.049
24 | 2604612.1775 | 1213654.2631
25 | 2604574.6096 | 1213500.6194
26 | 2604593.4798 | 1213486.0073
27 | 2604499.9641 | 1213730.8971
28 | 2604565.4456 | 1213743.7319
29 | 2604607.7798 | 1213767.9651
30 | 2604416.5458 | 1213755.4934
31 | 2604647.6329 | 1213706.1609
32 | 2604405.6558 | 1213764.1347
33 | 2604385.8343 | 1213716.0613
34 | 2604626.816 | 1213676.2171
35 | 2604775.7549 | 1213754.3877
36 | 2604392.1887 | 1213755.0865
37 | 2604388.1238 | 1213778.1743
38 | 2604614.9808 | 1213658.4674
39 | 2604618.8316 | 1213664.2425
40 | 2604610.921 | 1213489.0018
41 | 2604627.391 | 1213491.8296
42 | 2604641.4435 | 1213494.2424
43 | 2604610.0156 | 1213445.2637
44 | 2604657.8325 | 1213497.0562
45 | 2604628.4136 | 1213450.4372
46 | 2604619.4928 | 1213428.9069
47 | 2604671.7326 | 1213499.4428
48 | 2604639.1531 | 1213453.4572
49 | 2604640.4982 | 1213396.8377
50 | 2604310.3828 | 1213735.5515
51 | 2604324.5795 | 1213743.3726
52 | 2604891.2206 | 1213799.0795
53 | 2604829.6231 | 1213775.2378
54 | 2604923.6734 | 1213811.6406
55 | 2604936.2814 | 1213816.5206
56 | 2604885.3432 | 1213540.3553
57 | 2604897.6405 | 1213515.5658
58 | 2604944.0248 | 1213437.045
59 | 2605039.3158 | 1213512.6338
60 | 2604924.9216 | 1213381.8319
61 | 2605041.8812 | 1213514.7093
62 | 2604734.1401 | 1213358.4442
63 | 2604680.8413 | 1213339.7701
64 | 2604719.3925 | 1213384.198
65 | 2605051.7743 | 1213482.2372
66 | 2605059.6673 | 1213529.0996
67 | 2604707.5701 | 1213408.0632
68 | 2605074.7503 | 1213497.2844
69 | 2605075.7258 | 1213494.778
70 | 2605067.0172 | 1213517.1545
71 | 2605082.5971 | 1213477.1223
72 | 2605061.7216 | 1213530.7616
73 | 2605091.2857 | 1213454.5289
74 | 2605069.7673 | 1213537.1052
75 | 2605098.1077 | 1213436.6939
76 | 2605052.7931 | 1213557.516
77 | 2605079.3346 | 1213544.6456
78 | 2605116.3943 | 1213573.854
79 | 2605136.3735 | 1213589.1164
80 | 2605098.1056 | 1213588.0108
81 | 2605049.5285 | 1213561.4415
82 | 2604673.8057 | 1213499.7987

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1