## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_538-6_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_538-6_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_538-6_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_538-6_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_538-6_0_6_node_56 | 0.4 | n |  | TRUE
5 | bus_LV_538-6_0_6_node_57 | 0.4 | n |  | TRUE
6 | bus_LV_538-6_0_6_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_538-6_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_538-6_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_538-6_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_538-6_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_538-6_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_538-6_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_538-6_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_538-6_0_6_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_538-6_0_6_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_538-6_0_6_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_538-6_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_538-6_0_6_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_538-6_0_6_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_538-6_0_6_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_538-6_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_538-6_0_6_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_538-6_0_6_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_538-6_0_6_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_538-6_0_6_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_538-6_0_6_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_538-6_0_6_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_538-6_0_6_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_538-6_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_538-6_0_6_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_538-6_0_6_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_538-6_0_6_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_538-6_0_6_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_538-6_0_6_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_538-6_0_6_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_538-6_0_6_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_538-6_0_6_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_538-6_0_6_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_538-6_0_6_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_538-6_0_6_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_538-6_0_6_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_538-6_0_6_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_538-6_0_6_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_538-6_0_6_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_538-6_0_6_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_538-6_0_6_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_538-6_0_6_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_538-6_0_6_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_538-6_0_6_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_538-6_0_6_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_538-6_0_6_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_538-6_0_6_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_538-6_0_6_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_538-6_0_6_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_538-6_0_6_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_538-6_0_6_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_538-6_0_6_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_538-6_0_6_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_538-6_0_6_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_538-6_0_6_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_538-6_0_6_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_538-6_0_6_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_538-6_0_6_node_65 | 0.4 | n |  | TRUE
64 | bus_MV_387_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_538-6_0_6_load_0 | 0 | 0.01844 | 0.0046215 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_538-6_0_6_load_4 | 3 | 0.040561 | 0.010165 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_538-6_0_6_load_57 | 5 | 0.012969 | 0.0032504 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_538-6_0_6_load_32 | 6 | 0.011543 | 0.002893 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_538-6_0_6_load_5 | 7 | 0.0038322 | 0.00096044 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_538-6_0_6_load_6 | 8 | 0.0016373 | 0.00041034 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_538-6_0_6_load_7 | 9 | 0.0011501 | 0.00028824 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_538-6_0_6_load_11 | 13 | 0.0005775 | 0.00014473 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_538-6_0_6_load_12 | 14 | 0.010927 | 0.0027385 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_538-6_0_6_load_29 | 15 | 0.097967 | 0.024553 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_538-6_0_6_load_41 | 16 | 0.0016702 | 0.00041859 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_538-6_0_6_load_22 | 20 | 0.012572 | 0.0031508 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_538-6_0_6_load_28 | 22 | 0.014211 | 0.0035617 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_538-6_0_6_load_42 | 23 | 0.0029256 | 0.00073321 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_538-6_0_6_load_37 | 24 | 0.0030471 | 0.00076367 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_538-6_0_6_load_38 | 25 | 0.0031448 | 0.00078816 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_538-6_0_6_load_34 | 26 | 0.0026628 | 0.00066737 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_538-6_0_6_load_14 | 27 | 0.014617 | 0.0036634 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_538-6_0_6_load_17 | 28 | 0.008717 | 0.0021847 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_538-6_0_6_load_21 | 30 | 0.015552 | 0.0038976 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_538-6_0_6_load_23 | 31 | 0.0078089 | 0.0019571 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_538-6_0_6_load_24 | 32 | 0.0064334 | 0.0016124 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_538-6_0_6_load_26 | 34 | 0.02146 | 0.0053785 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_538-6_0_6_load_49 | 38 | 0.033373 | 0.0083642 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_538-6_0_6_load_31 | 39 | 0.019627 | 0.0049191 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_538-6_0_6_load_52 | 40 | 0.0094927 | 0.0023791 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_538-6_0_6_load_40 | 41 | 0.0025929 | 0.00064984 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_538-6_0_6_load_35 | 42 | 0.0026608 | 0.00066686 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_538-6_0_6_load_36 | 43 | 0.0025923 | 0.00064969 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_538-6_0_6_load_39 | 44 | 0.0026608 | 0.00066686 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_538-6_0_6_load_62 | 45 | 0.0026608 | 0.00066686 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_538-6_0_6_load_60 | 46 | 0.0027384 | 0.00068631 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_538-6_0_6_load_44 | 48 | 0.0012459 | 0.00031225 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_538-6_0_6_load_46 | 50 | 0.0021645 | 0.00054248 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_538-6_0_6_load_47 | 51 | 0.00021134 | 5.2966e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_538-6_0_6_load_48 | 52 | 0.022622 | 0.0056695 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_538-6_0_6_load_53 | 53 | 0.00039619 | 9.9295e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_538-6_0_6_load_58 | 54 | 0.014625 | 0.0036655 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_538-6_0_6_load_63 | 55 | 0.018919 | 0.0047417 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_538-6_0_6_load_54 | 56 | 0.0075195 | 0.0018846 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_538-6_0_6_load_64 | 57 | 0.028685 | 0.0071891 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_538-6_0_6_load_55 | 58 | 0.0017413 | 0.00043641 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_538-6_0_6_load_66 | 59 | 0.031245 | 0.0078308 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_538-6_0_6_load_67 | 60 | 0.0091965 | 0.0023049 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_538-6_0_6_load_59 | 61 | 0.0017191 | 0.00043084 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_538-6_0_6_load_61 | 62 | 0.0027367 | 0.00068588 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_538-6_0_6_load_65 | 63 | 0.010877 | 0.002726 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_538-6_0_6_line_0 |  | 0 | 1 | 0.010474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_538-6_0_6_line_1 |  | 1 | 2 | 0.010684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_538-6_0_6_line_2 |  | 2 | 3 | 0.049202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_538-6_0_6_line_3 |  | 3 | 4 | 0.034125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_538-6_0_6_line_4 |  | 4 | 5 | 0.011815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_538-6_0_6_line_5 |  | 4 | 6 | 0.0079244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_538-6_0_6_line_6 |  | 5 | 59 | 0.0021489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_538-6_0_6_line_7 |  | 6 | 39 | 0.007186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_538-6_0_6_line_8 |  | 7 | 8 | 0.006621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_538-6_0_6_line_9 |  | 7 | 9 | 0.014024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_538-6_0_6_line_10 |  | 8 | 10 | 0.025703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_538-6_0_6_line_11 |  | 9 | 11 | 0.0038038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_538-6_0_6_line_12 |  | 10 | 12 | 0.008327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_538-6_0_6_line_13 |  | 10 | 13 | 0.020438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_538-6_0_6_line_14 |  | 11 | 14 | 0.023103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_538-6_0_6_line_15 |  | 12 | 15 | 0.036813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_538-6_0_6_line_16 |  | 13 | 16 | 0.019031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_538-6_0_6_line_17 |  | 14 | 17 | 0.020084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_538-6_0_6_line_18 |  | 15 | 22 | 0.016755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_538-6_0_6_line_19 |  | 16 | 23 | 0.0211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_538-6_0_6_line_20 |  | 17 | 18 | 0.04606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_538-6_0_6_line_21 |  | 18 | 24 | 0.017199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_538-6_0_6_line_22 |  | 18 | 25 | 0.015493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_538-6_0_6_line_23 |  | 18 | 26 | 0.017226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_538-6_0_6_line_24 |  | 19 | 20 | 0.016226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_538-6_0_6_line_25 |  | 19 | 21 | 0.052666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_538-6_0_6_line_26 |  | 20 | 31 | 0.0032275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_538-6_0_6_line_27 |  | 21 | 28 | 0.037072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_538-6_0_6_line_28 |  | 21 | 29 | 0.021868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_538-6_0_6_line_29 |  | 21 | 27 | 0.010476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_538-6_0_6_line_30 |  | 22 | 36 | 0.017122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_538-6_0_6_line_31 |  | 23 | 47 | 0.046976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_538-6_0_6_line_32 |  | 24 | 41 | 0.0013588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_538-6_0_6_line_33 |  | 26 | 42 | 0.0094245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_538-6_0_6_line_34 |  | 29 | 30 | 0.02706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_538-6_0_6_line_35 |  | 31 | 32 | 0.063191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_538-6_0_6_line_36 |  | 32 | 33 | 0.020207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_538-6_0_6_line_37 |  | 33 | 34 | 0.032469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_538-6_0_6_line_38 |  | 33 | 35 | 0.047064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_538-6_0_6_line_39 |  | 34 | 36 | 0.04752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_538-6_0_6_line_40 |  | 35 | 37 | 0.014814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_538-6_0_6_line_41 |  | 35 | 38 | 0.024589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_538-6_0_6_line_42 |  | 36 | 39 | 0.011278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_538-6_0_6_line_43 |  | 37 | 40 | 0.047865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_538-6_0_6_line_44 |  | 42 | 43 | 0.0021923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_538-6_0_6_line_45 |  | 43 | 44 | 0.021851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_538-6_0_6_line_46 |  | 44 | 45 | 0.0087562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_538-6_0_6_line_47 |  | 45 | 46 | 0.024936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_538-6_0_6_line_48 |  | 46 | 61 | 0.0064675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_538-6_0_6_line_49 |  | 47 | 48 | 0.045002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_538-6_0_6_line_50 |  | 47 | 49 | 0.007817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_538-6_0_6_line_51 |  | 48 | 50 | 0.0028081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_538-6_0_6_line_52 |  | 49 | 51 | 0.055926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_538-6_0_6_line_53 |  | 49 | 52 | 0.036405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_538-6_0_6_line_54 |  | 50 | 53 | 0.018222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_538-6_0_6_line_55 |  | 51 | 54 | 0.033083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_538-6_0_6_line_56 |  | 52 | 55 | 0.0049463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_538-6_0_6_line_57 |  | 53 | 56 | 0.020074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_538-6_0_6_line_58 |  | 55 | 57 | 0.0069435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_538-6_0_6_line_59 |  | 56 | 58 | 0.0053324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_538-6_0_6_line_60 |  | 57 | 63 | 0.0093298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_538-6_0_6_line_61 |  | 59 | 60 | 0.0073764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_538-6_0_6_line_62 |  | 61 | 62 | 0.00086299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_538-6_0_6_trafo_29 | 0.63 MVA 20/0.4 kV | 64 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2606692.8616 | 1214875.1506 | 2606682.605 | 1214873.0269
1 | 2606692.8616 | 1214875.1506 | 2606703.3536 | 1214877.319
2 | 2606703.3536 | 1214877.319 | 2606735.4824 | 1214883.9698 | 2606732.3278 | 1214900.0551
3 | 2606725.7604 | 1214933.5424 | 2606732.3278 | 1214900.0551
4 | 2606725.7604 | 1214933.5424 | 2606733.1355 | 1214931.9497 | 2606736.9967 | 1214930.1274
5 | 2606725.7604 | 1214933.5424 | 2606724.9355 | 1214937.7549 | 2606723.2978 | 1214940.9966
6 | 2606736.9967 | 1214930.1274 | 2606738.94 | 1214929.2102 | 2606738.94 | 1214929.2102
7 | 2606720.0573 | 1214947.4105 | 2606723.2978 | 1214940.9966
8 | 2606694.3892 | 1215064.4633 | 2606695.5834 | 1215057.9508
9 | 2606694.3892 | 1215064.4633 | 2606691.8598 | 1215078.2571
10 | 2606700.2192 | 1215032.6697 | 2606695.5834 | 1215057.9508
11 | 2606691.1737 | 1215081.9986 | 2606691.8598 | 1215078.2571
12 | 2606700.2192 | 1215032.6697 | 2606701.6483 | 1215024.4667
13 | 2606700.2192 | 1215032.6697 | 2606704.6149 | 1215033.4529 | 2606720.3391 | 1215036.2594
14 | 2606691.1737 | 1215081.9986 | 2606681.8203 | 1215080.5207 | 2606679.274 | 1215093.9147
15 | 2606701.6483 | 1215024.4667 | 2606702.9236 | 1215017.9978 | 2606708.4587 | 1214988.2899
16 | 2606720.3391 | 1215036.2594 | 2606730.063 | 1215037.9949 | 2606739.1205 | 1215039.3154
17 | 2606686.7732 | 1215106.0295 | 2606677.3216 | 1215104.1846 | 2606679.274 | 1215093.9147
18 | 2606708.4587 | 1214988.2899 | 2606710.876 | 1214975.316 | 2606711.3773 | 1214971.7933
19 | 2606760.1641 | 1215040.401 | 2606755.0729 | 1215040.5021 | 2606742.666 | 1215039.8323 | 2606739.1205 | 1215039.3154
20 | 2606686.7732 | 1215106.0295 | 2606683.2819 | 1215125.0474 | 2606681.9296 | 1215132.5057 | 2606700.9025 | 1215135.0616
21 | 2606700.9025 | 1215135.0616 | 2606698.2801 | 1215152.0599
22 | 2606700.9025 | 1215135.0616 | 2606703.2628 | 1215119.7497
23 | 2606700.9025 | 1215135.0616 | 2606708.6224 | 1215130.4453 | 2606716.8535 | 1215130.5212 | 2606716.8535 | 1215130.5212
24 | 2606627.1801 | 1215016.9023 | 2606629.9136 | 1215000.9078
25 | 2606602.3925 | 1215053.8625 | 2606605.609 | 1215049.7304 | 2606608.6691 | 1215035.9816 | 2606614.9879 | 1215034.9657 | 2606618.3106 | 1215017.2038 | 2606627.1801 | 1215016.9023
26 | 2606629.9136 | 1215000.9078 | 2606630.4573 | 1214997.7264
27 | 2606602.3925 | 1215053.8625 | 2606614.5353 | 1215046.0604 | 2606636.7424 | 1215050.4612
28 | 2606602.3925 | 1215053.8625 | 2606598.4507 | 1215075.3703
29 | 2606602.3925 | 1215053.8625 | 2606592.1049 | 1215051.8845
30 | 2606711.5519 | 1214954.8163 | 2606712.1637 | 1214957.6741 | 2606712.4373 | 1214964.3449 | 2606711.3773 | 1214971.7933
31 | 2606806.1937 | 1215032.1661 | 2606798.5596 | 1215034.5477 | 2606788.9282 | 1215037.1049 | 2606781.971 | 1215038.5868 | 2606766.7291 | 1215040.2706 | 2606760.1641 | 1215040.401
32 | 2606698.073 | 1215153.4028 | 2606698.2801 | 1215152.0599
33 | 2606716.8535 | 1215130.5212 | 2606726.0303 | 1215132.6673
34 | 2606598.4507 | 1215075.3703 | 2606621.2117 | 1215078.9418 | 2606624.1246 | 1215081.7132
35 | 2606641.1023 | 1214935.4382 | 2606630.4573 | 1214997.7264
36 | 2606644.5064 | 1214915.5198 | 2606641.1023 | 1214935.4382
37 | 2606644.5064 | 1214915.5198 | 2606651.3377 | 1214918.1288 | 2606668.2411 | 1214924.8846 | 2606674.6059 | 1214927.6831
38 | 2606600.4514 | 1214898.962 | 2606609.5448 | 1214902.3183 | 2606619.7313 | 1214906.0872 | 2606633.8343 | 1214911.4279 | 2606644.5064 | 1214915.5198
39 | 2606711.5519 | 1214954.8163 | 2606710.6973 | 1214951.6469 | 2606708.7194 | 1214948.1093 | 2606705.3447 | 1214944.0811 | 2606700.8758 | 1214940.7743 | 2606693.674 | 1214936.7306 | 2606681.2957 | 1214930.6246 | 2606674.6059 | 1214927.6831
40 | 2606589.9686 | 1214909.223 | 2606594.9536 | 1214905.8599 | 2606600.4514 | 1214898.962
41 | 2606600.4514 | 1214898.962 | 2606583.6158 | 1214892.5622 | 2606577.5526 | 1214890.0115
42 | 2606711.5519 | 1214954.8163 | 2606720.0573 | 1214947.4105 | 2606720.0573 | 1214947.4105
43 | 2606589.9686 | 1214909.223 | 2606612.4847 | 1214921.9882 | 2606608.3191 | 1214939.7381 | 2606607.5267 | 1214943.4028
44 | 2606726.0303 | 1215132.6673 | 2606728.165 | 1215133.1665
45 | 2606749.8707 | 1215134.2623 | 2606733.524 | 1215134.4198 | 2606728.165 | 1215133.1665
46 | 2606758.5721 | 1215134.7059 | 2606756.2586 | 1215134.2007 | 2606749.8707 | 1215134.2623
47 | 2606770.7897 | 1215149.7921 | 2606771.7112 | 1215140.7662 | 2606770.485 | 1215137.3073 | 2606758.5721 | 1215134.7059
48 | 2606770.1328 | 1215156.2261 | 2606770.7897 | 1215149.7921
49 | 2606806.1937 | 1215032.1661 | 2606808.3654 | 1215045.6317 | 2606807.7351 | 1215059.0274 | 2606803.4493 | 1215076.4603
50 | 2606813.5245 | 1215029.395 | 2606806.1937 | 1215032.1661
51 | 2606802.7789 | 1215079.1872 | 2606803.4493 | 1215076.4603
52 | 2606813.5245 | 1215029.395 | 2606813.498 | 1215032.6969 | 2606818.2486 | 1215041.8852 | 2606846.9128 | 1215072.9661
53 | 2606813.5245 | 1215029.395 | 2606813.551 | 1215026.1043 | 2606812.05 | 1215017.2198 | 2606809.5467 | 1215001.5082 | 2606809.6395 | 1214993.3148
54 | 2606802.7789 | 1215079.1872 | 2606798.4284 | 1215096.8827 | 2606798.4284 | 1215096.8827
55 | 2606869.3413 | 1215097.2855 | 2606846.9128 | 1215072.9661
56 | 2606809.6395 | 1214993.3148 | 2606810.2741 | 1214988.4094
57 | 2606797.1019 | 1215116.9126 | 2606798.4284 | 1215096.8827
58 | 2606810.2741 | 1214988.4094 | 2606811.1648 | 1214981.5233
59 | 2606796.7495 | 1215122.2333 | 2606797.1019 | 1215116.9126
60 | 2606813.8172 | 1214972.608 | 2606811.3938 | 1214979.7536 | 2606811.1648 | 1214981.5233
61 | 2606738.94 | 1214929.2102 | 2606741.6941 | 1214924.544 | 2606742.41 | 1214922.7216
62 | 2606770.0451 | 1215157.0846 | 2606770.1328 | 1215156.2261

## bus_geodata
| x | y | coords
0 | 2606682.605 | 1214873.0269
1 | 2606692.8616 | 1214875.1506
2 | 2606703.3536 | 1214877.319
3 | 2606732.3278 | 1214900.0551
4 | 2606725.7604 | 1214933.5424
5 | 2606736.9967 | 1214930.1274
6 | 2606723.2978 | 1214940.9966
7 | 2606694.3892 | 1215064.4633
8 | 2606695.5834 | 1215057.9508
9 | 2606691.8598 | 1215078.2571
10 | 2606700.2192 | 1215032.6697
11 | 2606691.1737 | 1215081.9986
12 | 2606701.6483 | 1215024.4667
13 | 2606720.339 | 1215036.2594
14 | 2606679.274 | 1215093.9147
15 | 2606708.4587 | 1214988.2899
16 | 2606739.1205 | 1215039.3154
17 | 2606686.7732 | 1215106.0295
18 | 2606700.9025 | 1215135.0616
19 | 2606627.1801 | 1215016.9023
20 | 2606629.9136 | 1215000.9078
21 | 2606602.3925 | 1215053.8625
22 | 2606711.3773 | 1214971.7933
23 | 2606760.1641 | 1215040.401
24 | 2606698.2801 | 1215152.0599
25 | 2606703.2628 | 1215119.7497
26 | 2606716.8535 | 1215130.5212
27 | 2606592.1049 | 1215051.8845
28 | 2606636.7424 | 1215050.4612
29 | 2606598.4507 | 1215075.3703
30 | 2606624.1246 | 1215081.7132
31 | 2606630.4573 | 1214997.7264
32 | 2606641.1023 | 1214935.4382
33 | 2606644.5064 | 1214915.5198
34 | 2606674.6059 | 1214927.6831
35 | 2606600.4514 | 1214898.962
36 | 2606711.5519 | 1214954.8163
37 | 2606589.9686 | 1214909.223
38 | 2606577.5526 | 1214890.0115
39 | 2606720.0573 | 1214947.4105
40 | 2606607.5267 | 1214943.4028
41 | 2606698.073 | 1215153.4028
42 | 2606726.0303 | 1215132.6673
43 | 2606728.165 | 1215133.1665
44 | 2606749.8707 | 1215134.2623
45 | 2606758.5721 | 1215134.7059
46 | 2606770.7897 | 1215149.7921
47 | 2606806.1937 | 1215032.1661
48 | 2606803.4493 | 1215076.4603
49 | 2606813.5245 | 1215029.395
50 | 2606802.7789 | 1215079.1872
51 | 2606846.9128 | 1215072.9661
52 | 2606809.6395 | 1214993.3148
53 | 2606798.4284 | 1215096.8827
54 | 2606869.3413 | 1215097.2855
55 | 2606810.2741 | 1214988.4094
56 | 2606797.1019 | 1215116.9126
57 | 2606811.1648 | 1214981.5233
58 | 2606796.7495 | 1215122.2333
59 | 2606738.94 | 1214929.2102
60 | 2606742.41 | 1214922.7216
61 | 2606770.1328 | 1215156.2261
62 | 2606770.0451 | 1215157.0846
63 | 2606813.8172 | 1214972.608
64 | 2606711.5519 | 1214954.8163

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1