## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_540-14_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_540-14_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_540-14_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_540-14_0_2_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_540-14_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_540-14_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_540-14_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_540-14_0_2_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_540-14_0_2_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_540-14_0_2_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_540-14_0_2_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_540-14_0_2_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_540-14_0_2_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_540-14_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_540-14_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_540-14_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_540-14_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_540-14_0_2_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_540-14_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_540-14_0_2_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_540-14_0_2_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_540-14_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_540-14_0_2_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_540-14_0_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_540-14_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_540-14_0_2_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_540-14_0_2_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_540-14_0_2_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_540-14_0_2_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_540-14_0_2_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_540-14_0_2_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_540-14_0_2_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_540-14_0_2_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_540-14_0_2_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_540-14_0_2_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_540-14_0_2_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_540-14_0_2_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_540-14_0_2_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_540-14_0_2_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_540-14_0_2_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_540-14_0_2_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_540-14_0_2_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_540-14_0_2_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_540-14_0_2_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_540-14_0_2_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_540-14_0_2_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_540-14_0_2_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_540-14_0_2_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_540-14_0_2_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_540-14_0_2_node_79 | 0.4 | n |  | TRUE
50 | bus_LV_540-14_0_2_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_540-14_0_2_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_540-14_0_2_node_80 | 0.4 | n |  | TRUE
53 | bus_LV_540-14_0_2_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_540-14_0_2_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_540-14_0_2_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_540-14_0_2_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_540-14_0_2_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_540-14_0_2_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_540-14_0_2_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_540-14_0_2_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_540-14_0_2_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_540-14_0_2_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_540-14_0_2_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_540-14_0_2_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_540-14_0_2_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_540-14_0_2_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_540-14_0_2_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_540-14_0_2_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_540-14_0_2_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_540-14_0_2_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_540-14_0_2_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_540-14_0_2_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_540-14_0_2_node_88 | 0.4 | n |  | TRUE
74 | bus_LV_540-14_0_2_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_540-14_0_2_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_540-14_0_2_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_540-14_0_2_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_540-14_0_2_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_540-14_0_2_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_540-14_0_2_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_540-14_0_2_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_540-14_0_2_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_540-14_0_2_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_540-14_0_2_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_540-14_0_2_node_87 | 0.4 | n |  | TRUE
86 | bus_MV_387_3_node_134 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_540-14_0_2_load_0 | 0 | 0.00091757 | 0.00022996 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_540-14_0_2_load_7 | 3 | 0.0023752 | 0.00059528 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_540-14_0_2_load_4 | 4 | 0.0020159 | 0.00050524 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_540-14_0_2_load_5 | 5 | 0.0024225 | 0.00060714 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_540-14_0_2_load_6 | 6 | 0.0035775 | 0.00089661 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_540-14_0_2_load_8 | 7 | 0.001986 | 0.00049773 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_540-14_0_2_load_9 | 8 | 0.0016484 | 0.00041312 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_540-14_0_2_load_23 | 9 | 0.0027842 | 0.0006978 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_540-14_0_2_load_24 | 10 | 0.0027518 | 0.00068966 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_540-14_0_2_load_25 | 11 | 0.0019202 | 0.00048126 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_540-14_0_2_load_30 | 12 | 0.0035429 | 0.00088793 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_540-14_0_2_load_10 | 13 | 0.00084741 | 0.00021238 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_540-14_0_2_load_13 | 16 | 0.00070705 | 0.0001772 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_540-14_0_2_load_17 | 17 | 0.0013988 | 0.00035057 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_540-14_0_2_load_14 | 18 | 0.0063626 | 0.0015946 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_540-14_0_2_load_40 | 19 | 0.00048744 | 0.00012216 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_540-14_0_2_load_19 | 20 | 0.002615 | 0.00065538 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_540-14_0_2_load_15 | 21 | 0.0058792 | 0.0014735 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_540-14_0_2_load_41 | 22 | 0.003901 | 0.00097767 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_540-14_0_2_load_16 | 23 | 0.0047585 | 0.0011926 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_540-14_0_2_load_21 | 25 | 0.0020925 | 0.00052442 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_540-14_0_2_load_22 | 26 | 0.0037266 | 0.00093396 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_540-14_0_2_load_20 | 27 | 0.0011676 | 0.00029262 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_540-14_0_2_load_45 | 28 | 0.0026783 | 0.00067124 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_540-14_0_2_load_33 | 29 | 0.0033831 | 0.00084788 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_540-14_0_2_load_42 | 30 | 0.00082486 | 0.00020673 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_540-14_0_2_load_43 | 31 | 0.0065561 | 0.0016431 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_540-14_0_2_load_46 | 32 | 0.0041196 | 0.0010325 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_540-14_0_2_load_31 | 33 | 0.0011878 | 0.00029769 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_540-14_0_2_load_28 | 35 | 0.002666 | 0.00066815 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_540-14_0_2_load_29 | 36 | 0.0030105 | 0.00075451 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_540-14_0_2_load_37 | 37 | 0.0010078 | 0.00025257 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_540-14_0_2_load_35 | 38 | 0.0015961 | 0.00040003 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_540-14_0_2_load_32 | 39 | 0.00097714 | 0.0002449 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_540-14_0_2_load_36 | 41 | 0.0039949 | 0.0010012 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_540-14_0_2_load_38 | 42 | 0.0065783 | 0.0016487 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_540-14_0_2_load_39 | 43 | 0.0032265 | 0.00080863 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_540-14_0_2_load_84 | 44 | 0.0094084 | 0.002358 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_540-14_0_2_load_44 | 45 | 0.0026207 | 0.0006568 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_540-14_0_2_load_47 | 46 | 0.0031525 | 0.00079008 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_540-14_0_2_load_79 | 49 | 0.0027185 | 0.00068133 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_540-14_0_2_load_63 | 50 | 0.0050353 | 0.001262 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_540-14_0_2_load_50 | 51 | 0.0018818 | 0.00047161 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_540-14_0_2_load_80 | 52 | 0.0035778 | 0.00089668 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_540-14_0_2_load_59 | 53 | 0.0019688 | 0.00049342 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_540-14_0_2_load_49 | 55 | 0.0041443 | 0.0010387 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_540-14_0_2_load_51 | 56 | 0.0019037 | 0.00047712 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_540-14_0_2_load_53 | 57 | 0.0019784 | 0.00049583 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_540-14_0_2_load_58 | 58 | 0.0019334 | 0.00048456 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_540-14_0_2_load_64 | 59 | 0.0032746 | 0.0008207 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_540-14_0_2_load_56 | 60 | 0.003624 | 0.00090827 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_540-14_0_2_load_54 | 61 | 0.0013604 | 0.00034095 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_540-14_0_2_load_55 | 62 | 0.0062516 | 0.0015668 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_540-14_0_2_load_57 | 63 | 0.001616 | 0.000405 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_540-14_0_2_load_62 | 64 | 0.0022671 | 0.0005682 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_540-14_0_2_load_74 | 66 | 0.0019011 | 0.00047647 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_540-14_0_2_load_71 | 67 | 0.0029596 | 0.00074175 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_540-14_0_2_load_75 | 68 | 0.0024253 | 0.00060784 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_540-14_0_2_load_70 | 69 | 0.0023229 | 0.00058218 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_540-14_0_2_load_78 | 71 | 0.0038718 | 0.00097037 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_540-14_0_2_load_88 | 73 | 0.0028978 | 0.00072625 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_540-14_0_2_load_69 | 74 | 0.0020156 | 0.00050514 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_540-14_0_2_load_66 | 75 | 0.0058443 | 0.0014647 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_540-14_0_2_load_67 | 76 | 0.0024389 | 0.00061125 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_540-14_0_2_load_72 | 77 | 0.002014 | 0.00050477 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_540-14_0_2_load_73 | 78 | 0.0036345 | 0.00091089 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_540-14_0_2_load_76 | 79 | 0.0027293 | 0.00068403 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_540-14_0_2_load_81 | 80 | 0.0029625 | 0.00074248 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_540-14_0_2_load_82 | 81 | 0.002263 | 0.00056716 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_540-14_0_2_load_83 | 82 | 0.0021414 | 0.00053668 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_540-14_0_2_load_86 | 84 | 0.0036836 | 0.00092321 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_540-14_0_2_load_87 | 85 | 0.003505 | 0.00087845 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_540-14_0_2_line_0 |  | 0 | 1 | 0.017887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_540-14_0_2_line_1 |  | 1 | 2 | 0.013126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_540-14_0_2_line_2 |  | 2 | 3 | 0.030603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_540-14_0_2_line_3 |  | 2 | 4 | 0.0079964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_540-14_0_2_line_4 |  | 4 | 5 | 0.0087647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_540-14_0_2_line_5 |  | 5 | 6 | 0.040943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_540-14_0_2_line_6 |  | 6 | 7 | 0.012967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_540-14_0_2_line_7 |  | 7 | 8 | 0.013269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_540-14_0_2_line_8 |  | 8 | 13 | 0.013182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_540-14_0_2_line_9 |  | 9 | 10 | 0.039603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_540-14_0_2_line_10 |  | 9 | 11 | 0.0014096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_540-14_0_2_line_11 |  | 10 | 34 | 0.016295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_540-14_0_2_line_12 |  | 11 | 12 | 0.057881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_540-14_0_2_line_13 |  | 13 | 14 | 0.0027356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_540-14_0_2_line_14 |  | 14 | 15 | 0.001976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_540-14_0_2_line_15 |  | 14 | 16 | 0.021185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_540-14_0_2_line_16 |  | 15 | 17 | 0.038469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_540-14_0_2_line_17 |  | 15 | 18 | 0.027625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_540-14_0_2_line_18 |  | 16 | 19 | 0.018835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_540-14_0_2_line_19 |  | 17 | 20 | 0.025149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_540-14_0_2_line_20 |  | 18 | 21 | 0.031053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_540-14_0_2_line_21 |  | 19 | 22 | 0.016412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_540-14_0_2_line_22 |  | 20 | 27 | 0.010471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_540-14_0_2_line_23 |  | 21 | 23 | 0.021089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_540-14_0_2_line_24 |  | 23 | 24 | 0.0086813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_540-14_0_2_line_25 |  | 24 | 25 | 0.027472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_540-14_0_2_line_26 |  | 24 | 26 | 0.011224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_540-14_0_2_line_27 |  | 25 | 28 | 0.0061315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_540-14_0_2_line_28 |  | 26 | 29 | 0.020277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_540-14_0_2_line_29 |  | 27 | 30 | 0.018238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_540-14_0_2_line_30 |  | 28 | 32 | 0.022197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_540-14_0_2_line_31 |  | 29 | 33 | 0.03551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_540-14_0_2_line_32 |  | 30 | 31 | 0.020123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_540-14_0_2_line_33 |  | 31 | 45 | 0.025895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_540-14_0_2_line_34 |  | 32 | 48 | 0.021226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_540-14_0_2_line_35 |  | 32 | 49 | 0.020176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_540-14_0_2_line_36 |  | 33 | 39 | 0.0056672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_540-14_0_2_line_37 |  | 34 | 35 | 0.0068161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_540-14_0_2_line_38 |  | 34 | 36 | 0.031693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_540-14_0_2_line_39 |  | 35 | 37 | 0.063773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_540-14_0_2_line_40 |  | 37 | 38 | 0.03128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_540-14_0_2_line_41 |  | 38 | 40 | 0.01467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_540-14_0_2_line_42 |  | 39 | 40 | 0.0025398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_540-14_0_2_line_43 |  | 40 | 41 | 0.010495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_540-14_0_2_line_44 |  | 41 | 42 | 0.019419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_540-14_0_2_line_45 |  | 42 | 43 | 0.0013709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_540-14_0_2_line_46 |  | 43 | 44 | 0.022563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_540-14_0_2_line_47 |  | 46 | 47 | 0.021853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_540-14_0_2_line_48 |  | 47 | 53 | 0.010476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_540-14_0_2_line_49 |  | 48 | 50 | 0.017215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_540-14_0_2_line_50 |  | 48 | 51 | 0.025076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_540-14_0_2_line_51 |  | 49 | 52 | 0.015455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_540-14_0_2_line_52 |  | 50 | 59 | 0.015954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_540-14_0_2_line_53 |  | 51 | 55 | 0.0058987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_540-14_0_2_line_54 |  | 52 | 80 | 0.00080719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_540-14_0_2_line_55 |  | 53 | 54 | 0.025229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_540-14_0_2_line_56 |  | 54 | 65 | 0.052159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_540-14_0_2_line_57 |  | 54 | 64 | 0.019976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_540-14_0_2_line_58 |  | 55 | 56 | 0.00091601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_540-14_0_2_line_59 |  | 56 | 57 | 0.0027038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_540-14_0_2_line_60 |  | 57 | 58 | 0.0061662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_540-14_0_2_line_61 |  | 58 | 60 | 0.010659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_540-14_0_2_line_62 |  | 59 | 70 | 0.021102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_540-14_0_2_line_63 |  | 60 | 61 | 0.0062161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_540-14_0_2_line_64 |  | 61 | 62 | 0.010607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_540-14_0_2_line_65 |  | 62 | 63 | 0.022427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_540-14_0_2_line_66 |  | 63 | 64 | 0.022949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_540-14_0_2_line_67 |  | 65 | 66 | 0.045192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_540-14_0_2_line_68 |  | 65 | 67 | 0.017115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_540-14_0_2_line_69 |  | 66 | 68 | 0.049701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_540-14_0_2_line_70 |  | 67 | 69 | 0.0098159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_540-14_0_2_line_71 |  | 68 | 79 | 0.028498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_540-14_0_2_line_72 |  | 69 | 77 | 0.01891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_540-14_0_2_line_73 |  | 70 | 71 | 0.037033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_540-14_0_2_line_74 |  | 70 | 72 | 0.016261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_540-14_0_2_line_75 |  | 71 | 73 | 0.024657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_540-14_0_2_line_76 |  | 72 | 74 | 0.018161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_540-14_0_2_line_77 |  | 72 | 75 | 0.024932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_540-14_0_2_line_78 |  | 75 | 76 | 0.0061445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_540-14_0_2_line_79 |  | 77 | 78 | 0.019798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_540-14_0_2_line_80 |  | 80 | 81 | 0.017325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_540-14_0_2_line_81 |  | 81 | 82 | 0.015502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_540-14_0_2_line_82 |  | 82 | 83 | 0.037317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_540-14_0_2_line_83 |  | 83 | 84 | 0.015034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_540-14_0_2_line_84 |  | 84 | 85 | 0.030015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_540-14_0_2_trafo_21 | 0.63 MVA 20/0.4 kV | 86 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2606266.5056 | 1210313.543 | 2606271.8019 | 1210330.6284
1 | 2606266.5056 | 1210313.543 | 2606262.1336 | 1210301.1649
2 | 2606262.1336 | 1210301.1649 | 2606234.0105 | 1210313.4203
3 | 2606262.1336 | 1210301.1649 | 2606259.6768 | 1210293.5552
4 | 2606259.6768 | 1210293.5552 | 2606256.984 | 1210285.2144
5 | 2606244.405 | 1210246.2512 | 2606256.984 | 1210285.2144
6 | 2606244.405 | 1210246.2512 | 2606240.4211 | 1210233.9113
7 | 2606240.4211 | 1210233.9113 | 2606236.3444 | 1210221.2839
8 | 2606232.2944 | 1210208.7393 | 2606236.3444 | 1210221.2839
9 | 2606143.0485 | 1210357.1743 | 2606132.9961 | 1210318.8686
10 | 2606143.0485 | 1210357.1743 | 2606143.4063 | 1210358.5377
11 | 2606128.8598 | 1210303.1069 | 2606132.9961 | 1210318.8686
12 | 2606143.4063 | 1210358.5377 | 2606089.6522 | 1210380.0012
13 | 2606231.454 | 1210206.136 | 2606232.2944 | 1210208.7393
14 | 2606230.7187 | 1210204.3009 | 2606231.454 | 1210206.136
15 | 2606231.454 | 1210206.136 | 2606245.6532 | 1210195.6782 | 2606248.329 | 1210193.345
16 | 2606230.7187 | 1210204.3009 | 2606223.7281 | 1210166.4727 | 2606223.7281 | 1210166.4727
17 | 2606230.7187 | 1210204.3009 | 2606212.3936 | 1210183.6282
18 | 2606248.329 | 1210193.345 | 2606262.5253 | 1210180.9661
19 | 2606222.4503 | 1210141.3792 | 2606222.3035 | 1210147.8276 | 2606223.7281 | 1210166.4727
20 | 2606212.3936 | 1210183.6282 | 2606202.2912 | 1210172.2316 | 2606192.46 | 1210159.8334
21 | 2606262.5253 | 1210180.9661 | 2606274.0635 | 1210170.9051 | 2606275.0129 | 1210170.3428
22 | 2606222.4503 | 1210141.3792 | 2606222.6888 | 1210130.9114
23 | 2606192.46 | 1210159.8334 | 2606191.4834 | 1210158.6018 | 2606186.6135 | 1210149.6919 | 2606182.0871 | 1210141.4958
24 | 2606177.8901 | 1210133.8964 | 2606182.0871 | 1210141.4958
25 | 2606177.8901 | 1210133.8964 | 2606167.2846 | 1210108.5539
26 | 2606177.8901 | 1210133.8964 | 2606171.2586 | 1210138.3588 | 2606169.448 | 1210141.0352
27 | 2606167.2846 | 1210108.5539 | 2606164.9176 | 1210102.8976
28 | 2606169.448 | 1210141.0352 | 2606158.0863 | 1210157.8306
29 | 2606224.872 | 1210112.8133 | 2606222.7254 | 1210129.3066 | 2606222.6888 | 1210130.9114
30 | 2606155.9186 | 1210082.6122 | 2606160.5292 | 1210092.4112 | 2606164.9176 | 1210102.8976
31 | 2606138.1897 | 1210187.2425 | 2606158.0863 | 1210157.8306
32 | 2606224.872 | 1210112.8133 | 2606225.6593 | 1210106.7638 | 2606229.0687 | 1210093.1619
33 | 2606235.3646 | 1210068.0437 | 2606229.0687 | 1210093.1619
34 | 2606155.9186 | 1210082.6122 | 2606143.4497 | 1210065.4122
35 | 2606155.9186 | 1210082.6122 | 2606138.1538 | 1210092.1759
36 | 2606138.1897 | 1210187.2425 | 2606135.0143 | 1210191.9364
37 | 2606128.8598 | 1210303.1069 | 2606127.1253 | 1210296.5151
38 | 2606128.8598 | 1210303.1069 | 2606099.8321 | 1210315.8289
39 | 2606113.1202 | 1210234.2987 | 2606127.1253 | 1210296.5151
40 | 2606125.7919 | 1210206.4651 | 2606113.9525 | 1210225.3264 | 2606113.1202 | 1210234.2987
41 | 2606133.5912 | 1210194.0401 | 2606125.7919 | 1210206.4651
42 | 2606133.5912 | 1210194.0401 | 2606135.0143 | 1210191.9364
43 | 2606133.5912 | 1210194.0401 | 2606126.4589 | 1210190.3641 | 2606125.0342 | 1210188.3452
44 | 2606125.0342 | 1210188.3452 | 2606118.7184 | 1210179.3947 | 2606116.1693 | 1210171.3234
45 | 2606116.1693 | 1210171.3234 | 2606115.7564 | 1210170.0162
46 | 2606108.9614 | 1210148.501 | 2606115.7564 | 1210170.0162
47 | 2606254.6574 | 1209999.2565 | 2606248.4901 | 1210020.2216
48 | 2606254.6574 | 1209999.2565 | 2606248.9583 | 1209990.4667
49 | 2606143.4497 | 1210065.4122 | 2606131.4619 | 1210053.0574
50 | 2606143.4497 | 1210065.4122 | 2606161.8283 | 1210048.3518
51 | 2606138.1538 | 1210092.1759 | 2606124.5452 | 1210099.502
52 | 2606131.4619 | 1210053.0574 | 2606120.352 | 1210041.6076
53 | 2606166.1515 | 1210044.3387 | 2606161.8283 | 1210048.3518
54 | 2606123.8345 | 1210099.8846 | 2606124.5452 | 1210099.502
55 | 2606235.2327 | 1209969.2975 | 2606248.9583 | 1209990.4667
56 | 2606235.2327 | 1209969.2975 | 2606217.8189 | 1209949.6131 | 2606198.3275 | 1209932.4836
57 | 2606235.2327 | 1209969.2975 | 2606220.9809 | 1209983.2948
58 | 2606166.8228 | 1210043.7155 | 2606166.1515 | 1210044.3387
59 | 2606168.8044 | 1210041.8761 | 2606166.8228 | 1210043.7155
60 | 2606173.3237 | 1210037.681 | 2606168.8044 | 1210041.8761
61 | 2606173.3237 | 1210037.681 | 2606181.1357 | 1210030.4293
62 | 2606105.6575 | 1210026.4633 | 2606120.352 | 1210041.6076
63 | 2606185.6915 | 1210026.2003 | 2606181.1357 | 1210030.4293
64 | 2606185.6915 | 1210026.2003 | 2606185.6915 | 1210026.2003 | 2606191.1762 | 1210017.1211
65 | 2606204.6081 | 1209999.3752 | 2606197.9404 | 1210005.9238 | 2606191.1762 | 1210017.1211
66 | 2606220.9809 | 1209983.2948 | 2606204.6081 | 1209999.3752
67 | 2606198.3275 | 1209932.4836 | 2606163.7699 | 1209903.3617
68 | 2606198.3275 | 1209932.4836 | 2606186.0193 | 1209944.3762
69 | 2606163.7699 | 1209903.3617 | 2606154.1719 | 1209895.2733 | 2606147.2342 | 1209894.1879 | 2606126.0018 | 1209915.5613
70 | 2606178.9602 | 1209951.1969 | 2606186.0193 | 1209944.3762
71 | 2606126.0018 | 1209915.5613 | 2606105.9173 | 1209935.7792
72 | 2606178.9602 | 1209951.1969 | 2606165.3611 | 1209964.3369
73 | 2606105.6575 | 1210026.4633 | 2606095.5211 | 1210032.3119 | 2606073.8285 | 1210045.3897
74 | 2606105.6575 | 1210026.4633 | 2606094.5054 | 1210014.6011
75 | 2606052.7121 | 1210058.1202 | 2606073.8285 | 1210045.3897
76 | 2606094.5054 | 1210014.6011 | 2606081.0674 | 1210002.3844
77 | 2606094.5054 | 1210014.6011 | 2606111.9311 | 1209996.7696
78 | 2606111.9311 | 1209996.7696 | 2606116.2257 | 1209992.3751
79 | 2606151.1234 | 1209978.0938 | 2606165.3611 | 1209964.3369
80 | 2606123.8345 | 1210099.8846 | 2606108.5795 | 1210108.0971
81 | 2606108.5795 | 1210108.0971 | 2606094.9296 | 1210115.4456
82 | 2606062.6787 | 1210134.1352 | 2606071.9871 | 1210127.7966 | 2606094.9296 | 1210115.4456
83 | 2606062.6787 | 1210134.1352 | 2606052.5626 | 1210123.0131
84 | 2606032.3665 | 1210100.8086 | 2606052.5626 | 1210123.0131

## bus_geodata
| x | y | coords
0 | 2606271.8019 | 1210330.6284
1 | 2606266.5056 | 1210313.543
2 | 2606262.1336 | 1210301.1649
3 | 2606234.0105 | 1210313.4203
4 | 2606259.6768 | 1210293.5552
5 | 2606256.984 | 1210285.2144
6 | 2606244.405 | 1210246.2513
7 | 2606240.4211 | 1210233.9113
8 | 2606236.3444 | 1210221.2839
9 | 2606143.0485 | 1210357.1743
10 | 2606132.9961 | 1210318.8686
11 | 2606143.4063 | 1210358.5377
12 | 2606089.6522 | 1210380.0012
13 | 2606232.2944 | 1210208.7393
14 | 2606231.454 | 1210206.136
15 | 2606230.7187 | 1210204.3009
16 | 2606248.329 | 1210193.345
17 | 2606223.7281 | 1210166.4727
18 | 2606212.3936 | 1210183.6282
19 | 2606262.5253 | 1210180.9661
20 | 2606222.4503 | 1210141.3792
21 | 2606192.46 | 1210159.8334
22 | 2606275.0129 | 1210170.3428
23 | 2606182.0871 | 1210141.4958
24 | 2606177.8901 | 1210133.8964
25 | 2606167.2846 | 1210108.5539
26 | 2606169.448 | 1210141.0352
27 | 2606222.6888 | 1210130.9114
28 | 2606164.9176 | 1210102.8976
29 | 2606158.0863 | 1210157.8306
30 | 2606224.872 | 1210112.8133
31 | 2606229.0687 | 1210093.1619
32 | 2606155.9186 | 1210082.6122
33 | 2606138.1897 | 1210187.2425
34 | 2606128.8598 | 1210303.1069
35 | 2606127.1253 | 1210296.5151
36 | 2606099.8321 | 1210315.8289
37 | 2606113.1202 | 1210234.2987
38 | 2606125.7919 | 1210206.4651
39 | 2606135.0143 | 1210191.9364
40 | 2606133.5912 | 1210194.0401
41 | 2606125.0342 | 1210188.3452
42 | 2606116.1693 | 1210171.3234
43 | 2606115.7564 | 1210170.0162
44 | 2606108.9614 | 1210148.501
45 | 2606235.3646 | 1210068.0437
46 | 2606248.4901 | 1210020.2216
47 | 2606254.6574 | 1209999.2565
48 | 2606143.4497 | 1210065.4122
49 | 2606138.1538 | 1210092.1759
50 | 2606131.4619 | 1210053.0574
51 | 2606161.8283 | 1210048.3518
52 | 2606124.5452 | 1210099.502
53 | 2606248.9583 | 1209990.4667
54 | 2606235.2327 | 1209969.2975
55 | 2606166.1515 | 1210044.3387
56 | 2606166.8228 | 1210043.7155
57 | 2606168.8044 | 1210041.8761
58 | 2606173.3237 | 1210037.681
59 | 2606120.352 | 1210041.6076
60 | 2606181.1357 | 1210030.4293
61 | 2606185.6915 | 1210026.2003
62 | 2606191.1762 | 1210017.1211
63 | 2606204.6081 | 1209999.3752
64 | 2606220.9809 | 1209983.2948
65 | 2606198.3275 | 1209932.4836
66 | 2606163.7699 | 1209903.3617
67 | 2606186.0193 | 1209944.3762
68 | 2606126.0018 | 1209915.5613
69 | 2606178.9602 | 1209951.1969
70 | 2606105.6575 | 1210026.4633
71 | 2606073.8285 | 1210045.3897
72 | 2606094.5054 | 1210014.6011
73 | 2606052.7121 | 1210058.1202
74 | 2606081.0674 | 1210002.3844
75 | 2606111.9311 | 1209996.7696
76 | 2606116.2257 | 1209992.3751
77 | 2606165.3611 | 1209964.3369
78 | 2606151.1234 | 1209978.0938
79 | 2606105.9173 | 1209935.7792
80 | 2606123.8345 | 1210099.8846
81 | 2606108.5795 | 1210108.0971
82 | 2606094.9296 | 1210115.4456
83 | 2606062.6787 | 1210134.1352
84 | 2606052.5626 | 1210123.0131
85 | 2606032.3665 | 1210100.8086
86 | 2606177.8901 | 1210133.8964

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1