## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_540-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_540-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_540-4_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_540-4_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_540-4_0_2_node_52 | 0.4 | n |  | TRUE
5 | bus_LV_540-4_0_2_node_51 | 0.4 | n |  | TRUE
6 | bus_LV_540-4_0_2_node_102 | 0.4 | n |  | TRUE
7 | bus_LV_540-4_0_2_node_53 | 0.4 | n |  | TRUE
8 | bus_LV_540-4_0_2_node_54 | 0.4 | n |  | TRUE
9 | bus_LV_540-4_0_2_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_540-4_0_2_node_65 | 0.4 | n |  | TRUE
11 | bus_LV_540-4_0_2_node_171 | 0.4 | n |  | TRUE
12 | bus_LV_540-4_0_2_node_95 | 0.4 | n |  | TRUE
13 | bus_LV_540-4_0_2_node_56 | 0.4 | n |  | TRUE
14 | bus_LV_540-4_0_2_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_540-4_0_2_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_540-4_0_2_node_59 | 0.4 | n |  | TRUE
17 | bus_LV_540-4_0_2_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_540-4_0_2_node_96 | 0.4 | n |  | TRUE
19 | bus_LV_540-4_0_2_node_93 | 0.4 | n |  | TRUE
20 | bus_LV_540-4_0_2_node_61 | 0.4 | n |  | TRUE
21 | bus_LV_540-4_0_2_node_62 | 0.4 | n |  | TRUE
22 | bus_LV_540-4_0_2_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_540-4_0_2_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_540-4_0_2_node_88 | 0.4 | n |  | TRUE
25 | bus_LV_540-4_0_2_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_540-4_0_2_node_67 | 0.4 | n |  | TRUE
27 | bus_LV_540-4_0_2_node_68 | 0.4 | n |  | TRUE
28 | bus_LV_540-4_0_2_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_540-4_0_2_node_70 | 0.4 | n |  | TRUE
30 | bus_LV_540-4_0_2_node_71 | 0.4 | n |  | TRUE
31 | bus_LV_540-4_0_2_node_97 | 0.4 | n |  | TRUE
32 | bus_LV_540-4_0_2_node_98 | 0.4 | n |  | TRUE
33 | bus_LV_540-4_0_2_node_94 | 0.4 | n |  | TRUE
34 | bus_LV_540-4_0_2_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_540-4_0_2_node_73 | 0.4 | n |  | TRUE
36 | bus_LV_540-4_0_2_node_74 | 0.4 | n |  | TRUE
37 | bus_LV_540-4_0_2_node_75 | 0.4 | n |  | TRUE
38 | bus_LV_540-4_0_2_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_540-4_0_2_node_77 | 0.4 | n |  | TRUE
40 | bus_LV_540-4_0_2_node_99 | 0.4 | n |  | TRUE
41 | bus_LV_540-4_0_2_node_78 | 0.4 | n |  | TRUE
42 | bus_LV_540-4_0_2_node_79 | 0.4 | n |  | TRUE
43 | bus_LV_540-4_0_2_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_540-4_0_2_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_540-4_0_2_node_82 | 0.4 | n |  | TRUE
46 | bus_LV_540-4_0_2_node_83 | 0.4 | n |  | TRUE
47 | bus_LV_540-4_0_2_node_101 | 0.4 | n |  | TRUE
48 | bus_LV_540-4_0_2_node_100 | 0.4 | n |  | TRUE
49 | bus_LV_540-4_0_2_node_91 | 0.4 | n |  | TRUE
50 | bus_LV_540-4_0_2_node_84 | 0.4 | n |  | TRUE
51 | bus_LV_540-4_0_2_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_540-4_0_2_node_86 | 0.4 | n |  | TRUE
53 | bus_LV_540-4_0_2_node_87 | 0.4 | n |  | TRUE
54 | bus_LV_540-4_0_2_node_89 | 0.4 | n |  | TRUE
55 | bus_LV_540-4_0_2_node_90 | 0.4 | n |  | TRUE
56 | bus_LV_540-4_0_2_node_134 | 0.4 | n |  | TRUE
57 | bus_LV_540-4_0_2_node_92 | 0.4 | n |  | TRUE
58 | bus_LV_540-4_0_2_node_169 | 0.4 | n |  | TRUE
59 | bus_LV_540-4_0_2_node_125 | 0.4 | n |  | TRUE
60 | bus_LV_540-4_0_2_node_126 | 0.4 | n |  | TRUE
61 | bus_LV_540-4_0_2_node_127 | 0.4 | n |  | TRUE
62 | bus_LV_540-4_0_2_node_128 | 0.4 | n |  | TRUE
63 | bus_LV_540-4_0_2_node_129 | 0.4 | n |  | TRUE
64 | bus_LV_540-4_0_2_node_135 | 0.4 | n |  | TRUE
65 | bus_LV_540-4_0_2_node_143 | 0.4 | n |  | TRUE
66 | bus_LV_540-4_0_2_node_133 | 0.4 | n |  | TRUE
67 | bus_LV_540-4_0_2_node_130 | 0.4 | n |  | TRUE
68 | bus_LV_540-4_0_2_node_131 | 0.4 | n |  | TRUE
69 | bus_LV_540-4_0_2_node_139 | 0.4 | n |  | TRUE
70 | bus_LV_540-4_0_2_node_136 | 0.4 | n |  | TRUE
71 | bus_LV_540-4_0_2_node_137 | 0.4 | n |  | TRUE
72 | bus_LV_540-4_0_2_node_142 | 0.4 | n |  | TRUE
73 | bus_LV_540-4_0_2_node_138 | 0.4 | n |  | TRUE
74 | bus_LV_540-4_0_2_node_140 | 0.4 | n |  | TRUE
75 | bus_LV_540-4_0_2_node_141 | 0.4 | n |  | TRUE
76 | bus_LV_540-4_0_2_node_145 | 0.4 | n |  | TRUE
77 | bus_LV_540-4_0_2_node_144 | 0.4 | n |  | TRUE
78 | bus_MV_387_3_node_143 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_540-4_0_2_load_0 | 0 | 0.0014361 | 0.00035991 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_540-4_0_2_load_1 | 1 | 0.0019018 | 0.00047665 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_540-4_0_2_load_3 | 2 | 0.0064128 | 0.0016072 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_540-4_0_2_load_51 | 5 | 0.0028986 | 0.00072646 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_540-4_0_2_load_102 | 6 | 0.00063372 | 0.00015882 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_540-4_0_2_load_55 | 9 | 0.0036601 | 0.00091731 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_540-4_0_2_load_65 | 10 | 0.0020535 | 0.00051466 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_540-4_0_2_load_171 | 11 | 0.044309 | 0.011105 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_540-4_0_2_load_95 | 12 | 0.0018636 | 0.00046706 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_540-4_0_2_load_56 | 13 | 0.0024166 | 0.00060567 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_540-4_0_2_load_57 | 14 | 0.0033368 | 0.00083628 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_540-4_0_2_load_58 | 15 | 0.001056 | 0.00026465 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_540-4_0_2_load_59 | 16 | 0.0022561 | 0.00056543 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_540-4_0_2_load_60 | 17 | 0.0026456 | 0.00066305 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_540-4_0_2_load_93 | 19 | 0.0020814 | 0.00052165 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_540-4_0_2_load_61 | 20 | 0.0023855 | 0.00059785 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_540-4_0_2_load_62 | 21 | 0.0029143 | 0.00073039 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_540-4_0_2_load_63 | 22 | 0.0023878 | 0.00059845 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_540-4_0_2_load_64 | 23 | 0.0017431 | 0.00043687 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_540-4_0_2_load_88 | 24 | 0.0013974 | 0.00035021 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_540-4_0_2_load_66 | 25 | 0.00051864 | 0.00012998 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_540-4_0_2_load_67 | 26 | 0.00076704 | 0.00019224 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_540-4_0_2_load_70 | 29 | 0.00049206 | 0.00012332 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_540-4_0_2_load_71 | 30 | 0.0011305 | 0.00028334 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_540-4_0_2_load_97 | 31 | 0.00060617 | 0.00015192 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_540-4_0_2_load_98 | 32 | 0.0019873 | 0.00049806 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_540-4_0_2_load_94 | 33 | 0.0019543 | 0.0004898 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_540-4_0_2_load_72 | 34 | 0.0019924 | 0.00049935 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_540-4_0_2_load_73 | 35 | 0.0015631 | 0.00039175 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_540-4_0_2_load_75 | 37 | 0.0010996 | 0.00027558 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_540-4_0_2_load_76 | 38 | 0.00059873 | 0.00015006 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_540-4_0_2_load_77 | 39 | 0.00060813 | 0.00015241 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_540-4_0_2_load_99 | 40 | 0.0017388 | 0.00043579 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_540-4_0_2_load_78 | 41 | 0.0019581 | 0.00049074 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_540-4_0_2_load_79 | 42 | 0.0018188 | 0.00045584 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_540-4_0_2_load_81 | 43 | 0.0018314 | 0.00045898 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_540-4_0_2_load_83 | 46 | 0.0017949 | 0.00044984 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_540-4_0_2_load_100 | 48 | 0.0018502 | 0.0004637 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_540-4_0_2_load_91 | 49 | 0.0017623 | 0.00044167 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_540-4_0_2_load_84 | 50 | 0.0016924 | 0.00042415 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_540-4_0_2_load_85 | 51 | 0.001758 | 0.0004406 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_540-4_0_2_load_86 | 52 | 0.0017035 | 0.00042693 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_540-4_0_2_load_89 | 54 | 0.0026376 | 0.00066106 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_540-4_0_2_load_92 | 57 | 0.0017816 | 0.0004465 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_540-4_0_2_load_169 | 58 | 0.0072036 | 0.0018054 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_540-4_0_2_load_125 | 59 | 0.0038958 | 0.00097639 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_540-4_0_2_load_126 | 60 | 0.0023437 | 0.00058739 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_540-4_0_2_load_127 | 61 | 0.0013728 | 0.00034405 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_540-4_0_2_load_128 | 62 | 0.00070354 | 0.00017632 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_540-4_0_2_load_135 | 64 | 0.0014175 | 0.00035527 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_540-4_0_2_load_133 | 66 | 0.0008696 | 0.00021794 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_540-4_0_2_load_130 | 67 | 0.0010066 | 0.00025227 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_540-4_0_2_load_131 | 68 | 0.0014176 | 0.00035529 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_540-4_0_2_load_139 | 69 | 0.00064191 | 0.00016088 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_540-4_0_2_load_136 | 70 | 0.0014164 | 0.00035498 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_540-4_0_2_load_137 | 71 | 0.0014171 | 0.00035515 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_540-4_0_2_load_142 | 72 | 0.0018192 | 0.00045595 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_540-4_0_2_load_138 | 73 | 0.0010066 | 0.00025227 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_540-4_0_2_load_140 | 74 | 0.0019513 | 0.00048904 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_540-4_0_2_load_141 | 75 | 0.001417 | 0.00035513 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_540-4_0_2_load_145 | 76 | 0.0017801 | 0.00044613 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_540-4_0_2_load_144 | 77 | 0.0061737 | 0.0015473 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_540-4_0_2_line_0 |  | 0 | 1 | 0.0014147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_540-4_0_2_line_1 |  | 1 | 2 | 0.02883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_540-4_0_2_line_2 |  | 2 | 3 | 0.18823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_540-4_0_2_line_3 |  | 3 | 4 | 0.23841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_540-4_0_2_line_4 |  | 4 | 5 | 0.18527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_540-4_0_2_line_5 |  | 5 | 6 | 0.1762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_540-4_0_2_line_6 |  | 6 | 39 | 0.016805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_540-4_0_2_line_7 |  | 7 | 8 | 0.018361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_540-4_0_2_line_8 |  | 7 | 9 | 0.028894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_540-4_0_2_line_9 |  | 8 | 10 | 0.016574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_540-4_0_2_line_10 |  | 8 | 11 | 0.11848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_540-4_0_2_line_11 |  | 9 | 12 | 0.00019792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_540-4_0_2_line_12 |  | 10 | 22 | 0.02666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_540-4_0_2_line_13 |  | 12 | 18 | 0.018921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_540-4_0_2_line_14 |  | 13 | 14 | 0.021499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_540-4_0_2_line_15 |  | 13 | 15 | 0.013892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_540-4_0_2_line_16 |  | 14 | 16 | 0.023889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_540-4_0_2_line_17 |  | 15 | 17 | 0.013654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_540-4_0_2_line_18 |  | 16 | 18 | 0.014208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_540-4_0_2_line_19 |  | 17 | 19 | 0.022966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_540-4_0_2_line_20 |  | 18 | 40 | 0.015812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_540-4_0_2_line_21 |  | 18 | 32 | 0.036962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_540-4_0_2_line_22 |  | 19 | 57 | 0.026118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_540-4_0_2_line_23 |  | 20 | 21 | 0.026746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_540-4_0_2_line_24 |  | 20 | 22 | 0.02201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_540-4_0_2_line_25 |  | 21 | 23 | 0.025688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_540-4_0_2_line_26 |  | 23 | 24 | 0.021425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_540-4_0_2_line_27 |  | 24 | 54 | 0.061888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_540-4_0_2_line_28 |  | 25 | 26 | 0.021761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_540-4_0_2_line_29 |  | 25 | 27 | 0.039347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_540-4_0_2_line_30 |  | 26 | 28 | 0.047038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_540-4_0_2_line_31 |  | 27 | 29 | 0.018887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_540-4_0_2_line_32 |  | 27 | 30 | 0.027084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_540-4_0_2_line_33 |  | 28 | 31 | 0.011886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_540-4_0_2_line_34 |  | 29 | 32 | 0.0018728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_540-4_0_2_line_35 |  | 30 | 33 | 0.011505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_540-4_0_2_line_36 |  | 33 | 43 | 0.024129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_540-4_0_2_line_37 |  | 34 | 35 | 0.0027423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_540-4_0_2_line_38 |  | 34 | 36 | 0.016231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_540-4_0_2_line_39 |  | 35 | 37 | 0.0086112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_540-4_0_2_line_40 |  | 36 | 38 | 0.019718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_540-4_0_2_line_41 |  | 36 | 39 | 0.0034572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_540-4_0_2_line_42 |  | 38 | 40 | 0.020549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_540-4_0_2_line_43 |  | 41 | 42 | 0.03876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_540-4_0_2_line_44 |  | 42 | 43 | 0.024464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_540-4_0_2_line_45 |  | 44 | 45 | 0.025322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_540-4_0_2_line_46 |  | 44 | 46 | 0.018437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_540-4_0_2_line_47 |  | 45 | 47 | 0.014723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_540-4_0_2_line_48 |  | 45 | 48 | 0.0077479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_540-4_0_2_line_49 |  | 46 | 49 | 0.00018215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_540-4_0_2_line_50 |  | 47 | 58 | 0.0019938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_540-4_0_2_line_51 |  | 48 | 53 | 0.024067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_540-4_0_2_line_52 |  | 49 | 57 | 0.013904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_540-4_0_2_line_53 |  | 50 | 51 | 0.015348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_540-4_0_2_line_54 |  | 50 | 52 | 0.0080163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_540-4_0_2_line_55 |  | 51 | 53 | 0.01579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_540-4_0_2_line_56 |  | 54 | 55 | 0.037116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_540-4_0_2_line_57 |  | 55 | 56 | 0.038684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_540-4_0_2_line_58 |  | 56 | 69 | 0.024304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_540-4_0_2_line_59 |  | 59 | 60 | 0.023798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_540-4_0_2_line_60 |  | 59 | 61 | 0.025561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_540-4_0_2_line_61 |  | 60 | 62 | 0.00014918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_540-4_0_2_line_62 |  | 61 | 63 | 0.019445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_540-4_0_2_line_63 |  | 62 | 64 | 0.020903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_540-4_0_2_line_64 |  | 63 | 65 | 0.11099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_540-4_0_2_line_65 |  | 63 | 66 | 0.028661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_540-4_0_2_line_66 |  | 64 | 70 | 0.014204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_540-4_0_2_line_67 |  | 65 | 76 | 0.021886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_540-4_0_2_line_68 |  | 66 | 68 | 0.026204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_540-4_0_2_line_69 |  | 67 | 68 | 0.023162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_540-4_0_2_line_70 |  | 69 | 73 | 0.019851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_540-4_0_2_line_71 |  | 70 | 71 | 0.012796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_540-4_0_2_line_72 |  | 71 | 72 | 0.013653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_540-4_0_2_line_73 |  | 72 | 75 | 0.0098872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_540-4_0_2_line_74 |  | 73 | 74 | 0.001227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_540-4_0_2_line_75 |  | 74 | 75 | 0.017443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_540-4_0_2_line_76 |  | 76 | 77 | 0.035694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_540-4_0_2_trafo_65 | 0.63 MVA 20/0.4 kV | 78 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2604969.3456 | 1212246.0732 | 2604970.7128 | 1212246.4365
1 | 2604970.7128 | 1212246.4365 | 2604998.576 | 1212253.8395
2 | 2605179.3067 | 1212306.4099 | 2605022.9627 | 1212260.3189 | 2604998.576 | 1212253.8395
3 | 2605179.3067 | 1212306.4099 | 2605417.6946 | 1212309.7652
4 | 2605417.6946 | 1212309.7652 | 2605415.4472 | 1212240.6357 | 2605431.3696 | 1212125.6294
5 | 2605385.3515 | 1211955.5498 | 2605431.3696 | 1212125.6294
6 | 2605385.3515 | 1211955.5498 | 2605393.2411 | 1211940.712
7 | 2605472.9329 | 1211889.5251 | 2605465.8291 | 1211906.4614
8 | 2605465.8291 | 1211906.4614 | 2605461.6821 | 1211905.1347 | 2605451.6564 | 1211901.935 | 2605438.8841 | 1211896.1628
9 | 2605472.9329 | 1211889.5251 | 2605480.7679 | 1211874.9203
10 | 2605472.9329 | 1211889.5251 | 2605578.929 | 1211942.4627
11 | 2605438.8841 | 1211896.1628 | 2605438.7037 | 1211896.0813
12 | 2605480.7679 | 1211874.9203 | 2605493.3713 | 1211851.4271
13 | 2605421.4613 | 1211888.2891 | 2605438.7037 | 1211896.0813
14 | 2605449.516 | 1211835.7088 | 2605439.3955 | 1211854.6768
15 | 2605456.0556 | 1211823.4522 | 2605449.516 | 1211835.7088
16 | 2605428.1498 | 1211875.7535 | 2605439.3955 | 1211854.6768
17 | 2605456.0556 | 1211823.4522 | 2605462.4831 | 1211811.4057
18 | 2605421.4613 | 1211888.2891 | 2605428.1498 | 1211875.7535
19 | 2605462.4831 | 1211811.4057 | 2605473.294 | 1211791.1439
20 | 2605421.4613 | 1211888.2891 | 2605413.9621 | 1211902.2094
21 | 2605421.4613 | 1211888.2891 | 2605388.0622 | 1211872.455
22 | 2605473.294 | 1211791.1439 | 2605476.8192 | 1211784.5368 | 2605480.4979 | 1211766.2744
23 | 2605503.7764 | 1211832.0314 | 2605516.4203 | 1211808.4627
24 | 2605503.7764 | 1211832.0314 | 2605493.3713 | 1211851.4271
25 | 2605516.4203 | 1211808.4627 | 2605528.5638 | 1211785.8268
26 | 2605538.5866 | 1211766.8921 | 2605536.2823 | 1211771.4393 | 2605528.5638 | 1211785.8268
27 | 2605565.8459 | 1211711.3375 | 2605563.9205 | 1211715.678 | 2605550.0056 | 1211744.359 | 2605538.5866 | 1211766.8921
28 | 2605350.3884 | 1211898.0644 | 2605339.9273 | 1211917.1455
29 | 2605369.3041 | 1211863.5621 | 2605350.3884 | 1211898.0644
30 | 2605317.3147 | 1211958.3912 | 2605339.9273 | 1211917.1455
31 | 2605369.3041 | 1211863.5621 | 2605386.3699 | 1211871.6527
32 | 2605369.3041 | 1211863.5621 | 2605381.406 | 1211839.3324
33 | 2605317.3147 | 1211958.3912 | 2605329.1807 | 1211959.5245
34 | 2605388.0622 | 1211872.455 | 2605386.3699 | 1211871.6527
35 | 2605381.406 | 1211839.3324 | 2605386.5466 | 1211829.0403
36 | 2605397.3283 | 1211807.4538 | 2605386.5466 | 1211829.0403
37 | 2605409.1903 | 1211945.2892 | 2605411.6108 | 1211946.5782
38 | 2605394.8642 | 1211937.6595 | 2605409.1903 | 1211945.2892
39 | 2605419.9187 | 1211947.9654 | 2605413.8713 | 1211947.7821 | 2605411.6108 | 1211946.5782
40 | 2605394.8642 | 1211937.6595 | 2605404.216 | 1211920.3003
41 | 2605394.8642 | 1211937.6595 | 2605393.2411 | 1211940.712
42 | 2605413.9621 | 1211902.2094 | 2605404.216 | 1211920.3003
43 | 2605431.0323 | 1211756.1591 | 2605419.9335 | 1211762.1952 | 2605408.2597 | 1211785.5678
44 | 2605408.2597 | 1211785.5678 | 2605397.3283 | 1211807.4538
45 | 2605465.3819 | 1211737.478 | 2605487.5554 | 1211725.1357
46 | 2605465.3819 | 1211737.478 | 2605473.9509 | 1211753.8022
47 | 2605487.5554 | 1211725.1357 | 2605480.4482 | 1211712.2331
48 | 2605487.5554 | 1211725.1357 | 2605489.7903 | 1211723.8925 | 2605494.3256 | 1211721.3681
49 | 2605473.9509 | 1211753.8022 | 2605474.0356 | 1211753.9635
50 | 2605480.4482 | 1211712.2331 | 2605479.486 | 1211710.4869
51 | 2605515.3542 | 1211709.6635 | 2605494.3256 | 1211721.3681
52 | 2605474.0356 | 1211753.9635 | 2605480.4979 | 1211766.2744 | 2605480.4979 | 1211766.2744
53 | 2605535.0104 | 1211733.8135 | 2605525.3216 | 1211721.9096
54 | 2605535.0104 | 1211733.8135 | 2605540.0707 | 1211740.0307
55 | 2605515.3542 | 1211709.6635 | 2605525.3216 | 1211721.9096
56 | 2605576.3415 | 1211675.834 | 2605573.7086 | 1211688.5053 | 2605570.6069 | 1211698.7859 | 2605567.7653 | 1211707.0101 | 2605565.8459 | 1211711.3375
57 | 2605576.3415 | 1211675.834 | 2605577.9831 | 1211658.8594 | 2605599.5132 | 1211660.936
58 | 2605599.5132 | 1211660.936 | 2605607.6823 | 1211683.8259
59 | 2605677.5101 | 1211781.3621 | 2605671.8178 | 1211785.3172 | 2605667.6914 | 1211786.3806 | 2605664.994 | 1211786.5559 | 2605662.2062 | 1211786.1086 | 2605659.6011 | 1211785.1168 | 2605657.6117 | 1211783.8586 | 2605656.3924 | 1211782.3528
60 | 2605677.5101 | 1211781.3621 | 2605698.5016 | 1211766.7768
61 | 2605656.3924 | 1211782.3528 | 2605656.2985 | 1211782.2369
62 | 2605711.0669 | 1211753.2252 | 2605710.7377 | 1211755.8931 | 2605710.1357 | 1211757.6935 | 2605709.1847 | 1211759.0712 | 2605707.7856 | 1211760.3261 | 2605698.5016 | 1211766.7768
63 | 2605656.2985 | 1211782.2369 | 2605655.7828 | 1211781.6001 | 2605646.4035 | 1211763.8409
64 | 2605711.0669 | 1211753.2252 | 2605714.1414 | 1211755.9185 | 2605716.2133 | 1211758.2218 | 2605767.0763 | 1211848.7873
65 | 2605711.0669 | 1211753.2252 | 2605710.9774 | 1211751.413 | 2605710.1066 | 1211748.3994 | 2605698.4194 | 1211727.7705
66 | 2605646.4035 | 1211763.8409 | 2605639.7699 | 1211751.2807
67 | 2605767.0763 | 1211848.7873 | 2605778.0746 | 1211867.7088
68 | 2605698.4194 | 1211727.7705 | 2605685.5028 | 1211704.9714
69 | 2605674.0855 | 1211684.8188 | 2605685.5028 | 1211704.9714
70 | 2605614.3546 | 1211702.5216 | 2605607.6823 | 1211683.8259
71 | 2605633.7943 | 1211739.9662 | 2605639.7699 | 1211751.2807
72 | 2605633.7943 | 1211739.9662 | 2605627.4181 | 1211727.8934
73 | 2605622.8007 | 1211719.1506 | 2605627.4181 | 1211727.8934
74 | 2605614.3546 | 1211702.5216 | 2605614.767 | 1211703.6772
75 | 2605614.767 | 1211703.6772 | 2605615.0556 | 1211704.4858 | 2605622.8007 | 1211719.1506
76 | 2605799.0969 | 1211896.5017 | 2605797.8321 | 1211895.0203 | 2605781.1844 | 1211873.0588 | 2605778.0746 | 1211867.7088

## bus_geodata
| x | y | coords
0 | 2604969.3456 | 1212246.0732
1 | 2604970.7128 | 1212246.4365
2 | 2604998.576 | 1212253.8395
3 | 2605179.3067 | 1212306.4099
4 | 2605417.6946 | 1212309.7652
5 | 2605431.3696 | 1212125.6294
6 | 2605385.3515 | 1211955.5498
7 | 2605465.8291 | 1211906.4614
8 | 2605472.9329 | 1211889.5251
9 | 2605438.8841 | 1211896.1628
10 | 2605480.7679 | 1211874.9203
11 | 2605578.929 | 1211942.4627
12 | 2605438.7037 | 1211896.0813
13 | 2605449.516 | 1211835.7088
14 | 2605439.3955 | 1211854.6768
15 | 2605456.0556 | 1211823.4522
16 | 2605428.1498 | 1211875.7535
17 | 2605462.4831 | 1211811.4057
18 | 2605421.4613 | 1211888.2891
19 | 2605473.294 | 1211791.1439
20 | 2605503.7764 | 1211832.0314
21 | 2605516.4203 | 1211808.4627
22 | 2605493.3713 | 1211851.4271
23 | 2605528.5638 | 1211785.8268
24 | 2605538.5866 | 1211766.8921
25 | 2605350.3884 | 1211898.0644
26 | 2605339.9273 | 1211917.1455
27 | 2605369.3041 | 1211863.5621
28 | 2605317.3147 | 1211958.3912
29 | 2605386.3699 | 1211871.6527
30 | 2605381.406 | 1211839.3324
31 | 2605329.1807 | 1211959.5245
32 | 2605388.0622 | 1211872.455
33 | 2605386.5466 | 1211829.0403
34 | 2605409.1903 | 1211945.2892
35 | 2605411.6108 | 1211946.5782
36 | 2605394.8642 | 1211937.6595
37 | 2605419.9187 | 1211947.9654
38 | 2605404.216 | 1211920.3003
39 | 2605393.2411 | 1211940.712
40 | 2605413.9621 | 1211902.2094
41 | 2605431.0323 | 1211756.1591
42 | 2605408.2597 | 1211785.5678
43 | 2605397.3283 | 1211807.4538
44 | 2605465.3819 | 1211737.478
45 | 2605487.5554 | 1211725.1357
46 | 2605473.9509 | 1211753.8022
47 | 2605480.4482 | 1211712.2331
48 | 2605494.3256 | 1211721.3681
49 | 2605474.0356 | 1211753.9635
50 | 2605535.0104 | 1211733.8135
51 | 2605525.3216 | 1211721.9096
52 | 2605540.0707 | 1211740.0307
53 | 2605515.3542 | 1211709.6635
54 | 2605565.8459 | 1211711.3375
55 | 2605576.3415 | 1211675.834
56 | 2605599.5132 | 1211660.936
57 | 2605480.4979 | 1211766.2744
58 | 2605479.486 | 1211710.4869
59 | 2605677.5101 | 1211781.3621
60 | 2605656.3924 | 1211782.3528
61 | 2605698.5016 | 1211766.7768
62 | 2605656.2985 | 1211782.2369
63 | 2605711.0669 | 1211753.2252
64 | 2605646.4035 | 1211763.8409
65 | 2605767.0763 | 1211848.7873
66 | 2605698.4194 | 1211727.7705
67 | 2605674.0855 | 1211684.8188
68 | 2605685.5028 | 1211704.9714
69 | 2605607.6823 | 1211683.8259
70 | 2605639.7699 | 1211751.2807
71 | 2605633.7943 | 1211739.9662
72 | 2605627.4181 | 1211727.8934
73 | 2605614.3546 | 1211702.5216
74 | 2605614.767 | 1211703.6772
75 | 2605622.8007 | 1211719.1506
76 | 2605778.0746 | 1211867.7088
77 | 2605799.0969 | 1211896.5017
78 | 2605472.9329 | 1211889.5251

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1