## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_540-5_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_540-5_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_540-5_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_540-5_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_540-5_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_540-5_0_6_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_540-5_0_6_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_540-5_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_540-5_0_6_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_540-5_0_6_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_540-5_0_6_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_540-5_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_540-5_0_6_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_540-5_0_6_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_540-5_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_540-5_0_6_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_540-5_0_6_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_540-5_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_540-5_0_6_node_82 | 0.4 | n |  | TRUE
19 | bus_LV_540-5_0_6_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_540-5_0_6_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_540-5_0_6_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_540-5_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_540-5_0_6_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_540-5_0_6_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_540-5_0_6_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_540-5_0_6_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_540-5_0_6_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_540-5_0_6_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_540-5_0_6_node_83 | 0.4 | n |  | TRUE
30 | bus_LV_540-5_0_6_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_540-5_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_540-5_0_6_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_540-5_0_6_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_540-5_0_6_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_540-5_0_6_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_540-5_0_6_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_540-5_0_6_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_540-5_0_6_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_540-5_0_6_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_540-5_0_6_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_540-5_0_6_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_540-5_0_6_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_540-5_0_6_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_540-5_0_6_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_540-5_0_6_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_540-5_0_6_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_540-5_0_6_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_540-5_0_6_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_540-5_0_6_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_540-5_0_6_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_540-5_0_6_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_540-5_0_6_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_540-5_0_6_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_540-5_0_6_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_540-5_0_6_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_540-5_0_6_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_540-5_0_6_node_75 | 0.4 | n |  | TRUE
58 | bus_LV_540-5_0_6_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_540-5_0_6_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_540-5_0_6_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_540-5_0_6_node_88 | 0.4 | n |  | TRUE
62 | bus_LV_540-5_0_6_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_540-5_0_6_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_540-5_0_6_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_540-5_0_6_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_540-5_0_6_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_540-5_0_6_node_84 | 0.4 | n |  | TRUE
68 | bus_LV_540-5_0_6_node_86 | 0.4 | n |  | TRUE
69 | bus_LV_540-5_0_6_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_540-5_0_6_node_89 | 0.4 | n |  | TRUE
71 | bus_LV_540-5_0_6_node_81 | 0.4 | n |  | TRUE
72 | bus_LV_540-5_0_6_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_540-5_0_6_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_540-5_0_6_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_540-5_0_6_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_540-5_0_6_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_540-5_0_6_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_540-5_0_6_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_540-5_0_6_node_87 | 0.4 | n |  | TRUE
80 | bus_LV_540-5_0_6_node_85 | 0.4 | n |  | TRUE
81 | bus_LV_540-5_0_6_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_540-5_0_6_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_540-5_0_6_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_540-5_0_6_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_540-5_0_6_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_540-5_0_6_node_80 | 0.4 | n |  | TRUE
87 | bus_MV_387_3_node_146 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_540-5_0_6_load_0 | 0 | 0.014423 | 0.0036149 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_540-5_0_6_load_3 | 3 | 0.007069 | 0.0017717 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_540-5_0_6_load_10 | 5 | 0.0020923 | 0.00052438 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_540-5_0_6_load_11 | 6 | 0.0035548 | 0.00089091 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_540-5_0_6_load_35 | 8 | 0.0077424 | 0.0019404 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_540-5_0_6_load_36 | 10 | 0.0061459 | 0.0015403 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_540-5_0_6_load_12 | 13 | 0.019607 | 0.004914 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_540-5_0_6_load_37 | 15 | 0.021265 | 0.0053296 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_540-5_0_6_load_82 | 18 | 0.004574 | 0.0011463 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_540-5_0_6_load_27 | 19 | 0.0049482 | 0.0012401 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_540-5_0_6_load_34 | 20 | 0.0086179 | 0.0021599 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_540-5_0_6_load_23 | 21 | 0.03927 | 0.0098419 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_540-5_0_6_load_25 | 25 | 0.013029 | 0.0032653 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_540-5_0_6_load_40 | 26 | 0.024316 | 0.0060942 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_540-5_0_6_load_13 | 27 | 0.026108 | 0.0065432 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_540-5_0_6_load_38 | 28 | 0.018137 | 0.0045456 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_540-5_0_6_load_83 | 29 | 0.001205 | 0.000302 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_540-5_0_6_load_26 | 30 | 0.0099521 | 0.0024942 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_540-5_0_6_load_21 | 31 | 0.08513 | 0.021336 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_540-5_0_6_load_41 | 32 | 0.013425 | 0.0033646 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_540-5_0_6_load_17 | 33 | 0.0010083 | 0.0002527 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_540-5_0_6_load_74 | 37 | 0.0043736 | 0.0010961 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_540-5_0_6_load_49 | 39 | 0.0031877 | 0.00079893 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_540-5_0_6_load_39 | 41 | 0.029825 | 0.007475 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_540-5_0_6_load_43 | 42 | 0.014 | 0.0035087 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_540-5_0_6_load_47 | 43 | 0.0043229 | 0.0010834 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_540-5_0_6_load_30 | 45 | 0.0070275 | 0.0017613 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_540-5_0_6_load_31 | 46 | 0.0071733 | 0.0017978 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_540-5_0_6_load_42 | 49 | 0.0048519 | 0.001216 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_540-5_0_6_load_52 | 50 | 0.0047552 | 0.0011918 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_540-5_0_6_load_44 | 52 | 0.002785 | 0.00069798 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_540-5_0_6_load_48 | 53 | 0.0021419 | 0.00053682 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_540-5_0_6_load_75 | 57 | 0.0010489 | 0.00026287 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_540-5_0_6_load_71 | 59 | 0.001337 | 0.00033509 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_540-5_0_6_load_88 | 61 | 0.014661 | 0.0036743 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_540-5_0_6_load_54 | 62 | 0.024971 | 0.0062583 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_540-5_0_6_load_55 | 64 | 0.0062507 | 0.0015666 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_540-5_0_6_load_58 | 66 | 0.0033952 | 0.00085092 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_540-5_0_6_load_86 | 68 | 0.0070742 | 0.001773 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_540-5_0_6_load_89 | 70 | 0.022771 | 0.0057068 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_540-5_0_6_load_81 | 71 | 0.0021444 | 0.00053743 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_540-5_0_6_load_72 | 73 | 0.0055358 | 0.0013874 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_540-5_0_6_load_61 | 74 | 0.0015723 | 0.00039405 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_540-5_0_6_load_64 | 75 | 0.0052032 | 0.0013041 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_540-5_0_6_load_68 | 77 | 0.0070085 | 0.0017565 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_540-5_0_6_load_87 | 79 | 0.0037144 | 0.00093092 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_540-5_0_6_load_85 | 80 | 0.0072537 | 0.001818 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_540-5_0_6_load_77 | 82 | 0.0029194 | 0.00073167 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_540-5_0_6_load_76 | 83 | 0.0075345 | 0.0018883 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_540-5_0_6_load_78 | 84 | 0.0019962 | 0.00050031 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_540-5_0_6_load_80 | 86 | 0.010423 | 0.0026123 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_540-5_0_6_line_0 |  | 0 | 1 | 0.024824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_540-5_0_6_line_1 |  | 0 | 2 | 0.0025565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_540-5_0_6_line_2 |  | 1 | 3 | 0.03665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_540-5_0_6_line_3 |  | 1 | 4 | 0.042469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_540-5_0_6_line_4 |  | 2 | 5 | 0.020717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_540-5_0_6_line_5 |  | 2 | 6 | 0.019424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_540-5_0_6_line_6 |  | 4 | 7 | 0.048137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_540-5_0_6_line_7 |  | 4 | 8 | 0.016362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_540-5_0_6_line_8 |  | 5 | 19 | 0.028608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_540-5_0_6_line_9 |  | 6 | 20 | 0.038994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_540-5_0_6_line_10 |  | 7 | 9 | 0.034794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_540-5_0_6_line_11 |  | 7 | 10 | 0.013713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_540-5_0_6_line_12 |  | 8 | 16 | 0.048421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_540-5_0_6_line_13 |  | 9 | 21 | 0.021898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_540-5_0_6_line_14 |  | 10 | 22 | 0.010452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_540-5_0_6_line_15 |  | 11 | 12 | 0.032931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_540-5_0_6_line_16 |  | 11 | 13 | 0.017088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_540-5_0_6_line_17 |  | 12 | 26 | 0.024042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_540-5_0_6_line_18 |  | 12 | 14 | 0.006569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_540-5_0_6_line_19 |  | 13 | 27 | 0.0018263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_540-5_0_6_line_20 |  | 14 | 15 | 0.012573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_540-5_0_6_line_21 |  | 15 | 28 | 0.02226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_540-5_0_6_line_22 |  | 16 | 17 | 0.04563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_540-5_0_6_line_23 |  | 17 | 18 | 0.035042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_540-5_0_6_line_24 |  | 18 | 29 | 0.0075423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_540-5_0_6_line_25 |  | 19 | 30 | 0.014127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_540-5_0_6_line_26 |  | 21 | 24 | 0.032031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_540-5_0_6_line_27 |  | 22 | 27 | 0.015517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_540-5_0_6_line_28 |  | 23 | 24 | 0.015788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_540-5_0_6_line_29 |  | 23 | 25 | 0.020392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_540-5_0_6_line_30 |  | 25 | 31 | 0.0067153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_540-5_0_6_line_31 |  | 26 | 32 | 0.017575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_540-5_0_6_line_32 |  | 28 | 41 | 0.0030258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_540-5_0_6_line_33 |  | 29 | 48 | 0.012296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_540-5_0_6_line_34 |  | 31 | 34 | 0.023477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_540-5_0_6_line_35 |  | 32 | 49 | 0.016681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_540-5_0_6_line_36 |  | 33 | 34 | 0.0033986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_540-5_0_6_line_37 |  | 35 | 36 | 0.034707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_540-5_0_6_line_38 |  | 35 | 37 | 0.021093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_540-5_0_6_line_39 |  | 36 | 38 | 0.003587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_540-5_0_6_line_40 |  | 36 | 39 | 0.026858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_540-5_0_6_line_41 |  | 38 | 56 | 0.025507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_540-5_0_6_line_42 |  | 38 | 57 | 0.041779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_540-5_0_6_line_43 |  | 40 | 41 | 0.024138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_540-5_0_6_line_44 |  | 40 | 42 | 0.01931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_540-5_0_6_line_45 |  | 42 | 52 | 0.032716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_540-5_0_6_line_46 |  | 43 | 44 | 0.013569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_540-5_0_6_line_47 |  | 44 | 53 | 0.0080396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_540-5_0_6_line_48 |  | 44 | 52 | 0.0029203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_540-5_0_6_line_49 |  | 45 | 46 | 0.020001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_540-5_0_6_line_50 |  | 46 | 47 | 0.021359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_540-5_0_6_line_51 |  | 47 | 48 | 0.037312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_540-5_0_6_line_52 |  | 49 | 50 | 0.017276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_540-5_0_6_line_53 |  | 50 | 51 | 0.019163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_540-5_0_6_line_54 |  | 51 | 60 | 0.038744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_540-5_0_6_line_55 |  | 53 | 54 | 0.041708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_540-5_0_6_line_56 |  | 54 | 55 | 0.056725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_540-5_0_6_line_57 |  | 55 | 74 | 0.029764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_540-5_0_6_line_58 |  | 56 | 58 | 0.047121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_540-5_0_6_line_59 |  | 56 | 59 | 0.010929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_540-5_0_6_line_60 |  | 56 | 60 | 0.046798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_540-5_0_6_line_61 |  | 58 | 71 | 0.040232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_540-5_0_6_line_62 |  | 58 | 72 | 0.034106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_540-5_0_6_line_63 |  | 59 | 73 | 0.026566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_540-5_0_6_line_64 |  | 60 | 61 | 0.003993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_540-5_0_6_line_65 |  | 61 | 70 | 0.01909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_540-5_0_6_line_66 |  | 62 | 63 | 0.036722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_540-5_0_6_line_67 |  | 63 | 66 | 0.026718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_540-5_0_6_line_68 |  | 63 | 65 | 0.028475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_540-5_0_6_line_69 |  | 64 | 65 | 0.019274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_540-5_0_6_line_70 |  | 65 | 67 | 0.00751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_540-5_0_6_line_71 |  | 67 | 68 | 0.017263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_540-5_0_6_line_72 |  | 67 | 69 | 0.031067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_540-5_0_6_line_73 |  | 69 | 80 | 0.019482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_540-5_0_6_line_74 |  | 69 | 76 | 0.035856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_540-5_0_6_line_75 |  | 72 | 75 | 0.0075309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_540-5_0_6_line_76 |  | 73 | 81 | 0.028693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_540-5_0_6_line_77 |  | 75 | 76 | 0.019469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_540-5_0_6_line_78 |  | 76 | 77 | 0.035695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_540-5_0_6_line_79 |  | 76 | 78 | 0.050101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_540-5_0_6_line_80 |  | 78 | 79 | 0.072266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_540-5_0_6_line_81 |  | 81 | 82 | 0.0075226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_540-5_0_6_line_82 |  | 81 | 83 | 0.034106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_540-5_0_6_line_83 |  | 82 | 84 | 0.045695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_540-5_0_6_line_84 |  | 84 | 85 | 0.0092407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_540-5_0_6_line_85 |  | 85 | 86 | 0.010539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_540-5_0_6_trafo_40 | 0.63 MVA 20/0.4 kV | 87 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2605159.6785 | 1210782.4892 | 2605149.4671 | 1210759.8626
1 | 2605148.4154 | 1210757.5324 | 2605149.4671 | 1210759.8626
2 | 2605159.6785 | 1210782.4892 | 2605152.6227 | 1210787.1969 | 2605151.1473 | 1210788.652 | 2605150.3102 | 1210790.0966 | 2605147.5622 | 1210795.6973 | 2605145.501 | 1210797.9746 | 2605142.5359 | 1210799.8843 | 2605131.7494 | 1210804.2887
3 | 2605159.6785 | 1210782.4892 | 2605165.2003 | 1210794.3227 | 2605169.9557 | 1210804.9883 | 2605164.7715 | 1210807.1072 | 2605170.3854 | 1210817.8625
4 | 2605148.4154 | 1210757.5324 | 2605144.5473 | 1210748.9577 | 2605142.5293 | 1210745.1317 | 2605138.7088 | 1210739.2846
5 | 2605148.4154 | 1210757.5324 | 2605137.0788 | 1210765.4049 | 2605132.5696 | 1210768.7619
6 | 2605170.3854 | 1210817.8625 | 2605156.619 | 1210823.6095 | 2605157.4459 | 1210825.211 | 2605172.4223 | 1210852.8281
7 | 2605170.3854 | 1210817.8625 | 2605174.8551 | 1210815.9986 | 2605185.486 | 1210811.5615
8 | 2605138.7088 | 1210739.2846 | 2605126.2052 | 1210720.1484 | 2605123.0617 | 1210715.3352
9 | 2605100.2285 | 1210775.8697 | 2605110.0677 | 1210770.9296 | 2605119.9401 | 1210778.1642 | 2605132.5696 | 1210768.7619
10 | 2605183.4941 | 1210878.9965 | 2605188.6481 | 1210876.5107 | 2605185.9765 | 1210872.8286 | 2605181.3823 | 1210869.356 | 2605172.4223 | 1210852.8281
11 | 2605172.4223 | 1210852.8281 | 2605160.4767 | 1210859.5617
12 | 2605230.3687 | 1210793.4005 | 2605208.986 | 1210801.7533 | 2605185.486 | 1210811.5615
13 | 2605183.4941 | 1210878.9965 | 2605165.8618 | 1210891.9824
14 | 2605151.3712 | 1210864.6945 | 2605160.4767 | 1210859.5617
15 | 2605106.4264 | 1210835.6736 | 2605110.6409 | 1210848.0062 | 2605128.6419 | 1210839.5278
16 | 2605128.6419 | 1210839.5278 | 2605138.3173 | 1210846.0397 | 2605141.428 | 1210850.4851
17 | 2605106.4264 | 1210835.6736 | 2605103.4528 | 1210838.5838 | 2605089.9597 | 1210853.1854
18 | 2605106.4264 | 1210835.6736 | 2605104.1443 | 1210829.5126
19 | 2605141.428 | 1210850.4851 | 2605142.4751 | 1210851.9814
20 | 2605104.1443 | 1210829.5126 | 2605101.172 | 1210821.9393 | 2605099.2729 | 1210817.9294
21 | 2605099.2729 | 1210817.9294 | 2605094.588 | 1210808.0371 | 2605089.6988 | 1210797.8338
22 | 2605230.3687 | 1210793.4005 | 2605225.4085 | 1210782.5012 | 2605236.3088 | 1210778.4195 | 2605246.3649 | 1210775.2376 | 2605241.3205 | 1210764.9386
23 | 2605241.3205 | 1210764.9386 | 2605238.1119 | 1210758.3877 | 2605226.2232 | 1210733.3159
24 | 2605226.2232 | 1210733.3159 | 2605222.9916 | 1210726.501
25 | 2605115.3369 | 1210703.5075 | 2605123.0617 | 1210715.3352
26 | 2605140.0705 | 1210910.9772 | 2605165.8618 | 1210891.9824
27 | 2605151.3712 | 1210864.6945 | 2605142.4751 | 1210851.9814
28 | 2605140.0705 | 1210910.9772 | 2605132.0199 | 1210897.3851
29 | 2605132.0199 | 1210897.3851 | 2605115.7804 | 1210909.7193
30 | 2605115.7804 | 1210909.7193 | 2605113.2466 | 1210911.6437 | 2605110.9239 | 1210914.3066
31 | 2605089.9597 | 1210853.1854 | 2605082.5219 | 1210861.2343 | 2605077.5712 | 1210865.6222
32 | 2605089.6988 | 1210797.8338 | 2605088.3912 | 1210795.1051
33 | 2605217.7232 | 1210715.3907 | 2605222.9916 | 1210726.501
34 | 2605097.1724 | 1210933.1755 | 2605101.8223 | 1210924.7414 | 2605110.9239 | 1210914.3066
35 | 2605077.5712 | 1210865.6222 | 2605068.0735 | 1210874.0404 | 2605064.7992 | 1210876.3195
36 | 2605097.1724 | 1210933.1755 | 2605095.0886 | 1210935.8603
37 | 2605041.4118 | 1210962.4894 | 2605020.4016 | 1210944.184 | 2605015.033 | 1210939.8549
38 | 2605041.4118 | 1210962.4894 | 2605033.5989 | 1210973.489 | 2605027.9503 | 1210978.5748
39 | 2605012.2385 | 1210937.5958 | 2605015.033 | 1210939.8549
40 | 2605015.033 | 1210939.8549 | 2605037.2722 | 1210924.7956
41 | 2605012.2385 | 1210937.5958 | 2605011.3501 | 1210936.8836 | 2605002.4956 | 1210930.217 | 2604995.9948 | 1210925.8203 | 2604995.4859 | 1210925.4752 | 2604991.4533 | 1210922.7482
42 | 2605012.2385 | 1210937.5958 | 2604999.8585 | 1210948.9808 | 2604990.8244 | 1210957.3446 | 2604985.1937 | 1210966.6896 | 2604984.8073 | 1210968.3849
43 | 2605077.9605 | 1210773.3372 | 2605088.3912 | 1210795.1051
44 | 2605077.9605 | 1210773.3372 | 2605069.6673 | 1210767.6604 | 2605066.03 | 1210764.6335 | 2605063.0036 | 1210761.2652
45 | 2605063.0036 | 1210761.2652 | 2605062.2113 | 1210760.3835 | 2605043.9975 | 1210734.6461
46 | 2605042.3105 | 1210732.2623 | 2605055.3103 | 1210728.3739
47 | 2605042.3105 | 1210732.2623 | 2605037.2867 | 1210725.9857
48 | 2605042.3105 | 1210732.2623 | 2605043.9975 | 1210734.6461
49 | 2605167.4958 | 1210702.4622 | 2605184.6299 | 1210692.1442
50 | 2605202.9272 | 1210681.1256 | 2605184.6299 | 1210692.1442
51 | 2605202.9272 | 1210681.1256 | 2605217.7232 | 1210715.3907
52 | 2605064.7992 | 1210876.3195 | 2605050.62 | 1210886.1892
53 | 2605034.5899 | 1210896.6694 | 2605041.4169 | 1210892.5951 | 2605050.62 | 1210886.1892
54 | 2605034.5899 | 1210896.6694 | 2605030.1194 | 1210890.4511 | 2605025.8369 | 1210886.5899 | 2605017.3584 | 1210884.6595 | 2605000.9401 | 1210881.5442
55 | 2605006.79 | 1210699.4479 | 2605009.0846 | 1210699.7834 | 2605014.0455 | 1210701.2105 | 2605018.1392 | 1210703.782 | 2605022.8547 | 1210707.9549 | 2605037.2867 | 1210725.9857
56 | 2605006.79 | 1210699.4479 | 2605000.3089 | 1210698.5087 | 2604989.8222 | 1210698.589 | 2604961.8343 | 1210699.8222 | 2604949.995 | 1210699.9459
57 | 2604949.995 | 1210699.9459 | 2604944.3886 | 1210707.2676 | 2604933.1233 | 1210720.9994 | 2604931.2343 | 1210723.0405
58 | 2604953.9771 | 1210894.346 | 2604960.1428 | 1210899.7874 | 2604970.8267 | 1210908.8901 | 2604977.7525 | 1210913.9876 | 2604991.4533 | 1210922.7482
59 | 2604991.4533 | 1210922.7482 | 2604981.678 | 1210927.6353
60 | 2604991.4533 | 1210922.7482 | 2604995.8399 | 1210920.0725 | 2604994.9011 | 1210915.9917 | 2604992.0118 | 1210908.9187 | 2604992.1228 | 1210903.3602 | 2604999.32 | 1210892.6713 | 2604999.432 | 1210885.8231 | 2605000.9401 | 1210881.5442
61 | 2604953.9771 | 1210894.346 | 2604940.3013 | 1210901.3943 | 2604937.336 | 1210903.6487 | 2604935.0848 | 1210906.0259 | 2604933.0686 | 1210909.1038 | 2604930.0926 | 1210915.1825 | 2604927.868 | 1210922.2402
62 | 2604926.9346 | 1210874.1794 | 2604928.872 | 1210874.4367 | 2604930.4977 | 1210875.005 | 2604932.4194 | 1210875.9626 | 2604934.766 | 1210877.6544 | 2604946.4446 | 1210887.7139 | 2604952.3977 | 1210892.9773 | 2604953.9771 | 1210894.346
63 | 2604981.678 | 1210927.6353 | 2604972.4944 | 1210932.2267 | 2604957.6798 | 1210939.0206
64 | 2604999.8719 | 1210877.6967 | 2605000.9401 | 1210881.5442
65 | 2605018.974 | 1210878.9911 | 2604999.8719 | 1210877.6967
66 | 2604975.5713 | 1210785.1587 | 2604998.671 | 1210813.7047
67 | 2604973.1178 | 1210765.6125 | 2604965.2159 | 1210773.6993 | 2604975.5713 | 1210785.1587
68 | 2604955.843 | 1210805.7428 | 2604975.5713 | 1210785.1587
69 | 2604955.843 | 1210805.7428 | 2604969.7341 | 1210819.1045
70 | 2604955.843 | 1210805.7428 | 2604953.2724 | 1210808.4311 | 2604950.0902 | 1210806.3495
71 | 2604950.0902 | 1210806.3495 | 2604938.1066 | 1210793.9234
72 | 2604928.385 | 1210828.6331 | 2604950.0902 | 1210806.3495
73 | 2604928.385 | 1210828.6331 | 2604914.1185 | 1210815.3655
74 | 2604909.3598 | 1210854.1206 | 2604906.2693 | 1210851.3722 | 2604928.385 | 1210828.6331
75 | 2604926.9346 | 1210874.1794 | 2604924.3325 | 1210868.9299 | 2604923.3939 | 1210867.5463
76 | 2604931.5983 | 1210950.9814 | 2604957.6798 | 1210939.0206
77 | 2604909.3598 | 1210854.1206 | 2604920.408 | 1210863.9128 | 2604923.0346 | 1210867.0167 | 2604923.3939 | 1210867.5463
78 | 2604909.3598 | 1210854.1206 | 2604934.0331 | 1210835.2636 | 2604936.3667 | 1210834.4094 | 2604938.3872 | 1210835.3338
79 | 2604909.3598 | 1210854.1206 | 2604906.2693 | 1210851.3722 | 2604897.6886 | 1210844.0945 | 2604870.3655 | 1210822.6828
80 | 2604923.0276 | 1210773.0423 | 2604870.3655 | 1210822.6828
81 | 2604931.5983 | 1210950.9814 | 2604924.791 | 1210954.1828
82 | 2604931.5983 | 1210950.9814 | 2604933.402 | 1210956.9195 | 2604934.6732 | 1210963.4909 | 2604937.5893 | 1210984.4963
83 | 2604883.9668 | 1210974.6477 | 2604897.2622 | 1210967.1292 | 2604924.791 | 1210954.1828
84 | 2604875.9232 | 1210979.1964 | 2604883.9668 | 1210974.6477
85 | 2604875.9232 | 1210979.1964 | 2604868.012 | 1210986.1593

## bus_geodata
| x | y | coords
0 | 2605149.4671 | 1210759.8626
1 | 2605159.6785 | 1210782.4892
2 | 2605148.4154 | 1210757.5324
3 | 2605131.7494 | 1210804.2887
4 | 2605170.3854 | 1210817.8625
5 | 2605138.7088 | 1210739.2846
6 | 2605132.5696 | 1210768.7619
7 | 2605172.4223 | 1210852.8281
8 | 2605185.486 | 1210811.5615
9 | 2605183.4941 | 1210878.9965
10 | 2605160.4767 | 1210859.5617
11 | 2605128.6419 | 1210839.5278
12 | 2605106.4264 | 1210835.6736
13 | 2605141.428 | 1210850.4851
14 | 2605104.1443 | 1210829.5126
15 | 2605099.2729 | 1210817.9294
16 | 2605230.3687 | 1210793.4005
17 | 2605241.3205 | 1210764.9386
18 | 2605226.2232 | 1210733.3159
19 | 2605123.0617 | 1210715.3352
20 | 2605100.2285 | 1210775.8697
21 | 2605165.8618 | 1210891.9824
22 | 2605151.3712 | 1210864.6945
23 | 2605132.0199 | 1210897.3851
24 | 2605140.0705 | 1210910.9772
25 | 2605115.7804 | 1210909.7193
26 | 2605089.9597 | 1210853.1854
27 | 2605142.4751 | 1210851.9814
28 | 2605089.6988 | 1210797.8338
29 | 2605222.9916 | 1210726.501
30 | 2605115.3369 | 1210703.5075
31 | 2605110.9239 | 1210914.3066
32 | 2605077.5712 | 1210865.6222
33 | 2605095.0887 | 1210935.8603
34 | 2605097.1724 | 1210933.1755
35 | 2605041.4118 | 1210962.4894
36 | 2605015.033 | 1210939.8549
37 | 2605027.9503 | 1210978.5748
38 | 2605012.2385 | 1210937.5958
39 | 2605037.2722 | 1210924.7956
40 | 2605077.9605 | 1210773.3372
41 | 2605088.3912 | 1210795.1051
42 | 2605063.0036 | 1210761.2652
43 | 2605055.3103 | 1210728.3739
44 | 2605042.3105 | 1210732.2623
45 | 2605167.4958 | 1210702.4622
46 | 2605184.6299 | 1210692.1442
47 | 2605202.9272 | 1210681.1256
48 | 2605217.7232 | 1210715.3907
49 | 2605064.7992 | 1210876.3195
50 | 2605050.62 | 1210886.1892
51 | 2605034.5899 | 1210896.6694
52 | 2605043.9975 | 1210734.6461
53 | 2605037.2867 | 1210725.9857
54 | 2605006.79 | 1210699.4479
55 | 2604949.995 | 1210699.9459
56 | 2604991.4533 | 1210922.7482
57 | 2604984.8073 | 1210968.3849
58 | 2604953.9771 | 1210894.346
59 | 2604981.678 | 1210927.6353
60 | 2605000.9401 | 1210881.5442
61 | 2604999.8719 | 1210877.6967
62 | 2604998.671 | 1210813.7047
63 | 2604975.5713 | 1210785.1587
64 | 2604969.7341 | 1210819.1045
65 | 2604955.843 | 1210805.7428
66 | 2604973.1178 | 1210765.6125
67 | 2604950.0902 | 1210806.3495
68 | 2604938.1066 | 1210793.9234
69 | 2604928.385 | 1210828.6331
70 | 2605018.974 | 1210878.9911
71 | 2604927.868 | 1210922.2402
72 | 2604926.9346 | 1210874.1794
73 | 2604957.6798 | 1210939.0206
74 | 2604931.2343 | 1210723.0405
75 | 2604923.3939 | 1210867.5463
76 | 2604909.3598 | 1210854.1206
77 | 2604938.3872 | 1210835.3338
78 | 2604870.3655 | 1210822.6828
79 | 2604923.0276 | 1210773.0423
80 | 2604914.1185 | 1210815.3655
81 | 2604931.5983 | 1210950.9814
82 | 2604924.791 | 1210954.1828
83 | 2604937.5893 | 1210984.4963
84 | 2604883.9668 | 1210974.6477
85 | 2604875.9232 | 1210979.1964
86 | 2604868.012 | 1210986.1593
87 | 2605106.4264 | 1210835.6736

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1