## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_540-6_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_540-6_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_540-6_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_540-6_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_540-6_0_6_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_540-6_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_540-6_0_6_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_540-6_0_6_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_540-6_0_6_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_540-6_0_6_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_540-6_0_6_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_540-6_0_6_node_83 | 0.4 | n |  | TRUE
12 | bus_LV_540-6_0_6_node_46 | 0.4 | n |  | TRUE
13 | bus_LV_540-6_0_6_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_540-6_0_6_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_540-6_0_6_node_66 | 0.4 | n |  | TRUE
16 | bus_LV_540-6_0_6_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_540-6_0_6_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_540-6_0_6_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_540-6_0_6_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_540-6_0_6_node_5 | 0.4 | n |  | TRUE
21 | bus_LV_540-6_0_6_node_7 | 0.4 | n |  | TRUE
22 | bus_LV_540-6_0_6_node_6 | 0.4 | n |  | TRUE
23 | bus_LV_540-6_0_6_node_8 | 0.4 | n |  | TRUE
24 | bus_LV_540-6_0_6_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_540-6_0_6_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_540-6_0_6_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_540-6_0_6_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_540-6_0_6_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_540-6_0_6_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_540-6_0_6_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_540-6_0_6_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_540-6_0_6_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_540-6_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_540-6_0_6_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_540-6_0_6_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_540-6_0_6_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_540-6_0_6_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_540-6_0_6_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_540-6_0_6_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_540-6_0_6_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_540-6_0_6_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_540-6_0_6_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_540-6_0_6_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_540-6_0_6_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_540-6_0_6_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_540-6_0_6_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_540-6_0_6_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_540-6_0_6_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_540-6_0_6_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_540-6_0_6_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_540-6_0_6_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_540-6_0_6_node_104 | 0.4 | n |  | TRUE
53 | bus_LV_540-6_0_6_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_540-6_0_6_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_540-6_0_6_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_540-6_0_6_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_540-6_0_6_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_540-6_0_6_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_540-6_0_6_node_103 | 0.4 | n |  | TRUE
60 | bus_LV_540-6_0_6_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_540-6_0_6_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_540-6_0_6_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_540-6_0_6_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_540-6_0_6_node_102 | 0.4 | n |  | TRUE
65 | bus_LV_540-6_0_6_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_540-6_0_6_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_540-6_0_6_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_540-6_0_6_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_540-6_0_6_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_540-6_0_6_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_540-6_0_6_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_540-6_0_6_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_540-6_0_6_node_78 | 0.4 | n |  | TRUE
74 | bus_LV_540-6_0_6_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_540-6_0_6_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_540-6_0_6_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_540-6_0_6_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_540-6_0_6_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_540-6_0_6_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_540-6_0_6_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_540-6_0_6_node_89 | 0.4 | n |  | TRUE
82 | bus_LV_540-6_0_6_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_540-6_0_6_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_540-6_0_6_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_540-6_0_6_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_540-6_0_6_node_92 | 0.4 | n |  | TRUE
87 | bus_LV_540-6_0_6_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_540-6_0_6_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_540-6_0_6_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_540-6_0_6_node_100 | 0.4 | n |  | TRUE
91 | bus_LV_540-6_0_6_node_94 | 0.4 | n |  | TRUE
92 | bus_LV_540-6_0_6_node_99 | 0.4 | n |  | TRUE
93 | bus_LV_540-6_0_6_node_96 | 0.4 | n |  | TRUE
94 | bus_LV_540-6_0_6_node_93 | 0.4 | n |  | TRUE
95 | bus_LV_540-6_0_6_node_86 | 0.4 | n |  | TRUE
96 | bus_LV_540-6_0_6_node_87 | 0.4 | n |  | TRUE
97 | bus_LV_540-6_0_6_node_88 | 0.4 | n |  | TRUE
98 | bus_LV_540-6_0_6_node_90 | 0.4 | n |  | TRUE
99 | bus_LV_540-6_0_6_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_540-6_0_6_node_95 | 0.4 | n |  | TRUE
101 | bus_LV_540-6_0_6_node_97 | 0.4 | n |  | TRUE
102 | bus_LV_540-6_0_6_node_98 | 0.4 | n |  | TRUE
103 | bus_LV_540-6_0_6_node_101 | 0.4 | n |  | TRUE
104 | bus_MV_387_3_node_150 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_540-6_0_6_load_0 | 0 | 0.0031453 | 0.00078828 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_540-6_0_6_load_1 | 1 | 0.002043 | 0.00051202 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_540-6_0_6_load_17 | 4 | 0.0047409 | 0.0011882 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_540-6_0_6_load_15 | 6 | 0.009961 | 0.0024965 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_540-6_0_6_load_28 | 9 | 0.0091111 | 0.0022835 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_540-6_0_6_load_16 | 10 | 0.0026259 | 0.00065812 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_540-6_0_6_load_83 | 11 | 0.012568 | 0.00315 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_540-6_0_6_load_68 | 14 | 0.006919 | 0.0017341 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_540-6_0_6_load_66 | 15 | 0.0049479 | 0.0012401 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_540-6_0_6_load_18 | 16 | 0.021197 | 0.0053126 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_540-6_0_6_load_22 | 18 | 0.0023412 | 0.00058675 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_540-6_0_6_load_27 | 19 | 0.0039015 | 0.0009778 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_540-6_0_6_load_5 | 20 | 0.028551 | 0.0071555 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_540-6_0_6_load_8 | 23 | 0.0082563 | 0.0020692 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_540-6_0_6_load_10 | 25 | 0.0012668 | 0.00031748 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_540-6_0_6_load_14 | 27 | 0.042092 | 0.010549 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_540-6_0_6_load_37 | 29 | 0.019581 | 0.0049076 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_540-6_0_6_load_13 | 30 | 0.015974 | 0.0040034 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_540-6_0_6_load_48 | 31 | 0.0016373 | 0.00041034 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_540-6_0_6_load_44 | 32 | 0.0016638 | 0.000417 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_540-6_0_6_load_26 | 35 | 0.021438 | 0.0053729 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_540-6_0_6_load_60 | 36 | 0.009442 | 0.0023664 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_540-6_0_6_load_47 | 37 | 0.002185 | 0.00054762 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_540-6_0_6_load_45 | 38 | 0.0056279 | 0.0014105 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_540-6_0_6_load_29 | 41 | 0.0016695 | 0.00041842 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_540-6_0_6_load_30 | 42 | 0.0046087 | 0.001155 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_540-6_0_6_load_31 | 43 | 0.0045746 | 0.0011465 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_540-6_0_6_load_32 | 44 | 0.002692 | 0.00067469 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_540-6_0_6_load_33 | 45 | 0.0077514 | 0.0019427 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_540-6_0_6_load_34 | 46 | 0.0045331 | 0.0011361 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_540-6_0_6_load_35 | 47 | 0.0019179 | 0.00048066 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_540-6_0_6_load_42 | 48 | 0.0021464 | 0.00053794 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_540-6_0_6_load_50 | 50 | 0.0052543 | 0.0013169 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_540-6_0_6_load_104 | 52 | 0.0014685 | 0.00036803 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_540-6_0_6_load_58 | 53 | 0.0014512 | 0.00036371 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_540-6_0_6_load_38 | 55 | 0.0081384 | 0.0020397 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_540-6_0_6_load_39 | 56 | 0.0025743 | 0.00064519 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_540-6_0_6_load_41 | 57 | 0.00053983 | 0.00013529 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_540-6_0_6_load_103 | 59 | 0.0015442 | 0.00038702 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_540-6_0_6_load_53 | 62 | 0.0041102 | 0.0010301 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_540-6_0_6_load_54 | 63 | 0.001818 | 0.00045564 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_540-6_0_6_load_102 | 64 | 0.0056159 | 0.0014075 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_540-6_0_6_load_59 | 65 | 0.0030592 | 0.0007667 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_540-6_0_6_load_55 | 66 | 0.0041437 | 0.0010385 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_540-6_0_6_load_57 | 67 | 0.0018108 | 0.00045383 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_540-6_0_6_load_62 | 68 | 0.0009873 | 0.00024744 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_540-6_0_6_load_63 | 69 | 0.003368 | 0.0008441 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_540-6_0_6_load_64 | 70 | 0.0016535 | 0.00041441 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_540-6_0_6_load_65 | 71 | 0.0027361 | 0.00068574 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_540-6_0_6_load_69 | 74 | 0.012863 | 0.0032238 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_540-6_0_6_load_70 | 76 | 0.007873 | 0.0019732 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_540-6_0_6_load_84 | 78 | 0.010714 | 0.0026851 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_540-6_0_6_load_72 | 79 | 0.010885 | 0.0027281 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_540-6_0_6_load_73 | 80 | 0.0087601 | 0.0021955 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_540-6_0_6_load_89 | 81 | 0.0038352 | 0.00096119 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_540-6_0_6_load_79 | 84 | 0.0054 | 0.0013534 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_540-6_0_6_load_76 | 85 | 0.00879 | 0.002203 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_540-6_0_6_load_92 | 86 | 0.010455 | 0.0026203 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_540-6_0_6_load_82 | 87 | 0.010242 | 0.0025668 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_540-6_0_6_load_77 | 88 | 0.0055238 | 0.0013844 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_540-6_0_6_load_81 | 89 | 0.0019835 | 0.00049712 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_540-6_0_6_load_100 | 90 | 0.0018939 | 0.00047467 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_540-6_0_6_load_99 | 92 | 0.0012447 | 0.00031195 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_540-6_0_6_load_96 | 93 | 0.0052463 | 0.0013148 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_540-6_0_6_load_86 | 95 | 0.010017 | 0.0025106 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_540-6_0_6_load_87 | 96 | 0.0054651 | 0.0013697 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_540-6_0_6_load_88 | 97 | 0.005505 | 0.0013797 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_540-6_0_6_load_91 | 99 | 0.0013268 | 0.00033252 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_540-6_0_6_load_95 | 100 | 0.001318 | 0.00033033 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_540-6_0_6_load_97 | 101 | 0.0018459 | 0.00046264 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_540-6_0_6_load_98 | 102 | 0.0022865 | 0.00057306 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_540-6_0_6_load_101 | 103 | 0.0031872 | 0.00079879 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_540-6_0_6_line_0 |  | 0 | 1 | 0.013255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_540-6_0_6_line_1 |  | 1 | 2 | 0.093883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_540-6_0_6_line_2 |  | 2 | 3 | 0.095716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_540-6_0_6_line_3 |  | 3 | 4 | 0.059093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_540-6_0_6_line_4 |  | 3 | 5 | 0.064013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_540-6_0_6_line_5 |  | 3 | 6 | 0.032933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_540-6_0_6_line_6 |  | 5 | 7 | 0.075035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_540-6_0_6_line_7 |  | 5 | 8 | 0.044879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_540-6_0_6_line_8 |  | 5 | 9 | 0.037187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_540-6_0_6_line_9 |  | 6 | 10 | 0.012984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_540-6_0_6_line_10 |  | 7 | 11 | 0.022109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_540-6_0_6_line_11 |  | 7 | 12 | 0.005767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_540-6_0_6_line_12 |  | 8 | 16 | 0.0091177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_540-6_0_6_line_13 |  | 9 | 19 | 0.076833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_540-6_0_6_line_14 |  | 12 | 37 | 0.030551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_540-6_0_6_line_15 |  | 12 | 38 | 0.010628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_540-6_0_6_line_16 |  | 13 | 14 | 0.019008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_540-6_0_6_line_17 |  | 13 | 15 | 0.0045406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_540-6_0_6_line_18 |  | 15 | 39 | 0.0016869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_540-6_0_6_line_19 |  | 16 | 17 | 0.023752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_540-6_0_6_line_20 |  | 17 | 18 | 0.011621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_540-6_0_6_line_21 |  | 18 | 35 | 0.024585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_540-6_0_6_line_22 |  | 19 | 30 | 0.0041346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_540-6_0_6_line_23 |  | 20 | 21 | 0.017918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_540-6_0_6_line_24 |  | 21 | 23 | 0.029217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_540-6_0_6_line_25 |  | 21 | 25 | 0.032368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_540-6_0_6_line_26 |  | 22 | 23 | 0.042277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_540-6_0_6_line_27 |  | 22 | 24 | 0.013296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_540-6_0_6_line_28 |  | 24 | 26 | 0.017353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_540-6_0_6_line_29 |  | 25 | 27 | 0.039708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_540-6_0_6_line_30 |  | 26 | 28 | 0.041341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_540-6_0_6_line_31 |  | 26 | 29 | 0.052065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_540-6_0_6_line_32 |  | 28 | 31 | 0.0095006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_540-6_0_6_line_33 |  | 29 | 32 | 0.07474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_540-6_0_6_line_34 |  | 31 | 50 | 0.014132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_540-6_0_6_line_35 |  | 32 | 54 | 0.011879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_540-6_0_6_line_36 |  | 33 | 34 | 0.046081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_540-6_0_6_line_37 |  | 33 | 35 | 0.002402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_540-6_0_6_line_38 |  | 34 | 36 | 0.030905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_540-6_0_6_line_39 |  | 36 | 40 | 0.025986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_540-6_0_6_line_40 |  | 38 | 47 | 0.013668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_540-6_0_6_line_41 |  | 39 | 74 | 0.026673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_540-6_0_6_line_42 |  | 40 | 68 | 0.011224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_540-6_0_6_line_43 |  | 40 | 69 | 0.026188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_540-6_0_6_line_44 |  | 41 | 42 | 0.0020482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_540-6_0_6_line_45 |  | 41 | 43 | 0.00014903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_540-6_0_6_line_46 |  | 42 | 44 | 0.030448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_540-6_0_6_line_47 |  | 43 | 45 | 0.01736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_540-6_0_6_line_48 |  | 44 | 46 | 0.026555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_540-6_0_6_line_49 |  | 45 | 47 | 0.009329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_540-6_0_6_line_50 |  | 46 | 48 | 0.035739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_540-6_0_6_line_51 |  | 48 | 49 | 0.0017991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_540-6_0_6_line_52 |  | 49 | 54 | 0.026272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_540-6_0_6_line_53 |  | 49 | 55 | 0.037159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_540-6_0_6_line_54 |  | 50 | 58 | 0.014297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_540-6_0_6_line_55 |  | 51 | 52 | 0.008706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_540-6_0_6_line_56 |  | 51 | 53 | 0.022294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_540-6_0_6_line_57 |  | 52 | 59 | 0.00097866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_540-6_0_6_line_58 |  | 53 | 60 | 0.0070201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_540-6_0_6_line_59 |  | 55 | 56 | 0.0046869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_540-6_0_6_line_60 |  | 56 | 57 | 0.045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_540-6_0_6_line_61 |  | 58 | 61 | 0.007723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_540-6_0_6_line_62 |  | 59 | 64 | 0.017388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_540-6_0_6_line_63 |  | 60 | 66 | 0.038045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_540-6_0_6_line_64 |  | 61 | 62 | 0.010174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_540-6_0_6_line_65 |  | 61 | 63 | 0.01878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_540-6_0_6_line_66 |  | 63 | 64 | 0.0095712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_540-6_0_6_line_67 |  | 64 | 65 | 0.020941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_540-6_0_6_line_68 |  | 65 | 67 | 0.00016878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_540-6_0_6_line_69 |  | 68 | 70 | 0.0056624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_540-6_0_6_line_70 |  | 69 | 71 | 0.0034285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_540-6_0_6_line_71 |  | 71 | 72 | 0.030958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_540-6_0_6_line_72 |  | 72 | 73 | 0.0047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_540-6_0_6_line_73 |  | 73 | 89 | 0.016872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_540-6_0_6_line_74 |  | 73 | 88 | 0.029114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_540-6_0_6_line_75 |  | 74 | 75 | 0.0015487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_540-6_0_6_line_76 |  | 75 | 79 | 0.015627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_540-6_0_6_line_77 |  | 75 | 80 | 0.01787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_540-6_0_6_line_78 |  | 76 | 77 | 0.013316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_540-6_0_6_line_79 |  | 76 | 78 | 0.015871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_540-6_0_6_line_80 |  | 77 | 81 | 0.016483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_540-6_0_6_line_81 |  | 78 | 82 | 0.013792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_540-6_0_6_line_82 |  | 80 | 83 | 0.012879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_540-6_0_6_line_83 |  | 81 | 86 | 0.014105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_540-6_0_6_line_84 |  | 82 | 95 | 0.007524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_540-6_0_6_line_85 |  | 82 | 96 | 0.00067176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_540-6_0_6_line_86 |  | 83 | 84 | 0.017918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_540-6_0_6_line_87 |  | 83 | 85 | 0.014292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_540-6_0_6_line_88 |  | 84 | 87 | 0.0019193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_540-6_0_6_line_89 |  | 85 | 88 | 0.015169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_540-6_0_6_line_90 |  | 86 | 98 | 0.015135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_540-6_0_6_line_91 |  | 87 | 91 | 0.013566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_540-6_0_6_line_92 |  | 89 | 90 | 0.024064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_540-6_0_6_line_93 |  | 90 | 92 | 0.021097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_540-6_0_6_line_94 |  | 91 | 93 | 0.013803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_540-6_0_6_line_95 |  | 91 | 94 | 0.031227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_540-6_0_6_line_96 |  | 92 | 103 | 0.012547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_540-6_0_6_line_97 |  | 93 | 102 | 0.019605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_540-6_0_6_line_98 |  | 94 | 100 | 0.015605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_540-6_0_6_line_99 |  | 94 | 99 | 0.016658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_540-6_0_6_line_100 |  | 97 | 98 | 0.014914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_540-6_0_6_line_101 |  | 98 | 99 | 0.0019967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_540-6_0_6_line_102 |  | 100 | 101 | 0.019904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_540-6_0_6_trafo_35 | 0.63 MVA 20/0.4 kV | 104 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2605133.6173 | 1210444.7234 | 2605128.9754 | 1210446.6768 | 2605131.7434 | 1210454.415
1 | 2605153.4403 | 1210541.3501 | 2605144.7124 | 1210528.2131 | 2605139.7962 | 1210518.7593 | 2605136.8066 | 1210504.5266 | 2605136.6714 | 1210493.7205 | 2605134.9996 | 1210484.7363 | 2605129.9126 | 1210470.4908 | 2605134.6082 | 1210462.4236 | 2605131.7434 | 1210454.415
2 | 2605080.2253 | 1210546.9912 | 2605081.1034 | 1210551.0164 | 2605094.4373 | 1210572.1394 | 2605111.9605 | 1210563.4938 | 2605136.6374 | 1210551.6081 | 2605153.4403 | 1210541.3501
3 | 2605108.2084 | 1210507.4484 | 2605110.3531 | 1210532.3196 | 2605099.2644 | 1210534.1557 | 2605080.2253 | 1210546.9912
4 | 2605080.2253 | 1210546.9912 | 2605081.1034 | 1210551.0164 | 2605094.4373 | 1210572.1394 | 2605074.5266 | 1210582.3728 | 2605062.7217 | 1210586.5652
5 | 2605080.2253 | 1210546.9912 | 2605066.7318 | 1210543.8448 | 2605064.9435 | 1210524.8513
6 | 2605010.4426 | 1210555.7601 | 2605035.5706 | 1210595.0028 | 2605056.7094 | 1210588.2055 | 2605062.7217 | 1210586.5652
7 | 2605051.5392 | 1210618.8293 | 2605065.0892 | 1210617.7623 | 2605062.7217 | 1210586.5652
8 | 2605062.7217 | 1210586.5652 | 2605061.5325 | 1210572.8677 | 2605059.2998 | 1210549.5367
9 | 2605063.7265 | 1210511.9246 | 2605064.9435 | 1210524.8513
10 | 2605010.4426 | 1210555.7601 | 2605003.0972 | 1210561.2904 | 2604998.1775 | 1210564.9995 | 2604996.9365 | 1210567.9001 | 2604996.8894 | 1210569.7122 | 2604997.6023 | 1210571.3804
11 | 2605007.331 | 1210550.8993 | 2605010.4426 | 1210555.7601
12 | 2605051.5392 | 1210618.8293 | 2605043.0585 | 1210622.1774
13 | 2605059.2998 | 1210549.5367 | 2605055.0614 | 1210505.247 | 2605052.385 | 1210473.0172
14 | 2605007.331 | 1210550.8993 | 2604994.2678 | 1210560.3382 | 2604981.5639 | 1210567.3205
15 | 2605007.331 | 1210550.8993 | 2605001.6013 | 1210541.9484
16 | 2604994.2871 | 1210610.6216 | 2604989.9 | 1210604.3368 | 2604985.1845 | 1210600.0527 | 2604982.6751 | 1210595.7602
17 | 2604994.2871 | 1210610.6216 | 2604990.285 | 1210612.7664
18 | 2604988.7981 | 1210613.5632 | 2604990.285 | 1210612.7664
19 | 2605020.9658 | 1210630.8994 | 2605043.0585 | 1210622.1774
20 | 2605020.9658 | 1210630.8994 | 2605018.2724 | 1210634.8772 | 2605017.8412 | 1210641.6806
21 | 2605022.9183 | 1210665.7164 | 2605019.6217 | 1210648.0523 | 2605017.8412 | 1210641.6806
22 | 2605052.385 | 1210473.0172 | 2605052.383 | 1210472.9935 | 2605051.8274 | 1210468.9204
23 | 2605060.7876 | 1210373.3231 | 2605061.379 | 1210374.98 | 2605066.8358 | 1210390.1895
24 | 2605060.7876 | 1210373.3231 | 2605061.379 | 1210374.98 | 2605070.6514 | 1210400.8244
25 | 2605060.7876 | 1210373.3231 | 2605062.3917 | 1210372.6463 | 2605090.7623 | 1210361.1081
26 | 2605048.1761 | 1210378.3598 | 2605048.8433 | 1210380.2058 | 2605057.8731 | 1210405.3829 | 2605070.6514 | 1210400.8244
27 | 2605035.7168 | 1210383.0965 | 2605048.1761 | 1210378.3598
28 | 2605020.4352 | 1210391.3995 | 2605035.7168 | 1210383.0965
29 | 2605090.7623 | 1210361.1081 | 2605079.6823 | 1210334.0282 | 2605075.7262 | 1210324.357
30 | 2605037.9627 | 1210423.6986 | 2605032.2298 | 1210399.9807 | 2605025.9985 | 1210399.8421 | 2605022.3224 | 1210397.4711 | 2605020.4352 | 1210391.3995
31 | 2605020.4352 | 1210391.3995 | 2604993.8635 | 1210405.841 | 2604981.6512 | 1210387.7556
32 | 2605037.9627 | 1210423.6986 | 2605028.7101 | 1210425.8546
33 | 2604981.6512 | 1210387.7556 | 2604969.3096 | 1210369.4784 | 2604924.6257 | 1210397.3924
34 | 2605014.9472 | 1210429.0616 | 2605028.7101 | 1210425.8546
35 | 2604914.551 | 1210403.686 | 2604924.6257 | 1210397.3924
36 | 2605006.79 | 1210699.4479 | 2605006.8809 | 1210690.5653 | 2605015.5171 | 1210686.0366 | 2605025.1984 | 1210685.789 | 2605023.359 | 1210668.0776
37 | 2605023.359 | 1210668.0776 | 2605022.9183 | 1210665.7164
38 | 2605006.79 | 1210699.4479 | 2605000.3089 | 1210698.5087 | 2604989.8222 | 1210698.589 | 2604975.9662 | 1210699.1995
39 | 2604949.995 | 1210699.9459 | 2604961.8343 | 1210699.8222 | 2604975.9662 | 1210699.1995
40 | 2604994.2323 | 1210530.4364 | 2605001.6013 | 1210541.9484
41 | 2604988.7981 | 1210613.5632 | 2604977.5151 | 1210620.8691 | 2604966.7944 | 1210628.6231
42 | 2604949.995 | 1210699.9459 | 2604944.3886 | 1210707.2676 | 2604943.1183 | 1210708.816
43 | 2604949.995 | 1210699.9459 | 2604948.2168 | 1210699.9667 | 2604934.6835 | 1210699.3998 | 2604923.8634 | 1210698.4126
44 | 2604978.6589 | 1210506.1074 | 2604979.7631 | 1210507.8324
45 | 2604979.8434 | 1210507.9579 | 2604979.7631 | 1210507.8324
46 | 2604962.4439 | 1210480.3364 | 2604973.3608 | 1210497.8307 | 2604978.6589 | 1210506.1074
47 | 2604989.2028 | 1210522.5793 | 2604979.8434 | 1210507.9579
48 | 2604962.4439 | 1210480.3364 | 2604948.3857 | 1210457.8085
49 | 2604994.2323 | 1210530.4364 | 2604989.2028 | 1210522.5793
50 | 2604929.4614 | 1210427.4909 | 2604933.297 | 1210433.629 | 2604948.3857 | 1210457.8085
51 | 2604928.5081 | 1210425.9653 | 2604929.4614 | 1210427.4909
52 | 2604914.551 | 1210403.686 | 2604928.5081 | 1210425.9653
53 | 2604928.5081 | 1210425.9653 | 2604920.4967 | 1210428.0599 | 2604913.7773 | 1210430.0222 | 2604907.6961 | 1210432.2296 | 2604902.7547 | 1210434.5046 | 2604897.1971 | 1210437.6686 | 2604894.3214 | 1210439.7907
54 | 2605001.023 | 1210432.3061 | 2605014.9472 | 1210429.0616
55 | 2605042.8931 | 1210452.9745 | 2605034.3471 | 1210454.6361
56 | 2605042.8931 | 1210452.9745 | 2605044.695 | 1210475.1955
57 | 2605033.3865 | 1210454.8229 | 2605034.3471 | 1210454.6361
58 | 2605045.2625 | 1210482.1927 | 2605044.695 | 1210475.1955
59 | 2604894.3214 | 1210439.7907 | 2604890.5502 | 1210442.5737
60 | 2604890.5502 | 1210442.5737 | 2604881.4115 | 1210449.3178 | 2604873.6798 | 1210453.3805 | 2604864.8753 | 1210459.0432 | 2604854.7796 | 1210448.7193
61 | 2605001.023 | 1210432.3061 | 2605002.9318 | 1210439.7896
62 | 2605016.2774 | 1210456.5766 | 2605020.9732 | 1210457.2364 | 2605033.3865 | 1210454.8229
63 | 2605045.2625 | 1210482.1927 | 2605046.6898 | 1210501.9271 | 2605044.6461 | 1210510.4857 | 2605036.6945 | 1210515.6099
64 | 2605002.9318 | 1210439.7896 | 2604993.3993 | 1210443.417
65 | 2605002.9318 | 1210439.7896 | 2605006.8378 | 1210458.1586
66 | 2605016.2774 | 1210456.5766 | 2605006.8378 | 1210458.1586
67 | 2605016.2774 | 1210456.5766 | 2605018.304 | 1210477.4196
68 | 2605018.304 | 1210477.4196 | 2605018.3204 | 1210477.5876
69 | 2604939.5269 | 1210713.1938 | 2604943.1183 | 1210708.816
70 | 2604923.8634 | 1210698.4126 | 2604920.478 | 1210697.871
71 | 2604891.8423 | 1210687.8919 | 2604895.5329 | 1210691.0189 | 2604898.2368 | 1210692.5997 | 2604901.1005 | 1210693.9917 | 2604905.9854 | 1210695.5521 | 2604920.478 | 1210697.871
72 | 2604891.8423 | 1210687.8919 | 2604895.6213 | 1210685.0823
73 | 2604895.6213 | 1210685.0823 | 2604885.6942 | 1210671.4393
74 | 2604895.6213 | 1210685.0823 | 2604903.0194 | 1210679.7965 | 2604911.9925 | 1210672.0217 | 2604918.3484 | 1210666.9229
75 | 2604965.5395 | 1210629.5307 | 2604966.7944 | 1210628.6231
76 | 2604965.5395 | 1210629.5307 | 2604955.6902 | 1210617.3986
77 | 2604965.5395 | 1210629.5307 | 2604951.4692 | 1210640.5479
78 | 2604945.4848 | 1210584.0779 | 2604937.2117 | 1210590.4858 | 2604935.9254 | 1210593.0529
79 | 2604945.4848 | 1210584.0779 | 2604937.2421 | 1210570.515
80 | 2604935.9254 | 1210593.0529 | 2604923.4693 | 1210603.8487
81 | 2604930.0793 | 1210558.7291 | 2604937.2421 | 1210570.515
82 | 2604941.3286 | 1210648.4881 | 2604951.4692 | 1210640.5479
83 | 2604914.523 | 1210592.9444 | 2604923.4693 | 1210603.8487
84 | 2604930.0793 | 1210558.7291 | 2604935.6384 | 1210553.6419
85 | 2604929.5787 | 1210559.1771 | 2604930.0793 | 1210558.7291
86 | 2604941.3286 | 1210648.4881 | 2604930.389 | 1210634.2976
87 | 2604941.3286 | 1210648.4881 | 2604930.1803 | 1210657.4313
88 | 2604930.389 | 1210634.2976 | 2604929.2172 | 1210632.7775
89 | 2604930.1803 | 1210657.4313 | 2604918.3484 | 1210666.9229
90 | 2604904.9231 | 1210581.2433 | 2604914.523 | 1210592.9444
91 | 2604921.555 | 1210621.6459 | 2604923.2165 | 1210624.9936 | 2604929.2172 | 1210632.7775
92 | 2604867.8559 | 1210655.563 | 2604869.4879 | 1210657.4681 | 2604882.9299 | 1210667.6402 | 2604885.6942 | 1210671.4393
93 | 2604854.1309 | 1210639.5408 | 2604867.8559 | 1210655.563
94 | 2604921.555 | 1210621.6459 | 2604908.451 | 1210625.9814
95 | 2604904.5391 | 1210595.5954 | 2604916.1989 | 1210610.8689 | 2604921.555 | 1210621.6459
96 | 2604845.9681 | 1210630.0118 | 2604854.1309 | 1210639.5408
97 | 2604908.451 | 1210625.9814 | 2604889.8385 | 1210632.1393
98 | 2604904.5391 | 1210595.5954 | 2604889.7955 | 1210600.7071
99 | 2604904.5391 | 1210595.5954 | 2604898.7851 | 1210588.0533 | 2604903.5863 | 1210582.7265
100 | 2604904.9231 | 1210581.2433 | 2604916.0361 | 1210571.2975
101 | 2604904.9231 | 1210581.2433 | 2604903.5863 | 1210582.7265
102 | 2604889.7955 | 1210600.7071 | 2604870.9897 | 1210607.2271

## bus_geodata
| x | y | coords
0 | 2605133.6173 | 1210444.7234
1 | 2605131.7434 | 1210454.415
2 | 2605153.4403 | 1210541.3501
3 | 2605080.2253 | 1210546.9912
4 | 2605108.2084 | 1210507.4484
5 | 2605062.7217 | 1210586.5652
6 | 2605064.9435 | 1210524.8513
7 | 2605010.4426 | 1210555.7601
8 | 2605051.5392 | 1210618.8293
9 | 2605059.2998 | 1210549.5367
10 | 2605063.7265 | 1210511.9246
11 | 2604997.6023 | 1210571.3804
12 | 2605007.331 | 1210550.8993
13 | 2604994.2871 | 1210610.6216
14 | 2604982.6751 | 1210595.7602
15 | 2604990.285 | 1210612.7664
16 | 2605043.0585 | 1210622.1774
17 | 2605020.9658 | 1210630.8994
18 | 2605017.8412 | 1210641.6806
19 | 2605052.385 | 1210473.0172
20 | 2605066.8358 | 1210390.1895
21 | 2605060.7876 | 1210373.3231
22 | 2605048.1761 | 1210378.3598
23 | 2605070.6514 | 1210400.8244
24 | 2605035.7168 | 1210383.0965
25 | 2605090.7623 | 1210361.1081
26 | 2605020.4352 | 1210391.3995
27 | 2605075.7262 | 1210324.357
28 | 2605037.9627 | 1210423.6986
29 | 2604981.6512 | 1210387.7556
30 | 2605051.8274 | 1210468.9204
31 | 2605028.7101 | 1210425.8546
32 | 2604924.6257 | 1210397.3924
33 | 2605023.359 | 1210668.0776
34 | 2605006.79 | 1210699.4479
35 | 2605022.9183 | 1210665.7164
36 | 2604975.9662 | 1210699.1995
37 | 2604981.5639 | 1210567.3205
38 | 2605001.6013 | 1210541.9484
39 | 2604988.7981 | 1210613.5632
40 | 2604949.995 | 1210699.9459
41 | 2604979.7631 | 1210507.8324
42 | 2604978.6589 | 1210506.1074
43 | 2604979.8434 | 1210507.9579
44 | 2604962.4439 | 1210480.3364
45 | 2604989.2028 | 1210522.5793
46 | 2604948.3857 | 1210457.8085
47 | 2604994.2323 | 1210530.4364
48 | 2604929.4614 | 1210427.4909
49 | 2604928.5081 | 1210425.9653
50 | 2605014.9472 | 1210429.0616
51 | 2605042.8931 | 1210452.9745
52 | 2605034.3471 | 1210454.6361
53 | 2605044.695 | 1210475.1955
54 | 2604914.5511 | 1210403.686
55 | 2604894.3214 | 1210439.7907
56 | 2604890.5502 | 1210442.5737
57 | 2604854.7796 | 1210448.7193
58 | 2605001.023 | 1210432.3061
59 | 2605033.3865 | 1210454.8229
60 | 2605045.2625 | 1210482.1927
61 | 2605002.9318 | 1210439.7896
62 | 2604993.3993 | 1210443.417
63 | 2605006.8378 | 1210458.1586
64 | 2605016.2774 | 1210456.5766
65 | 2605018.304 | 1210477.4196
66 | 2605036.6945 | 1210515.6099
67 | 2605018.3204 | 1210477.5876
68 | 2604943.1183 | 1210708.816
69 | 2604923.8634 | 1210698.4126
70 | 2604939.5269 | 1210713.1938
71 | 2604920.478 | 1210697.871
72 | 2604891.8423 | 1210687.8919
73 | 2604895.6213 | 1210685.0823
74 | 2604966.7944 | 1210628.6231
75 | 2604965.5395 | 1210629.5307
76 | 2604945.4848 | 1210584.0779
77 | 2604935.9254 | 1210593.0529
78 | 2604937.2421 | 1210570.515
79 | 2604955.6902 | 1210617.3986
80 | 2604951.4692 | 1210640.5479
81 | 2604923.4693 | 1210603.8487
82 | 2604930.0793 | 1210558.7291
83 | 2604941.3286 | 1210648.4881
84 | 2604930.389 | 1210634.2976
85 | 2604930.1803 | 1210657.4313
86 | 2604914.523 | 1210592.9444
87 | 2604929.2172 | 1210632.7775
88 | 2604918.3484 | 1210666.9229
89 | 2604885.6942 | 1210671.4393
90 | 2604867.8559 | 1210655.563
91 | 2604921.555 | 1210621.6459
92 | 2604854.1309 | 1210639.5408
93 | 2604908.451 | 1210625.9814
94 | 2604904.5391 | 1210595.5954
95 | 2604935.6384 | 1210553.6419
96 | 2604929.5787 | 1210559.1771
97 | 2604916.0361 | 1210571.2975
98 | 2604904.9231 | 1210581.2433
99 | 2604903.5863 | 1210582.7265
100 | 2604889.7955 | 1210600.7071
101 | 2604870.9897 | 1210607.2271
102 | 2604889.8385 | 1210632.1393
103 | 2604845.9681 | 1210630.0118
104 | 2605007.331 | 1210550.8993

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1