## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5422-4_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5422-4_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5422-4_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5422-4_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5422-4_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5422-4_0_6_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_5422-4_0_6_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_5422-4_0_6_node_50 | 0.4 | n |  | TRUE
8 | bus_LV_5422-4_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5422-4_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5422-4_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5422-4_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5422-4_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5422-4_0_6_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_5422-4_0_6_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_5422-4_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5422-4_0_6_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_5422-4_0_6_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_5422-4_0_6_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_5422-4_0_6_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_5422-4_0_6_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_5422-4_0_6_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_5422-4_0_6_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_5422-4_0_6_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_5422-4_0_6_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_5422-4_0_6_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_5422-4_0_6_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_5422-4_0_6_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_5422-4_0_6_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_5422-4_0_6_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_5422-4_0_6_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_5422-4_0_6_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_5422-4_0_6_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_5422-4_0_6_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_5422-4_0_6_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_5422-4_0_6_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_5422-4_0_6_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_5422-4_0_6_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_5422-4_0_6_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_5422-4_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_5422-4_0_6_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_5422-4_0_6_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_5422-4_0_6_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_5422-4_0_6_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_5422-4_0_6_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_5422-4_0_6_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_5422-4_0_6_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_5422-4_0_6_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_5422-4_0_6_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_5422-4_0_6_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_5422-4_0_6_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_5422-4_0_6_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_5422-4_0_6_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_5422-4_0_6_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_5422-4_0_6_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_5422-4_0_6_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_5422-4_0_6_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_5422-4_0_6_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_5422-4_0_6_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_5422-4_0_6_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_5422-4_0_6_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_5422-4_0_6_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_5422-4_0_6_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_5422-4_0_6_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_5422-4_0_6_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_5422-4_0_6_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_5422-4_0_6_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_5422-4_0_6_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_5422-4_0_6_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_5422-4_0_6_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_5422-4_0_6_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_5422-4_0_6_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_5422-4_0_6_node_69 | 0.4 | n |  | TRUE
73 | bus_MV_336_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5422-4_0_6_load_0 | 0 | 0.0057176 | 0.001433 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5422-4_0_6_load_1 | 1 | 0.0026174 | 0.00065599 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5422-4_0_6_load_2 | 2 | 0.0060183 | 0.0015083 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5422-4_0_6_load_3 | 3 | 0.0086829 | 0.0021761 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5422-4_0_6_load_4 | 4 | 0.013185 | 0.0033046 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5422-4_0_6_load_52 | 5 | 0.0023302 | 0.00058401 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5422-4_0_6_load_53 | 6 | 0.0013685 | 0.00034297 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5422-4_0_6_load_5 | 8 | 0.0012371 | 0.00031006 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5422-4_0_6_load_6 | 9 | 0.00059339 | 0.00014872 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5422-4_0_6_load_7 | 10 | 0.0023131 | 0.00057971 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5422-4_0_6_load_31 | 13 | 0.0014067 | 0.00035255 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5422-4_0_6_load_30 | 14 | 0.0019315 | 0.00048409 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5422-4_0_6_load_29 | 17 | 0.00208 | 0.00052131 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5422-4_0_6_load_22 | 19 | 0.006754 | 0.0016927 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5422-4_0_6_load_46 | 20 | 0.00244 | 0.00061152 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5422-4_0_6_load_19 | 21 | 0.010083 | 0.0025271 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5422-4_0_6_load_21 | 22 | 0.0092619 | 0.0023213 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5422-4_0_6_load_11 | 23 | 0.0024588 | 0.00061622 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5422-4_0_6_load_15 | 27 | 0.031656 | 0.0079338 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5422-4_0_6_load_49 | 29 | 0.012176 | 0.0030515 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5422-4_0_6_load_24 | 30 | 0.015039 | 0.0037692 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5422-4_0_6_load_47 | 33 | 0.015553 | 0.0038979 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5422-4_0_6_load_17 | 34 | 0.03179 | 0.0079674 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5422-4_0_6_load_18 | 35 | 0.020208 | 0.0050647 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5422-4_0_6_load_20 | 36 | 0.0049916 | 0.001251 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5422-4_0_6_load_44 | 37 | 0.0098774 | 0.0024755 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5422-4_0_6_load_25 | 38 | 0.00056725 | 0.00014217 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5422-4_0_6_load_26 | 39 | 0.0025046 | 0.00062772 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5422-4_0_6_load_28 | 40 | 0.00117 | 0.00029322 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5422-4_0_6_load_36 | 41 | 0.0026655 | 0.00066804 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5422-4_0_6_load_32 | 42 | 0.00078741 | 0.00019734 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5422-4_0_6_load_33 | 43 | 0.0014287 | 0.00035807 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5422-4_0_6_load_35 | 44 | 0.00092572 | 0.00023201 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5422-4_0_6_load_38 | 45 | 0.0013771 | 0.00034513 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5422-4_0_6_load_39 | 46 | 0.0029149 | 0.00073055 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5422-4_0_6_load_41 | 47 | 0.0059328 | 0.0014869 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5422-4_0_6_load_42 | 48 | 0.018255 | 0.0045751 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5422-4_0_6_load_43 | 49 | 0.0040816 | 0.0010229 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5422-4_0_6_load_45 | 50 | 0.031536 | 0.0079036 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5422-4_0_6_load_54 | 52 | 0.019707 | 0.0049391 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5422-4_0_6_load_56 | 53 | 0.059751 | 0.014975 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5422-4_0_6_load_60 | 57 | 0.026237 | 0.0065755 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5422-4_0_6_load_65 | 59 | 0.056913 | 0.014264 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5422-4_0_6_load_61 | 60 | 0.014718 | 0.0036886 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5422-4_0_6_load_72 | 61 | 0.02267 | 0.0056816 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5422-4_0_6_load_64 | 62 | 0.0061269 | 0.0015355 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5422-4_0_6_load_62 | 63 | 0.047636 | 0.011939 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5422-4_0_6_load_63 | 64 | 0.0031669 | 0.0007937 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5422-4_0_6_load_66 | 65 | 0.0048011 | 0.0012033 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5422-4_0_6_load_67 | 66 | 0.0091153 | 0.0022845 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5422-4_0_6_load_71 | 67 | 0.00508 | 0.0012732 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5422-4_0_6_load_73 | 69 | 0.010421 | 0.0026118 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5422-4_0_6_load_70 | 70 | 0.0034232 | 0.00085794 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5422-4_0_6_load_75 | 71 | 0.01258 | 0.0031529 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5422-4_0_6_load_69 | 72 | 0.0058775 | 0.001473 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5422-4_0_6_line_0 |  | 0 | 1 | 0.0096827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_5422-4_0_6_line_1 |  | 0 | 2 | 0.024266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_5422-4_0_6_line_2 |  | 1 | 3 | 0.0432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5422-4_0_6_line_3 |  | 2 | 4 | 0.039466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_5422-4_0_6_line_4 |  | 3 | 5 | 0.031078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5422-4_0_6_line_5 |  | 4 | 6 | 0.0077086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_5422-4_0_6_line_6 |  | 6 | 7 | 0.010299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_5422-4_0_6_line_7 |  | 7 | 51 | 0.033841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_5422-4_0_6_line_8 |  | 7 | 52 | 0.030685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_5422-4_0_6_line_9 |  | 8 | 9 | 0.019248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5422-4_0_6_line_10 |  | 8 | 10 | 0.040916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_5422-4_0_6_line_11 |  | 9 | 11 | 0.0031619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5422-4_0_6_line_12 |  | 10 | 12 | 0.013135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_5422-4_0_6_line_13 |  | 11 | 13 | 0.014131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5422-4_0_6_line_14 |  | 11 | 14 | 0.026418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5422-4_0_6_line_15 |  | 12 | 15 | 0.038862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_5422-4_0_6_line_16 |  | 13 | 16 | 0.048775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5422-4_0_6_line_17 |  | 14 | 17 | 0.036041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5422-4_0_6_line_18 |  | 15 | 18 | 0.058048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_5422-4_0_6_line_19 |  | 15 | 19 | 0.017818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5422-4_0_6_line_20 |  | 16 | 41 | 0.024997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5422-4_0_6_line_21 |  | 16 | 42 | 0.03061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5422-4_0_6_line_22 |  | 17 | 40 | 0.033917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5422-4_0_6_line_23 |  | 18 | 20 | 0.038413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_5422-4_0_6_line_24 |  | 18 | 21 | 0.02212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5422-4_0_6_line_25 |  | 19 | 22 | 0.0029908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5422-4_0_6_line_26 |  | 20 | 37 | 0.025401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_5422-4_0_6_line_27 |  | 21 | 35 | 0.01393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5422-4_0_6_line_28 |  | 22 | 36 | 0.031706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5422-4_0_6_line_29 |  | 23 | 24 | 0.030591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5422-4_0_6_line_30 |  | 23 | 25 | 0.02967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5422-4_0_6_line_31 |  | 24 | 26 | 0.013879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5422-4_0_6_line_32 |  | 24 | 27 | 0.029713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5422-4_0_6_line_33 |  | 25 | 28 | 0.031317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5422-4_0_6_line_34 |  | 26 | 29 | 0.0096416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5422-4_0_6_line_35 |  | 28 | 30 | 0.056613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5422-4_0_6_line_36 |  | 29 | 31 | 0.042084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5422-4_0_6_line_37 |  | 31 | 32 | 0.058927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_5422-4_0_6_line_38 |  | 31 | 33 | 0.02636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_5422-4_0_6_line_39 |  | 32 | 52 | 0.040303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_5422-4_0_6_line_40 |  | 33 | 50 | 0.049729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_5422-4_0_6_line_41 |  | 34 | 35 | 0.038557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5422-4_0_6_line_42 |  | 37 | 48 | 0.019462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_5422-4_0_6_line_43 |  | 38 | 39 | 0.0085584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5422-4_0_6_line_44 |  | 39 | 40 | 0.03253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5422-4_0_6_line_45 |  | 41 | 45 | 0.071457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5422-4_0_6_line_46 |  | 42 | 43 | 0.018896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5422-4_0_6_line_47 |  | 43 | 44 | 0.061042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5422-4_0_6_line_48 |  | 45 | 46 | 0.04264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5422-4_0_6_line_49 |  | 47 | 48 | 0.026598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_5422-4_0_6_line_50 |  | 47 | 49 | 0.0075333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_5422-4_0_6_line_51 |  | 49 | 50 | 0.033846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_5422-4_0_6_line_52 |  | 51 | 53 | 0.055668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_5422-4_0_6_line_53 |  | 53 | 54 | 0.011061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_5422-4_0_6_line_54 |  | 54 | 55 | 0.028793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5422-4_0_6_line_55 |  | 54 | 56 | 0.066565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_5422-4_0_6_line_56 |  | 55 | 57 | 0.036901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5422-4_0_6_line_57 |  | 56 | 58 | 0.044328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_5422-4_0_6_line_58 |  | 56 | 59 | 0.059699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5422-4_0_6_line_59 |  | 57 | 60 | 0.0095202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5422-4_0_6_line_60 |  | 58 | 61 | 0.059194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_5422-4_0_6_line_61 |  | 59 | 62 | 0.027922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5422-4_0_6_line_62 |  | 60 | 63 | 0.0011474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5422-4_0_6_line_63 |  | 61 | 69 | 0.030639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5422-4_0_6_line_64 |  | 62 | 64 | 0.0011412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5422-4_0_6_line_65 |  | 65 | 66 | 0.045218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5422-4_0_6_line_66 |  | 65 | 67 | 0.061035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5422-4_0_6_line_67 |  | 66 | 68 | 0.029892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5422-4_0_6_line_68 |  | 67 | 69 | 0.031505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5422-4_0_6_line_69 |  | 67 | 70 | 0.02103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5422-4_0_6_line_70 |  | 68 | 71 | 0.033644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5422-4_0_6_line_71 |  | 70 | 72 | 0.0032774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5422-4_0_6_trafo_1 | 0.63 MVA 20/0.4 kV | 73 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2519780.6495 | 1149800.8936 | 2519787.5915 | 1149807.6436
1 | 2519780.6495 | 1149800.8936 | 2519763.252 | 1149783.9775
2 | 2519787.5915 | 1149807.6436 | 2519818.5636 | 1149837.7589
3 | 2519734.9564 | 1149756.4647 | 2519763.252 | 1149783.9775
4 | 2519840.9847 | 1149859.2775 | 2519833.6186 | 1149852.3974 | 2519818.5636 | 1149837.7589
5 | 2519734.9564 | 1149756.4647 | 2519729.4297 | 1149751.0909
6 | 2519722.0459 | 1149743.9113 | 2519729.4297 | 1149751.0909
7 | 2519722.0459 | 1149743.9113 | 2519703.6505 | 1149765.2802 | 2519702.6399 | 1149766.0719 | 2519699.1828 | 1149768.7974
8 | 2519722.0459 | 1149743.9113 | 2519716.1894 | 1149737.1522 | 2519709.0872 | 1149731.3992 | 2519715.7373 | 1149720.6946
9 | 2520069.5043 | 1149726.8547 | 2520084.8881 | 1149715.2859
10 | 2520069.5043 | 1149726.8547 | 2520060.0248 | 1149733.9834 | 2520055.2098 | 1149737.3827 | 2520048.6734 | 1149738.9371 | 2520040.5708 | 1149739.345 | 2520032.2417 | 1149739.2573
11 | 2520087.4151 | 1149713.3855 | 2520084.8881 | 1149715.2859
12 | 2520019.1076 | 1149739.1191 | 2520032.2417 | 1149739.2573
13 | 2520087.4151 | 1149713.3855 | 2520098.7447 | 1149704.9393
14 | 2520087.4151 | 1149713.3855 | 2520074.8983 | 1149690.1205
15 | 2520019.1076 | 1149739.1191 | 2519990.0061 | 1149764.9653
16 | 2520136.7668 | 1149674.4189 | 2520113.5763 | 1149693.8824 | 2520098.7447 | 1149704.9393
17 | 2520074.8983 | 1149690.1205 | 2520064.6869 | 1149671.1409 | 2520056.1752 | 1149659.4161
18 | 2519945.4053 | 1149801.9354 | 2519971.5032 | 1149783.511 | 2519990.0061 | 1149764.9653
19 | 2519990.0061 | 1149764.9653 | 2519977.5633 | 1149752.2116
20 | 2520136.7668 | 1149674.4189 | 2520137.0051 | 1149662.8758 | 2520134.8925 | 1149649.5913
21 | 2520136.7668 | 1149674.4189 | 2520134.2392 | 1149703.7916 | 2520133.9998 | 1149704.8943
22 | 2520034.9805 | 1149632.9614 | 2520049.4509 | 1149650.1534 | 2520056.1752 | 1149659.4161
23 | 2519945.4053 | 1149801.9354 | 2519916.7011 | 1149820.0945 | 2519912.5044 | 1149821.565
24 | 2519945.4053 | 1149801.9354 | 2519929.0769 | 1149787.0124
25 | 2519975.4748 | 1149750.0709 | 2519977.5633 | 1149752.2116
26 | 2519888.6114 | 1149830.1854 | 2519908.4551 | 1149822.9837 | 2519912.5044 | 1149821.565
27 | 2519918.7943 | 1149777.6148 | 2519929.0769 | 1149787.0124
28 | 2519953.3336 | 1149727.3765 | 2519975.4748 | 1149750.0709
29 | 2519816.1918 | 1149683.8435 | 2519838.8758 | 1149663.3198
30 | 2519860.8772 | 1149643.4138 | 2519838.8758 | 1149663.3198
31 | 2519816.1918 | 1149683.8435 | 2519804.9214 | 1149691.9873
32 | 2519816.1918 | 1149683.8435 | 2519838.1248 | 1149703.8887
33 | 2519884.6995 | 1149623.007 | 2519868.4688 | 1149636.9089 | 2519860.8772 | 1149643.4138
34 | 2519804.9214 | 1149691.9873 | 2519797.5845 | 1149698.2427
35 | 2519884.6995 | 1149623.007 | 2519926.4726 | 1149661.2177
36 | 2519765.1834 | 1149725.0806 | 2519774.152 | 1149718.2237 | 2519776.346 | 1149716.349 | 2519781.6071 | 1149711.8651 | 2519797.5845 | 1149698.2427
37 | 2519734.4821 | 1149685.067 | 2519735.2348 | 1149687.3916 | 2519736.6008 | 1149689.0633 | 2519738.1884 | 1149690.076 | 2519740.3684 | 1149690.6139 | 2519739.223 | 1149711.2189 | 2519751.7976 | 1149716.8099 | 2519762.1466 | 1149722.4863 | 2519765.1834 | 1149725.0806
38 | 2519765.1834 | 1149725.0806 | 2519770.6374 | 1149731.0335 | 2519784.2352 | 1149743.2595
39 | 2519734.4821 | 1149685.067 | 2519722.2637 | 1149710.189 | 2519715.7373 | 1149720.6946
40 | 2519821.2144 | 1149776.5082 | 2519784.2352 | 1149743.2595
41 | 2519918.7943 | 1149777.6148 | 2519890.3328 | 1149751.6031
42 | 2519871.7298 | 1149821.9764 | 2519880.4266 | 1149829.0271 | 2519888.6114 | 1149830.1854 | 2519888.6114 | 1149830.1854
43 | 2520013.5398 | 1149608.5116 | 2520007.6982 | 1149602.2568
44 | 2520013.5398 | 1149608.5116 | 2520022.2628 | 1149617.8517 | 2520034.9805 | 1149632.9614
45 | 2520134.8925 | 1149649.5913 | 2520130.906 | 1149624.5235 | 2520118.5865 | 1149591.3013 | 2520113.317 | 1149582.0563
46 | 2520133.9998 | 1149704.8943 | 2520130.5129 | 1149720.9509 | 2520129.7687 | 1149723.301
47 | 2520129.7687 | 1149723.301 | 2520126.7547 | 1149732.8188 | 2520120.1677 | 1149744.4351 | 2520109.2003 | 1149757.4883 | 2520095.8025 | 1149769.651 | 2520093.4972 | 1149770.7653
48 | 2520089.3674 | 1149546.9979 | 2520101.417 | 1149561.1786 | 2520113.317 | 1149582.0563
49 | 2519851.9848 | 1149804.1745 | 2519860.5813 | 1149811.9037 | 2519867.2859 | 1149818.3737 | 2519871.7298 | 1149821.9764
50 | 2519851.9848 | 1149804.1745 | 2519846.3828 | 1149799.1377
51 | 2519846.3828 | 1149799.1377 | 2519821.2144 | 1149776.5082
52 | 2519699.1828 | 1149768.7974 | 2519655.459 | 1149803.2529
53 | 2519646.7716 | 1149810.0987 | 2519655.459 | 1149803.2529
54 | 2519646.7716 | 1149810.0987 | 2519662.9706 | 1149820.8998 | 2519672.0398 | 1149823.3134
55 | 2519629.3489 | 1149868.5874 | 2519628.6964 | 1149856.5336 | 2519628.8358 | 1149842.268 | 2519628.5448 | 1149827.3855 | 2519633.6111 | 1149820.4027 | 2519644.8112 | 1149811.6369 | 2519646.7716 | 1149810.0987
56 | 2519672.0398 | 1149823.3134 | 2519669.837 | 1149842.3427 | 2519678.9757 | 1149842.4874 | 2519685.2622 | 1149836.6112
57 | 2519629.3489 | 1149868.5874 | 2519632.622 | 1149891.1678 | 2519653.6436 | 1149895.7341
58 | 2519629.3489 | 1149868.5874 | 2519636.2583 | 1149871.986 | 2519641.1403 | 1149871.8985 | 2519650.3362 | 1149871.7311 | 2519687.5539 | 1149864.4745
59 | 2519685.2622 | 1149836.6112 | 2519694.7747 | 1149836.2262
60 | 2519653.6436 | 1149895.7341 | 2519669.2862 | 1149889.0436 | 2519690.112 | 1149890.4442 | 2519708.0909 | 1149901.8805
61 | 2519687.5539 | 1149864.4745 | 2519702.6541 | 1149864.8843 | 2519715.3743 | 1149866.4488 | 2519715.3743 | 1149866.4488
62 | 2519695.9211 | 1149836.1798 | 2519694.7747 | 1149836.2262
63 | 2519708.0909 | 1149901.8805 | 2519712.948 | 1149904.97 | 2519731.5563 | 1149921.4894
64 | 2519716.4778 | 1149866.7397 | 2519715.3743 | 1149866.4488
65 | 2519812.6842 | 1149957.72 | 2519814.0069 | 1149959.3203 | 2519823.4672 | 1149974.3807 | 2519826.934 | 1149983.3286 | 2519828.7316 | 1149994.9224 | 2519828.0867 | 1149998.8993
66 | 2519753.1052 | 1149944.4678 | 2519812.6842 | 1149957.72
67 | 2519814.6668 | 1150024.349 | 2519821.9364 | 1150017.9262 | 2519826.6103 | 1150008.0027 | 2519828.0867 | 1149998.8993
68 | 2519731.5563 | 1149921.4894 | 2519732.1086 | 1149921.9798 | 2519753.1052 | 1149944.4678
69 | 2519750.9332 | 1149959.2201 | 2519759.5031 | 1149951.3202 | 2519753.1052 | 1149944.4678
70 | 2519814.6668 | 1150024.349 | 2519807.1241 | 1150028.1406 | 2519797.8183 | 1150029.8323 | 2519790.0061 | 1150029.5363 | 2519782.2267 | 1150028.0205
71 | 2519748.5235 | 1149961.4415 | 2519750.9332 | 1149959.2201

## bus_geodata
| x | y | coords
0 | 2519780.6495 | 1149800.8936
1 | 2519787.5915 | 1149807.6436
2 | 2519763.252 | 1149783.9775
3 | 2519818.5636 | 1149837.7589
4 | 2519734.9564 | 1149756.4647
5 | 2519840.9847 | 1149859.2775
6 | 2519729.4297 | 1149751.0909
7 | 2519722.0459 | 1149743.9113
8 | 2520069.5043 | 1149726.8547
9 | 2520084.8881 | 1149715.2859
10 | 2520032.2417 | 1149739.2573
11 | 2520087.4151 | 1149713.3855
12 | 2520019.1076 | 1149739.1191
13 | 2520098.7447 | 1149704.9393
14 | 2520074.8983 | 1149690.1205
15 | 2519990.0061 | 1149764.9653
16 | 2520136.7668 | 1149674.4189
17 | 2520056.1752 | 1149659.4161
18 | 2519945.4053 | 1149801.9354
19 | 2519977.5633 | 1149752.2116
20 | 2519912.5044 | 1149821.565
21 | 2519929.0769 | 1149787.0124
22 | 2519975.4748 | 1149750.0709
23 | 2519838.8758 | 1149663.3198
24 | 2519816.1918 | 1149683.8435
25 | 2519860.8772 | 1149643.4138
26 | 2519804.9214 | 1149691.9873
27 | 2519838.1248 | 1149703.8887
28 | 2519884.6995 | 1149623.007
29 | 2519797.5845 | 1149698.2428
30 | 2519926.4726 | 1149661.2176
31 | 2519765.1834 | 1149725.0806
32 | 2519734.4821 | 1149685.067
33 | 2519784.2352 | 1149743.2595
34 | 2519890.3328 | 1149751.6031
35 | 2519918.7943 | 1149777.6148
36 | 2519953.3336 | 1149727.3765
37 | 2519888.6114 | 1149830.1854
38 | 2520007.6982 | 1149602.2568
39 | 2520013.5398 | 1149608.5116
40 | 2520034.9805 | 1149632.9614
41 | 2520134.8925 | 1149649.5913
42 | 2520133.9998 | 1149704.8943
43 | 2520129.7687 | 1149723.301
44 | 2520093.4972 | 1149770.7653
45 | 2520113.317 | 1149582.0563
46 | 2520089.3674 | 1149546.9979
47 | 2519851.9848 | 1149804.1745
48 | 2519871.7298 | 1149821.9764
49 | 2519846.3828 | 1149799.1377
50 | 2519821.2144 | 1149776.5082
51 | 2519699.1828 | 1149768.7974
52 | 2519715.7373 | 1149720.6946
53 | 2519655.459 | 1149803.2529
54 | 2519646.7716 | 1149810.0987
55 | 2519672.0398 | 1149823.3134
56 | 2519629.3489 | 1149868.5874
57 | 2519685.2622 | 1149836.6112
58 | 2519653.6436 | 1149895.7341
59 | 2519687.5539 | 1149864.4745
60 | 2519694.7747 | 1149836.2262
61 | 2519708.0909 | 1149901.8805
62 | 2519715.3743 | 1149866.4488
63 | 2519695.9212 | 1149836.1798
64 | 2519716.4778 | 1149866.7397
65 | 2519812.6842 | 1149957.72
66 | 2519828.0867 | 1149998.8993
67 | 2519753.1052 | 1149944.4678
68 | 2519814.6668 | 1150024.349
69 | 2519731.5563 | 1149921.4894
70 | 2519750.9332 | 1149959.2201
71 | 2519782.2267 | 1150028.0205
72 | 2519748.5235 | 1149961.4415
73 | 2519722.0459 | 1149743.9113

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1