## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_546-19_0_10_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_546-19_0_10_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_546-19_0_10_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_546-19_0_10_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_546-19_0_10_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_546-19_0_10_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_546-19_0_10_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_546-19_0_10_node_58 | 0.4 | n |  | TRUE
8 | bus_LV_546-19_0_10_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_546-19_0_10_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_546-19_0_10_node_75 | 0.4 | n |  | TRUE
11 | bus_LV_546-19_0_10_node_54 | 0.4 | n |  | TRUE
12 | bus_LV_546-19_0_10_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_546-19_0_10_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_546-19_0_10_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_546-19_0_10_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_546-19_0_10_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_546-19_0_10_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_546-19_0_10_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_546-19_0_10_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_546-19_0_10_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_546-19_0_10_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_546-19_0_10_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_546-19_0_10_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_546-19_0_10_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_546-19_0_10_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_546-19_0_10_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_546-19_0_10_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_546-19_0_10_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_546-19_0_10_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_546-19_0_10_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_546-19_0_10_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_546-19_0_10_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_546-19_0_10_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_546-19_0_10_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_546-19_0_10_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_546-19_0_10_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_546-19_0_10_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_546-19_0_10_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_546-19_0_10_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_546-19_0_10_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_546-19_0_10_node_68 | 0.4 | n |  | TRUE
42 | bus_LV_546-19_0_10_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_546-19_0_10_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_546-19_0_10_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_546-19_0_10_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_546-19_0_10_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_546-19_0_10_node_74 | 0.4 | n |  | TRUE
48 | bus_LV_546-19_0_10_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_546-19_0_10_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_546-19_0_10_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_546-19_0_10_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_546-19_0_10_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_546-19_0_10_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_546-19_0_10_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_546-19_0_10_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_546-19_0_10_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_546-19_0_10_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_546-19_0_10_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_546-19_0_10_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_546-19_0_10_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_546-19_0_10_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_546-19_0_10_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_546-19_0_10_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_546-19_0_10_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_546-19_0_10_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_546-19_0_10_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_546-19_0_10_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_546-19_0_10_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_546-19_0_10_node_53 | 0.4 | n |  | TRUE
70 | bus_MV_445_0_node_48 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_546-19_0_10_load_0 | 0 | 0.0033473 | 0.00083891 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_546-19_0_10_load_3 | 3 | 0.0038688 | 0.00096961 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_546-19_0_10_load_5 | 5 | 0.0015885 | 0.00039812 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_546-19_0_10_load_58 | 7 | 0.0087411 | 0.0021907 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_546-19_0_10_load_57 | 8 | 0.023091 | 0.0057872 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_546-19_0_10_load_7 | 9 | 0.0042762 | 0.0010717 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_546-19_0_10_load_75 | 10 | 0.0081429 | 0.0020408 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_546-19_0_10_load_54 | 11 | 0.066146 | 0.016578 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_546-19_0_10_load_8 | 12 | 0.0021321 | 0.00053436 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_546-19_0_10_load_9 | 13 | 0.00078785 | 0.00019745 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_546-19_0_10_load_10 | 14 | 0.00076373 | 0.00019141 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_546-19_0_10_load_12 | 16 | 0.001365 | 0.0003421 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_546-19_0_10_load_14 | 18 | 0.0021044 | 0.00052741 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_546-19_0_10_load_15 | 19 | 0.00061985 | 0.00015535 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_546-19_0_10_load_21 | 21 | 0.00013419 | 3.3631e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_546-19_0_10_load_18 | 22 | 0.0045448 | 0.001139 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_546-19_0_10_load_46 | 23 | 0.0011114 | 0.00027854 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_546-19_0_10_load_17 | 25 | 0.00092156 | 0.00023097 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_546-19_0_10_load_59 | 26 | 0.00085356 | 0.00021392 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_546-19_0_10_load_19 | 27 | 0.0027229 | 0.00068244 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_546-19_0_10_load_47 | 28 | 0.00065129 | 0.00016323 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_546-19_0_10_load_34 | 29 | 0.0060672 | 0.0015206 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_546-19_0_10_load_26 | 30 | 0.0043478 | 0.0010897 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_546-19_0_10_load_24 | 33 | 0.0034666 | 0.00086882 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_546-19_0_10_load_22 | 34 | 0.0090556 | 0.0022696 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_546-19_0_10_load_48 | 35 | 8.2128e-05 | 2.0583e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_546-19_0_10_load_27 | 37 | 0.034521 | 0.0086518 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_546-19_0_10_load_28 | 38 | 0.0044295 | 0.0011101 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_546-19_0_10_load_65 | 42 | 0.0085945 | 0.002154 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_546-19_0_10_load_60 | 43 | 0.0030467 | 0.00076358 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_546-19_0_10_load_74 | 47 | 0.0016461 | 0.00041254 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_546-19_0_10_load_73 | 48 | 0.001669 | 0.0004183 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_546-19_0_10_load_66 | 49 | 0.0087937 | 0.0022039 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_546-19_0_10_load_67 | 50 | 0.0072162 | 0.0018085 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_546-19_0_10_load_70 | 51 | 0.0082455 | 0.0020665 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_546-19_0_10_load_35 | 54 | 0.0033328 | 0.00083528 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_546-19_0_10_load_40 | 56 | 0.0056823 | 0.0014241 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_546-19_0_10_load_42 | 59 | 0.01358 | 0.0034033 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_546-19_0_10_load_39 | 60 | 0.0015839 | 0.00039696 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_546-19_0_10_load_52 | 61 | 0.0053584 | 0.0013429 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_546-19_0_10_load_43 | 62 | 0.012238 | 0.0030672 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_546-19_0_10_load_41 | 63 | 0.0046397 | 0.0011628 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_546-19_0_10_load_50 | 64 | 0.016119 | 0.0040397 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_546-19_0_10_load_55 | 65 | 0.0003847 | 9.6415e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_546-19_0_10_load_56 | 66 | 0.0012669 | 0.00031751 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_546-19_0_10_load_49 | 67 | 0.084202 | 0.021103 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_546-19_0_10_load_51 | 68 | 0.014276 | 0.0035779 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_546-19_0_10_load_53 | 69 | 0.0056529 | 0.0014168 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_546-19_0_10_line_0 |  | 0 | 1 | 0.082441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_546-19_0_10_line_1 |  | 0 | 2 | 0.027969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_546-19_0_10_line_2 |  | 1 | 3 | 0.025685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_546-19_0_10_line_3 |  | 1 | 4 | 0.23292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_546-19_0_10_line_4 |  | 2 | 5 | 0.0075596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_546-19_0_10_line_5 |  | 2 | 6 | 0.23186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_546-19_0_10_line_6 |  | 4 | 7 | 0.10893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_546-19_0_10_line_7 |  | 4 | 8 | 0.13733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_546-19_0_10_line_8 |  | 5 | 9 | 0.0090613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_546-19_0_10_line_9 |  | 6 | 10 | 0.11875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_546-19_0_10_line_10 |  | 8 | 11 | 0.089947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_546-19_0_10_line_11 |  | 9 | 12 | 0.0062205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_546-19_0_10_line_12 |  | 11 | 57 | 0.096954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_546-19_0_10_line_13 |  | 13 | 14 | 0.026778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_546-19_0_10_line_14 |  | 13 | 15 | 0.10601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_546-19_0_10_line_15 |  | 14 | 16 | 0.0081195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_546-19_0_10_line_16 |  | 15 | 17 | 0.060119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_546-19_0_10_line_17 |  | 15 | 18 | 0.031221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_546-19_0_10_line_18 |  | 15 | 19 | 0.039583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_546-19_0_10_line_19 |  | 16 | 20 | 0.0076573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_546-19_0_10_line_20 |  | 17 | 21 | 0.050763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_546-19_0_10_line_21 |  | 17 | 22 | 0.022342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_546-19_0_10_line_22 |  | 18 | 23 | 0.01288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_546-19_0_10_line_23 |  | 19 | 24 | 0.041137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_546-19_0_10_line_24 |  | 20 | 25 | 0.0063422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_546-19_0_10_line_25 |  | 21 | 26 | 0.015557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_546-19_0_10_line_26 |  | 22 | 27 | 0.047116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_546-19_0_10_line_27 |  | 23 | 28 | 0.026589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_546-19_0_10_line_28 |  | 24 | 29 | 0.062249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_546-19_0_10_line_29 |  | 25 | 30 | 0.023663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_546-19_0_10_line_30 |  | 27 | 32 | 0.03456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_546-19_0_10_line_31 |  | 28 | 65 | 0.018702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_546-19_0_10_line_32 |  | 29 | 54 | 0.028842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_546-19_0_10_line_33 |  | 30 | 31 | 0.22229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_546-19_0_10_line_34 |  | 31 | 36 | 0.93257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_546-19_0_10_line_35 |  | 32 | 33 | 0.033007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_546-19_0_10_line_36 |  | 32 | 34 | 0.015487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_546-19_0_10_line_37 |  | 33 | 35 | 0.073706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_546-19_0_10_line_38 |  | 36 | 45 | 0.081374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_546-19_0_10_line_39 |  | 37 | 38 | 0.0051943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_546-19_0_10_line_40 |  | 37 | 39 | 0.034029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_546-19_0_10_line_41 |  | 39 | 40 | 0.010596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_546-19_0_10_line_42 |  | 40 | 41 | 0.14238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_546-19_0_10_line_43 |  | 40 | 42 | 0.032811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_546-19_0_10_line_44 |  | 41 | 51 | 0.043853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_546-19_0_10_line_45 |  | 42 | 49 | 0.044792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_546-19_0_10_line_46 |  | 43 | 44 | 0.033684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_546-19_0_10_line_47 |  | 44 | 46 | 0.046612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_546-19_0_10_line_48 |  | 45 | 46 | 0.061799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_546-19_0_10_line_49 |  | 45 | 47 | 0.0043911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_546-19_0_10_line_50 |  | 46 | 48 | 0.05062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_546-19_0_10_line_51 |  | 48 | 53 | 0.0024227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_546-19_0_10_line_52 |  | 49 | 50 | 0.042449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_546-19_0_10_line_53 |  | 51 | 52 | 0.044187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_546-19_0_10_line_54 |  | 52 | 53 | 0.25646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_546-19_0_10_line_55 |  | 54 | 55 | 0.025881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_546-19_0_10_line_56 |  | 55 | 56 | 0.017541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_546-19_0_10_line_57 |  | 55 | 57 | 0.034342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_546-19_0_10_line_58 |  | 56 | 60 | 0.059986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_546-19_0_10_line_59 |  | 57 | 61 | 0.065173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_546-19_0_10_line_60 |  | 57 | 58 | 0.058292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_546-19_0_10_line_61 |  | 58 | 59 | 0.032212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_546-19_0_10_line_62 |  | 59 | 62 | 0.021263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_546-19_0_10_line_63 |  | 60 | 63 | 0.011255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_546-19_0_10_line_64 |  | 61 | 64 | 0.016932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_546-19_0_10_line_65 |  | 64 | 67 | 0.046852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_546-19_0_10_line_66 |  | 65 | 66 | 0.0010337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_546-19_0_10_line_67 |  | 67 | 68 | 0.024479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_546-19_0_10_line_68 |  | 68 | 69 | 0.0202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_546-19_0_10_trafo_9 | 0.63 MVA 20/0.4 kV | 70 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2599473.4723 | 1208696.9953 | 2599472.7346 | 1208693.6714 | 2599475.6912 | 1208689.9913 | 2599507.8664 | 1208668.9654 | 2599512.4878 | 1208665.0962 | 2599516.9266 | 1208659.9374 | 2599528.3881 | 1208642.4156 | 2599529.8514 | 1208640.897
1 | 2599545.3984 | 1208618.6343 | 2599545.3986 | 1208621.5914 | 2599541.8873 | 1208628.4066 | 2599529.8514 | 1208640.897
2 | 2599473.4723 | 1208696.9953 | 2599449.4297 | 1208706.214
3 | 2599473.4723 | 1208696.9953 | 2599476.4293 | 1208698.0957 | 2599481.6058 | 1208696.6277 | 2599510.4525 | 1208685.1963 | 2599523.0327 | 1208682.427 | 2599533.5684 | 1208682.426 | 2599544.8493 | 1208684.4483 | 2599552.436 | 1208688.6945 | 2599557.0657 | 1208693.5634 | 2599559.5973 | 1208696.9762 | 2599566.6142 | 1208705.8694 | 2599570.3925 | 1208709.8379 | 2599588.6223 | 1208727.2571 | 2599594.6432 | 1208733.549 | 2599602.5952 | 1208744.6989 | 2599606.7993 | 1208751.469 | 2599610.4789 | 1208758.4281 | 2599617.0248 | 1208771.8239 | 2599623.2513 | 1208784.2747 | 2599630.6028 | 1208797.4259 | 2599638.7068 | 1208809.632
4 | 2599545.3984 | 1208618.6343 | 2599552.4293 | 1208615.857
5 | 2599619.3258 | 1208442.8536 | 2599617.2359 | 1208449.991 | 2599614.2335 | 1208454.138 | 2599609.6043 | 1208458.0627 | 2599586.9518 | 1208469.582 | 2599582.3531 | 1208474.0292 | 2599582.3308 | 1208480.4105 | 2599584.6423 | 1208486.8694 | 2599602.6765 | 1208522.81 | 2599604.5241 | 1208527.8793 | 2599603.3691 | 1208533.6493 | 2599600.5948 | 1208537.3293 | 2599595.5096 | 1208541.7099 | 2599554.3641 | 1208570.7515 | 2599547.432 | 1208577.4336 | 2599540.7738 | 1208587.662 | 2599538.3721 | 1208592.4649 | 2599537.8178 | 1208598.5461 | 2599538.9284 | 1208607.5732 | 2599542.2585 | 1208614.032 | 2599545.3984 | 1208618.6343
6 | 2599638.7068 | 1208809.632 | 2599655.0894 | 1208833.2216 | 2599663.8013 | 1208844.8052 | 2599673.0452 | 1208856.3887 | 2599705.5759 | 1208895.5299
7 | 2599638.7068 | 1208809.632 | 2599654.806 | 1208803.5275 | 2599698.8017 | 1208787.5491 | 2599720.0167 | 1208778.9319 | 2599766.7354 | 1208760.0134
8 | 2599560.9358 | 1208616.0537 | 2599560.9358 | 1208616.0537 | 2599556.1239 | 1208614.3977 | 2599552.4293 | 1208615.857
9 | 2599619.3258 | 1208442.8536 | 2599627.1727 | 1208467.4999 | 2599633.1869 | 1208482.252 | 2599642.4694 | 1208492.9572 | 2599658.1521 | 1208496.0801 | 2599681.5043 | 1208490.7756 | 2599703.4654 | 1208483.8148
10 | 2599766.7354 | 1208760.0134 | 2599787.0674 | 1208751.7801 | 2599820.6501 | 1208741.0504 | 2599851.9366 | 1208731.3502
11 | 2599560.9358 | 1208616.0537 | 2599566.8141 | 1208614.0188
12 | 2599938.3649 | 1208689.1513 | 2599924.386 | 1208698.9682 | 2599898.1841 | 1208715.478 | 2599878.2532 | 1208722.4713 | 2599863.2177 | 1208727.8526 | 2599851.9366 | 1208731.3502
13 | 2600262.0307 | 1208599.7311 | 2600235.487 | 1208603.268
14 | 2600133.4054 | 1208608.3056 | 2600139.2206 | 1208613.2306 | 2600145.3551 | 1208616.1323 | 2600150.3037 | 1208617.2663 | 2600155.2143 | 1208617.2997 | 2600182.5726 | 1208610.3185 | 2600235.487 | 1208603.268
15 | 2600262.0307 | 1208599.7311 | 2600270.0791 | 1208598.6587
16 | 2600133.4054 | 1208608.3056 | 2600157.1075 | 1208590.0958 | 2600181.5623 | 1208572.1419
17 | 2600133.4054 | 1208608.3056 | 2600118.8561 | 1208587.8609 | 2600115.1039 | 1208583.0157
18 | 2600133.4054 | 1208608.3056 | 2600102.119 | 1208632.5544
19 | 2600277.6693 | 1208597.6474 | 2600270.0791 | 1208598.6587
20 | 2600181.5623 | 1208572.1419 | 2600158.4998 | 1208526.9197
21 | 2600181.5623 | 1208572.1419 | 2600199.7666 | 1208559.1891
22 | 2600115.1039 | 1208583.0157 | 2600107.218 | 1208572.8325
23 | 2600069.6051 | 1208657.7547 | 2600102.119 | 1208632.5544
24 | 2600277.6693 | 1208597.6474 | 2600283.9602 | 1208596.8427
25 | 2600151.4319 | 1208513.0606 | 2600158.4998 | 1208526.9197
26 | 2600238.3291 | 1208532.1209 | 2600222.2472 | 1208543.1935 | 2600199.7666 | 1208559.1891
27 | 2600090.1828 | 1208552.5079 | 2600090.1828 | 1208552.5079 | 2600095.2303 | 1208557.2216 | 2600103.0752 | 1208567.4829 | 2600107.218 | 1208572.8325
28 | 2600069.6051 | 1208657.7547 | 2600059.0541 | 1208644.6142 | 2600016.4625 | 1208647.0713 | 2600013.8468 | 1208647.8676
29 | 2600307.4321 | 1208593.8402 | 2600283.9602 | 1208596.8427
30 | 2600266.7941 | 1208512.5223 | 2600238.3291 | 1208532.1209
31 | 2600072.7078 | 1208557.4618 | 2600084.3219 | 1208552.0298 | 2600090.1828 | 1208552.5079
32 | 2600013.8468 | 1208647.8676 | 2599986.2548 | 1208656.2668
33 | 2600527.8491 | 1208565.0766 | 2600355.6017 | 1208587.6784 | 2600307.4321 | 1208593.8402
34 | 2600527.8491 | 1208565.0766 | 2601457.3158 | 1208489.1004
35 | 2600266.7941 | 1208512.5223 | 2600249.5448 | 1208484.3817
36 | 2600266.7941 | 1208512.5223 | 2600279.5219 | 1208503.6996
37 | 2600257.7285 | 1208427.8582 | 2600235.2412 | 1208443.2166 | 2600232.6793 | 1208447.1075 | 2600232.3142 | 1208452.6439 | 2600235.2559 | 1208461.0708 | 2600249.5448 | 1208484.3817
38 | 2601499.1954 | 1208419.2718 | 2601457.3158 | 1208489.1004
39 | 2601896.0854 | 1208538.908 | 2601901.0446 | 1208537.3629
40 | 2601863.5972 | 1208549.0305 | 2601896.0854 | 1208538.908
41 | 2601857.1155 | 1208540.635 | 2601863.5972 | 1208549.0305
42 | 2601824.4753 | 1208406.0068 | 2601830.256 | 1208420.7499 | 2601834.448 | 1208435.0479 | 2601836.0882 | 1208440.9961 | 2601837.2189 | 1208447.6335 | 2601837.8537 | 1208460.2517 | 2601834.964 | 1208489.378 | 2601835.1374 | 1208494.5364 | 2601835.9721 | 1208499.2949 | 2601839.5947 | 1208511.0469 | 2601842.2459 | 1208517.2622 | 2601845.6873 | 1208524.3671 | 2601849.0305 | 1208529.8267 | 2601857.1155 | 1208540.635
43 | 2601857.1155 | 1208540.635 | 2601834.4423 | 1208564.3515
44 | 2601824.4753 | 1208406.0068 | 2601819.3394 | 1208395.7996 | 2601813.6714 | 1208385.5812 | 2601802.8947 | 1208367.8589
45 | 2601834.4423 | 1208564.3515 | 2601826.3343 | 1208572.8325 | 2601821.6504 | 1208577.1002 | 2601816.5258 | 1208580.9452 | 2601798.424 | 1208590.1667
46 | 2601580.0795 | 1208478.1686 | 2601559.1436 | 1208480.6647 | 2601546.6047 | 1208481.9069
47 | 2601556.3871 | 1208438.2629 | 2601559.7072 | 1208445.7679 | 2601563.841 | 1208452.1613 | 2601574.5103 | 1208466.5163 | 2601577.5877 | 1208472.1091 | 2601580.0795 | 1208478.1686
48 | 2601556.3871 | 1208438.2629 | 2601550.8528 | 1208438.8619 | 2601544.8017 | 1208438.9715 | 2601538.8724 | 1208438.5032 | 2601533.2397 | 1208437.2789 | 2601527.2956 | 1208435.1207 | 2601520.698 | 1208432.1174 | 2601499.1954 | 1208419.2718
49 | 2601499.1954 | 1208419.2718 | 2601495.6379 | 1208416.6977
50 | 2601556.3871 | 1208438.2629 | 2601553.8045 | 1208429.9466 | 2601551.6548 | 1208423.587 | 2601548.0456 | 1208416.6378 | 2601544.0942 | 1208410.1888 | 2601532.6852 | 1208394.0004
51 | 2601531.2895 | 1208392.0201 | 2601532.6852 | 1208394.0004
52 | 2601798.424 | 1208590.1667 | 2601787.103 | 1208595.9339 | 2601781.4238 | 1208598.6782 | 2601775.5015 | 1208601.1223 | 2601759.3066 | 1208606.3861
53 | 2601779.5699 | 1208330.3299 | 2601802.8667 | 1208367.8128 | 2601802.8947 | 1208367.8589
54 | 2601531.2895 | 1208392.0201 | 2601536.224 | 1208388.475 | 2601541.2343 | 1208385.8636 | 2601562.6502 | 1208380.5771 | 2601595.2948 | 1208372.9812 | 2601635.7242 | 1208363.7088 | 2601662.4618 | 1208357.7237 | 2601685.9229 | 1208352.1491 | 2601740.0977 | 1208339.9573 | 2601760.1606 | 1208335.4383 | 2601770.0058 | 1208333.0286 | 2601779.5699 | 1208330.3299
55 | 2599961.4959 | 1208663.8036 | 2599986.2548 | 1208656.2668
56 | 2599961.4959 | 1208663.8036 | 2599955.0389 | 1208647.4939
57 | 2599938.3649 | 1208689.1513 | 2599950.6639 | 1208677.2779 | 2599961.4959 | 1208663.8036
58 | 2599932.958 | 1208591.72 | 2599955.0389 | 1208647.4939
59 | 2599938.3649 | 1208689.1513 | 2599915.8335 | 1208668.4516 | 2599898.3576 | 1208638.6165
60 | 2599977.369 | 1208731.8741 | 2599969.1896 | 1208721.6798 | 2599950.0258 | 1208697.0443 | 2599938.3649 | 1208689.1513
61 | 2599977.369 | 1208731.8741 | 2599952.0533 | 1208751.7915
62 | 2599952.0533 | 1208751.7915 | 2599935.3426 | 1208764.9388
63 | 2599922.8707 | 1208596.7119 | 2599932.958 | 1208591.72
64 | 2599898.3576 | 1208638.6165 | 2599896.9883 | 1208636.2788 | 2599892.0852 | 1208634.1 | 2599883.7773 | 1208637.1715
65 | 2599839.8325 | 1208653.4184 | 2599883.7773 | 1208637.1715
66 | 2600071.7715 | 1208557.8997 | 2600072.7078 | 1208557.4618
67 | 2599839.8325 | 1208653.4184 | 2599816.8728 | 1208661.9068
68 | 2599797.926 | 1208668.9117 | 2599816.8728 | 1208661.9068

## bus_geodata
| x | y | coords
0 | 2599529.8514 | 1208640.897
1 | 2599473.4723 | 1208696.9953
2 | 2599545.3984 | 1208618.6343
3 | 2599449.4297 | 1208706.214
4 | 2599638.7068 | 1208809.632
5 | 2599552.4293 | 1208615.857
6 | 2599619.3258 | 1208442.8536
7 | 2599705.5759 | 1208895.5299
8 | 2599766.7354 | 1208760.0134
9 | 2599560.9358 | 1208616.0537
10 | 2599703.4654 | 1208483.8148
11 | 2599851.9366 | 1208731.3502
12 | 2599566.8141 | 1208614.0188
13 | 2600235.487 | 1208603.268
14 | 2600262.0307 | 1208599.7311
15 | 2600133.4054 | 1208608.3056
16 | 2600270.0791 | 1208598.6587
17 | 2600181.5623 | 1208572.1419
18 | 2600115.1039 | 1208583.0157
19 | 2600102.119 | 1208632.5544
20 | 2600277.6693 | 1208597.6474
21 | 2600158.4998 | 1208526.9197
22 | 2600199.7666 | 1208559.1891
23 | 2600107.218 | 1208572.8325
24 | 2600069.6051 | 1208657.7547
25 | 2600283.9602 | 1208596.8427
26 | 2600151.4319 | 1208513.0606
27 | 2600238.3291 | 1208532.1209
28 | 2600090.1828 | 1208552.5079
29 | 2600013.8468 | 1208647.8676
30 | 2600307.4321 | 1208593.8402
31 | 2600527.8491 | 1208565.0766
32 | 2600266.7941 | 1208512.5223
33 | 2600249.5448 | 1208484.3817
34 | 2600279.5219 | 1208503.6996
35 | 2600257.7285 | 1208427.8582
36 | 2601457.3158 | 1208489.1004
37 | 2601896.0854 | 1208538.908
38 | 2601901.0446 | 1208537.3629
39 | 2601863.5972 | 1208549.0305
40 | 2601857.1155 | 1208540.635
41 | 2601824.4753 | 1208406.0068
42 | 2601834.4423 | 1208564.3515
43 | 2601546.6047 | 1208481.9069
44 | 2601580.0795 | 1208478.1686
45 | 2601499.1954 | 1208419.2718
46 | 2601556.3871 | 1208438.2629
47 | 2601495.6379 | 1208416.6977
48 | 2601532.6852 | 1208394.0004
49 | 2601798.424 | 1208590.1667
50 | 2601759.3066 | 1208606.3861
51 | 2601802.8947 | 1208367.8589
52 | 2601779.5699 | 1208330.3299
53 | 2601531.2895 | 1208392.0201
54 | 2599986.2548 | 1208656.2668
55 | 2599961.4959 | 1208663.8036
56 | 2599955.0389 | 1208647.4939
57 | 2599938.3649 | 1208689.1513
58 | 2599977.369 | 1208731.8741
59 | 2599952.0533 | 1208751.7915
60 | 2599932.958 | 1208591.72
61 | 2599898.3576 | 1208638.6165
62 | 2599935.3426 | 1208764.9388
63 | 2599922.8707 | 1208596.7119
64 | 2599883.7773 | 1208637.1715
65 | 2600072.7078 | 1208557.4618
66 | 2600071.7715 | 1208557.8997
67 | 2599839.8325 | 1208653.4184
68 | 2599816.8728 | 1208661.9068
69 | 2599797.926 | 1208668.9117
70 | 2600277.6693 | 1208597.6474

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1