## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_546-7_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_546-7_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_546-7_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_546-7_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_546-7_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_546-7_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_546-7_0_2_node_102 | 0.4 | n |  | TRUE
7 | bus_LV_546-7_0_2_node_133 | 0.4 | n |  | TRUE
8 | bus_LV_546-7_0_2_node_69 | 0.4 | n |  | TRUE
9 | bus_LV_546-7_0_2_node_89 | 0.4 | n |  | TRUE
10 | bus_LV_546-7_0_2_node_100 | 0.4 | n |  | TRUE
11 | bus_LV_546-7_0_2_node_70 | 0.4 | n |  | TRUE
12 | bus_LV_546-7_0_2_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_546-7_0_2_node_67 | 0.4 | n |  | TRUE
14 | bus_LV_546-7_0_2_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_546-7_0_2_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_546-7_0_2_node_134 | 0.4 | n |  | TRUE
17 | bus_LV_546-7_0_2_node_71 | 0.4 | n |  | TRUE
18 | bus_LV_546-7_0_2_node_68 | 0.4 | n |  | TRUE
19 | bus_LV_546-7_0_2_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_546-7_0_2_node_84 | 0.4 | n |  | TRUE
21 | bus_LV_546-7_0_2_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_546-7_0_2_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_546-7_0_2_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_546-7_0_2_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_546-7_0_2_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_546-7_0_2_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_546-7_0_2_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_546-7_0_2_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_546-7_0_2_node_62 | 0.4 | n |  | TRUE
30 | bus_LV_546-7_0_2_node_77 | 0.4 | n |  | TRUE
31 | bus_LV_546-7_0_2_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_546-7_0_2_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_546-7_0_2_node_80 | 0.4 | n |  | TRUE
34 | bus_LV_546-7_0_2_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_546-7_0_2_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_546-7_0_2_node_78 | 0.4 | n |  | TRUE
37 | bus_LV_546-7_0_2_node_90 | 0.4 | n |  | TRUE
38 | bus_LV_546-7_0_2_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_546-7_0_2_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_546-7_0_2_node_60 | 0.4 | n |  | TRUE
41 | bus_LV_546-7_0_2_node_82 | 0.4 | n |  | TRUE
42 | bus_LV_546-7_0_2_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_546-7_0_2_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_546-7_0_2_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_546-7_0_2_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_546-7_0_2_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_546-7_0_2_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_546-7_0_2_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_546-7_0_2_node_76 | 0.4 | n |  | TRUE
50 | bus_LV_546-7_0_2_node_103 | 0.4 | n |  | TRUE
51 | bus_LV_546-7_0_2_node_95 | 0.4 | n |  | TRUE
52 | bus_LV_546-7_0_2_node_87 | 0.4 | n |  | TRUE
53 | bus_LV_546-7_0_2_node_85 | 0.4 | n |  | TRUE
54 | bus_LV_546-7_0_2_node_86 | 0.4 | n |  | TRUE
55 | bus_LV_546-7_0_2_node_88 | 0.4 | n |  | TRUE
56 | bus_LV_546-7_0_2_node_91 | 0.4 | n |  | TRUE
57 | bus_LV_546-7_0_2_node_92 | 0.4 | n |  | TRUE
58 | bus_LV_546-7_0_2_node_93 | 0.4 | n |  | TRUE
59 | bus_LV_546-7_0_2_node_94 | 0.4 | n |  | TRUE
60 | bus_LV_546-7_0_2_node_96 | 0.4 | n |  | TRUE
61 | bus_LV_546-7_0_2_node_97 | 0.4 | n |  | TRUE
62 | bus_LV_546-7_0_2_node_105 | 0.4 | n |  | TRUE
63 | bus_LV_546-7_0_2_node_98 | 0.4 | n |  | TRUE
64 | bus_LV_546-7_0_2_node_99 | 0.4 | n |  | TRUE
65 | bus_LV_546-7_0_2_node_101 | 0.4 | n |  | TRUE
66 | bus_LV_546-7_0_2_node_104 | 0.4 | n |  | TRUE
67 | bus_LV_546-7_0_2_node_139 | 0.4 | n |  | TRUE
68 | bus_MV_445_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_546-7_0_2_load_0 | 0 | 0.013486 | 0.00338 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_546-7_0_2_load_1 | 1 | 0.0019859 | 0.00049771 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_546-7_0_2_load_2 | 2 | 0.0020825 | 0.00052193 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_546-7_0_2_load_3 | 3 | 0.0074311 | 0.0018624 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_546-7_0_2_load_5 | 5 | 0.0012764 | 0.0003199 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_546-7_0_2_load_133 | 7 | 0.013354 | 0.0033467 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_546-7_0_2_load_69 | 8 | 0.0011701 | 0.00029325 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_546-7_0_2_load_89 | 9 | 0.002601 | 0.00065187 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_546-7_0_2_load_70 | 11 | 0.0012564 | 0.00031487 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_546-7_0_2_load_59 | 14 | 0.0018989 | 0.00047592 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_546-7_0_2_load_134 | 16 | 0.0013099 | 0.00032829 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_546-7_0_2_load_71 | 17 | 0.0011856 | 0.00029713 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_546-7_0_2_load_65 | 19 | 0.0032214 | 0.00080735 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_546-7_0_2_load_84 | 20 | 0.0029698 | 0.0007443 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_546-7_0_2_load_45 | 23 | 0.0081941 | 0.0020536 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_546-7_0_2_load_46 | 24 | 0.0084809 | 0.0021255 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_546-7_0_2_load_48 | 25 | 0.011337 | 0.0028414 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_546-7_0_2_load_64 | 26 | 0.0090963 | 0.0022797 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_546-7_0_2_load_63 | 28 | 0.0018597 | 0.00046609 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_546-7_0_2_load_62 | 29 | 0.0023523 | 0.00058954 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_546-7_0_2_load_54 | 31 | 0.0093813 | 0.0023512 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_546-7_0_2_load_53 | 32 | 0.0094429 | 0.0023666 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_546-7_0_2_load_80 | 33 | 0.0025609 | 0.00064182 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_546-7_0_2_load_55 | 34 | 0.0081756 | 0.002049 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_546-7_0_2_load_56 | 35 | 0.0081664 | 0.0020467 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_546-7_0_2_load_57 | 38 | 0.0018353 | 0.00045996 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_546-7_0_2_load_58 | 39 | 0.015867 | 0.0039766 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_546-7_0_2_load_60 | 40 | 0.0017822 | 0.00044666 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_546-7_0_2_load_82 | 41 | 0.001741 | 0.00043634 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_546-7_0_2_load_83 | 42 | 0.0054456 | 0.0013648 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_546-7_0_2_load_81 | 43 | 0.0025872 | 0.00064842 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_546-7_0_2_load_66 | 44 | 0.0028462 | 0.00071333 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_546-7_0_2_load_75 | 45 | 0.0069041 | 0.0017303 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_546-7_0_2_load_72 | 46 | 0.0021485 | 0.00053846 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_546-7_0_2_load_74 | 48 | 0.0066656 | 0.0016706 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_546-7_0_2_load_76 | 49 | 0.002463 | 0.0006173 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_546-7_0_2_load_87 | 52 | 0.0039185 | 0.00098207 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_546-7_0_2_load_85 | 53 | 0.0091489 | 0.0022929 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_546-7_0_2_load_86 | 54 | 0.0039823 | 0.00099806 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_546-7_0_2_load_88 | 55 | 0.0049873 | 0.0012499 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_546-7_0_2_load_91 | 56 | 0.0026441 | 0.00066266 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_546-7_0_2_load_92 | 57 | 0.0023103 | 0.00057901 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_546-7_0_2_load_93 | 58 | 0.0023865 | 0.00059811 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_546-7_0_2_load_94 | 59 | 0.0027908 | 0.00069945 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_546-7_0_2_load_97 | 61 | 0.0026353 | 0.00066047 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_546-7_0_2_load_105 | 62 | 0.0023775 | 0.00059586 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_546-7_0_2_load_98 | 63 | 0.00097981 | 0.00024556 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_546-7_0_2_load_99 | 64 | 0.00060547 | 0.00015174 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_546-7_0_2_load_139 | 67 | 0.0040992 | 0.0010274 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_546-7_0_2_line_0 |  | 0 | 1 | 0.0059103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_546-7_0_2_line_1 |  | 0 | 2 | 0.0018766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_546-7_0_2_line_2 |  | 1 | 3 | 0.020224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_546-7_0_2_line_3 |  | 2 | 4 | 0.028701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_546-7_0_2_line_4 |  | 3 | 5 | 0.021883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_546-7_0_2_line_5 |  | 4 | 6 | 0.033645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_546-7_0_2_line_6 |  | 4 | 7 | 0.031097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_546-7_0_2_line_7 |  | 5 | 8 | 0.0054335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_546-7_0_2_line_8 |  | 6 | 9 | 0.0032248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_546-7_0_2_line_9 |  | 6 | 10 | 0.00611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_546-7_0_2_line_10 |  | 8 | 11 | 0.0054351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_546-7_0_2_line_11 |  | 9 | 55 | 0.030374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_546-7_0_2_line_12 |  | 10 | 63 | 0.011657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_546-7_0_2_line_13 |  | 11 | 17 | 0.0054666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_546-7_0_2_line_14 |  | 12 | 13 | 0.04587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_546-7_0_2_line_15 |  | 12 | 14 | 0.015029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_546-7_0_2_line_16 |  | 13 | 18 | 0.034419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_546-7_0_2_line_17 |  | 13 | 19 | 0.035691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_546-7_0_2_line_18 |  | 14 | 38 | 0.0071429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_546-7_0_2_line_19 |  | 15 | 16 | 0.013622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_546-7_0_2_line_20 |  | 15 | 17 | 0.019542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_546-7_0_2_line_21 |  | 16 | 22 | 0.02503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_546-7_0_2_line_22 |  | 18 | 20 | 0.030265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_546-7_0_2_line_23 |  | 19 | 44 | 0.015897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_546-7_0_2_line_24 |  | 20 | 45 | 0.029211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_546-7_0_2_line_25 |  | 21 | 22 | 0.037365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_546-7_0_2_line_26 |  | 21 | 23 | 0.026198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_546-7_0_2_line_27 |  | 23 | 24 | 0.034153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_546-7_0_2_line_28 |  | 24 | 25 | 0.037899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_546-7_0_2_line_29 |  | 25 | 26 | 0.00023553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_546-7_0_2_line_30 |  | 26 | 30 | 0.019309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_546-7_0_2_line_31 |  | 27 | 28 | 0.023408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_546-7_0_2_line_32 |  | 27 | 29 | 0.019234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_546-7_0_2_line_33 |  | 28 | 33 | 0.018814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_546-7_0_2_line_34 |  | 30 | 36 | 0.036359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_546-7_0_2_line_35 |  | 31 | 32 | 0.0003635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_546-7_0_2_line_36 |  | 32 | 34 | 0.03403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_546-7_0_2_line_37 |  | 33 | 43 | 0.023068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_546-7_0_2_line_38 |  | 34 | 35 | 0.037745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_546-7_0_2_line_39 |  | 35 | 36 | 0.020186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_546-7_0_2_line_40 |  | 36 | 37 | 0.02958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_546-7_0_2_line_41 |  | 37 | 52 | 0.018269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_546-7_0_2_line_42 |  | 38 | 39 | 0.00039417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_546-7_0_2_line_43 |  | 39 | 40 | 0.012941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_546-7_0_2_line_44 |  | 40 | 41 | 0.0072584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_546-7_0_2_line_45 |  | 41 | 42 | 0.0081948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_546-7_0_2_line_46 |  | 42 | 55 | 0.030086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_546-7_0_2_line_47 |  | 43 | 53 | 0.0055556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_546-7_0_2_line_48 |  | 45 | 47 | 0.024967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_546-7_0_2_line_49 |  | 46 | 47 | 0.024722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_546-7_0_2_line_50 |  | 46 | 48 | 0.019418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_546-7_0_2_line_51 |  | 47 | 49 | 0.020876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_546-7_0_2_line_52 |  | 49 | 50 | 0.032493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_546-7_0_2_line_53 |  | 50 | 51 | 0.032453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_546-7_0_2_line_54 |  | 51 | 58 | 0.03871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_546-7_0_2_line_55 |  | 52 | 54 | 0.020349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_546-7_0_2_line_56 |  | 53 | 54 | 0.018323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_546-7_0_2_line_57 |  | 56 | 57 | 0.018048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_546-7_0_2_line_58 |  | 56 | 58 | 0.026408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_546-7_0_2_line_59 |  | 57 | 59 | 0.0058534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_546-7_0_2_line_60 |  | 59 | 60 | 0.010785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_546-7_0_2_line_61 |  | 60 | 61 | 0.032851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_546-7_0_2_line_62 |  | 61 | 62 | 0.016329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_546-7_0_2_line_63 |  | 63 | 64 | 0.023026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_546-7_0_2_line_64 |  | 64 | 65 | 0.018988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_546-7_0_2_line_65 |  | 65 | 66 | 0.033053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_546-7_0_2_line_66 |  | 66 | 67 | 0.015949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_546-7_0_2_trafo_3 | 0.63 MVA 20/0.4 kV | 68 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2600745.48 | 1207450.8717 | 2600739.6688 | 1207451.9494
1 | 2600745.48 | 1207450.8717 | 2600747.3251 | 1207450.5295
2 | 2600739.6688 | 1207451.9494 | 2600736.3044 | 1207452.5733 | 2600731.2484 | 1207452.2392 | 2600719.7493 | 1207454.5798
3 | 2600775.5449 | 1207445.296 | 2600747.3251 | 1207450.5295
4 | 2600719.7493 | 1207454.5798 | 2600698.306 | 1207458.9446
5 | 2600775.5449 | 1207445.296 | 2600781.3047 | 1207473.4677 | 2600782.4217 | 1207478.226
6 | 2600775.5449 | 1207445.296 | 2600769.3223 | 1207414.8278
7 | 2600692.9828 | 1207460.0337 | 2600694.7832 | 1207459.6616 | 2600698.306 | 1207458.9446
8 | 2600782.4217 | 1207478.226 | 2600779.2574 | 1207478.8475
9 | 2600788.4207 | 1207476.9816 | 2600782.4217 | 1207478.226
10 | 2600692.9828 | 1207460.0337 | 2600687.6601 | 1207461.1337
11 | 2600779.2574 | 1207478.8475 | 2600760.2431 | 1207482.5814 | 2600749.4675 | 1207484.7772
12 | 2600788.4207 | 1207476.9816 | 2600799.8037 | 1207474.4695
13 | 2600687.6601 | 1207461.1337 | 2600682.3066 | 1207462.2401
14 | 2600682.5867 | 1207545.085 | 2600670.0538 | 1207500.9595
15 | 2600670.0538 | 1207500.9595 | 2600684.7801 | 1207497.9587
16 | 2600682.5867 | 1207545.085 | 2600682.8825 | 1207552.3446 | 2600683.878 | 1207556.7249 | 2600685.7475 | 1207565.0408 | 2600689.2372 | 1207565.6414 | 2600691.9892 | 1207567.8541 | 2600693.3118 | 1207571.1338 | 2600692.8705 | 1207574.6357
17 | 2600682.5867 | 1207545.085 | 2600689.2926 | 1207544.2964 | 2600717.6772 | 1207538.6594
18 | 2600691.7791 | 1207496.5325 | 2600684.7801 | 1207497.9587
19 | 2600663.1689 | 1207466.1953 | 2600662.8122 | 1207460.5811 | 2600660.5348 | 1207452.916
20 | 2600663.1689 | 1207466.1953 | 2600682.3066 | 1207462.2401
21 | 2600656.71 | 1207428.7408 | 2600655.4396 | 1207435.7667 | 2600660.5348 | 1207452.916
22 | 2600692.8705 | 1207574.6357 | 2600697.5767 | 1207574.9697 | 2600723.0849 | 1207576.3788
23 | 2600733.2692 | 1207535.563 | 2600717.6772 | 1207538.6594
24 | 2600723.0849 | 1207576.3788 | 2600746.9802 | 1207577.6988 | 2600752.2306 | 1207578.2497
25 | 2600645.4 | 1207393.387 | 2600645.9467 | 1207400.7021 | 2600656.71 | 1207428.7408
26 | 2600645.4 | 1207393.387 | 2600650.3877 | 1207392.5425 | 2600671.0799 | 1207388.2161
27 | 2600671.0799 | 1207388.2161 | 2600704.5103 | 1207381.2262
28 | 2600704.5103 | 1207381.2262 | 2600716.6584 | 1207378.6862 | 2600718.4831 | 1207380.0093 | 2600741.2659 | 1207375.4531
29 | 2600741.4969 | 1207375.4069 | 2600741.2659 | 1207375.4531
30 | 2600760.4308 | 1207371.6205 | 2600741.4969 | 1207375.4069
31 | 2600622.3927 | 1207311.9846 | 2600635.311 | 1207307.5722 | 2600645.0633 | 1207307.2618
32 | 2600622.3927 | 1207311.9846 | 2600616.4322 | 1207306.9813 | 2600613.435 | 1207295.9285
33 | 2600645.0633 | 1207307.2618 | 2600663.868 | 1207306.663
34 | 2600760.4308 | 1207371.6205 | 2600753.7821 | 1207335.8779
35 | 2600664.0377 | 1207351.5144 | 2600663.6815 | 1207351.5867
36 | 2600664.0377 | 1207351.5144 | 2600697.3878 | 1207344.7471
37 | 2600686.9246 | 1207305.929 | 2600663.868 | 1207306.663
38 | 2600697.3878 | 1207344.7471 | 2600706.2231 | 1207342.9543 | 2600709.3782 | 1207344.7557 | 2600733.9874 | 1207339.8355
39 | 2600753.7821 | 1207335.8779 | 2600733.9874 | 1207339.8355
40 | 2600753.7821 | 1207335.8779 | 2600749.1854 | 1207306.6614
41 | 2600749.1854 | 1207306.6614 | 2600736.5947 | 1207304.3476 | 2600731.1304 | 1207304.5215
42 | 2600691.7791 | 1207496.5325 | 2600692.1653 | 1207496.4538
43 | 2600692.1653 | 1207496.4538 | 2600704.8455 | 1207493.8699
44 | 2600704.8455 | 1207493.8699 | 2600711.9577 | 1207492.4207
45 | 2600719.9874 | 1207490.7844 | 2600711.9577 | 1207492.4207
46 | 2600719.9874 | 1207490.7844 | 2600749.4675 | 1207484.7772
47 | 2600692.4774 | 1207305.7522 | 2600686.9246 | 1207305.929
48 | 2600775.3838 | 1207586.4624 | 2600770.7996 | 1207582.96 | 2600763.7747 | 1207580.958 | 2600755.465 | 1207578.5891 | 2600752.2306 | 1207578.2497
49 | 2600775.3838 | 1207586.4624 | 2600776.3955 | 1207581.6265 | 2600776.6782 | 1207569.809 | 2600776.1884 | 1207561.8638
50 | 2600774.9936 | 1207542.4827 | 2600776.1884 | 1207561.8638
51 | 2600775.3838 | 1207586.4624 | 2600789.2168 | 1207602.0974
52 | 2600810.7476 | 1207626.4331 | 2600789.2168 | 1207602.0974
53 | 2600842.2701 | 1207618.3549 | 2600810.7476 | 1207626.4331
54 | 2600842.2701 | 1207618.3549 | 2600838.3857 | 1207613.5517 | 2600817.5873 | 1207588.5353
55 | 2600710.7913 | 1207305.1691 | 2600731.1304 | 1207304.5215
56 | 2600692.4774 | 1207305.7522 | 2600710.7913 | 1207305.1691
57 | 2600809.5852 | 1207563.5959 | 2600808.0125 | 1207549.3015 | 2600809.237 | 1207545.8442 | 2600809.237 | 1207545.8442
58 | 2600809.5852 | 1207563.5959 | 2600810.0478 | 1207567.8008 | 2600812.4947 | 1207577.562 | 2600815.5502 | 1207584.8775 | 2600817.5873 | 1207588.5353 | 2600817.5873 | 1207588.5353
59 | 2600814.448 | 1207543.2642 | 2600813.1072 | 1207543.6101 | 2600809.237 | 1207545.8442
60 | 2600824.9378 | 1207540.7656 | 2600818.6195 | 1207542.1878 | 2600814.448 | 1207543.2642
61 | 2600824.9378 | 1207540.7656 | 2600824.5274 | 1207539.1424 | 2600822.4914 | 1207526.5352 | 2600821.6785 | 1207521.8659 | 2600819.8465 | 1207519.2198 | 2600817.3984 | 1207517.9966 | 2600813.5209 | 1207518.1962 | 2600809.7633 | 1207518.9306
62 | 2600793.7374 | 1207522.0626 | 2600809.7633 | 1207518.9306
63 | 2600799.8037 | 1207474.4695 | 2600822.2884 | 1207469.5072
64 | 2600840.8301 | 1207465.4151 | 2600822.2884 | 1207469.5072
65 | 2600840.8301 | 1207465.4151 | 2600850.9882 | 1207462.3926 | 2600854.8127 | 1207461.1257 | 2600849.6525 | 1207443.4375
66 | 2600845.1383 | 1207428.1397 | 2600849.6525 | 1207443.4375

## bus_geodata
| x | y | coords
0 | 2600745.48 | 1207450.8717
1 | 2600739.6688 | 1207451.9494
2 | 2600747.3251 | 1207450.5295
3 | 2600719.7493 | 1207454.5798
4 | 2600775.5449 | 1207445.296
5 | 2600698.306 | 1207458.9446
6 | 2600782.4217 | 1207478.226
7 | 2600769.3223 | 1207414.8278
8 | 2600692.9828 | 1207460.0337
9 | 2600779.2574 | 1207478.8475
10 | 2600788.4207 | 1207476.9816
11 | 2600687.6601 | 1207461.1337
12 | 2600670.0538 | 1207500.9595
13 | 2600682.5867 | 1207545.085
14 | 2600684.7801 | 1207497.9587
15 | 2600663.1689 | 1207466.1953
16 | 2600660.5348 | 1207452.916
17 | 2600682.3066 | 1207462.2401
18 | 2600692.8705 | 1207574.6357
19 | 2600717.6772 | 1207538.6594
20 | 2600723.0849 | 1207576.3788
21 | 2600645.4 | 1207393.387
22 | 2600656.71 | 1207428.7408
23 | 2600671.0799 | 1207388.2161
24 | 2600704.5103 | 1207381.2262
25 | 2600741.2659 | 1207375.4531
26 | 2600741.4969 | 1207375.4069
27 | 2600622.3927 | 1207311.9846
28 | 2600645.0633 | 1207307.2618
29 | 2600613.435 | 1207295.9285
30 | 2600760.4308 | 1207371.6205
31 | 2600663.6815 | 1207351.5867
32 | 2600664.0377 | 1207351.5144
33 | 2600663.868 | 1207306.663
34 | 2600697.3878 | 1207344.7471
35 | 2600733.9874 | 1207339.8355
36 | 2600753.7821 | 1207335.8779
37 | 2600749.1854 | 1207306.6614
38 | 2600691.7791 | 1207496.5325
39 | 2600692.1653 | 1207496.4538
40 | 2600704.8455 | 1207493.8699
41 | 2600711.9577 | 1207492.4207
42 | 2600719.9874 | 1207490.7844
43 | 2600686.9246 | 1207305.929
44 | 2600733.2692 | 1207535.563
45 | 2600752.2306 | 1207578.2497
46 | 2600776.1884 | 1207561.8638
47 | 2600775.3838 | 1207586.4624
48 | 2600774.9936 | 1207542.4827
49 | 2600789.2168 | 1207602.0974
50 | 2600810.7476 | 1207626.4331
51 | 2600842.2701 | 1207618.3549
52 | 2600731.1304 | 1207304.5215
53 | 2600692.4774 | 1207305.7522
54 | 2600710.7913 | 1207305.1691
55 | 2600749.4675 | 1207484.7772
56 | 2600809.5852 | 1207563.5959
57 | 2600809.237 | 1207545.8442
58 | 2600817.5873 | 1207588.5353
59 | 2600814.448 | 1207543.2642
60 | 2600824.9378 | 1207540.7656
61 | 2600809.7633 | 1207518.9306
62 | 2600793.7374 | 1207522.0626
63 | 2600799.8037 | 1207474.4695
64 | 2600822.2884 | 1207469.5072
65 | 2600840.8301 | 1207465.4151
66 | 2600849.6525 | 1207443.4375
67 | 2600845.1383 | 1207428.1397
68 | 2600775.5449 | 1207445.296

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1