## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5477-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5477-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5477-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5477-4_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5477-4_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5477-4_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5477-4_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5477-4_0_5_node_77 | 0.4 | n |  | TRUE
8 | bus_LV_5477-4_0_5_node_78 | 0.4 | n |  | TRUE
9 | bus_LV_5477-4_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5477-4_0_5_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_5477-4_0_5_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_5477-4_0_5_node_66 | 0.4 | n |  | TRUE
13 | bus_LV_5477-4_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5477-4_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5477-4_0_5_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_5477-4_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5477-4_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5477-4_0_5_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_5477-4_0_5_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_5477-4_0_5_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_5477-4_0_5_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_5477-4_0_5_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_5477-4_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_5477-4_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5477-4_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_5477-4_0_5_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_5477-4_0_5_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_5477-4_0_5_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_5477-4_0_5_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_5477-4_0_5_node_90 | 0.4 | n |  | TRUE
31 | bus_LV_5477-4_0_5_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_5477-4_0_5_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_5477-4_0_5_node_91 | 0.4 | n |  | TRUE
34 | bus_LV_5477-4_0_5_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_5477-4_0_5_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_5477-4_0_5_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_5477-4_0_5_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_5477-4_0_5_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_5477-4_0_5_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_5477-4_0_5_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_5477-4_0_5_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_5477-4_0_5_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_5477-4_0_5_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_5477-4_0_5_node_83 | 0.4 | n |  | TRUE
45 | bus_LV_5477-4_0_5_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_5477-4_0_5_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_5477-4_0_5_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_5477-4_0_5_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_5477-4_0_5_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_5477-4_0_5_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_5477-4_0_5_node_74 | 0.4 | n |  | TRUE
52 | bus_LV_5477-4_0_5_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_5477-4_0_5_node_88 | 0.4 | n |  | TRUE
54 | bus_LV_5477-4_0_5_node_94 | 0.4 | n |  | TRUE
55 | bus_LV_5477-4_0_5_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_5477-4_0_5_node_89 | 0.4 | n |  | TRUE
57 | bus_LV_5477-4_0_5_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_5477-4_0_5_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_5477-4_0_5_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_5477-4_0_5_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_5477-4_0_5_node_93 | 0.4 | n |  | TRUE
62 | bus_LV_5477-4_0_5_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_5477-4_0_5_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_5477-4_0_5_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_5477-4_0_5_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_5477-4_0_5_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_5477-4_0_5_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_5477-4_0_5_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_5477-4_0_5_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_5477-4_0_5_node_87 | 0.4 | n |  | TRUE
71 | bus_LV_5477-4_0_5_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_5477-4_0_5_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_5477-4_0_5_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_5477-4_0_5_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_5477-4_0_5_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_5477-4_0_5_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_5477-4_0_5_node_96 | 0.4 | n |  | TRUE
78 | bus_LV_5477-4_0_5_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_5477-4_0_5_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_5477-4_0_5_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_5477-4_0_5_node_59 | 0.4 | n |  | TRUE
82 | bus_LV_5477-4_0_5_node_58 | 0.4 | n |  | TRUE
83 | bus_LV_5477-4_0_5_node_60 | 0.4 | n |  | TRUE
84 | bus_LV_5477-4_0_5_node_62 | 0.4 | n |  | TRUE
85 | bus_LV_5477-4_0_5_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_5477-4_0_5_node_64 | 0.4 | n |  | TRUE
87 | bus_LV_5477-4_0_5_node_65 | 0.4 | n |  | TRUE
88 | bus_LV_5477-4_0_5_node_97 | 0.4 | n |  | TRUE
89 | bus_LV_5477-4_0_5_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_5477-4_0_5_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_5477-4_0_5_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_5477-4_0_5_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_5477-4_0_5_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_5477-4_0_5_node_92 | 0.4 | n |  | TRUE
95 | bus_LV_5477-4_0_5_node_95 | 0.4 | n |  | TRUE
96 | bus_MV_315_1_node_154 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5477-4_0_5_load_0 | 0 | 0.015183 | 0.0038053 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5477-4_0_5_load_3 | 3 | 0.0096723 | 0.0024241 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5477-4_0_5_load_4 | 4 | 0.0070062 | 0.0017559 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5477-4_0_5_load_6 | 6 | 0.0056414 | 0.0014139 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5477-4_0_5_load_77 | 7 | 0.0038641 | 0.00096843 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5477-4_0_5_load_8 | 9 | 0.0024039 | 0.00060246 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5477-4_0_5_load_12 | 10 | 0.002492 | 0.00062455 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5477-4_0_5_load_44 | 11 | 0.0069073 | 0.0017311 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5477-4_0_5_load_7 | 13 | 0.0025308 | 0.00063428 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5477-4_0_5_load_11 | 14 | 0.0048123 | 0.0012061 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5477-4_0_5_load_45 | 15 | 0.0048404 | 0.0012131 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5477-4_0_5_load_9 | 16 | 0.0024804 | 0.00062166 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5477-4_0_5_load_18 | 19 | 0.0037278 | 0.00093427 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5477-4_0_5_load_28 | 21 | 0.0049419 | 0.0012386 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5477-4_0_5_load_19 | 22 | 0.0041374 | 0.0010369 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5477-4_0_5_load_13 | 23 | 0.0042486 | 0.0010648 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5477-4_0_5_load_14 | 24 | 0.0035913 | 0.00090006 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5477-4_0_5_load_16 | 26 | 0.0026574 | 0.000666 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5477-4_0_5_load_33 | 28 | 0.0034709 | 0.0008699 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5477-4_0_5_load_41 | 29 | 0.0020254 | 0.00050762 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5477-4_0_5_load_90 | 30 | 0.0014937 | 0.00037436 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5477-4_0_5_load_34 | 31 | 0.005221 | 0.0013085 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5477-4_0_5_load_31 | 32 | 0.0042394 | 0.0010625 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5477-4_0_5_load_91 | 33 | 0.0013985 | 0.0003505 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5477-4_0_5_load_20 | 34 | 0.0052741 | 0.0013218 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5477-4_0_5_load_40 | 35 | 0.0021844 | 0.00054747 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5477-4_0_5_load_36 | 36 | 0.0043394 | 0.0010875 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5477-4_0_5_load_29 | 37 | 0.0042511 | 0.0010654 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5477-4_0_5_load_22 | 38 | 0.0098415 | 0.0024665 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5477-4_0_5_load_23 | 39 | 0.0035729 | 0.00089545 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5477-4_0_5_load_26 | 42 | 0.021219 | 0.0053179 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5477-4_0_5_load_27 | 43 | 0.0082008 | 0.0020553 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5477-4_0_5_load_83 | 44 | 0.0027462 | 0.00068825 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5477-4_0_5_load_82 | 47 | 0.0022089 | 0.00055361 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5477-4_0_5_load_74 | 51 | 0.0032375 | 0.00081139 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5477-4_0_5_load_32 | 52 | 0.0016431 | 0.0004118 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5477-4_0_5_load_88 | 53 | 0.0033758 | 0.00084606 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5477-4_0_5_load_94 | 54 | 0.0058709 | 0.0014714 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5477-4_0_5_load_89 | 56 | 0.0075438 | 0.0018907 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5477-4_0_5_load_35 | 57 | 0.0069058 | 0.0017308 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5477-4_0_5_load_42 | 58 | 0.0053604 | 0.0013434 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5477-4_0_5_load_38 | 60 | 0.0023205 | 0.00058158 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5477-4_0_5_load_93 | 61 | 0.00246 | 0.00061654 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5477-4_0_5_load_46 | 63 | 0.0048511 | 0.0012158 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5477-4_0_5_load_73 | 64 | 0.0050261 | 0.0012597 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5477-4_0_5_load_72 | 65 | 0.0082694 | 0.0020725 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5477-4_0_5_load_47 | 66 | 0.0021368 | 0.00053552 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5477-4_0_5_load_48 | 67 | 0.002525 | 0.00063282 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5477-4_0_5_load_68 | 68 | 0.0029075 | 0.00072868 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5477-4_0_5_load_67 | 69 | 0.0048804 | 0.0012231 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5477-4_0_5_load_87 | 70 | 0.012278 | 0.0030771 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5477-4_0_5_load_71 | 71 | 0.0075933 | 0.0019031 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5477-4_0_5_load_50 | 72 | 0.015277 | 0.0038289 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5477-4_0_5_load_53 | 73 | 0.018755 | 0.0047005 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5477-4_0_5_load_57 | 76 | 0.0067583 | 0.0016938 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5477-4_0_5_load_96 | 77 | 0.012886 | 0.0032296 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5477-4_0_5_load_63 | 78 | 0.0040095 | 0.0010049 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5477-4_0_5_load_61 | 79 | 0.014845 | 0.0037205 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5477-4_0_5_load_70 | 80 | 0.010314 | 0.002585 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5477-4_0_5_load_59 | 81 | 0.010317 | 0.0025856 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5477-4_0_5_load_58 | 82 | 0.018567 | 0.0046534 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5477-4_0_5_load_62 | 84 | 0.0066762 | 0.0016732 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5477-4_0_5_load_69 | 85 | 0.0050242 | 0.0012592 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5477-4_0_5_load_64 | 86 | 0.0071502 | 0.001792 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5477-4_0_5_load_97 | 88 | 0.0041848 | 0.0010488 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5477-4_0_5_load_85 | 90 | 0.0039463 | 0.00098905 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5477-4_0_5_load_79 | 91 | 0.0022116 | 0.00055428 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5477-4_0_5_load_84 | 93 | 0.004902 | 0.0012286 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5477-4_0_5_load_92 | 94 | 0.0086617 | 0.0021708 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5477-4_0_5_load_95 | 95 | 0.0018392 | 0.00046095 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5477-4_0_5_line_0 |  | 0 | 1 | 0.032798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5477-4_0_5_line_1 |  | 0 | 2 | 0.011342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5477-4_0_5_line_2 |  | 1 | 3 | 0.012628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5477-4_0_5_line_3 |  | 1 | 4 | 0.0090832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5477-4_0_5_line_4 |  | 2 | 5 | 0.002682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5477-4_0_5_line_5 |  | 2 | 6 | 0.014855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5477-4_0_5_line_6 |  | 3 | 7 | 2.0385e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5477-4_0_5_line_7 |  | 4 | 8 | 0.013502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5477-4_0_5_line_8 |  | 5 | 9 | 0.021638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5477-4_0_5_line_9 |  | 5 | 10 | 0.0067827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5477-4_0_5_line_10 |  | 6 | 11 | 0.012646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5477-4_0_5_line_11 |  | 8 | 12 | 0.040049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5477-4_0_5_line_12 |  | 9 | 13 | 0.0079273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5477-4_0_5_line_13 |  | 10 | 14 | 0.009758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5477-4_0_5_line_14 |  | 11 | 15 | 0.0021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5477-4_0_5_line_15 |  | 12 | 87 | 0.058455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5477-4_0_5_line_16 |  | 14 | 23 | 0.011101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5477-4_0_5_line_17 |  | 15 | 66 | 0.01281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5477-4_0_5_line_18 |  | 16 | 17 | 0.020868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5477-4_0_5_line_19 |  | 17 | 18 | 0.005875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5477-4_0_5_line_20 |  | 17 | 19 | 0.012966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5477-4_0_5_line_21 |  | 18 | 20 | 0.004813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5477-4_0_5_line_22 |  | 18 | 21 | 0.020864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5477-4_0_5_line_23 |  | 19 | 22 | 0.0086833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5477-4_0_5_line_24 |  | 20 | 35 | 0.010675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5477-4_0_5_line_25 |  | 20 | 36 | 0.024382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5477-4_0_5_line_26 |  | 21 | 37 | 0.011966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5477-4_0_5_line_27 |  | 22 | 34 | 0.0035085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5477-4_0_5_line_28 |  | 23 | 24 | 0.00043952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5477-4_0_5_line_29 |  | 24 | 25 | 0.010023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5477-4_0_5_line_30 |  | 25 | 26 | 0.015467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_5477-4_0_5_line_31 |  | 25 | 27 | 0.002254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5477-4_0_5_line_32 |  | 26 | 28 | 0.0015423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5477-4_0_5_line_33 |  | 27 | 29 | 0.013992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5477-4_0_5_line_34 |  | 27 | 30 | 0.012476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5477-4_0_5_line_35 |  | 28 | 31 | 0.0067875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_5477-4_0_5_line_36 |  | 29 | 32 | 0.0041333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5477-4_0_5_line_37 |  | 30 | 33 | 0.0028079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5477-4_0_5_line_38 |  | 31 | 57 | 0.0047364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5477-4_0_5_line_39 |  | 32 | 37 | 0.011643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5477-4_0_5_line_40 |  | 33 | 94 | 0.016035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5477-4_0_5_line_41 |  | 35 | 54 | 0.00093104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5477-4_0_5_line_42 |  | 36 | 55 | 0.020836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5477-4_0_5_line_43 |  | 37 | 52 | 0.018124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5477-4_0_5_line_44 |  | 38 | 39 | 0.034071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5477-4_0_5_line_45 |  | 38 | 40 | 0.017416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5477-4_0_5_line_46 |  | 39 | 41 | 0.010986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5477-4_0_5_line_47 |  | 40 | 42 | 0.013902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5477-4_0_5_line_48 |  | 40 | 43 | 0.034828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5477-4_0_5_line_49 |  | 41 | 44 | 0.019446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5477-4_0_5_line_50 |  | 42 | 45 | 0.0090857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5477-4_0_5_line_51 |  | 43 | 46 | 0.0067666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5477-4_0_5_line_52 |  | 44 | 47 | 0.0015206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5477-4_0_5_line_53 |  | 45 | 48 | 0.041194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5477-4_0_5_line_54 |  | 45 | 49 | 0.026066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5477-4_0_5_line_55 |  | 46 | 50 | 0.024826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5477-4_0_5_line_56 |  | 46 | 51 | 0.027102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5477-4_0_5_line_57 |  | 47 | 92 | 0.0082389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5477-4_0_5_line_58 |  | 48 | 77 | 0.013707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5477-4_0_5_line_59 |  | 49 | 73 | 0.010311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5477-4_0_5_line_60 |  | 49 | 72 | 0.00057538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5477-4_0_5_line_61 |  | 50 | 88 | 0.031576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5477-4_0_5_line_62 |  | 50 | 89 | 0.011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5477-4_0_5_line_63 |  | 52 | 53 | 0.00054552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5477-4_0_5_line_64 |  | 53 | 56 | 0.0010704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5477-4_0_5_line_65 |  | 54 | 61 | 0.0062644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5477-4_0_5_line_66 |  | 55 | 60 | 0.021618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5477-4_0_5_line_67 |  | 57 | 58 | 0.007224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_5477-4_0_5_line_68 |  | 58 | 59 | 0.0099409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_5477-4_0_5_line_69 |  | 59 | 62 | 0.007256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_5477-4_0_5_line_70 |  | 59 | 63 | 0.012728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5477-4_0_5_line_71 |  | 61 | 95 | 0.0021801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5477-4_0_5_line_72 |  | 62 | 64 | 0.017816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5477-4_0_5_line_73 |  | 62 | 65 | 0.0051222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_5477-4_0_5_line_74 |  | 64 | 70 | 0.0012597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5477-4_0_5_line_75 |  | 65 | 71 | 0.015343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_5477-4_0_5_line_76 |  | 66 | 67 | 0.0057403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5477-4_0_5_line_77 |  | 67 | 68 | 0.0073036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5477-4_0_5_line_78 |  | 68 | 69 | 0.015572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5477-4_0_5_line_79 |  | 69 | 85 | 0.012644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5477-4_0_5_line_80 |  | 71 | 80 | 0.0052472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_5477-4_0_5_line_81 |  | 73 | 76 | 0.0075243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5477-4_0_5_line_82 |  | 74 | 75 | 0.004507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5477-4_0_5_line_83 |  | 74 | 76 | 0.0049026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5477-4_0_5_line_84 |  | 75 | 78 | 0.014042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_5477-4_0_5_line_85 |  | 75 | 79 | 0.019352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5477-4_0_5_line_86 |  | 78 | 80 | 0.0051725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
87 | LV_5477-4_0_5_line_87 |  | 79 | 81 | 0.0045387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5477-4_0_5_line_88 |  | 82 | 83 | 0.0085637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5477-4_0_5_line_89 |  | 83 | 84 | 0.015359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5477-4_0_5_line_90 |  | 84 | 85 | 0.011281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5477-4_0_5_line_91 |  | 86 | 87 | 0.0014187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5477-4_0_5_line_92 |  | 89 | 90 | 0.0023034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5477-4_0_5_line_93 |  | 90 | 93 | 0.018556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5477-4_0_5_line_94 |  | 91 | 92 | 0.014763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5477-4_0_5_trafo_49 | 0.63 MVA 20/0.4 kV | 96 | 62 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2528746.2695 | 1163073.0915 | 2528730.4159 | 1163077.9603 | 2528722.1064 | 1163080.7494 | 2528715.0468 | 1163083.1249
1 | 2528704.2974 | 1163086.742 | 2528715.0468 | 1163083.1249
2 | 2528746.2695 | 1163073.0915 | 2528740.0282 | 1163062.1141
3 | 2528746.2695 | 1163073.0915 | 2528747.9714 | 1163072.5488 | 2528754.9248 | 1163070.3367
4 | 2528704.2974 | 1163086.742 | 2528703.2004 | 1163089.1898
5 | 2528704.2974 | 1163086.742 | 2528704.4967 | 1163083.5267 | 2528704.8742 | 1163077.2632 | 2528703.883 | 1163071.9968
6 | 2528740.0282 | 1163062.1141 | 2528740.0181 | 1163062.0964
7 | 2528767.7915 | 1163066.2433 | 2528754.9248 | 1163070.3367
8 | 2528703.2004 | 1163089.1898 | 2528699.3061 | 1163094.7725 | 2528696.6648 | 1163107.8002 | 2528696.3706 | 1163109.3104
9 | 2528703.2004 | 1163089.1898 | 2528696.4185 | 1163089.2955
10 | 2528703.883 | 1163071.9968 | 2528703.7949 | 1163071.5283 | 2528701.536 | 1163059.5704
11 | 2528767.7915 | 1163066.2433 | 2528766.8385 | 1163064.0423 | 2528763.293 | 1163054.4901 | 2528761.2964 | 1163049.5665 | 2528760.9084 | 1163048.5039 | 2528766.9785 | 1163044.2183 | 2528758.9576 | 1163033.2517
12 | 2528694.8473 | 1163117.0898 | 2528694.8958 | 1163116.8819 | 2528696.3706 | 1163109.3104
13 | 2528686.6713 | 1163089.5976 | 2528688.2111 | 1163089.4235 | 2528696.4185 | 1163089.2955
14 | 2528701.536 | 1163059.5704 | 2528701.1462 | 1163057.507
15 | 2528719.484 | 1163019.2902 | 2528728.7266 | 1163019.5918 | 2528737.4759 | 1163011.9058 | 2528749.831 | 1163010.4583 | 2528752.6098 | 1163024.4777 | 2528758.9576 | 1163033.2517
16 | 2528686.6713 | 1163089.5976 | 2528675.6406 | 1163090.8447
17 | 2528700.214 | 1163044.8224 | 2528699.8953 | 1163050.8852 | 2528701.1462 | 1163057.507
18 | 2528676.3604 | 1163155.8352 | 2528679.9973 | 1163155.036 | 2528682.3351 | 1163153.852 | 2528684.5321 | 1163151.7803 | 2528685.7181 | 1163149.7317 | 2528687.0265 | 1163146.3809 | 2528688.4991 | 1163141.041
19 | 2528676.3604 | 1163155.8352 | 2528670.5249 | 1163156.6494
20 | 2528676.3604 | 1163155.8352 | 2528682.7247 | 1163159.5617 | 2528686.7316 | 1163163.4607 | 2528686.7316 | 1163163.4607
21 | 2528670.5249 | 1163156.6494 | 2528671.0262 | 1163161.4351
22 | 2528670.5249 | 1163156.6494 | 2528668.8382 | 1163140.427 | 2528668.5434 | 1163135.8823
23 | 2528695.4139 | 1163163.5908 | 2528686.7316 | 1163163.4607
24 | 2528671.0262 | 1163161.4351 | 2528660.3932 | 1163162.385
25 | 2528671.0262 | 1163161.4351 | 2528674.4383 | 1163185.5776
26 | 2528667.7689 | 1163123.9415 | 2528668.5434 | 1163135.8823
27 | 2528698.922 | 1163163.6434 | 2528695.4139 | 1163163.5908
28 | 2528675.2039 | 1163090.8941 | 2528675.6406 | 1163090.8447
29 | 2528665.2443 | 1163092.0201 | 2528675.2039 | 1163090.8941
30 | 2528665.2443 | 1163092.0201 | 2528665.0613 | 1163090.1546 | 2528664.2014 | 1163076.5889
31 | 2528665.4549 | 1163094.2633 | 2528665.2443 | 1163092.0201
32 | 2528664.1038 | 1163075.0497 | 2528664.2014 | 1163076.5889
33 | 2528665.4549 | 1163094.2633 | 2528666.5425 | 1163108.213
34 | 2528665.4549 | 1163094.2633 | 2528653.04 | 1163095.5004
35 | 2528664.1038 | 1163075.0497 | 2528663.6744 | 1163068.2757
36 | 2528666.8638 | 1163112.3338 | 2528666.5425 | 1163108.213
37 | 2528653.04 | 1163095.5004 | 2528650.246 | 1163095.7788
38 | 2528663.3748 | 1163063.5488 | 2528663.6744 | 1163068.2757
39 | 2528667.7689 | 1163123.9415 | 2528666.8638 | 1163112.3338
40 | 2528634.2896 | 1163097.3688 | 2528650.246 | 1163095.7788
41 | 2528659.4659 | 1163162.4679 | 2528660.3932 | 1163162.385
42 | 2528677.3652 | 1163206.2073 | 2528675.7603 | 1163194.9311 | 2528674.4383 | 1163185.5776
43 | 2528667.7689 | 1163123.9415 | 2528649.7431 | 1163125.8298
44 | 2528564.5132 | 1162963.8831 | 2528582.3976 | 1162963.6771 | 2528598.5777 | 1162963.2489
45 | 2528615.9879 | 1162962.7882 | 2528598.5777 | 1162963.2489
46 | 2528553.5276 | 1162964.0097 | 2528564.5132 | 1162963.8831
47 | 2528615.9879 | 1162962.7882 | 2528619.5452 | 1162962.3678 | 2528629.6445 | 1162960.2463
48 | 2528615.9879 | 1162962.7882 | 2528616.6096 | 1162970.6185 | 2528617.2098 | 1162984.3636 | 2528616.835 | 1162997.5733
49 | 2528553.5276 | 1162964.0097 | 2528542.0582 | 1162963.9239 | 2528534.0847 | 1162964.1539
50 | 2528638.5108 | 1162958.2623 | 2528631.3824 | 1162959.8812 | 2528629.6445 | 1162960.2463
51 | 2528616.6431 | 1163004.3372 | 2528616.835 | 1162997.5733
52 | 2528534.0847 | 1162964.1539 | 2528532.5647 | 1162964.1978
53 | 2528638.5108 | 1162958.2623 | 2528638.5723 | 1162956.3493 | 2528639.2095 | 1162954.5296 | 2528640.3556 | 1162952.9929 | 2528641.9127 | 1162951.8626 | 2528643.5378 | 1162951.2986 | 2528645.26 | 1162951.178 | 2528646.9419 | 1162951.5249 | 2528648.4757 | 1162952.3071 | 2528649.7384 | 1162953.4816 | 2528665.7098 | 1162944.9648 | 2528671.787 | 1162941.9131
54 | 2528638.5108 | 1162958.2623 | 2528639.0781 | 1162960.2344 | 2528640.2472 | 1162961.9103 | 2528641.8936 | 1162963.1359 | 2528643.8393 | 1162963.7687 | 2528645.8923 | 1162963.7554 | 2528647.8303 | 1162963.0986 | 2528651.2954 | 1162970.3838 | 2528653.7469 | 1162975.5354
55 | 2528616.6431 | 1163004.3372 | 2528611.0805 | 1163026.8049 | 2528610.9089 | 1163028.4746
56 | 2528616.6431 | 1163004.3372 | 2528607.8235 | 1163006.1097 | 2528607.8294 | 1163013.0358 | 2528604.1724 | 1163016.6702 | 2528598.1491 | 1163016.7962
57 | 2528524.3292 | 1162964.4353 | 2528532.5647 | 1162964.1978
58 | 2528676.7118 | 1162954.7062 | 2528671.787 | 1162941.9131
59 | 2528653.7469 | 1162975.5354 | 2528649.6277 | 1162980.2425 | 2528651.247 | 1162983.9615
60 | 2528653.9701 | 1162976.0657 | 2528653.7469 | 1162975.5354
61 | 2528610.9089 | 1163028.4746 | 2528598.7219 | 1163031.8103 | 2528580.3728 | 1163036.8425
62 | 2528610.9089 | 1163028.4746 | 2528610.21 | 1163038.6331 | 2528610.1508 | 1163039.4453
63 | 2528649.7431 | 1163125.8298 | 2528649.2006 | 1163125.8867
64 | 2528648.136 | 1163125.9982 | 2528649.2006 | 1163125.8867
65 | 2528653.2264 | 1163163.0253 | 2528659.4659 | 1163162.4679
66 | 2528677.3652 | 1163206.2073 | 2528698.9322 | 1163207.6963
67 | 2528663.3748 | 1163063.5488 | 2528662.9178 | 1163056.3393
68 | 2528662.289 | 1163046.4183 | 2528662.9178 | 1163056.3393
69 | 2528662.289 | 1163046.4183 | 2528662.0571 | 1163041.7407 | 2528661.927 | 1163039.1741
70 | 2528662.289 | 1163046.4183 | 2528668.8252 | 1163045.907 | 2528674.9929 | 1163045.6939
71 | 2528653.2264 | 1163163.0253 | 2528653.2264 | 1163163.0253 | 2528651.3091 | 1163164.0629
72 | 2528661.927 | 1163039.1741 | 2528653.4846 | 1163040.4418 | 2528644.3073 | 1163041.8088
73 | 2528661.927 | 1163039.1741 | 2528661.688 | 1163034.0575
74 | 2528643.0614 | 1163041.9944 | 2528644.3073 | 1163041.8088
75 | 2528661.688 | 1163034.0575 | 2528660.9721 | 1163018.7314
76 | 2528700.214 | 1163044.8224 | 2528700.383 | 1163041.6408 | 2528700.5219 | 1163039.0904
77 | 2528700.5219 | 1163039.0904 | 2528700.919 | 1163031.7976
78 | 2528703.1152 | 1163016.4207 | 2528701.2571 | 1163025.588 | 2528700.919 | 1163031.7976
79 | 2528703.1152 | 1163016.4207 | 2528704.7379 | 1163008.4148 | 2528705.8187 | 1163004.0723
80 | 2528660.9721 | 1163018.7314 | 2528660.7272 | 1163013.4899
81 | 2528651.247 | 1162983.9615 | 2528654.2509 | 1162990.8602
82 | 2528659.8306 | 1162994.2959 | 2528659.05 | 1162989.8582
83 | 2528659.05 | 1162989.8582 | 2528654.2509 | 1162990.8602
84 | 2528659.8306 | 1162994.2959 | 2528660.4858 | 1163008.323
85 | 2528659.8306 | 1162994.2959 | 2528669.4181 | 1162991.3914 | 2528678.2797 | 1162988.4595
86 | 2528660.4858 | 1163008.323 | 2528660.7272 | 1163013.4899
87 | 2528678.2797 | 1162988.4595 | 2528682.5887 | 1162987.0339
88 | 2528709.3963 | 1162978.1646 | 2528701.266 | 1162980.8545
89 | 2528709.3963 | 1162978.1646 | 2528710.5395 | 1162980.8859 | 2528708.9202 | 1162991.6112 | 2528708.5433 | 1162993.1256
90 | 2528708.5433 | 1162993.1256 | 2528705.8187 | 1163004.0723
91 | 2528719.484 | 1163019.2902 | 2528719.2705 | 1163020.6927
92 | 2528610.1508 | 1163039.4453 | 2528609.9937 | 1163041.7434
93 | 2528609.4645 | 1163060.2782 | 2528609.4466 | 1163058.1643 | 2528609.4084 | 1163053.6733 | 2528609.3806 | 1163050.6942 | 2528609.557 | 1163048.1351 | 2528609.9937 | 1163041.7434
94 | 2528524.3292 | 1162964.4353 | 2528518.3262 | 1162964.6958 | 2528509.5729 | 1162964.7951

## bus_geodata
| x | y | coords
0 | 2528715.0468 | 1163083.1249
1 | 2528746.2695 | 1163073.0915
2 | 2528704.2974 | 1163086.742
3 | 2528740.0282 | 1163062.1141
4 | 2528754.9248 | 1163070.3367
5 | 2528703.2004 | 1163089.1898
6 | 2528703.883 | 1163071.9968
7 | 2528740.0181 | 1163062.0964
8 | 2528767.7915 | 1163066.2433
9 | 2528696.3706 | 1163109.3104
10 | 2528696.4185 | 1163089.2955
11 | 2528701.536 | 1163059.5704
12 | 2528758.9576 | 1163033.2517
13 | 2528694.8473 | 1163117.0898
14 | 2528686.6713 | 1163089.5976
15 | 2528701.1462 | 1163057.507
16 | 2528688.4991 | 1163141.041
17 | 2528676.3604 | 1163155.8352
18 | 2528670.5249 | 1163156.6494
19 | 2528686.7316 | 1163163.4607
20 | 2528671.0262 | 1163161.4351
21 | 2528668.5434 | 1163135.8823
22 | 2528695.4139 | 1163163.5908
23 | 2528675.6406 | 1163090.8447
24 | 2528675.2039 | 1163090.8941
25 | 2528665.2443 | 1163092.0201
26 | 2528664.2014 | 1163076.5889
27 | 2528665.4549 | 1163094.2633
28 | 2528664.1038 | 1163075.0497
29 | 2528666.5425 | 1163108.213
30 | 2528653.04 | 1163095.5004
31 | 2528663.6744 | 1163068.2757
32 | 2528666.8638 | 1163112.3338
33 | 2528650.246 | 1163095.7788
34 | 2528698.922 | 1163163.6434
35 | 2528660.3932 | 1163162.385
36 | 2528674.4383 | 1163185.5776
37 | 2528667.7689 | 1163123.9415
38 | 2528598.5777 | 1162963.2489
39 | 2528564.5132 | 1162963.8831
40 | 2528615.9879 | 1162962.7882
41 | 2528553.5276 | 1162964.0097
42 | 2528629.6445 | 1162960.2463
43 | 2528616.835 | 1162997.5733
44 | 2528534.0847 | 1162964.1539
45 | 2528638.5108 | 1162958.2623
46 | 2528616.6431 | 1163004.3372
47 | 2528532.5647 | 1162964.1978
48 | 2528671.787 | 1162941.9131
49 | 2528653.7469 | 1162975.5354
50 | 2528610.9089 | 1163028.4746
51 | 2528598.1491 | 1163016.7962
52 | 2528649.7431 | 1163125.8298
53 | 2528649.2006 | 1163125.8867
54 | 2528659.4659 | 1163162.4679
55 | 2528677.3652 | 1163206.2073
56 | 2528648.136 | 1163125.9982
57 | 2528663.3748 | 1163063.5488
58 | 2528662.9178 | 1163056.3393
59 | 2528662.289 | 1163046.4183
60 | 2528698.9322 | 1163207.6963
61 | 2528653.2264 | 1163163.0253
62 | 2528661.927 | 1163039.1741
63 | 2528674.9929 | 1163045.6939
64 | 2528644.3073 | 1163041.8088
65 | 2528661.688 | 1163034.0575
66 | 2528700.214 | 1163044.8224
67 | 2528700.5219 | 1163039.0904
68 | 2528700.919 | 1163031.7976
69 | 2528703.1152 | 1163016.4207
70 | 2528643.0614 | 1163041.9944
71 | 2528660.9721 | 1163018.7314
72 | 2528653.9701 | 1162976.0657
73 | 2528651.247 | 1162983.9615
74 | 2528659.05 | 1162989.8582
75 | 2528659.8306 | 1162994.2959
76 | 2528654.2509 | 1162990.8602
77 | 2528676.7118 | 1162954.7062
78 | 2528660.4858 | 1163008.323
79 | 2528678.2797 | 1162988.4595
80 | 2528660.7272 | 1163013.4899
81 | 2528682.5887 | 1162987.0339
82 | 2528701.266 | 1162980.8545
83 | 2528709.3963 | 1162978.1646
84 | 2528708.5433 | 1162993.1256
85 | 2528705.8187 | 1163004.0723
86 | 2528719.2705 | 1163020.6927
87 | 2528719.484 | 1163019.2902
88 | 2528580.3728 | 1163036.8425
89 | 2528610.1508 | 1163039.4453
90 | 2528609.9937 | 1163041.7434
91 | 2528509.5729 | 1162964.7951
92 | 2528524.3292 | 1162964.4353
93 | 2528609.4645 | 1163060.2782
94 | 2528634.2896 | 1163097.3688
95 | 2528651.3091 | 1163164.0629
96 | 2528662.289 | 1163046.4183

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1